## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060248753 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060248753 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBE,GLASS,PIOLED,24W,T8,PREMIUM,5FT,600 | TUBE,GLASS,PIOLED,24W,T8,PREMIUM,5FT,6000K,INPUT,VOLTAGE,100V,TO,277V | L/237256 | 0019011819 | Unknown | URL NOT FOUND |  |  | L/237256 | [11 empty] | CLEANSED | LAMP | NO MODIFIER | TYPE | PREMIUM | WATTAGE | 24 W | VOLTAGE RATING | 100-277 V | SHAPE DESIGNATION | T8 | BASE TYPE |  | LAMP LIFE |  | COLOUR |  | SIZE |  | INTENSITY |  | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE | 6000 K | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HEIGHT:5 FT,PIOLED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060245049 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060245049 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TUBE,LED 4FT 1.2M 18W | TUBE, LED 4FT 1.2M 18W, LEDVANCE TUBE LED ST8E-1.2M 865 6500K 1800LM 4058075429529 |  |  |  | URL NOT FOUND |  | LEDVANCE | 405-8075429529 | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | LED | LAMP WATTAGE | 18 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR TEMPERATURE:6500 K,INTENSITY:1800 LM,ST8E-1.2 M 865,4 FT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060242051 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242051 | BHP1 | BHP Spares & Supplies | 231500 | Industrial process machinery, equipment and supplies | EA | MAN2 | TUBE,PERISTALTIC PUMP,CHILLER,1METER,202 | BUHLER CHILLER, CONDENSATE PERISTALTIC PUMP 1METER TUBE, PART.: 20205012 | 20205012 |  |  | URL NOT FOUND |  |  | 20205012 | [5 empty] | BUHLER CHILLER CONDENSATE PERISTALTIC PUMP | [5 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 1 M | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060242550 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242550 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBE,PIPE,4600,15MMX5.5M,COPPER, | COPPER , TUBE , PIPE , 4600 , 15MMX5.5M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 15 MM X 5.5 M | MATERIAL | COPPER | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4600 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060242552 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242552 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBE,PIPE,4600,22MMX5.5M,COPPER | COPPEER , TUBE , PIPE , 4600 , 22MMX5.5M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 22 MM X 5.5 M | MATERIAL | COPPER | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4600 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060248297 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060248297 | BHP1 | BHP Spares & Supplies | P3075 | Building services and materials | EA | MAN2 | TUBE,RECTANGLE,76X38X3.0MM,6M,ERW,SANS,6 | TUBE,RECTANGLE,76X38X3.0MM,6M,ERW,SANS,657-1,S355 | ZB001103221090982 | 0019011819 | Unknown | URL NOT FOUND |  | ERW | ZB001103221090982 | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | RECTANGLE | SIZE | 76 X 38 X 3.0 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LENGTH:6 M,SANS,657-1,S355 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060248293 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060248293 | BHP1 | BHP Spares & Supplies | P3075 | Building services and materials | EA | MAN2 | TUBE,RECTANGLE,80X40X31.6MM,6M,ERW,EN,10 | TUBE,RECTANGLE,80X40X31.6MM,6M,ERW,EN,10219,S235 | ZB00110322109098278 | 0019011819 | Unknown | URL NOT FOUND |  | ERW | ZB00110322109098278 | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | RECTANGLE | SIZE | 80 X 40 X 31.6 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LENGTH:6 M,EN 10219,S235 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060238883 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060238883 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBE,RETURN,6251-51-9510,WA480,EGR | TUBE,RETURN,6251-51-9510,WA480-6,EGR | 6251-51-9510 TUBE,RETURN | 0019001867 | KOMATSU CORP | https://my.komatsu.co.nz/shop/oilpumpandlubrication_5637144956/5637465250_tube_6251-51-9510 |  | KOMATSU CORP | 6251-51-9510 | [6 empty] | WA480-6 |  |  |  |  | CLEANSED | TUBE | NO MODIFIER | TYPE | RETURN | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EGR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060241242 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060241242 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBE,S/STEEL,106-35203-4L,6X1MM | TUBE,S/STEEL,106-35203-4L,6X1MM,LINCOLN | 106-35203-4L TUBE S/STEEL 6X1MM |  |  | https://www.airlinehyd.com/product/LINCOLN-106-35203-4/1987074 |  | LINCOLN | 106-35203-4L | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 6 X 1 MM | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060238831 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060238831 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | TUBE,SILICON GLASS,G7,36MMX31MMX58MM | CONTACT SHOE HANGER BRACKET INSULATION, ITEM 7 DRW 404-3076-01-00, MATERIAL G7, TUBE SIZE 36MM OD X 31MM ID X 58MM LONG |  |  |  | URL NOT FOUND | [11 empty] | 404-3076-01-00 |  | 7 | CLEANSED | INSULATION | TUBE | TYPE | CONTACT SHOE HANGER BRACKET | TUBE SIZE | OD 36 MM | THICKNESS |  | MATERIAL | G7 | LENGTH | 58 MM | DENSITY |  | INSIDE DIAMETER | 31 MM | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060241053 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060241053 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | TUBE,SILICON,GLASS,G7,26MMX18MMX1M | INSULATION TUBE; MATERIAL G7; TUBE SIZE 26MM OD X 18MM ID X 1M LONG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | INSULATION | TUBE | TYPE |  | TUBE SIZE | OD 26 MM | THICKNESS |  | MATERIAL | G7 | LENGTH | 1 M | DENSITY |  | INSIDE DIAMETER | 18 MM | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060238832 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060238832 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | TUBE,SILICON,GLASS,G7,48MMX37MMX90MM | PRESSURE RING HANGER BRACKET INSULATION, ITEM 5 DRW 400-3040-02-02, MATERIAL G7, TUBE SIZE 48MM OD X 37MM ID X 90MM LONG |  |  |  | URL NOT FOUND | [11 empty] | 400-3040-02-02 |  | 5 | CLEANSED | INSULATION | TUBE | TYPE | PRESSURE RING HANGER BRACKET | TUBE SIZE | OD 8 MM | THICKNESS |  | MATERIAL | G7 | LENGTH | 90 MM | DENSITY |  | INSIDE DIAMETER | 37 MM | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060240867 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060240867 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | TUBE,SILICON,GLASS,G7,78MMX60MMX1M | INSULATION TUBE; MATERIAL G7; TUBE SIZE 78MM OD X 62MM ID X 1M LONG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | INSULATION | TUBE | TYPE |  | TUBE SIZE | OD 78 MM | THICKNESS |  | MATERIAL | G7 | LENGTH | 1 M | DENSITY |  | INSIDE DIAMETER | 62 MM | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060242258 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242258 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | TUBE,SILICON,GLASS,ITEM1,DRGAFC008-029 | INSULATION TUBE; MATERIAL G7; ITEM1 DRG AFC008-029 REV02, FURNACE ROOF PANNELS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | AFC008-029 REV02 |  | 1 | CLEANSED | INSULATION | TUBE | TYPE |  | TUBE SIZE |  | THICKNESS |  | MATERIAL | G7 | LENGTH |  | DENSITY |  | INSIDE DIAMETER |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FURNACE ROOF PANNELS T1-T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060242363 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242363 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | TUBE,SILICON,GLASS,ITEM12,DRG404-3116-0 | INSULATION TUBE; MATERIAL G7; ITEM12 DRG 404-3116-01 REV0, FURNACE ROOF PANNELS T4 |  |  |  | URL NOT FOUND | [11 empty] | 404-3116-01 REV0 |  | 12 | CLEANSED | INSULATION | TUBE | TYPE |  | TUBE SIZE |  | THICKNESS |  | MATERIAL | G7 | LENGTH |  | DENSITY |  | INSIDE DIAMETER |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FURNACE ROOF PANNELS T4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060242392 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242392 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | TUBE,SILICON,GLASS,ITEM14,DRGAFC008-029 | INSULATION TUBE; MATERIAL G7; ITEM14 DRG AFC008-029 REV02, FURNACE ROOF PANNELS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | AFC008-029 REV02 |  | 14 | CLEANSED | INSULATION | TUBE | TYPE |  | TUBE SIZE |  | THICKNESS |  | MATERIAL | G7 | LENGTH |  | DENSITY |  | INSIDE DIAMETER |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FURNACE ROOF PANNELS T1-T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060242271 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242271 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | TUBE,SILICON,GLASS,ITEM20,DRGAFC008-029 | INSULATION TUBE; MATERIAL G7; ITEM20 DRG AFC008-029 REV02, FURNACE ROOF PANNELS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | AFC008-029 REV02 |  | 20 | CLEANSED | INSULATION | TUBE | TYPE |  | TUBE SIZE |  | THICKNESS |  | MATERIAL | G7 | LENGTH |  | DENSITY |  | INSIDE DIAMETER |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FURNACE ROOF PANNELS T1-T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060242260 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242260 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | TUBE,SILICON,GLASS,ITEM9,DRGAFC008-029 | INSULATION TUBE; MATERIAL G7; ITEM9 DRG AFC008-029 REV02, FURNACE ROOF PANNELS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | AFC008-029 REV02 |  | 9 | CLEANSED | INSULATION | TUBE | TYPE |  | TUBE SIZE |  | THICKNESS |  | MATERIAL | G7 | LENGTH |  | DENSITY |  | INSIDE DIAMETER |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FURNACE ROOF PANNELS T1-T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060251550 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251550 | BHP1 | BHP Spares & Supplies | P6020 | Health, safety environment & community services, consultants | EA | MAN2 | TUBE,SNAKE HOLDING | TUBE, SNAKE, HOLDING |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | SNAKE,HOLDING | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060235550 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060235550 | BHP1 | BHP Spares & Supplies | P0232 | Tubing (API) & accessories, pups, collars, shoes, crossovers | EA | MAN2 | TUBE,SQ,76X76X2,0.6M | SQ, TUBE, 76X76X2, .0, 6M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 76 | OUTSIDE DIAMETER | 76 | LENGTH | 6 M | WALL THICKNESS | 2 | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060253507 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253507 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBE,SQUARE,100X100X3,6M | TUBE, SQUARE, 100 X 100 X 3, 6M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 76 | OUTSIDE DIAMETER | 100 | LENGTH | 6 M | WALL THICKNESS | 3 | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060256356 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060256356 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBE,SQUARE,38X38X2,6M | TUBE, SQUARE, 38X38X2,6M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 38 | OUTSIDE DIAMETER | 38 | LENGTH | 6 M | WALL THICKNESS | 2 | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060253465 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253465 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBE,SQUARE,75X75X2,6M | TUBE, SQUARE, 75 X 75 X 2, 6M, 2, X 0MM, X 6000 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 75 | OUTSIDE DIAMETER | 75 | LENGTH | 6 M | WALL THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060255759 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255759 | BHP1 | BHP Spares & Supplies | 271217 | Hydraulic hose and tube fittings | EA | MAN2 | TUBE,STEEL,30OD,22ID,150MM,1IN,BSP,11/16 | TUBE STEEL, 30OD X 22ID X 150MM LONG, 1IN BSP ONE SIDE, 11/16INJIC OTHER SIDE, WITH DOWTY WASHER DW-16, DANGO CAR |  |  |  | URL NOT FOUND |  | DANGO CAR | [12 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | ID 22 X OD 30 X LG 150 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | END CONNECTION 1:1 IN BSP,END CONNECTION 2:11/16 IN JIC,W/ DOWTY WASHER DW-16 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060255767 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255767 | BHP1 | BHP Spares & Supplies | 271217 | Hydraulic hose and tube fittings | EA | MAN2 | TUBE,STEEL,30OD,22ID,350MM,1IN,BSP,11/16 | TUBE STEEL, 30OD X 22ID X 350MM LONG, 1IN BSP ONE SIDE, 11/16INJIC OTHER SIDE, C/W T-PIECE P/N CJ-12 AND DOWTY WASHER DW-16, DANGO C |  |  |  | URL NOT FOUND |  | DANGO CAR | CJ-12 | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | ID 22 X OD 30 X LG 350 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | END CONNECTION 1:1 IN BSP,END CONNECTION 2:11/16 IN JIC,C/W T-PIECE,DOWTY WASHER DW-16 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060240251 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060240251 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | TUBE,STEEL,SEAMLESS,PLAIN ENDS,STAINLESS | STEELTUBE, SEAMLESS,PLAIN ENDS,STAINLESS STEEL 316,ID 20MM,2MM THK,6M LONG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | SEAMLESS,PLAIN ENDS | SIZE | ID 20 X THK 2 MM X LG 6 M | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060245547 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060245547 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBE,STEERING,BOTTOM | TUBE,STEERING,BOTTOM | GM5607-4059 | 0019011819 | Unknown | URL NOT FOUND |  |  | GM5607-4059 | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | STEERING,BOTTOM | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060245543 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060245543 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBE,STEERING,TOP | TUBE,STEERING,TOP | GM5607-4058 | 0019011819 | Unknown | URL NOT FOUND |  |  | GM5607-4058 | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | STEERING,TOP | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060238458 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060238458 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBE,WA500,LH,FRONT,BRAKE,425-43-37442 | TUBE,KOMATSU,WA500,LH,FRONT,BRAKE,425-43-37442 | 425-43-37442 TUBE | 0019001867 | KOMATSU CORP | https://my.komatsu.co.nz/shop/generalparts_5637145341/5637376614_tube_425-43-37442 |  | KOMATSU CORP | 425-43-37442 | [6 empty] | WA500 |  |  |  |  | CLEANSED | TUBE | NO MODIFIER | TYPE | LH,FRONT,BRAKE | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060238459 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060238459 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBE,WA500,LH,REAR,BRAKE,425-43-37281 | TUBE,KOMATSU,WA500,LH,REAR,BRAKE,425-43-37281 | 425-43-37281 TUBE | 0019001867 | KOMATSU CORP | https://my.komatsu.co.nz/shop/generalparts_5637145341/5637376565_tube_425-43-37281 |  | KOMATSU CORP | 425-43-37281 | [6 empty] | WA500 |  |  |  |  | CLEANSED | TUBE | NO MODIFIER | TYPE | LH,REAR,BRAKE | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060238457 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060238457 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBE,WA500,RH,FRONT,BRAKE,425-43-37432 | TUBE,KOMATSU,WA500,RH,FRONT,BRAKE,425-43-37432 | 425-43-37432 TUBE | 0019001867 | KOMATSU CORP | https://my.komatsu.co.nz/shop/generalparts_5637145341/5637376595_tube_425-43-37432 |  | KOMATSU CORP | 425-43-37432 | [6 empty] | WA500 |  |  |  |  | CLEANSED | TUBE | NO MODIFIER | TYPE | RH,FRONT,BRAKE | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060238460 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060238460 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBE,WA500,RH,REAR,BRAKE,425-43-37272 | TUBE,KOMATSU,WA500,RH,REAR,BRAKE,425-43-37272 | 425-43-37272 TUBE | 0019001867 | KOMATSU CORP | https://my.komatsu.co.nz/shop/generalparts_5637145341/5637376557_tube_425-43-37272 |  | KOMATSU CORP | 425-43-37272 | [6 empty] | WA500 |  |  |  |  | CLEANSED | TUBE | NO MODIFIER | TYPE | RH,REAR,BRAKE | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060240849 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060240849 | BHP1 | BHP Spares & Supplies | 721000 | Building support, maintenance and repair services | EA | MAN2 | TUBES,HANDRAIL,6000MM LONG,STAINLESS | TUBES, HANDRAIL, 6000MM LONG, STAINLESS STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | HANDRAIL | SIZE | LG 6 M | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060026674 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060026674 | BHP1 | BHP Spares & Supplies | 391212 | Wire management components and busways | EA | MAN2 | TUBING, CONDUIT, 20MM DIA, PVC, 4M LONG | TUBING, CONDUIT, 20MM DIA, PVC, 4M LONG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | CONDUIT | SIZE | DIA 20 MM X LG 4 M | MATERIAL | PVC | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060000534 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060000534 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, RECTANGULAR, 100MM X 50MM, 2MM W | TUBING, RECTANGULAR, 100MM X 50MM, 2MM WALL, 6M LONG, MILD STEEL, COM QLTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | STRUCTURAL | TYPE |  | SHAPE | RECTANGULAR | SIZE | WD 100 MM X LG 6 M X HT 50 MM | WALL THICKNESS | 2 MM | LOAD CAPACITY |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | STRUCTURE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COM QLTY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060000536 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060000536 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, RECTANGULAR, 100MM X 50MM, 3MM W | TUBING, RECTANGULAR, 100MM X 50MM, 3MM WALL, 6M LONG, MILD STEEL, COM QLTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | STRUCTURAL | TYPE |  | SHAPE | RECTANGULAR | SIZE | WD 100 MM X LG 6 M X HT 50 MM | WALL THICKNESS | 3 MM | LOAD CAPACITY |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | STRUCTURE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COM QLTY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060000537 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060000537 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, RECTANGULAR, 100MM X 50MM, 4.5MM | TUBING, RECTANGULAR, 100MM X 50MM, 4.5MM WALL, 6M LONG, MILD STEEL, COM QLTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | STRUCTURAL | TYPE |  | SHAPE | RECTANGULAR | SIZE | WD 100 MM X LG 6 M X HT 50 MM | WALL THICKNESS | 4.5 MM | LOAD CAPACITY |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | STRUCTURE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COM QLTY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060000532 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060000532 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, RECTANGULAR, 50MM X 25MM, 2MM WA | TUBING, RECTANGULAR, 50MM X 25MM, 2MM WALL, 6M LONG, MILD STEEL, COM QLTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | STRUCTURAL | TYPE |  | SHAPE | RECTANGULAR | SIZE | WD 50 MM X LG 6 M X HT 25 MM | WALL THICKNESS | 2 MM | LOAD CAPACITY |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | STRUCTURE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COM QLTY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060000533 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060000533 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, RECTANGULAR, 50MM X 38MM, 2MM WA | TUBING, RECTANGULAR, 50MM X 38MM, 2MM WALL, 6M LONG, MILD STEEL, COM QLTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | STRUCTURAL | TYPE |  | SHAPE | RECTANGULAR | SIZE | WD 50 MM X LG 6 M X HT 38 MM | WALL THICKNESS | 2 MM | LOAD CAPACITY |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | STRUCTURE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COM QLTY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060000540 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060000540 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, SQ, 20MM, 1.6MM WALL, 6M LONG, M | TUBING, SQ, 20MM, 1.6MM WALL, 6M LONG, MILD STEEL, COM QLTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 20 MM | OUTSIDE DIAMETER |  | LENGTH | 6 M | WALL THICKNESS | 1.6 MM | MATERIAL |  | MATERIAL SPECIFICATION | MILD STEEL | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE,COM QLTY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060000541 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060000541 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, SQ, 20MM, 2MM WALL, 6M LONG, MIL | TUBING, SQ, 20MM, 2MM WALL, 6M LONG, MILD STEEL, COM QLTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 20 MM | OUTSIDE DIAMETER |  | LENGTH | 6 M | WALL THICKNESS | 2 MM | MATERIAL |  | MATERIAL SPECIFICATION | MILD STEEL | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE,COM QLTY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060000542 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060000542 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, SQ, 25MM, 1.6MM WALL, 6M LONG, M | TUBING, SQ, 25MM, 1.6MM WALL, 6M LONG, MILD STEEL, COM QLTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 25 MM | OUTSIDE DIAMETER |  | LENGTH | 6 M | WALL THICKNESS | 1.6 MM | MATERIAL |  | MATERIAL SPECIFICATION | MILD STEEL | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE,COM QLTY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060001136 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060001136 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, SQ, 38.1MM, 3MM WALL, 6M LONG, M | TUBING, SQ, 38.1MM, 3MM WALL, 6M LONG, MILD STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 38 MM | OUTSIDE DIAMETER |  | LENGTH | 6 M | WALL THICKNESS | 3 MM | MATERIAL |  | MATERIAL SPECIFICATION | MILD STEEL | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060000549 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060000549 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, SQ, 50MM, 1.6MM WALL, 6M LONG, M | TUBING, SQ, 50MM, 1.6MM WALL, 6M LONG, MILD STEEL, COM QLTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 50 MM | OUTSIDE DIAMETER |  | LENGTH | 6 M | WALL THICKNESS | 1.6 MM | MATERIAL |  | MATERIAL SPECIFICATION | MILD STEEL | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE,COM QLTY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060001135 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060001135 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, SQUARE, MILD STEEL, 38.1MM X 2.5 | TUBING, SQUARE, MILD STEEL, 38.1MM X 2.5MM WALL X 6M LONG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 38 MM | OUTSIDE DIAMETER |  | LENGTH | 6 M | WALL THICKNESS | 2.5 MM | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060001137 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060001137 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING, SQUARE, MILD STEEL, 50.8MM X 4MM | TUBING, SQUARE, MILD STEEL, 50.8MM X 4MM WALL X 6M LONG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 50.8 MM | OUTSIDE DIAMETER |  | LENGTH | 6 M | WALL THICKNESS | 4 MM | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE:SQUARE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060243131 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060243131 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | M | MAN2 | TUBING,3/8INCH NYLON | TUBING, 3/8INCH NYLON |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 3/8 IN | MATERIAL | NYLON | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060239521 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239521 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | M | MAN2 | TUBING,6MM,FESTO,BLACK | TUBING, 6MM, FESTO, BLACK, PLASTIC, UV PROTECTED, PUN-6X1-SW |  |  |  | https://www.festo.com/us/en/a/159665/?q=PUN-6X1-SW~:sortByCoreRangeAndSp2020 |  | FESTO | PUN-6X1-SW | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | UV PROTECTED | SIZE | 6 MM | MATERIAL | PLASTIC | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060244970 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060244970 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBING,BLUE,10MM | TUBING, BLUE, 10MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 10 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLUE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060244971 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060244971 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBING,BLUE,12MM | TUBING, BLUE, 12MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 12 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLUE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060244911 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060244911 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBING,BLUE,6MM | TUBING,BLUE,6MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 6 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLUE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060244969 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060244969 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TUBING,BLUE,8MM | TUBING, BLUE, 8MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 8 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLUE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060243114 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060243114 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | M | MAN2 | TUBING,COPPER | TUBING, COPPER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | COPPER | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060253759 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253759 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | TUBING,CUTTER,D:AS-SCHL-SCHN | TUBING, CUTTER, D:AS-SCHL-SCHN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | CUTTER | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | D:AS-SCHL-SCHN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060239753 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239753 | BHP1 | BHP Spares & Supplies | 401423 | Pipe fittings | M | MAN2 | TUBING,PLASTIC,FESTO,6MM,PUN-6X1-BL | TUBING,PLASTIC, FESTO, 6MM, PUN-6X1-BL,STANDARD O.D,FOR QS PLUG, CONNECTOR, CN,CK POLYURETHANE FITTINGS |  |  |  | https://www.festo.com/us/en/a/159664/ |  | FESTO | PUN-6X1-BL | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 6 MM | MATERIAL | PLASTIC | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STANDARD O.D,FOR QS PLUG,CONNECTOR,CN,CK POLYURETHANE FITTINGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060239758 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239758 | BHP1 | BHP Spares & Supplies | 401423 | Pipe fittings | M | MAN2 | TUBING,PLASTIC,FESTO,8MM,PUN-8X1,25-BL | TUBING,PLASTIC,FESTO,8MM,PUN-8X1,25-BL, STANDARD O.D,FOR QS PLUG CONNECTOR, CN,CK POLYURETHANE FITTINGS |  |  |  | https://www.festo.com/us/en/a/159666/?q=PUN-8X1,25-BL~:festoSortOrderScored |  | FESTO | PUN-8X1,25-BL | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 8 MM | MATERIAL | PLASTIC | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STANDARD O.D,FOR QS PLUG CONNECTOR,CN,CK POLYURETHANE FITTINGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060240881 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060240881 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | M | MAN2 | TUBING,PNEUMATIC,PLASTIC,14 BAR,PLN | TUBING, PNEUMATIC, PLASTIC,14 BAR,PLN 16X2MM SW, PART NUMBER 539065, FESTO | 539065 |  |  | https://www.festo.com/us/en/a/539065/?q=539065~:festoSortOrderScored |  | FESTO | 539065 | [11 empty] | ENRICHED | TUBE | NO MODIFIER | TYPE | PNEUMATIC | SIZE | ID 12 X OD 16 MM | MATERIAL | PLASTIC | MATERIAL SPECIFICATION |  | PRESSURE RATING | 14 BAR | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060251177 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251177 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | M | MAN2 | TUBING,PNEUMATIC,PVC,10BAR,12MMX2MM,EA | TUBING,PNEUMATIC,PVC,10BAR,PLN 12MMX2MM,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | PNEUMATIC | SIZE | 12 X 2 MM | MATERIAL | PVC | MATERIAL SPECIFICATION |  | PRESSURE RATING | 10 BAR | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLN,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060235660 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060235660 | BHP1 | BHP Spares & Supplies | 301515 | Roofing materials | EA | MAN2 | TUBING,REQTANGULAR,120,60,3mm,6M | REQTANGULAR TUBING 120 x 60 x3mm 6M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | STRUCTURAL | TYPE |  | SHAPE | RECTANGULAR | SIZE | WD 120 MM X 6 M X HT 60 MM | WALL THICKNESS | 3 MM | LOAD CAPACITY |  | MATERIAL |  | MATERIAL SPECIFICATION |  | STRUCTURE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060232265 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060232265 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING,SQUARE,76X76X2.0,6M | SQUARE TUBE 76X76X2.0-6M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 76 | OUTSIDE DIAMETER | 76 | LENGTH | 6 M | WALL THICKNESS | 2 | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060235668 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060235668 | BHP1 | BHP Spares & Supplies | 301515 | Roofing materials | EA | MAN2 | TUBING,SQUARE,STEEL,50X50X2MM,6M | SQUARE TUBING STEEL 50X50X2,0,MM 6M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | METALLIC | INSIDE DIAMETER | 50 MM | OUTSIDE DIAMETER | 50 MM | LENGTH | 6 M | WALL THICKNESS | 2 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | STRUCTURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060255715 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255715 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TUBING,SS,12MM,1.6MM,6M,EA | TUBING, STAINLESS STEEL, 12MM OUTISDE DIAMETER, 1.6MM WALL THICKNESS, 6M LENGTH, IMPULSE LINE, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | OD 12 MM X LG 6 M | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WALL THICKNESS:1.6 MM,IMPULSE LINE, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060255716 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255716 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TUBING,SS,6MM,1.6MM,6M,EA | TUBING, STAINLESS STEEL, 6MM OUTISDE DIAMETER, 1.6MM WALL THICKNESS, 6M LENGTH, IMPULSE LINE, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | OD 6 MM | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WALL THICKNESS:1.6 MM,IMPULSE LINE, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060240917 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060240917 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | TUBING,STAINLESS STEEL HYDRAULIC 316,SEA | STAINLESS STEEL HYDRAULIC TUBING 316,SEAMLESS,OD 42MM,3MM THK,6M LONG,PLAIN ENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | HYDRAULIC,SEAMLESS | SIZE | OD 42 X THK 3 MM | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060242674 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242674 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | TUBING,STAINLESS STEEL,HYDRAULIC,316,SEA | STAINLESS STEEL HYDRAULIC TUBING 316,SEAMLESS,OD 30MM,3MM THK,6M LONG,PLAIN ENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | HYDRAULIC,SEAMLESS | SIZE | OD 30 X THK 3 MM | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060240228 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060240228 | BHP1 | BHP Spares & Supplies | 312313 | Tube and tubing | EA | MAN2 | TUBING,STAINLESS,STEEL,6MM,DIAMETER,12ML | INST,TUBING,STAINLESS STEEL,6MM DIAMETER,12M LONG | STAINLESS STEEL |  |  | URL NOT FOUND | [14 empty] | CLEANSED | INSULATION | TUBE | TYPE |  | TUBE SIZE | DIA 6 MM | THICKNESS |  | MATERIAL | STAINLESS STEEL | LENGTH | 12 M | DENSITY |  | INSIDE DIAMETER |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060253543 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253543 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | TUBINGLINE,COUPLING,CLOGGED,6000MM | TUBINGLINE,COUPLING,CLOGGED,6000MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | COUPLING | SIZE | 6 M | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CLOGGED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060185720 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060185720 | BHP1 | BHP Spares & Supplies | 201117 | Drilling and operation accessories | EA | MAN2 | WATER TUBE P/N 153001RT | WATER TUBE P/N 153001RT | 155800RT | 0019008895 | ROCK TOOL SERVICES | URL NOT FOUND |  | ROCK TOOL SERVICES | 155800RT | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | WATER | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060185766 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-07 |  | 000000000060185766 | BHP1 | BHP Spares & Supplies | 201117 | Drilling and operation accessories | EA | MAN2 | WATER TUBE P/N 153001RT | WATER TUBE P/N 153001RT | 215800RT | 0019008895 | ROCK TOOL SERVICES | URL NOT FOUND |  | ROCK TOOL SERVICES | 215800RT | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | WATER | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed