## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060255514 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255514 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VALVE,BURKET,2BY2,SERVOASSITED,6281EVB13 | VALVE,BURKET,2BY2 WAY,SERVO ASSITED,6281-EVB-13,0BBMSGM84-5-024/DC08 NA38 | 6281-EVB-13 | 0019011819 | Unknown | https://www.burkert.in/en/type/6281 |  | BURKET | 6281-EVB-13 |  |  | 0BBMSGM84-5-024/DC08 NA38 | [8 empty] | CLEANSED | VALVE | DIAPHRAGM | TYPE | SERVO ASSITED | NOMINAL SIZE |  | END CONNECTION |  | DIAPHRAGM MATERIAL |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION | 2/2 WAY | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060164685 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060164685 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,100MM,DLM-OKUMURA,MO | VALVE, BUTTERFLY, 100MM, DLM-OKUMURA, MODEL 616 WAFER STYL, DUCTILE IRON BODY 304 STAINLESS STEEL DISC, EPDM LINER, COMPLETE WITH, STAINLESS STEEL MOUNTING KIT AND HABONIM SPRING TO CLOSE ACTUATOR MODEL H30SR. |  |  |  | https://www.dlm.co.za/okumura |  | DLM-OKUMURA |  | 616 | [10 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE | WAFER STYLE | NOMINAL SIZE | 100 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | DUCTILE IRON | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | 304 STAINLESS STEEL DISC/EPDM LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W STAINLESS STEEL MOUNTING KIT AND HABONIM SPRING TO CLOSE ACTUATOR MODEL H30SR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060246611 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060246611 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,BUTTERFLY,100MM,PN40,DISC,SEAL | VALVE,BUTTERFLY,100MM,PN40,BODY,CF8M,DISC,SEAL,PTFE,C/W,24VDC,ELECTRIC,ACTUATOR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | 100 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | STAINLESS STEEL CF8M | PRESSURE CLASS/RATING | PN40 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | PTFE DISC | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SEAL C/W 24 VDC ELECTRIC ACTUATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060246705 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060246705 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,400MM,WAFER,TYPE,RAGMAX4 | VALVE, BUTTERFLY, 400MM, PN16 WAFER TYPE, DUCTILE IRON BODY, STAINLESS STEEL DISC, COMPLETE WITH GEARBOX AND HANDWHEEL, PECU LINED, |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE | WAFER | NOMINAL SIZE | 400 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | DUCTILE IRON | PRESSURE CLASS/RATING | PN16 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | STAINLESS STEEL DISC | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W GEARBOX AND HANDWHEEL, PECU LINED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255478 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255478 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | VALVE,BUTTERFLY,600MM,FLANGED,PN16 | VALVE,BUTTERFLY,600MM,FLANGED,PN16,SG IRON FUSION BONDED EPOXY COATED DOUBLE ECCENTRIC BUTTERFLY VALVE WITH NBR SEAT STAINLESS STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE | DOUBLE ECCENTRIC | NOMINAL SIZE | 600 MM | END CONNECTION | FLANGED | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | SG IRON FUSION BONDED EPOXY COATED | PRESSURE CLASS/RATING | PN16 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | STAINLESS STEEL SEAT | SOFTGOODS | NBR SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255476 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255476 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | VALVE,BUTTERFLY,750MM,FLANGED,PN16 | VALVE,BUTTERFLY,750MM,FLANGED,PN16,SG IRON FUSION BONDED EPOXY COATED DOUBLE ECCENTRIC BUTTERFLY VALVE WITH NBR SEAT STAINLESS STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE | DOUBLE ECCENTRIC | NOMINAL SIZE | 750 MM | END CONNECTION | FLANGED | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | SG IRON FUSION BONDED EPOXY COATED | PRESSURE CLASS/RATING | PN16 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | STAINLESS STEEL SEAT | SOFTGOODS | NBR SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060251106 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251106 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | VALVE,BUTTERFLY,800MM | VALVES,BUTTERFLY,800MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | 800 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060235524 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060235524 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | VALVE,BUTTERFLY,80MM,JMC31300,AQ15 | INST,80MM JMC 31300,BUTTERFLY VALVE,WAFER,DUCTILE IRON BODY,STAINLESS, STEEL DISC,EPDM LINER,BARE SHAFT C/W,AQ15 SWICTH PREWIRED QUARTER TURN, BERNARD CONTROLS ELECTRIC ACTUATOR,24VDC/50HZ,150NM,F05/F07,OP TIME, 30/25,MAX TORQUE 150NM,IP68 ENCLOSURE,MOTOR DUTY 30 PERCENT,2SPDT, SWITCHES AS STANDARD,OPEN AND CLOSE,2 AUXILIARY SWITCHES FOR SIGNALING, ,MANUAL OVERRIDE HANDWHEEL AUTOMATIC DECLUTCH,ALUMINIUM DIE CASTING, ,POWDER PAINTING AS STANDARD,RAL1014 |  |  |  | https://www.valvesonline.com.au/brand/~-33177 |  |  | JMC 31300 | [11 empty] | ENRICHED | VALVE | BUTTERFLY | TYPE | WAFER | NOMINAL SIZE | 80 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | DUCTILE IRON | PRESSURE CLASS/RATING | 20 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | STAINLESS STEEL DISC/EPDM LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BARE SHAFT, C/W AQ15 SWICTH PREWIRED QUARTER TURN, BERNARD CONTROLS ELECTRIC ACTUATOR, 24 VDC/50 HZ, 150 NM, F05/F07,OP TIME 30/25, MAX TORQUE: 150 NM, ENCLOSURE:IP68 , MOTOR DUTY 30 PCT, 2SPDT SWITCHES AS STANDARD,OPEN AND CLOSE, 2 AUXILIARY SWITCHES FOR SIGNALING, MANUAL OVERRIDE HANDWHEEL AUTOMATIC DECLUTCH, ALUMINIUM DIE CASTING, POWDER PAINTING AS STANDARD RAL1014 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060252149 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060252149 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,BUTTERFLY,DN150,SLRY,PNEUMATIC | VALVE, BUTTERFLY, DN150, SLRY, PNEUMATIC, DOUBLEACTING, ACTUATOR, WITH, YTC-2501RDN, POSITIONER, YT-2501RSENSOR,INCLUDED | RA-0150-62522121-411-3YT2501-00-0-0-3 | 0019011819 | Unknown | URL NOT FOUND |  |  | RA-0150-62522121-411-3YT2501-00-0-0-3 | [11 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | DN150 | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SLURRY, W/ PNEUMATIC DOUBLE ACTING ACTUATOR, YTC-2501RDN POSITIONER, YT-2501R SENSOR INCLUDED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060254431 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060254431 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,DN500,316 SS,PTFE,EA | VALVE, BUTTERFLY, DN500, 316 SS, PTFE LINER, GEAR OPERATED, HAND WHEEL, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | DN500 | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | STAINLESS STEEL 316 | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | GEAR, HANDWHEEL | TRIM | PTFE LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255966 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255966 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,DN600,WORM,GEAR | VALVE,BUTTERFLY,DN600,WORM,GEAR,PN16-20,IRON,BODY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | DN600 | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | IRON | PRESSURE CLASS/RATING | PN16-20 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ WORM GEAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060253437 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253437 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,FLANGED,150 MM,RAGMAX 20 | VALVE, BUTTERFLY, FLANGED, 150 MM, RAGMAX 2000 SLURRY VALVE C/W, DOUBLE ACTING ACTUATOR | RA-0150-62522121-411-0-00-0-1-3 | 0019011819 | Unknown | https://www.ragon.co.za/butterfly-valves.html |  | RAGMAX | 2000 |  |  | RA-0150-62522121-411-0-00-0-1-3 | [8 empty] | ENRICHED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | 150 MM | END CONNECTION | FLANGED | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | PECU HIGH WEAR LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SLURRY, C/W DOUBLE ACTING ACTUATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060253348 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253348 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,FLANGED,50 MM,RAGMAX 200 | VALVE, BUTTERFLY, FLANGED, 50 MM, RAGMAX 2000 SLURRY VALVE C/W SPRING RETURN, FAIL CLOSE ACTUATOR, ELECTRO-PNEUMATIC POSITIONER | RA-0050-62522121-410-2-00-0-0-3 | 0019011819 | Unknown | https://www.ragon.co.za/butterfly-valves.html |  | RAGMAX | 2000 |  |  | RA-0050-62522121-410-2-00-0-0-3 | [8 empty] | ENRICHED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | 50 MM | END CONNECTION | FLANGED | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | PECU HIGH WEAR LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SLURRY, C/W SPRING RETURN, FAIL CLOSE ACTUATOR, ELECTRO-PNEUMATIC POSITIONER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060253364 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253364 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,S/S,PTFE LINER,DN50,EA | VALVE, BUTTERFLY, STAINLESS STEEL CASING, PTFE DISC LINER, DN50, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | DN50 | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | STAINLESS STEEL | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | PTFE DISC LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060245257 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060245257 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,BUTTERFLY,SLURRY,150MM | VALVE,BUTTERFLY,SLURRY,150MM. RAGMAX,CWDBBL ACTING PNEUMATIC ACTUATOR AND ELECTRO-PNEUMATIC POSITIONER WITH FILTER. BODY MATERIAL:DU |  |  |  | URL NOT FOUND |  | RAGMAX | [12 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | 150 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SLURRY, C/W DOUBLE ACTING PNEUMATIC ACTUATOR AND ELECTRO-PNEUMATIC POSITIONER W/ FILTER BODY MATERIAL: DUCTILE IRON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060245259 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060245259 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,BUTTERFLY,SLURRY,50MM | VALVE,BUTTERFLY,SLURRY,50MM. RAGMAX,CW DBL ACTING PNEUMATIC ACTUATOR AND ELECTRO-PNEUMATIC POSITIONER WITH FILTER. BODY MATERIAL:DUC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | 50 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W DOUBLE ACTING PNEUMATIC ACTUATOR AND ELECTRO-PNEUMATIC POSITIONER W/ FILTER BODY MATERIAL: DUCTILE IRON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255364 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255364 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,TYPE-WAFER,100MM,STAINL | VALVE,BUTTERFLY,TYPE-WAFER,100MM,STAINLESS STEEL,GG20,EPDM,CF8M,ACTUATED DOUBLE ACTING,RAGON INDUSTRIES |  |  |  | URL NOT FOUND |  | RAGON INDUSTRIES | [12 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE | WAFER | NOMINAL SIZE | 100 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL: STAINLESS STEEL, GG20, EPDM, CF8M, W/ ACTUATED DOUBLE ACTING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255521 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255521 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,TYPE-WAFER,150MM,STAINLE | VALVE,BUTTERFLY,TYPE-WAFER,150MM,STAINLESS STEEL,GG20,EPDM,CF8M,ACTUATED DOUBLE ACTING,RAGON INDUSTRIES |  |  |  | URL NOT FOUND |  | RAGON INDUSTRIES | [12 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE | WAFER | NOMINAL SIZE | 150 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL: STAINLESS STEEL, GG20, EPDM, CF8M, W/ ACTUATED DOUBLE ACTING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255362 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255362 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,TYPE-WAFER,200MM,STAINLE | VALVE,BUTTERFLY,TYPE-WAFER,200MM,STAINLESS STEEL,GG20,EPDM,CF8M,ACTUATED DOUBLE ACTING,RAGON INDUSTRIES |  |  |  | URL NOT FOUND |  | RAGON INDUSTRIES | [12 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE | WAFER | NOMINAL SIZE | 200 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL: STAINLESS STEEL, GG20, EPDM, CF8M, W/ ACTUATED DOUBLE ACTING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255363 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255363 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,BUTTERFLY,TYPE-WAFER,50MM,STAINLES | VALVE,BUTTERFLY,TYPE-WAFER,100MM,STAINLESS STEEL,GG20,EPDM,CF8M,ACTUATED DOUBLE ACTING,RAGON INDUSTRIES |  |  |  | URL NOT FOUND |  | RAGON INDUSTRIES | [12 empty] | CLEANSED | VALVE | BUTTERFLY | TYPE | WAFER | NOMINAL SIZE | 100 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL: STAINLESS STEEL, GG20, EPDM, CF8M, W/ ACTUATED DOUBLE ACTING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060243130 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060243130 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,CHECK,50MM SPRING LOADED,BRASS | VALVE, CHECK, 50MM SPRING LOADED, BRASS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | SPRING LOADED | NOMINAL SIZE | 50 MM | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL | BRASS | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060244468 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060244468 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,CHECK,WAFER,DOUBLE DOOR,NVR,100MM | VALVE, CHECK, NON RETURN, WAFER, DOUBLE DOOR, NVR, 100MM | NA |  |  | URL NOT FOUND |  | NVR | [12 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN, WAFER, DOUBLE DOOR | NOMINAL SIZE | 100 MM | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060243691 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060243691 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VALVE,COAX,MK15NC220V,M12,0-64BAR | INST,VALVE,COAX,MK 15 NC 220V,SOLENOID,0-64BAR,G1/2 BSP PROCESS CONNECTOR,BRASS BODY,SPECIAL PARTICLES SEAL FOR CONTAMINATED WATER/ | MK 15 | 0019011819 | Unknown | https://co-ax.com/pdf/en/en_mkmodul.pdf |  | COAX | MK 15 | [11 empty] | ENRICHED | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE | G1/2 | END CONNECTION | BSP | CONFIGURATION |  | ORIFICE SIZE | DN15 | ELECTRICAL RATING | 220 V | FLOW RATING |  | PRESSURE CLASS/RATING | 0-64 BAR | BODY MATERIAL | BRASS | DESIGN PRESSURE |  | TEMPERATURE RATING | -20 TO 160 DEG C | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SPECIAL PARTICLES SEAL FOR CONTAMINATED WATER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060250374 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060250374 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,CONTROL,709-91-12500,KOMATSU,HM300 | VALVE,CONTROL,HOIST,709-91-12500,KOMATSU,HM300-2R | 709-91-12500 VALVE, CONTROL | 0019011819 | Unknown | https://777parts.org/part-komatsu/valve/7099112500/ |  | KOMATSU | 709-91-12500 | [5 empty] | HOIST | HM300-2R | KOMATSU |  |  |  | CLEANSED | VALVE | CONTROL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060252746 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060252746 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,CONTROL,77007958,DD210L,RIG | CONTROL VALVE ASSEMBLED, PN 77007958, DD210L DRILL RIG | 77007958 | 0019011819 | Unknown | https://supply.parts/request/view?id=472217 |  |  | 77007958 | [5 empty] | DRILL RIG | DD210L |  |  |  |  | CLEANSED | VALVE | CONTROL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060253528 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253528 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,CONTROL,ONE-WAYFLOW,60-120BAR | VALVE, CONTROL, ONE-WAY FLOW, 60-120BAR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CONTROL | TYPE | FLOW | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING | 60-120 BAR | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION | 1-WAY | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060253529 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253529 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,CONTROL,TWO-WAYFLOW,60-120BAR | VALVE, CONTROL, TWO-WAY FLOW, 60-120BAR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CONTROL | TYPE | FLOW | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING | 60-120 BAR | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION | 2-WAY | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060242066 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242066 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,COOLING WATER,DN25,PN16,4M12HOLES | VALVE,COOLING WATER,DN25,PN16,4M12HOLES,L-155MM,OD-115MM,PCD-85MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | COOLING WATER | NOMINAL SIZE | DN25 | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING | PN16 | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: OD 115 X LG 155 MM, PCD: 85 MM, HOLE SIZE:(4) M12 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060232036 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060232036 | BHP1 | BHP Spares & Supplies | 461916 | Fire fighting equipment | EA | MAN2 | VALVE,CP,EACH | VALVE, CP |  |  |  | URL NOT FOUND |  | CP VALVE | [12 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253060 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253060 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,DCV,DG4V-3-8C-V-M-U-H7-61,EA | VALVE, DCV, VICKERS, DG4V-3-8C-V-M-U-H7-61, MOTION, EA | DG4V-3-8C-V-M-U-H7-61 | 0019011819 | Unknown | https://www.motionindustries.com/products/sku/00421724 |  | VICKERS | DG4V-3-8C-V-M-U-H7-61 | [11 empty] | ENRICHED | VALVE | CONTROL | TYPE | DIRECTION, MOTION | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE | SOLENOID | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING | 5076 PSI | BODY MATERIAL | GRAY IRON | DESIGN PRESSURE |  | TEMPERATURE RATING | - 4 TO 158 DEG F | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060251111 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251111 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,DIAPHRAGM,100MM | VALVE,DIAPHRAGM,100MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | DIAPHRAGM | TYPE |  | NOMINAL SIZE | 100 MM | END CONNECTION |  | DIAPHRAGM MATERIAL |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060251112 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251112 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,DIAPHRAGM,140MM | VALVE,DIAPHRAGM,140MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | DIAPHRAGM | TYPE |  | NOMINAL SIZE | 140 MM | END CONNECTION |  | DIAPHRAGM MATERIAL |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060251110 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251110 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,DIAPHRAGM,80MM | VALVE,DIAPHRAGM,80MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | DIAPHRAGM | TYPE |  | NOMINAL SIZE | 80 MM | END CONNECTION |  | DIAPHRAGM MATERIAL |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060254449 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060254449 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,DIAPHRAM,DN80, 665,PN16,8HOLES,BOD | VALVE, DIAPHRAM, DN80, 665, PN16, 8HOLES, BODY LENGTH 205MM, PREMIER VALVE |  |  |  | URL NOT FOUND |  | PREMIER VALVE | [12 empty] | CLEANSED | VALVE | DIAPHRAGM | TYPE |  | NOMINAL SIZE | DN80 | END CONNECTION |  | DIAPHRAGM MATERIAL |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING | PN16 | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF HOLES: 8, BODY LENGTH: 205 MM, 665 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060242496 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060242496 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,DIR,CONT,3/2,P/BRAKE,UV-90900007 | DIRECT CONTROL VALVE, 3/2 PARK BRAKE, PN UV-90900007 | UV-90900007 |  |  | https://www.bidderschoice.co.za/wp-content/uploads/WPL/376/att_MC8_Lot-059.pdf |  |  | UV-90900007 | [11 empty] | CLEANSED | VALVE | CONTROL | TYPE | DIRECT, PARK BRAKE | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION | 3/2 WAY | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060243726 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060243726 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,DOUBLE AIR,PILOT,5/2 1/8 | 5/2 DOUBLE PILOT VALVE,TECHNO 4A-120-06,1/8 INCH INCH THREAD SIZE | HYD-4A 12-06 |  |  | https://www.industrybuying.com/pilot-operated-valve-techno-PN.CO.PI.1624970/ |  |  | HYD-4A 12-06 | 4A-120-06 | [10 empty] | CLEANSED | VALVE | PILOT | TYPE | DOUBLE | NOMINAL SIZE | 1/8 IN | END CONNECTION |  | CONFIGURATION | 5/2 WAY | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING | 5 TO 50 DEG C | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: TECHNO | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060254879 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060254879 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | VALVE,ELECTRO HYDAULIC,PROP | VALVE, ELECTRO, HYDRAULIC, PROP | HYD-ELE-24-43 | 0019011819 | Unknown | URL NOT FOUND |  |  | HYD-ELE-24-43 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | ELECTRO, HYDRAULIC, PROPORTIONAL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060243558 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060243558 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,EXPANSION,AN51515-A0490,KOMATSU,WA | VALVE,EXPANSION,AN51515-A0490,KOMATSU,WA500-6 | AN51515-A0490 VALVE, EXPANSION | 0019011819 | Unknown | https://www.coowor.com/p/20181112105422NQ3P/AN51515-A0490-KOMATSU-PC2000-EXPANSION-VALVE.htm |  | KOMATSU CORP | AN51515-A0490 | [6 empty] | WA500-6 | KOMATSU |  |  |  | CLEANSED | VALVE | EXPANSION | TYPE |  | CONNECTION SIZE |  | END CONNECTION |  | TEMPERATURE RANGE |  | CONFIGURATION |  | CAPILLARY LENGTH |  | FLOW RATING |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | CAPACITY |  | TRIM |  | REFRIGERANT TYPE |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060240339 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060240339 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VALVE,FESTO,CPV14BS2XGRZZ1,8,PARTNUMBER | INST,VALVE,FESTO,CPV14BS2XGRZZ1/8,PART NUMBER:184142 | 184142 |  |  | https://www.festo.com/us/en/a/184142/?q=184142~:festoSortOrderScored | https://www.festo.com/us/en/a/download-document/datasheet/184142 | FESTO | 184142 |  |  | CPV14-BS-2XGRZZ-1/8 | [8 empty] | ENRICHED | VALVE | CONTROL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION | 1-WAY | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060240340 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060240340 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VALVE,FESTO,MSZC321DC,MICRO | INST,VALVE,FESTO,MSZC-3-21-DC,MICRO,384 164 L3,0.65W 21VDC,IP00/65 | MSZC-3-21 DC |  |  | https://eltra-trade.com/products/festo-mszc-3-21-dc-384-164 |  | FESTO | MSZC-3-21 DC |  |  | 384 164 L3 | [8 empty] | CLEANSED | VALVE | SOLENOID | TYPE | MICRO | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 21 VDC, 0.65 W | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE | IP00/65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060241814 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060241814 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | VALVE,FINAL DRIVE,3D2239,CAT,EA | VALVE, FINAL DRIVE, 621F, WHEEL TRACTOR SCRAPER, 3D 2239, CAT, EA | 3D2239 |  |  | https://parts.cat.com/en/catcorp/3D-2239 |  | CATERPILLAR SA | 3D-2239 | [5 empty] | WHEEL TRACTOR SCRAPER | 621F |  |  |  |  | CLEANSED | VALVE | TUBE TIRE | TYPE | FINAL DRIVE | MATERIAL | BRASS | SIZE |  | DESIGN TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060255674 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255674 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,FIRE,HYDRANT,65MMX90DEG | VALVE,FIRE,HYDRANT,65MMX90DEG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | FIRE, HYDRANT | NOMINAL SIZE | 65 MM | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANGLE: 90 DEG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060241791 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060241791 | BHP1 | BHP Spares & Supplies | 401017 | Cooling | EA | MAN2 | VALVE,FLOAT,EVAPCO,034-0401SA,ASS | FLOAT VALVE,EVAPCO,034-0401SA,ASSEMBLY,2 INCH TO 10 INCH,MODEL NO: ATW 216-4L-2,SERIAL NO: 19-8802 | 034-0401SA |  |  | URL NOT FOUND |  | EVAPCO | 034-0401SA | ATW 216-4L-2 | [8 empty] | 19-8802 |  | CLEANSED | VALVE | FLOAT | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | BODY MATERIAL |  | DISCHARGE RATING |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOAT MATERIAL |  | TRIM |  | FLOAT DIAMETER |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY, 2 IN TO 10 IN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060251336 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251336 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,FLOATING,BALL,8HOLE,150MM | VALVE,FLOATING,BALL,8HOLE,150MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BALL | TYPE | FLOATING | NOMINAL SIZE | 150 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF HOLES: 8 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060244034 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060244034 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,GAS,SET,13200,JCB,HM160,BREAKER | VALVE,GAS,SET,13200,JCB,HM160,BREAKER | GAS VALVE SET 13200 | 0019011819 | Unknown | URL NOT FOUND |  |  | 13200 | [6 empty] | HM160 | JCB |  |  |  | CLEANSED | VALVE | GAS | TYPE | BREAKER, SET | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060251259 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251259 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | VALVE,GATE,12.7MM,800 PSI,FORGED STEEL,B | VALVE,GATE,12.7MM,800 PSI,FORGED STEEL,BONNEY,SCREWED BSP FEMALE,BO0AHL103HIF15 | BO0AHL103HIF15 | 0019011819 | Unknown | URL NOT FOUND |  | BONNEY | BO0AHL103HIF15 | [11 empty] | CLEANSED | VALVE | GATE | TYPE |  | NOMINAL SIZE | 12.7 MM | END CONNECTION | FBSP | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING | 800 PSI | BODY MATERIAL | FORGED STEEL | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060252553 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060252553 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,GATE,200MM,INDUSTRIAL,PATTERN,PN10 | VALVE, GATE, 200MM, INDUSTRIAL, PATTERN, PN10, RISING, SPINDLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | GATE | TYPE | RISING SPINDLE | NOMINAL SIZE | 200 MM | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING | PN10 | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR INDUSTRIAL, PATTERN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060164684 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060164684 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,GATE,250MM,RISING SPINDLE,10 B | VALVE, GATE: 250MM, RISING SPINDLE, 10 BAR RATED, UNIFLOW, CAST IRON BODY, FLANGED AND DRILLED, BS4504T10, FACE TO FACE 295MM, DLM |  |  |  | https://edart.group/wp-content/uploads/2020/12/eDART-Poly-lined-knife-gate-valve-C-PUB-01-0002_v01.pdf |  | DLM | BS4504T10 | [11 empty] | CLEANSED | VALVE | GATE | TYPE | RISING SPINDLE, UNIFLOW | NOMINAL SIZE | 250 MM | END CONNECTION | DRILLED FLANGE | PORT TYPE |  | END TO END DISTANCE | 295 MM | CONFIGURATION |  | PRESSURE CLASS/RATING | 10 BAR | BODY MATERIAL | CAST IRON | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060255782 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060255782 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,GATE,DN80,PN16,HOLES PCD 160MM,FLA | VALVE,GATE,DN80,PN16,HOLES PCD,160MM,FLANGE 202MM 4 HOLES EA FLANGE,LENGTH 203MM, |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | GATE | TYPE |  | NOMINAL SIZE | DN80 | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING | PN16 | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PCD: 160 MM, FLANGE SIZE: 202 MM, NUMBER OF HOLES: 4, LENGTH: 203 MM, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060247591 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060247591 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,GATE,KNIFE,250MM,SELF,FLASHING,CHR | VALVE,GATE,KNIFE,250MM,SELF,FLASHING,CHROME,SLURRY,ACTUATING, REPLACEABLE R55 NEOPRENE RUBBER SEATS, 304 STAINLESS STEEL BLADE, SIDE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | GATE | TYPE | KNIFE | NOMINAL SIZE | 250 MM | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | 304 STAINLESS STEEL BLADE | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SELF FLASHING CHROME SLURRY, ACTUATING, REPLACEABLE R55 NEOPRENE RUBBER SEATS, SIDE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060254499 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060254499 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,GATE,KNIFE,350MM,STAINLESS,STEEL,B | VALVE, GATE, KNIFE, 350MM, STAINLESS, STEEL, BLADE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | GATE | TYPE | KNIFE | NOMINAL SIZE | 350 MM | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | STAINLESS STEEL BLADE | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060251923 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251923 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,GATE,SIZE DN100, MATERIAL,STEEL,BO | VALVE,GATE,SIZE DN100, MATERIAL,STEEL,BODY.STEEL, TYPE OF SPINDLE, RISING SPINDLE, , CONNECTION FLANGED,OPERATION CONDENSATE WATER, |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | GATE | TYPE | RISING SPINDLE, OPERATION CONDENSATE WATER | NOMINAL SIZE | DN100 | END CONNECTION | FLANGED | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | STEEL | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060250489 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060250489 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,GATE,SIZE DN80, MATERIAL,STEEL,BOD | VALVE,GATE,SIZE DN80, MATERIAL,STEEL,BODY.STEEL, TYPE OF SPINDLE, RISING SPINDLE, HT200, CONNECTION FLANGED,OPERATION COOLING WATER, |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | GATE | TYPE | RISING SPINDLE, OPERATION COOLING WATER | NOMINAL SIZE | DN80 | END CONNECTION | FLANGED | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | STEEL | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060243152 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060243152 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,GEAR,DN200,S/STEEL316,DISC,EA | VALVE, GEAR OPERATED, DN200, S/STEEL316, DISC, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE | DN200 | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | GEAR | TRIM | STAINLESS STEEL 316 DISC | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060245636 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060245636 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | VALVE,GEARBOX OPERATED,250MM,WAFER,EA | VALVE,GEARBOX OPERATED,250MM,WAFER,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | WAFER | NOMINAL SIZE | 250 MM | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | GEARBOX | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060243521 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060243521 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,GLOBE,DN20,PCD OF 75MM | VALVE,GLOBE,DN20,PCD OF 75MM,OUTSIDE 147MM,INSIDE 117MM,FLANGE 15MM,4 HOLES OF 9MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | GLOBE | TYPE |  | NOMINAL SIZE | DN20 | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | BONNET JOINT |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PCD: 75 MM, SIZE: OUTSIDE 147 X INSIDE 117 MM, FLANGE SIZE:15 MM, HOLE SIZE (4): 9 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060253526 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253526 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,HANDLEVER,CLD-MID-POS,DET,4/3-WAY | VALVE, HANDLEVER, CLOSED-MID-POSITION, DETENTING, 4/3-WAY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | CLOSED-MID-POSITION, DETENTING | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 4/3 WAY | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | HAND LEVER | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253525 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253525 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,HANDLEVER,SPRINGRETURN,4/2-WAY | VALVE, HAND LEVER, SPRING RETURN, 4/2-WAY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 4/2 WAY | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | HAND LEVER, SPRING RETURN | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060234891 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 | NM BASED ON WEB SOURCE | 000000000060234891 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | VALVE,HED 5 OH-3X/200K14 | VALVE, HED 5 OH-3X/200K14 |  |  |  | https://boschrexroth-ind.com/product/bosch-rexorth-pressure-switch-hed-5-oh-3x-200k14-r901186322/ |  |  | HED 5 OH-3X/200K14 | [11 empty] | ENRICHED | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL, CCC | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060245576 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060245576 | BHP1 | BHP Spares & Supplies | 271200 | Hydraulic machinery and equipment | EA | MAN2 | VALVE,HYDRAULIC,FOOT,CONTROL,DRG237.330- | HYDRAULIC FOOT CONTROL VALVE, KRACHT, ITEM 401 DRG237.330-01-C, PROF DANGO STOCKING CAR |  |  |  | URL NOT FOUND |  | KRACHT | [11 empty] | 401 | CLEANSED | VALVE | CONTROL | TYPE | HYDRAULIC FOOT | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROF DANGO STOCKING CAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060239965 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239965 | BHP1 | BHP Spares & Supplies | 251725 | Tires and tire tubes | EA | MAN2 | VALVE,INNER CORE,50PC,RTT.SHR4141 | VALVE INNER CORE, 50 PIECE, PN RTT.SHR4141 | RTT.SHR4141 |  |  | URL NOT FOUND |  |  | RTT.SHR4141 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | INNER CORE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY: 50 PIECE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060239052 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239052 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,ISOLATION,HYDRAULIC,1/2INCH,C/W 16 | VALVE, ISOLATION, HYDRAULIC BALL, 1/2INCH, COMPLETE WITH 16S FITTINGS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BALL | TYPE | ISOLATION, HYDRAULIC | NOMINAL SIZE | 1/2 IN | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 16S FITTINGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060239050 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239050 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,ISOLATION,HYDRAULIC,3/4INCH,C/W 20 | VALVE, ISOLATION, HYDRAULIC BALL, 3/4INCH, COMPLETE WITH 20S FITTINGS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BALL | TYPE | ISOLATION, HYDRAULIC | NOMINAL SIZE | 3/4 IN | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 20S FITTINGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060239051 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239051 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,ISOLATION,HYDRAULIC,3/8INCH,C/W 12 | VALVE, ISOLATION, HYDRAULIC BALL, 3/8INCH, COMPLETE WITH 12S FITTINGS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BALL | TYPE | ISOLATION, HYDRAULIC | NOMINAL SIZE | 3/8 IN | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 12S FITTINGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060239055 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239055 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,ISOLATION,LOCK PLATE,1/2INCH | VALVE, ISOLATION, LOCK PLATE FOR PADLOCK, 1/2INCH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | ISOLATION | NOMINAL SIZE | 1/2 IN | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOCK PLATE FOR PADLOCK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060239053 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239053 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,ISOLATION,LOCK PLATE,3/4INCH | VALVE, ISOLATION, LOCK PLATE FOR PADLOCK, 3/4INCH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | ISOLATION | NOMINAL SIZE | 3/4 IN | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOCK PLATE FOR PADLOCK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060239054 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239054 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,ISOLATION,LOCK PLATE,3/8INCH | VALVE, ISOLATION, LOCK PLATE FOR PADLOCK, 3/8INCH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | ISOLATION | NOMINAL SIZE | 3/8 IN | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOCK PLATE FOR PADLOCK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253960 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253960 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | EA | MAN2 | VALVE,KNIFE GATE,250MM,SERIES 80-TP,EA | VALVE, KNIFE GATE, 250MM, SERIES 80-TP, EA |  |  |  | https://www.townley.net/products/knife-gate-and-butterfly-valves/series-80-lined-knife-gate-valve/ | [14 empty] | CLEANSED | VALVE | GATE | TYPE | KNIFE | NOMINAL SIZE | 250 MM | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES: 80-TP, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060244535 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060244535 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,KNIFE GATE,350MM,SERIES 80-TP,EA | VALVE,KNIFE GATE,350MM,SERIES 80-TP,LINED,EACH | SERIES 80-TP TOWNIPRENE | 0019011819 | Unknown | https://www.townley.net/products/knife-gate-and-butterfly-valves/series-80-lined-knife-gate-valve/ | [14 empty] | CLEANSED | VALVE | GATE | TYPE | KNIFE | NOMINAL SIZE | 350 MM | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: TOWNIPRENE, SERIES: 80-TP, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060250693 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060250693 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,KNIFE,200MM,T/DFLANGE,MANUAL | VALVE,KNIFE,200MM,T/DFLANGE,MANUAL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | KNIFE | NOMINAL SIZE | 200 MM | END CONNECTION | FLANGE THREADED | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | MANUAL | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253598 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060253598 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,LP,BRASS,SOLENIOD,3/4IN,230V,DAS | VALVE, LP, BRASS, SOLENIOD, 3/4IN, 230V, DAS, AGAAF003 | AGAAF003 | 0019011819 | Unknown | URL NOT FOUND |  | DAS | AGAAF003 | [11 empty] | CLEANSED | VALVE | SOLENOID | TYPE | LINED PIPE INSERT | NOMINAL SIZE | 3/4 IN | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 230 V | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | BRASS | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060254568 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060254568 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,MANIFOLD,BLOCK,B14416,HYDRAULIC | VALVE, MANIFOLD, BLOCK, B14416, HYDRAULIC, SLIPPING, DEVICE | B14416 | 0019011819 | Unknown | URL NOT FOUND |  |  | B14416 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | MANIFOLD, BLOCK, HYDRAULIC, SLIPPING DEVICE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060248126 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060248126 | BHP1 | BHP Spares & Supplies | 401416 | Valves | KG | MAN2 | VALVE,NON RETURN,25MM,THREADED,BSP | VALVE, NON RETURN, 25MM, THREADED, BSP FEMALE, BRASS, INLINE, SPRING LOADED,WITH NBR SEAT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN, SPRING LOADED, INLINE | NOMINAL SIZE | 25 MM | END CONNECTION | FBSP THREADED | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL | BRASS | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS | NBR SEAT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060165776 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060165776 | BHP1 | BHP Spares & Supplies | 401423 | Pipe fittings | EA | MAN2 | VALVE,NON RETURN,40MM BRASS,125 PSI, | VALVE: NON RETURN, 40MM BRASS, 125 PSI, SCREWED BSP FEMALE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN | NOMINAL SIZE | 40 MM | END CONNECTION | FBSP | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL | BRASS | PRESSURE CLASS/RATING | 125 PSI | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060240591 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060240591 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,NON RETURN,DN100,PN16,EA | VALVE, NON RETURN, DN100, PN16, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN | NOMINAL SIZE | DN100 | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING | PN16 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060239514 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239514 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,NON RETURN,FLANGED,50MM | VALVE,CAST STEEL,WCB SWING CHECK NON RETURN WITH F6 STELLITE TRIM, ,FLANGED ANSI300RF,50MM,FACE TO FACE 267MM,PN50,FLANGE DRILLED ASA300,OD, 165MM,FLANGE THK 20MM,8 HOLE, CAST IRON HOUSING |  | 0019011524 | TECH NORTH (PTY) LTD | URL NOT FOUND |  | TECH NORTH (PTY) LTD | [12 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN, SWING | NOMINAL SIZE | 50 MM | END CONNECTION | FLANGE DRILLED | END TO END DISTANCE | 267 MM | CONFIGURATION |  | BODY MATERIAL | CAST STEEL, WCB | PRESSURE CLASS/RATING | PN50 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI300RF, ASA300 | ADDITIONAL FEATURES EN | W/ F6 STELLITE TRIM, SIZE: OD 165, FLANGE SIZE: THK 20 MM, NUMBER OF HOLE: 8, HOUSING MATERIAL: CAST IRON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060254653 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060254653 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,NON RETURN,FLIP,110MM | VALVE, NON RETURN, FLIP, 110MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN, FLIP | NOMINAL SIZE | 110 MM | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060251997 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060251997 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,NON RETURN,PN,16,DN,150,EA | VALVE, NON RETURN, PN, 16, DN, 150, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN | NOMINAL SIZE | DN150 | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING | PN16 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060239214 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060239214 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,NON RETURN,WCB SWING CHECK,50MM | VALVE,CAST STEEL WCB SWING CHECK,NON RETURN,WITH F6 STELLITE TRIM, ,FLANGED ANSI300RF,50MM,FACE TO FACE 267MM,PN50,FLANGE DRILLED ASA300,OD, 165MM,FLANGE THK 20MM,8 HOLE, CAST IRON HOUSING |  | 0019011524 | TECH NORTH (PTY) LTD | URL NOT FOUND |  | TECH NORTH (PTY) LTD | [12 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN, SWING | NOMINAL SIZE | 50 MM | END CONNECTION | FLANGE DRILLED | END TO END DISTANCE | 267 MM | CONFIGURATION |  | BODY MATERIAL | CAST STEEL, WCB | PRESSURE CLASS/RATING | PN50 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI300RF, ASA300 | ADDITIONAL FEATURES EN | W/ F6 STELLITE TRIM, FLANGED, SIZE: OD 165 MM, FLANGE SIZE: THK 20 MM, NUMBER OF HOLE: 8, HOUSING MATERIAL: CAST IRON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060238271 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-07 |  | 000000000060238271 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,NON,RETURN,225MM,CAST,IRON | VALVE, NON RETURN, 225MM, CAST IRON |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN | NOMINAL SIZE | 225 MM | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL | CAST IRON | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed