## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060253754 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060253754 | BHP1 | BHP Spares & Supplies | P6010 | Training | EA | MAN2 | PLCTRAINER,SAM001 | PLC TRAINER, SAM001,LOGO TRAFIC LIGHTS SMALL CONVEYERS BUZZER RELAYS PUCH BUTTONS |  |  |  | URL NOT FOUND |  |  | SAM001 | [11 empty] | CLEANSED | CONTROLLER | NO MODIFIER | TYPE | PLC TRAINER | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOGO TRAFIC LIGHTS SMALL CONVEYERS BUZZER RELAYS PUCH BUTTONS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060247268 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060247268 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,NON,RETURN,22MM | VALVE,NON,RETURN,22MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN | NOMINAL SIZE | 22 MM | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253537 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060253537 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,NONRETURN,DE-LOCKABLE,60-120BAR | VALVE, NON-RETURN, DE-LOCKABLE, 60-120BAR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON-RETURN, DE-LOCKABLE | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING | 60-120 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253535 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060253535 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,NONRETURN,OPENINGPRESSURE,0.05MPA | VALVE, NON-RETURN, OPENING PRESSURE, 0.05MPA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON-RETURN | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING | 0.05 MPA | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253536 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060253536 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,NONRETURN,OPENINGPRESSURE,0.6MPA | VALVE, NON-RETURN, OPENING PRESSURE, 0.6MPA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON-RETURN | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING | 0.6 MPA | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060241295 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060241295 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,P/RELIEF,DN50,NPT IN,NPT OUT,EA | VALVE , PRESSURE RELIEF , DN50, NPT IN , NPT OUT , STRAIGHT , EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | RELIEF | TYPE | PRESSURE | NOMINAL SIZE | DN50 | END CONNECTION | NPT IN/OUT | CONFIGURATION | STRAIGHT | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060251165 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060251165 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,PILOT,DCEC XYN,EA | VALVE,PILOT,DCEC XYN,EA | DCEC XYN | 0019011819 | Unknown | https://www.hydrotech.com/shop/product/81118-dcecxyn |  |  | DCEC XYN | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | PILOT | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060252614 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060252614 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | VALVE,PNEUMATIC,212070,BELL,EA | VALVE, PNEUMATIC, 212070, BELL, EACH | 212070 |  |  | URL NOT FOUND |  | BELL | 212070 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | PNEUMATIC ACTUATOR | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060244469 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060244469 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,PRESS,REDUCT,MK,60/100/S6,EA | VALVE, PRESS, REDUCT, MK, 60/100/S6, EA | BTS6B728V1ED 60R1 | 0019011819 | Unknown | URL NOT FOUND |  |  | BTS6B728V1ED 60R1 | [11 empty] | CLEANSED | VALVE | RELIEF | TYPE | PRESSURE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MK, 60/100/S6, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060243193 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060243193 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,PRESSCONTROL,400KPA,15MM | VALVE, PRESSCONTROL, 400KPA, 15MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CONTROL | TYPE | PRESSURE | NOMINAL SIZE | 15 MM | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING | 400 KPA | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060245052 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060245052 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | VALVE,PRESSURE CONTROL 600KPA | VALVE, PRESSURE CONTROL 600KPA KHN3-216 |  |  |  | https://orderahome.com/products/22mm-cxc-multi-pcv-600kpa-khn3-216/ |  |  | KHN3-216 | [11 empty] | ENRICHED | VALVE | CONTROL | TYPE | PRESSURE | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING | 600 KPA | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060247632 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060247632 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,PRESSURE RELIEF,3 INCH,KUNKLE | VALVE, PRESSURE RELIEF, 3 INCH, KUNKLE, MODEL 337, SET PRESSURE 65KPA, CW CALIBRATION CERTIFICATE |  |  |  | https://www.pdblowers.com/product/kunkle-relief-337-3inch/#:~:text=The%20Kunkle%20Relief%20337%20is,nozzle%20design%20provides%20high%20capacity. |  | KUNKLE |  | 337 | [10 empty] | CLEANSED | VALVE | RELIEF | TYPE | PRESSURE | NOMINAL SIZE | 3 IN | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE | 65 KPA | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CALIBRATION CERTIFICATE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060238891 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060238891 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,PRESSURE,REDUCE,PA65P4W35S,LHD | PRESSURE REDUCING VALVE 1/2 INCH BSP, 30-350 BAR, PN PA65P4W35S, LHD AARD MAJOR 5.5 | PA65P4W35S | 0019011759 | RAND BUILD HYDRAULICS | URL NOT FOUND |  | RAND BUILD HYDRAULICS | PA65P4W35S | [5 empty] | LOAD HAUL DUMPER | MAJOR 5.5 | AARD |  |  |  | CLEANSED | VALVE | RELIEF | TYPE | PRESSURE | NOMINAL SIZE | 1/2 IN | END CONNECTION | BSP | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING | 30-350 BAR | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060253538 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060253538 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,PRESSURE,SEQUENCE,60-120BAR | VALVE, PRESSURE, SEQUENCE, 60-120BAR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | PRESSURE, SEQUENCE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING | 60-120 BAR | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253530 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060253530 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,PRESSURERELIEF,60-120BAR | VALVE, PRESSURE RELIEF, 60-120BAR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | RELIEF | TYPE | PRESSURE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE | 60-120 BAR | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060253531 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060253531 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,PRESSURERELIEF,PILOTED,60-120BAR | VALVE, PRESSURERELIEF, PILOTED, 60-120BAR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | RELIEF | TYPE | PRESSURE, PILOTED | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE | 60-120 BAR | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060253539 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060253539 | BHP1 | BHP Spares & Supplies | P1024 | Hydraulic & pneumatic equipment | EA | MAN2 | VALVE,PRESURE,REDUCING,3WAY | VALVE, PRESURE, REDUCING, 3-WAY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | RELIEF | TYPE | PRESSURE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 3-WAY | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060249024 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060249024 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | VALVE,PRIORITY,BN040927,EA | VALVE, PRIORITY, BN040927, BELL, EACH | BN040927 |  |  | URL NOT FOUND |  | BELL | BN040927 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | PRIORITY | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060240840 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060240840 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,QUICK EXHAUST,MODEL T70C3800 | VALVE, QUICK EXHAUST, MODEL T70C3800, ALUMINIUM | MODEL T70C3800 |  |  | https://ie.rs-online.com/web/p/pneumatic-quick-exhaust-valves/3158685 |  |  | T70C3800 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | QUICK EXHAUST | NOMINAL SIZE | 3/8 IN | END CONNECTION | FEMALE THREADED | CONFIGURATION |  | PRESSURE CLASS/RATING | 10 BAR | BODY MATERIAL | ALUMINIUM | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060238021 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060238021 | BHP1 | BHP Spares & Supplies | 271300 | Pneumatic machinery and equipment | EA | MAN2 | VALVE,RELAY,SQUARE,M22,RL3518AH | RELAY VALVE, SQUARE M22 RL3518AH PNEUMATIC TRAINING PANEL |  |  |  | https://www.impalaspares.co.za/cab-and-suspension/brake-system/valves-actuators/4-hole-square-relay-valve |  |  | RL3518AH | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | RELAY, SQUARE | NOMINAL SIZE | M22 | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ PNEUMATIC TRAINING PANEL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060246383 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060246383 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,RELIEF,421-43-27460,KOMATSU,WA500- | VALVE,RELIEF,421-43-27460,KOMATSU,WA500-6 | 421-43-27460 VALVE RELIEF | 0019011819 | Unknown | https://k-part.777parts.org/spare/komatsu/421-43-27460/ |  | KOMATSU | 421-43-27460 | [6 empty] | WA500-6 |  |  |  |  | CLEANSED | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060240265 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060240265 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,RELIEF,423-43-37650,WA480-6 | VALVE,RELIEF,423-43-37650,WA480-6 | 423-43-37650 RELIEF VALVE |  |  | https://k-part.777parts.org/spare/komatsu/423-43-37650/ |  | KOMATSU | 423-43-37650 | [6 empty] | WA480-6 |  |  |  |  | CLEANSED | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060241253 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060241253 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,RELIEF,723-40-53100,KOMATSU,WA500 | VALVE,RELIEF,723-40-53100,KOMATSU,WA500 | 723-40-53100 VALVE, RELIEF |  |  | https://k-part.777parts.org/spare/komatsu/723-40-53100/ |  | KOMATSU | 723-40-53100 | [6 empty] | WA500 |  |  |  |  | CLEANSED | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060249507 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060249507 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE,RELIEF,723-40-93900,KOMATSU,WA480- | VALVE,RELIEF,723-40-93900,KOMATSU,WA480-6 | 723-40-93900 VALVE RELIEF | 0019011819 | Unknown | https://www.stszcmparts.com/komatsu-hydraulic-parts/57544643.html |  | KOMATSU | 723-40-93900 | [6 empty] | WA480-6 |  |  |  |  | CLEANSED | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060245872 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 | PART NO PARTIAL MATCH | 000000000060245872 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | VALVE,RELIEF,ACTING,SUN TYPE,PART NUMBER | VALVE,RELIEF,ACTING,SUN TYPE,PART NUMBER RDDA-LEN-FAV | RDDA-LEN-FAV | 0019011819 | Unknown | https://www.wojanis.com/itemdetail/RDDALEN |  |  | RDDA-LEN-FAV | [11 empty] | ENRICHED | VALVE | RELIEF | TYPE | DIRECT ACTING | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: SUN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060246223 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060246223 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | VALVE,RELIEF,ASS,3ED6141060,KOMATSU,EA | VALVE, RELIEF, ASSEMBLY, 3ED6141060, KOMATSU, EACH | 3ED6141060 |  |  | https://www.liftpartswarehouse.com/product-p/ko3ed-61-41060.htm |  | KOMATSU | 3ED6141060 | [11 empty] | CLEANSED | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060232037 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060232037 | BHP1 | BHP Spares & Supplies | 461916 | Fire fighting equipment | EA | MAN2 | VALVE,RIGHT ANGLE RUBBER,65MM X 80MM | VALVE, RIGHT ANGLE RUBBER, BSP WOODLANDS HAND, 65 MM X 80M |  |  |  | URL NOT FOUND |  | WOODLANDS | [12 empty] | CLEANSED | VALVE | ANGLE | TYPE | RIGHT | NOMINAL SIZE |  | END CONNECTION | BSP | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO CENTER DISTANCE |  | OPERATED | HAND | BONNET JOINT |  | TRIM | RUBBER SEAT | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 80 X 65 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060243116 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060243116 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,SAFETY VS 200/180,120LT | VALVE, SAFETY VS 200/180, 120LT |  |  |  | https://sjpbv.com/storage/product-documents/vs200-180_216-en.pdf |  |  |  | VS200/180 | [10 empty] | ENRICHED | VALVE | NO MODIFIER | TYPE | SAFETY, PRESSURE REGULATING | NOMINAL SIZE |  | END CONNECTION | NPT | CONFIGURATION |  | PRESSURE CLASS/RATING | 180 BAR | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING | 90 DEG C | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 120 LT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060245861 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060245861 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,SAFETY,BRASS,HP,VS170,10MM | VALVE, SAFETY, BRASS, HP, VS170, 10MM,3/8 INCH ,DUST A SIDE, 94176 | AGBAD001 | 0019011819 | Unknown | https://www.sjpbv.com/storage/product-documents/vs170-220_202-en%20(1).pdf |  | DUST-A-SIDE | AGBAD001 | VS170 |  | 94176 | [8 empty] | ENRICHED | VALVE | NO MODIFIER | TYPE | SAFETY, PRESSURE REGULATING, HIGH PRESSURE | NOMINAL SIZE | DN10, 3/8 IN | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | BRASS | DESIGN PRESSURE |  | TEMPERATURE RATING | 90 DEG C | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060255149 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060255149 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | VALVE,SAFETY,SYSTEM PRESSURE,GEYSER,400K | VALVE,SAFETY,SYSTEM PRESSURE,GEYSER,400KPA,24KW,KH 1.404,KWIKOT |  |  |  | https://www.dawnafrica.co.zm/products/plumbing/geyser/geyser-valveallied/safety-valve-tp-cxfi-20mm-400kpa-kh1-404-kwikot/ |  | KWIKOT | KH1.404 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | SAFETY SYSTEM, PRESSURE, GEYSER | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING | 400 KPA | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING: 24 KW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060246975 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060246975 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,SAUNDERS,100MM,T/DFLANGE,MANUAL | VALVE,SAUNDERS,100MM,T/DFLANGE,MANUAL |  |  |  | URL NOT FOUND |  | SAUNDERS | [12 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE | 100 MM | END CONNECTION | FLANGE THREADED | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | MANUAL | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060239583 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060239583 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,SAUNDERS,40MM,DIAPHRAGM ONLY | VALVE, SAUNDERS, 40MM, BELLOW PRESSURE, INTERNAL DIAPHRAGM ONLY |  |  |  | URL NOT FOUND |  | SAUNDERS | [12 empty] | CLEANSED | VALVE | DIAPHRAGM | TYPE | BELLOW PRESSURE, INTERNAL | NOMINAL SIZE | 40 MM | END CONNECTION |  | DIAPHRAGM MATERIAL |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060239582 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060239582 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,SAUNDERS,40MM,DIAPHRAGM,COMPLETE | VALVE, SAUNDERS, 40MM, BELLOW PRESSURE, DIAPHRAGM |  |  |  | URL NOT FOUND |  | SAUNDERS | [12 empty] | CLEANSED | VALVE | DIAPHRAGM | TYPE | BELLOW PRESSURE | NOMINAL SIZE | 40 MM | END CONNECTION |  | DIAPHRAGM MATERIAL |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060239948 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060239948 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,SAUNDERS,DN100KB SRLAATT,BFC300/71 | VALVE, SAUNDERS, DN100 KB SRL AA TT C/W BFC300/71 DA WITH TAIL SHAFT AND PROXIMITY SWITCH BRACKET TO FIT 18MM DIAMETER OPEN/CLOSE FE |  |  |  | http://www.wellworthvalves.com/crane/files/assets/common/downloads/publication.pdf |  | SAUNDERS | KB SRL AA TT | [11 empty] | CLEANSED | VALVE | DIAPHRAGM | TYPE |  | NOMINAL SIZE | DN100 | END CONNECTION |  | DIAPHRAGM MATERIAL |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BFC300/71 DA W/ TAIL SHAFT AND PROXIMITY SWITCH BRACKET TO FIT 18 MM DIA OPEN/CLOSE FE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060241347 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060241347 | BHP1 | BHP Spares & Supplies | P1040 | Valves, actuators & accessories, service kits | EA | MAN2 | VALVE,SAUNDERS,K100,COMPRESSOR | DOUBLE ACTING AUTO VALVE, SAUNDERS, K100, COMPRESSOR | K100 COMPRESSOR |  |  | URL NOT FOUND |  | SAUNDERS | K100 | [11 empty] | CLEANSED | VALVE | COMPRESSOR | VALVE SIZE |  | VALVE STYLE |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: DOUBLE ACTING AUTO | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060241881 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060241881 | BHP1 | BHP Spares & Supplies | P1040 | Valves, actuators & accessories, service kits | EA | MAN2 | VALVE,SAUNDERS,K100,SPINDLE NUT | DOUBLE ACTING AUTO VALVE, SAUNDERS, K100, SPINDLE NUT | K100 SPINDLE NUT |  |  | URL NOT FOUND |  | SAUNDERS | K100 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | DOUBLE ACTING AUTO, SPINDLE NUT | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060242432 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060242432 | BHP1 | BHP Spares & Supplies | 201426 | Production control system instrumentation | EA | MAN2 | VALVE,SELONOID,AUTOPURGE,IME/753235 | VALVE,SELONOID,AUTOPURGE,ANALYZER,IME/753235 | IME/753235 |  |  | URL NOT FOUND |  |  | IME/753235 | [11 empty] | CLEANSED | VALVE | SOLENOID | TYPE | AUTOPURGE, ANALYZER | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060253166 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060253166 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,SIZE HALF INCH,RELIEF VALVE AT PRE | VALVE, SIZE HALF INCH,RELIEF VALVE AT PRESET PRESSURE,SET PRESSURE AT 3MPA,BODY MATERIAL STAILESS STEEL, CONNECTION SCREWED,MALE AND |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | RELIEF | TYPE | PRESET PRESSURE | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALE SCREWED | CONFIGURATION |  | SET PRESSURE | 3 MPA | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAILESS STEEL | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060249082 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060249082 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | VALVE,SOLENOID,4/3WAY,DCV PROPOTIONAL FO | VALVE,SOLENOID,4/3WAY,DCV PROPOTIONAL FOR MAINIFOLD BLOCK,COMPLETE WITH COIL, 110V | HYD-LC-24 | 0019011819 | Unknown | URL NOT FOUND |  |  | HYD-LC-24 | [11 empty] | CLEANSED | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 4/3 WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 110 V | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DCV PROPOTIONAL FOR MAINIFOLD BLOCK, C/W COIL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060254203 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060254203 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,SOLENOID,DG4V 3 2A M U C6 60 COIL | VALVE, SOLENOID, DG4V 3 2A M U C6 60 COIL NG6, 220V, PSP P57, ROLLER FEEDER | DG4V 3 2A M U C6 60 COIL NG6,220V | 0019011819 | Unknown | https://www.motionindustries.com/products/sku/00399046 |  |  | DG4V 3 2A M U C6 60 | [5 empty] | PSP P57 ROLLER FEEDER | [5 empty] | ENRICHED | VALVE | CONTROL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE | SOLENOID | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING | 5075 PSI | BODY MATERIAL | GRAY IRON | DESIGN PRESSURE |  | TEMPERATURE RATING | -20 TO 70 DEG C | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ELECTRICAL RATING: 220 V, COIL NG6 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060245874 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060245874 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,SOLENOID,DSL 101N,PRPET TYPE VALV | SOLENOID VALVE, DSL 101N, PROPET TYPE VALVE, RATED FLOW 60LPM(15GPM) MAXIMUM INLET PRESURE 250BAR, OPERATING TEMPERATURE NEGATIVE 45 | 400009846 | 0019011819 | Unknown | https://www.hydradynellc.com/product/dsl101n/dsl101-solenoid-valve |  |  | DSL 101N |  |  | 400009846 | [8 empty] | ENRICHED | VALVE | SOLENOID | TYPE | POPPET | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 2-WAY | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING | 250 BAR | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATED FLOW: 60 LPM (15GPM), OPERATING TEMPERATURE: - 45 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060240237 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 | PART NO SERIES MATCH | 000000000060240237 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VALVE,SOLENOID,FESTO,VZWMLM22C,220VAC,CO | INST, VALVE,SOLENOID,FESTO,VZWM-L-M22C,220VAC COIL | VZWM-L-M22C |  |  | https://www.festo.com/cat/xdki/data/doc_ENGB/PDF/EN/VZWM-L-NPT_EN.PDF |  | FESTO | VZWM-L-M22C | [11 empty] | CLEANSED | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 2/2 WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 220 VAC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | BRASS | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COIL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060247184 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060247184 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VALVE,SOLENOID,JELPC,5V310,10,24VDC,5BY2 | INST,VALVE,SOLENOID,JELPC,5V310-10,SINGLE COIL,24VDC,5/2,3/8 INCH | 5V310-10 | 0019011819 | Unknown | https://okmarts.com/airtac-solenoid-valve-5v310-10.html | https://www.jelpc.com/wp-content/uploads/2019/12/English.pdf | JELPC | 5V310-10 | [11 empty] | CLEANSED | VALVE | SOLENOID | TYPE | SINGLE COIL | NOMINAL SIZE | 5/2 X 3/8 IN | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 VDC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060240495 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060240495 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | VALVE,SOLENOID,VSVA B T32C,EA | VALVE, SOLENOID, FESTO, VSVA B T32C AZD A1 1T1L, EA | 539150 |  |  | https://www.festo.com/nz/en/a/539150/?q=~:sortByCoreRangeAndSp2020 | https://www.festo.com/nz/en/a/download-document/datasheet/539150 | FESTO | 539150 |  |  | VSVA-B-T32C-AZD-A1-1T1L | [8 empty] | ENRICHED | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 2 X 3/2 WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 24 VDC | FLOW RATING |  | PRESSURE CLASS/RATING | 0.3-1 MPA | BODY MATERIAL | DIE CAST ALUMINIUM | DESIGN PRESSURE |  | TEMPERATURE RATING | -5 TO 50 DEG C | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 15407-2 | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060242671 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060242671 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VALVE,SOLENOID,WWC,126233,PARTNUM,639787 | INST,VALVE,SOLENOID,WWC,126233,PART NUMBER-639787 | PART NUMBER-639787 |  |  | https://wap.china.cn/Air-Compressor-Parts/158934390.html?t=description |  |  | 639787 |  |  | WWC 126233 | [8 empty] | CLEANSED | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060250096 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060250096 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,TAP,BALL,50MM,GR50,LOCKING | VALVE, TAP, BALL, 50MM, GR50, LOCKING |  |  |  | URL NOT FOUND |  |  | GR50 | [11 empty] | CLEANSED | VALVE | BALL | TYPE | TAP, LOCKING | NOMINAL SIZE | 50 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060240240 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060240240 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | VALVE,VENT,TWO-WAY,SAV110BG,110M | VENT VALVE,TWO-WAY,SAV110BG,110MM | SAV110BG |  |  | https://www.mrkokonline.co.za/product/sav110bg-two-way-vent-valve-bagged-110mm/ |  |  | SAV110BG | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | VENT | NOMINAL SIZE | 110 MM | END CONNECTION |  | CONFIGURATION | 2-WAY | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060245863 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060245863 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | VALVE,WAFER NON RETURN,DOUBLE DOOR,100MM | VALVE,WAFER NON RETURN,DOUBLE DOOR,100MM,FACE TO FACE 65MM,10BAR FOR WATER,S/STEEL SHAFT,SGI DISCS,EPDM LINER,CAST IRON BODY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | WAFER, NON-RETURN, DOUBLE DOOR, WATER | NOMINAL SIZE | 100 MM | END CONNECTION |  | END TO END DISTANCE | 65 MM | CONFIGURATION |  | BODY MATERIAL | CAST IRON | PRESSURE CLASS/RATING | 10 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM | STAINLESS STEEL SHAFT, SGI DISC, EPDM LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060255447 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060255447 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | VALVE,WAFER NON RETURN,DOUBLE DOOR,400MM | VALVE,WAFER NON RETURN,DOUBLE DOOR,400MM,FACE TO FACE 55MM,10BAR FOR WATER,S/STEEL SHAFT,SGI DISCS,EPDM LINER,CAST IRON BODY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | WAFER, NON-RETURN, DOUBLE DOOR, WATER | NOMINAL SIZE | 400 MM | END CONNECTION |  | END TO END DISTANCE | 55 MM | CONFIGURATION |  | BODY MATERIAL | CAST IRON | PRESSURE CLASS/RATING | 10 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM | STAINLESS STEEL SHAFT, SGI DISC, EPDM LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060255796 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060255796 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | VALVE,WAFER NON RETURN,DOUBLE DOOR,600MM | VALVE,WAFER NON RETURN,DOUBLE DOOR,600MM,FACE TO FACE 55MM,10BAR FOR WATER,S/STEEL SHAFT,SGI DISCS,EPDM LINER,CAST IRON BODY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | WAFER, NON-RETURN, DOUBLE DOOR, WATER | NOMINAL SIZE | 600 MM | END CONNECTION |  | END TO END DISTANCE | 55 MM | CONFIGURATION |  | BODY MATERIAL | CAST IRON | PRESSURE CLASS/RATING | 10 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM | STAINLESS STEEL SHAFT, SGI DISC, EPDM LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060255798 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060255798 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | VALVE,WAFER NON RETURN,DOUBLE DOOR,750MM | VALVE,WAFER NON RETURN,DOUBLE DOOR,750MM,FACE TO FACE 55MM,10BAR FOR WATER,S/STEEL SHAFT,SGI DISCS,EPDM LINER,CAST IRON BODY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | WAFER, NON-RETURN, DOUBLE DOOR, WATER | NOMINAL SIZE | 750 MM | END CONNECTION |  | END TO END DISTANCE | 55 MM | CONFIGURATION |  | BODY MATERIAL | CAST IRON | PRESSURE CLASS/RATING | 10 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM | STAINLESS STEEL SHAFT, SGI DISC, EPDM LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060245865 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060245865 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | VALVE,WAFER NON RETURN,DOUBLE DOOR,75MM, | VALVE,WAFER NON RETURN,DOUBLE DOOR,75MM,FACE TO FACE 65MM,10BAR FOR WATER,S/STEEL SHAFT,SGI DISCS,EPDM LINER,CAST IRON BODY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | WAFER, NON-RETURN, DOUBLE DOOR, WATER | NOMINAL SIZE | 75 MM | END CONNECTION |  | END TO END DISTANCE | 65 MM | CONFIGURATION |  | BODY MATERIAL | CAST IRON | PRESSURE CLASS/RATING | 10 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM | STAINLESS STEEL SHAFT, SGI DISC, EPDM LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060188317 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060188317 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,WAFER,NON RETURN,DOUBLE DOOR,500MM | VALVE,WAFER NON RETURN,DOUBLE DOOR,500MM,FACE TO FACE 152MM,10BAR FOR WATER,S/STEEL SHAFT,SGI DISCS,EPDM LINER,CAST IRON BODY. |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | WAFER, NON-RETURN, DOUBLE DOOR, WATER | NOMINAL SIZE | 500 MM | END CONNECTION |  | END TO END DISTANCE | 152 MM | CONFIGURATION |  | BODY MATERIAL | CAST IRON | PRESSURE CLASS/RATING | 10 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM | STAINLESS STEEL SHAFT, SGI DISC, EPDM LINER | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060239210 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060239210 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,WATER,DN32 | VALVE, WATER, DN32, OD 140MM, FLANGE TO FLANGE 180MM, PCD 100MM, 4 HOLES FOR M16 BOLTS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | WATER | NOMINAL SIZE | DN32 | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: OD 140 MM, FLANGE TO FLANGE SIZE: 180 MM, PCD: 100 MM, 4 HOLES FOR M16 BOLTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060251816 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060251816 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE,WATER,SOLENOID,PNEUMATRON,PDS22BH5 | VALVE, WATER, SOLENOID, PNEUMATRON, PDS22BH50S20V, SOLENOID, SINGLE AND 24VDC,41KV,0.5 TO 16 BAR | PDS22BH50S20V | 0019011819 | Unknown | http://pneumatron.co.za/pdf/pds22bh%20brass%20202012.pdf |  | PNEUMATRON | PDS22BH50S20V | [11 empty] | ENRICHED | VALVE | SOLENOID | TYPE | WATER, SINGLE | NOMINAL SIZE | 2 IN | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE | 50 MM | ELECTRICAL RATING | 24 VDC, 41 KV | FLOW RATING |  | PRESSURE CLASS/RATING | 0.5-16 BAR | BODY MATERIAL | BRASS | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060228198 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060228198 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | VALVE: 200MM KNIFE GATE VALVE RUBBER LIN | VALVE: 200MM KNIFE GATE VALVE RUBBER LINED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | GATE | TYPE | KNIFE | NOMINAL SIZE | 200 MM | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | RUBBER LINED | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060169320 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060169320 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | VALVE: GH59008-000 | VALVE: GH59008-000 | GH59008-000 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | GH59008-000 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060169322 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060169322 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | VALVE: GH59015-635 | VALVE: GH59015-635 | GH59015-635 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | GH59015-635 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060169333 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060169333 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | VALVE: PRESSURE REGULATING GH57817-000 | VALVE: PRESSURE REGULATING GH57817-000 | GH57817-000 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | GH57817-000 | [11 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | PRESSURE REGULATING | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060169594 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060169594 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | VALVE:CHECK | VALVE:CHECK | RHD20S | 0019003513 | SPERRY VICKERS INC,USA | https://www.geeve.com/en/rhd20s |  | SPERRY VICKERS INC,USA | RHD20S | [11 empty] | ENRICHED | VALVE | CHECK | TYPE | NON-RETURN | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL | STEEL | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060241305 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-08 |  | 000000000060241305 | BHP1 | BHP Spares & Supplies | P1040 | Valves, actuators & accessories, service kits | ST | MAN2 | VALVES,KNIFE GATE C/W ACTUATOR,150MM,SET | KNIFE GATE VALVE, ACV/SKG, C/W PNEUMATIC DOUBLE ACTING ACTUATOR ,150MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | GATE | TYPE | KNIFE | NOMINAL SIZE | 150 MM | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACV/SKG, C/W PNEUMATIC DOUBLE ACTING ACTUATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed