## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060247371 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060247371 | BHP1 | BHP Spares & Supplies | 461916 | Fire fighting equipment | EA | MAN2 | BRANSHPIPE,AWG,C1 | BRANSHPIPE,AWG,C1 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PIPE | NO MODIFIER | TYPE | BRANCH | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AWG,C1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060248944 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060248944 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PIPE,5P1270,CAT,EA | PIPE,5P1270,CAT,EACH | 5P1270 |  |  | https://spare.avspart.com/caterpillar/hose/5p1270/ | https://www.heavydutypros.com/caterpillar-hose-5p1270.aspx | CATERPILLAR | 5P-1270 | [11 empty] | CLEANSED | HOSE | HYDRAULIC | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH,PIPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060240263 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060240263 | BHP1 | BHP Spares & Supplies | 401424 | Pipe flanges | EA | MAN2 | PIPE,FEED,CHUTE,STRAIGHT,SECTION,1200MM | PIPE,FEED CHUTE STRAIGHT SECTION 1200MM,DRAWING 304-3818-01-00,FOR FURNACES 4 |  |  |  | URL NOT FOUND | [8 empty] | FURNACES 4 |  |  | 304-3818-01-00 |  |  | CLEANSED | PIPE | NO MODIFIER | TYPE | FEED CHUTE | NOMINAL SIZE |  | LENGTH | 1.2 M | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STRAIGHT SECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060240218 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060240218 | BHP1 | BHP Spares & Supplies | 401424 | Pipe flanges | EA | MAN2 | PIPE,FEED,CHUTE,STRAIGHT,SECTION,500MM, | PIPE ,FEED CHUTE STRAIGHT SECTION 500MM,DRAWING TWP-3703-01-01,FOR FURNACES 4 |  |  |  | URL NOT FOUND | [8 empty] | FURNACES 4 |  |  | TWP-3703-01-01 |  |  | CLEANSED | PIPE | NO MODIFIER | TYPE | FEED CHUTE | NOMINAL SIZE |  | LENGTH | 500 MM | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STRAIGHT SECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060254339 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060254339 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | PIPE,OVERFLOW,150NB,STEEL,SHORT,LOOSE,FL | PIPE,OVERFLOW,150NB,STEEL,SHORT,LOOSE,FLANGE,250MM,CYCLONE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PIPE | METALLIC | TYPE | OVERFLOW | NOMINAL SIZE | 150 NB | LENGTH | 250 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MANUFACTURING PROCESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHORT LOOSE,END CONNECTION:FLANGE,CYCLONE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060254375 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060254375 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | PIPE,OVERFLOW,150NB,STEEL.LONG,LOOSE,FLA | PIPE,OVERFLOW,150NB,STEEL LONG,LOOSE,FLANGE,250MM,CYCLONE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PIPE | METALLIC | TYPE | OVERFLOW | NOMINAL SIZE | 150 NB | LENGTH | 250 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MANUFACTURING PROCESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOOSE,END CONNECTION:FLANGE,CYCLONE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060233688 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060233688 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | PIPE,PVC,CONDUIT,20MM-BUNDLE,25X4M,LENGT | PVC,CONDUIT,PIPE,20MM-BUNDLE,25X4M,LENGTH,100M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PIPE | NON-METALLIC | TYPE | CONDUIT | NOMINAL SIZE | 20 MM | LENGTH | LG 100 M | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | TEMPERATURE RATING |  | COLOUR |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BUNDLE:25 X 4 M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060247888 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060247888 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PIPE,SAMPLE,1779343,CAT,EA | PIPE,SAMPLE,1779343,CAT,EACH | 1779343 |  |  | https://spare.avspart.com/caterpillar/cap/1779343/ |  | CATERPILLAR | 1779343 | [11 empty] | CLEANSED | PIPE | NO MODIFIER | TYPE | SAMPLE | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060256322 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060256322 | BHP1 | BHP Spares & Supplies | 401500 | Industrial pumps and compressors | EA | MAN2 | PIPE,ST PIPE15NB10SS,1/2INCH,STAINLESS | PIPE,ST PIPE15NB10SS,1/2INCH,STAINLESS STEEL,PIPE,150,COMPLETE WITH FLANGES,PSP P40 | ST PIPE15NB10SS | 0019011819 | Unknown | URL NOT FOUND |  |  | ST PIPE15NB10SS | [11 empty] | CLEANSED | PIPE | METALLIC | TYPE |  | NOMINAL SIZE | 15 NB | LENGTH | 150 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MANUFACTURING PROCESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | END CONNECTION:FLANGED,PSP P40 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060239182 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060239182 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | SHAFT,ENCODER,ROTECH,PPE10NHD1GPB | INST,SHAFT,ENCODER,ROTECH,TYPE:PPE-10-N-HD-1G-PB |  |  |  | URL NOT FOUND |  | ROTECH | PPE-10-N-HD-1G-PB | [11 empty] | CLEANSED | ENCODER | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | PULSES PER REVOLUTION |  | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE |  | OUTPUT CONFIGURATION |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE | SHAFT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060186961 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060186961 | BHP1 | BHP Spares & Supplies | 321300 | Electronic hardware and component parts and accessories | EA | MAN2 | SHAFT,ENCODER,ROTECH,TYPE: PE-10-W-HD | SHAFT,ENCODER,ROTECH,TYPE: PE-10-W-HD,HEAVY DUTY,10 PULSES PER REV,OUTPUT TYPE-W,20-240 V,AS PER SSI 4324. |  |  |  | URL NOT FOUND |  | ROTECH | PE-10-W-HD | [11 empty] | CLEANSED | ENCODER | NO MODIFIER | TYPE | HEAVY DUTY | INPUT RATING |  | OUTPUT RATING | 20-240 V | PULSES PER REVOLUTION | 10 | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE |  | OUTPUT CONFIGURATION |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE | SHAFT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OUTPUT TYPE-W,AS PER SSI 4324 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060186960 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060186960 | BHP1 | BHP Spares & Supplies | 321300 | Electronic hardware and component parts and accessories | EA | MAN2 | SHAFT,ENCODER,ROTECH,TYPE: PE-4-W-HD,HE | SHAFT,ENCODER,ROTECH,TYPE: PE-4-W-HD,HEAVY DUTY,4 PULSES PER REV,OUTPUT TYPE-W,20-240 V,AS PER SSI 4323 |  |  |  | URL NOT FOUND |  | ROTECH | PE-4-W-HD | [11 empty] | CLEANSED | ENCODER | NO MODIFIER | TYPE | HEAVY DUTY | INPUT RATING |  | OUTPUT RATING | 20-240 V | PULSES PER REVOLUTION | 4 | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE |  | OUTPUT CONFIGURATION |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE | SHAFT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OUTPUT TYPE-W,AS PER SSI 4323 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060214681 | TNG_001 | DATA ENRICHMENT | NEN | NEN | OK | 02-11-2022 | 16-11-2022 |  | 000000000060214681 | BHP1 | BHP Spares & Supplies | 251738 | Drivetrain systems | EA | MAN2 | SLP JONT GROUP-DRVE SHAFT (CENTRE) | SLIP JOINT GROUP-DRIVE SHAFT (CENTRE),AS PER SSI 3444.,CHANGE INTO NON ROTABLE AS PER "ESSI 72" | 3904797 | 0019000668 | CATERPILLAR EQUIPMENT CO | https://parts.cat.com/en/catcorp/390-4797 |  | CATERPILLAR EQUIPMENT CO | 3904797 | [11 empty] | CLEANSED | JOINT | NO MODIFIER | TYPE | SLIP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR GROUP-DRIVE SHAFT(CENTRE) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED