## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060254430 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060254430 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SHOCK ABSORBER,200170,EA | SHOCK ABSORBER, 200170, EACH | 200170 |  |  | https://equipmentparts.co.za/product/shock-absorberb200170/ |  |  | 200170 | [11 empty] | CLEANSED | ABSORBER | SHOCK | TYPE |  | STROKE |  | LOAD CAPACITY |  | DIAMETER |  | LENGTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060248490 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 | CONFLICT WITH INPUT PART NUMBER UPADTED AS PER WEBSOURCE | 000000000060248490 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SHOCK,FRONT,GABRIEL,56158,LDV | FRONT SHOCK, GABRIEL, PN 56158, TOYOTA LDV | 56158 | 0019011819 | Unknown | https://intelepart.com/g56158-safari-shock-absorber |  | TOYOTA LDV | G56158 |  | GABRIEL | [9 empty] | CLEANSED | ABSORBER | SHOCK | TYPE | FRONT | STROKE |  | LOAD CAPACITY |  | DIAMETER |  | LENGTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060247216 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060247216 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SHOCK,FRONT,GABRIEL,G56211 | SHOCK,FRONT,GABRIEL,G56211 | G56211 | 0019011819 | Unknown | https://intelepart.com/g56211-safari-shock-absorber |  | GABRIEL | G56211 | [11 empty] | CLEANSED | ABSORBER | SHOCK | TYPE | FRONT | STROKE |  | LOAD CAPACITY |  | DIAMETER |  | LENGTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060247214 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060247214 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SHOCK,GABRIEL,G56209 | SHOCK,GABRIEL,G56209 | G56209 | 0019011819 | Unknown | https://intelepart.com/g56209-safari-shock-absorber |  | GABRIEL | G56209 | [11 empty] | CLEANSED | ABSORBER | SHOCK | TYPE |  | STROKE |  | LOAD CAPACITY |  | DIAMETER |  | LENGTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060241633 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060241633 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | ACCUMILATOR,721-32-10680,KOMATSUHM300-2 | ACCUMILATOR, 721-32-10680, KOMATSUH M300-2 | 721-32-10680 - ACCUMILATOR |  |  | https://k-part.777parts.org/spare/komatsu/721-32-10680/ |  | KOMATSU | 721-32-10680 | [6 empty] | M300-2 | KOMATSU |  |  |  | CLEANSED | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060023627 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060023627 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | BALLAST, FLUORESCENT, 220/230V, 36/40W, | BALLAST, FLUORESCENT, 220/230V, 36/40W, SINGLE LAMP, RAPID START, 1.2, METRE TUBE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BALLAST | NO MODIFIER | TYPE | RAPID START | VOLTAGE RATING | 220/230 V | CURRENT RATING |  | LAMP WATTAGE | 36/40 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | SINGLE | ANSI CODE |  | FREQUENCY RATING |  | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TUBE SIZE:1.2 M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060093292 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060093292 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | BALLAST, FLUORESCENT, 220/230V, 58/65W, | BALLAST, FLUORESCENT, 220/230V, 58/65W, SINGLE LAMP, SWITCH START, 1.5 METRE TUBE, TO SABS 890 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BALLAST | NO MODIFIER | TYPE | SWITCH START | VOLTAGE RATING | 220/230 V | CURRENT RATING |  | LAMP WATTAGE | 58/65 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | SINGLE | ANSI CODE |  | FREQUENCY RATING |  | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 890 | ADDITIONAL FEATURES EN | TUBE SIZE:1.5 M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060130509 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060130509 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | BALLAST, FLUORESCENT, 240/250V, 58/65W, | BALLAST, FLUORESCENT, 240/250V, 58/65W, SINGLE LAMP, SWITCH START, 1.5 METRE TUBE, TO SABS 890 | 58/65W, | 0019000041 | OTHER POL SUPPLIES | URL NOT FOUND |  | OTHER POL SUPPLIES | 58/65W | [11 empty] | CLEANSED | BALLAST | NO MODIFIER | TYPE | SWITCH START | VOLTAGE RATING | 240/250 V | CURRENT RATING |  | LAMP WATTAGE | 58/65 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | SINGLE | ANSI CODE |  | FREQUENCY RATING |  | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 890 | ADDITIONAL FEATURES EN | TUBE SIZE:1.5 M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060023685 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060023685 | BHP1 | BHP Spares & Supplies | 391100 | Lighting, fixtures and accessories | EA | MAN2 | BEACON, ROTARY, RED, 220V, ELECTRONIC ST | BEACON, ROTARY, RED, 220V, ELECTRONIC STROBE, BLITZLITE | 10600 | 0019008545 | BLITZLITE | URL NOT FOUND |  | BLITZLITE | 10600 | [11 empty] | CLEANSED | BEACON | NO MODIFIER | TYPE | ROTARY,ELECTRONIC STROBE | LAMP TYPE |  | FLASH RATE |  | VOLTAGE RATING | 220 V | CAP/LENS COLOUR | RED | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060247142 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 | REFERENCE URL | 000000000060247142 | BHP1 | BHP Spares & Supplies | 390000 | Lighting and Electrical Accessories and Supplies | EA | MAN2 | BEACON,BLUE LED,230V,FLASHING,SOLO,EA | BEACON, BLUE LED, 230V, FLASHING, SOLO X027, EACH | X027 BLUE | 0019011819 | Unknown | https://www.fogarty.co.za/catalogue/FogartyElectronics-Page_76_(X).pdf |  |  | X027 BLUE | [11 empty] | CLEANSED | BEACON | NO MODIFIER | TYPE | FLASHING | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 230 V | CAP/LENS COLOUR | BLUE | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOLO,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060247141 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 | REFERENCE URL | 000000000060247141 | BHP1 | BHP Spares & Supplies | 390000 | Lighting and Electrical Accessories and Supplies | EA | MAN2 | BEACON,GREEN LED,230V,FLASHING,SOLO,EA | BEACON, GREEN LED, 230V, FLASHING, SOLO X027, EACH | X027 GREEN | 0019011819 | Unknown | https://www.fogarty.co.za/catalogue/FogartyElectronics-Page_76_(X).pdf |  |  | X027 GREEN | [11 empty] | CLEANSED | BEACON | NO MODIFIER | TYPE | FLASHING | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 230 V | CAP/LENS COLOUR | GREEN | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOLO,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060242785 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060242785 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | BEACON,LED TYPE FLASHER,LONG LIFE,COLOUR | BEACON,LED TYPE FLASHER,LONG LIFE,COLOUR: RED,20MM CONDUIT NIPPLE,125MM(H) X 75MM(D),LIB001F,110 - 230VAC | LIB001F |  |  | https://www.acdc.co.za/products/red-beacon-flasher-110-230v-es-fitting?variant=30481329420 |  |  | LIB001F | [11 empty] | CLEANSED | BEACON | NO MODIFIER | TYPE | FLASHER,LONG LIFE | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 110/230 VAC | CAP/LENS COLOUR | RED | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | HT 125 X DP 75 MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:20 MM CONDUIT NIPPLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060128045 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060128045 | BHP1 | BHP Spares & Supplies | 411200 | Laboratory supplies and fixtures | EA | MAN2 | BEAKER, GLASS, 500ML, PHILLIPS | BEAKER, GLASS, 500ML, PHILLIPS |  |  |  | URL NOT FOUND |  | PHILLIPS | [12 empty] | CLEANSED | BEAKER | LAB | TYPE |  | CAPACITY | 500 ML | GRADUATION |  | MATERIAL | GLASS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060243340 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060243340 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | BEAKER,TEFLON,1L | TEFLON,BEAKER,1L | TEFB1L |  |  | URL NOT FOUND |  |  | TEFB1L | [11 empty] | CLEANSED | BEAKER | LAB | TYPE |  | CAPACITY | 1 L | GRADUATION |  | MATERIAL | TEFLON | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060246240 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060246240 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | BEAKER,TEFLON,5L | BEAKER,TEFLON,5L |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEAKER | LAB | TYPE |  | CAPACITY | 5 L | GRADUATION |  | MATERIAL | TEFLON | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060231924 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060231924 | BHP1 | BHP Spares & Supplies | 521215 | Bedclothes | EA | MAN2 | BED,SINGLE,RESTONIC,92CMX187CM,BROWN | BED, SINGLE BED RESTONIC 92CMX187CM, BROWN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BED | NO MODIFIER | TYPE | SINGLE | COMMERCIAL SIZE | WD 92 X LG 187 CM | FRAME MATERIAL |  | COLOUR | BROWN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:RESTONIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060250974 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060250974 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BOTTLE,WATER,800ML,ALEX,VARGA,BALATON,BL | BOTTLE,WATER,800ML,ALEX,VARGA,BALATON,BLACK |  |  |  | URL NOT FOUND |  | ALEX VARGA | [12 empty] | CLEANSED | BOTTLE | NO MODIFIER | TYPE | BALATON WATER | CAPACITY | 800 ML | MATERIAL |  | SIZE |  | LID TYPE |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060252909 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060252909 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BOTTLE,WATER,800ML,MONARCH | BOTTLE, WATER, 800ML, MONARCH |  |  |  | URL NOT FOUND |  | MONARCH | [12 empty] | CLEANSED | BOTTLE | NO MODIFIER | TYPE | WATER | CAPACITY | 800 ML | MATERIAL |  | SIZE |  | LID TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060250598 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060250598 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | BOWL,200103,BELL,EA | BOWL, 200103, BELL, EACH | 200103 |  |  | URL NOT FOUND |  | BELL | 200103 | [11 empty] | CLEANSED | BOWL | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060255925 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060255925 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | BOWL,STAINLESS,STEEL,SET | BOWL, STAINLESS, STEEL, SET |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BOWL | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL | STAINLESS, STEEL | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060099970 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060099970 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | M3 | MAN2 | STONE, CRUSHER, 19.0MM | STONE, CRUSHER, 19.0MM | 33-155 | 0019008944 | STANLEY | URL NOT FOUND |  | STANLEY | 33-155 | [5 empty] | CRUSHER | [5 empty] | CLEANSED | STONE | NO MODIFIER | TYPE |  | SHAPE |  | SIZE | 19 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060241258 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060241258 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | DAMPER,20Y-54-71182,KOMATSU,PC220-8 | DAMPER,20Y-54-71182,KOMATSU,PC220-8 | 20Y-54-71182 DAMPER |  |  | https://k-part.777parts.org/spare/komatsu/20y-54-71182/ |  | KOMATSU | 20Y-54-71182 | [6 empty] | PC220-8 | KOMATSU |  |  |  | CLEANSED | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060235796 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060235796 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | HORN,DISC,12V | HORN,DISC,12V |  | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  | ELECTRO DIESEL | [12 empty] | CLEANSED | HORN | NO MODIFIER | TYPE | DISC | SOUND INTENSITY |  | VOLTAGE RATING | 12 V | CURRENT RATING |  | POWER RATING |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060255281 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060255281 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,BLOCK,SILICA,GLASS,ITEM1,DRW4 | INSULATION BLOCK, SILICA GLASS, ITEM 1 DRW 404-3077-01-00, FOR PIPE CLAMPS BACK MANTLE |  |  |  | URL NOT FOUND | [11 empty] | 404-3077-01-00 |  | 1 | CLEANSED | INSULATION | BLOCK | TYPE |  | WIDTH |  | THICKNESS |  | LENGTH |  | MATERIAL | SILICA GLASS | MIN TEMPERATURE |  | MAX TEMPERATURE |  | DENSITY |  | COLOUR |  | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PIPE CLAMPS BACK MANTLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060255282 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060255282 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,BLOCK,SILICA,GLASS,ITEM1,DRW4 | INSULATION BLOCK, SILICA GLASS, ITEM 1 DRW 404-3079-01-00, FOR PIPE CLAMPS BACK MANTLE |  |  |  | URL NOT FOUND | [11 empty] | 404-3079-01-00 |  | 1 | CLEANSED | INSULATION | BLOCK | TYPE |  | WIDTH |  | THICKNESS |  | LENGTH |  | MATERIAL | SILICA GLASS | MIN TEMPERATURE |  | MAX TEMPERATURE |  | DENSITY |  | COLOUR |  | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PIPE CLAMPS BACK MANTLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060255287 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060255287 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,BLOCK,SILICA,GLASS,ITEM1,DRW4 | INSULATION BLOCK, SILICA GLASS, ITEM 1 DRW 404-3078-01-00, FOR PIPE CLAMPS BACK MANTLE |  |  |  | URL NOT FOUND | [11 empty] | 404-3078-01-00 |  | 1 | CLEANSED | INSULATION | BLOCK | TYPE |  | WIDTH |  | THICKNESS |  | LENGTH |  | MATERIAL | SILICA GLASS | MIN TEMPERATURE |  | MAX TEMPERATURE |  | DENSITY |  | COLOUR |  | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PIPE CLAMPS BACK MANTLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060255288 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060255288 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,BLOCK,SILICA,GLASS,ITEM2,DRW4 | INSULATION BLOCK, SILICA GLASS, ITEM 2 DRW 404-3079-01-00, FOR PIPE CLAMPS BACK MANTLE |  |  |  | URL NOT FOUND | [11 empty] | 404-3079-01-00 |  | 2 | CLEANSED | INSULATION | BLOCK | TYPE |  | WIDTH |  | THICKNESS |  | LENGTH |  | MATERIAL | SILICA GLASS | MIN TEMPERATURE |  | MAX TEMPERATURE |  | DENSITY |  | COLOUR |  | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PIPE CLAMPS BACK MANTLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060255284 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060255284 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,BLOCK,SILICA,GLASS,ITEM2,DRW4 | INSULATION BLOCK, SILICA GLASS, ITEM 2 DRW 404-3078-01-00, FOR PIPE CLAMPS BACK MANTLE |  |  |  | URL NOT FOUND | [11 empty] | 404-3078-01-00 |  | 2 | CLEANSED | INSULATION | BLOCK | TYPE |  | WIDTH |  | THICKNESS |  | LENGTH |  | MATERIAL | SILICA GLASS | MIN TEMPERATURE |  | MAX TEMPERATURE |  | DENSITY |  | COLOUR |  | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PIPE CLAMPS BACK MANTLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060255292 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060255292 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,BLOCK,SILICA,GLASS,ITEM2,DRW4 | INSULATION BLOCK, SILICA GLASS, ITEM 2 DRW 404-3077-01-00, FOR PIPE CLAMPS BACK MANTLE |  |  |  | URL NOT FOUND | [11 empty] | 404-3077-01-00 |  | 2 | CLEANSED | INSULATION | BLOCK | TYPE |  | WIDTH |  | THICKNESS |  | LENGTH |  | MATERIAL | SILICA GLASS | MIN TEMPERATURE |  | MAX TEMPERATURE |  | DENSITY |  | COLOUR |  | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PIPE CLAMPS BACK MANTLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060254458 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060254458 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,BLOCK,SILICA,GLASS,ITEM2,DRW4 | INSULATION BLOCK, SILICA GLASS, ITEM 2 DRW 400-3408-01-00, FOR PIPE CLAMPS SLIPPING CAGE |  |  |  | URL NOT FOUND | [11 empty] | 400-3408-01-00 |  | 2 | CLEANSED | INSULATION | BLOCK | TYPE |  | WIDTH |  | THICKNESS |  | LENGTH |  | MATERIAL | SILICA GLASS | MIN TEMPERATURE |  | MAX TEMPERATURE |  | DENSITY |  | COLOUR |  | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PIPE CLAMPS SLIPPING CAGE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060244075 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244075 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 10,TWP-3490-1,MATERIAL G | INSULATION,ITEM 10,TWP-3490-1,MATERIAL G11,SIZE 2091MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 10 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 MM X LG 2.091 M X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244085 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244085 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 11,TWP-3490-1,MATERIAL G | INSULATION,ITEM 11,TWP-3490-1,MATERIAL G11,SIZE 1295MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 11 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 MM X LG 1.295 M X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244077 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244077 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 12,TWP-3490-1,MATERIAL G | INSULATION,ITEM 12,TWP-3490-1,MATERIAL G11,SIZE 1295MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 12 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 MM X LG 1.295 M X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244079 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244079 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 13,TWP-3490-1,MATERIAL G | INSULATION,ITEM 13,TWP-3490-1,MATERIAL G11,SIZE 1490MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 13 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 MM X LG 1.490 M X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244080 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244080 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 14,TWP-3490-1,MATERIAL G | INSULATION,ITEM 14,TWP-3490-1,MATERIAL G11,SIZE 939MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 14 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 X LG 939 X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244086 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244086 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 15,TWP-3490-1,MATERIAL G | INSULATION,ITEM 15,TWP-3490-1,MATERIAL G11,SIZE 399MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 15 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 X LG 399 X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244090 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244090 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 16,TWP-3490-1,MATERIAL G | INSULATION,ITEM 16,TWP-3490-1,MATERIAL G11,SIZE 720MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 16 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 X LG 720 X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244083 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244083 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 17,TWP-3490-1,MATERIAL G | INSULATION,ITEM 17,TWP-3490-1,MATERIAL G11,SIZE 720MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 17 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 X LG 720 X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244076 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244076 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 27,TWP-3490-1,MATERIAL G | INSULATION,ITEM 27,TWP-3490-1,MATERIAL G11,SIZE 2789MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 27 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 MM X LG 2.789 M X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244074 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244074 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 28,TWP-3490-1,MATERIAL G | INSULATION,ITEM 28,TWP-3490-1,MATERIAL G11,SIZE 1617MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 28 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 MM X LG 1.617 M X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244094 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244094 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 29,TWP-3490-1,MATERIAL G | INSULATION,ITEM 29,TWP-3490-1,MATERIAL G11,SIZE 780MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 29 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 X LG 780 X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244095 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244095 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 30,TWP-3490-1,MATERIAL G | INSULATION,ITEM 30,TWP-3490-1,MATERIAL G11,SIZE 2442MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 30 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 MM X LG 2.442 M X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244092 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244092 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | INSULATION,ITEM 31,TWP-3490-1,MATERIAL G | INSULATION,ITEM 31,TWP-3490-1,MATERIAL G11,SIZE 2442MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 31 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 MM X LG 2.442 M X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060244081 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060244081 | BHP1 | BHP Spares & Supplies | 301416 | Specialty insulation | EA | MAN2 | INSULATION,ITEM 9,TWP-3490-1,MATERIAL G1 | INSULATION,ITEM 9,TWP-3490-1,MATERIAL G11,SIZE 917MM X 165MM X 10MM THK |  |  |  | URL NOT FOUND | [9 empty] | TWP-3490-1 |  |  |  | 9 | CLEANSED | INSULATION | THERMAL | TYPE |  | FORM |  | SIZE | WD 165 X LG 917 X THK 10 MM | MATERIAL | G11 EPOXY GLASS | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060242272 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060242272 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,PAD, ITEM23,DRGAFC008-031 | INSULATION PAD, ITEM23 DRG AFC008-031 REV02, FURNACE ROOF PANNELS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | AFC008-031 REV02 |  | 23 | CLEANSED | PAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FURNACE ROOF PANNELS T1 TO T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060242268 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060242268 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,PAD, ITEM7,DRGAFC008-031 | INSULATION PAD, ITEM7 DRG AFC008-031 REV02, FURNACE ROOF PANNELS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | AFC008-031 REV02 |  | 7 | CLEANSED | PAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FURNACE ROOF PANNELS T1 TO T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060242259 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060242259 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,PAD, ITEM8,DRGAFC008-031 | INSULATION PAD, ITEM8 DRG AFC008-031 REV02, FURNACE ROOF PANNELS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | AFC008-031 REV02 |  | 8 | CLEANSED | PAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FURNACE ROOF PANNELS T1 TO T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060240925 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060240925 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,PAD,ITEM1,DRG400-3051-02 | INSULATION PAD, ITEM1 DRG400-3051-02, FURNACE DOOR INSULATIONS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | 400-3051-02 |  | 1 | CLEANSED | PAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FURNACE DOOR INSULATIONS T1 TO T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060242265 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060242265 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,PAD,ITEM5,DRGAFC008-031 | INSULATION PAD, ITEM5 DRG AFC008-031 REV02, FURNACE ROOF PANNELS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | AFC008-031 REV02 |  | 5 | CLEANSED | PAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FURNACE ROOF PANNELS T1 TO T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060240924 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060240924 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | INSULATION,PAD,ITEM9,DRG400-3051-02 | INSULATION PAD, ITEM9 DRG400-3051-02, FURNACE DOOR INSULATIONS T1 TO T3 |  |  |  | URL NOT FOUND | [11 empty] | 400-3051-02 |  | 9 | CLEANSED | PAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FURNACE DOOR INSULATIONS T1 TO T3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060249593 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060249593 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | SWINGSTOCK, JAW CRUSHER, 36IN X 25IN, DO | SWINGSTOCK, JAW CRUSHER, 36IN X 25IN, DOUBLE TOGGLE |  |  |  | URL NOT FOUND | [8 empty] | 36 X 25 IN JAW CRUSHER | [5 empty] | CLEANSED | STOCK | NO MODIFIER | TYPE | SWING,DOUBLE TOGGLE | PHYSICAL FORM |  | PACKAGE TYPE |  | PACKAGE WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060218968 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060218968 | BHP1 | BHP Spares & Supplies | 301515 | Roofing materials | EA | MAN2 | STRAP, OSLO 2M X 2M X 8MM FOLDED 2M X 1M | OSLO STRAP 2.0M LONG X 8MM DIA, 2000MM WIDE (FOLDED 2M X 1M) |  |  |  | URL NOT FOUND |  | OSLO | [12 empty] | CLEANSED | STRAP | NO MODIFIER | TYPE |  | LENGTH | 2 M | WIDTH | 2 M | THICKNESS |  | MATERIAL |  | CONNECTION TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIAMETER:8 MM,2 X 1 M FOLDED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060253466 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060253466 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | STRAP,02992175 | STRAP, 02992175 | 02992175 | 0019011819 | Unknown | https://parts.hamofa.be/products/deutz-strap-02992175-new?ls=en |  | DEUTZ | 02992175 | [11 empty] | CLEANSED | STRAP | NO MODIFIER | TYPE |  | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL |  | CONNECTION TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060250239 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060250239 | BHP1 | BHP Spares & Supplies | 411100 | Measuring, observing and testing instruments | EA | MAN2 | THERMOMETER,DIGITAL,-50TO1300DEG,ST-612, | THERMOMETER, DIGITAL, -50 TO 1300 DEG CELSIUS, DUAL THERMOCOUPLE INPUT, ST-612, ACDC |  |  |  | https://www.rpelectronics.com/st-612-thermocouple-thermometer-50-to-1300-c-dual-input.html |  | ACDC | ST-612 | [11 empty] | ENRICHED | THERMOMETER | DIGITAL | TYPE | DUAL INPUT | MEASURING RANGE | -50 TO 1300 DEG C | ACCURACY | 0.5 PCT | RESOLUTION | 0.1 DEG C/F OR 1 DEG C/F | DIAL SIZE |  | SENSOR TYPE |  | POWER SUPPLY | 1 X 9 V BATTERY | SIZE | 165 X 76 X 43 MM | STORAGE |  | SPECTRAL RANGE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060248920 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060248920 | BHP1 | BHP Spares & Supplies | 411100 | Measuring, observing and testing instruments | EA | MAN2 | THERMOMETER,DIGITAL,DISPLAY,EXTERNAL,PRO | PROBE, EXTERNAL, THERMOMETER, DIGITAL DISPLAY, 800MM X 3MM DIA, TEMP -40/300DEG C |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | THERMOMETER | DIGITAL | TYPE | EXTERNAL PROBE | MEASURING RANGE | -40 TO 300 DEG C | ACCURACY |  | RESOLUTION |  | DIAL SIZE |  | SENSOR TYPE |  | POWER SUPPLY |  | SIZE | DIA 3 X 800 MM | STORAGE |  | SPECTRAL RANGE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060232934 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060232934 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | THERMOMETER,GUN | THERMOMETER,GUN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | THERMOMETER | NO MODIFIER | TYPE | GUN | RANGE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060256251 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060256251 | BHP1 | BHP Spares & Supplies | 321117 | Semiconductor devices | EA | MAN2 | THYRISTOR,3PIN | THYRISTOR, 3PIN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | THYRISTOR | NO MODIFIER | TYPE |  | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS | 3 | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060016374 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060016374 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | UNION, FLAT SEAT, 50MM, MALLEABLE CAST, | UNION, FLAT SEAT, 50MM, MALLEABLE CAST, GALV, SCREWED BSP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | UNION | PIPE | TYPE | FLAT SEAT | NOMINAL SIZE | 50 MM | END CONNECTION | BSP SCREWED | SCHEDULE/WALL THICKNESS |  | PRESSURE RATING |  | MATERIAL | MALLEABLE CAST IRON | MATERIAL SPECIFICATION |  | TEMPERATURE RATING |  | COATING/FINISH | GALVANIZED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060250013 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060250013 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | UNION,02781-00210,KOMATSU,HM300-2R | UNION,02781-00210,KOMATSU,HM300-2R | 02781-00210 UNION | 0019011819 | Unknown | https://k-part.777parts.org/spare/komatsu/02781-00210/ |  | KOMATSU | 02781-00210 | [6 empty] | HM300-2R | KOMATSU |  |  |  | CLEANSED | UNION | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060253652 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060253652 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | UNION,DRAWBACK,CRUSHER,42X28,DWG900 3865 | UNION, DRAWBACK, CRUSHER, 42X28, DWG 900-3865 | DWG 900-3865 | 0019011819 | Unknown | URL NOT FOUND | [8 empty] | 42 X 28 IN CRUSHER |  |  | 900-3865 |  |  | CLEANSED | UNION | NO MODIFIER | TYPE | DRAWBACK | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060249665 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060249665 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | WINDOW,8AB87339,EA | WINDOW, 8AB87339, MANITOU, EACH | 8AB87339 |  |  | URL NOT FOUND |  | MANITOU | 8AB87339 | [11 empty] | CLEANSED | WINDOW | VEHICULAR | TYPE |  | DIMENSIONS |  | MATERIAL |  | MODEL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060252487 | TNG_001 | DATA ENRICHMENT | NEN | NEN2 | OK | 07-11-2022 | 07-11-2022 |  | 000000000060252487 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | WINDOW,REAR,8AB11895,MANTOU,EA | WINDOW, REAR, 8AB11895, MANTOU, EACH | 8AB1189 |  |  | URL NOT FOUND |  | MANITOU | 8AB1189 | [11 empty] | CLEANSED | WINDOW | VEHICULAR | TYPE | REAR | DIMENSIONS |  | MATERIAL |  | MODEL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED