## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060254927 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254927 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | CLAY BARREL,RIGHT HAND,COMPLETE WITH CAM | CLAY BARREL,RIGHT HAND,COMPLETE WITH CAM LOCK LEVER, FOR SWING OFF NOZZLE, MANUFACTURED COMPLETE TO DRAWING 2:200.01.12-01 AND 200.0 |  |  |  | URL NOT FOUND | [11 empty] | 2:200.01.12-01 AND 200.0 |  |  | CLEANSED | BARREL | NO MODIFIER | TYPE | CLAY,RIGHT HAND | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CAM LOCK LEVER,FOR SWING OFF NOZZLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060245563 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060245563 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | CIRCUIT BREAKER | CIRCUIT BREAKER, SBV-3 2000A 11KV 31.5KA SINGLE BUSBAR VACUUM |  |  |  | URL NOT FOUND | [9 empty] | SBV-3 |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE | SINGLE BUSBAR VACUUM | CURRENT RATING | 2000 A | VOLTAGE RATING | 11 KV | FRAME RATING |  | INTERRUPT RATING | 31.5 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060124495 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060124495 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 1 POLE, 40A, 240V AC, T | CIRCUIT BREAKER, 1 POLE, 40A, 240V AC, TYPE QA-1, HEINEMANN |  |  |  | http://www.edisonlebone.co.za/downloads/CBI_Oct_Price_List.pdf |  | HEINEMANN | [7 empty] | QA-1 |  |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 40 A | VOLTAGE RATING | 240 VAC | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 1 | OVERALL SIZE | WD 13 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060124534 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060124534 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 2 POLE, 30A, 240V AC, T | CIRCUIT BREAKER, 2 POLE, 30A, 240V AC, TYPE QF-2, HEINEMANN |  |  |  | http://www.edisonlebone.co.za/downloads/CBI_Oct_Price_List.pdf |  | HEINEMANN | [7 empty] | QA-2 |  |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 30 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 2 | OVERALL SIZE | WD 26 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060025269 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060025269 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 2 POLE, 32A, 415V AC, T | CIRCUIT BREAKER, 2 POLE, 32A, 415V AC, TYPE MULTI 9 C45, MERLIN GERIN | C45232 | 0019002161 | MERLIN GERIN AUSTRALIA PTY LTD | URL NOT FOUND |  | MERLIN GERIN AUSTRALIA PTY LTD | C45232 | MULTI 9 C45 | [10 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 2 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060124548 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060124548 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 2 POLE, 40A, TYPE QA-2- | CIRCUIT BREAKER, 2 POLE, 40A, TYPE QA-2-40, SAMITE |  |  |  | https://www.liteglo.co.za/shop/cbi-2-pole-3ka-40amp-circuit-breaker/ |  |  | QA-2-40 | [11 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 40 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 3 KA | NUMBER OF POLES | 2 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060124566 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060124566 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 100A, 660V AC, | CIRCUIT BREAKER, 3 POLE, 100A, 660V AC, TYPE C161H, C/W SHUNT TRIP & DAROS TYPE DOOR INTERLOCK HANDLE, MERLIN GERIN | 29670 & 29389 & 29450 | 0019002161 | MERLIN GERIN AUSTRALIA PTY LTD | https://www.equipmenttraders.com.au/circuit-breaker-merlin-gerin-c161h-50ka.html |  | MERLIN GERIN AUSTRALIA PTY LTD | 29670 |  | MERLIN GERIN AUSTRALIA PTY LTD | 29389 | MERLIN GERIN AUSTRALIA PTY LTD | 29450 |  | C161H |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE | DOOR INTERLOCK HANDLE | CURRENT RATING | 100 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SHUNT TRIP & DAROS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060249651 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060249651 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 1170A, 380V, SI | CIRCUIT BREAKER, 3 POLE, 1170A, 380V, SIEMENS, 3RV10414LA10, 70-90A SHORT CIRCUIT | 3RV10414LA10 |  |  | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3RV10414LA10 |  | SIEMENS | 3RV10414LA10 | [11 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 1170 A | VOLTAGE RATING | 380 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE | SEREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 70-90 A SHORT CIRCUIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060025454 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060025454 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 125A, 660V AC, | CIRCUIT BREAKER, 3 POLE, 125A, 660V AC, TYPE NF160-SPA, MITSUBISHI |  |  |  | https://dl.mitsubishielectric.com/dl/fa/document/catalog/lvcb/yn-c-0720/y0720f2102.pdf |  | MITSUBISHI | [7 empty] | NF160-SPA |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 125 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060025455 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060025455 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 125A, 660V AC, | CIRCUIT BREAKER, 3 POLE, 125A, 660V AC, TYPE NF250-CPA, MITSUBISHI |  |  |  | https://dl.mitsubishielectric.com/dl/fa/document/catalog/lvcb/yn-c-0720/y0720f2102.pdf |  | MITSUBISHI | [7 empty] | NF250-CPA |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 125 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060249426 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060249426 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 130A, 380V, SIE | CIRCUIT BREAKER, 3 POLE, 130A, 380V, SIEMENS, 3RV1321-1JC10, 10A SHORT CIRCUIT | 3RV1321-1JC10 |  |  | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3RV13211JC10 |  | SIEMENS | 3RV1321-1JC10 | [11 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 130 A | VOLTAGE RATING | 380 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE | SEREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 10 A SHORT CIRCUIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060025462 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060025462 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 250A, 660V AC, | CIRCUIT BREAKER, 3 POLE, 250A, 660V AC, TYPE NF400-CSA, MITSUBISHI |  |  |  | https://dl.mitsubishielectric.com/dl/fa/document/catalog/lvcb/yn-c-0720/y0720f2102.pdf |  | MITSUBISHI | [7 empty] | NF400-CSA |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060025418 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060025418 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 40A, 660V AC, T | CIRCUIT BREAKER, 3 POLE, 40A, 660V AC, TYPE NF100-SPA, MITSUBISHI |  |  |  | https://dl.mitsubishielectric.com/dl/fa/document/catalog/lvcb/yn-c-0720/y0720f2102.pdf |  | MITSUBISHI | [7 empty] | NF100-SPA |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 40 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060025421 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060025421 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 50A, 660V AC, T | CIRCUIT BREAKER, 3 POLE, 50A, 660V AC, TYPE NF100-SPA, MITSUBISHI |  |  |  | https://dl.mitsubishielectric.com/dl/fa/document/catalog/lvcb/yn-c-0720/y0720f2102.pdf |  | MITSUBISHI | [7 empty] | NF100-SPA |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 50 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060249425 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060249425 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 520A, 380V, SIE | CIRCUIT BREAKER, 3 POLE, 520A, 380V, SIEMENS, 3RV1031-4FA10, 28-40A SHORT CIRCUIT | 3RV1031-4FA10 |  |  | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3RV10314FA10 |  | SIEMENS | 3RV1031-4FA10 | [11 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 520 A | VOLTAGE RATING | 380 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE | SEREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 28-40 A SHORT CIRCUIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060124633 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060124633 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 80A, 525V AC, S | CIRCUIT BREAKER, 3 POLE, 80A, 525V AC, SIEMENS | 3VF1231-1DM21 | 0019000502 | BLACK & DECKER A'ASIA PTY. LTD. | URL NOT FOUND |  | BLACK & DECKER A'ASIA PTY. LTD. | 3VF1231-1DM21 |  | SIEMENS | 3VF1231-1DM21 | [8 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 80 A | VOLTAGE RATING | 525 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060025478 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060025478 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER, 3 POLE, 80A, 660V AC, T | CIRCUIT BREAKER, 3 POLE, 80A, 660V AC, TYPE NF100-HPA, C/W 525V AC SHUNT TRIP & AUXILIARY SWITCH, MITSUBISHI |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 80 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060151936 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060151936 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | CIRCUIT BREAKER, MOTOR PROTECTION, SIZE | CIRCUIT BREAKER, MOTOR PROTECTION, SIZE S0, 1.4-2A, N-RELEASE 26A, CLASS, 10, SCREW CONNECTION, STANDARD BREAKING CAPACITY, SIEMENS | 3RV1021-1BA10 | 0019003033 | SIEMENS GMBH,W.GERMANY | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3RV10211BA10 |  | SIEMENS GMBH,W.GERMANY | 3RV1021-1BA10 | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | MOTOR PROTECTION | CURRENT RATING | 1.4-2 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE | SEREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE S0,N-RELEASE 26 A,CLASS 10,STANDARD BREAKING CAPACITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060151937 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060151937 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | CIRCUIT BREAKER, MOTOR PROTECTION, SIZE | CIRCUIT BREAKER, MOTOR PROTECTION, SIZE S0, 3.5-5A, N-RELEASE 65A, CLASS, 10, SCREW CONNECTION, STANDARD BREAKING CAPACITY, SIEMENS | 3RV1021-1FA10 | 0019003033 | SIEMENS GMBH,W.GERMANY | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3RV10211FA10 |  | SIEMENS GMBH,W.GERMANY | 3RV1021-1FA10 | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | MOTOR PROTECTION | CURRENT RATING | 3.5-5 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE | SEREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE S0,N-RELEASE 65 A,CLASS 10,STANDARD BREAKING CAPACITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060151938 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060151938 | BHP1 | BHP Spares & Supplies | 301415 | Thermal insulation | EA | MAN2 | CIRCUIT BREAKER, MOTOR PROTECTION, SIZE | CIRCUIT BREAKER, MOTOR PROTECTION, SIZE S0, 20-25A, N-RELEASE 325A,, CLASS 10, SCREW CONNECTION, STANDARD BREAKING CAPACITY, SIEMENS | 3RV1021-4DA10 | 0019003033 | SIEMENS GMBH,W.GERMANY | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3RV10214DA10 |  | SIEMENS GMBH,W.GERMANY | 3RV1021-4DA10 | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | MOTOR PROTECTION | CURRENT RATING | 20-25 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE | SEREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE S0,N-RELEASE 325 A,CLASS 10,STANDARD BREAKING CAPACITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060246228 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246228 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | CIRCUIT BREAKER, SBV-3 1250A 11KV 25KA S | CIRCUIT BREAKER, SBV-3 1250A 11KV 25KA SINGLE BUSBAR VACUUM |  |  |  | URL NOT FOUND | [9 empty] | SBV-3 |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE | SINGLE BUSBAR VACUUM | CURRENT RATING | 1250 A | VOLTAGE RATING | 11 KV | FRAME RATING |  | INTERRUPT RATING | 25 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060246227 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246227 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | CIRCUIT BREAKER, SBV-3 2000A 11KV 31.5KA | CIRCUIT BREAKER, SBV-3 2000A 11KV 31.5KA SINGLE BUSBAR VACUUM |  |  |  | URL NOT FOUND | [9 empty] | SBV-3 |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE | SINGLE BUSBAR VACUUM | CURRENT RATING | 2000 A | VOLTAGE RATING | 11 KV | FRAME RATING |  | INTERRUPT RATING | 31.5 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060249403 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060249403 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CIRCUIT BREAKER,15KW,3 POLE,380V,SIE.3RV | CIRCUIT BREAKER,15KW,3 POLE,380V,SIE.3RV2331-4VC10,SIE.RV2901-1E,SIE.3RV2902-1DP0,3RV1941-1B,SIEMENS |  |  |  | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3RV23314VC10 |  | SIEMENS | 3RV2331-4VC10 |  | SIEMENS | RV2901-1E | SIEMENS | 3RV2902-1DP0 | [6 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 45 A | VOLTAGE RATING | 380 V | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MANUFACTURER NAME:SIEMENS,MANUFACTURER PART NUMBER:3RV1941-1B,POWER:15 KW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060239194 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060239194 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CIRCUIT BREAKER,3 POLE,C25A | CIRCUIT BREAKER,3 POLE,IC60A C25A,SCHNEIDER |  |  |  | https://www.se.com/za/en/product/A9F64216/miniature-circuitbreaker-acti9-ic60a-2-pole-16-a-c-curve-4500-a-iec-608981-6-ka-iec-609472/ |  | SCHNEIDER | [7 empty] | IC60A |  |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | MINIATURE | CURRENT RATING | 16 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 2 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60898-1,IEC 60947-2 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060245734 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060245734 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CIRCUIT BREAKER,In250A,SIEMENS,70kA,415V | CIRCUIT BREAKER, In250A, SIEMENS, 70kA, 415V, 3 POLE, TYPE VL250H, STARTER COMBINATION, ELECTRONIC TRIP UNIT MAGNETIC, In250A, RATED | 3VL3725-2DK36-0AA0 | 0019011819 | Unknown | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VL3725-2DK36-0AA0 |  | SIEMENS | 3VL3725-2DK36-0AA0 |  | SIEMENS | VL250H | [8 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 70 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STARTER COMBINATION,ELECTRONIC TRIP UNIT MAGNETIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060233678 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233678 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | CIRCUIT BREAKER,MINI,20AMP,1P-N4,5KAC,CU | 20AMP, 1P-N4, 5KAC, CURVE, DIN, MCB |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | MINIATURE | CURRENT RATING | 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 5 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | N4,C CURVE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060233679 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233679 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | CIRCUIT BREAKER,MINI,32AMP,1P-N4,5KAC,CU | 32AMP, 1P-N4, 5KAC, CURVE, DIN, MCB |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | MINIATURE | CURRENT RATING | 32 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 5 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | N4,C CURVE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060233664 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233664 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | CIRCUIT BREAKER,MINI,40AMP,1P-N4,5KAC,CU | 40AMP, 1P-N4, 5KAC, CURVE, DIN, MCB |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | MINIATURE | CURRENT RATING | 40 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 5 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | N4,C CURVE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060248577 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248577 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CIRCUIT BREAKER,SERIUS G/190211,HW0501 | CIRCUIT BREAKER, SERIUS G/190211, HW05014, SIEMENS, 400V, 50HZ, 70-106A, 3 PHASE 30kA | DE-922220 | 0019011819 | Unknown | URL NOT FOUND |  | SIEMENS | DE-922220 | [6 empty] | HW05014 |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 70-106 A | VOLTAGE RATING | 400 V | FRAME RATING |  | INTERRUPT RATING | 30 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY:50 HZ,3 PHASE,SERIES:G/190211 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060248575 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248575 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CIRCUIT BREAKER,SERIUS G/190211,HW0501 | CIRCUIT BREAKER, SERIUS G/190211, HW05014, SIEMENS, 400V, 50HZ, 36A, 3 PHASE 30kA | DE-92220 | 0019011819 | Unknown | URL NOT FOUND |  | SIEMENS | DE-92220 | [6 empty] | HW05014 |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 36 A | VOLTAGE RATING | 400 V | FRAME RATING |  | INTERRUPT RATING | 30KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY:50 HZ,3 PHASE,SERIES:G/190211 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060248576 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248576 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CIRCUIT BREAKER,SERIUS G/190211,HW0501 | CIRCUIT BREAKER, SERIUS G/190211, HW05014, SIEMENS, 400V, 50HZ, 63A, 3 PHASE 30kA | DE-922220 | 0019011819 | Unknown | URL NOT FOUND |  | SIEMENS | DE-922220 | [6 empty] | HW05014 |  |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 63 A | VOLTAGE RATING | 400 V | FRAME RATING |  | INTERRUPT RATING | 30 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY:50 HZ,3 PHASE,SERIES:G/190211 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060251679 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060251679 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | CIRCUIT BREAKER,SIEMENS,0.9/1.25A,EA | CIRCUIT BREAKER, SIEMENS, 0.9/1.25A, EA | 3RV2011-0KA10 | 0019011819 | Unknown | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RV2011-0KA10 |  | SIEMENS | 3RV2011-0KA10 | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 9.5-1.25 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250731 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250731 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CIRCUIT,BREAKER,15AMP,6KA,1POLE | CIRCUIT,BREAKER,15AMP,6KA,1POLE,DUAL,MOUNT,FITS,DIN,AND,SAMITE | CBI6KA15A1P | 0019011819 | Unknown | URL NOT FOUND |  |  | CBI6KA15A1P | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | DUAL,MOUNT | CURRENT RATING | 15 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITS AND SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250730 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250730 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CIRCUIT,BREAKER,20AMP,6KA,1POLE | CIRCUIT,BREAKER,20AMP,6KA,1POLE,DUAL,MOUNT,FITS,DIN,AND,SAMITE | CBI6KA20A1P | 0019011819 | Unknown | URL NOT FOUND |  |  | CBI6KA20A1P | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | DUAL,MOUNT | CURRENT RATING | 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITS AND SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250732 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250732 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CIRCUIT,BREAKER,25AMP,6KA,1POLE | CIRCUIT,BREAKER,25AMP,6KA,1POLE,DUAL,MOUNT,FITS,DIN,AND,SAMITE | CBI6KA25A1P | 0019011819 | Unknown | URL NOT FOUND |  |  | CBI6KA25A1P | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | DUAL,MOUNT | CURRENT RATING | 25 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITS AND SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250734 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250734 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CIRCUIT,BREAKER,30AMP,6KA,1POLE | CIRCUIT,BREAKER,30AMP,6KA,1POLE,DUAL,MOUNT,FITS,DIN,AND,SAMITE | CBI6KA30A1P | 0019011819 | Unknown | URL NOT FOUND |  |  | CBI6KA30A1P | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | DUAL,MOUNT | CURRENT RATING | 30 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITS AND SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250716 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250716 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CIRCUIT,BREAKER,40AMP,6KA,1POLE | CIRCUIT,BREAKER,40AMP,6KA,1POLE,DUAL,MOUNT,FITS,DIN,AND,SAMITE | CBI6KA40A1P | 0019011819 | Unknown | URL NOT FOUND |  |  | CBI6KA40A1P | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | DUAL,MOUNT | CURRENT RATING | 40 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITS AND SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250729 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250729 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CIRCUIT,BREAKER,40AMP,6KA,3POLE | CIRCUIT,BREAKER,40AMP,6KA,3POLE,DUAL,MOUNT,FITS,DIN,AND,SAMITE | CBI6KA40A3P | 0019011819 | Unknown | URL NOT FOUND |  |  | CBI6KA40A3P | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | DUAL,MOUNT | CURRENT RATING | 40 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITS AND SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250733 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250733 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CIRCUIT,BREAKER,50AMP,6KA,1POLE | CIRCUIT,BREAKER,50AMP,6KA,1POLE,DUAL,MOUNT,FITS,DIN,AND,SAMITE | CBI6KA50A1P | 0019011819 | Unknown | URL NOT FOUND |  |  | CBI6KA50A1P | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | DUAL,MOUNT | CURRENT RATING | 50 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITS AND SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250727 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250727 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CIRCUIT,BREAKER,63AMP,6KA,3POLE | CIRCUIT,BREAKER,63AMP,6KA,3POLE,DUAL,MOUNT,FITS,DIN,AND,SAMITE | CBI6KA63A3P | 0019011819 | Unknown | URL NOT FOUND |  |  | CBI6KA63A3P | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | DUAL,MOUNT | CURRENT RATING | 63 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITS AND SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250719 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250719 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CIRCUIT,BREAKER,80AMP,6KA,3POLE | CIRCUIT,BREAKER,80AMP,6KA,3POLE,DUAL,MOUNT,FITS,DIN,AND,SAMITE | CBI6KA80A3P | 0019011819 | Unknown | URL NOT FOUND |  |  | CBI6KA80A3P | [11 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE | DUAL,MOUNT | CURRENT RATING | 80 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITS AND SAMITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060249518 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060249518 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CIRCUIT,BREAKER,ALLEN,BRADLEY,140M-H8P-C | CIRCUIT,BREAKER,ALLEN,BRADLEY,140M-H8P-C30 3 PHASE 30A | 140M-H8P-C30 | 0019011819 | Unknown | https://www.rexelusa.com/p/19001/allen-bradley/breaker-molded-case-30a-h-frame-480vac-65kaic-magnetic-only-discontinued-/611320987263/140m-h8p-c30 |  | ALLEN BRADLEY | 140M-H8P-C30 | [11 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 30 A | VOLTAGE RATING | 480 VAC | FRAME RATING |  | INTERRUPT RATING | 65 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3 PHASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060255374 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255374 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CIRCUIT,BREAKER,DOUBLE,POLE,63AMP | CIRCUIT, BREAKER, DOUBLE, POLE, 63AMP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 63 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 2 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060255373 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255373 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CIRCUIT,BREAKER,SINGLE,PHASE,16AMP | CIRCUIT, BREAKER, SINGLE, PHASE, 16AMP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1 PHASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060255367 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255367 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CIRCUIT,BREAKER,SINGLE,PHASE,20AMP | CIRCUIT, BREAKER, SINGLE, PHASE, 20AMP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1 PHASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060255378 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255378 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CIRCUIT,BREAKER,THREE,PHASE,63AMP | CIRCUIT, BREAKER, THREE, PHASE, 63AMP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 63 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3 PHASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060243949 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060243949 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CEMENT,PVC LOW PRESSURE,250ML,SOLVENT,EA | CEMENT,PVC LOW PRESSURE,250ML,SOLVENT,ADHESIVE,PLUM LINE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CEMENT | NO MODIFIER | TYPE | PVC LOW PRESSURE,SOLVENT,ADHESIVE | GRADE |  | CONTAINER | 250 ML | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLUM LINE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060242557 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060242557 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | CEMENT,SOLVENT,WELD,100ML,TUBE,MARLEY | CEMENT , SOLVENT , WELD , 100ML , TUBE , MARLEY |  |  |  | URL NOT FOUND |  | MARLEY | [12 empty] | CLEANSED | CEMENT | NO MODIFIER | TYPE | SOLVENT,WELD | GRADE |  | CONTAINER | 100 ML TUBE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060246834 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246834 | BHP1 | BHP Spares & Supplies | 231516 | Cement, ceramics and glass industry machinery, equipment and | EA | MAN2 | CEMENT,TILE,BAG | TILE,CEMENT,BAG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CEMENT | NO MODIFIER | TYPE | TILE | GRADE |  | CONTAINER | BAG | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060106692 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060106692 | BHP1 | BHP Spares & Supplies | 301016 | Bar | EA | MAN2 | COLUMN, UNIVERSAL, 152MM X 152MM, 13M LO | COLUMN, UNIVERSAL, 152MM X 152MM, 13 METRE LONG, 23.4KG/M, TO SABS 1431 GRADE 300WA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COLUMN | NO MODIFIER | TYPE | UNIVERSAL | SIZE | 152 X 152 MM X LG 13 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WEIGHT:23.4 KG/M,TO SABS 1431 GRADE 300WA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060106690 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060106690 | BHP1 | BHP Spares & Supplies | 301016 | Bar | EA | MAN2 | COLUMN, UNIVERSAL, 152MM X 152MM, 9M LON | COLUMN, UNIVERSAL, 152MM X 152MM, 9 METRE LONG, 23.4KG/M, TO SABS 1431 GRADE 300WA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COLUMN | NO MODIFIER | TYPE | UNIVERSAL | SIZE | 152 X 152 MM X LG 9 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WEIGHT:23.4 KG/M,TO SABS 1431 GRADE 300WA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060106705 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060106705 | BHP1 | BHP Spares & Supplies | 301016 | Bar | EA | MAN2 | COLUMN, UNIVERSAL, 203MM X 203MM, 9M LON | COLUMN, UNIVERSAL, 203MM X 203MM, 9 METRE LONG, 46.2KG/M, TO SABS 1431 GRADE 300WA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COLUMN | NO MODIFIER | TYPE | UNIVERSAL | SIZE | 203 X 203 MM X LG 9 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WEIGHT:46.2 KG/M,TO SABS 1431 GRADE 300WA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060106730 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060106730 | BHP1 | BHP Spares & Supplies | 301016 | Bar | EA | MAN2 | COLUMN, UNIVERSAL, 254MM X 254MM, 9M LON | COLUMN, UNIVERSAL, 254MM X 254MM, 9M LONG, 89.2KG/M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COLUMN | NO MODIFIER | TYPE | UNIVERSAL | SIZE | 254 X 254 MM X LG 9 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WEIGHT:89.2 KG/M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060106725 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060106725 | BHP1 | BHP Spares & Supplies | 301016 | Bar | EA | MAN2 | COLUMN, UNIVERSAL, 254MM X 254MM, 9M LON | COLUMN, UNIVERSAL, 254MM X 254MM, 9 METRE LONG, 72.92KG/M, TO SABS 1431 GRADE 300WA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COLUMN | NO MODIFIER | TYPE | UNIVERSAL | SIZE | 254 X 254 MM X LG 9 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WEIGHT:72.92 KG/M,TO SABS 1431 GRADE 300WA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060106750 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060106750 | BHP1 | BHP Spares & Supplies | 301016 | Bar | EA | MAN2 | COLUMN, UNIVERSAL, 305MM X 305MM, 9M LON | COLUMN, UNIVERSAL, 305MM X 305MM, 9 METRE LONG, 96.8KG/M, TO SABS 1431 GRADE 300WA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COLUMN | NO MODIFIER | TYPE | UNIVERSAL | SIZE | 305 X 305 MM X LG 9 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WEIGHT:96.8 KG/M,TO SABS 1431 GRADE 300WA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060226156 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060226156 | BHP1 | BHP Spares & Supplies | 461516 | Security and control equipment | EA | MAN2 | CONDUIT 25MM PVC | CONDUIT 25MM PVC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONDUIT | NO MODIFIER | TYPE |  | TRADE SIZE |  | LENGTH | 25 MM | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060253787 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253787 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CONDUIT,ELBOW,STEEL | CONDUIT, ELBOW, STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | ELBOW | CONDUIT | TYPE |  | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL | STEEL | LENGTH |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060233781 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233781 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | ROL | MAN2 | CONDUIT,NYLON,10MM,EWIPAFS10 | NYLON CONDUIT 10MM, 100M/ROLL, PN EWIPAFS10 | EWIPAFS10 | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  | ELECTRO DIESEL | EWIPAFS10 | [11 empty] | CLEANSED | CONDUIT | NO MODIFIER | TYPE |  | TRADE SIZE | 10 MM | LENGTH | 100 M ROLL | MATERIAL | NYLON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060233782 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233782 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | ROL | MAN2 | CONDUIT,NYLON,13MM,EWIPAFS13 | NYLON CONDUIT 13MM, 100M/ROLL, PN EWIPAFS13 | EWIPAFS13 | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  | ELECTRO DIESEL | EWIPAFS13 | [11 empty] | CLEANSED | CONDUIT | NO MODIFIER | TYPE |  | TRADE SIZE | 13 MM | LENGTH | 100 M ROLL | MATERIAL | NYLON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060233775 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233775 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | ROL | MAN2 | CONDUIT,NYLON,16MM,EWIPAFS16 | NYLON CONDUIT 16MM, PN EWIPAFS16 | EWIPAFS16 | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  | ELECTRO DIESEL | EWIPAFS16 | [11 empty] | CLEANSED | CONDUIT | NO MODIFIER | TYPE |  | TRADE SIZE | 13 MM | LENGTH |  | MATERIAL | NYLON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060240161 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060240161 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CONDUIT,NYLON,16MM-FPAS16B-50,1TUB0004 | NYLON CONDUIT 16MM, FPAS16B-50, PN 1TUB0004 | 1TUB0004 |  |  | URL NOT FOUND |  |  | 1TUB0004 | [6 empty] | FPAS16B-50 |  |  |  |  | CLEANSED | CONDUIT | NO MODIFIER | TYPE |  | TRADE SIZE | 16 MM | LENGTH |  | MATERIAL | NYLON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060253791 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253791 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CONDUIT,TPIEPCE,INSPECTION,PVC | CONDUIT, T-PIEPCE, INSPECTION, PVC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONDUIT | NO MODIFIER | TYPE | T-PIEPCE,INSPECTION | TRADE SIZE |  | LENGTH |  | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060253790 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253790 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CONDUIT,TPIEPCE,INSPECTION,STEEL | CONDUIT, T-PIEPCE, INSPECTION, STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONDUIT | NO MODIFIER | TYPE | T-PIEPCE,INSPECTION | TRADE SIZE |  | LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060253789 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253789 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CONDUIT,TPIEPCE,PVC | CONDUIT, T-PIEPCE, PVC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONDUIT | NO MODIFIER | TYPE | T-PIEPCE | TRADE SIZE |  | LENGTH |  | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060253788 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253788 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | CONDUIT,TPIEPCE,STEEL | CONDUIT, T-PIEPCE, STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONDUIT | NO MODIFIER | TYPE | T-PIEPCE | TRADE SIZE |  | LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060128051 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060128051 | BHP1 | BHP Spares & Supplies | 411200 | Laboratory supplies and fixtures | EA | MAN2 | CRUCIBLE, 45ML, PORCELAIN | CRUCIBLE, 45ML, PORCELAIN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CRUCIBLE | NO MODIFIER | TYPE |  | CAPACITY | 45 ML | SIZE |  | MATERIAL | PORCELAIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060247539 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060247539 | BHP1 | BHP Spares & Supplies | 411222 | Crucibles | EA | MAN2 | CRUCIBLE,ASH,R2,EA | CRUCIBLE, ASH, R2, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CRUCIBLE | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASH,R2,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060242056 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060242056 | BHP1 | BHP Spares & Supplies | 410000 | Laboratory, Measuring, Observing and Testing Equipment | EA | MAN2 | CRUCIBLES MOISTURE WITH LID,LOW FORM, 50 | CRUCIBLES MOISTURE WITH LID,LOW FORM, 50MM X 50MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CRUCIBLE | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 50 X 50 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOISTURE W/ LID,LOW FORM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060242152 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060242152 | BHP1 | BHP Spares & Supplies | 410000 | Laboratory, Measuring, Observing and Testing Equipment | EA | MAN2 | CRUCIBLES VOLATILE WITH LID, 25MM X 38MM | CRUCIBLES VOLATILE WITH LID, 25MM X 38MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CRUCIBLE | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 25 X 25 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLATILE W/ LID | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060250956 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250956 | BHP1 | BHP Spares & Supplies | 311617 | Nuts | EA | MAN2 | CIRCULAR,DIE,HSS,M10 | CIRCULAR, DIE ,HSS, M10 | CD10HSS |  |  | URL NOT FOUND |  |  | CD10HSS | [11 empty] | CLEANSED | DIE | NO MODIFIER | TYPE | CIRCULAR | SIZE | M10 | MATERIAL | HSS | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060250950 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250950 | BHP1 | BHP Spares & Supplies | 311617 | Nuts | EA | MAN2 | CIRCULAR,DIE,HSS,M12 | CIRCULAR, DIE, HSS, M12 | CD12HSS |  |  | URL NOT FOUND |  |  | CD12HSS | [11 empty] | CLEANSED | DIE | NO MODIFIER | TYPE | CIRCULAR | SIZE | M12 | MATERIAL | HSS | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060250955 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250955 | BHP1 | BHP Spares & Supplies | 311617 | Nuts | EA | MAN2 | CIRCULAR,DIE,HSS,M8 | CIRCULAR, DIE, HSS, M8 | CD8HSS |  |  | URL NOT FOUND |  |  | CD8HSS | [11 empty] | CLEANSED | DIE | NO MODIFIER | TYPE | CIRCULAR | SIZE | M8 | MATERIAL | HSS | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060246391 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246391 | BHP1 | BHP Spares & Supplies | 901017 | Cafeteria services | EA | MAN2 | CUTLERY,FORKS,STEEL | FORKS,STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FORK | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL | STEEL | SIZE |  | HANDLE DETAILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060250713 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250713 | BHP1 | BHP Spares & Supplies | 231315 | Grinding, sanding and polishing equipment and supplies | EA | MAN2 | CORDI,ANGLE,GRINDER,AG125-A22 | CORDI,ANGLE,GRINDER,AG125-A22 | 2109982 | 0019011819 | Unknown | https://www.hilti.in/c/CLS_CORDLESS_TOOLS_7123/CLS_CORDLESS_GRINDERS_7123/r3958236 |  | HILTI | AG125-A22 |  |  | 2109982 | [8 empty] | ENRICHED | GRINDER | NO MODIFIER | TYPE | CORDLESS ANGLE | WHEEL/DISC SIZE | DIA 125 MM | SPEED RATING |  | POWER RATING |  | VOLTAGE RATING | 21.6 V | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060222090 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060222090 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CONTROL PANEL, ELECTRICAL, PECKER | CONTROL PANEL, ELECTRICAL, PECKER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | ELECTRICAL | TYPE | CONTROL | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | ENCLOSURE |  | SIZE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PECKER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060247602 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060247602 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | COLLAR SPLITTER,13MM,16MM,19MM,T200 | COLLAR SPLITTER, 13MM, 16MM, 19MM, T200 |  |  |  | URL NOT FOUND | [9 empty] | T200 |  |  |  |  | CLEANSED | SPLITTER | NO MODIFIER | TYPE | COLLAR | SIZE | 13 X 16 X 19 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060246388 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246388 | BHP1 | BHP Spares & Supplies | 901017 | Cafeteria services | EA | MAN2 | CUTLERY,DESSERT SPOON,STEEL | SPOON,DESSERT,STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPOON | NO MODIFIER | TYPE | DESSERT | LENGTH |  | MATERIAL | STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060251793 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060251793 | BHP1 | BHP Spares & Supplies | 432100 | Computer Equipment and Accessories | EA | MAN2 | COMP PERIF,DOCKING STATION,UNIVERSAL | COMPUTER PERIPHERALS, DOCKING STATION,UNIVERSAL,USB-C,EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STATION | NO MODIFIER | TYPE | DOCKING,UNIVERSAL | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPUTER PERIPHERALS,USB-C,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060172643 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060172643 | BHP1 | BHP Spares & Supplies | 811017 | Electrical and electronic engineering | EA | MAN2 | CENTRIFUGAL SWITCH COMPLETE | CENTRIFUGAL SWITCH COMPLETE | 3053CU0015 | 0019011349 | VOITH TURBO | URL NOT FOUND |  | VOITH TURBO | 3053CU0015 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | CENTRIFUGAL | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060247653 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060247653 | BHP1 | BHP Spares & Supplies | 391213 | Electrical boxes and enclosures and fittings | EA | MAN2 | CHANGEOVER,SWITCH,PANEL,CODE,E-CSCS0250D | SWITCH, WITH PANEL, CHANGEOVER, ACDC CODE E-CSCS0250DM3CO, 250A, 3 POLE, DIMENSIONS 248-309 X 163 X 242, PANEL DEPTH 255-355, COMPL |  |  |  | https://www.acdc.co.za/products/250a-3p-changeover-switch-grey-steel-enclosed-ip54?variant=30477365644 |  | ABCD | E-CSCS0250DM3CO | [11 empty] | ENRICHED | SWITCH | NO MODIFIER | TYPE | CHANGEOVER | VOLTAGE RATING |  | CURRENT RATING | 250 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE | IP54 | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | 248-309 X 163 X 242 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ PANEL,3 POLE,PANEL DEPTH:255-355 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed