## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060253768 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253768 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | L | MAN2 | ANTIFREEZE,MANITOU,50,50,20LITER | ANTIFREEZE, MANITOU, 50, 50, 20LITER |  |  |  | URL NOT FOUND |  | MANITOU | [12 empty] | CLEANSED | ANTIFREEZE | NO MODIFIER | TYPE |  | PACK SIZE | 20 L | PACK TYPE |  | FORM |  | COLOUR |  | PH VALUE |  | FREEZING POINT |  | FLASH POINT |  | SPECIFIC GRAVITY |  | MSDS/CAS NUMBER |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 50, 50 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253614 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253614 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | DR | MAN2 | ANTIFREEZE,TEMP,LOWER,10KG,10L,TMM | TEMPERATURE LOWERING ANTIFREEZE, 10KG DRUM - 10 LITER, TMM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | ANTIFREEZE | NO MODIFIER | TYPE | TEMPERATURE LOWERING, TMM | PACK SIZE | 10 KG, 10 L | PACK TYPE | DRUM | FORM |  | COLOUR |  | PH VALUE |  | FREEZING POINT |  | FLASH POINT |  | SPECIFIC GRAVITY |  | MSDS/CAS NUMBER |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060172914 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060172914 | BHP1 | BHP Spares & Supplies | 401017 | Cooling | DR | MAN2 | ANTIFREEZE:SMR CLNT IN 20L PAIL | ANTIFREEZE:SMR CLNT IN 20L PAIL | 4419 | 0019011359 | ENGEN PETROLEUM LTD | URL NOT FOUND |  | ENGEN PETROLEUM LTD | 4419 | [11 empty] | CLEANSED | ANTIFREEZE | NO MODIFIER | TYPE | SUMMER COOLANT | PACK SIZE | 20 L | PACK TYPE | PAIL | FORM |  | COLOUR |  | PH VALUE |  | FREEZING POINT |  | FLASH POINT |  | SPECIFIC GRAVITY |  | MSDS/CAS NUMBER |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060247544 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060247544 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | ARRESTER,SURGE,CBI,10KA 1P,NEUTRAL,EA | ARRESTER,SURGE,CBI,10KA 1P,NEUTRAL,EA |  |  |  | URL NOT FOUND |  | CBI ELECTRIC | [12 empty] | CLEANSED | ARRESTER | ELECTRICAL | TYPE | SURGE, NEUTRAL | NOMINAL VOLTAGE |  | SURGE CURRENT | 10 KA | MAX VOLTAGE |  | MATERIAL |  | MECHANICAL STRENGTH |  | OVERALL SIZE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POLE: 1, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060187621 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060187621 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | ARRESTOR, FLASHBACK, ACETYLENE, AFROX, T | PORTAPAK FLASBACK ARRESTOR, DA, TORCH | W012032 | 0019008506 | AFROX LIMITED | https://www.afrox.co.za/en/images/Section%2010%20-%20%20%20%20%20%20Gas%20Equipment_tcm266-154574.pdf |  | AFROX LIMITED | W012032 | [11 empty] | ENRICHED | ARRESTER | FLAME | TYPE | FLASBACK | CONNECTION SIZE | 1/4 IN | END CONNECTION | BSP | BODY MATERIAL |  | ELEMENT TYPE | FUEL GAS | ELEMENT MATERIAL |  | OVERALL SIZE |  | MOUNTING TYPE | TORCH | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: PORTAPAK, DA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060131139 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060131139 | BHP1 | BHP Spares & Supplies | 231715 | Soldering, brazing or welding machinery and supplies | EA | MAN2 | ARRESTOR, FLASHBACK, ACETYLENE, TORCH MO | ARRESTOR, FLASHBACK, ACETYLENE, TORCH MOUNTED, LEFT HAND, TYPE 361-1, HARRIS | W237133 | 0019008506 | AFROX LIMITED | https://manualzz.com/search/?q=W237133 |  | AFROX LIMITED | W237133 | 361-1 | HARRIS | [9 empty] | CLEANSED | ARRESTER | FLAME | TYPE | FLASHBACK, LEFT HAND | CONNECTION SIZE |  | END CONNECTION |  | BODY MATERIAL |  | ELEMENT TYPE | ACETYLENE | ELEMENT MATERIAL |  | OVERALL SIZE |  | MOUNTING TYPE | TORCH | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060187622 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060187622 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | ARRESTOR, FLASHBACK, OXYGEN, AFROX, TORC | PORTAPAK FLASBACK ARRESTOR, 02, TORCH | W012033 | 0019008506 | AFROX LIMITED | https://www.afrox.co.za/en/images/Welders%20World%202020%20WEB_tcm266-599146.pdf |  | AFROX LIMITED | W012033 | [11 empty] | CLEANSED | ARRESTER | FLAME | TYPE | FLASBACK | CONNECTION SIZE |  | END CONNECTION |  | BODY MATERIAL |  | ELEMENT TYPE | OXYGEN | ELEMENT MATERIAL |  | OVERALL SIZE |  | MOUNTING TYPE | TORCH | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: PORTAPAK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060131140 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060131140 | BHP1 | BHP Spares & Supplies | 231715 | Soldering, brazing or welding machinery and supplies | EA | MAN2 | ARRESTOR, FLASHBACK, OXYGEN, TORCH MOUNT | ARRESTOR, FLASHBACK, OXYGEN, TORCH MOUNT, RIGHT HAND, TYPE 361-1, HARRIS | W237134 | 0019008506 | AFROX LIMITED | https://manualzz.com/search/?q=W237134 |  | AFROX LIMITED | W237134 | 361-1 | HARRIS | [9 empty] | CLEANSED | ARRESTER | FLAME | TYPE | FLASHBACK, RIGHT HAND | CONNECTION SIZE |  | END CONNECTION |  | BODY MATERIAL |  | ELEMENT TYPE | OXYGEN | ELEMENT MATERIAL |  | OVERALL SIZE |  | MOUNTING TYPE | TORCH | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060252857 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060252857 | BHP1 | BHP Spares & Supplies | P1210 | Welding equipment & supplies | EA | MAN2 | ARRESTOR,FLASHBACK,ACETYLENE,AFROX,EA | ARRESTOR, FLASHBACK, ACETYLENE, AFROX, REGULATOR MOUNT, QUICK RELEASE, PART NUMBER 012/121, EACH |  |  |  | URL NOT FOUND |  | AFROX LIMITED | 012/121 | [11 empty] | CLEANSED | ARRESTER | FLAME | TYPE | FLASHBACK | CONNECTION SIZE |  | END CONNECTION |  | BODY MATERIAL |  | ELEMENT TYPE | ACETYLENE | ELEMENT MATERIAL |  | OVERALL SIZE |  | MOUNTING TYPE | REGULATOR | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ QUICK RELEASE, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060187620 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060187620 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | ARRESTOR,FLASHBACK,ACETYLENE,AFROX,R | ARRESTOR, FLASHBACK, ACETYLENE, AFROX, REGULATOR MOUNT, TYPE P/PAK - DA, PART NO: 012-017 | W012017 | 0019008506 | AFROX LIMITED | https://www.afrox.co.za/en/images/Welders%20World%202017%20low%20res_tcm266-416006.pdf |  | AFROX LIMITED | W012017 |  |  | 012-017 | [8 empty] | CLEANSED | ARRESTER | FLAME | TYPE | FLASHBACK | CONNECTION SIZE |  | END CONNECTION |  | BODY MATERIAL |  | ELEMENT TYPE | ACETYLENE | ELEMENT MATERIAL |  | OVERALL SIZE |  | MOUNTING TYPE | REGULATOR | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: P/PAK - DA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060252856 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060252856 | BHP1 | BHP Spares & Supplies | P1210 | Welding equipment & supplies | EA | MAN2 | ARRESTOR,FLASHBACK,OXYGEN,EA | ARRESTOR, FLASHBACK, OXYGEN, AFROX, REGULATOR MOUNT, QUICK RELEASE, PART NO. 012/121, EACH |  |  |  | URL NOT FOUND |  | AFROX LIMITED | 012/121 | [11 empty] | CLEANSED | ARRESTER | FLAME | TYPE | FLASHBACK | CONNECTION SIZE |  | END CONNECTION |  | BODY MATERIAL |  | ELEMENT TYPE | OXYGEN | ELEMENT MATERIAL |  | OVERALL SIZE |  | MOUNTING TYPE | REGULATOR | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ QUICK RELEASE, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060219693 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060219693 | BHP1 | BHP Spares & Supplies | 731819 | Welding and brazing and soldering services | EA | MAN2 | ARRESTOR,FLASHBACK,TORCH MOUNTED,OXYGEN, | ARRESTOR,FLASH BACK,OXYGEN,C/WITH QUICK RELEASE COUPLING,TORCH END, INCLUDING NIPPLE, HARRIS P/NO:414570 | 414570 |  |  | URL NOT FOUND |  | HARRIS | 414570 | [11 empty] | CLEANSED | ARRESTER | FLAME | TYPE | FLASHBACK | CONNECTION SIZE |  | END CONNECTION |  | BODY MATERIAL |  | ELEMENT TYPE | OXYGEN | ELEMENT MATERIAL |  | OVERALL SIZE |  | MOUNTING TYPE |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W QUICK RELEASE COUPLING, TORCH END, INCLUDING NIPPLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060240301 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060240301 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | PAK | MAN2 | BOOT,RJ45,CAT5E | BOOT,RJ45,CAT5E | CAT5E |  |  | https://www.idealind.com/eu/en/shop/85-379.html |  |  | CAT5E RJ-45 | [11 empty] | CLEANSED | BOOT | DUST AND MOISTURE SEAL | TYPE |  | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060128655 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060128655 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | GUMBOOTS, BLACK PVC, KNEE LENGTH, SIZE 2 | GUMBOOTS, BLACK PVC, KNEE LENGTH, SIZE 277 (10), IVORY SOLE, LIGHT WEIGHT, CODE 101 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GUMBOOTS | SAFETY, LIGHT WEIGHT | TYPE | KNEE LENGTH | SIZE DESIGNATION | 10 (277) | HEIGHT |  | MATERIAL | PVC | SOLE MATERIAL | IVORY | TOE CONSTRUCTION TYPE |  | FASTENING METHOD |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR: BLACK, CODE 101 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060128647 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060128647 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | GUMBOOTS, BLACK RUBBER, KNEE LENGTH, SIZ | GUMBOOTS, BLACK RUBBER, KNEE LENGTH, SIZE 270(9), GENERAL PURPOSE, W/O STEEL TOE CAP, TO SABS 492 TYPE 4 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GUMBOOTS | SAFETY, GENERAL PURPOSE | TYPE | KNEE LENGTH | SIZE DESIGNATION | 9 (270) | HEIGHT |  | MATERIAL | RUBBER | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | FASTENING METHOD |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 492 TYPE 4 | ADDITIONAL FEATURES EN | COLOUR: BLACK, W/O STEEL TOE CAP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251417 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060251417 | BHP1 | BHP Spares & Supplies | 261016 | Motors | EA | MAN2 | BREATHER,ADAPTOR,TTH1 | BREATHER,ADAPTOR,TTH1,TR31099960 |  |  |  | URL NOT FOUND |  |  | TR31099960 | [11 empty] | CLEANSED | BREATHER | NO MODIFIER | TYPE | ADAPTOR | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TTH1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060241244 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060241244 | BHP1 | BHP Spares & Supplies | 251727 | Environmental control systems | EA | MAN2 | BREATHER,FILTER ELEMENT,PALL,PART NO:R01 | BREATHER,FILTER ELEMENT,PALL,PART NO:R01F200 | R01F200 |  |  | http://www.fmlfilter.com/products/9538-PALL-Filter-HC9700FUP9H,-HC8800FXT8H,-HC8800FXT8Z,-HC8900FDN13H,-HC8900FDN13Z,-HC8900FDN16H,-.html |  | PALL | R01F200 | [11 empty] | CLEANSED | BREATHER | NO MODIFIER | TYPE | FILTER ELEMENT | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060255460 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255460 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BREATHER,HYDRAULICS,FG2,72447127 | BREATHER,HYDRAULICS,FG2,72447127,VICKERS |  |  |  | https://www.alfa-hydraulics.com/shop/filtration-ersatzfilter/570.html |  | VICKERS | 72447127 |  |  | FG-2 | [8 empty] | CLEANSED | BREATHER | NO MODIFIER | TYPE | HYDRAULICS | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060254633 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254633 | BHP1 | BHP Spares & Supplies | 121635 | Oil well sealants | EA | MAN2 | BREATHER,OIL,SEW-K107,IEH-NCZU-5.1X2.2_M | BREATHER, OIL, SEW-K107, IEH-NCZU-5.1X2.2,M-0864-W | IEH-NCZU-5.1X2.2_M-0864-W | 0019011819 | Unknown | URL NOT FOUND |  |  | IEH-NCZU-5.1X2.2_M-0864-W | [6 empty] | K107 | SEW EURODRIVE |  |  |  | CLEANSED | BREATHER | NO MODIFIER | TYPE | OIL | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060254634 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254634 | BHP1 | BHP Spares & Supplies | 121635 | Oil well sealants | EA | MAN2 | BREATHER,OIL,SEW-K127,IEH-NCZU-2X3.3M-W0 | BREATHER, OIL, SEW-K127, IEH-NCZU-2 X 3.3M-W0864-S | ,IEH-NCZU-2X3.3M-W0864-S | 0019011819 | Unknown | URL NOT FOUND |  |  | IEH-NCZU-2X3.3M-W0864-S | [6 empty] | K127 | SEW EURODRIVE |  |  |  | CLEANSED | BREATHER | NO MODIFIER | TYPE | OIL | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060254627 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254627 | BHP1 | BHP Spares & Supplies | 121635 | Oil well sealants | EA | MAN2 | BREATHER,OIL,SEW-K87,IEH-NCZU-5.1X21_M-0 | BREATHER, OIL, SEW-K87, IEH-NCZU-5.1 X 21, M-0864-W | IEH-NCZU-5.1X21_M-0864-W | 0019011819 | Unknown | URL NOT FOUND |  |  | IEH-NCZU-5.1X21_M-0864-W | [6 empty] | K87 | SEW EURODRIVE |  |  |  | CLEANSED | BREATHER | NO MODIFIER | TYPE | OIL | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060254628 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254628 | BHP1 | BHP Spares & Supplies | 121635 | Oil well sealants | EA | MAN2 | BREATHER,OIL,SEW-K97,IEH-NCZU-5.1X2.2M | BREATHER, OIL, SEW-K97, IEH-NCZU-5.1X2.2M -0864-W | IEH-NCZU-5.1X2.2_M-0864-W | 0019011819 | Unknown | URL NOT FOUND |  |  | IEH-NCZU-5.1X2.2_M-0864-W | [6 empty] | K97 | SEW EURODRIVE |  |  |  | CLEANSED | BREATHER | NO MODIFIER | TYPE | OIL | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060248931 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248931 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BREATHER,ORANGE,SILCA,GEL,SA90,1400LT,20 | BREATHER,ORANGE,SILCA,GEL,SA90,1400LT,20MM | LPNS012849 | 0019011819 | Unknown | URL NOT FOUND |  |  | LPNS012849 | [11 empty] | CLEANSED | BREATHER | NO MODIFIER | TYPE |  | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA | SILICA GEL | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE | 20 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR: ORANGE, CAPACITY: 1400 L, SA90 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060248918 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248918 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | BREATHER,TRANSFORMER,TYPE,HP1A,1KG,CAPAC | BREATHER, TRANSFORMER, TYPE HP1A, 1KG CAPACITY, HYPOWER |  |  |  | URL NOT FOUND |  | HYPOWER | HP1A | [5 empty] | TRANSFORMER | [5 empty] | CLEANSED | BREATHER | NO MODIFIER | TYPE |  | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAPACITY: 1 KG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060250476 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250476 | BHP1 | BHP Spares & Supplies | 401615 | Filters | EA | MAN2 | FILLER BREATHER,40 MICRON FOAM,FLANGED | FILLER BREATHER, 40 MICRON FOAM, FLANGED WITH STRAINER, PART NR FB 2 | PART NR FB 2 | 0019011819 | Unknown | https://timalco.com.au/shop/tanks-filters-and-accessories/filler-breathers/filler-breathers-flange-mount/fb-2-filler-breather-73mm-standard/ |  |  | FB 2 | [11 empty] | ENRICHED | BREATHER | NO MODIFIER | TYPE | FILLER | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA | FOAM | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE | 73 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MICRON RATING: 40, FLANGED W/ STRAINER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060030056 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060030056 | BHP1 | BHP Spares & Supplies | 471316 | Brooms, mops, brushes and accessories | EA | MAN2 | BROOM, PLATFORM, 380MM, HARD PVC FIBRE, | BROOM, PLATFORM, 380MM, HARD PVC FIBRE, C/W HANDLE & STAY, SPRINGBOK | 108/1 | 0019008943 | SPRINGBOK | URL NOT FOUND |  | SPRINGBOK | 108/1 | [11 empty] | CLEANSED | BROOM | NO MODIFIER | TYPE | PLATFORM | BRISTLE SIZE |  | HEAD SIZE |  | LENGTH | 380 MM | BRISTLE MATERIAL | HARD PVC FIBRE | HANDLE SIZE |  | HEAD MATERIAL |  | HANDLE MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W HANDLE AND STAY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060104408 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060104408 | BHP1 | BHP Spares & Supplies | 471316 | Brooms, mops, brushes and accessories | EA | MAN2 | BROOM, PLATFORM, 610MM, SOFT BLACK FIBRE | BROOM, PLATFORM, 610MM, SOFT BLACK FIBRE, C/W HANDLE & STAY, SPRINGBOK | K | 0019008943 | SPRINGBOK | URL NOT FOUND |  | SPRINGBOK | K | [11 empty] | CLEANSED | BROOM | NO MODIFIER | TYPE | PLATFORM | BRISTLE SIZE |  | HEAD SIZE |  | LENGTH | 610 MM | BRISTLE MATERIAL | SOFT FIBRE | HANDLE SIZE |  | HEAD MATERIAL |  | HANDLE MATERIAL |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W HANDLE AND STAY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060129521 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060129521 | BHP1 | BHP Spares & Supplies | 471316 | Brooms, mops, brushes and accessories | EA | MAN2 | BROOM, PLATFORM, 900MM, BROWN PVC FIBRE, | BROOM, PLATFORM, 900MM, BROWN PVC FIBRE, C/W GALV ABATTOIR HANDLE & SCREW CAP, ACADEMY | 32591 | 0019000642 | CARBORUNDUM ABRASIVES PTY. LTD. | URL NOT FOUND |  | CARBORUNDUM ABRASIVES PTY. LTD. | 32591 | [11 empty] | CLEANSED | BROOM | NO MODIFIER | TYPE | PLATFORM | BRISTLE SIZE |  | HEAD SIZE |  | LENGTH | 900 MM | BRISTLE MATERIAL | PVC FIBRE | HANDLE SIZE |  | HEAD MATERIAL |  | HANDLE MATERIAL |  | COLOUR | BROWN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W GALV ABATTOIR HANDLE AND SCREW CAP, ACADEMY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060030069 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060030069 | BHP1 | BHP Spares & Supplies | 471316 | Brooms, mops, brushes and accessories | EA | MAN2 | BROOM, PLATFORM, 915MM, BLACK COCO FIBRE | BROOM, PLATFORM, 915MM, BLACK COCO FIBRE, C/W METAL HANDLE & FLAT METAL GRIP, ACADEMY | 3256 | 0019000642 | CARBORUNDUM ABRASIVES PTY. LTD. | URL NOT FOUND |  | CARBORUNDUM ABRASIVES PTY. LTD. | 3256 | [11 empty] | CLEANSED | BROOM | NO MODIFIER | TYPE | PLATFORM | BRISTLE SIZE |  | HEAD SIZE |  | LENGTH | 915 MM | BRISTLE MATERIAL | COCO FIBRE | HANDLE SIZE |  | HEAD MATERIAL |  | HANDLE MATERIAL |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W METAL HANDLE AND FLAT METAL GRIP, ACADEMY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060233216 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233216 | BHP1 | BHP Spares & Supplies | 471316 | Brooms, mops, brushes and accessories | EA | MAN2 | BROOM,HOUSEHOLD,COLOUR,CODED,RED,GREEN,Y | HOUSE, HOLD, BROOM, COLOUR, CODED, RED, GREEN, YELLOW, BLUE, 650X400 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BROOM | NO MODIFIER | TYPE | HOUSE HOLD | BRISTLE SIZE |  | HEAD SIZE |  | LENGTH |  | BRISTLE MATERIAL |  | HANDLE SIZE |  | HEAD MATERIAL |  | HANDLE MATERIAL |  | COLOUR | RED, GREEN, YELLOW, BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 650 X 400 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060253682 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253682 | BHP1 | BHP Spares & Supplies | 440000 | Office Equipment, Accessories and Supplies | EA | MAN2 | BROOM,HOUSEHOLD,SOFT,BRISTLES | BROOM, HOUSEHOLD, SOFT, BRISTLES |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BROOM | NO MODIFIER | TYPE | HOUSEHOLD | BRISTLE SIZE |  | HEAD SIZE |  | LENGTH |  | BRISTLE MATERIAL | SOFT BRISTLES | HANDLE SIZE |  | HEAD MATERIAL |  | HANDLE MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060253956 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253956 | BHP1 | BHP Spares & Supplies | 221017 | Heavy equipment components | EA | MAN2 | BROOMS,F17686HYG,RED,305MM,NO-STICK,STEE | BROOMS, F17686HYG, RED, 305MM, NO-STICK, STEELBELT-BRUSH, PSP | F17686HYG | 0019011819 | Unknown | URL NOT FOUND |  |  | F17686HYG | [11 empty] | CLEANSED | BROOM | NO MODIFIER | TYPE | NO-STICK | BRISTLE SIZE |  | HEAD SIZE |  | LENGTH | 305 MM | BRISTLE MATERIAL |  | HANDLE SIZE |  | HEAD MATERIAL |  | HANDLE MATERIAL |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ STEELBELT-BRUSH, PSP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060246931 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246931 | BHP1 | BHP Spares & Supplies | 471316 | Brooms, mops, brushes and accessories | EA | MAN2 | STEELBELT,BROOM,F57586 BROOM HYG 305 STI | STEELBELT,BROOM,F57586 BROOM HYG 305 STIFE |  |  |  | URL NOT FOUND |  |  | F57586HYG | [11 empty] | CLEANSED | BROOM | NO MODIFIER | TYPE |  | BRISTLE SIZE |  | HEAD SIZE |  | LENGTH | 305 MM | BRISTLE MATERIAL |  | HANDLE SIZE |  | HEAD MATERIAL |  | HANDLE MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ STEELBELT, STIFE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060248299 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248299 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | BUFFER,LOWER,MJ2436 | BUFFER,LOWER,MJ2436 | MJ-T6090-12PC | 0019011819 | Unknown | URL NOT FOUND |  |  | MJ-T6090-12PC | [6 empty] | MJ2436 |  |  |  |  | CLEANSED | BUFFER | NO MODIFIER | TYPE | LOWER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060254975 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254975 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | BUFFER,LOWER,T6090-12,TR101250069 | BUFFER,LOWER,T6090-12,TR101250069 | TR101250069 | 0019011819 | Unknown | URL NOT FOUND |  |  | TR101250069 | [6 empty] | T6090-12 |  |  |  |  | CLEANSED | BUFFER | NO MODIFIER | TYPE | LOWER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060245237 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060245237 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BUFFER,RUBBER,FOR CRUSHER FRAME 180MM | BUFFER,RUBBER,FOR CRUSHER FRAME 180MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BUFFER | NO MODIFIER | TYPE |  | SIZE | 180 MM | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CRUSHER FRAME | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060246261 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246261 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BUFFER,RUBBER,ISOLATOR,VB50 | BUFFER,RUBBER,ISOLATOR,VB50,ISO2,VB50 | ISO2 - VB50 | 0019011819 | Unknown | URL NOT FOUND |  |  | ISO2 - VB50 | [11 empty] | CLEANSED | BUFFER | NO MODIFIER | TYPE | ISOLATOR | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060248300 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248300 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | BUFFER,STOP,PITMAN | BUFFER,STOP,PITMAN | MJ-T6090-13 | 0019011819 | Unknown | URL NOT FOUND |  |  | MJ-T6090-13 | [11 empty] | CLEANSED | BUFFER | NO MODIFIER | TYPE | STOP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PITMAN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060248304 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248304 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | BUFFER,UPPER,MJ2436 | BUFFER,UPPER,MJ2436 | MJ-T6090-21PC | 0019011819 | Unknown | URL NOT FOUND |  |  | MJ-T6090-21PC | [6 empty] | MJ2436 |  |  |  |  | CLEANSED | BUFFER | NO MODIFIER | TYPE | UPPER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060254970 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254970 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | BUFFER,UPPER,T6090-21,TR101250078 | BUFFER,UPPER,T6090-21,TR101250078 | TR101250078 | 0019011819 | Unknown | URL NOT FOUND |  |  | TR101250078 | [6 empty] | T6090-21 |  |  |  |  | CLEANSED | BUFFER | NO MODIFIER | TYPE | UPPER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060249439 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060249439 | BHP1 | BHP Spares & Supplies | 851515 | Food technology | EA | MAN2 | CHIPS,SIMBA,PACKET,36,GRAMS | CHIPS, SIMBA, PACKET, 36, GRAMS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CHIP | NO MODIFIER | TYPE |  | BRAND NAME | SIMBA | FLAVOUR |  | PACKAGE TYPE | PACKET | PACKAGE WEIGHT | 36 G | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060233490 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233490 | BHP1 | BHP Spares & Supplies | 501921 | Snack foods | EA | MAN2 | CHIPS,WILLARDS,BIGCORN,BITES,5,EACH,25G | WILLARDS,BIGCORN,BITES,5,EACH,25G |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CHIP | NO MODIFIER | TYPE |  | BRAND NAME | WILLARDS BIGCORN BITES | FLAVOUR |  | PACKAGE TYPE |  | PACKAGE WEIGHT | 25 G | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGE QUANTITY: 5, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060256034 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060256034 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | METROHM IEU DATA CHIP,PART 36800641,EA | METROHM, IEU DATA CHIP, PART NO 36800641, EACH | 36800641 | 0019011819 | Unknown | https://www.seair.co.in/hwkessel-sac-importers-in-peru |  | METROHM | 36800641 | [11 empty] | CLEANSED | INTEGRATED CIRCUIT | NO MODIFIER | TYPE | IEU DATA CHIP | FUNCTION |  | POWER RATING |  | NUMBER OF PINS |  | MOUNTING TYPE |  | PACKAGE TYPE |  | SIZE |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060256065 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060256065 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | METROHM IEU DATA CHIP,PART 36800641,EA | METROHM, IEU DATA CHIP, PART NO 36800641, EACH | 36800641 | 0019011819 | Unknown | https://www.seair.co.in/hwkessel-sac-importers-in-peru |  | METROHM | 36800641 | [11 empty] | CLEANSED | INTEGRATED CIRCUIT | NO MODIFIER | TYPE | IEU DATA CHIP | FUNCTION |  | POWER RATING |  | NUMBER OF PINS |  | MOUNTING TYPE |  | PACKAGE TYPE |  | SIZE |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060232166 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060232166 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | BURETTE CLAMP DOUBLE | BURETTE CLAMP DOUBLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | BURETTE, DOUBLE | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060235176 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060235176 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | C-CLAMP METIX FOR P/RINGS AT F4 AS PER | C-CLAMP METIX FOR P/RINGS AT F4 AS PERDRW MC063-31-32-512 |  |  |  | URL NOT FOUND | [11 empty] | MC063-31-32-512 |  |  | CLEANSED | CLAMP | C | TYPE | METIX | CLAMPING CAPACITY |  | THROAT DEPTH |  | HOLDING CAPACITY |  | BODY MATERIAL |  | ARM MATERIAL |  | SCREW MATERIAL |  | SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR P/RINGS AT F4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060215616 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060215616 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP DX, CODE 0383289001, WRAPPING MACH | CLAMP DX, CODE 0383289001, WRAPPING MACHINE |  |  |  | URL NOT FOUND |  |  | 0383289001 | [5 empty] | WRAPPING MACHINE | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | DX | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060215617 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060215617 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP SX, CODE 0383289002, WRAPPING MACH | CLAMP SX, CODE 0383289002, WRAPPING MACHINE |  |  |  | URL NOT FOUND |  |  | 0383289002 | [5 empty] | WRAPPING MACHINE | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | SX | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060234387 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060234387 | BHP1 | BHP Spares & Supplies | P1034 | Pipe fittings under 2", flanges, bends adapters, connectors | EA | MAN2 | CLAMP UNI S/S UNI82-94 TYPE C | CLAMP UNI S/S UNI82-94 TYPE CHEAVY DUTY |  |  |  | URL NOT FOUND |  |  | UNI82-94 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | HEAVY DUTY | CAPACITY |  | SIZE |  | MATERIAL | STAINLESS STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060189626 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060189626 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | CLAMP, 07289-00120, KOM | CLAMP, HM300-1C, ADT, 07289-00120, KOMATSU | 07289-00120 | 0019001867 | KOMATSU CORP | https://www.reliableaftermarketparts.com/products/07289-00120-clamp-fits-komatsu-models |  | KOMATSU CORP | 07289-00120 | [5 empty] | ARTICULATED DUMP TRUCK | HM300-1C | KOMATSU |  |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060189638 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060189638 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | CLAMP, 07299-00080, KOM | CLAMP, HM300-1C, ADT, 07299-00080, KOMATSU | 07299-00080 | 0019001867 | KOMATSU CORP | https://www.finditparts.com/products/13324989/komatsu-07299-00080 |  | KOMATSU CORP | 07299-00080 | [5 empty] | ARTICULATED DUMP TRUCK | HM300-1C | KOMATSU |  |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060254310 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254310 | BHP1 | BHP Spares & Supplies | 261117 | Batteries and accessories | ST | MAN2 | CLAMP, BATTERY 600A,BOOSTER,SET | CLAMP, BATTERY 600A, BOOSTER, SET, RED, AND, BLACK | BCL600 | 0019011819 | Unknown | https://www.elparautoelectrical.co.za/product/battery-clamp-heavy-duty-jumper-clamps-acot500/ |  |  | BCL600 | [11 empty] | CLEANSED | CLAMP | JUMPER | TYPE | BATTERY, BOOSTER | CONDUCTOR |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING | 600 A | COLOUR | RED, BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGE TYPE: SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060215731 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060215731 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, BEAM, 5TON | CLAMP, BEAM, 5TON |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | BEAM | TYPE |  | CAPACITY | 5 TON | MOUNTING LOCATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MOUNTING TYPE |  | SIZE |  | THREAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060183396 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060183396 | BHP1 | BHP Spares & Supplies | 271128 | Tool attachments | ST | MAN2 | CLAMP, BELT LSHD - 36 FAR-PUL HD FLEXCO | CLAMP, BELT LSHD - 36 FAR-PUL HD FLEXCO P/N LSHD-36 | LSHD -36 | 0019011620 | R AND C MINING CONSULTANTS | https://www.flexco.com/EN/Product/5463/BeltClampComplete.htm |  | FLEXCO | LSHD36 |  | R AND C MINING CONSULTANTS | [9 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | BELT, FAR-PUL HEAVY DUTY | CAPACITY | 2.7 TON | SIZE | BELT WD 36 IN | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060182022 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060182022 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | CLAMP, BODY TOGGLE SEAT, FOR 8"X5" JAW | CLAMP, BODY TOGGLE SEAT, FOR 8"X5" JAW CRUSHER, "KEEGOR" | 008-02-024 | 0019011576 | LEONARD LIGHT INDUSTRIES (PTY) LTD | URL NOT FOUND |  | LEONARD LIGHT INDUSTRIES (PTY) LTD | 008-02-024 | [5 empty] | 8 X 5 IN JAW CRUSHER |  | KEEGOR |  |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE | BODY, TOGGLE SEAT | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060156662 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060156662 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, BOLT, 39MM - 44MM, STAINLESS STEE | CLAMP, BOLT, 39MM - 44MM, STAINLESS STEEL, HEAVY DUTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | BOLT, HEAVY DUTY | CAPACITY |  | SIZE | 39-44 MM | MATERIAL | STAINLESS STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060169671 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060169671 | BHP1 | BHP Spares & Supplies | 401015 | Ventilation | EA | MAN2 | CLAMP, BULLDOG, 6MM DROP FORGED | CLAMP, BULLDOG, 6MM DROP FORGED | RC/06BD | 0019005033 | ABC | URL NOT FOUND |  | ABC | RC/06BD | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | BULLDOG | CAPACITY |  | SIZE | 6 MM | MATERIAL | DROP FORGED | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060153055 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060153055 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, CASCADE, 150MM DIA X 200MM LONG | CLAMP, CASCADE, 150MM DIA X 200MM LONG |  |  |  | URL NOT FOUND |  | CASCADE | [12 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | DIA 150 X LG 200 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060115265 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060115265 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | CLAMP, CONTACT, HALF, C/W SQ BLOCK, DWG | CLAMP, CONTACT, HALF, C/W SQUARE BLOCK, DRG FV10C03002 REV A, CALCINE FURNACE, ELKEM |  |  |  | URL NOT FOUND |  | ELKEM | [9 empty] | FV10C03002 REV A |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE | CONTACT, HALF | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SQUARE BLOCK, CALCINE FURNACE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060115264 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060115264 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | CLAMP, CONTACT, HALF, W/O SQ BLOCK, DWG | CLAMP, CONTACT, HALF, W/O SQUARE BLOCK, DRG FV10C03002 REV A, CALCINE FURNACE, ELKEM |  |  |  | URL NOT FOUND |  | ELKEM | [9 empty] | FV10C03002 REV A |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE | CONTACT, HALF | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/O SQUARE BLOCK, CALCINE FURNACE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060215615 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060215615 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, CONTRAST, CODE 0783239001, WRAPP | CLAMP, CONTRAST, CODE 0783239001, WRAPPING MACHINE |  |  |  | URL NOT FOUND |  |  | 0783239001 | [5 empty] | WRAPPING MACHINE | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | CONTRAST | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060222929 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060222929 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | CLAMP, EXHAUST PURIFIER P/N GH59008802 | CLAMP, EXHAUST PURIFIER P/N GH59008802 | GH59008802 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | GH59008802 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | EXHAUST PURIFIER | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060121823 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060121823 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, FLANGE, AXIOM, MODIFIED STOKER, D | CLAMP, FLANGE, AXIOM, MODIFIED STOKER, DANGO | AX-M16-6000 | 0019008605 | DANGO DIENENTHAL | URL NOT FOUND |  | DANGO DIENENTHAL | AX-M16-6000 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | FLANGE | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AXIOM, MODIFIED STOKER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060152110 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060152110 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HIGH TENTION, IN-LINE, K-2 TYPE, | CLAMP, HIGH TENTION, IN-LINE, K-2 TYPE, 26MM TO 26MM, 500 KV MAX, FOR, ALUMINIUM OVERHEAD CABLE, VOLTEX | K2 | 0019000000 | 1069 | https://www.osram.com/ecat/ECG%20mountings%20-%20cable%20clamps-ECG%20mountings-Electronic%20Control%20Gears%20for%20Lamps-Digital%20Systems/com/en/GPS01_1028236/ZMP_95748/ |  | VOLTEX | K2 | [5 empty] | ALUMINIUM OVERHEAD CABLE | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | HIGH TENSION, IN-LINE | CAPACITY |  | SIZE | 26-26 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE: 500 KV MAX | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060133655 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060133655 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE WORM DRIVE GSS 28, 33-57MM, | CLAMP, HOSE WORM DRIVE GSS 28, 33-57MM, UNIVERSAL |  |  |  | https://www.brights.co.za/product/hose-clamps-gss28-32-57-2/ |  |  | GSS28 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, UNIVERSAL | HOSE SIZE | 33-57 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060133658 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 | CONFLICT IN SIZE PROCESSED BASED ON WEB SOURCE | 000000000060133658 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE WORM DRIVE GSS24 SS, 27-51MM | CLAMP, HOSE WORM DRIVE GSS24 SS, 27-51MM, UNIVERSAL |  |  |  | https://www.rockaroundtheblock.com.au/12mm-x-25-51mm-full-stainless-steel-hose-clamp-gss24 | https://www.brights.co.za/product/hose-clamps-gss24-25-51-2/ |  | GSS24 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, UNIVERSAL | HOSE SIZE | 25-51 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060133659 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060133659 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE WORM DRIVE GSS4 SS, 6-16MM, | CLAMP, HOSE WORM DRIVE GSS4 SS, 6-16MM, UNIVERSAL |  |  |  | URL NOT FOUND |  |  | GSS4 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, UNIVERSAL | HOSE SIZE | 6-16 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060133660 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 | CONFLICT IN SIZE PROCESSED BASED ON WEB SOURCE | 000000000060133660 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE WORM DRIVE GSS56 SS, 78-102M | CLAMP, HOSE WORM DRIVE GSS56 SS, 78-102MM, UNIVERSAL |  |  |  | https://www.rockaroundtheblock.com.au/12mm-x-76-102mm-full-stainless-steel-hose-clamp-gss56 |  |  | GSS56 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, UNIVERSAL | HOSE SIZE | 76-102 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060133665 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060133665 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE WORM DRIVE SS, 46-70MM, UNIV | CLAMP, HOSE WORM DRIVE SS, 46-70MM, UNIVERSAL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, UNIVERSAL | HOSE SIZE | 46-70 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060119442 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060119442 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, 100MM, FLANGED, HEAVY DUTY, | CLAMP, HOSE, 100MM, FLANGED, HEAVY DUTY, C/W BOLT & NUT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY, FLANGED | HOSE SIZE | 100 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BOLT AND NUT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018165 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060018165 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, 10MM, HEAVY DUTY, PLAIN BOL | CLAMP, HOSE, 10MM, HEAVY DUTY, PLAIN BOLTED TYPE, WRE | 168 | 0019009014 | WEST RAND ENGINEERING WORKS (PTY) L | URL NOT FOUND |  | WEST RAND ENGINEERING WORKS (PTY) L | 168 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY, PLAIN BOLTED | HOSE SIZE | 10 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018252 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060018252 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | PAK | MAN2 | CLAMP, HOSE, 35-57MM, S/STEEL BAND, SUPE | CLAMP, HOSE, 35-57MM, S/STEEL BAND, SUPER HEX, GATES, 10 PER PACK | 32028 | 0019008692 | GATES | https://www.globalindustrial.com/p/stainless-steel-hose-clamp-gates-32028 |  | GATES | 32028 | [11 empty] | ENRICHED | CLAMP | HOSE | TYPE | SUPER HEX | HOSE SIZE | 35-57 MM | WIDTH | 5/16 IN | LOAD CAPACITY | 50 LB-IN | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL BAND | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | DEEP SLOT HEX SCREW | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY: 10 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018254 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060018254 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | PAK | MAN2 | CLAMP, HOSE, 62-89MM, S/STEEL BAND, SUPE | CLAMP, HOSE, 62-89MM, S/STEEL BAND, SUPER HEX, GATES, 10 PER PACK | 32036 | 0019008692 | GATES | https://www.globalindustrial.com/p/stainless-steel-hose-clamp-gates-32036 |  | GATES | 32036 | [11 empty] | ENRICHED | CLAMP | HOSE | TYPE | SUPER HEX | HOSE SIZE | 62-89 MM | WIDTH | 5/16 IN | LOAD CAPACITY | 50 LB-IN | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL BAND | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | DEEP SLOT HEX SCREW | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY: 10 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060119441 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060119441 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | PAK | MAN2 | CLAMP, HOSE, 8-22MM, S/STEEL BAND, SUPER | CLAMP, HOSE, 8-22MM, S/STEEL BAND, SUPER HEX, GATES, 10 PER PACK |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | SUPER HEX | HOSE SIZE | 8-22 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL BAND | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY: 10 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060147722 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060147722 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, CRIMP ON 15-18MM, H237-115 | CLAMP, HOSE, CRIMP ON 15-18MM, H237-115 | H237-115 | 0019008921 | SEFLEX | URL NOT FOUND |  | SEFLEX | H237-115 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | CRIMP ON | HOSE SIZE | 15-18 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018142 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060018142 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 1 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 121-146MM, 12MM BAND WIDTH, ELECTRO PLATED MILD STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 121-146 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060119415 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060119415 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 1 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 127-152MM, 12MM BAND WIDTH, ELECTRO PLATED MILD STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 127-152 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060119417 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060119417 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 1 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 152-178MM, 12MM BAND WIDTH, ELECTRO PLATED MILD STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 152-178 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018143 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060018143 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 1 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 165-190MM, 12MM BAND WIDTH, ELECTRO PLATED MILD STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 165-190 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018156 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060018156 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 1 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 102-127MM, 12MM BAND WIDTH, S/STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 102-127 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060172576 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060172576 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 1 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 14-27MM, 12MM BAND WIDTH, BAND, AND MECHANISM IN 316 STAILESS STEEL, REFERENCE GSS8, HOSE CENTRE |  |  |  | https://www.autofast.co.za/product-range/universal-hose-clamp-stainless-steel-m14-27/ |  |  | GSS8 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE, HOSE CENTRE | HOSE SIZE | 14-27 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | 316 STAILESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060119416 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060119416 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 1 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 133-159MM, 12MM BAND WIDTH, ELECTRO PLATED MILD STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 133-159 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed