## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060018141 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018141 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 1 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 102-127MM, 12MM BAND WIDTH, ELECTRO PLATED MILD STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 102-127 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018136 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018136 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | PAK | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 3 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 38-63MM, 12MM BAND WIDTH, ELECTRO |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 38-63 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018151 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018151 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 4 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 44-70MM, 12MM BAND WIDTH, S/STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 44-70 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018137 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018137 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | PAK | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 5 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 51-76MM, 12MM BAND WIDTH, ELECTRO PLATED MILD STEEL, 10 PER PACK |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 51-76 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY: 10 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018144 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018144 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 6 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 6-17MM, 8MM BAND WIDTH, S/STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 6-17 MM | WIDTH | 8 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018154 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018154 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 7 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 70-95MM, 12MM BAND WIDTH, S/STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 70-95 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018139 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018139 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 8 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 82-102MM, 12MM BAND WIDTH, ELECTRO PLATED MILD STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 82-102 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018140 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018140 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 9 | CLAMP, HOSE, WORM DRIVE, FIXED BRIDGE, 95-121MM, 12MM BAND WIDTH, ELECTRO PLATED MILD STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE, FIXED BRIDGE | HOSE SIZE | 95-121 MM | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | MILD STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ELECTRO PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018120 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018120 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, ZINC PLATED, 12 | CLAMP, HOSE, WORM DRIVE, ZINC PLATED, 12-18MM, TO SABS 814 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE | HOSE SIZE | 12-18 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 814 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060018122 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060018122 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, HOSE, WORM DRIVE, ZINC PLATED, 25 | CLAMP, HOSE, WORM DRIVE, ZINC PLATED, 25-30MM, TO SABS 814 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | WORM DRIVE | HOSE SIZE | 25-30 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 814 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060169069 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060169069 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | CLAMP, HOSE: GH59014-734 | CLAMP, HOSE: GH59014-734 | GH59014-734 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | GH59014-734 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE |  | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060214935 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060214935 | BHP1 | BHP Spares & Supplies | 411200 | Laboratory supplies and fixtures | EA | MAN2 | CLAMP, JAW PLATE, "8X5" CRUSHER | CLAMP, JAW PLATE, "8X5" CRUSHER |  |  |  | URL NOT FOUND | [8 empty] | 8 X 5 IN CRUSHER | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | JAW PLATE | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060219832 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060219832 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | CLAMP, P/N 18020001/003 | CLAMP, P/N 18020001/003 | 18020001/003 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | 18020001/003 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060182025 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060182025 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | CLAMP, PTIMAN TOGGLE SEAT, FOR 8"X5" JAW | CLAMP, PTIMAN TOGGLE SEAT, FOR 8"X5" JAW CRUSHER, "KEEGOR" | 008-02-030 | 0019011576 | LEONARD LIGHT INDUSTRIES (PTY) LTD | URL NOT FOUND |  | LEONARD LIGHT INDUSTRIES (PTY) LTD | 008-02-030 | [5 empty] | 8 X 5 IN JAW CRUSHER |  | KEEGOR |  |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE | PITMAN TOGGLE SEAT | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060114760 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060114760 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | CLAMP, REGULATOR, DISCHARGE, 450MM SEPAR | CLAMP, REGULATOR, DISCHARGE, 450MM SEPARATOR, SPARGO | 709-054 | 0019008940 | SPARGO | URL NOT FOUND |  | SPARGO | 709-054 | [5 empty] | SEPARATOR | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | REGULATOR, DISCHARGE | CAPACITY |  | SIZE | 450 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060173886 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060173886 | BHP1 | BHP Spares & Supplies | 480000 | Service Industry Machinery, Equipment and Supplies | EA | MAN2 | CLAMP, STAINLESS STEEL C/W STAINLESS STE | CLAMP, STAINLESS STEEL C/W STAINLESS STEEL FASTNER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL | STAINLESS STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W STAINLESS STEEL FASTNER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060113711 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060113711 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, STEEL WIRE ROPE, M10, GALV, TO US | CLAMP, STEEL WIRE ROPE, M10, GALVANIZED, TO US FEDERAL SPEC FF-C-450 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | WIRE ROPE | TYPE |  | ROPE DIAMETER | M10 | MATERIAL | GALVANISED STEEL | SADDLE LENGTH |  | U-BOLT SIZE |  | ROPE TURN BACK |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | US FEDERAL SPEC FF-C-450 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060113712 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060113712 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, STEEL WIRE ROPE, M13, GALV, TO US | CLAMP, STEEL WIRE ROPE, M13, GALVANIZED, TO US FEDERAL SPEC FF-C-450 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | WIRE ROPE | TYPE |  | ROPE DIAMETER | M13 | MATERIAL | GALVANISED STEEL | SADDLE LENGTH |  | U-BOLT SIZE |  | ROPE TURN BACK |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | US FEDERAL SPEC FF-C-450 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060013997 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060013997 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, STEEL WIRE ROPE, M16, GALV, CROSB | CLAMP, STEEL WIRE ROPE, M16, GALVANIZED, CROSBY |  |  |  | URL NOT FOUND |  | CROSBY | [12 empty] | CLEANSED | CLAMP | WIRE ROPE | TYPE |  | ROPE DIAMETER | M16 | MATERIAL | GALVANISED STEEL | SADDLE LENGTH |  | U-BOLT SIZE |  | ROPE TURN BACK |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060113713 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060113713 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, STEEL WIRE ROPE, M16, GALV, TO US | CLAMP, STEEL WIRE ROPE, M16, GALVANIZED, TO US FEDERAL SPEC FF-C-450 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | WIRE ROPE | TYPE |  | ROPE DIAMETER | M16 | MATERIAL | GALVANISED STEEL | SADDLE LENGTH |  | U-BOLT SIZE |  | ROPE TURN BACK |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | US FEDERAL SPEC FF-C-450 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060113714 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060113714 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, STEEL WIRE ROPE, M20, GALV, TO US | CLAMP, STEEL WIRE ROPE, M20, GALVANIZED, TO US FEDERAL SPEC FF-C-450 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | WIRE ROPE | TYPE |  | ROPE DIAMETER | M20 | MATERIAL | GALVANISED STEEL | SADDLE LENGTH |  | U-BOLT SIZE |  | ROPE TURN BACK |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | US FEDERAL SPEC FF-C-450 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060014000 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060014000 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, STEEL WIRE ROPE, M26, GALV, CROSB | CLAMP, STEEL WIRE ROPE, M26, GALVANIZED, CROSBY |  |  |  | URL NOT FOUND |  | CROSBY | [12 empty] | CLEANSED | CLAMP | WIRE ROPE | TYPE |  | ROPE DIAMETER | M26 | MATERIAL | GALVANISED STEEL | SADDLE LENGTH |  | U-BOLT SIZE |  | ROPE TURN BACK |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060014001 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060014001 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, STEEL WIRE ROPE, M28, GALV, CROSB | CLAMP, STEEL WIRE ROPE, M28, GALVANIZED, CROSBY |  |  |  | URL NOT FOUND |  | CROSBY | [12 empty] | CLEANSED | CLAMP | WIRE ROPE | TYPE |  | ROPE DIAMETER | M28 | MATERIAL | GALVANISED STEEL | SADDLE LENGTH |  | U-BOLT SIZE |  | ROPE TURN BACK |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060152109 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060152109 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP, Y TYPE, STUB FOR STUB, 38MM TO TW | CLAMP, Y TYPE, STUB FOR STUB, 38MM TO TWIN STANDARD CONDUCTOR, 26MM,, TYPE Y-1/3, MCWADE PRODUCTIONS |  |  |  | URL NOT FOUND |  | MCWADE PRODUCTIONS | [12 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | Y | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR STUB, 38 MM TO TWIN STANDARD CONDUCTOR 26 MM, TYPE Y-1/3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060243133 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060243133 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,30MM LIGHT DUTY,3/4INCH HOSE | CLAMP, 30MM LIGHT DUTY ( 3/4INCH HOSE) |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | LIGHT DUTY | HOSE SIZE | 30 MM X 3/4 IN | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060249288 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060249288 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | CLAMP,4AA63328,MANITOU,EA | CLAMP, 4AA63328, MANITOU, EACH | 4AA63328 |  |  | URL NOT FOUND |  | MANITOU | 4AA63328 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060248512 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060248512 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | CLAMP,4AA63329,MANITOU,EA | CLAMP, 4AA63329, MANITOU, EACH | 4AA63329 |  |  | URL NOT FOUND |  | MANITOU | 4AA63329 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060250984 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060250984 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,77007058,DD210L,RIG | CLAMP, PN 77007058, DD210L DRILL RIG | 77007058 | 0019011819 | Unknown | https://www.aga-parts.com/sandvik-parts?page=9832 |  |  | 77007058 | [5 empty] | DRILL RIG | DD210L |  |  |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060245549 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060245549 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,B,BOLT,101,MM | CLAMP,B,BOLT,101,MM | GM5312-5008 | 0019011819 | Unknown | URL NOT FOUND |  |  | GM5312-5008 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | BOLT | CAPACITY |  | SIZE | 101 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060245017 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060245017 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,BEAM,1T | CLAMP, BEAM, 1T |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | BEAM | TYPE |  | CAPACITY | 1 TON | MOUNTING LOCATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MOUNTING TYPE |  | SIZE |  | THREAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060245016 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060245016 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,BEAM,5T | CLAMP, BEAM, 5T |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | BEAM | TYPE |  | CAPACITY | 5 TON | MOUNTING LOCATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MOUNTING TYPE |  | SIZE |  | THREAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060244797 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060244797 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | CLAMP,CARVE,300MM,EA | CLAMP, CARVE, 300MM, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | CARVE | CAPACITY |  | SIZE | 300 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060244463 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060244463 | BHP1 | BHP Spares & Supplies | 401423 | Pipe fittings | EA | MAN2 | CLAMP,CASCADE,1 INCH,EA | CLAMP, CASCADE, 1 INCH, EACH |  |  |  | URL NOT FOUND |  | CASCADE | [12 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 1 IN | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060244464 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060244464 | BHP1 | BHP Spares & Supplies | 401423 | Pipe fittings | EA | MAN2 | CLAMP,CASCADE,1/5INCH,EA | CLAMP, CASCADE, 1/5 INCH, EACH |  |  |  | URL NOT FOUND |  | CASCADE | [12 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 1/5 IN | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060242716 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060242716 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,CASCADE,150MM,75-83MM,STAINLESS,ST | CLAMP CASCADE, 150MM X 75-83MM, STAINLESS STEEL, CR1-0300-06 |  |  |  | https://www.cascade.co.za/cr1/ |  | CASCADE | CR1-0300-06 | [11 empty] | ENRICHED | CLAMP | NO MODIFIER | TYPE | REPAIR | CAPACITY |  | SIZE | 150 MM X 75-83 MM | MATERIAL | STAINLESS STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060242728 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060242728 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,CASCADE,150MM,95-104MM,STAINLESS,S | CLAMP CASCADE, 150MM X 95-104MM, STAINLESS STEEL, CR1-0375-08 |  |  |  | https://www.cascade.co.za/cr1/ |  | CASCADE | CR1-0375-08 | [11 empty] | ENRICHED | CLAMP | NO MODIFIER | TYPE | REPAIR | CAPACITY |  | SIZE | 150 MM X 95-104 MM | MATERIAL | STAINLESS STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060244465 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060244465 | BHP1 | BHP Spares & Supplies | 401423 | Pipe fittings | EA | MAN2 | CLAMP,CASCADE,2INCH,EA | CLAMP, CASCADE, 2 INCH, EACH |  |  |  | URL NOT FOUND |  | CASCADE | [12 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 2 IN | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060241661 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060241661 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | CLAMP,CASCADE,CR3-762,SIZE 752-762MM, | CLAMP, CASCADE ,CR3-762, SIZE 752-762MM, 1200MM | CR3-762-1200 |  |  | URL NOT FOUND |  | CASCADE | CR3-762-1200 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 1.2 M X 752-762 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060240242 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060240242 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | CLAMP,CASCADE,CRI-1075-12,SIZE 271-281MM | CLAMP,CASCADE,CRI-1075-12,SIZE 271-281MMX300 |  |  |  | URL NOT FOUND |  | CASCADE | CRI-1075-12 | [11 empty] | ENRICHED | CLAMP | NO MODIFIER | TYPE | REPAIR | CAPACITY |  | SIZE | 300 MM X 271-281 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060241826 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060241826 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,CROSBY,6.5MM,EA | CLAMP , CROSBY , 6.5MM , EA | SB209332/6.5 |  |  | https://www.acdc.co.za/products/6-5mm-crosby-clamp-5-per-pack?variant=27700898037837 |  | ACDC | SB209332/6.5 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | CROSBY | CAPACITY |  | SIZE | 6.5 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060228567 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060228567 | BHP1 | BHP Spares & Supplies | 241019 | Drum handling equipment | ST | MAN2 | CLAMP,DRUM LINERS,PART NO 64100238 | CLAMP, DRUMLINERS, PART NO 64100238, SIZE : 140MM X 6MM X 8DEGREE BEND, MATL : S/STEEL 316, 24 CLAMPS = ONE SET. | 64100238 | 0019002490 | OUTOTEC | URL NOT FOUND |  | OUTOTEC | 64100238 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | DRUMLINERS | CAPACITY |  | SIZE | 140 X 6 MM | MATERIAL | STAINLESS STEEL 316 | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BEND ANGLE: 8 DEG, PACKING QUANTITY: 24 PER SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060251119 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060251119 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | CLAMP,DRUM,SINGLE JAW,210L STEEL DRUM | CLAMP,DRUM,SINGLE JAW,210L STEEL DRUM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | DRUM, SINGLE JAW | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 210 L STEEL DRUM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060246055 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060246055 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,EARTH,MATWELD,200A | CLAMP,EARTH,MATWELD,200A |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | GROUNDING | TYPE | MATWELD | CABLE SIZE |  | MATERIAL |  | BOLT/SCREW SIZE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURRENT RATING:200 A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060227998 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060227998 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | CLAMP,EXHAUST,ROYAL SLAG CARRIER | CLAMP, EXHAUST, ROYAL SLAG CARRIER, NEW STOCK AS PER ESSI : 942 | 190-5341 | 0019011537 | BARLOWORLD EQUIPMENT | https://parts.cat.com/en/catcorp/190-5341 |  | CATERPILLAR SA | 190-5341 |  | BARLOWORLD EQUIPMENT | [9 empty] | ENRICHED | CLAMP | TUBE | TYPE | EXHAUST | TUBE SIZE |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI, ASTM, DIN | ADDITIONAL FEATURES EN | FOR ROYAL SLAG CARRIER, NEW STOCK AS PER ESSI : 942 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060216346 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060216346 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,EXHAUST,SLAG CARRIER/FRONT END LOA | CLAMP,EXHAUST,SLAG CARRIER/FRONT END LOADER., AS PER SSI 5578. | 241-9265 | 0019009026 | CATERPILLAR SA | https://parts.cat.com/en/catcorp/241-9265 |  | CATERPILLAR SA | 241-9265 | [11 empty] | ENRICHED | CLAMP | HOSE | TYPE | EXHAUST | HOSE SIZE |  | WIDTH | 76.2 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI, ASTM, DIN, ROHS | ADDITIONAL FEATURES EN | FOR SLAG CARRIER/FRONT END LOADER, AS PER SSI 5578 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060221604 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060221604 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CLAMP,FEEDER,CU35/100 | CLAMP,FEEDER,CU35/100, SSI FMT00475 | CU35/100 |  |  | URL NOT FOUND |  |  | CU35/100 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | FEEDER | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI FMT00475 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060254278 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060254278 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,FITTING,SENSOR,PROCESS,39L,57MM,E4 | CLAMP, FITTING, SENSOR, PROCESS, 39L, 57MM, E43004 |  |  |  | https://www.ifm.com/in/en/product/E43004 |  | IFM | E43004 | [11 empty] | ENRICHED | ADAPTER | PIPE | TYPE | CLAMP | NOMINAL SIZE | 1 IN | END CONNECTION | THREADED | LENGTH | 57 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIAMETER:39 MM,FOR PROCESS SENSOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060244796 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060244796 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | CLAMP,G,121-375MM,EA | CLAMP, G, 121-375MM, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | G | CAPACITY |  | SIZE | 121-375 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060254732 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060254732 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | CLAMP,HEAVY DUTY,SL115 | CLAMP, HEAVY DUTY, SL115 | SL115 | 0019011819 | Unknown | https://techiclamp.com/project/double-bolt-clamp-size-sl115/ |  | Unknown | SL115 | [11 empty] | ENRICHED | CLAMP | HOSE | TYPE | HEAVY DUTY, DOUBLE BOLT | HOSE SIZE | DIA 94-115 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN20039 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060240622 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060240622 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,HOSE,32X10MM | CLAMP,HOSE,32X10MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE |  | HOSE SIZE | 32X10 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060241319 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060241319 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,HOSE,63MM,HEAVY DUTY,C/W LUGS | CLAMP,HOSE,63MM,HEAVY DUTY,C/W LUGS,WRE | 517020006 |  |  | URL NOT FOUND |  | WEST RAND ENGINEERING WORKS (PTY) L | 517020006 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY | HOSE SIZE | 63 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W LUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060241449 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060241449 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,HOSE,65MM,HEAVY DUTY,WRE,EACH | CLAMP, HOSE, 65MM, HEAVY DUTY, BOLTED C/W LUGS, WRE, EACH |  |  |  | URL NOT FOUND |  | WEST RAND ENGINEERING WORKS (PTY) L | [12 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY, BOLTED | HOSE SIZE | 65 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W LUGS, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060255278 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060255278 | BHP1 | BHP Spares & Supplies | 271217 | Hydraulic hose and tube fittings | EA | MAN2 | CLAMP,HOSE,CL 32-35,316 STAINLESS STEEL | CLAMP,HOSE,CL 32-35,316 STAINLESS STEEL,HEAVY DUTY,32-35-SPS | CL 32-35 | 0019011819 | Unknown | URL NOT FOUND |  |  | CL 32-35 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY | HOSE SIZE | 32-35 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | 316 STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SPS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060250421 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060250421 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,HOSE,CU3535215 | CLAMP,HOSE,CU3535215 | CU3535215 | 0019011819 | Unknown | https://shop.moderngroup.com/3535215-clamp-hose/ |  | CUMMINS | 3535215 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE |  | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060228449 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060228449 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,HOSE,HEAVY DUTY,54-62 | HEAVY DUTY HOSE CLAMP 54-62 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY | HOSE SIZE | 54-62 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060228450 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060228450 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,HOSE,HEAVY DUTY,62-70 | HEAVY DUTY HOSECLAMP 62-70 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY | HOSE SIZE | 62-70 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060253925 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060253925 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | CLAMP,INSULATION,78MM,PIPE,130MMX60MMX5M | CLAMP, INSULATION FOR 78MM PIPE, 130MM X 60MM X 5MM STAINLESS STEEL BACK PLATE WITH TWO 12MM 8.8 RODS AND TWO MICA P HALF BLOCKS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | INSULATION | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 78MM PIPE, 130 X 60 X 5 MM STAINLESS STEEL BACK PLATE W/ TWO 12 MM 8.8 RODS AND TWO MICA P HALF BLOCKS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060254401 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060254401 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | EA | MAN2 | CLAMP,K-4 CATALOGUE C20043,MCWADE,EA | CLAMP, K-4 CATALOGUE C20043, MCWADE, 26.5MM - 38MM, EA |  |  |  | https://mcwadeproductions.co.za/wp-content/uploads/2015/11/McWade-Product-BCC2-K-Cross-Clamp-for-Str.-Cond.pdf |  | MCWADE PRODUCTIONS | C20043 | [11 empty] | ENRICHED | CLAMP | NO MODIFIER | TYPE | K-4 CATALOGUE, CROSS | CAPACITY |  | SIZE | 26.5- 38 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060221603 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060221603 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CLAMP,LOCATING,SK35 | CLAMP,LOCATING,SK35, SSI FMT00475 | SK35 |  |  | https://www.enapart.co.uk/brands/vahle/products/SK35 |  |  | SK35 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | LOCATING | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI FMT00475 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060249486 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060249486 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CLAMP,METER,FLUKE,376FC,1000V,EA | CLAMP,METER,FLUKE,376FC,1000V,TRUE-RMS,WIRELESS AC/DC,2500A WITH IFLEX,EA |  |  |  | https://www.fluke.com/en-in/product/electrical-testing/clamp-meters/fluke-376-fc |  | FLUKE | 376FC | [11 empty] | ENRICHED | METER | ELECTRICAL TEST | TYPE | TRUE RMS CLAMP, WIRELESS AC/D | AC CURRENT RANGE |  | DC CURRENT RANGE | 999.9 A | AC VOLTAGE RANGE |  | DC VOLTAGE RANGE | 1000 V | FREQUENCY RANGE | 5-500 HZ | RESISTANCE RANGE | 60 KOHM | ACCURACY | 2 PCT +/- 5 DIGITS | DISPLAY TYPE |  | BATTERY TYPE | 2 AA, NEDA 15A, IEC LR6 | JAW OPENING | 34 MM | SIZE | WD 85 X LG 249 X HT 45 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ IFLEX, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060250875 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060250875 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | CLAMP,MUFFLER,2419265,CAT,EA | CLAMP, MUFFLER, 2419265, CAT, EACH | 2419265 |  |  | https://parts.cat.com/en/catcorp/241-9265 |  | CATERPILLAR SA | 241-9265 | [11 empty] | ENRICHED | CLAMP | HOSE | TYPE | MUFFLER | HOSE SIZE |  | WIDTH | 76.2 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI, ASTM, DIN, ROHS | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060240935 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060240935 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | CLAMP,PASTE,600KG,860MM OVERALL DIAMETER | 600KG NEW GENERATION PASTE CLAMP,860MM OVERALL DIAMETER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | NEW GENERATION PASTE | CAPACITY | 600 KG | SIZE | DIA 860 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060254544 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060254544 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | CLAMP,PIPE,20MM-35MM,STAINLESS-STEEL,300 | CLAMP, PIPE, 20MM-35MM, STAINLESS-STEEL, 300SS, PSP-TAS | CLAMP20MM-35MM | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | PIPE | CAPACITY |  | SIZE | 20-35 MM | MATERIAL | STAINLESS-STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 300SS, PSP-TAS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060228023 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060228023 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | CLAMP,PIPE,GROMMET,RSC,FEL,ADT | CLAMP, PIPE,GROMMET,RSC,FEL,ADT, NEW STOCK AS PER ESSI : 773 | 8T-2525 | 0019011537 | BARLOWORLD EQUIPMENT | https://parts.cat.com/en/catcorp/8T-2525 |  | CATERPILLAR SA | 8T-2525 |  | BARLOWORLD EQUIPMENT | [9 empty] | ENRICHED | GROMMET | NO MODIFIER | TYPE | SPLIT, PIPE | INSIDE DIAMETER | 40 MM | GROOVE DIAMETER | 52 MM | GROOVE WIDTH | 52 MM | MATERIAL | RUBBER | OUTSIDE DIAMETER | 56 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RSC, FEL, ADT, NEW STOCK AS PER ESSI: 773 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060241940 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060241940 | BHP1 | BHP Spares & Supplies | 301022 | Plate | EA | MAN2 | CLAMP,PLATE,BOTTOM | CLAMP PLATE BOTTON, OSBORN CRUSHER, PN 00-000012414 | 00-000012414 |  |  | URL NOT FOUND |  |  | 00-000012414 | [5 empty] | CRUSHER |  | OSBORN |  |  |  | CLEANSED | PLATE | NO MODIFIER | TYPE | CLAMP, BOTTOM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060241941 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060241941 | BHP1 | BHP Spares & Supplies | 301022 | Plate | EA | MAN2 | CLAMP,PLATE,FIXED,JAW,TOP | CLAMP PLATE FIXED JAW TOP,R876 48X18, OSBORN CRUSHER, PN 00-000012413 | 00-000012413 |  |  | URL NOT FOUND |  |  | 00-000012413 | [5 empty] | CRUSHER |  | OSBORN |  |  |  | CLEANSED | PLATE | NO MODIFIER | TYPE | CLAMP, FIXED JAW TOP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | R876 48X18 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060242618 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060242618 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | CLAMP,PLATE,GRIZZLY,BAR | CLAMP PLATE, GRIZZLY BAR, OSBORN, VGF OBEX 1500X3100, PN 00-000095448 | 00-000095448 |  |  | URL NOT FOUND |  | OSBORN | 00-000095448 | [11 empty] | CLEANSED | PLATE | NO MODIFIER | TYPE | CLAMP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GRIZZLY BAR, VGF OBEX 1500X3100 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060216674 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060216674 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,QUCK,RELEASE,GOOD HAND,GH-225-D, | CLAMP,QUICK,RELEASE,GOOD HAND, GH-225-D, STRAIGHT |  |  |  | https://www.goodhandclamps.com/Horizontal-Toggle-Clamp-Flat-Base-All-Arm-Types-GH-225-D.html |  | GOOD HAND ENTERPRISE | GH-225-D | [11 empty] | ENRICHED | CLAMP | NO MODIFIER | TYPE | QUICK RELEASE, STRAIGHT, HORIZONTAL TOGGLE | CAPACITY | 227 KG | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060216675 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060216675 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,QUICK,RELEASE,GOOD HAND, GH-225-DS | CLAMP,QUICK,RELEASE,GOOD HAND, GH-225-DSM, 90 DEGREES |  |  |  | https://www.goodhandclamps.com/Horizontal-Toggle-Clamp-Flat-Base-All-Arm-Types-GH-225-DSM.html |  | GOOD HAND ENTERPRISE | [12 empty] | ENRICHED | CLAMP | NO MODIFIER | TYPE | QUICK RELEASE, HORIZONTAL TOGGLE | CAPACITY | 227 KG | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANGLE: 90 DEG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060244795 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060244795 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | CLAMP,SASH,135-1450MM,EA | CLAMP, SASH, 135-1450MM, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | SASH | CAPACITY |  | SIZE | 135-1450 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060228168 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060228168 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | ST | MAN2 | CLAMP,SET,LINING,DRUM, | CLAMP, SET, LINING, DRUM, 1 SET =((LINER TYPE A =QUANTITY: 8 OFF; LINER, TYPE B =QUANTITY: 8 OFF; LINER TYPE C =QUANTITY: 2 OFF; LINER TYPE D, =QUANTITY: 2 OFF; LINER TYPE E = QUANTITY: 2 OFF; LINER TYPE F, =QUANTITY: 2 OFF)). AS PER MFC DRAWING : MFC 096-71-55-002. (Material, VRN400), NEW STOCK AS PER ESSI: 791 |  |  |  | URL NOT FOUND | [11 empty] | MFC 096-71-55-002 |  |  | CLEANSED | SET | NO MODIFIER | TYPE | CLAMP, LINING DRUM | CONTENTS | 8 X LINER TYPE A, 8 X LINER TYPE B, 2 X LINER TYPE C, 2 X LINER TYPE D, 2 X LINER TYPE E, 2 X LINER TYPE F | NUMBER OF ITEMS |  | MATERIAL | STEEL GR VRN 400 | SIZE RANGE |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI: 791 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed