## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060238885 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060238885 | BHP1 | BHP Spares & Supplies | 601215 | Drawing tools and supplies and accessories | EA | MAN2 | BANNER 3M X 2.5M WITH STANDING POLE | BANNER 3M X 2.5M WITH STANDING POLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BOARD | DISPLAY | TYPE |  | DISPLAY SIZE | WD 2.5 X LG 3 M | DISPLAY TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ STANDING POLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060249975 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060249975 | BHP1 | BHP Spares & Supplies | 551200 | Signage and accessories | EA | MAN2 | BANNER,PULLUP,AET | BANNER,PULLUP,AET |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BOARD | DISPLAY | TYPE | PULLUP | DISPLAY SIZE |  | DISPLAY TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060249974 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060249974 | BHP1 | BHP Spares & Supplies | 551200 | Signage and accessories | EA | MAN2 | BANNER,PULLUP,FLC | BANNER,PULLUP,FLC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BOARD | DISPLAY | TYPE | PULLUP | DISPLAY SIZE |  | DISPLAY TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060247496 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060247496 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BANNER,UG,ENTRY,EXAMINATION,1300X1500 | BANNER,UG,ENTRY,EXAMINATION,1300X1500 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BOARD | DISPLAY | TYPE |  | DISPLAY SIZE | WD 1.3 X LG 1.5 M | DISPLAY TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UG ENTRY EXAMINATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060246251 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060246251 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELLOW,EXPANSION, P/N GM5706-1010 | BELLOW,EXPANSION, P/N GM5706-1010 | GM5706-1010 | 0019011819 | Unknown | URL NOT FOUND |  |  | GM5706-1010 | [11 empty] | CLEANSED | BELLOW | NO MODIFIER | TYPE | EXPANSION | SIZE |  | END CONNECTION |  | MATERIAL |  | OVERALL LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060007658 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060007658 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | ST | MAN2 | BELT, WEDGE, MATCHED, 3 PER SET | BELT, WEDGE, MATCHED, 3 PER SET | 16N2680 | 0019001263 | FENNER CORP,USA | https://shop.bearings.co.za/v-wedge-belts/5347-5347-16nx2680opt-16nx2680-wedge-belt-16n-spb.html#/1420-width_mm-16/2082-type-wedge/2087-brand-opti/2491-section-16n_spb/2493-depth_mm-13/2536-pitch_length_mm-2680/2537-inside_length_mm-2609 |  | FENNER CORP,USA | 16N2680 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE,MATCHED | NUMBER OF RIBS |  | BELT SECTION SIZE | 16N SPB | OUTSIDE LENGTH | 2.680 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:3 PER SET,BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060007642 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060007642 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | ST | MAN2 | BELT, WEDGE, MATCHED, 4 PER SET | BELT, WEDGE, MATCHED, 4 PER SET | 16N2020 | 0019001263 | FENNER CORP,USA | https://shop.bearings.co.za/v-wedge-belts/5340-16nx2020opt-16nx2020-wedge-belt-16n-spb.html |  | FENNER CORP,USA | 16N2020 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE,MATCHED | NUMBER OF RIBS |  | BELT SECTION SIZE | 16N SPB | OUTSIDE LENGTH | 2.020 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:4 PER SET,BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060007676 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060007676 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT, WEDGE, MATCHED, 4 PER SET | BELT, WEDGE, MATCHED, 4 PER SET | 16N4060 | 0019001263 | FENNER CORP,USA | https://shop.bearings.co.za/v-wedge-belts/5356-5356-16nx4060opt-16nx4060-wedge-belt-16n-spb.html#/1420-width_mm-16/2082-type-wedge/2087-brand-opti/2491-section-16n_spb/2493-depth_mm-13/2547-pitch_length_mm-4060/2548-inside_length_mm-3989 |  | FENNER CORP,USA | 16N4060 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE,MATCHED | NUMBER OF RIBS |  | BELT SECTION SIZE | 16N SPB | OUTSIDE LENGTH | 4.060 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:4 PER SET,BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060007636 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060007636 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | ST | MAN2 | BELT, WEDGE, MATCHED, 6 PER SET | BELT, WEDGE, MATCHED, 6 PER SET | 16N1800 | 0019001263 | FENNER CORP,USA | https://shop.bearings.co.za/v-wedge-belts/5338-5338-16nx1800opt-16nx1800-wedge-belt-16n-spb.html#/1420-width_mm-16/2082-type-wedge/2087-brand-opti/2409-pitch_length_mm-1800/2491-section-16n_spb/2493-depth_mm-13/2524-inside_length_mm-1729 |  | FENNER CORP,USA | 16N1800 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE,MATCHED | NUMBER OF RIBS |  | BELT SECTION SIZE | 16N SPB | OUTSIDE LENGTH | 1.800 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:6 PER SET,BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060110101 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060110101 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT, WEDGE, SINGLE | BELT, WEDGE, SINGLE | 13N1650 | 0019001263 | FENNER CORP,USA | https://shop.bearings.co.za/v-wedge-belts/5494-5494-10nx1650opt-10nx1650-wedge-belt-10n-spz.html#/1442-width_mm-10/2082-type-wedge/2083-section-10n_spz/2086-depth_mm-8/2087-brand-opti/2747-pitch_length_mm-1650/2748-inside_length_mm-1608 |  | FENNER CORP,USA | 13N1650 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS | 1 | BELT SECTION SIZE | 10N SPZ | OUTSIDE LENGTH | 1.650 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 10 MM | OVERALL HEIGHT | 8 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060007609 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060007609 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT, WEDGE, SINGLE | BELT, WEDGE, SINGLE | 13N2000 | 0019001263 | FENNER CORP,USA | https://shop.bearings.co.za/v-wedge-belts/5306-5306-13nx2000opt-13nx2000-wedge-belt-13n-spa.html#/1514-width_mm-13/2082-type-wedge/2087-brand-opti/2154-section-13n_spa/2157-depth_mm-10/2482-pitch_length_mm-2000/2483-inside_length_mm-1954 |  | FENNER CORP,USA | 13N2000 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS | 1 | BELT SECTION SIZE | 13N SPA | OUTSIDE LENGTH | 2 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 13 MM | OVERALL HEIGHT | 10 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060007749 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060007749 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT, WEDGE, SINGLE | BELT, WEDGE, SINGLE | 22N5000 | 0019001263 | FENNER CORP,USA | https://shop.bearings.co.za/v-wedge-belts/5392-5392-22nx5000opt-22nx5000-wedge-belt-22n-spc.html#/733-width_mm-22/2082-type-wedge/2087-brand-opti/2289-section-22n_spc/2292-depth_mm-18/2582-pitch_length_mm-5000/2583-inside_length_mm-4913 |  | FENNER CORP,USA | 22N5000 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS | 1 | BELT SECTION SIZE | 22N SPC | OUTSIDE LENGTH | 5 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 22 MM | OVERALL HEIGHT | 18 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060007740 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060007740 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT, WEDGE, SINGLE | BELT, WEDGE, SINGLE | 22N4500 | 0019001263 | FENNER CORP,USA | https://shop.bearings.co.za/v-wedge-belts/5389-5389-22nx4500opt-22nx4500-wedge-belt-22n-spc.html#/733-width_mm-22/2082-type-wedge/2087-brand-opti/2289-section-22n_spc/2292-depth_mm-18/2372-pitch_length_mm-4500/2373-inside_length_mm-4413 |  | FENNER CORP,USA | 22N4500 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS | 1 | BELT SECTION SIZE | 22N SPC | OUTSIDE LENGTH | 4.5 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 22 MM | OVERALL HEIGHT | 18 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060238272 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060238272 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | BELT,3672416,966L,FRS | BELT, 3672416, 966L, FRS, FEL, CAT | 3672416 | 0019009026 | CATERPILLAR SA | https://parts.cat.com/en/catcorp/367-2416 |  | CATERPILLAR SA | 367-2416 | [6 empty] | 966L,FRS,FEL |  |  |  |  | ENRICHED | BELT | FLAT | TYPE | STEP SUPPORT | WIDTH | 130 MM | LENGTH | 326 MM | THICKNESS | 17 MM | NUMBER OF PLYS |  | MATERIAL | REINFORCED RUBBER | BELT DESIGNATION |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060238275 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060238275 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | BELT,3672480,966L,FRS | BELT, 3672480, 966L, FRS, FEL, CAT | 3672480 | 0019009026 | CATERPILLAR SA | https://parts.cat.com/en/catcorp/367-2480 |  | CATERPILLAR SA | 367-2480 | [6 empty] | 966L,FRS,FEL |  |  |  |  | ENRICHED | BELT | FLAT | TYPE | STEP SUPPORT | WIDTH | 130 MM | LENGTH | 354 MM | THICKNESS | 17 MM | NUMBER OF PLYS |  | MATERIAL | REINFORCED RUBBER | BELT DESIGNATION |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060245601 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060245601 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELT,FAN,MAUBRA,RTV1140 | BELT,FAN,MAUBRA,RTV1140 | 16206-97013 | 0019011819 | Unknown | https://parts.kubotaofomaha.com/kubota-fan-belt-16206-97013/ |  | KUBOTA | 16206-97013 | RTV1140 | MAUBRA |  |  |  | FAN | [5 empty] | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060245592 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060245592 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELT,FAN,S/C,MAUBRA,X900 | BELT,FAN,S/C,MAUBRA,X900 | 17594-97010 | 0019011819 | Unknown | https://parts.kubotaofomaha.com/kubota-v-belt-17594-97010/ |  | KUBOTA | 17594-97010 | X900 | MAUBRA |  |  |  | FAN | [5 empty] | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060245579 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060245579 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,VEE,COMPRESSOR,0920NV3620 | BELT,VEE,COMPRESSOR,0920NV3620 |  |  |  | URL NOT FOUND |  |  | 0920NV3620 | [5 empty] | COMPRESSOR | [5 empty] | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060240351 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060240351 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,VEE,XPA1060,VB13NX1060,QUADPOWER GA | BELT,VEE,XPA1060,VB13NX1060,QUADPOWER GATES | VB13NX1060 |  |  | https://in.rsdelivers.com/product/gates/xpa1060-quad-power-4/gates-drive-belt-belt-section-xpa-1060mm-length/2117774 |  |  | VB13NX1060 | [11 empty] | ENRICHED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE | XPA | OUTSIDE LENGTH | 1.060 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 13 MM | OVERALL HEIGHT | 10 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:GATES,QUADPOWER GATES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060247743 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060247743 | BHP1 | BHP Spares & Supplies | 461825 | Personal safety devices or weapons | EA | MAN2 | BELT,WAIST,PLASTIC,DRAGER,R53026,EA | BELT, WAIST, PLASTIC, BLACK, R53026 , FOR DRAGER RESCUE PACK 5520. | R53026 | 0019011819 | Unknown | https://www.thesafetyequipmentstore.com/DRAEGER-R53026.html |  | DRAGER | R53026 | [11 empty] | CLEANSED | BELT | CLOTHING | TYPE | WAIST | SIZE |  | MATERIAL | PLASTIC | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR RESCUE PACK 5520 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250184 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060250184 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELT,WEDGE,CONTI,SPC,22NX2500 | BELT,WEDGE,CONTI,SPC,22NX2500 | SPC2500_CONTI | 0019011819 | Unknown | https://shop.bearings.co.za/v-wedge-belts/5371-5371-22nx2500opt-22nx2500-wedge-belt-22n-spc.html#/733-width_mm-22/2082-type-wedge/2087-brand-opti/2289-section-22n_spc/2292-depth_mm-18/2495-pitch_length_mm-2500/2571-inside_length_mm-2413 |  |  | 22NX2500 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | 22N SPC | OUTSIDE LENGTH | 2.5 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 22 MM | OVERALL HEIGHT | 18 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONTI,BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060249078 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060249078 | BHP1 | BHP Spares & Supplies | P1216 | Misc hardware, hand & power tools, consumables, bearings, ga | EA | MAN2 | BELT,WEDGE,FENNER, SPA2182, 13 X 10 X 21 | BELT,WEDGE,FENNER, SPA2182, 13 X 10 X 2182MM | 13X10X2182 | 0019011819 | Unknown | https://www.moglix.com/fenner-spa2182-poly-f-plus-pb-wedge-belt/mp/msn2votkvmxpil |  | FENNER | SPA2182 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | 13N SPA | OUTSIDE LENGTH | 2.182 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 13 MM | OVERALL HEIGHT | 10 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250185 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060250185 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELT,WEDGE,OPTI,SPB,16NX2400 | BELT,WEDGE,OPTI,SPB,16NX2400 | 16NX2400_OPT | 0019011819 | Unknown | https://shop.bearings.co.za/v-wedge-belts/5344-5344-16nx2400opt-16nx2400-wedge-belt-16n-spb.html#/1420-width_mm-16/2082-type-wedge/2087-brand-opti/2491-section-16n_spb/2493-depth_mm-13/2531-pitch_length_mm-2400/2532-inside_length_mm-2329 |  |  | 16NX2400_OPT | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | 16N SPB | OUTSIDE LENGTH | 2.4 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060247007 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060247007 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELT,WEDGE,OPTI,SPC,22NX2650-OPT | BELT,WEDGE,OPTI,SPC,22NX2650-OPT | 22NX2650_OPT | 0019011819 | Unknown | https://shop.bearings.co.za/v-wedge-belts/5375-5375-22nx2650opt-22nx2650-wedge-belt-22n-spc.html#/733-width_mm-22/2082-type-wedge/2087-brand-opti/2289-section-22n_spc/2292-depth_mm-18/2499-pitch_length_mm-2650/2572-inside_length_mm-2563 |  |  | 22NX2650_OPT | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | 22N SPC | OUTSIDE LENGTH | 2.563 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 22 MM | OVERALL HEIGHT | 18 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:OPTI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060251002 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060251002 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELT,WEDGE,SINGLE,16N2410 | BELT,WEDGE,SINGLE,16N2410,16X13X2410MM | 16N2410 | 0019011819 | Unknown | URL NOT FOUND |  |  | 16N2410 | [11 empty] | CLEANSED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS | 1 | BELT SECTION SIZE |  | OUTSIDE LENGTH | 2.410 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060243046 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060243046 | BHP1 | BHP Spares & Supplies | 251217 | Railroad support equipment and systems | EA | MAN2 | BELTS,V,SET,17X1300,B1340-B51 | BELTS, V, SET, 17X1300, B1340-B51 | B1340-B51 |  |  | https://www.totallybelts.com/products/b1340-b51-v-belt-width-17mm |  |  | B1340-B51 | [11 empty] | ENRICHED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH | 1.295 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 17 MM | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060239333 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060239333 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | V-BELT,04120-21735 | V-BELT, KOMATSU, WA500-6, 04120-21735 | 04120-22269 V-BELT | 0019001867 | KOMATSU CORP | https://my.komatsu.com.au/shop/v-belts_5637144953/5637160847_v-belt%2C-air-conditioner_04120-21735 |  | KOMATSU CORP | 04120-21735 | [6 empty] | WA500-6 |  |  |  |  | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060239330 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060239330 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | V-BELT,04120-21754 | V-BELT, KOMATSU, WA480-6, 04120-21754 | 04120-21754 V-BELT | 0019001867 | KOMATSU CORP | https://my.komatsu.com.au/shop/v-belts_5637144953/5637161185_belt_04120-21754 |  | KOMATSU CORP | 04120-21754 | [6 empty] | WA480-6 |  |  |  |  | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060239329 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060239329 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | V-BELT,04120-21757 | V-BELT, KOMATSU, WA480-6, 04120-21757 | 04120-21757 V-BELT | 0019001867 | KOMATSU CORP | https://my.komatsu.com.au/shop/v-belts_5637144953/5637161251_v-belt_04120-21757 |  | KOMATSU CORP | 04120-21757 | [6 empty] | WA480-6 |  |  |  |  | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060239331 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060239331 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | V-BELT,04121-22269 | V-BELT, KOMATSU, HM300-2R, 04121-22269 | 04121-22269 V-BELT | 0019001867 | KOMATSU CORP | https://my.komatsu.com.au/shop/v-belts_5637144953/5637162604_v-belt-set-of-2_04121-22269 |  | KOMATSU CORP | 04121-22269 | [6 empty] | HM300-2R |  |  |  |  | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET OF 2 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060239338 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060239338 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | V-BELT,10PK1448 | V-BELT, VOLVO, FM400, 10PK1448 | 10PK1448,BELT | 0019011394 | BEARING MAN LTD | https://partsclick.in/volvo-belt-10pk1448 |  | VOLVO | 10PK1448 | [6 empty] | FM400 |  |  |  |  | ENRICHED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:FENNER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060239332 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060239332 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | V-BELT,6261-81-6810 | V-BELT, KOMATSU, WA500-6, 6261-81-6810 | 6261-81-6810 V-BELT | 0019001867 | KOMATSU CORP | https://my.komatsu.com.au/shop/v-belts_5637144953/5637468577_v-belt-set_6261-81-6810 |  | KOMATSU CORP | 6261-81-6810 | [6 empty] | WA500-6 |  |  |  |  | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060239334 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060239334 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | V-BELT,6754-61-3810,KOMATSU,PC220-8 | V-BELT,6754-61-3810,KOMATSU,PC220-8 | 6754-61-3810 V-BELT | 0019001867 | KOMATSU CORP | https://my.komatsu.com.au/shop/v-belts_5637144953/5637479021_belt_6754-61-3810 |  | KOMATSU CORP | 6754-61-3810 | [6 empty] | PC220-8 |  |  |  |  | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060239336 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060239336 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | V-BELT,8PK1460,ALT | V-BELT, ATLAS, COPCO, ALTERNATER, 8PK1460 | 8PK1460 ALT, BELT | 0019011394 | BEARING MAN LTD | https://www.grainger.com/product/DAYCO-Serpentine-Belt-8PK1460-4HLT3 |  | ATLAS COPCO | 8PK1460 | [5 empty] | ALTERNATOR | [5 empty] | ENRICHED | BELT | V | TYPE | HEAVY DUTY | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH | 58.13 IN | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 1.09 IN | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060255472 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060255472 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | V-BELT,RIBBED,01183377 | V-BELT,RIBBED,01183377 | 01183377 | 0019011819 | Unknown | https://www.malpasdirect.co.uk/partslist/index/oempartno/brand/deutz-khd/sku/01183377 |  | DEUTZ | 01183377 | [11 empty] | CLEANSED | BELT | V | TYPE | RIBBED | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060252371 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060252371 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BUCKET,STEEL,250KG,SDS01 | BUCKET,STEEL,MUDGUNPASTE,250KG,SDS01 |  |  |  | URL NOT FOUND |  |  | SDS01 | [5 empty] | MUDGUN PASTE | [5 empty] | CLEANSED | BUCKET | NO MODIFIER | TYPE |  | CAPACITY | 250 KG | OVERALL SIZE |  | MATERIAL | STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060233374 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060233374 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | 2.5MMX2,CORE-E,SURFIX,WHITE/100M | 2.5MMX2 , CORE-E , SURFIX , WHITE/100M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | SURFIX | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 100 M | JACKET COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060248826 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060248826 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE FLEXIBLE, 16MM, GREY COLOR, 300/5 | CABLE FLEXIBLE, 16MM, GREY COLOR, 300/500 V AND 450/750 V, PVC COMPOUND COMPLYING WITH PVC/C AS PERIEC AND TYPE TI1, SOFT ANNEALEDF |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | FLEXIBLE | VOLTAGE RATING | 300/450/500/750 V | CURRENT RATING |  | CONDUCTOR SIZE | 16 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL | SOFT ANNEALED | JACKET MATERIAL |  | INSULATION MATERIAL | PVC COMPOUND COMPLYING W/PVC/C | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER IEC AND TYPE TI1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060248825 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060248825 | BHP1 | BHP Spares & Supplies | 261215 | Electrical wire | M | MAN2 | CABLE FLEXIBLE, 25MM, GREY COLOR, 300/5 | CABLE FLEXIBLE, 25MM, GREY COLOR, 300/500 V AND 450/750 V, PVC COMPOUND COMPLYING WITH PVC/C AS PERIEC AND TYPE TI1, SOFT ANNEALEDF |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | FLEXIBLE | VOLTAGE RATING | 300/450/500/750 V | CURRENT RATING |  | CONDUCTOR SIZE | 25 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL | SOFT ANNEALED | JACKET MATERIAL |  | INSULATION MATERIAL | PVC COMPOUND COMPLYING W/PVC/C | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER IEC AND TYPE TI1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026122 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060026122 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, CABTYRE, 2.5 SQMM, 3 CORE, WHITE, | CABLE, CABTYRE, 2.5 SQMM, 3 CORE, WHITE, CIRCULAR, 300/500V, PVC, INSULATED, PVC SHEATHED, FLEXIBLE STRANDED COPPER CONDUCTORS, TO SA, BS 1574 TYPE P5 | 2.5 SQMM | 0019000041 | OTHER POL SUPPLIES | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | CABTYRE | VOLTAGE RATING | 300/500 V | CURRENT RATING |  | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE STRANDED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1574 | ADDITIONAL FEATURES EN | SHAPE:CIRCULAR,TYPE P5 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060254624 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060254624 | BHP1 | BHP Spares & Supplies | P1540 | Electric cable & accessories, hangers | ROL | MAN2 | CABLE, SURFIX, 6MM2, 2, PLUS, EARTH, WHI | CABLE, SURFIX, 6MM2 2 PLUS, EARTH WHITE, PVC 300-500VOLT, CODE 9/0903020 | 9/0903020 | 0019011819 | Unknown | URL NOT FOUND |  |  | 9/0903020 | [11 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | SURFIX,EARTH | VOLTAGE RATING | 300/500 V | CURRENT RATING |  | CONDUCTOR SIZE | 6 MM2 | NUMBER OF CONDUCTORS | 2 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060125537 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060125537 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, WELDING, 16 SQMM, 1 CORE, 100A, R | CABLE, WELDING, 16 SQMM, 1 CORE, 100A, RUBBER INSULATED, AFROX | 053009 | 0019008506 | AFROX LIMITED | https://www.afrox.co.za/en/images/Product_catalogue_2014_15_tcm266-127568.pdf |  | AFROX LIMITED | W053009 | [11 empty] | ENRICHED | CABLE | WELDING | TYPE |  | CABLE SIZE | 16 MM2 | VOLTAGE RATING |  | CURRENT RATING | 100 A | LENGTH |  | MATERIAL | RUBBER | DUTY CYCLE |  | JACKET MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLACK,GREEN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060125536 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060125536 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, WELDING, 50 SQMM, 1 CORE, 400A, R | CABLE, WELDING, 50 SQMM, 1 CORE, 400A, RUBBER INSULATED, AFROX | 053008 | 0019008506 | AFROX LIMITED | https://www.afrox.co.za/en/images/Product_catalogue_2014_15_tcm266-127568.pdf |  | AFROX LIMITED | W053008 | [11 empty] | ENRICHED | CABLE | WELDING | TYPE |  | CABLE SIZE | 50 MM2 | VOLTAGE RATING |  | CURRENT RATING | 400 A | LENGTH |  | MATERIAL | RUBBER | DUTY CYCLE |  | JACKET MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLACK,RED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060125538 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060125538 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, WELDING, 95 SQMM, 1 CORE, 600A, P | CABLE, WELDING, 95 SQMM, 1 CORE, 600A, PVC INSULATED, AFROX | 053105 | 0019008506 | AFROX LIMITED | https://www.afrox.co.za/en/images/Product_catalogue_2014_15_tcm266-127568.pdf |  | AFROX LIMITED | W053105 | [11 empty] | ENRICHED | CABLE | WELDING | TYPE |  | CABLE SIZE | 95 MM2 | VOLTAGE RATING |  | CURRENT RATING | 600 A | LENGTH |  | MATERIAL | PVC | DUTY CYCLE |  | JACKET MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:YELLOW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060250616 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060250616 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | CABLE,3EC3732110,KOMATSU,EA | CABLE, 3EC3732110, KOMATSU, EACH | 3EC3732110 |  |  | https://k-part.777parts.org/spare/komatsu/3ec-37-32110/ |  | KOMATSU | 3EC-37-32110 | [11 empty] | CLEANSED | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060238110 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060238110 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CABLE,54005-0023,KAWASAKI | CABLE, PN 54005-0023, KAWASAKI MULE | 54005-0023 | 0019011667 | WATER RITE MOTORCYCLES | https://www.partzilla.com/product/kawasaki/54005-0023 |  | WATER RITE MOTORCYCLES | 54005-0023 |  | KAWASAKI | [9 empty] | CLEANSED | CABLE | NO MODIFIER | TYPE | PARKING BRAKE,RR,LH | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060247073 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060247073 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CABLE,ASSY,LDV,7818035150 | CABLE,ASSY,LDV,7818035150 | 7818035150 | 0019011819 | Unknown | https://www.partsnext.com/toyota/78180-35150-cable-assy-accelerator-control/ |  | TOYOTA | 7818035150 | [11 empty] | CLEANSED | CABLE | ASSEMBLY | TYPE | ACCELERATOR CONTROL,LDV | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060164877 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060164877 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE,CAT5E SHIELDED NETWORK CABLE | CABLE: CAT5E SHIELDED NETWORK CABLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | NETWORK | TYPE | SHIELDED | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAT5E | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060254948 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060254948 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | M | MAN2 | CABLE,TRAILING,10SQMM,4CORE,ORANGE,COPPE | CABLE,TRAILING,10SQMM,4CORE,ORANGE,COPPER,NITRILE,600/1000V,F0000656 | F0000656 | 0019011819 | Unknown | https://www.voltex.co.za/product/trailing-10-00mm2-x4-ora-cu-nitrile-6001000v/ |  |  | F0000656 | [11 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE | TRAILING | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 10 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL | PVC/NITRILE | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -10 TO 70 DEG C | LENGTH |  | JACKET COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | SANS 1574 | ADDITIONAL FEATURES EN | 500 M PER DRUM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060254960 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060254960 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | M | MAN2 | CABLE,TRAILING,10SQMM,4CORE,ORANGE,COPPE | CABLE,TRAILING,10SQMM,4CORE,ORANGE,COPPER,NITRILE,600/1000V,F0000656 | F0000656 | 0019011819 | Unknown | https://www.voltex.co.za/product/trailing-10-00mm2-x4-ora-cu-nitrile-6001000v/ |  |  | F0000656 | [11 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE | TRAILING | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 10 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL | PVC/NITRILE | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -10 TO 70 DEG C | LENGTH |  | JACKET COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | SANS 1574 | ADDITIONAL FEATURES EN | 500 M PER DRUM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060255205 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060255205 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | M | MAN2 | CABLE,TRAILING,16SQMM,4CORE,ORANGE,COPPE | CABLE,TRAILING,16SQMM,4CORE,ORANGE,COPPER,NITRILE,600/1000V,F0000657 | F0000657 | 0019011819 | Unknown | https://www.voltex.co.za/product/trailing-16-00mm2-x4-ora-cu-nitrile-6001000v/ |  |  | F0000657 | [11 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE | TRAILING | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 16 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL | PVC/NITRILE | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -10 TO 70 DEG C | LENGTH |  | JACKET COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | SANS 1411 | ADDITIONAL FEATURES EN | 500 M PER DRUM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060255204 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060255204 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | M | MAN2 | CABLE,TRAILING,4SQMM,4CORE,ORANGE,COPPER | CABLE,TRAILING,4SQMM,4CORE,ORANGE,COPPER,NITRILE,600/1000V,F0000654 | F0000654 | 0019011819 | Unknown | https://www.voltex.co.za/product/trailing-4-00mm2-x4-ora-cu-nitrile-6001000v/ |  |  | F0000654 | [11 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE | TRAILING | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 4 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL | PVC/NITRILE | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -10 TO 70 DEG C | LENGTH |  | JACKET COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | SANS 1574 | ADDITIONAL FEATURES EN | 500 M PER DRUM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060255203 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060255203 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | M | MAN2 | CABLE,TRAILING,6SQMM,4CORE,ORANGE,COPPER | CABLE,TRAILING,6SQMM,4CORE,ORANGE,COPPER,NITRILE,600/1000V,F0000655 | F0000655 | 0019011819 | Unknown | https://www.voltex.co.za/product/trailing-6-00mm2-x4-ora-cu-nitrile-6001000v/ |  |  | F0000655 | [11 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE | TRAILING | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 6 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL | PVC/NITRILE | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -10 TO 70 DEG C | LENGTH |  | JACKET COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1574 | ADDITIONAL FEATURES EN | 500 M PER DRUM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060255376 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060255376 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | CABLE,TRAY,SLOTTED,40MM | CABLE, TRAY, SLOTTED, 40MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRAY | CABLE | TYPE | SLOTTED | WIDTH | 40 MM | LENGTH |  | DEPTH |  | MATERIAL |  | SHAPE |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060246060 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060246060 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CABLE,WELDING,MATWELD,6M | CABLE,WELDING,MATWELD,6M |  |  |  | URL NOT FOUND |  | MATWELD | [12 empty] | CLEANSED | CABLE | WELDING | TYPE |  | CABLE SIZE | 6 M | VOLTAGE RATING |  | CURRENT RATING |  | LENGTH |  | MATERIAL |  | DUTY CYCLE |  | JACKET MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060235839 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060235839 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | FILTER,OIL,W014200411 | FILTER, OIL, W014200411 | W014200411 |  |  | http://www.xcmgplus.com/product/sem-w014200411-oil-filter/ |  |  | W014200411 | [11 empty] | CLEANSED | FILTER | FLUID | TYPE |  | MEDIUM | OIL | CONNECTION METHOD |  | MICRON |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060235838 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060235838 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | FILTER,P550138 | FILTER, P550138 | P550138 | 0019000973 | DONALDSON CO (FILTERS) | https://shop.donaldson.com/store/en-in/product/P550138/20138?_requestid=3251901# |  | DONALDSON CO (FILTERS) | P550138 | [11 empty] | ENRICHED | FILTER | ELEMENT | TYPE | HYDRAULIC,CARTRIDGE | MEDIUM | CELLULOSE | DIMENSIONS | ID 45.6 X OD 115 X LG 178.8 MM | FILTERING RETENTION | 17 UM | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060235833 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060235833 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | FILTER,P550529 | FILTER, P550529 | P550529 | 0019000973 | DONALDSON CO (FILTERS) | https://shop.donaldson.com/store/en-in/product/P550529/20446 |  | DONALDSON CO (FILTERS) | P550529 | [11 empty] | ENRICHED | FILTER | FLUID | TYPE | FUEL,SPIN ON | MEDIUM | CELLULOSE | CONNECTION METHOD |  | MICRON | 5 UM | DIMENSIONS | OD 107.5 X LG 262 MM | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060235837 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060235837 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | FILTER,P557440 | FILTER, P557440 | P557440 | 0019000973 | DONALDSON CO (FILTERS) | https://shop.donaldson.com/store/en-in/product/P557440/20976 |  | DONALDSON CO (FILTERS) | P557440 | [11 empty] | ENRICHED | FILTER | FLUID | TYPE | FUEL,SPIN ON | MEDIUM | CELLULOSE | CONNECTION METHOD |  | MICRON | 9 UM | DIMENSIONS | OD 93 X LG 174 MM | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING | 6.9 BAR | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060252940 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060252940 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | KNOB,5V8780,CAT,EA | KNOB, 5V8780, CAT, EACH | 5V8780 |  |  | https://parts.cat.com/en/catcorp/5V-8780 |  | CATERPILLAR | 5V-8780 | [11 empty] | ENRICHED | KNOB | NO MODIFIER | TYPE |  | SIZE | OD 25.4 X LG 24.6 X HT 24.6 MM | CONNECTION TYPE |  | MATERIAL | PLASTIC,PHENOLIC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060249604 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 | SUITABLE NM NOT FOUND | 000000000060249604 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MEDAL,BRONZE,SOCCER | MEDAL,BRONZE,SOCCER | [81 empty] | PRODUCTION COMPLETED
000000000060251471 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 | SUITABLE NM NOT FOUND | 000000000060251471 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MEDAL,GOLD,BRAAI,COMPETITION | MEDAL,GOLD,BRAAI,COMPETITION | [81 empty] | PRODUCTION COMPLETED
000000000060251469 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 | SUITABLE NM NOT FOUND | 000000000060251469 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MEDAL,GOLD,SOAPBOX | MEDAL,GOLD,SOAPBOX | [81 empty] | PRODUCTION COMPLETED
000000000060249607 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 | SUITABLE NM NOT FOUND | 000000000060249607 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MEDAL,GOLD,SOCCER | MEDAL,GOLD,SOCCER | [81 empty] | PRODUCTION COMPLETED
000000000060251464 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 | SUITABLE NM NOT FOUND | 000000000060251464 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MEDAL,GOLD,TUG,O,WAR | MEDAL,GOLD,TUG,O,WAR | [81 empty] | PRODUCTION COMPLETED
000000000060251468 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 | SUITABLE NM NOT FOUND | 000000000060251468 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MEDAL,SILVER,BRAAI,COMPETITION | MEDAL,SILVER,BRAAI,COMPETITION | [81 empty] | PRODUCTION COMPLETED
000000000060251470 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 | SUITABLE NM NOT FOUND | 000000000060251470 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MEDAL,SILVER,SOAPBOX | MEDAL,SILVER,SOAPBOX | [81 empty] | PRODUCTION COMPLETED
000000000060249608 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 | SUITABLE NM NOT FOUND | 000000000060249608 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MEDAL,SILVER,SOCCER | MEDAL,SILVER,SOCCER | [81 empty] | PRODUCTION COMPLETED
000000000060239472 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060239472 | BHP1 | BHP Spares & Supplies | 111715 | Basic steels | EA | MAN2 | MESH,WELDED,REF,100,200X200X4.0MM,6.0X2. | WELDED, MESH, REF, 100, 200X200X4.0MM, 6.0X2.4M, SHEET |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MESH | NO MODIFIER | TYPE | WELDED | SIZE | 200 X 200 X 4.0 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHEET SIZE:WD 2.4 X 6 M,REF 100 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060168813 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060168813 | BHP1 | BHP Spares & Supplies | 301515 | Roofing materials | ROL | MAN2 | MESH: DIAMOND 2,4M X 3,5MM X 75MM X 15M | MESH: DIAMOND 2,4M X 3,5MM X 75MM X 15M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MESH | NO MODIFIER | TYPE | DIAMOND | SIZE | 2.4 M X 3.5 X 75 MM X 15 M | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060250129 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060250129 | BHP1 | BHP Spares & Supplies | 520000 | Furniture, Furnishings, Domestic Appliances and Consumer Ele | L | MAN2 | MICROWAVE,1000W,45L,EA | MICROWAVE, ELECTRONIC, 1000W, 45L, EACH | RHEM45BM | 0019011819 | Unknown | https://www.game.co.za/Home-Appliances/Kitchen-Large-Appliances/Microwaves-%2526-Convection-Ovens/p/000000000000752902 |  | RUSSELL HOBBS | RHEM45BM | [11 empty] | ENRICHED | OVEN | NO MODIFIER | TYPE | ELECTRONIC | ELECTRICAL RATING | 1000 W | CAPACITY | 45 L | TIMING RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | BTU RATING |  | SIZE | WD 61.97 X LG 52.32 X HT 38.1 CM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060233370 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060233370 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | RACK/2,NYLON,METRES | NYLON , RACK/2 , METRES |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RACK | NO MODIFIER | TYPE |  | SIZE | 2 M | MATERIAL | NYLON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060244101 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060244101 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SEAT,1467533,HYSTER,EA | SEAT, 1467533, HYSTER, EACH | 1467533 | 0019011819 | Unknown | https://es.orangeparts.com/hyster-1467533-cushion-back-black-vinyl/ |  | HYSTER | 1467533 | [11 empty] | ENRICHED | SEAT | VEHICULAR | TYPE | BACK CUSHION | SIZE |  | MATERIAL | VINYL | COATING/FINISH |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060252615 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060252615 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SEAT,8AA3781,MANITOU,EA | SEAT, 8AA3781, MANITOU, EACH | 8AA3781 |  |  | URL NOT FOUND |  | MANITOU | 8AA3781 | [11 empty] | CLEANSED | SEAT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060242126 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060242126 | BHP1 | BHP Spares & Supplies | 561121 | Seating | EA | MAN2 | SEAT,SUSPENSION,DANGO,DRW,ZIM195-10-004 | SEAT, SUSPENSION, DANGO, DRAWING ZIM195-10-004, ITEM11 |  |  |  | URL NOT FOUND |  | DANGO | [9 empty] | ZIM195-10-004 |  | 11 | CLEANSED | SEAT | NO MODIFIER | TYPE | SUSPENSION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060243050 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060243050 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SUSPENSION,SEAT,1641850,HYSTER,EA | SUSPENSION, SEAT, 1641850, HYSTER, EA | 1641850 |  |  | https://www.walmart.com/ip/FPE-Forklift-Seat-Hyster-1641850-Hacus-Aftermarket-New/347641639 |  | HYSTER | 1641850 | [11 empty] | CLEANSED | SEAT | VEHICULAR | TYPE | SUSPENSION | SIZE |  | MATERIAL |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:HACUS,EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060243851 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060243851 | BHP1 | BHP Spares & Supplies | P1815 | Laboratory equipment chemicals | EA | MAN2 | SIEVE,TEST,450MM,DIAMETER,16.0MM | 450mm,Diameter,Test,Sieve,16.0mm | 450TS16.0 | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | SIEVE | NO MODIFIER | TYPE |  | FILTRATION RATE |  | SIEVE DESIGNATION |  | OPENING SIZE | 16 MM | NOMINAL WIRE DIAMETER |  | MATERIAL |  | SIZE | DIA 450 MM | SERVICE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060243859 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060243859 | BHP1 | BHP Spares & Supplies | P1815 | Laboratory equipment chemicals | EA | MAN2 | SIEVE,TEST,450MM,DIAMETER,18.0MM | 450mm,Diameter,Test,Sieve,18.0mm | 450TS18.0 | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | SIEVE | NO MODIFIER | TYPE |  | FILTRATION RATE |  | SIEVE DESIGNATION |  | OPENING SIZE | 18 MM | NOMINAL WIRE DIAMETER |  | MATERIAL |  | SIZE | DIA 450 MM | SERVICE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060243852 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060243852 | BHP1 | BHP Spares & Supplies | P1815 | Laboratory equipment chemicals | EA | MAN2 | SIEVE,TEST,450MM,DIAMETER,6.0MM | 450mm,Diameter,Test,Sieve,6.0mm | 450TS6.0 | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | SIEVE | NO MODIFIER | TYPE |  | FILTRATION RATE |  | SIEVE DESIGNATION |  | OPENING SIZE | 6 MM | NOMINAL WIRE DIAMETER |  | MATERIAL |  | SIZE | DIA 450 MM | SERVICE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060245551 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-10 |  | 000000000060245551 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWIVEL,STRAIGHT,ICT20-1 | SWIVEL,STRAIGHT,ICT20-1 |  |  |  | URL NOT FOUND |  |  | ICT20-1 | [11 empty] | CLEANSED | SWIVEL | NO MODIFIER | TYPE | STRAIGHT | SIZE |  | CAPACITY |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED