## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060250107 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250107 | BHP1 | BHP Spares & Supplies | P1030 | Pipe & tubing - process | EA | MAN2 | 200MM,OFFSET,BEND,HDPE,2X45,DEGREES | 200MM, OFFSET, BEND, HDPE, DEGREES 2X45 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE | OFFSET | ANGLE | 2 X 45 DEG | NOMINAL SIZE | 200 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250868 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250868 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,125MM,SDR11,PN16 | HDPE PIPE 125MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 125 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250865 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250865 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,180MM,SDR11,PN16 | HDPE PIPE 180MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 180 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250864 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250864 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,200MM,SDR11,PN16 | HDPE PIPE 200MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 200 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250863 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250863 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,225MM,SDR11,PN16 | HDPE PIPE 225MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 225 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250862 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250862 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,250MM,SDR11,PN16 | HDPE PIPE 250MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 250 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250861 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250861 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,280MM,SDR11,PN16 | HDPE PIPE 280MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 280 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250860 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250860 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,315MM,SDR11,PN16 | HDPE PIPE 315MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 315 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250872 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250872 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,50MM,SDR11,PN16 | HDPE PIPE 50MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 50 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250871 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250871 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,63MM,SDR11,PN16 | HDPE PIPE 63MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 63 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250870 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250870 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | AGRU,BEND,HDPE,90MM,SDR11,PN16 | HDPE PIPE 90MM, SDR11, PN16, AGRU BENDS |  |  |  | URL NOT FOUND |  | AGRU | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 90 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060016908 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060016908 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | BEND, 45 DEG, 125MM OD, HDPE CLASS 10, . | BEND, 45 DEG, 125MM OD, HDPE CLASS 10, PLAIN ENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE |  | END CONNECTION | PLAIN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | CL 10 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OUTSIDE DIAMETER:125 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060016905 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060016905 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | BEND, 90 DEG, 160MM OD, HDPE CLASS 10, . | BEND, 90 DEG, 160MM OD, HDPE CLASS 10, PLAIN ENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE |  | END CONNECTION | PLAIN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | CL 10 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OUTSIDE DIAMETER:160 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060016234 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060016234 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | BEND, 90 DEG, FEMALE, 50MM, MALLEABLE CA | BEND, 90 DEG, FEMALE, 50MM, MALLEABLE CAST, GALV, SCREWED BSP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 50 MM | END CONNECTION | FEMALE X BSP SCREWED | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | MALLEABLE CAST IRON | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060016017 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060016017 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND, 90 DEG, TYPE 1, 100MM NB, STEEL, R | BEND, 90 DEG, TYPE 1, 100MM NB, STEEL, RED, SCREWED BSP, WITH SOCKET, REDUNDANT AS PER SSI 6541. |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 100 MM | END CONNECTION | BSP SCREWED X SOCKET | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | RED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE 1,REDUNDANT AS PER SSI 6541. | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060130713 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060130713 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | BEND, CONDUIT, 50MM, PVC | BEND, CONDUIT, 50MM, PVC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | CONDUIT | TYPE |  | NOMINAL SIZE | 50 MM | ANGLE |  | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060179709 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060179709 | BHP1 | BHP Spares & Supplies | 401423 | Pipe fittings | EA | MAN2 | BEND, LONGRADIUS 100MM TABLE D, WELDON | BEND, LONGRADIUS 100MM TABLE D, WELDON |  |  |  | URL NOT FOUND |  | WELDON | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 100 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD | TABLE D | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250416 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250416 | BHP1 | BHP Spares & Supplies | P1030 | Pipe & tubing - process | EA | MAN2 | BEND,140MM,HDPE,PN16,90,DEGREES,STUB,END | BEND,140MM,HDPE,PN16,90,DEGREES,STUB,END |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 140 MM | END CONNECTION | STUB END | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060253505 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060253505 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BEND,160MM,90,DEGREES,PN20,S/F | BEND, 160MM, 90, DEGREES, PN20, S/F |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 160 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN20 | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060242663 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060242663 | BHP1 | BHP Spares & Supplies | 401420 | Hoses | EA | MAN2 | BEND,200NB,LINATEX,HARDWALL | BEND, 200NB, LINATEX, HARDWALL, 90 DEG,LONG RAD,12MM LINATEX LINED,TABLE D,FLANGE, ROTATING BOTH SIDE , 1500KPA, 44001HAA2721EAEA | 44001HAA2721EAEA |  |  | URL NOT FOUND |  | LINATEX | 44001HAA2721EAEA | [11 empty] | CLEANSED | BEND | PIPE | TYPE | HARDWALL | ANGLE | 90 DEG | NOMINAL SIZE | 200 NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 1500 KPA | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD | TABLE D | ADDITIONAL FEATURES EN | W/12 MM LINATEX LINED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060242670 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060242670 | BHP1 | BHP Spares & Supplies | 401420 | Hoses | EA | MAN2 | BEND,200NB,LINATEX,HARDWALL | BEND, 200NB ,LINATEX, HARDWALL, 90 DEG, 330RAD,12MM LINATEX LINED, TABLE D, FLANGE, ROTATING BOTH SIDE,1500KPA, 44001HAA5100EAEA | 44001HAA5100EAEA |  |  | URL NOT FOUND |  | LINATEX | 44001HAA5100EAEA | [11 empty] | CLEANSED | BEND | PIPE | TYPE | HARDWALL | ANGLE | 90 DEG | NOMINAL SIZE | 200 NB | END CONNECTION | ROTATING FLANGE X ROTATING FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 1500 KPA | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | 330 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | TABLE D | ADDITIONAL FEATURES EN | W/12 MM LINATEX LINED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060242732 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060242732 | BHP1 | BHP Spares & Supplies | 401400 | Fluid and gas distribution | EA | MAN2 | BEND,200NB,LINATEX,HARDWALL,45 DEG | BEND,200NB,LINATEX,HARDWALL,45 DEG,LONG,RAD,12MM,LINATEX,LINED,TABLE,D,FIX, FLANGE,ONE,SIDE,ROTATING,OTHER,SIDE,1500KPA,44001HAA2763 | 44001HAA2763EAEA |  |  | URL NOT FOUND |  | LINATEX | 44001HAA2763EAEA | [11 empty] | CLEANSED | BEND | PIPE | TYPE | HARDWALL | ANGLE | 45 DEG | NOMINAL SIZE | 200 NB | END CONNECTION | FIX FLANGE X ROTATING FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 1500 KPA | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD | TABLE D | ADDITIONAL FEATURES EN | W/12 MM LINATEX LINED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060242817 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060242817 | BHP1 | BHP Spares & Supplies | 401420 | Hoses | EA | MAN2 | BEND,250NB,LINATEX,HARDWALL,45 DEG,SHORT | BEND, 250NB, LINATEX, HARDWALL, 45 DEG, SHORT RAD, 12MM LINATEX LINED, TABLE D, FIX FLANGE ONE SIDE, ROTATING, OTHER SIDE, 1500KPA, | 44001HAA2746EAEA |  |  | URL NOT FOUND |  | LINATEX | 44001HAA2746EAEA | [11 empty] | CLEANSED | BEND | PIPE | TYPE | HARDWALL | ANGLE | 45 DEG | NOMINAL SIZE | 250 NB | END CONNECTION | FIX FLANGE X ROTATING FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 1500 KPA | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD | TABLE D | ADDITIONAL FEATURES EN | W/12 MM LINATEX LINED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060246525 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060246525 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,300NB,LINATEX,HARDWALL,45 DEG,LONG | BEND, 300NB, LINATEX, HARDWALL, 45 DEG, LONG RAD,12MM LINATEX LINED,TABLE D, ROTATING FLANGES, BOTH SIDES,1500KPA |  |  |  | URL NOT FOUND |  | LINATEX | [12 empty] | CLEANSED | BEND | PIPE | TYPE | HARDWALL | ANGLE | 45 DEG | NOMINAL SIZE | 300 NB | END CONNECTION | ROTATING FLANGE X ROTATING FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 1500 KPA | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD | TABLE D | ADDITIONAL FEATURES EN | W/12 MM LINATEX LINED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060253442 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060253442 | BHP1 | BHP Spares & Supplies | 401420 | Hoses | EA | MAN2 | BEND,80NB,LINATEX,HARDWALL,45 DEG | BEND, 80NB, LINATEX, HARDWALL, 45 DEG, LINATEX LINED, TABLE D FLANGES, ROTATING, BOTH SIDES , 350KPA, 44001HAA2631EAEA | 44001HAA2631EAEA | 0019011819 | Unknown | URL NOT FOUND |  | LINATEX | 44001HAA2631EAEA | [11 empty] | CLEANSED | BEND | PIPE | TYPE | HARDWALL | ANGLE | 45 DEG | NOMINAL SIZE | 80 NB | END CONNECTION | ROTATING FLANGE X ROTATING FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 350 KPA | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | TABLE D | ADDITIONAL FEATURES EN | W/LINATEX LINED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060248541 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060248541 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BEND,90DEG,HDPE,PN20,DO-355MM,SFBE | BEND,90DEG,HDPE,PN20,DO-355MM,SFBE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 355 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN20 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060254847 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254847 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,90MM,45DEGREE,S/F | BEND, 90MM, 45DEGREE, S/F |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 90 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060254696 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254696 | BHP1 | BHP Spares & Supplies | P0140 | Drilling support services, contractors, drilling, completion | EA | MAN2 | BEND,HDPE,125MM,45DEGREE,SFBE | BEND, HDPE, 125MM, 45DEGREE, SFBE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 125 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060254692 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254692 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,125MM,45DEGREE,SPOOLPIECE,500M | BEND, HDPE, 125MM, 45DEGREE, SPOOLPIECE, 500MM, SFBE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 125 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH | 500 MM | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SPOOLPIECE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250812 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250812 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,125MM,SDR11,PN16,LONG,RADIUS | HDPE PIPE 125MM, SDR11, PN16, LONG RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 125 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250825 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250825 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,125MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 125MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 125 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250824 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250824 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,140MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 140MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 140 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060245952 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060245952 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,160MM,30,DEGREE,BACKING,S/F | BEND,HDPE,160MM,30,DEGREE,BACKING,S/F |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE | BACKING | ANGLE | 30 DEG | NOMINAL SIZE | 160 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060245953 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060245953 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,160MM,70,DEGREE,BACKING,S/F | BEND,HDPE,160MM,70,DEGREE,BACKING,S/F |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE | BACKING | ANGLE | 70 DEG | NOMINAL SIZE | 160 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250809 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250809 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,180MM,SDR11,PN16,LONG,RADIUS | HDPE PIPE 180MM, SDR11, PN16, LONG RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 180 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250822 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250822 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,180MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 180MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 180 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060254694 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254694 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,200MM,30DEGREE,S/F | BEND, HDPE, 200MM, 30DEGREE, S/F |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 30 DEG | NOMINAL SIZE | 200 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060252191 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060252191 | BHP1 | BHP Spares & Supplies | P1030 | Pipe & tubing - process | EA | MAN2 | BEND,HDPE,200MM,AGRO,90,DEGREES,SFBE | BEND, HDPE, 200MM, AGRO, 90, DEGREES, SFBE |  |  |  | URL NOT FOUND |  |  |  |  | AGRO | [9 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 200 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250821 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250821 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,200MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 200MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 200 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060254615 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254615 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,20MM,30,DEGREE,S/F | BEND, HDPE, 20MM, 30, DEGREE, S/F |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 30 DEG | NOMINAL SIZE | 20 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060254609 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254609 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,20MM,30,DEGREE,S/F | BEND, HDPE, 20MM, 30, DEGREE, S/F |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 30 DEG | NOMINAL SIZE | 20 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250807 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250807 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,225MM,SDR11,PN16,LONG,RADIUS | HDPE PIPE 225MM, SDR11, PN16, LONG RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 225 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250820 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250820 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,225MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 225MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 225 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250806 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250806 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,250MM,SDR11,PN16,LONG,RADIUS | HDPE PIPE 250MM, SDR11, PN16, LONG RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 250 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250819 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250819 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,250MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 250MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 250 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060251005 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060251005 | BHP1 | BHP Spares & Supplies | P1030 | Pipe & tubing - process | EA | MAN2 | BEND,HDPE,250MM,S-SHAPED,2X45DEGREES,SFB | BEND,HDPE,250MM,S-SHAPED,2X45DEGREES,SFBE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE | S-SHAPED | ANGLE | 2 X 45 DEG | NOMINAL SIZE | 250 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250805 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250805 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,280MM,SDR11,PN16,LONG,RADIUS | HDPE PIPE 280MM, SDR11, PN16, LONG RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 280 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250818 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250818 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,280MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 280MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 280 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250804 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250804 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,315MM,SDR11,PN16,LONG,RADIUS | HDPE PIPE 315MM, SDR11, PN16, LONG RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 315 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250817 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250817 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,315MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 315MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 315 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250816 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250816 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,50MM,SDR11,PN16,LONG,RADIUS | HDPE PIPE 50MM, SDR11, PN16, LONG RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 50 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250859 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250859 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,50MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 50MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 50 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250815 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250815 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,63MM,SDR11,PN16,LONG,RADIUS | HDPE PIPE 63MM, SDR11, PN16, LONG RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 63 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250858 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250858 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,63MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 63MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 63 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | SHORT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250331 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250331 | BHP1 | BHP Spares & Supplies | P1030 | Pipe & tubing - process | EA | MAN2 | BEND,HDPE,65DEG,SDR11,PE100,EA | BEND,HDPE,65DEG,SDR11,PE100,650MMX780MM,C/W SADDLE,STUBS AND FLANGE,TABLE D,DC1 UNDERFLOW,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 65 DEG | NOMINAL SIZE | 650 X 780 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE PE100 | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | TABLE D | ADDITIONAL FEATURES EN | RATING:SDR11,C/W SADDLE,DC1 UNDERFLOW,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250330 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250330 | BHP1 | BHP Spares & Supplies | P1030 | Pipe & tubing - process | EA | MAN2 | BEND,HDPE,75DEG,SDR11,PE100,EA | BEND,HDPE,75DEG,SDR11,PE100,740MMX520MM,C/W SADDLE,STUBS AND FLANGE,TABLE D,DC1 UNDERFLOW,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 75 DEG | NOMINAL SIZE | 520 X 740 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDPE PE100 | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | TABLE D | ADDITIONAL FEATURES EN | RATING:SDR11,C/W SADDLE,DC1 UNDERFLOW,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250814 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250814 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,90MM,SDR11,PN16,LONG,RADIUS | HDPE PIPE 90MM, SDR11, PN16, LONG RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 90 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250827 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060250827 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | BEND,HDPE,90MM,SDR11,PN16,SHORT,RADIUS | HDPE PIPE 90MM, SDR11, PN16, SHORT RADIUS BENDS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 90 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN16 | LENGTH |  | MATERIAL | HDPE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | LONG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING:SDR11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060242564 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060242564 | BHP1 | BHP Spares & Supplies | 271316 | Air fittings and connectors | EA | MAN2 | BEND,PLAIN MARLEY,PVC50MM,87.5DEG | BEND , PLAINMARLEY , PVC50MM , 87.5DEG |  |  |  | URL NOT FOUND |  | MARLEY | [12 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 87.5 DEG | NOMINAL SIZE | 50 MM | END CONNECTION | PLAIN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060249564 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060249564 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BEND,RUBBER,DI-3INCH,45DEG,PINKLINER,14B | BEND,RUBBER,DI-3INCH,45DEG,PINKLINER,14BAR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 3 IN | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 14 BAR | LENGTH |  | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PINKLINER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060245497 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060245497 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BEND,SHOULDERED,90DEG,152MM OD,STEE | BEND,SHOULDERED,90DEG,152MM OD,STEE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE | SHOULDERED | ANGLE | 90 DEG | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OUTSIDE DIAMETER:152 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060255189 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060255189 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | BEND,SHOULDERED,GAV,45DEG,60MM | BEND,SHOULDERED,GAV,45DEG,60MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE | SHOULDERED | ANGLE | 45 DEG | NOMINAL SIZE | 60 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060254682 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254682 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BEND,VENT,GALVANIZED,1015MMX20,C/W,RUBBE | BEND, VENT, GALVANIZED, 1015MMX20, C/W, RUBBER, LINED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE | VENTILATION | ANGLE |  | NOMINAL SIZE | 20 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH | 1.015 M | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W RUBBER LINED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060254687 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254687 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BEND,VENT,GLAVANIZED,1015MMX15,C/W,RUBBE | BEND, VENT, GLAVANIZED, 1015MMX15, C/W, RUBBER, LINED | 200000 |  |  | URL NOT FOUND |  |  | 200000 | [11 empty] | CLEANSED | BEND | PIPE | TYPE | VENTILATION | ANGLE |  | NOMINAL SIZE | 15 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH | 1.015 M | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W RUBBER LINED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060240409 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060240409 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BENT,90,DEGREE,110MM,HDP | 90 DEGREE BENT 110MM HDP WITH FLANGES AND STUBS | NONE |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 110 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDP | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060240405 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060240405 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BENT,HDP,90DEGREE,160MM | 160MM 90 DEGREE BENT HDP PLASTIC WITH STUBS AND FLANGES | NONE |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 160 MM | END CONNECTION | STUB FLANGE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | HDP PLASTIC | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060255250 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060255250 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | EA | MAN2 | CONDUIT,BEND 20MM,GALV,EA | CONDUIT,BEND 20MM,GALV,MILD STEEL,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEND | CONDUIT | TYPE |  | NOMINAL SIZE | 20 MM | ANGLE |  | LENGTH |  | END CONNECTION |  | MATERIAL | GALVANIZED MILD STEEL | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060251311 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060251311 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING, CHAIN,FOUR LEG, 2.2TON, 8MM X 200 | SLING, CHAIN,FOUR LEG, 2.2TON, 8MM X 200MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | CHAIN | TYPE |  | SIZE | 8 MM | SLING LENGTH | 200 MM | NUMBER OF LEGS | 4 | LOAD RATING | 2.2 TON | END TYPE |  | MATERIAL |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060238837 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060238837 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SLING,10TX6M,RED-COLOUR-WEB | SLING,10TX6M,RED-COLOUR-WEB |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | WEB | TYPE |  | LENGTH | 6 M | WIDTH |  | MATERIAL |  | NUMBER OF PLYS |  | LOAD RATING | 10 TON | END TYPE |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060238687 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060238687 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,1TON,ENDLESS,ROUND,WEB,1M | SLING, 1M, 1TON, ENDLESS, ROUND, WEB, POLYESTER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | WEB | TYPE |  | LENGTH | 1 M | WIDTH |  | MATERIAL | POLYESTER | NUMBER OF PLYS |  | LOAD RATING | 1 TON | END TYPE | ENDLESS ROUND | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060238689 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060238689 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,1TON,ENDLESS,ROUND,WEB,2M | SLING, 2M, 1TON, ENDLESS, ROUND, WEB, POLYESTER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | WEB | TYPE |  | LENGTH | 2 M | WIDTH |  | MATERIAL | POLYESTER | NUMBER OF PLYS |  | LOAD RATING | 1 TON | END TYPE | ENDLESS ROUND | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060254998 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254998 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,4 TON X 4 METER,GREY COLOURED WE | SLING, 4 TON X 4 METER, GREY COLOURED WEB, YALE |  |  |  | URL NOT FOUND |  | YALE | [12 empty] | CLEANSED | SLING | WEB | TYPE |  | LENGTH | 4 M | WIDTH |  | MATERIAL |  | NUMBER OF PLYS |  | LOAD RATING | 4 TON | END TYPE |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060254997 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060254997 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,6 TON X 4 METER,BROWN COLOURED W | SLING, 6 TON X 4 METER, BROWN COLOURED WEB, YALE |  |  |  | URL NOT FOUND |  | YALE | [12 empty] | CLEANSED | SLING | WEB | TYPE |  | LENGTH | 4 M | WIDTH |  | MATERIAL |  | NUMBER OF PLYS |  | LOAD RATING | 6 TON | END TYPE |  | COLOUR | BROWN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060240468 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060240468 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,CHAIN,2 LEG,2.1TON,1.5M,EA | SLING , CHAIN , 2 LEG , 2.1TON , 1.5M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | CHAIN | TYPE |  | SIZE |  | SLING LENGTH | 1.5M | NUMBER OF LEGS | 2 | LOAD RATING | 2.1 TON | END TYPE |  | MATERIAL |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060238334 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060238334 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,CHAIN,2,LEG,2M,REACH | SLING, CHAIN, 2, LEG, 2M, REACH, ADJUSTABLE, C/W, SELF, LOCKING, HOOKS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | CHAIN | TYPE | ADJUSTABLE | SIZE |  | SLING LENGTH | 2 M | NUMBER OF LEGS | 2 | LOAD RATING |  | END TYPE | SELF-LOCKING HOOK | MATERIAL |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060240469 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060240469 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,CHAIN,4 LEG,3.15TON,2M,EA | SLING , CHAIN , 4 LEG , 3.15TON , 2M, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | CHAIN | TYPE |  | SIZE |  | SLING LENGTH | 2 M | NUMBER OF LEGS | 4 | LOAD RATING | 3.15 TON | END TYPE |  | MATERIAL |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060240456 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060240456 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,CHAIN,7MM X 4LEG X 3MTR ADJUSTABL | CHAIN SLING, 7MM X 4 LEGGED X 3 MTR LONG, ADJUSTABLE C/W SELF LOCKING HOOKS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | CHAIN | TYPE | ADJUSTABLE | SIZE | 7 MM | SLING LENGTH | 3 M | NUMBER OF LEGS | 4 | LOAD RATING |  | END TYPE |  | MATERIAL |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SELF LOCKING HOOKS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060247641 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060247641 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,CHAIN,FOUR,LEG,2.2TON,8MMX300MM | SLING CHAIN, FOUR LEG, 2.2 TON, 8MM X 300MM, 8MM HERCALLOY 800 CHAIN, C/W SELF LOCKING SAFETY HOOK, SAFETY FACTOR 4:1, C/W TEST CERT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | CHAIN | TYPE |  | SIZE | 8 MM | SLING LENGTH | 300 MM | NUMBER OF LEGS | 4 | LOAD RATING | 2.2 TON | END TYPE | SELF-LOCKING SAFETY HOOK | MATERIAL | HERCALLOY 800 | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SAFETY FACTOR 4:1,C/W TEST CERT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060247643 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060247643 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,CHAIN,FOUR,LEG,2.2TON,8MMX400MM | SLING CHAIN, FOUR LEG, 2.2 TON, 8MM X 400MM, 8MM HERCALLOY 800 CHAIN, C/W SELF LOCKING SAFETY HOOK, SAFETY FACTOR 4:1, C/W TEST CERT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | CHAIN | TYPE |  | SIZE | 8 MM | SLING LENGTH | 400 MM | NUMBER OF LEGS | 4 | LOAD RATING | 2.2 TON | END TYPE | SELF-LOCKING SAFETY HOOK | MATERIAL | HERCALLOY 800 | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SAFETY FACTOR 4:1,C/W TEST CERT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060247644 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060247644 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,CHAIN,FOUR,LEG,2.2TON,8MMX500MM | SLING; CHAIN, FOUR LEG; 2.2 TON, 8MM X 500MM, 8MM HERCALLOY 800 CHAIN, C/W SELF LOCKING SAFETY HOOK, SAFETY FACTOR 4:1, C/W TEST CER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | CHAIN | TYPE |  | SIZE | 8 MM | SLING LENGTH | 500 MM | NUMBER OF LEGS | 4 | LOAD RATING | 2.2 TON | END TYPE | SELF-LOCKING SAFETY HOOK | MATERIAL | HERCALLOY 800 | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SAFETY FACTOR 4:1,C/W TEST CERT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060247961 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060247961 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,ENDLESS ROUND,10TX6M | 10T X 6M ENDLESS ROUND |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SLING | NO MODIFIER | TYPE |  | SIZE |  | SLING LENGTH | 6 M | NUMBER OF LEGS |  | LOAD RATING | 10 TON | END TYPE | ENDLESS ROUND | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060239198 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060239198 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,ENDLESS ROUND,15TON,13M | SLING,ENDLESS ROUND,15TON,13M,COMPLETE WITH CONSOLIDATED SLEEVE |  | 0019011629 | SCAW SOUTH AFRICA (PTY) LTD | URL NOT FOUND |  | SCAW SOUTH AFRICA (PTY) LTD | [12 empty] | CLEANSED | SLING | NO MODIFIER | TYPE |  | SIZE |  | SLING LENGTH | 13 M | NUMBER OF LEGS |  | LOAD RATING | 15 TON | END TYPE | ENDLESS ROUND | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE W/ CONSOLIDATED SLEEVE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060248096 | TNG_001 | DATA ENRICHMENT | NEN | NEN3 | OK | 08-11-2022 | 11-11-2022 |  | 000000000060248096 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | SLING,ENDLESS ROUND,2TX2M | 2T X 2M ENDLESS ROUND SLING | 2T X 2M ENDLESS ROUND | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | SLING | NO MODIFIER | TYPE |  | SIZE |  | SLING LENGTH | 2 M | NUMBER OF LEGS |  | LOAD RATING | 2 TON | END TYPE | ENDLESS ROUND | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED