## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060249899 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060249899 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | PAK | MAN2 | CLAMP,SINGLE TUBE,RS PRO,12MM | CLAMP, ?RS PRO 12MM SINGLE TUBE, ROOF PRESSURE PIPE CLAMP | RS PRO SINGLE 12MM TUBE CLAMP | 0019011819 | Unknown | URL NOT FOUND |  | RS PRO | [12 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | SINGLE TUBE, ROOF PRESSURE PIPE | CAPACITY | 12 MM | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060239559 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060239559 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | CLAMP,SLEEVE,PUMP,ALH65, REF7,BRUBIN | CLAMP,SLEEVE,PUMP,ALH65,REF 7,BRUBIN PUMPS | ALH65, REF 7 | 0019011691 | BRUBIN PUMPS | URL NOT FOUND |  | BRUBIN PUMPS | ALH65, REF 7 | [5 empty] | PUMP | ALH65 | BRUBIN |  |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE | SLEEVE | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REF: 7 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060220046 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060220046 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CLAMP,SPACER,2 X 26.5MM,CURRENT CARRYING | CLAMP,SPACER,2 X 26.5MM,CURRENT CARRYING,BMEC23063,MCWADE. | BMEC23063 |  |  | URL NOT FOUND |  | MCWADE | BMEC23063 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | SPACER, CURRENT CARRYING | CAPACITY |  | SIZE | 2 X 26.5 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060228636 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060228636 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | CLAMP,STEEL,EXHAUST | CLAMP, STEEL, EXHAUST, ADT, ROYAL SLAG CARRIER., NEW STOCK AS PER ESSI : 989, 190-5341 | 190-5341 | 0019011537 | BARLOWORLD EQUIPMENT | https://parts.cat.com/en/catcorp/190-5341 |  | CATERPILLAR SA | 190-5341 |  | BARLOWORLD EQUIPMENT | [9 empty] | ENRICHED | CLAMP | HOSE | TYPE | EXHAUST, STEPPED | HOSE SIZE | 127-131.6 MM | WIDTH | 76 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI, ASTM, DIN | ADDITIONAL FEATURES EN | FOR ADT, ROYAL SLAG CARRIER, NEW STOCK AS PER ESSI 989 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060185626 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060185626 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | CLAMP,T-BOLT P/N 18020007 | CLAMP, T-BOLT P/N 18020007 | 1802-0007 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | 1802-0007 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | T-BOLT | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060220045 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060220045 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CLAMP,TERMNAL PALM,STP-26,D 26MM STUD T | CLAMP,TERMINAL PALM,STP-26,D 26MM STUD TO 100 X 100 PALM,BMEC21763,4 HOLES,MCWADE. | BMEC21763 |  |  | URL NOT FOUND |  | MCWADE | BMEC21763 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | TERMINAL PALM | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STP-26, D 26 MM STUD TO 100 X 100 PALM, NUMBER OF HOLES: 4 HOLES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060245541 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060245541 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,U,BOLT | CLAMP,U,BOLT | 2020-0002 | 0019011819 | Unknown | URL NOT FOUND |  |  | 2020-0002 | [11 empty] | CLEANSED | CLAMP | U | TYPE | BOLT | PIPE SIZE |  | MATERIAL |  | COATING/FINISH |  | INSIDE DIAMETER |  | HEIGHT |  | MOUNTING PLATE MATERIAL |  | MOUNTING PLATE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060232247 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060232247 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | CLAMP,U-BOLT,50MM,P/N GM0104-0020 | CLAMP, U-BOLT, 50MM, P/N GM0104-0020 | GM0104-0020 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | GM0104-0020 | [11 empty] | CLEANSED | CLAMP | U | TYPE | BOLT | PIPE SIZE |  | MATERIAL |  | COATING/FINISH |  | INSIDE DIAMETER | 50 MM | HEIGHT |  | MOUNTING PLATE MATERIAL |  | MOUNTING PLATE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060255432 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060255432 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,UNIVERSAL,219MM | CLAMP,UNIVERSAL,219MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | UNIVERSAL | CAPACITY |  | SIZE | 219 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060253700 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060253700 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CLAMP,UTILITY,PIPEWORK,170MM,MAXPOWER | CLAMP, UTILITY, PIPEWORK, 170MM, MAXPOWER |  |  |  | URL NOT FOUND |  | MAXPOWER | [12 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | UTILITY, PIPEWORK | CAPACITY |  | SIZE | 170 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060250877 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060250877 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | CLAMP,VBAND,9N1941,CAT,EA | CLAMP, VBAND, 9N1941, CAT, EACH | 9N1941 |  |  | https://parts.cat.com/en/catcorp/9N-1941 |  | CATERPILLAR SA | 9N-1941 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | V-BAND | HOSE SIZE | 149.4 MM | WIDTH | 22.1 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060239196 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060239196 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP,VICTOLIC,DN4,STYLE 807N,QUICKVIC | CLAMP,VICTOLIC,DN4,STYLE 807N,QUICKVIC |  |  |  | https://www.victaulic.com/products/style-807n-quickvic-installation-ready-rigid-coupling-for-potable-water-applications/ |  | VICTAULIC | STYLE 807N | [11 empty] | ENRICHED | CLAMP | NO MODIFIER | TYPE | RIGID COUPLING | CAPACITY |  | SIZE | DN4 | MATERIAL |  | CLAMPING PRESSURE | 750 PSI | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRADEMARK: QUICKVIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060220043 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060220043 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CLAMP,Y-5,26 STUD TO 26.5 CONDUCTOR,BMEC | CLAMP,Y-5,26 STUD TO 26.5 CONDUCTOR,BMEC21423,MCWADE | BMEC21423 |  |  | URL NOT FOUND |  | MCWADE | BMEC21423 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: Y-5, 26 STUD TO 26.5 CONDUCTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060220044 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060220044 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CLAMP,YP-1,2 X 26.5 TO 125 X 125,PALM | CLAMP,YP-1, 2 X 26.5 TO 125 X 125, PALM 8 HOLE,40MM CENTRES,BMEC21833,MCWADE | BMEC21833 |  |  | URL NOT FOUND |  | MCWADE | BMEC21833 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: YP-1, 2 X 26.5 TO 125 X 125, PALM 8 HOLE, 40 MM CENTRES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060186883 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060186883 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | CLAMP: BOOT TO PUMP, ALH100 HOSE PUMP, P | CLAMP: BOOT TO PUMP, ALH100 HOSE PUMP, PN ALH100800, BRUBIN | ALH100800 | 0019011691 | BRUBIN PUMPS | URL NOT FOUND |  | BRUBIN PUMPS | ALH100800 | [5 empty] | HOSE PUMP | ALH100 |  |  |  |  | CLEANSED | CLAMP | HOSE | TYPE | BOOT TO PUMP | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060167967 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060167967 | BHP1 | BHP Spares & Supplies | 411145 | Mechanical instruments | EA | MAN2 | CLAMP: FLEXIBLE FOR TRANSFORMER, FERROME | AND FW05D07 034 Rev A, ITEM No1, FURNACES 4<(>&<)>5, CLAMP: FLEXIBLE FOR TRANSFORMER, FERROMETALS DRAWING FW04D07 030 Rev A, AND FW05D07 034 Rev A, ITEM No1, FURNACES 4&5 |  |  |  | URL NOT FOUND |  | FERROMETALS | [6 empty] | FURNACES 4 AND 5 |  |  | FW04D07 030 REV A, FW05D07 034 REV A |  | 1 | CLEANSED | CLAMP | NO MODIFIER | TYPE | FLEXIBLE | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR TRANSFORMER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060186882 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060186882 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | CLAMP: ON HOSE,ALH100 HOSE PUMP,PN ALH | CLAMP: ON HOSE, ALH100 HOSE PUMP, PN ALH100900, BRUBIN | ALH100900 | 0019011691 | BRUBIN PUMPS | URL NOT FOUND |  | BRUBIN PUMPS | ALH100900 | [5 empty] | HOSE PUMP | ALH100 |  |  |  |  | CLEANSED | CLAMP | HOSE | TYPE |  | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060183418 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060183418 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMP: REPAIR, 270-290 MM, CASCADE | CLAMP: REPAIR, 270-290 MM, CASCADE |  |  |  | URL NOT FOUND |  | CASCADE | [12 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | REPAIR | CAPACITY |  | SIZE | 270-290 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060215979 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060215979 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | CLAMP: REPAR,195-206MM,CASCADE | CLAMP: REPAIR, 195-206MM, CASCADE |  |  |  | URL NOT FOUND |  | CASCADE | [12 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | REPAIR | CAPACITY |  | SIZE | 195-206 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060168585 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060168585 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | CLAMP: SEAL, EXHAUST, 3 INCH P/N 6410617 | CLAMP: SEAL, EXHAUST, 3" P/N 64106179 | 64106179 | 0019002924 | SANDVIK | https://www.rockser.com.tr/export/17 |  | SANDVIK | 64106179 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | SEAL, EXHAUST | CAPACITY |  | SIZE | 3 IN | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060125353 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060125353 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMPS, CABLE, 32MM, DOT PRODUCTS | CLAMPS, CABLE, 32MM, DOT PRODUCTS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | CABLE | TYPE |  | DIAMETER | 32 MM | MATERIAL |  | MOUNTING TYPE |  | AFFIXING METHOD |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DOT PRODUCTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060025718 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060025718 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMPS, FEEDER, DOT PRODUCTS | CLAMPS, FEEDER, DOT PRODUCTS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | FEEDER | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DOT PRODUCTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060125352 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060125352 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMPS, SECURING, DOT PRODUCTS | CLAMPS, SECURING, DOT PRODUCTS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | SECURING | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DOT PRODUCTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060181466 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060181466 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMPS,FLEXIBLE METALLIC HOSE,STEELBELT, | CLAMPS,FLEXIBLE METALLIC HOSE,STEELBELT,PSP 3 PELLETISING PLANT-MFC, AS PER SSI 3478 | S.M.0058000 | 0019002490 | OUTOTEC | URL NOT FOUND |  | OUTOTEC | S.M.0058000 | [5 empty] | PELLETISING PLANT-MFC | PSP 3 |  |  |  |  | CLEANSED | CLAMP | HOSE | TYPE | FLEXIBLE METALLIC | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 3478 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060254234 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060254234 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | CLAMPS,HOSE,2 HALVES,25MM | CLAMPS, HOSE, 2 HALVES WITH LUGS, 25MM, WRE BOLTED HD, STAINLESS STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY | HOSE SIZE | 25 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | WRE BOLTED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 HALVES W/ LUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060254235 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060254235 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | CLAMPS,HOSE,2 HALVES,32MM | CLAMPS, HOSE, 2 HALVES WITH LUGS,32MM, WRE BOLTED HD, STAINLESS STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY | HOSE SIZE | 32 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | WRE BOLTED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 HALVES W/ LUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060254236 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060254236 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | CLAMPS,HOSE,2 HALVES,40MM | CLAMPS, HOSE, 2 HALVES WITH LUGS, 40MM, WRE BOLTED HD, STAINLESS STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY | HOSE SIZE | 40 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | WRE BOLTED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 HALVES W/ LUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060254237 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060254237 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | CLAMPS,HOSE,2 HALVES,50MM | CLAMPS, HOSE, 2 HALVES WITH LUGS, 50MM, WRE BOLTED HD, STAINLESS STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY | HOSE SIZE | 50 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | WRE BOLTED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 HALVES W/ LUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060254238 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060254238 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | CLAMPS,HOSE,2 HALVES,63MM | CLAMPS,HOSE,2 HALVES WITH LUGS,63MM,WRE BOLTED HD,STAINLESS STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CLAMP | HOSE | TYPE | HEAVY DUTY | HOSE SIZE | 63 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | WRE BOLTED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 HALVES W/ LUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060225490 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060225490 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMPS,SERATED FOR HDS 150 X 200 SKRTN | CLAMPS,SERATED FOR HDS 150 X 200 SKIRTING BLOCKS C/W BOLTS.CODE 1000002, NEW STOCK AS PER "ESSI 153" | 1000002 | 0019011385 | TRU-TRAC ROLLERS (PTY) LTD | URL NOT FOUND |  | TRU-TRAC ROLLERS (PTY) LTD | 1000002 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | SERATED | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR HDS 150 X 200 SKIRTING BLOCKS C/W BOLTS, NEW STOCK AS PER ESSI 153 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060230396 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060230396 | BHP1 | BHP Spares & Supplies | 311629 | Clamps | EA | MAN2 | CLAMPS,T-BOLT,EP,STAINLESS STEEL | S.S. T-BOLT CLAMPS 9419K-1185 C4129KN-75-1185-H | 10840456 |  |  | URL NOT FOUND |  |  | 10840456 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | T-BOLT | CAPACITY |  | SIZE |  | MATERIAL | STAINLESS STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 9419K-1185 C4129KN-75-1185-H | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060180432 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060180432 | BHP1 | BHP Spares & Supplies | 201428 | Production separators | EA | MAN2 | DISCHARGE REGULATOR CLAMP,FOR A 915 DIA | DISCHARGE REGULATOR CLAMP, FOR A 915 DIAMETER SEPARATOR | 709/056 | 0019001963 | LINATEX CORP | URL NOT FOUND |  | LINATEX CORP | 709/056 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | DISCHARGE REGULATOR | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR A 915 DIAMETER SEPARATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060175023 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060175023 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | END CLAMP,DIAMOND,SITEECO | END CLAMP,DIAMOND,SITEECO, AS PER SSI 2763 | 3-DT/0500 | 0019008935 | SITEECO | URL NOT FOUND |  | SITEECO | 3-DT/0500 |  | DIAMOND | [9 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | END | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2763 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060235109 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060235109 | BHP1 | BHP Spares & Supplies | 231521 | Separation machinery and equipment | EA | MAN2 | FASTENERS M24 X 160 (TEE251/1) | FASTENERS M24 X 160 (TEE251/1)SHELL CLAMP ASSY. (OB) |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FASTENER | NO MODIFIER | TYPE |  | SIZE | M24 X 160 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR (TEE251/1) SHELL CLAMP ASSEMBLY (OB) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060235110 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060235110 | BHP1 | BHP Spares & Supplies | 231521 | Separation machinery and equipment | EA | MAN2 | FASTENERS M24 X 274 (TEE251/2) | FASTENERS M24 X 274 (TEE251/2)FEED END CLAMP ASS. |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FASTENER | NO MODIFIER | TYPE |  | SIZE | M24 X 274 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR (TEE251/2) FEED END CLAMP ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060235111 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060235111 | BHP1 | BHP Spares & Supplies | 231521 | Separation machinery and equipment | EA | MAN2 | FASTENERS M24 X 554 (TEE251/3) | FASTENERS M24 X 554 (TEE251/3)DISCHARGE END CLAMP ASS. |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FASTENER | NO MODIFIER | TYPE |  | SIZE | M24 X 554 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR (TEE251/3) DISCHARGE END CLAMP ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223594 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060223594 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | FURNACE CLAMP,1INCH | 1INCH FURNACE CLAMP |  |  |  | URL NOT FOUND | [8 empty] | FURNACE | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 1 IN | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060223595 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060223595 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | FURNACE CLAMP,2INCH | 2INCH FURNACE CLAMP |  |  |  | URL NOT FOUND | [8 empty] | FURNACE | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 2 IN | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060250154 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060250154 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | GUNNING MACHINE, CARBOUFER CLAMP, AND GA | GUNNING MACHINE, CARBOUFER CLAMP, AND GASKET, 3" | EA015 | 0019011819 | Unknown | https://rockcrete.co.za/wp-content/uploads/2021/01/Rockcreter-95-Operators-Manual.pdf |  |  | EA015 | [5 empty] | GUNNING MACHINE | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE | CARBOUFER | CAPACITY |  | SIZE | 3 IN | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/GASKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060250144 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060250144 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | GUNNING MACHINE, CLAMP, S65, FOR 38MM PR | GUNNING MACHINE, CLAMP, S65, FOR 38MM PREMIX NOZZLE | E033B | 0019011819 | Unknown | URL NOT FOUND |  |  | E033B | [5 empty] | GUNNING MACHINE | [5 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | S65, FOR 38 MM PREMIX NOZZLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060223461 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060223461 | BHP1 | BHP Spares & Supplies | 311300 | Forgings | EA | MAN2 | HEATSHIELD, FURNACE, FORGED COPPER | HEATSHIELD, FURNACE, FORGED COPPER, C/W INNER INSULATION & S/STEEL CLAMPING STRAP, METIX, DWG: MC233-30-32-520, HEATSHIELD, FURNACE, FORGED COPPER, C/W INNER INSULATION AND S/STEEL, CLAMPING STRAP, METIX, DWG: MC233-30-32-520 |  |  |  | URL NOT FOUND | [8 empty] | FURNACE |  |  | MC233-30-32-520 |  |  | CLEANSED | SHIELD | HEAT | TYPE |  | WIDTH |  | THICKNESS |  | MATERIAL | FORGED COPPER | TEMPERATURE RATING |  | COLOUR |  | CONDUCTIVITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W INNER INSULATION AND STAINLESS STEEL CLAMPING STRAP, METIX | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060169813 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060169813 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | HOSE CLAMP LC16X10 | HOSE CLAMP LC16X10 |  |  |  | URL NOT FOUND |  |  | LC16X10 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE |  | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060213597 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060213597 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | HOSE CLAMP, BOOT TO HOSE CLAMP, BA100, C | HOSE CLAMP, BOOT TO HOSE CLAMP, BA100, CODE 219023 | 219023 |  |  | https://www.psgdover.com/docs/default-source/mouvex/obsolete/part-lists/pl-1101-n02-11-14-as100-e.pdf?sfvrsn=58509b6f_12 |  |  | 219023 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | BOOT TO HOSE | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BA100 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060213598 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060213598 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | HOSE CLAMP, BOOT TO PUMP CLAMP, BA100, C | HOSE CLAMP, BOOT TO PUMP CLAMP, BA100, CODE 217089 | 217089 |  |  | URL NOT FOUND |  |  | 217089 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | BOOT TO PUMP | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BA100 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060213599 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060213599 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | HOSE CLAMP,HOSE TO NSERT CLAMP,BA100, | HOSE CLAMP, HOSE TO INSERT CLAMP, BA100, CODE 200084 | 200084 |  |  | URL NOT FOUND |  |  | 200084 | [11 empty] | CLEANSED | CLAMP | HOSE | TYPE | HOSE TO INSERT | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BA100 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060182046 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060182046 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | ICP, NORMACLAMP, 8MM, STX ZINC,PLATED | ICP, NORMACLAMP, 8MM, STX ZINC,PLATED, ICP,?NORMACLAMP, 8MM, STX ZINC,PLATED | 44403013 | 0019011505 | SPECTRO ANALYTICAL INSTRUMENTS | URL NOT FOUND |  | SPECTRO ANALYTICAL INSTRUMENTS | 44403013 | [11 empty] | CLEANSED | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 8 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COATING/FINISH: ZINC PLATED, BRAND: NORMACLAMP, ICP, STX | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060165249 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060165249 | BHP1 | BHP Spares & Supplies | 271200 | Hydraulic machinery and equipment | EA | MAN2 | CLEVIS,PIN,ASSEMBLY,MALE,C/W PIN | CLEVIS: PIN, ASSEMBLY, MALE, C/W PIN AND SPLIT PIN, OSBORN P/N 60J64-MCPA | 60J64-MCPA | 0019002485 | OSBORN | URL NOT FOUND |  | OSBORN | 60J64-MCPA | [11 empty] | CLEANSED | PIN | CLEVIS | DIAMETER |  | LENGTH |  | HEAD SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEAD TYPE |  | END TYPE | MALE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY, C/W PIN AND SPLIT PIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060255267 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060255267 | BHP1 | BHP Spares & Supplies | 530000 | Apparel, Luggage, and Personal Care Products | EA | MAN2 | COAT,ALUMANIZE,SILVER,LARGE,EA | COAT,ALUMANIZE,SILVER,LARGE,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COAT | SAFETY | TYPE | ALUMANIZE | SIZE DESIGNATION | LARGE | LENGTH |  | MATERIAL |  | COLOUR | SILVER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255003 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060255003 | BHP1 | BHP Spares & Supplies | 530000 | Apparel, Luggage, and Personal Care Products | EA | MAN2 | COAT,ALUMANIZE,SILVER,MEDIUM,EA | COAT, TAPPING, ALUMINIZE, SILVER,MEDIUM, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COAT | SAFETY | TYPE | ALUMINIZE, TAPPING | SIZE DESIGNATION | MEDIUM | LENGTH |  | MATERIAL |  | COLOUR | SILVER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255266 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060255266 | BHP1 | BHP Spares & Supplies | 530000 | Apparel, Luggage, and Personal Care Products | EA | MAN2 | COAT,ALUMANIZE,SILVER,SMALL,EA | COAT,ALUMANIZE,SILVER,SMALL,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COAT | SAFETY | TYPE | ALUMANIZE | SIZE DESIGNATION | SMALL | LENGTH |  | MATERIAL |  | COLOUR | SILVER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255249 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060255249 | BHP1 | BHP Spares & Supplies | 530000 | Apparel, Luggage, and Personal Care Products | EA | MAN2 | COAT,ALUMANIZE,SILVER,XXLARGE,EA | COAT, ALUMANIZE, SILVER, XXLARGE, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COAT | SAFETY | TYPE | ALUMANIZE | SIZE DESIGNATION | XX-LARGE | LENGTH |  | MATERIAL |  | COLOUR | SILVER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060029027 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060029027 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | DUSTCOAT, GREEN, SIZE 48 (122), FLAME RE | DUSTCOAT, GREEN, SIZE 48 (122), FLAME RETARDANT, D59 COTTON DRIL, L, 1 BREAST POCKET, 2 SIDE POCKETS, PRESS STUD CLOSURE, SIDE VEN, TS, PLAIN COMPLETE WITH 50MM LIME REFLECTIVE TAPE WITH 25MM SILV, ER REFLECTIVE TAPE SEWN ON BOTH BICEPS, SABS APPROVED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COAT | SAFETY | TYPE | DUST, FLAME RETARDANT | SIZE DESIGNATION | LARGE | LENGTH |  | MATERIAL | D59 DRILL COTTON | COLOUR | GREEN | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS | ADDITIONAL FEATURES EN | SIZE: 48 (122), W/ 1 BREAST POCKET, 2 SIDE POCKETS, PRESS STUD CLOSURE, SIDE VENTS, PLAIN C/W 50 MM LIME REFLECTIVE TAPE W/ 25 MM SILVER REFLECTIVE TAPE SEWN ON BOTH BICEPS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255342 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060255342 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | EA | MAN2 | COMPOUND, COPPER, ANTI SIEZE, LB771, 400 | COMPOUND, COPPER, ANTI SIEZE, LB771, 400G, MSDS |  |  |  | https://www.nsa-india.com/anti-seize-compound.html |  |  | LB 771 | [11 empty] | CLEANSED | COMPOUND | SEALING | TYPE | COPPER, ANTI SIEZE | CONTAINER |  | COLOUR | SILVER | SETTING TIME |  | TEMPERATURE RATING | -54 TO 1315 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY: 400 G, MSDS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255353 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060255353 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | EA | MAN2 | COMPOUND, COPPER, ANTI SIEZE, LB8008, 11 | COMPOUND, COPPER, ANTI SIEZE, LB8008, 113G, MSDS REQUIRED |  |  |  | https://www.henkel-adhesives.com/in/en/product/anti-seize-lubricants/loctite_lb_8008_c5-a.html |  |  | LB 8008 | [11 empty] | ENRICHED | COMPOUND | NO MODIFIER | TYPE | ANTI SIEZE | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM | PASTE | COLOUR | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY: 113 G, MSDS REQUIRED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060255162 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060255162 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | DR | MAN2 | COMPOUND,HEAVY DUTY,COPPER BASE,ANTI | COMPOUND, HEAVY DUTY, COPPER BASE, ANTI SEIZE, SPANJAARD, 15 KG DRUM, -20 TO 1100 DEG CELSUIS |  |  |  | URL NOT FOUND |  | SPANJAARD | [12 empty] | CLEANSED | COMPOUND | NO MODIFIER | TYPE | HEAVY DUTY, COPPER BASE, ANTI SEIZE | GRADE |  | CONTAINER TYPE | DRUM | CONTAINER SIZE | 15 KG | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TEMPERATURE RATING: -20 TO 1100 DEG C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060164886 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060164886 | BHP1 | BHP Spares & Supplies | 301116 | Cement and lime | TO | MAN2 | COMPOUND,RAMMING,INTOMAG RAM 90 MGS WI | COMPOUND: RAMMING, INTOMAG RAM 90 MGS WITH BINDER | 9000084 | 0019003467 | UNKNOWN | http://www.evrazhighveld.co.za/winddown/storesconsrefrac/refractories.xls |  |  | 9000084 | [11 empty] | CLEANSED | COMPOUND | NO MODIFIER | TYPE | RAMMING | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INTOMAG RAM 90 MGS W/ BINDER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060164885 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060164885 | BHP1 | BHP Spares & Supplies | 301116 | Cement and lime | TO | MAN2 | COMPOUND,RAMMING,INTOVAL T93 CR30 (25K | COMPOUND: RAMMING, INTOVAL T93 CR30 (25KG BAGS) | 9101933 | 0019003467 | UNKNOWN | URL NOT FOUND |  |  | 9101933 | [11 empty] | CLEANSED | COMPOUND | NO MODIFIER | TYPE | RAMMING | GRADE |  | CONTAINER TYPE | BAG | CONTAINER SIZE | 25 KG | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INTOVAL T93 CR30 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060253316 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060253316 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | BAG | MAN2 | EARTHING COMPOUND,25KG MATRIX,BAG | EARTHING COMPOUND, 25KG MATRIX, ADSORBENT BENTONITE, BAG |  |  |  | URL NOT FOUND |  | MATRIX | [12 empty] | CLEANSED | COMPOUND | NO MODIFIER | TYPE | EARTHING | GRADE |  | CONTAINER TYPE | BAG | CONTAINER SIZE | 25 KG | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ADSORBENT BENTONITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060255664 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060255664 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SILICONE,MATWELD,ANTI,SPLATTER,500ML,MAT | SILICONE,MATWELD,ANTI,SPLATTER,500ML,MAT0810 |  |  |  | https://ggstore.co.za/product-tag/mat0810/ |  | MATWELD | MAT0810 | [11 empty] | CLEANSED | SPRAYER | NO MODIFIER | TYPE | ANTI SPLATTER, SILICONE | CAPACITY | 500 ML | MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060241585 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 | SUITABLE NM NOT FOUND | 000000000060241585 | BHP1 | BHP Spares & Supplies | 121315 | Explosives | EA | MAN2 | SILO,30TONS,SURFACE | SILO,30TON,SURFACE |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
000000000060254728 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060254728 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | SPRAY,SPANJAARD, GRAPHITE,SPN0307,DRY LU | SPRAY, SPANJAARD, GRAPHITE, SPN0307, DRY LUBRICATION | SPN0307 | 0019011819 | Unknown | https://ggstore.co.za/product/spanjaard-graphite-spray-400ml-12/ |  | SPANJAARD | SPN0307 | [11 empty] | ENRICHED | SPRAYER | NO MODIFIER | TYPE | DRY LUBRICATION, GRAPHITE | CAPACITY | 400 ML | MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060248038 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060248038 | BHP1 | BHP Spares & Supplies | 271117 | Wrenches and drivers | EA | MAN2 | CONVERTER,MALE TO FEMALE,3/4-1/2,EA | CONVERTER, MALE TO FEMALE, 3/4-1/2, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONVERTER | NO MODIFIER | TYPE | MALE TO FEMALE | INPUT RATING |  | OUTPUT RATING |  | SIZE | 3/4-1/2 IN | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060250618 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060250618 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | CONVERTER,POW203,NOVA,EA | CONVERTER, 8A, DC-DC, 24VOLT TO 13.8VOLT, POW203,NOVA,EACH | POW203 |  |  | https://rcw.co.za/wp-content/uploads/2021/07/29.-POW-203-Compact-24V-to-12V-Voltage-Convertor-1.pdf |  | NOVA | POW203 | [11 empty] | ENRICHED | CONVERTER | VOLTAGE | TYPE | DC TO DC, COMPACT 24 V TO 13.8 V | INPUT VOLTAGE | 18-35 VDC | OUTPUT VOLTAGE RATING | 13.8 TO +/- 0.25 V | RATED POWER | 8.3 A | COIL VOLTAGE |  | NUMBER OF OUTPUTS |  | FREQUENCY RATING |  | COIL TYPE |  | DEGREE OF PROTECTION |  | SIZE | 63 X 58 X 21 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060244247 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060244247 | BHP1 | BHP Spares & Supplies | 432116 | Computer accessories | EA | MAN2 | CONVERTOR,USB,SERIAL | CONVERTOR, USB TO SERIAL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONVERTER | NO MODIFIER | TYPE | USB TO SERIAL | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060232060 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060232060 | BHP1 | BHP Spares & Supplies | 461916 | Fire fighting equipment | EA | MAN2 | BLUE CRANE COMPLETE,EACH | BLUE CRANE COMPLETE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CRANE | NO MODIFIER | TYPE |  | LIFTING CAPACITY |  | LIFTING HEIGHT |  | ANGLE OF ROTATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR: BLUE, COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060254194 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060254194 | BHP1 | BHP Spares & Supplies | 821215 | Printing | EA | MAN2 | CRANE, OVERHEAD REMOTE, 42-240V | CRANE, OVERHEAD REMOTE, 42-240V, HBC-RADIOMATIC, 524 D74564 |  |  |  |  | https://www.hbc-radiomatic.com/en/products/receivers/fse-524.html | HBC-RADIOMATIC | 524 D74564 | [5 empty] | OVERHEAD CRANE | [68 empty] | Production Completed
000000000060252927 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060252927 | BHP1 | BHP Spares & Supplies | 821215 | Printing | EA | MAN2 | CRANE,AUX,HOIST,BOTTOM,BLOCK,40T/15T,M80 | CRANE, OVERHEAD, AUX, HOIST, BOTTOM, BLOCK, 40T/15T, M8063 |  |  |  | URL NOT FOUND | [8 empty] | 40T/15T OVERHEAD CRANE | [5 empty] | CLEANSED | BLOCK | HOIST | TYPE | AUXILIARY,BOTTOM | LOAD CAPACITY |  | OPERATION METHOD |  | WIRE/CHAIN LENGTH |  | WIRE/CHAIN MATERIAL |  | OPERATED RATING |  | HOISTING ELEMENT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | M8063 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060241670 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060241670 | BHP1 | BHP Spares & Supplies | 121617 | Buffers | EA | MAN2 | CRANE,BUFFER,STOPPER,GALVI,RMV.160.160 | CRANE BUFFER STOPPER GALVI , TYPE RMV.160.160, 200MM STEEL BASE PLATE, PCD 160MM, BOLT 12MM |  |  |  | https://shop.imolagru.com/en/buffer-type-rmv-160-160.html |  | GALVI | RMV.160.160 | [5 empty] | CRANE | [5 empty] | CLEANSED | BUFFER | NO MODIFIER | TYPE | STOPPER | SIZE | 200 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BASE PLATE MATERIAL: STEEL, PCD: 160 MM, BOLT SIZE: 12 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060253587 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060253587 | BHP1 | BHP Spares & Supplies | 821215 | Printing | EA | MAN2 | CRANE,LONGTRAVEL,WHEEL,M8837 | CRANE, LONGTRAVEL, DRIVE, WHEEL, M8837, 25T/15T |  |  |  | URL NOT FOUND | [8 empty] | 25T/15T LONGTRAVEL CRANE | [5 empty] | CLEANSED | WHEEL | NO MODIFIER | TYPE | DRIVE | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | M8837 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060252928 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060252928 | BHP1 | BHP Spares & Supplies | 821215 | Printing | EA | MAN2 | CRANE,MAINHOIST,BOTTOM,BLOCK,40T/15T,M80 | CRANE, OVERHEAD, MAINHOIST, BOTTOM, BLOCK, 40T/15T, M8063 |  |  |  | URL NOT FOUND | [8 empty] | 40T/15T OVERHEAD CRANE | [5 empty] | CLEANSED | BLOCK | HOIST | TYPE | MAIN, BOTTOM | LOAD CAPACITY |  | OPERATION METHOD |  | WIRE/CHAIN LENGTH |  | WIRE/CHAIN MATERIAL |  | OPERATED RATING |  | HOISTING ELEMENT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | M8063 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060253588 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060253588 | BHP1 | BHP Spares & Supplies | P1022 | Drive eqpt, mechanical | EA | MAN2 | CRANE,OVERHEAD,GEARBOX,25T/15T,M8837 | CRANE, OVERHEAD, GEARBOX, 25T/15T, M8837, LONGTRAVEL |  |  |  | URL NOT FOUND | [8 empty] | 25T/15T LONGTRAVEL OVERHEAD CRANE | [5 empty] | CLEANSED | GEARBOX | NO MODIFIER | TYPE |  | GEAR RATIO |  | POWER RATING |  | INPUT SPEED RATING |  | OUTPUT SPEED RATING |  | SHAFT DIAMETER |  | MOUNTING TYPE |  | HOUSING MATERIAL |  | SHAFT MATERIAL |  | SEAL TYPE |  | SEAL MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | M8837 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060244894 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060244894 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CRIMPER,10-120MM,NON,INSULATED | CRIMPER,10-120MM,NON,INSULATED | HX-120B | 0019011819 | Unknown | URL NOT FOUND |  |  | HX-120B | [11 empty] | CLEANSED | CRIMPER | NO MODIFIER | TYPE | NON INSULATED | TRADE SIZE |  | CRIMPING RANGE | 10-120 MM | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060253966 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060253966 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | CRIMPER,BOOTLACE,FERRULES,0.5 TO 6MM,EA | CRIMPER, BOOTLACE, FERRULES ,0.5 TO 6MM, MAKE BM 53816 | BM 53816 | 0019011819 | Unknown | https://www.acdc.co.za/collections/bm/products/crimping-tool-for-bootlace-ferrules-0-5-16mm?variant=741227069452 |  | ACDC | BM53816 | [11 empty] | CLEANSED | CRIMPER | NO MODIFIER | TYPE | BOOTLACE, FERRULES | TRADE SIZE |  | CRIMPING RANGE | 0.5-6 MM | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060245054 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060245054 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CRIMPER,DT | CRIMPER, DT-CRIMPER MALE-DEUTSCH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CRIMPER | NO MODIFIER | TYPE | DT, MALE | TRADE SIZE |  | CRIMPING RANGE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: DEUTSCH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060256185 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060256185 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | CRIMPER,INSULATED | CRIMPER FOR INSULATED LUGS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CRIMPER | NO MODIFIER | TYPE |  | TRADE SIZE |  | CRIMPING RANGE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR INSULATED LUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060243074 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060243074 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | CRIMPING TOOL,HYDRAULIC,CODE CYO-510B,50 | CRIMPING TOOL,HYDRAULIC,CODE CYO-510B,50 TO 400 MM SQ CABLE,COMPLETE WITH DIE SET,ROTABLE HEAD 180 DEGREES | CYO-510B |  |  | https://www.cabac.com.au/p/tools-and-equipment/hydraulic-tools/crimpers/cyo-510b |  |  | CYO-510B | [11 empty] | ENRICHED | CRIMPER | NO MODIFIER | TYPE | HYDRAULIC TOOL | TRADE SIZE |  | CRIMPING RANGE | 50-400 MM | MATERIAL |  | SIZE | LG 660 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SQ CABLE, C/W DIE SET, ROTABLE HEAD 180 DEGREES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060234434 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060234434 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | DIE,CRIMPER,10-16MM | CRIMPER, DIE, HYCP185, HEX 10-16MM H1851016D, BW01050 |  |  |  | https://www.hellermanntyton.co.za/products/crimpers/h1851016d/911-01054 |  |  | H1851016D |  |  | BW01050 |  |  |  | HYCP185 |  |  |  |  | CLEANSED | DIE | NO MODIFIER | TYPE | HEX CRIMPER | SIZE | 10-16 MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060234435 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060234435 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | DIE,CRIMPER,25-35MM | CRIMPER, DIE, HYCP185, HEX 25-35MM H1851016D, BW0155 |  |  |  | https://www.hellermanntyton.co.za/binaries/content/assets/downloads/za/tools--instruments-2018/tools.pdf |  |  | H1852535D |  |  | BW0155 |  |  |  | HYCP185 |  |  |  |  | CLEANSED | DIE | NO MODIFIER | TYPE | HEX CRIMPER | SIZE | 25-35 MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060234436 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060234436 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | DIE,CRIMPER,50-70MM | CRIMPER, DIE, HYCP185, HEX 25-35MM H1851016D, BW0160 |  |  |  | https://www.hellermanntyton.co.za/binaries/content/assets/downloads/za/tools--instruments-2018/tools.pdf |  |  | H1852535D |  |  | BW0160 |  |  |  | HYCP185 |  |  |  |  | CLEANSED | DIE | NO MODIFIER | TYPE | HEX CRIMPER | SIZE | 25-35 MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060161118 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-11 |  | 000000000060161118 | BHP1 | BHP Spares & Supplies | 771000 | Environmental management | PAK | MAN2 | CUSHION, 10 PER PACKET, DRIZIT | CUSHION, 10 PER PACKET, DRIZIT P/N DR00021 | DR00021 | 0019000000 | 1069 | https://drizit.com/absorbents/drizit-oil-absorbent/ |  | DRIZIT | DR00021 | [11 empty] | CLEANSED | CUSHION | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY: 10 PER PACKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed