## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060255978 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255978 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,FRICTION,10X8X1650MM | BELT FRICTION, 10X8X1650MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BELT | V | TYPE | FRICTION | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH | 1.65M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 10 MM | OVERALL HEIGHT | 8 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060255976 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255976 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,FRICTION,13X10X1400MM | BELT FRICTION, 13X10X1400MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BELT | V | TYPE | FRICTION | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH | 1.4 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 13 MM | OVERALL HEIGHT | 10 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060255977 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255977 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,FRICTION,13X8X1410MM | BELT FRICTION, 13X8X1410MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BELT | V | TYPE | FRICTION | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH | 1.41 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 13 MM | OVERALL HEIGHT | 8 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060245256 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060245256 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELT,FRICTION,WEDGE,ENVELOPE,VB22NX3000 | BELT,FRICTION,WEDGE,ENVELOPE,VB22NX3000 |  |  |  | https://bmgworld.net/bmg/en/ZAR/All-Categories/Power-Transmission/Drive-Belts/Wedge/VB22NX3000-GATES/p/VB22NX3000+GATES |  |  | VB22NX3000 | [11 empty] | ENRICHED | BELT | V | TYPE | FRICTION,WEDGE,ENVELOPE | NUMBER OF RIBS |  | BELT SECTION SIZE | SPC | OUTSIDE LENGTH | 3 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 22 MM | OVERALL HEIGHT | 18 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060253765 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253765 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,FRICTION,WEDGEENVSPZ,10X8X1650MM | BELT, FRICTION, WEDGE ENVELOPE SPZ, 10X8X1650MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BELT | V | TYPE | FRICTION,WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | SPZ | OUTSIDE LENGTH | 1.65 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 10 MM | OVERALL HEIGHT | 8 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060253763 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253763 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,FRICTION,WEDGESPA,13X10X1400MM | BELT, FRICTION, WEDGE SPA, 13X10X1400MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BELT | V | TYPE | FRICTION,WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | SPA | OUTSIDE LENGTH | 1.4 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 13 MM | OVERALL HEIGHT | 10 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060237951 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060237951 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELT,VEE,16NX3340 | BELT VEE 16N X 3340 |  |  |  | https://shop.bearings.co.za/v-wedge-belts/5352-5352-16nx3340opt-16nx3340-wedge-belt-16n-spb.html |  |  | 16NX3340 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | SPB | OUTSIDE LENGTH | 3.34 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060250075 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060250075 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,VEE,SPA1310,VEE-BELT | BELT,VEE,SPA1310,VEE-BELT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE | SPA | OUTSIDE LENGTH | 1.31 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060245014 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060245014 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BELT,VEE,SPC,22X3550 | BELT, VEE, SPC, 22X3550 |  |  |  | https://in.rsdelivers.com/product/optibelt/spc-3350-rp/optibelt-drive-belt-belt-section-spc-3350mm-length/1780746 |  |  | SPC 3350 | [11 empty] | ENRICHED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE | SPC | OUTSIDE LENGTH | 3.55 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 22 MM | OVERALL HEIGHT | 18 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060235484 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060235484 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,WEDGE,SPB1900,VEE-BELT | BELT,WEDGE,SPB1900,VEE-BELT |  |  |  | https://in.rsdelivers.com/product/optibelt/spb-1900/optibelt-drive-belt-belt-section-spb-1900mm-length/1367288 |  |  | SPB 1900 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | SPB | OUTSIDE LENGTH | 1.9 M | MATERIAL | RUBBER | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16.3 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060235483 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060235483 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,WEDGE,SPB2530,VEE-BELT | BELT,WEDGE,SPB2530,VEE-BELT |  |  |  | https://in.rsdelivers.com/product/optibelt/spb-2530/optibelt-drive-belt-belt-section-spb-2530mm-length/1448911 |  |  | SPB 2530 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | SPB | OUTSIDE LENGTH | 2.53 M | MATERIAL | RUBBER | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16.3 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060248496 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248496 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,WEDGE,SPB2680,VEE-BELT | BELT,WEDGE,SPB2680,VEE-BELT |  |  |  | https://in.rsdelivers.com/product/optibelt/spb-2680/optibelt-drive-belt-belt-section-spb-2680mm-length/1448913 |  |  | SPB 2680 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | SPB | OUTSIDE LENGTH | 2.68 M | MATERIAL | RUBBER | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 16.3 MM | OVERALL HEIGHT | 13 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060239118 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060239118 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | BELT,WEDGE,SPC7500,VEE-BELT | BELT,WEDGE,SPC7500,VEE-BELT |  |  |  | https://in.rsdelivers.com/product/gates/spc7500-superhc/gates-drive-belt-belt-section-spc-7500mm-length/2117177 |  |  | SPC 7500 | [11 empty] | ENRICHED | BELT | V | TYPE | WEDGE | NUMBER OF RIBS |  | BELT SECTION SIZE | SPC | OUTSIDE LENGTH | 7.5 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 22 MM | OVERALL HEIGHT | 18 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060255246 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255246 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | EA | MAN2 | VEE BELT,SPC 3350,EA | VEE BELT,SPC 3350,EACH |  |  |  | https://in.rsdelivers.com/product/optibelt/spc-3350-rp/optibelt-drive-belt-belt-section-spc-3350mm-length/1780746 |  |  | SPC 3350 | [11 empty] | ENRICHED | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE | SPC | OUTSIDE LENGTH | 3.35 M | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH | 22 MM | OVERALL HEIGHT | 18 MM | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060235749 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060235749 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BULB,H4,12V,55W | BULB, H4, 12V, 55W |  | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  |  | H4 |  | ELECTRO DIESEL | [9 empty] | CLEANSED | LAMP | INCANDESCENT | TYPE | HALOGEN | WATTAGE | 55 W | VOLTAGE RATING | 12 V | SHAPE DESIGNATION |  | BASE TYPE |  | COLOUR |  | LAMP LIFE |  | SIZE |  | INTENSITY |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060235754 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060235754 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BULB,P21W,12V,SINGLE,CONTACT | BULB, P21W, 12V, SINGLE, CONTACT |  | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  |  | P21W |  | ELECTRO DIESEL | [9 empty] | CLEANSED | LAMP | INCANDESCENT | TYPE | SINGLE CONTACT,HALOGEN | WATTAGE | 21 W | VOLTAGE RATING | 12 V | SHAPE DESIGNATION |  | BASE TYPE |  | COLOUR |  | LAMP LIFE |  | SIZE |  | INTENSITY |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060235756 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060235756 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BULB,P21W,5W,12V,DOUBLE,CONTACT | BULB, P21W, 5W, 12V, DOUBLE, CONTACT |  | 0019011367 | ELECTRO DIESEL | https://www.lazada.com.ph/products/bosch-standard-bulb-double-contact-p21-5w-12v-21w-5w-10pcs-i593444956-s1625884111.html?spm=a2o4l.tm80167379.5934338580.1.310324bcYDczn0.310324bcYDczn0&priceCompare=skuId%3A1625884111%3Bsource%3Alazada-om%3Bsn%3A6e9aa5fb-c39c-4898-86fb-1d841c1adf0d%3BoriginPrice%3A30000%3BvoucherPrice%3A30000%3Btimestamp%3A1668148045877 |  |  | P21W |  | ELECTRO DIESEL | [9 empty] | CLEANSED | LAMP | INCANDESCENT | TYPE | DOUBLE CONTACT | WATTAGE | 5 W | VOLTAGE RATING | 12 V | SHAPE DESIGNATION |  | BASE TYPE |  | COLOUR |  | LAMP LIFE |  | SIZE |  | INTENSITY |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060226150 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060226150 | BHP1 | BHP Spares & Supplies | 461516 | Security and control equipment | EA | MAN2 | CABLE MYLAR 2-PAIR | CABLE MYLAR 2-PAIR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS | 2 PAIR | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | MYLAR | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 PAIR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026130 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026130 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE, 1.5 SQMM, 1 CORE, BLACK, 600/1000 | CABLE, 1.5 SQMM, 1 CORE, BLACK, 600/1000V, PVC INSULATED, STRANDED, COPPER CONDUCTOR, FIXED INSTALLATION TYPE, TO SABS 1507, 100 METR, E ROLL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL |  | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 100 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1507 | ADDITIONAL FEATURES EN | FIXED INSTALLATION TYPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026164 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026164 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, 1.5 SQMM, 12 CORE, FLAT, 300/500V | CABLE, 1.5 SQMM, 12 CORE, FLAT, 300/500V, EPR INSULATED, CR SHEATHED, FLEXIBLE STRANDED COPPER CONDUCTORS, TO VDE 0250 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | FLAT | TYPE | ELECTRICAL | NUMBER OF WAYS | 12 | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE | 1.5 MM2 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE STRANDED COPPER | PITCH |  | SHEATH MATERIAL | CR | SHEATH COLOUR |  | VOLTAGE RATING | 300/500 V | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | VDE 0250 | ADDITIONAL FEATURES EN | INSULATION MATERIAL:EPR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060125495 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060125495 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, 1.5 SQMM, 20 CORE, 600/1000V, PVC | CABLE, 1.5 SQMM, 20 CORE, 600/1000V, PVC INSULATED, PVC BEDDED, FLAME RETARDANT PVC SHEATHED, STRANDED COPPER CONDUCTORS, C/W 2 STEE, L CORES, PENDANT TYPE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 20 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL | FLAME RETARDANT PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL | PVC | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 2 STEEL CORE,PENDANT TYPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060095685 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060095685 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE, 1.5 SQMM, 3 CORE & EARTH, WHITE, | CABLE, 1.5 SQMM, 3 CORE & EARTH, WHITE, 300/500V, PVC INSULATED, UV RESISTANT ALUMINIUM SHEATHED, SOLID COPPER CONDUCTORS, FIXED INS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 300/500 V | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL | SOLID COPPER | JACKET MATERIAL | UV RESISTANT ALUMINIUM | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ EARTH,FIXED INSTALLATION TYPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026055 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026055 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, 16 SQMM, 4 CORE, 300/500V, SILICO | CABLE, 16 SQMM, 4 CORE, 300/500V, SILICONE RUBBER INSULATED, SILICONE, RUBBER SHEATHED, 250 DEG C, FLEXIBLE STRANDED COPPER CONDUCTOR, S, TO SABS 1574 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 300/500 V | CURRENT RATING |  | CONDUCTOR SIZE | 16 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE STRANDED COPPER | JACKET MATERIAL | SILICON RUBBER | INSULATION MATERIAL | SILICON RUBBER | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1574 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026073 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026073 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE, 2.5 SQMM, 1 CORE, WHITE, 300/500V | CABLE, 2.5 SQMM, 1 CORE, WHITE, 300/500V, PVC INSULATED, FLEXIBLE, STRANDED COPPER CONDUCTOR, TO SABS 1574 TYPE P1, 100 METRE ROLL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 300/500 V | CURRENT RATING |  | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE STRANDED COPPER | JACKET MATERIAL |  | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 100 M | JACKET COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE P1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060125488 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060125488 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE, 2.5 SQMM, 4 CORE, 600/1000V, PVC | CABLE, 2.5 SQMM, 4 CORE, 600/1000V, PVC INSULATED, PVC BEDDED, SWA, FLAME RETARDANT PVC SHEATHED, STRANDED COPPER CONDUCTORS, FIXED, INSTALLATION TYPE, TO SABS 1507, 500 METRE ROLL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL | FLAME RETARDANT PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL | PVC | ARMOR TYPE | STEEL WIRE | TEMPERATURE RATING |  | LENGTH | 500 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1507 | ADDITIONAL FEATURES EN | FIXED INSTALLATION TYPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060125493 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060125493 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE, 2.5 SQMM, 7 CORE, 600/1000V, PVC | CABLE, 2.5 SQMM, 7 CORE, 600/1000V, PVC INSULATED, PVC BEDDED, SWA, FLAME RETARDANT PVC SHEATHED, STRANDED COPPER CONDUCTORS, FIXED, INSTALLATION TYPE, TO SABS 1507, 500 METRE ROLL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS | 7 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL | FLAME RETARDANT PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL | PVC | ARMOR TYPE | STEEL WIRE | TEMPERATURE RATING |  | LENGTH | 500 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1507 | ADDITIONAL FEATURES EN | FIXED INSTALLATION TYPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060125459 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060125459 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, 4 SQMM, 4 CORE, 600/1000V, SILICO | CABLE, 4 SQMM, 4 CORE, 600/1000V, SILICONE RUBBER INSULATED, SILICONE RUBBER SHEATHED, 250 DEG C, FLEXIBLE STRANDED COPPER CONDUCTOR, S, TO SABS 1574 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 4 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE STRANDED COPPER | JACKET MATERIAL | SILICON RUBBER | INSULATION MATERIAL | SILICON RUBBER | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 250 DEG C | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1574 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026156 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026156 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, 4 SQMM, 4 CORE, FLAT, 300/500V, E | CABLE, 4 SQMM, 4 CORE, FLAT, 300/500V, EPR INSULATED, CR SHEATHED,, FLEXIBLE STRANDED COPPER CONDUCTORS, TO VDE 0250 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | FLAT | TYPE | ELECTRICAL | NUMBER OF WAYS | 4 | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE | 4 MM2 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE STRANDED COPPER | PITCH |  | SHEATH MATERIAL | CR | SHEATH COLOUR |  | VOLTAGE RATING | 300/500 V | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | VDE 0250 | ADDITIONAL FEATURES EN | INSULATION MATERIAL:EPR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060026160 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026160 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE, 4 SQMM, 7 CORE, FLAT, 300/500V, E | CABLE, 4 SQMM, 7 CORE, FLAT, 300/500V, EPR INSULATED, CR SHEATHED, FLEXIBLE STRANDED COPPER CONDUCTORS, TO VDE 0250 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | FLAT | TYPE | ELECTRICAL | NUMBER OF WAYS | 7 | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE | 4 MM2 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE STRANDED COPPER | PITCH |  | SHEATH MATERIAL | CR | SHEATH COLOUR |  | VOLTAGE RATING | 300/500 V | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | VDE 0250 | ADDITIONAL FEATURES EN | INSULATION MATERIAL:EPR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060026270 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026270 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE, 95 SQMM, 3 CORE, 6.35/11KV, XLPE | CABLE, 95 SQMM, 3 CORE, 6.35/11KV, XLPE INSULATED, INDIVIDUALLY SCREENED CORES, SWA, FLAME RETARDANT PVC SHEATHED, STRANDED COPPER C |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 6.35/11 KV | CURRENT RATING |  | CONDUCTOR SIZE | 95 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL | FLAME RETARDANT PVC | INSULATION MATERIAL | XLPE | FILLER MATERIAL |  | ARMOR TYPE | STEEL WIRE | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INDIVIDUALLY SCREENED CORES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026286 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026286 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE, 95 SQMM, 3 CORE, 6.35/11KV, XLPE | CABLE, 95 SQMM, 3 CORE, 6.35/11KV, XLPE INSULATED, INDIVIDUALLY, SCREENED CORES, SWA, LOW HALOGEN FLAME RETARDANT PVC SHEATHED, STRAN, DED COPPER CONDUCTORS, TO SABS 1339 TYPE A, 300 METRE ROLL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 6.35/11 KV | CURRENT RATING |  | CONDUCTOR SIZE | 95 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL | LOW HALOGEN FLAME RETARDANT PVC | INSULATION MATERIAL | XLPE | FILLER MATERIAL |  | ARMOR TYPE | STEEL WIRE | TEMPERATURE RATING |  | LENGTH | 300 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1339 | ADDITIONAL FEATURES EN | INDIVIDUALLY SCREENED CORES,TYPE A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026111 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026111 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE, CABTYRE, 1 SQMM, 2 CORE, BLACK, C | CABLE, CABTYRE, 1 SQMM, 2 CORE, BLACK, CIRCULAR, 300/500V, PVC, INSULATED, PVC SHEATHED, FLEXIBLE STRANDED COPPER CONDUCTORS, TO SABS, 1574 TYPE P5, 100 METRE ROLL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | CABTYRE | VOLTAGE RATING | 300/500 V | CURRENT RATING |  | CONDUCTOR SIZE | 1 MM2 | NUMBER OF CONDUCTORS | 2 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE STRANDED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 100 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1574 | ADDITIONAL FEATURES EN | TYPE P5,SHAPE:CIRCULAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026360 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026360 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE, TRAILING, 4 SQMM, 4 CORE, 450/750 | CABLE, TRAILING, 4 SQMM, 4 CORE, 450/750V, EPM INSULATED, CR SHEATHED, FLEXIBLE TINNED STRANDED COPPER CONDUCTORS, TO HARMONIZED SPE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 450/750 V | CURRENT RATING |  | CONDUCTOR SIZE | 4 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE TINNED STRANDED COPPER | JACKET MATERIAL | CR | INSULATION MATERIAL | EPM | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TO HARMONIZED SPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060026222 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026222 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE,120 SQMM,4 CORE,600/1000V,PVC | CABLE, 120 SQMM, 4 CORE, 600/1000V, PVC INSULATED, PVC BEDDED, SWA, LOW HALOGEN FLAME RETARDANT PVC SHEATHED, STRANDED COPPER CONDUC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 120 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL | LOW HALOGEN FLAME RETARDANT PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL | PVC | ARMOR TYPE | STEEL WIRE | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060245622 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060245622 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | M | MAN2 | CABLE,12-PAIR,TWISTED,INSTRUMENTATION,M | CABLE,12-PAIR,TWISTED,INSTRUMENTATION,M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | INSTRUMENT | TYPE | TWISTED | DIAMETER |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS | 12 PAIR | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060026225 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060026225 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE,185 SQMM,4 CORE,600/1000V,PVC | CABLE, 185 SQMM, 4 CORE, 600/1000V, PVC INSULATED, PVC BEDDED, SWA, LOW HALOGEN FLAME RETARDANT PVC SHEATHED, STRANDED COPPER CONDUC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 185 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL | LOW HALOGEN FLAME RETARDANT PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL | PVC | ARMOR TYPE | STEEL WIRE | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060164783 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060164783 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | M | MAN2 | CABLE,ELECTRICAL,2.5 SQUARE MM,12 COR | CABLE, ELECTRICAL: 2.5 SQUARE MM, 12 CORE, FLAT, 300/500V, EPR INSULATED, CR SHEATED, FLEXIBLE STRANDED COPPER CONDUCTORS, TO VDE 02 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | FLAT | TYPE | ELECTRICAL | NUMBER OF WAYS | 12 | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE | 2.5 MM2 | CORE STRANDS |  | CONDUCTOR MATERIAL | FLEXIBLE TINNED STRANDED COPPER | PITCH |  | SHEATH MATERIAL | CR | SHEATH COLOUR |  | VOLTAGE RATING | 300/500 V | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | VDE 0250 | ADDITIONAL FEATURES EN | INSULATION MATERIAL:EPR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060240372 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060240372 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | ROL | MAN2 | CABLE,INSTRUMENTATION,1 PAIR,TWISTED,ROL | CABLE, INSTRUMENTATION, 1 PAIR, TWISTED, ROL OF 500 METER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | INSTRUMENT | TYPE | TWISTED | DIAMETER |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS | 1 PAIR | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH | 500 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060255527 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255527 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CABLE,REEFLEX,25MMX250AMP,4MTR | CABLE,REEFLEX,25MMX250AMP,4MTR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | REFLEX | VOLTAGE RATING |  | CURRENT RATING | 250 A | CONDUCTOR SIZE | 25 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 4 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060241011 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060241011 | BHP1 | BHP Spares & Supplies | 232100 | Electronic manufacturing machinery,equipment and accessories | M | MAN2 | CABLE,SILICONE,1.5MM x 4CORE,M | CABLE, SILICONE, 1.5MM x 4CORE ,SAVEWAY |  |  |  | URL NOT FOUND |  | SAVEWAY | [12 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | SILICONE | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060254583 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254583 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | M | MAN2 | CABLE,SUBMERSIBLE,1.5M,4CORE | CABLE, SUBMERSIBLE, 1.5M, 4CORE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | SUBMERSIBLE | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060233375 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233375 | BHP1 | BHP Spares & Supplies | 261200 | Electrical wire, cable and harness | EA | MAN2 | CABLE/10,SOLAR,6MM,BLACK | 6MM , BLACK , SOLAR , CABLE/10 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | SOLAR | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 6 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 10 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060233376 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233376 | BHP1 | BHP Spares & Supplies | 261200 | Electrical wire, cable and harness | EA | MAN2 | CABLE/10,SOLAR,6MM,RED | 6MM , RED , SOLAR , CABLE/10 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | SOLAR | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 6 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 10 M | JACKET COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060176679 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060176679 | BHP1 | BHP Spares & Supplies | 261200 | Electrical wire, cable and harness | EA | MAN2 | SURFEX 1.5MM 4CORE PER METRE | SURFEX 1.5MM 4CORE PER METRE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | SURFIX | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060233700 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060233700 | BHP1 | BHP Spares & Supplies | P1545 | Electric fittings, lamps fuses, batteries, | EA | MAN2 | SURFIX,1.5MMX2CRE-E,WHITE/100M | 1.5MMX2CRE-E, SURFIX, WHITE/100M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | SURFIX | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 2 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 100 M | JACKET COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060255912 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255912 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | M | MAN2 | SURFIX,4,CORE,E,BLACK,1.5MM,10M | SURFIX, 4, CORE, E, BLACK,1.5MM,10M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | SURFIX | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 10 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060134031 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060134031 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | FESICR Casing | #N/A |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CASING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | FESICR | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060232208 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060232208 | BHP1 | BHP Spares & Supplies | 521315 | Curtains and draperies | EA | MAN2 | CURTAIN,TAPED,LINED,230X218,ASSORTED,COL | TAPED, LINED, CURTAIN, 230X218, ASSORTED, COLOUR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CURTAIN | NO MODIFIER | TYPE | TAPED LINED | SIZE | WD 218 X LG 230 MM | COLOUR | ASSORTED | MATERIAL |  | HANGING STYLE |  | DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060232210 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060232210 | BHP1 | BHP Spares & Supplies | 521315 | Curtains and draperies | EA | MAN2 | CURTAIN,TAPED,SHEER,230X218,ASSORTED,COL | TAPED, SHEER, CURTAIN, 230X218, ASSORTED, COLOUR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CURTAIN | NO MODIFIER | TYPE | TAPED SHEER | SIZE | WD 218 X LG 230 MM | COLOUR | ASSORTED | MATERIAL |  | HANGING STYLE |  | DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060249592 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060249592 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | EARTH LEAKAGE, 63A, 3 PHASE, 4 POLE | EARTH LEAKAGE, 63A, 3 PHASE, 4 POLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BREAKER | EARTH LEAKAGE | TYPE |  | LEAKAGE CURRENT |  | VOLTAGE RATING |  | NUMBER OF POLES | 4 | CURRENT RATING | 63 A | INTERRUPT RATING |  | MOUNTING METHOD |  | CURVE |  | DIMENSIONS |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF PHASE:3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060246996 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246996 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | EARTH,LEAKAGE,63A,3P,N,30MA,BO0002 | EARTH,LEAKAGE,63A,3P,N,30MA,BO0002 |  |  |  | URL NOT FOUND |  |  | BO0002 | [11 empty] | CLEANSED | BREAKER | EARTH LEAKAGE | TYPE |  | LEAKAGE CURRENT | 30 MA | VOLTAGE RATING |  | NUMBER OF POLES | 3P+N | CURRENT RATING | 63 A | INTERRUPT RATING |  | MOUNTING METHOD |  | CURVE |  | DIMENSIONS |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF PHASE:3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060246997 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246997 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | EARTH,LEAKAGE,80A,3P,N,30MA,BO0002 | EARTH,LEAKAGE,80A,3P,N,30MA,BO0002 |  |  |  | URL NOT FOUND |  |  | BO0002 | [11 empty] | CLEANSED | BREAKER | EARTH LEAKAGE | TYPE |  | LEAKAGE CURRENT | 30 MA | VOLTAGE RATING |  | NUMBER OF POLES | 3P+N | CURRENT RATING | 80 A | INTERRUPT RATING |  | MOUNTING METHOD |  | CURVE |  | DIMENSIONS |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF PHASE:3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060246103 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246103 | BHP1 | BHP Spares & Supplies | 901017 | Cafeteria services | EA | MAN2 | FILTER PAPER 506,1000 | FILTER PAPER 506,1000 |  |  |  | https://www.peacockteaandcoffee.co.za/product/machines/filters-2/filter-papers-506-1000/ |  |  | 506 | [11 empty] | CLEANSED | PAPER | FILTER | TYPE |  | SHAPE |  | FILTRATION RATE |  | POROSITY |  | SIZE |  | THICKNESS |  | DENSITY |  | MATERIAL |  | COLOUR |  | TEMPERATURE RATING |  | FLOW RATE/PARTICLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:1000 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060231893 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060231893 | BHP1 | BHP Spares & Supplies | 401615 | Filters | EA | MAN2 | WATER,FILTER,CLARIS WHITE | WATER FILTER CLARIS WHITE |  |  |  | URL NOT FOUND |  | CLARIS | [12 empty] | CLEANSED | FILTER | FLUID | TYPE |  | MEDIUM | WATER | CONNECTION METHOD |  | MICRON |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:WHITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060245041 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060245041 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | KAN | MAN2 | FILLER,FOAM MTS 500ML | FILLER, FOAM MTS 500ML |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FOAM | NO MODIFIER | TYPE | MTS FILLER | TRADE NAME |  | MATERIAL |  | CONTAINER | 500 ML | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060249654 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060249654 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | FRIDGE, BAR, 93L, DEFY | FRIDGE, BAR, 93L, DEFY, METALLIC |  |  |  | URL NOT FOUND |  | DEFY | [12 empty] | CLEANSED | REFRIGERATOR | NO MODIFIER | TYPE | BAR | CAPACITY | 93 L | SIZE |  | FREEZER TEMPERATURE RANGE |  | NUMBER OF DOORS |  | COLOUR |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | FREQUENCY RATING |  | TEMPERATURE RANGE |  | CFC FREE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL:METALLIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060232259 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060232259 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | FRIDGE,BAR,91L,WHITE,HISENSE | FRIDGE,BAR,91L,WHITE,HISENSE |  |  |  | URL NOT FOUND |  | HISENSE | [12 empty] | CLEANSED | REFRIGERATOR | NO MODIFIER | TYPE | BAR | CAPACITY | 91 L | SIZE |  | FREEZER TEMPERATURE RANGE |  | NUMBER OF DOORS |  | COLOUR | WHITE | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | FREQUENCY RATING |  | TEMPERATURE RANGE |  | CFC FREE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060244233 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060244233 | BHP1 | BHP Spares & Supplies | 520000 | Furniture, Furnishings, Domestic Appliances and Consumer Ele | EA | MAN2 | FRIDGE,FREEZER COMBI,288L,EA | FRIDGE FREEZER COMBINATION, 288 LITERS, WITH WATER DISPENSER, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | REFRIGERATOR | NO MODIFIER | TYPE | FREEZER | CAPACITY | 288 L | SIZE |  | FREEZER TEMPERATURE RANGE |  | NUMBER OF DOORS |  | COLOUR |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | FREQUENCY RATING |  | TEMPERATURE RANGE |  | CFC FREE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMBINATION,W/ WATER DISPENSER,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060254419 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254419 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | FRIDGE,FREEZER,COMBINED,165L,SILVER,EA | FRIDGE, FREEZER, COMBINED, 165L, SILVER, HISENSE, EACH |  |  |  | URL NOT FOUND |  | HISENSE | [12 empty] | CLEANSED | REFRIGERATOR | NO MODIFIER | TYPE | FREEZER | CAPACITY | 165 L | SIZE |  | FREEZER TEMPERATURE RANGE |  | NUMBER OF DOORS |  | COLOUR | SILVER | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | FREQUENCY RATING |  | TEMPERATURE RANGE |  | CFC FREE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMBINED,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060249125 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060249125 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | FRIDGE,FREEZER,DEFY,225LITER,MODEL,D225 | FRIDGE,FREEZER,DEFY,225LITER,MODEL,D225 |  |  |  | https://www.my.na/product/15178/defy-fridge-d225-metallic-brand-new-unpacked/ |  | DEFY |  | D225 | [10 empty] | CLEANSED | REFRIGERATOR | NO MODIFIER | TYPE | FREEZER | CAPACITY | 225 L | SIZE |  | FREEZER TEMPERATURE RANGE |  | NUMBER OF DOORS |  | COLOUR |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | FREQUENCY RATING |  | TEMPERATURE RANGE |  | CFC FREE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060238310 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060238310 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | HOOK,PROSTAR,1TON | HOOK, PROSTAR, 1TON, |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | HOOK | NO MODIFIER | TYPE | PROSTAR | LOAD RATING | 1 TON | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060232745 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060232745 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | KEYBOARD,DISPPLAY | KEYBOARD, DISPPLAY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | KEYBOARD | NO MODIFIER | TYPE | DISPLAY | INTERFACE TYPE |  | NUMBER OF KEYS |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060246643 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060246643 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MAGNET,300MMX200MM,C/W,NUM,LOGO | MAGNET,300MMX200MM,C/W,NUM,LOGO |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MAGNET | NO MODIFIER | TYPE |  | PULL RATING |  | FIELD STRENGTH |  | SIZE | WD 200 X LG 300 MM | SHAPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W NUMBER,LOGO | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060253469 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253469 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MAGNET,REFLECTIVE,500X300,RED,ORANGE,AND | MAGNET, REFLECTIVE, 500 X 300 ,RED ,ORANGE, AND, GREEN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MAGNET | NO MODIFIER | TYPE | REFLECTIVE | PULL RATING |  | FIELD STRENGTH |  | SIZE | WD 300 X LG 500 MM | SHAPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:RED,ORANGE AND GREEN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060248069 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248069 | BHP1 | BHP Spares & Supplies | 440000 | Office Equipment, Accessories and Supplies | PAK | MAN2 | MAGNETS,MOULDED,PARROT | MAGNETS, MOULDED, PARROT, (CARD OF 6) |  |  |  | URL NOT FOUND |  | PARROT | [12 empty] | CLEANSED | MAGNET | NO MODIFIER | TYPE | MOULDED | PULL RATING |  | FIELD STRENGTH |  | SIZE |  | SHAPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:CARD OF 6 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060247593 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060247593 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MICROWAVE,28L,SILVER | MICROWAVE,28L,SILVER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | OVEN | NO MODIFIER | TYPE | MICROWAVE | ELECTRICAL RATING |  | CAPACITY | 28 L | TIMING RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | BTU RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:SILVER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060255040 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060255040 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MICROWAVE,42L | MICROWAVE, 42L |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | OVEN | NO MODIFIER | TYPE | MICROWAVE | ELECTRICAL RATING |  | CAPACITY | 42 L | TIMING RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | BTU RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060253297 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253297 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MICROWAVE,INDUSTRIAL,MENUMASTER,1800W | MICROWAVE, INDUSTRIAL, MENUMASTER, 1800W |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | OVEN | NO MODIFIER | TYPE | MICROWAVE,INDUSTRIAL | ELECTRICAL RATING | 1800 W | CAPACITY |  | TIMING RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | BTU RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:MENUMASTER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060240532 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060240532 | BHP1 | BHP Spares & Supplies | 301031 | Rails | EA | MAN2 | RAIL,48 KG,6M,EA | RAIL, 48 KG, 6M, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RAIL | RAILWAY | TYPE |  | WIDTH |  | LENGTH | 6 M | HEIGHT |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WEIGHT:48 KG,EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060254341 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254341 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SPIGOT,SP075/45 | SPIGOT, SP075/45 |  |  |  | URL NOT FOUND |  |  | SP075/45 | [11 empty] | CLEANSED | SPIGOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060248960 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060248960 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SPIGOT,SP120/60 | SPIGOT,SP120/60 |  |  |  | URL NOT FOUND |  |  | SP120/60 | [11 empty] | CLEANSED | SPIGOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060238147 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060238147 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | GRABSTICK,PROXY,1.1M | PROXY,GRABSTICK,1.1M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STICK | NO MODIFIER | TYPE | GRAB | SIZE | 1.1 M | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROXY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060238148 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060238148 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | GRABSTICK,PROXY,2M | PROXY,GRABSTICK,2M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STICK | NO MODIFIER | TYPE | GRAB | SIZE | 2 M | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROXY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060254668 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060254668 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TONER,BLACK,85A,LASERJET,CE285A, | TONER, BLACK, 85A, LASERJET, CE285A, |  |  |  | https://www.hp.com/in-en/shop/hp-85a-black-original-laserjet-toner-cartridge-ce285a.html |  | HP | CE285A | 85A | [10 empty] | ENRICHED | CARTRIDGE | TONER | TYPE | LASERJET | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 1600 PAGES | DIMENSIONS | WD 375 X DP 113 X HT 125 MM | COMPATIBLE HARDWARE | HP LASERJET PRO P1100 PRINETER SERIES,HP LASERJET PRO M1130 AND M1210 MFP SERIES | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OPERATING TEMPERATURE RANGE:10-32.5 DEG C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060247355 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060247355 | BHP1 | BHP Spares & Supplies | 440000 | Office Equipment, Accessories and Supplies | EA | MAN2 | TONER,BLACK,CF410A,HP410A | TONER,BLACK,CF410A,HP410A |  |  |  | https://www.hp.com/us-en/shop/pdp/hp-410a-black-original-laserjet-toner-cartridge |  | HP | CF410A | HP410A | [10 empty] | ENRICHED | CARTRIDGE | TONER | TYPE | LASERJET | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 2300 PAGES | DIMENSIONS | WD 14.29 X DP 4.02 X HT 4.84 IN | COMPATIBLE HARDWARE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO/IEC 19798 | ADDITIONAL FEATURES EN | OPERATING TEMPERATURE RANGE:50-90.8 DEG C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060253496 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060253496 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TONER,CF283A,BLACK | TONER, CF283A, BLACK |  |  |  | https://www.hp.com/us-en/shop/pdp/hp-83a-black-original-laserjet-toner-cartridge |  | HP | CF283A | [11 empty] | ENRICHED | CARTRIDGE | TONER | TYPE | LASERJET | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 1500 PAGES | DIMENSIONS | WD 14.76 X DP 4.45 X HT 4.92 IN | COMPATIBLE HARDWARE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO/IEC 19752 | ADDITIONAL FEATURES EN | OPERATING TEMPERATURE RANGE:59-77 DEG F | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060247356 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060247356 | BHP1 | BHP Spares & Supplies | 440000 | Office Equipment, Accessories and Supplies | EA | MAN2 | TONER,CYAN,CF411A,HP410A | TONER,CYAN,CF411A,HP410A |  |  |  | https://www.hp.com/in-en/shop/hp-cf411a-cyan-original-laserjet-toner-cartridge.html |  | HP | CF411A | HP410A | [10 empty] | ENRICHED | CARTRIDGE | TONER | TYPE | LASERJET | COLOUR | CYAN | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 2300 PAGES | DIMENSIONS | WD 363 X DP 102 X HT 123 MM | COMPATIBLE HARDWARE | HP LASERJET PRO M452 PRINETER SERIES,HP COLOR LASERJET PRO MFP M477 SERIES | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OPERATING TEMPERATURE RANGE:10-32.5 DEG C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060247348 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060247348 | BHP1 | BHP Spares & Supplies | 440000 | Office Equipment, Accessories and Supplies | EA | MAN2 | TONER,MAGENTA,CF413A,HP410A | TONER,MAGENTA,CF413A,HP410A |  |  |  | https://www.hp.com/us-en/shop/pdp/hp-410a-magenta-original-laserjet-toner-cartridge |  | HP | CF413A | HP410A | [10 empty] | ENRICHED | CARTRIDGE | TONER | TYPE | LASERJET | COLOUR | MAGENTA | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 2300 PAGES | DIMENSIONS | WD 14.29 X DP 4.02 X HT 4.84 IN | COMPATIBLE HARDWARE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO/IEC 19798 | ADDITIONAL FEATURES EN | OPERATING TEMPERATURE RANGE:50-90.5 DEG F | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060240352 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060240352 | BHP1 | BHP Spares & Supplies | 241220 | Bottles | EA | MAN2 | TRAP,BOTTLE,ACID RESISTANT,5X40X40MM | TRAP,BOTTLE,ACID RESISTANT,5X40X40MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BOTTLE | NO MODIFIER | TYPE | TRAP,ACID RESISTANT | CAPACITY |  | MATERIAL |  | SIZE | 5 X 40 X 40 MM | LID TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060242545 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-09 |  | 000000000060242545 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | TRAP,BOTTLE,UNIVERSAL,50MM | BOTTLE , TRAP , UNIVERSAL , 50MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BOTTLE | NO MODIFIER | TYPE | TRAP,UNIVERSAL | CAPACITY |  | MATERIAL |  | SIZE | 50 MM | LID TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED