## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060145124 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060145124 | BHP1 | BHP Spares & Supplies | 271121 | Holding and clamping tools | EA | MAN2 | PLIERS:SLIP JOINT, 300MM, WATERPUMP TYPE | PLIERS:SLIP JOINT, 300MM, WATERPUMP TYPE, CRESCENT | R212C | 0019000077 | HAND TOOLS | https://www.engineersmate.com/products/R212CV-Tongue-Groove-Joint-Multi-Pliers-300mm---64mm-Capacity/P104574 |  | CRESCENT | R212C | [11 empty] | ENRICHED | PLIERS | NO MODIFIER | TYPE | SLIP JOINT | CAPACITY | 64 MM | JAW LENGTH |  | JAW WIDTH | 63 MM | JAW TYPE | WATERPUMP | OVERALL LENGTH | 300 MM | MATERIAL |  | COATING/FINISH |  | HANDLE TYPE |  | HANDLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060238313 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060238313 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | EA | MAN2 | FOOTPUMP,GREASE,FOOTPUMP | FOOTPUMP, GREASE, FOOTPUMP, 10KG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | LUBE | TYPE | FOOT | INLET SIZE |  | OUTLET SIZE |  | FLOW RATING |  | DISCHARGE RATING |  | STROKE |  | PUMPING RATIO |  | SUCTION PRESSURE |  | DISCHARGE PRESSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GREASE,WAIGHT:10KG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060254593 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060254593 | BHP1 | BHP Spares & Supplies | 201427 | Pumping units | EA | MAN2 | HYDRAULIC, ENERPAC, ELECTRIC, PUMP, PUD1 | HYDRAULIC, ENERPAC, ELECTRIC, PUMP, PUD1300D/E | PUD1300D/E | 0019011819 | Unknown | https://www.enerpac.com/en-us/pumps-and-power-units/electric-pump-economy/PUD1300E |  | ENERPAC | PUD1300D/E | [11 empty] | ENRICHED | PUMP | HYDRAULIC | TYPE | ELECTRIC | HEAD RANGE |  | POWER RATING |  | FLOW RATING | 0.32 L/M | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE | 700 BAR | DRIVE DETAILS |  | ELECTRICAL RATING | 230 V,9.5 A,50/60 HZ | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060255233 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060255233 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | PERISTALTIC PUMP,PART NO 71000271,EA | PERISTALTIC PUMP, PART NO 71000271, EACH | 71000271 | 0019011819 | Unknown | https://www.volza.com/p/peristaltic-pump/import/import-in-india/hsn-code-8413/ |  |  | 71000271 | [11 empty] | ENRICHED | PUMP | NO MODIFIER | TYPE |  | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PERISTALTIC,PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060245571 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060245571 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP 5.5KW,TSURUME | TSURUME PUMP 5.5KW |  |  |  | URL NOT FOUND |  | TSURUME | [12 empty] | CLEANSED | PUMP | SUBMERSIBLE | TYPE |  | HEAD RANGE |  | POWER RATING | 5.5 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060245570 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060245570 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP 7.5KW,TSURUME | TSURUME PUMP 7.5KW |  |  |  | URL NOT FOUND |  | TSURUME | [12 empty] | CLEANSED | PUMP | SUBMERSIBLE | TYPE |  | HEAD RANGE |  | POWER RATING | 7.5 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060230200 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060230200 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP ASSY,LOADER PUMP,WA500-6 | PUMP ASSEMBLY WA500-6 (LOADER PUMP) | 708-1H-00030 |  |  | https://www.taopparts.com/en/pump/56693-dismantled-komatsu-pump-708-1h-00030-wa500-6-wheel-loader.html |  | KOMATSU CORP | 708-1H-00030 | [5 empty] | WHEEL LOADER | WA500-6 |  |  |  |  | ENRICHED | PUMP | ASSEMBLY | TYPE |  | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060243124 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060243124 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP BUDDY,50MM APEX,BIG BOY | PUMP BUDDY, 50MM APEX, BIG BOY |  |  |  | URL NOT FOUND |  | APEX | [12 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE |  | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060244957 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060244957 | BHP1 | BHP Spares & Supplies | 401500 | Industrial pumps and compressors | EA | MAN2 | PUMP, FLOATATION DEVICE 600KG | PUMP, FLOATATION DEVICE 600KG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE |  | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FLOATATION DEVICE,WEIGHT:600KG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060254659 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060254659 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | EA | MAN2 | PUMP, GREASE, PNEUMATIC, ECODORA, OE6209 | PUMP, GREASE, PNEUMATIC, ECODORA, OE62095, 50:1 RATIO, 1500G\MIN, 6-8 BAR WORKING PRESSURE, 180KG GREASE DRUM, PSP BALL MILL LUBE SY | SY1147 | 0019011819 | Unknown | https://www.ecodora.com/eng/products/automotive/pneumatic-pump/pneumatic-pumps/0e62095 |  | ECODORA | OE62095 |  |  | SY1147 | [8 empty] | ENRICHED | PUMP | RECIPROCATING | TYPE | GREASE | HEAD RANGE |  | FLOW RATING | 1500 G/MIN | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | STROKE |  | PRESSURE RATING | 6-8 BAR | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL | ALUMINIUM | SHAFT MATERIAL | CARBON STEEL | PISTON MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATIO:50:1,180KG GREASE DRUM, FOR PSP BALL MILL LUBE SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060250581 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060250581 | BHP1 | BHP Spares & Supplies | 201427 | Pumping units | EA | MAN2 | PUMP, GRINDEX, BRAVO400,13.5KW,380V | PUMP,GRINDEX BRAVO 400 13.5 KW 380V SLURRY SUMERSIBLE C/W 20M CABLE , AGITATOR AND IMPELLER COATED WITH 0.15MM TUNGSTEN CARBIDE |  |  |  | https://www.grindex.com/en-us/products/slurry-pumps/bravo-400/ |  | GRINDEX BRAVO | 400 | [11 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE | ELECTRICLE SLURRY | HEAD RANGE |  | POWER RATING | 13.5 KW/17 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING | 1755 RPM | DRIVE DETAILS |  | ELECTRICAL RATING | 380 V,230/460/575 V,52/26/21 A | IMPELLER DIAMETER | 595 MM | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING | 40 - 104 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CABLE:20 M , AGITATOR AND IMPELLER COATED WITH 0.15 MM TUNGSTEN CARBIDE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060252670 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060252670 | BHP1 | BHP Spares & Supplies | 201427 | Pumping units | EA | MAN2 | PUMP, SUBMERGED SEWAGE PUMP, VERTICAL SP | PUMP, SUBMERGED SEWAGE PUMP, VERTICAL SPINDLE, MEDIUM WATER 90 DEGREES, 20 CUBIC METRES PER HOUR, 3 KW, HEAD 19M, 2960 R/M, DIRECT C |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | SUBMERSIBLE | TYPE | SEWAGE,VERTICAL SPINDLE | HEAD RANGE | 19 MM | POWER RATING | 3 KW | FLOW RATING | 20M3/HR | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING | 2960 RPM | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | MEDIUM WATER 90 DEG,DIRECT C |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060245240 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060245240 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,11KW,CENTRIFUGAL,32/250A | PUMP,11KW,CENTRIFUGAL,32/250A |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | CENTRIFUGAL | TYPE |  | HEAD RANGE |  | POWER RATING | 11 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 32/250A | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060246237 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060246237 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,12VDC,40L/MIN,DIESEL/OIL,PN16194 | PUMP DIESEL/OIL, 12VDC 40L/MIN, PN16194, RENSON | PN16194 | 0019011819 | Unknown | URL NOT FOUND |  |  | PN16194 | [11 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE | DIESEL/OIL | HEAD RANGE |  | FLOW RATING | 40L/MIN | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE RATING:12 VDC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060246466 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060246466 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,22KW 525V,COMPLETE,100SP-RV-L-1500, | PUMP,22KW 525V,COMPLETE,100SP-RV-L-1500,C/W,MOTOR | SP100M-1500-J | 0019011819 | Unknown | URL NOT FOUND |  |  | SP100M-1500-J | [11 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE |  | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE | 22 KW | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE RATING:525 V,C/W MOTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060254834 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060254834 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,4/3,COMPLETE,WARMAN,AH-WRT,ZV,KIT,C | PUMP, 4/3, COMPLETE, WARMAN, AH-WRT, ZV, KIT, C/W, 30KW, MOTOR |  |  |  | URL NOT FOUND | [9 empty] | 4/3 AH | WARMAN |  |  |  | CLEANSED | PUMP | CENTRIFUGAL | TYPE |  | HEAD RANGE |  | POWER RATING | 30 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AH-WRT,ZV,KIT,C/W MOTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060252594 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060252594 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | PUMP,6X4AH,WARMAN,60KW,VT01,VT02 | PUMP,6X4AH,WARMAN,60KW,HP,BOOSTER,VT01,VT02 |  |  |  | URL NOT FOUND | [9 empty] | 6/4 AH | WARMAN |  |  |  | CLEANSED | PUMP | CENTRIFUGAL | TYPE |  | HEAD RANGE |  | POWER RATING | 60 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP BOOSTER VT01 AND VT02 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060234194 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060234194 | BHP1 | BHP Spares & Supplies | 201427 | Pumping units | EA | MAN2 | PUMP,7.5KW (600L/MIN)COMPLETE,WITHMOTOR3 | PUMP7.5KW (600L/MIN)COMPLETE, WITH MOTOR, 380V |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | CENTRIFUGAL | TYPE |  | HEAD RANGE |  | POWER RATING | 7.5 KW | FLOW RATING | 600 L/MIN | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 380 V | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W MOTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060247879 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060247879 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PUMP,ASSEMBLY,3EC6031710,EA | PUMP, ASSEMBLY ,3EC6031710, KOMATSU, EACH | 3EC6031710 |  |  | https://k-part.777parts.org/spare/komatsu/3ec-60-31710/ |  |  | 3EC6031710 | [11 empty] | ENRICHED | PUMP | ASSEMBLY | TYPE |  | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060235728 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060235728 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,ASSY,705-22-25100 | PUMP, ASSY, 705-22-25100 | 705-22-25100 PUMP ASSEMBLY | 0019001867 | KOMATSU CORP | https://k-part.777parts.org/spare/komatsu/705-22-25100/ |  | KOMATSU CORP | 705-22-25100 PUMP ASSEMBLY | [11 empty] | ENRICHED | PUMP | ASSEMBLY | TYPE |  | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060235710 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060235710 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,ASSY,708-1G-00060 | PUMP, ASSY, 708-1G-00060 | 708-1G-00060 PUMP ASS'Y,LOADER PUMP | 0019001867 | KOMATSU CORP | https://k-part.777parts.org/spare/komatsu/708-1g-00060/ |  | KOMATSU CORP | 708-1G-00060 PUMP ASS'Y,LOADER PUMP | [11 empty] | ENRICHED | PUMP | ASSEMBLY | TYPE |  | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060235719 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060235719 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,ASSY,708-1H-00030 | PUMP, ASSY, 708-1H-00030 | 708-1H-00030 PUMP ASSEMBLY | 0019001867 | KOMATSU CORP | https://k-part.777parts.org/spare/komatsu/708-1h-00030/ |  | KOMATSU CORP | 708-1H-00030 PUMP ASSEMBLY | [11 empty] | ENRICHED | PUMP | ASSEMBLY | TYPE |  | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060235712 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060235712 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,ASSY,708-1W-00010 | PUMP, ASSY, 708-1W-00010 | 708-1W-00010 PUMP ASS'Y,STEERING PUMP | 0019001867 | KOMATSU CORP | https://k-part.777parts.org/spare/komatsu/708-1w-00010/ |  | KOMATSU CORP | 708-1W-00010 PUMP ASS'Y,STEERING PUMP | [11 empty] | ENRICHED | PUMP | ASSEMBLY | TYPE |  | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060235720 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060235720 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,ASSY,708-1W-00731 | PUMP, ASSY, 708-1W-00731 | 708-1W-00731 PUMP ASSEMBLY | 0019001867 | KOMATSU CORP | https://k-part.777parts.org/spare/komatsu/708-1w-00731/ |  | KOMATSU CORP | 708-1W-00731 PUMP ASSEMBLY | [11 empty] | ENRICHED | PUMP | ASSEMBLY | TYPE |  | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060247797 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060247797 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,BARE,SHAFT,TOTAL,8.6RUBBER | PUMP,BARE,SHAFT,TOTAL,8.6RUBBER |  |  |  | URL NOT FOUND | [9 empty] | 8/6 |  |  |  |  | CLEANSED | PUMP | CENTRIFUGAL | TYPE | BARE SHAFT,HORIZONTAL SLURRY | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER | RUBBER | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060251009 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060251009 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,BARESHAFT,MUSKETEER,AH,4/3D | PUMP BARESHAFT MUSKETEER AH 4/3D |  |  |  | https://www.tobee.store/products/4-3d-ah-warman-horizontal-centrifugal-slurry-pumps-and-spare-parts-supplier.html |  | TOBEE | 4/3D-AH | [6 empty] | 4/3D-AH |  |  |  |  | ENRICHED | PUMP | CENTRIFUGAL | TYPE | BARESHAFT,SLURRY | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER | MUSKETEER | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060249801 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060249801 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,BARESHAFT,MUSKETEER,ALL,METAL,AH 8/ | PUMP,BARESHAFT,MUSKETEER,ALL,METAL,AH 8/6F | PJ86FA05 | 0019011819 | Unknown | https://www.tobee.store/8-6-ah-slurry-pump-spares.html |  | TOBEE | 8/6 F-AH |  |  |  | PJ86FA05 |  |  | 8/6 F-AH |  |  |  |  | ENRICHED | PUMP | CENTRIFUGAL | TYPE | BARESHAFT,SLURRY | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER | MUSKETEER,ALL METAL | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060249799 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060249799 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,BARESHAFT,MUSKETEER,ALL,METAL,AH,6/ | PUMP,BARESHAFT,MUSKETEER,ALL,METAL,AH,6/4E | PJ64AHA05 | 0019011819 | Unknown | https://www.tobee.store/products/warman-slurry-pump-bearing-hosing.html |  | TOBEE | 6/4 E-AH |  |  |  | PJ64AHA05 |  |  | 6/4 E-AH |  |  |  |  | ENRICHED | PUMP | CENTRIFUGAL | TYPE | BARESHAFT,SLURRY | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER | MUSKETEER,ALL METAL | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060251006 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060251006 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,BARESHAFT,MUSKETEER,WRT,8/6F | PUMP BARESHAFT MUSKETEER WRT 8/6F |  |  |  | https://www.tobee.store/8-6-ah-slurry-pump-spares.html |  | TOBEE | 8/6 F | [6 empty] | 8/6 F |  |  |  |  | ENRICHED | PUMP | CENTRIFUGAL | TYPE | BARESHAFT,SLURRY | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER | MUSKETEER,WRT | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060238783 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060238783 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP,BASE,PSANCZV-KIT-E02,WEIR MINERALS | BASE,PUMP,PSANCZV-KIT-E02,WEIR MINERALS | PSANCZV-KIT-E02 | 0019011561 | WEIR MINERALS AFRICA (PTY) LTD | URL NOT FOUND |  | WEIR MINERALS AFRICA (PTY) LTD | PSANCZV-KIT-E02 | [11 empty] | CLEANSED | BASE | PUMP | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060247775 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060247775 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,CENTRIFUGAL,NK65-315/320 | PUMP,CENTRIFUGAL,NK65-315/320 |  |  |  | https://www.lenntech.com/uploads/grundfos/98323677/Grundfos_NK-65-315-320-A2-F-A-E-GQQE.pdf |  | GRUNDFOS | NK65-315/320 | [11 empty] | ENRICHED | PUMP | CENTRIFUGAL | TYPE |  | HEAD RANGE |  | POWER RATING | 110 KW | FLOW RATING | 198M3/H | INLET SIZE | 80 MM | OUTLET SIZE | 65 MM | NUMBER OF STAGES |  | DISCHARGE PRESSURE | 16 BAR | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 3 x 380-420D/660-725Y V,192-176/110-102 A.50 HZ | IMPELLER DIAMETER | 320 MM | IMPELLER MATERIAL | CAST IRON | CASE MATERIAL | EPDM | END CONNECTION |  | TEMPERATURE RATING | 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO9906:2012 3B | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060245374 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060245374 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,DIESEL,BA2-78CC,800KPA | PUMP,DIESEL,BA2-78CC,800KPA | BA2-78CC | 0019011819 | Unknown | URL NOT FOUND |  |  | BA2-78CC | [11 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE | DIESEL | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE | 800 KPA | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060240741 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060240741 | BHP1 | BHP Spares & Supplies | 201427 | Pumping units | EA | MAN2 | PUMP,DOSING,GRUNDFOSS,DDA 7.5,16 AR | PUMP, DOSING, GRUNDFOSS, DDA 7.5,16 AR,PVC,V,C,F,31U2U2 | 97721950 |  |  | https://www.profluid.de/en_US/shop/product/pfg00166-grundfos-dda-7-5-16-ar-pvc-v-c-f-31u2u2-dosing-pump-97721950-4841 |  | GRUNDFOSS | 97721950 | [11 empty] | ENRICHED | PUMP | METERING | TYPE | 'DIAPHRAGM DOSING | HEAD RANGE | 6 M | POWER RATING | 24 W | FLOW RATING | 7.5 L/H | PRESSURE RATING | 16 BAR | VISCOSITY | 50 MPAS | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 100-240 VAC,25 A,1PH,50/60 HZ | TURNDOWN RATIO | 1:3000 | HOUSING MATERIAL | PVC | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REF:V C F 31U2U2 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060250380 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060250380 | BHP1 | BHP Spares & Supplies | 201427 | Pumping units | EA | MAN2 | PUMP,DOSING,GRUNDFOSS,DME375-10AR, 57003 | PUMP,DOSING,GRUNDFOSS,DME375-10AR, 5700396944456 PART NO.96524941 | 96524941 | 0019011819 | Unknown | https://product-selection.grundfos.com/in/products/dosing-pumps-digital/dme/dme-375-10-ar-96524941?tab=variant-curves |  | GRUNDFOSS | 96524941 | [11 empty] | ENRICHED | PUMP | METERING | TYPE | 'DIAPHRAGM DOSING | HEAD RANGE |  | POWER RATING | 240 W | FLOW RATING | 375 L/H | PRESSURE RATING | 10 BAR | VISCOSITY |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 100-240 VAC,2.4-1 A,1PH,50/60 HZ | TURNDOWN RATIO |  | HOUSING MATERIAL | POLYPROPYLENE | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, EAC, NSF61, WEEE, CN ROHS | ADDITIONAL FEATURES EN | EAN NO:5700396944456 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060243513 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060243513 | BHP1 | BHP Spares & Supplies | 201427 | Pumping units | EA | MAN2 | PUMP,DOSING,GRUNDFOSS,DMX 14,10 B-PVC | PUMP,DOSING,GRUNDFOSS,DMX 14-10 B-PVC/V/C-X-E1U2U2XEMNG | 99591991 | 0019011819 | Unknown | https://product-selection.grundfos.com/in/products/dosing-pumps-mechanical/dmx/dmx-14-10-99591991?tab=variant-curves |  | GRUNDFOSS | 99591991 | [11 empty] | ENRICHED | PUMP | METERING | TYPE | 'DIAPHRAGM DOSING | HEAD RANGE |  | POWER RATING | 0.09 KW | FLOW RATING | 14 L/H | PRESSURE RATING | 10 BAR | VISCOSITY | 400 MPAS | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 3 X 230-400 V,50 HZ | TURNDOWN RATIO |  | HOUSING MATERIAL | THERMOPLASTIC | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060252011 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060252011 | BHP1 | BHP Spares & Supplies | 201427 | Pumping units | EA | MAN2 | PUMP,DOSING,GRUNDFOSS,DMX 7-10 AR-SS/V/S | PUMP, DOSING, GRUNDFOSS, DMX 7-10, AR-SS/V/SS-S-SG1AAFEMNG, 220V, PRODUCT, NO.99, 772210 | 99772210 | 0019011819 | Unknown | https://product-selection.grundfos.com/in/products/dosing-pumps-mechanical/dmx/dmx-7-10-99772210?tab=variant-curves |  | GRUNDFOSS | 99772210 | [11 empty] | ENRICHED | PUMP | METERING | TYPE | 'DIAPHRAGM DOSING | HEAD RANGE |  | POWER RATING | 0.09 KW | FLOW RATING | 7 L/M | PRESSURE RATING | 10 BAR | VISCOSITY | 400 MPAS | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 1 X 220-240 V,50 HZ | TURNDOWN RATIO |  | HOUSING MATERIAL | THERMOPLASTIC | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRODUCT NAME:R-SS/V/SS-S-G1AAFEMNG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060244960 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060244960 | BHP1 | BHP Spares & Supplies | 401500 | Industrial pumps and compressors | EA | MAN2 | PUMP,GRINDEX BRAVO 700 37KW 525V | PUMP, GRINDEX BRAVO 700 37KW 525V C/W 20M CABLE |  |  |  | https://www.grindex.com/en-us/products/slurry-pumps/bravo-700/ |  | GRINDEX BRAVO | 700 | [11 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE | ELECTRICLE SLURRY | HEAD RANGE |  | POWER RATING | 37 - 49 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING | 1775 RPM | DRIVE DETAILS |  | ELECTRICAL RATING | 525 V,460 V AT 69 A,575 V AT 55 A | IMPELLER DIAMETER | 875 MM | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING | 40 - 104 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CABLE LENGTH:20 M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060244958 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060244958 | BHP1 | BHP Spares & Supplies | 401500 | Industrial pumps and compressors | EA | MAN2 | PUMP,GRINDEX MATADOR N 18KW, 525V C/W 2 | PUMP, GRINDEX MATADOR N 18KW, 525V C/W 20M CABLE |  |  |  | URL NOT FOUND |  | GRINDEX MATADORN | [12 empty] | CLEANSED | PUMP | SUBMERSIBLE | TYPE |  | HEAD RANGE |  | POWER RATING | 18 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 525 V | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CABLE LENGTH:20 M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060234892 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060234892 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | PUMP,GROUP 3 GEAR PUMP 73.4CC | PUMP, GROUP 3 GEAR PUMP 73.4CC |  |  |  | https://hydraulicsonline.com/product/hydreco-hy-series-gear-pumps-and-motors/ |  |  | GEAR PUMP 73.4CC | [11 empty] | ENRICHED | PUMP | GEAR | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING | 280 BAR | SPEED RATING | 4000 RPM | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL |  | SHAFT MATERIAL |  | CASE MATERIAL |  | SHAFT SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FRAME SIZE:GROUP 3,DISPLACEMENT:73.4 CC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060252401 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060252401 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,HAND,HYDRAULIC,10TON | PUMP,HAND,HYDRAULIC,10TON |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | HAND | TYPE | HYDRAULIC | INLET SIZE |  | OUTLET SIZE |  | OPERATING DEPTH |  | DISCHARGE RATING |  | FLOW RATING |  | STROKE |  | MATERIAL |  | BORE SIZE |  | PIPE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOAD CAPACITY:10 TON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060233727 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060233727 | BHP1 | BHP Spares & Supplies | 471115 | Washing and drying equipment | EA | MAN2 | PUMP,HIGH PRESSURE,PX2150,HAWK | PUMP, HIGH PRESSURE, HAWK, PX2150 I, 21L/MIN, 500BAR, FOR PRESSURE WASHER |  |  |  | https://5.imimg.com/data5/SB/MP/MY-666750/px2150ir-hydro-jetting-machine.pdf | https://www.hawkpumps.com/en/downloadpdfdocument/2598/technical+sheets+pxi+500 | HAWK | PX2150 | [11 empty] | ENRICHED | PUMP | GEAR | TYPE | HIGH PRESSURE | HEAD RANGE |  | POWER RATING |  | FLOW RATING | 21 L/M | INLET SIZE | 1/2 IN | OUTLET SIZE | 3/8 IN | PRESSURE RATING | 500 BAR | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL |  | SHAFT MATERIAL |  | CASE MATERIAL |  | SHAFT SIZE |  | TEMPERATURE RATING | -60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PRESSURE WASHER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060248080 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060248080 | BHP1 | BHP Spares & Supplies | 271200 | Hydraulic machinery and equipment | EA | MAN2 | PUMP,HYD,PORT,ELEC,P17,POWER TEAM,EA | PUMP, HYDRUALIC, PORTABLE, ELECTRIC, P17, POWER TEAM, EA | P17, POWER TEAM | 0019011819 | Unknown | URL NOT FOUND |  | POWER TEAM | P17, POWER TEAM | [6 empty] | P17 |  |  |  |  | CLEANSED | PUMP | HYDRAULIC | TYPE | PORTABLE, ELECTRIC | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060251742 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060251742 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,HYDRAULIC | PUMP, HYDRAULIC, 39L/M, VICKERS, 20VQ8A1C30, 100BAR |  |  |  | https://www.jaescompany.com/product.php?lang=cs&productid=135117&code=20VQ8A1C30 |  | VICKERS | 20VQ8A1C30 | [11 empty] | ENRICHED | PUMP | HYDRAULIC | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING | 39 L/M | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE | 100 BAR | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060172117 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060172117 | BHP1 | BHP Spares & Supplies | 201116 | Drilling and operation machinery | EA | MAN2 | PUMP,HYDRAULIC FILLER ATLAS COPCO RBS1L | PUMP,HYDRAULIC FILLER ATLAS COPCO RBS1L P/N 9106079662 | 9106079662 | 0019008517 | ATLAS COPCO SOUTH AFRICA (PTY) | https://hidroekol.com/urun/9106079662/?lang=en |  | ATLAS COPCO | 9106079662 | [11 empty] | ENRICHED | PUMP | HYDRAULIC | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RBS1L | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060250062 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060250062 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PUMP,HYDRAULIC,2069689,HYSTER,EA | PUMP, HYDRAULIC, 2069689, HYSTER, EACH | 2069689 |  |  | https://www.orangeparts.com/hyster-2069689-hydraulic-pump/ |  | HYSTER | 2069689 | [11 empty] | ENRICHED | PUMP | HYDRAULIC | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060250060 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060250060 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PUMP,HYDRAULIC,2069693,HYSTER,EA | PUMP, HYDRAULIC, 2069693, HYSTER, EACH | 2069693 |  |  | https://www.helmarparts.com/2069693-hydraulic-pump/ |  | HYSTER | 2069693 | [11 empty] | ENRICHED | PUMP | HYDRAULIC | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060251803 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060251803 | BHP1 | BHP Spares & Supplies | 271200 | Hydraulic machinery and equipment | EA | MAN2 | PUMP,HYDRAULIC,35VQ35A,EA | VICKERS, MAIN HYDRAULIC, RECYCLING PUMP, FOR F45, MODEL: 35VQ35A 1C20, ASSY: 421528-3, 3AT 9503 | 421528-3 | 0019011819 | Unknown | https://www.eatonpowersource.com/products/configure/pumps/details/421528-3/ |  | VICKERS | 421528-3 | 35VQ35A 1C20 | [10 empty] | ENRICHED | PUMP | HYDRAULIC | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR F45 RECYCLING PUMP,3AT 9503,PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060245574 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060245574 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,HYDRAULIC,77794232,DD210L | HYDRAULIC PUMP, PN 77794232, DD210L | 77794232 | 0019011819 | Unknown | https://www.aga-parts.com/sandvik-parts?page=9580 |  | SANDVIK | 77794232 | [6 empty] | DD210L |  |  |  |  | ENRICHED | PUMP | HYDRAULIC | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060234889 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060234889 | BHP1 | BHP Spares & Supplies | 420000 | Medical Equipment, Accessories and Supplies | EA | MAN2 | PUMP,HYDRAULIC,CONE CRUSHER - MRP | PUMP, HYDRAULIC, CONE CRUSHER - MRP, AZPF-12-004RNT20MB |  |  |  | https://boschrexroth-ind.com/product/bosch-rexorth-external-gear-pump-azpf-12-004rnt20mb-0510215007/ |  | BOSCH REXROTH | AZPF-12-004RNT20MB | [5 empty] | CONE CRUSHER | [5 empty] | ENRICHED | PUMP | GEAR | TYPE | EXTERNAL,HYDRAULIC | HEAD RANGE |  | POWER RATING |  | FLOW RATING | 2-30 L/M | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING | 5-250 BAR | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL |  | SHAFT MATERIAL |  | CASE MATERIAL |  | SHAFT SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060234888 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060234888 | BHP1 | BHP Spares & Supplies | P1210 | Welding equipment & supplies | EA | MAN2 | PUMP,HYDRAULIC,CONE CRUSHER - MRP | PUMP, HYDRAULIC, CONE CRUSHER - MRP, AZPF-11-016RCB20MM |  |  |  | https://boschrexroth-ind.com/product/bosch-rexroth-hydraulics-azpf-11-016rcb20mm-1517222355/ |  | BOSCH REXROTH | AZPF-11-016RCB20MM | [5 empty] | CONE CRUSHER | [5 empty] | ENRICHED | PUMP | GEAR | TYPE | HYDRAULIC | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL |  | SHAFT MATERIAL |  | CASE MATERIAL |  | SHAFT SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060252374 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060252374 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,HYDRAULIC,V101P6P,1C20 | PUMP, HYDRAULIC, VICKERS, SLIPPING, DEVICE, V101P6P, 1C20 | V101P6P |  |  | https://www.motionindustries.com/products/sku/00403834 |  | VICKERS | V101P6P | [11 empty] | ENRICHED | PUMP | VANE | TYPE | HYDRAULIC | FLOW RATING |  | INLET SIZE | 1 IN | OUTLET SIZE | 1/2 IN | SUCTION PRESSURE | 3000 PSI | DISCHARGE PRESSURE |  | SPEED RATING | 3400 RPM | HOUSING MATERIAL | NITRILE | VANE MATERIAL |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | MOUNTING TYPE | FLANGE | TEMPERATURE RATING | 130 - 150 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR SLIPPING, DEVICE 1C20 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060255692 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060255692 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,INJECTOR,ASSY,RECON,LDV | PUMP,INJECTOR,ASSY,RECON,LDV |  |  |  | URL NOT FOUND |  | RECON | [12 empty] | CLEANSED | PUMP | ASSEMBLY | TYPE | INJECTOR | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LDV | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060244989 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060244989 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,INJECTOR,MOTORPAL P/N SE990352292 | PUMP, INJECTOR, MOTORPAL P/N SE990352292 | SE990352292 | 0019011819 | Unknown | URL NOT FOUND |  | MOTORPAL | SE990352292 | [11 empty] | CLEANSED | PUMP | ASSEMBLY | TYPE | INJECTOR | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060246355 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060246355 | BHP1 | BHP Spares & Supplies | 502210 | Pulses | EA | MAN2 | PUMP,KSB,WKLN,80/3,COMPLETE | PUMP,WKLN,80/3,PUMPSET,COMPLETE,WITH,BASEPLATE,ASSEMBLY,COUPLING,GUARD,AND,WEG90KW,2P,525V |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | CENTRIFUGAL | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060248993 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060248993 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,M.S,AIR,INTEN,FAB603-00 | PUMP,M.S,AIR,INTEN,FAB603-00 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | VACUUM | TYPE |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING |  | POWER RATING |  | DRIVE DETAILS |  | SPEED RATING |  | FLOW RATING |  | NUMBER OF STAGES |  | IMPELLER SIZE |  | IMPELLER MATERIAL |  | SHAFT MATERIAL |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060222099 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060222099 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,MAN HYDRAULC,PECKER | PUMP, MAIN HYDRAULIC, PECKER |  |  |  | URL NOT FOUND |  | PECKER | [12 empty] | CLEANSED | PUMP | HYDRAULIC | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060254547 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060254547 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | PUMP,MIXER-HYDROLICS,VICKERS,MODEL:V10-1 | PUMP, MIXER-HYDROLICS, VICKERS, MODEL V10-1BB-1C20, ASSY 708785-3, HYD708371-3 | HYD708371-3 | 0019011819 | Unknown | https://importtehsnab.ru/production/hydraulic/vickers/pumps-vickers/708785-3/ |  | ICKERS | 708785-3 | V10-1BB-1C20 | [10 empty] | ENRICHED | PUMP | VANE | TYPE | MIXER-HYDROLIC | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | SUCTION PRESSURE |  | DISCHARGE PRESSURE |  | SPEED RATING |  | HOUSING MATERIAL |  | VANE MATERIAL |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060240431 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060240431 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP,MONO,C32M,BARESHAFT | MONO C32M 0004A BARESHAFT PUMP |  |  |  | https://www.pumps.co.za/products/c686-mono-c32m-s32m |  | MONO | C32M | [11 empty] | ENRICHED | PUMP | CENTRIFUGAL | TYPE | BARESHAFT | HEAD RANGE |  | POWER RATING | 0.75 KW | FLOW RATING | 1.75 M3/H | INLET SIZE | 25 MM | OUTLET SIZE | 25 MM | NUMBER OF STAGES |  | DISCHARGE PRESSURE | 10 BAR | SUCTION PRESSURE |  | SPEED RATING | 1200 RPM | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING | 20 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060255660 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060255660 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,SUBMERSABLE,SLURRY,6KW,525V,100VSS4 | PUMP,SUBMERSABLE,SLURRY,6KW,525V,100VSS46,50HZ,DISCHARGE,DIA,MM,100,BEP,HEAD,M,10,BEP,FLOW,M3H,90,MAX, SOLIDS,MM,30,WEIGHT,KG,141 | 100VSS46 | 0019011819 | Unknown | https://www.aqsliquidtransfer.co.za/product/100vss46-agitator-submersible-pump-2/ |  |  | 100VSS46 | [11 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE | SLURRY | HEAD RANGE | 10 M | POWER RATING | 6 KW | FLOW RATING | 90 M3/H | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 380-525 V | IMPELLER DIAMETER | 100 MM | IMPELLER MATERIAL | CAST IRON | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 30 MM SOLID,WEIGHT:141 KG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060241509 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060241509 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,SUBMERSIBLE,0.75KW,415-525V,WSD20-1 | SUBMERSIBLE PUMP, 0.75KW, 415V TO 525V, WSD20-15, PN 60040012 | 60040012 |  |  | https://arenagroup.co.za/product/sewage-pump-ws20-15-0-75e-c-i-best-duty-15000l-h-10-5m-head/ |  |  | 60040012 | [6 empty] | WSD20-15 |  |  |  |  | ENRICHED | PUMP | SUBMERSIBLE | TYPE | SEWAG | HEAD RANGE | 10.5 M | POWER RATING | 0.75 KW | FLOW RATING | 15000L/H | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 415-525 V | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060236697 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060236697 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP,SUBMERSIBLE,1.5KW,220V, | PUMP, SUBMERSIBLE, 1.5KW, 220V, HCP PUMP, A-32TF, HEAD 12M, 0.4M3/MIN |  |  |  | http://www.leonghing.com/products/hcp-pumps-malaysia |  | HCP | A-32TF | [11 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE |  | HEAD RANGE | 12 M | POWER RATING | 1.5 KW | FLOW RATING | 0.43 M3/M | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE | 3 IN | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 220-240 V | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060253668 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060253668 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,SUBMERSIBLE,5.5KW,4SD16/20 | PUMP, SUBMERSIBLE, 5.5KW, 4SD16/20 |  |  |  | https://www.hurricanepumps.co.za/?product=4sd16-20-borehole-submersible-pump-end-only-5-5kw |  |  | 4SD16/20 | [11 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE | BOREHOLE | HEAD RANGE |  | POWER RATING | 5.5 KW | FLOW RATING | 50 L/M | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE | 4 IN | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 380-415 V,50 HZ | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING | 0-35 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060246211 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060246211 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP,SUBMERSIBLE,BOREHOLE,0.75KW,EA | PUMP, SUBMERSIBLE, BOREHOLE, 0.75KW, 220V, 2900RPM, 8.3AMP, MODULE 403/11, EACH |  |  |  | https://www.pumps.co.za/products/p5302c635-vansan-vsp-403-11-a-0-75kw-submersible-pump |  | VANSAN | 403/11 | [11 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE | BOREHOLE | HEAD RANGE |  | POWER RATING | 0.75 KW | FLOW RATING | 25 M3/H | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE | 4 IN | SPEED RATING | 2900 RPM | DRIVE DETAILS |  | ELECTRICAL RATING | 220 V,8.3 A | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060253926 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060253926 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | PUMP,SUBMERSIBLE,GOODWIN,100ANZE,COMPLET | PUMP, SUBMERSIBLE, GOODWIN, 100ANZE, COMPLETE, 30KW, 380V, 1470RPM | 100ANZE | 0019011819 | Unknown | https://www.goodwininternationalpumps.com/category/products/ |  | GOODWIN | 100ANZE | [11 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE |  | HEAD RANGE | 38 M | POWER RATING | 30 KW | FLOW RATING | 220 M3/H | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE | 3.7 BAR | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING | 1470 RPM | DRIVE DETAILS |  | ELECTRICAL RATING | 380 V | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING | 90 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060254994 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060254994 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | PUMP,SUBMERSIBLE,GOODWIN,100HNZB,COM | PUMP, SUBMERSIBLE, GOODWIN, 100HNZB, COMPLETE, 30KW, 380V, 1450RPM | 100HNZB | 0019011819 | Unknown | https://www.goodwininternationalpumps.com/category/products/ |  | GOODWIN | 100HNZB | [11 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE |  | HEAD RANGE | 60 M | POWER RATING | 30 KW | FLOW RATING | 160 M3/H | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE | 5.9 BAR | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING | 1450 RPM | DRIVE DETAILS |  | ELECTRICAL RATING | 380 V | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING | 90 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060238922 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060238922 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,WATER,PEDESTAL,80MM | PUMP,WATER,PEDESTAL,80MM |  | 0019011468 | KUTTING MPUMALANGA (PTY) LTD | URL NOT FOUND |  | KUTTING MPUMALANGA (PTY) LTD | [12 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE | WATER | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE:80 MM,PEDESTALBASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060246283 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060246283 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,WATER,TOYOTA,2.5,FORKLIFT | PUMP,WATER,TOYOTA,2.5,FORKLIFT | WP001 | 0019011819 | Unknown | URL NOT FOUND |  | FORKLIFT | WP001 | [11 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE | WATER | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:TOYOTA,2.5 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060253610 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060253610 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PUMP,WATER,WP9001,KOMATSU,EA | PUMP, WATER, WP9001, KOMATSU, EACH | WP9001 |  |  | https://cpp-ca.com/wp9001-water-pump-komatsu-parts |  | KOMATSU | WP9001 | [11 empty] | ENRICHED | PUMP | NO MODIFIER | TYPE | WATER | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060255409 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060255409 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PUMP.PRIMING,FUEL,4N3287,EA | PUMP, PRIMING, FUEL, 4N3287, EACH | 4N3287 |  |  | https://parts.cat.com/en/catcorp/4N-3287 |  | CAT | 4N3287 | [11 empty] | ENRICHED | PUMP | NO MODIFIER | TYPE |  | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRIMING FUEL,PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060170467 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-14 |  | 000000000060170467 | BHP1 | BHP Spares & Supplies | 251217 | Railroad support equipment and systems | EA | MAN2 | PUMP: HYDRAULIC, HAND, RE316 | PUMP, HYDRAULIC, HAND, RE316 | RE316 | 0019003467 | UNKNOWN | https://www.speck.co.uk/our-products/pumps/triplex/np10/np107-140/ |  |  | RE316 | [11 empty] | ENRICHED | PUMP | HAND | TYPE | HYDRAULIC | INLET SIZE |  | OUTLET SIZE |  | OPERATING DEPTH |  | DISCHARGE RATING |  | FLOW RATING |  | STROKE |  | MATERIAL | STAINLESS STEEL | BORE SIZE |  | PIPE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed