## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060254384 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060254384 | BHP1 | BHP Spares & Supplies | 313300 | Fabricated structural assemblies | EA | MAN2 | JOYSTICK,PEDAL,FRONT,HAMMER,G330 | JOYSTICK, PEDAL, FRONT, HAMMER, G330, HYDRAULIC, BREAKER | 155N0006L | 0019011819 | Unknown | URL NOT FOUND |  |  | 155N0006L | [5 empty] | HYDRAULIC HAMMER, BREAKER | G330 |  |  |  |  | CLEANSED | JOY STICK | NO MODIFIER | TYPE | PEDAL, FRONT | ACTION |  | ELECTRICAL RATING |  | CONTACT FORM |  | SIZE |  | NUMBER OF DIRECTIONS |  | MATERIAL |  | NEMA RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060220554 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060220554 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | LAUNDER, SLAG, COMPLETE, M3 | LAUNDER, SLAG, COMPLETE, M3, MANUFACTURE M3 SLAG LAUNDER AS PER BELOW DRAWINGS:, F6000-10-116 A0, F6000-10-117 A0, F6000-10-118 A0, F6000-10-119 A0 |  |  |  | URL NOT FOUND | [11 empty] | F6000-10-116 A0, F6000-10-117 A0, F6000-10-118 A0, F6000-10-119 A0 |  |  | CLEANSED | LAUNDER | NO MODIFIER | TYPE | SLAG | SIZE |  | PROCESS |  | MATERIAL |  | LINER SIZE |  | LINER MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE, M3 MANUFACTURE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060220556 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060220556 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | LAUNDER, SLAG, COMPLETE, M4 | F7000-43-53-124 A0, F7000-43-53-125 A0, F7000-43-53-126 A0, LAUNDER, SLAG, COMPLETE, M4, MANUFACTURE M4 SLAG LAUNDER AS PER BELOW DRAWINGS:, F7000-43-53-119 A0, F7000-43-53-120 A0, F7000-43-53-121 A0, F7000-43-53-122 A0, F7000-43-53-123 A0 |  |  |  | URL NOT FOUND | [11 empty] | F7000-43-53-119 A0, F7000-43-53-120 A0, F7000-43-53-121 A0, F7000-43-53-122 A0, F7000-43-53-123 A0, F7000-43-53-124 A0, F7000-43-53-125 A0, F7000-43-53-126 A0 |  |  | CLEANSED | LAUNDER | NO MODIFIER | TYPE | SLAG | SIZE |  | PROCESS |  | MATERIAL |  | LINER SIZE |  | LINER MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE, M4 MANUFACTURE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060256128 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060256128 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LAUNDER,EFFLUENT,MEGNETIC,SEPERATOR | LAUNDER, EFFLUENT, MAGNETIC, SEPERATOR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAUNDER | NO MODIFIER | TYPE | EFFLUENT MAGNETIC SEPERATOR | SIZE |  | PROCESS |  | MATERIAL |  | LINER SIZE |  | LINER MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060250743 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060250743 | BHP1 | BHP Spares & Supplies | 231521 | Separation machinery and equipment | EA | MAN2 | LAUNDER,RUBBERLINED,150MM,CENTRE,OUTLET | LAUNDER,RUBBERLINED,2100MM,CENTRE,OUTLET,150NB,550MM,13DEGREES |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAUNDER | NO MODIFIER | TYPE | CENTRE OUTLET | SIZE | 2.1 M X 550 MM | PROCESS |  | MATERIAL | RUBBER LINED | LINER SIZE |  | LINER MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NOMINAL SIZE: 150 NB, ANGLE: 13 DEG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060244919 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244919 | BHP1 | BHP Spares & Supplies | 201428 | Production separators | EA | MAN2 | LAUNDER,RUBBERLINED,CENTRE,OUTLET | LAUNDER, RUBBERLINED,2100MM, 700MM, CENTRE, OUTLET,100NB, 520MM, 12DEGREES |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAUNDER | NO MODIFIER | TYPE | CENTRE OUTLET | SIZE | 2.1 M X 700 X 520 MM | PROCESS |  | MATERIAL | RUBBER LINED | LINER SIZE |  | LINER MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NOMINAL SIZE: 100 NB, ANGLE: 12 DEG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060245086 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245086 | BHP1 | BHP Spares & Supplies | 201428 | Production separators | EA | MAN2 | LAUNDER,RUBBERLINED,OFF,CENTRE,100NB | LAUNDER, RUBBERLINED, 2100MM, 700MM, OFF, CENTRE, OUTLET, 100NB, 750MM, HEIGHT 18DEGREES |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAUNDER | NO MODIFIER | TYPE | CENTRE OUTLET | SIZE | 2.1 M X 750 X 700 MM | PROCESS |  | MATERIAL | RUBBER LINED | LINER SIZE |  | LINER MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NOMINAL SIZE: 100 NB, ANGLE: 18 DEG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060245090 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245090 | BHP1 | BHP Spares & Supplies | 201428 | Production separators | EA | MAN2 | LAUNDER,RUBBERLINED,OFF,CENTRE,150NB | LAUNDER, RUBBERLINED, 2100MM, CENTRE, OUTLET, 150NB, 550MM, 13DEGREES |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAUNDER | NO MODIFIER | TYPE | CENTRE OUTLET | SIZE | 2.1 M X 550 MM | PROCESS |  | MATERIAL | RUBBER LINED | LINER SIZE |  | LINER MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NOMINAL SIZE: 150 NB, ANGLE: 13 DEG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060244924 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244924 | BHP1 | BHP Spares & Supplies | 201428 | Production separators | EA | MAN2 | LAUNDER,RUBBERLINED,OFF,CENTRE,OUTLET,15 | LAUNDER, RUBBERLINED,2100MM, 700MM, OFF, CENTRE, OUTLET,150NB, 550MM, 10DEGREES |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAUNDER | NO MODIFIER | TYPE | CENTRE OUTLET | SIZE | 2.1 M X 700 X 550 MM | PROCESS |  | MATERIAL | RUBBER LINED | LINER SIZE |  | LINER MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NOMINAL SIZE: 150 NB, ANGLE: 10 DEG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060253489 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253489 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LED,BOX,HI-BRIGHT,BLUE | LED, BOX, HI-BRIGHT, BLUE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | BOX, HI-BRIGHT, LED | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR | BLUE | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060243955 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060243955 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LED,EATON,ARTICLE NO.216563,230VAC,EA | LED,EATON,ELEMENT FRONT MOUNT,230VAC,M22-LED230-W,ARTICLE NO.216563 | 216563 | 0019011819 | Unknown | https://www.electricautomationnetwork.com/de/eaton-moeller/leuchtelement-led-weiss-frontbefestigung-85-264vac-schraubanschluss-eaton-moeller-216563-m22-led230-w?gclid=CjwKCAiA68ebBhB-EiwALVC-Nn43GeMtNC1ETUsTSs_iqnVbBzlvmpNIgG6mxwV_KAbREHzzMXmh2hoC7tEQAvD_BwE |  | EATON | 216563 | [11 empty] | ENRICHED | ELEMENT | NO MODIFIER | TYPE | LED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-5-1, IEC/EN 60947-5, UL 508, CSA-C22.2 NO. 14-05, CSA-C22.2 NO. 94-91, CE | ADDITIONAL FEATURES EN | MOUNTING: FRONT, ELECTRICAL RATING: 230 VAC, ARTICLE NO: M22-LED230-W | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060243958 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060243958 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LED,EATON,ARTICLE NO.216564,230VAC,EA | LED,EATON,ELEMENT FRONT MOUNT,230VAC,M22-LED230-R,ARTICLE NO.216564 | 216564 | 0019011819 | Unknown | https://datasheet.eaton.com/datasheet.php?model=216564&locale=en_GB |  | EATON | 216564 | [11 empty] | ENRICHED | ELEMENT | NO MODIFIER | TYPE | LED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-5-1, IEC/EN 60947-5, UL 508, CSA-C22.2 NO. 14-05, CSA-C22.2 NO. 94-91, CE | ADDITIONAL FEATURES EN | MOUNT: FRONT, ELECTRICAL RATING: 230VAC, ARTICLE NO: M22-LED230-R | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060243956 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060243956 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LED,EATON,ARTICLE NO.216565,230VAC,EA | LED,EATON,ELEMENT FRONT MOUNT,230VAC,M22-LED230-G,ARTICLE NO.216565 | 216565 | 0019011819 | Unknown | https://datasheet.eaton.com/datasheet.php?model=216565&locale=ru_RU&_lt= |  | EATON | 216565 | [11 empty] | ENRICHED | ELEMENT | NO MODIFIER | TYPE | LED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-5-1, IEC/EN 60947-5, UL 508, CSA-C22.2 NO. 14-05, CSA-C22.2 NO. 94-91, CE | ADDITIONAL FEATURES EN | MOUNTING: FRONT, ELECTRICAL RATING: 230 VAC, ARTICLE NO: M22-LED230-G | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060256231 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060256231 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | LED,THROUGH,HOLE,GREEN | LED, THROUGH HOLE, GREEN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAMP | LED | TYPE | THROUGH HOLE | WATTAGE |  | VOLTAGE RATING |  | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR | GREEN | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060256229 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060256229 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | LED,THROUGH,HOLE,RED | LED, THROUGH HOLE, RED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAMP | LED | TYPE | THROUGH HOLE | WATTAGE |  | VOLTAGE RATING |  | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR | RED | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060256230 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060256230 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | LED,THROUGH,HOLE,YELLOW | LED, THROUGH HOLE, YELLOW |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAMP | LED | TYPE | THROUGH HOLE | WATTAGE |  | VOLTAGE RATING |  | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR | YELLOW | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060242548 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242548 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | LEVEL,SPIRIT,ALUM,600MM | SPIRIT , LEVEL , ALUM , 600MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LEVEL | TORPEDO | TYPE | SPIRIT | SIZE | LG 600 MM | MATERIAL | ALUMINIUM | NUMBER OF VIALS |  | NUMBER OF LEVELS |  | NUMBER OF PLUMBS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060242347 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242347 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LEVEL,SPIRIT,BUBBLE,TUBE,LASER,CLASS2 | INST,LEVEL,SPIRIT,PRECISION BUBBLE TUBE,LASER CLASS 2,BATTERIES AAA | LASER CLASS 2 |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LEVEL | TORPEDO | TYPE | SPIRIT, PRECISION BUBBLE TUBE | SIZE |  | MATERIAL |  | NUMBER OF VIALS |  | NUMBER OF LEVELS |  | NUMBER OF PLUMBS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ BATTERIES AAA, LASER CLASS 2 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060242582 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242582 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | LEVEL,SPIRIT,STABILN,900MM | SPIRIT , LEVEL , STABILN , 900MM |  |  |  | URL NOT FOUND |  | STABILA | [12 empty] | CLEANSED | LEVEL | TORPEDO | TYPE | SPIRIT | SIZE | LG 900 MM | MATERIAL |  | NUMBER OF VIALS |  | NUMBER OF LEVELS |  | NUMBER OF PLUMBS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060248913 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248913 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LEVEL,VEGAMET842,VEGA,2,MEASURING,LOOPS | INST,LEVEL,VEGAMET 842,VEGA,2 MEASURING LOOPS,2 X 4.20MA,BLUETOOTH LE, | VEGAMET 842 | 0019011819 | Unknown | https://www.vega.com/en-in/products/product-catalog/signal-conditioning/controllers/vegamet-842 |  | VEGA INSTRUMENTS | VEGAMET 842 | [11 empty] | ENRICHED | SENSOR | LEVEL | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 2 X 0/4-20 MA | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING | -40 TO 60 DEG C | MATERIAL |  | PRESSURE RATING |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE | IP66, IP67 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INPUT: 2 X 4-20 MA, W/ 2 MEASURING LOOPS, BLUETOOTH LE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060242346 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242346 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LEVEL,WEKA,32755K,PLUGGEDDRAIN,FLANGE | INST,LEVEL,WEKA,32755-K,PLUGGED DRAIN,FLANGE,DAMPING,SPRING BOTTOM AND TOP SPIRAL WOUND GASKET,316 AND GRAPHITE,A1-INDICATION RAIL B | MODEL: 32755-K |  |  | https://247able.com/product/weka-32755-k-magnetic-level-gauge-50-bar/ |  | WEKA | 32755-K | [11 empty] | ENRICHED | GAUGE | NO MODIFIER | TYPE | LEVEL | MEASURING RANGE |  | MATERIAL | 316 STAINLESS STEEL AND GRAPHITE | SIZE |  | PROCESS CONNECTION |  | ACCURACY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN10204-3.1, ATEX | ADDITIONAL FEATURES EN | W/ PLUGGED DRAIN, FLANGE DAMPING, SPRING BOTTOM AND TOP SPIRAL WOUND GASKET, A1-INDICATION RAIL B | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060241772 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060241772 | BHP1 | BHP Spares & Supplies | 271132 | Tool kits | EA | MAN2 | SPIRIT LEVEL,DIGITAL,600MM LONG,STANLEY | SPIRIT LEVEL,DIGITAL,600MM LONG,STANLEY,DIGITAL ACCURACY : 0.10 AT LEVEL AND PLUMB, 0.20 AT OTHER ANGLES, STANLEY FATMAX,0-42-065 | STANLEY FATMAX,0-42-065 |  |  | https://www.toolnation.com/stanley-0-42-065-fatmax-digital-spirit-level-600-mm.html |  | STANLEY FATMAX | 0-42-065 | [11 empty] | ENRICHED | LEVEL | TORPEDO | TYPE | SPIRIT, DIGITAL | SIZE | LG 600 MM | MATERIAL |  | NUMBER OF VIALS | 2 | NUMBER OF LEVELS |  | NUMBER OF PLUMBS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACCURACY : 0.10 AT LEVEL AND PLUMB, 0.20 AT OTHER ANGLES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060233698 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060233698 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | LID,ENCLOSURE,GREY,100X100X50,IP56 | ENCLOSURE, GREY, LID, 100X100X50, IP56 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LID | NO MODIFIER | TYPE | ENCLOSURE | SIZE | 100 X 100 X 50 MM | MATERIAL |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DEGREE OF PROTECTION: IP56 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060238146 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060238146 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | LID,LOCKABLE,PLASTIC,CONTAINER,45L | LID,LOCKABLE,PLASTIC,CONTAINER,45L |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LID | CONTAINER | TYPE | LOCKABLE | SIZE |  | MATERIAL | PLASTIC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONTAINER CAPACITY: 45 L | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060247377 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060247377 | BHP1 | BHP Spares & Supplies | 521600 | Consumer electronics | EA | MAN2 | LINE,AMPLIFIER,MLA-IS | LINE,AMPLIFIER,MLA-IS |  |  |  | URL NOT FOUND |  |  | MLA-IS | [11 empty] | CLEANSED | AMPLIFIER | NO MODIFIER | TYPE | LINE | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060249738 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060249738 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LINE,BUILDING,1MM,100M | LINE,BUILDING,1MM,100M |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
000000000060252632 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060252632 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LINE,CORDS,RULE,600MM | LINE, CORDS, RULE, 600MM | KEN5182980K | 0019011819 | Unknown | https://www.techno.com.my/online/index.php?main_page=product_info&cPath=236_240_241_792&products_id=29831 |  |  | KEN5182980K | [11 empty] | ENRICHED | GAUGE | NO MODIFIER | TYPE | LINE CORDS RULE | MEASURING RANGE |  | MATERIAL | STAINLESS STEEL | SIZE | LG 600 MM | PROCESS CONNECTION |  | ACCURACY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060187485 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060187485 | BHP1 | BHP Spares & Supplies | 831119 | Radio services | EA | MAN2 | LINE,SPLICE UNIT,75R SIG-V-LS-75 | LINE, SPLICE UNIT, 75R SIG-V-LS-75 |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
000000000060252922 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060252922 | BHP1 | BHP Spares & Supplies | 271120 | Garden tools | PAK | MAN2 | PRE-CUT, TRIMMER LINE, 3.5 MM X 22 CM, P | PRE-CUT, TRIMMER LINE, 3.5 MM X 22 CM, PP-NL-55B | PP-NL-55B | 0019011819 | Unknown | URL NOT FOUND |  |  | PP-NL-55B | [11 empty] | CLEANSED | TRIMMER LINE | NO MODIFIER | TYPE | PRE-CUT | SIZE | 220 X 3.5 MM | PROFILE |  | COLOR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060253262 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253262 | BHP1 | BHP Spares & Supplies | 271120 | Garden tools | M | MAN2 | TRIMMING,LINE,3.0MMX50M | TRIMMING , LINE , 3.0MM X 50M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRIMMER LINE | NO MODIFIER | TYPE |  | SIZE | 50 M X 3 MM | PROFILE |  | COLOR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060241481 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 | URL FOR REFERENCE ONLY, SUITABLE NM NOT FOUND | 000000000060241481 | BHP1 | BHP Spares & Supplies | 121315 | Explosives | EA | MAN2 | VIPERDET TRUNK LINE 3.0M | VIPERDET TRUNK LINE 3.0M | N/A |  |  | https://bme.co.za/wp-content/uploads/2020/11/bme-product-catalogue-2020.pdf |  |  | N/A | [74 empty] | Production Completed
000000000060241482 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 | URL FOR REFERENCE ONLY, SUITABLE NM NOT FOUND | 000000000060241482 | BHP1 | BHP Spares & Supplies | 121315 | Explosives | EA | MAN2 | VIPERDET TRUNK LINE 7.0M | VIPERDET TRUNK LINE 7.0M | N/A |  |  | https://bme.co.za/wp-content/uploads/2020/11/bme-product-catalogue-2020.pdf |  |  | N/A | [74 empty] | Production Completed
000000000060241589 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 | URL FOR REFERENCE ONLY, SUITABLE NM NOT FOUND | 000000000060241589 | BHP1 | BHP Spares & Supplies | 121315 | Explosives | EA | MAN2 | VIPERDET,TRUNK LINE 3.5M | VIPERDET,TRUNK LINE 3.5M,200/4000 MS 250/CASE |  |  |  | https://bme.co.za/wp-content/uploads/2020/11/bme-product-catalogue-2020.pdf | [77 empty] | Production Completed
000000000060241588 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 | URL FOR REFERENCE ONLY, SUITABLE NM NOT FOUND | 000000000060241588 | BHP1 | BHP Spares & Supplies | 121315 | Explosives | EA | MAN2 | VIPERDET,TRUNK LINE 4.5M | VIPERDET,TRUNK LINE 4.5M,200/400 MS 200/CASE |  |  |  | https://bme.co.za/wp-content/uploads/2020/11/bme-product-catalogue-2020.pdf | [77 empty] | Production Completed
000000000060242568 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242568 | BHP1 | BHP Spares & Supplies | 111216 | Wood | EA | MAN2 | TIMBER,SAPINE,ROUGHSAW,38MMX114X6.6M | TIMBER , SAPINE , ROUGHSAW , 38MMX114X6.6M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LUMBER | ROUGH | TYPE | TIMBER, SAWN | SHAPE |  | SIZE | 6.6 M X 114 X 38 MM | MATERIAL | SA PINE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060242567 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242567 | BHP1 | BHP Spares & Supplies | 111216 | Wood | EA | MAN2 | TIMBER,SAPINE,ROUGHSAW,38MMX38MMX6.6M | TIMBER , SAPINE , ROUGHSAW , 38MMX38MMX6.6M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LUMBER | ROUGH | TYPE | TIMBER, SAWN | SHAPE |  | SIZE | 6.6 M X 38 X 38 MM | MATERIAL | SA PINE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060242554 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242554 | BHP1 | BHP Spares & Supplies | 111216 | Wood | EA | MAN2 | TIMBER,SAPINE,ROUGHSAW,76MMX50MMX6.6M | TIMBER , SAPINE , ROUGHSAW , 76MMX50MMX6.6M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LUMBER | ROUGH | TYPE | TIMBER, SAWN | SHAPE |  | SIZE | 6.6 M X 76 X 50 MM | MATERIAL | SA PINE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060240530 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060240530 | BHP1 | BHP Spares & Supplies | 771100 | Environmental protection | EA | MAN2 | MAT,RAIL,OIL OBSORBENT,2MX1.2M,EA | MAT, RAIL, OIL OBSORBENT, 2M X 1.2M, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MAT | NO MODIFIER | TYPE | RAIL, OIL OBSORBENT | SIZE | 2 X 1.2 M | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060246449 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246449 | BHP1 | BHP Spares & Supplies | 502017 | Coffee | EA | MAN2 | MATRESS,ADJUSTABLE,BED,1800MMX600MM | MATRESS,ADJUSTABLE,BED,1800MMX600MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MATTRESS | NO MODIFIER | TYPE |  | SIZE | 1.8 M X 600 MM | CUSHION TYPE |  | CUSHION MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR ADJUSTABLE BED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060245161 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245161 | BHP1 | BHP Spares & Supplies | 410000 | Laboratory, Measuring, Observing and Testing Equipment | EA | MAN2 | METROHM,SAFETY MAT,48484101 | METROHM,SAFETY MAT,48484101 | 48484101 | 0019011819 | Unknown | URL NOT FOUND |  | METROHM | 48484101 | [11 empty] | CLEANSED | MAT | NO MODIFIER | TYPE | SAFETY | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060232746 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060232746 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | SAFETY MAT,OPERATION | MAT FOR SAFETY OPERATION |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MAT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR SAFETY OPERATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060027022 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060027022 | BHP1 | BHP Spares & Supplies | 231715 | Soldering, brazing or welding machinery and supplies | EA | MAN2 | MIXER, TYPE 2, SAFFIRE, AFROX | MIXER, TYPE 2, SAFFIRE, AFROX | W005802 | 0019008506 | AFROX LIMITED | https://www.afrox.co.za/en/images/Section%2010%20-%20%20%20%20%20%20Gas%20Equipment_tcm266-154574.pdf | https://rempro.co.za/product/mixer-type-2-torch-da/ | AFROX LIMITED | W005802 | [11 empty] | CLEANSED | MIXER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | SPEED RATING |  | MIXING CAPACITY |  | MIXING RATE |  | MATERIAL |  | SIZE |  | BLADE TYPE |  | NUMBER OF BLADES |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: SAFFIRE, TYPE 2 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060242555 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242555 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | MIXER,BATH,SHOWER,NOKACOBRA,WATERSAVER,3 | BATH , SHOWER , MIXER , NOKACOBRA , WATERSAVER , 3FUNCTION |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MIXER | NO MODIFIER | TYPE | BATH, SHOWER, WATERSAVER | ELECTRICAL RATING |  | SPEED RATING |  | MIXING CAPACITY |  | MIXING RATE |  | MATERIAL |  | SIZE |  | BLADE TYPE |  | NUMBER OF BLADES |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: COBRA, RANGE: NOKA, 3FUNCTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060254827 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060254827 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | ST | MAN2 | OVERLOAD G/021007.EO1,BREAKER,SIEMENS,EA | OVERLOAD, BREAKER, SIEMENS, 3RV1011-1BA10, 1.4-2A, CLASS 10, OVERLOAD, G/021007.EO1, WANTITALL, MOTOR, STARTER, 26A, INTANTANEOUS, S | 3RV1011-1BA10 | 0019011819 | Unknown | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3RV1011-1BA10 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RV1011-1BA10%26language%3Den | SIEMENS | 3RV1011-1BA10 | [11 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE | OVERLOAD | CURRENT RATING | 26 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 2 KA | NUMBER OF POLES | 3 | OVERALL SIZE | WD 45 X HT 90 X DP 75 MM | TRIP SETTING | MAGNETIC | TERMINAL TYPE | SCREW | MOUNTING TYPE | SNAP-ON | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA, CCC, UL, EAC, IECEX, ATEX, UKCA, CE, ABS | ADDITIONAL FEATURES EN | FOR WANTITALL MOTOR STARTER, INTANTANEOUS, CLASS 10, G/021007.EO1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060244527 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244527 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | OVERLOAD MOTOR CIRCUIT BREAKER SCHNEIDER | OVERLOAD MOTOR CIRCUIT BREAKER SCHNEIDER GV2ME0, WITH AUXILLIARY CONTACTS N/O AND N/C, 6A - 16A WITH STOP AND START BUTTONS | GVE ME07 | 0019011819 | Unknown | https://www.se.com/ww/en/product/GV2ME07/motor-circuit-breakertesys-deca3p1-62-5athermal-magneticscrew-clamp-terminalsbutton-control/ | https://www.se.com/ww/en/product/download-pdf/GV2ME07 | SCHNEIDER | GV2ME07 | [11 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE | OVERLOAD MOTOR | CURRENT RATING | 2.5 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 3 KA | NUMBER OF POLES | 3 | OVERALL SIZE | WD 45 X HT 89 X DP 78.5 MM | TRIP SETTING | THERMAL-MAGNETIC | TERMINAL TYPE | SCREW CLAMP | MOUNTING TYPE | RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-2, EN/IEC 60947-4-1, CCC, UL, CSA, EAC, ATEX, BV, LROS, UKCA, DNV-G | ADDITIONAL FEATURES EN | W/ AUXILLIARY CONTACTS N/O AND N/C, 6-16 A W/ STOP AND START BUTTONS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060250505 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060250505 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | OVERLOAD, SIEMENS, SERIUS, 3RU1916-3AA01 | OVERLOAD, SIEMENS, SERIUS, 3RU1916-3AA01, G/080718, 2.8A-4A, CLASS 10, 380V. |  |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RU1916-3AA01 |  | SIEMENS | 3RU1916-3AA01 | [11 empty] | ENRICHED | ASSEMBLY | NO MODIFIER | TYPE | STAND ALONE, OVERLOAD | ADDITIONAL FEATURES EN | CURRENT RATING: 2.8-4 A, VOLTAGE RATING: 380 V, CLASS 10, SERIUS, G/080718 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [53 empty] | Production Completed
000000000060245964 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245964 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | OVERLOAD,ABB,TF65,30-40A | OVERLOAD,ABB,TF65,30-40A | TF65-40 | 0019011819 | Unknown | https://new.abb.com/products/1SAZ811201R1003/tf65-40 |  | ABB | TF65-40 | [11 empty] | ENRICHED | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 30-40 A | VOLTAGE RATING | 600 V AC/DC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | 10 | FREQUENCY RATING | 50/60 HZ | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE | WD 54.9 X HT 101.4 X DP 106.9 MM | RESET TYPE | MANUL/AUTOMATIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 60947-1, IEC/EN 60947-4-1, IEC/EN 60947-5-1, UL 60947-1, UL 60947-4-1 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060246571 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060246571 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | OVERLOAD,ETN,6.4 - 32A,EA | OVERLOAD,ETN,6.4 - 32A,EA |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
000000000060254890 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 | CONFLICT IN VOLTAGE RATING PROCESSED BASED ON WEB SOURCE | 000000000060254890 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | OVERLOAD,LRD14,7-10AMP,525V,SCHNEIDER,GO | OVERLOAD, LRD14, 7-10AMP, 525V, SCHNEIDER, GOOSENECK, HOISTS | LRD14 | 0019011819 | Unknown | https://www.se.com/in/en/product/LRD14/tesys-lrd-thermal-overload-relays-7-10-a-class-10a/ | https://www.se.com/in/en/product/download-pdf/LRD14 | SCHNEIDER | LRD14 | [11 empty] | ENRICHED | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 7-10 A | VOLTAGE RATING | 690 V | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | 10 A | FREQUENCY RATING | 0-400 HZ | MOUNTING TYPE | PLATE, RAIL | TERMINAL TYPE | SCREW CLAMP | CONTACT MATERIAL |  | SIZE | WD 45 X HT 66 X DP 70 MM | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-4-1, EN/IEC 60947-5-1, UL 60947-4-1, UL 60947-5-1, CSA C22.2 NO 60947-4-1, CSA C22.2 NO 60947-5-1, GB/T 14048.4, GB/T 14048.5, EN 50495, IEC, UL, CSA | ADDITIONAL FEATURES EN | GOOSENECK, HOISTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060241964 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060241964 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | OVERLOAD,SIEMENS, SIRUS,200AMPS, TYPE 3 | SIEMENS, SIRUS, OVERLOAD 200AMPS, TYPE 3RB2056-1FC2, 600V AC, 50/60HZ, B600/R300 Aux.Cont WITH AUTO RESET AND 2 WIRE CONTROL | 3ZX1912-ORB20-1BA1 |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RB2056-1FC2 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RB2056-1FC2%26language%3Den | SIEMENS | 3RB2056-1FC2 |  |  | 3ZX1912-ORB20-1BA1 | [8 empty] | ENRICHED | RELAY | OVERLOAD | TYPE | SOLID-STATE | CURRENT RATING | 200 A | VOLTAGE RATING | 600 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | 10 E | FREQUENCY RATING | 50/60 HZ | MOUNTING TYPE | CONTACTOR | TERMINAL TYPE | SCREW | CONTACT MATERIAL |  | SIZE | WD 120 X HT 119 X DP 155 MM | RESET TYPE | MANUL/AUTOMATIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA, CCC, UL, EAC, RCM, ATEX, UKCA, CE, ABS | ADDITIONAL FEATURES EN | W/ AUTO RESET AND 2 WIRE CONTROL, SIRUS, B600/R300 AUXILLIARY CONTACT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255764 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255764 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | OVERLOAD,THERMAL,LRD14,TESYS D,7.0 - 10A | OVERLOAD,THERMAL,LRD14,TESYS D,7.0 - 10A,CL10A | LRD14 | 0019011819 | Unknown | https://www.se.com/in/en/product/LRD14/tesys-lrd-thermal-overload-relays-7-10-a-class-10a/ | https://www.se.com/in/en/product/download-pdf/LRD14 | SCHNEIDER | LRD14 | [11 empty] | ENRICHED | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 7-10 A | VOLTAGE RATING | 690 V | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | 10 A | FREQUENCY RATING | 0-400 HZ | MOUNTING TYPE | PLATE, RAIL | TERMINAL TYPE | SCREW CLAMP | CONTACT MATERIAL |  | SIZE | WD 45 X HT 66 X DP 70 MM | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-4-1, EN/IEC 60947-5-1, UL 60947-4-1, UL 60947-5-1, CSA C22.2 NO 60947-4-1, CSA C22.2 NO 60947-5-1, GB/T 14048.4, GB/T 14048.5, EN 50495, IEC, UL, CSA | ADDITIONAL FEATURES EN | RANGE: TESYS D, CL10A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255384 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060255384 | BHP1 | BHP Spares & Supplies | 241021 | Warehousing equipment and supplies | EA | MAN2 | OVERLOAD,TR,D,09 | OVERLOAD, TR, D, 09 |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
000000000060132774 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132774 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC EMULSION, BROKEN WHITE, E | PAINT, ACRYLIC EMULSION, BROKEN WHITE, EXTERIOR, CROWN MICATEX, PLASCON, TMX1000/0005 VEL17, 5 LITRE TIN PART NO. TMX 1000 |  |  |  | https://files.autospec.com/za/plascon/newdatasheets/micatex.pdf |  | PLASCON PAINTS (PTY) LTD | TMX 1000/0005 VEL17 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | EMULSION, EXTERIOR | CONTAINER | 5 L TIN | COLOUR | BROKEN WHITE | COATING/FINISH | ACRYLIC, MICATEX | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CROWN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031288 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031288 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC EMULSION, ELAND BEIGE, EX | PAINT, EXTERIOR, ELAND BEIGE, MICATEX, CROWN, 20L DRUM | D181-0734 | 0019008626 | DULUX (PTY) LTD | URL NOT FOUND |  | DULUX (PTY) LTD | D181-0734 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | EXTERIOR | CONTAINER | 20 L DRUM | COLOUR |  | COATING/FINISH | MICATEX | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ELAND BEIGE, CROWN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060132807 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132807 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC EMULSION, LIGHT GREY, EXT | PAINT, ACRYLIC EMULSION, LIGHT GREY, EXTERIOR, CROWN MICATEX, TMX 2000/0005 G29, 5 LITRETIN PART NO TMX 2000 |  |  |  | https://files.autospec.com/za/plascon/newdatasheets/micatex.pdf |  | PLASCON PAINTS (PTY) LTD | TMX 2000/0005 G29 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | EMULSION, EXTERIOR | CONTAINER | 5 L TIN | COLOUR | LIGHT GREY | COATING/FINISH | ACRYLIC, MICATEX | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CROWN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060132812 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132812 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC EMULSION, ORANGE, EXTERIO | PAINT, ACRYLIC EMULSION, ORANGE, EXTERIOR, PLASCON MICATEX T/BASE TINTED TO ORANGE, 5 LT TIN |  |  |  | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | [12 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | EMULSION, EXTERIOR | CONTAINER | 5 L TIN | COLOUR | ORANGE | COATING/FINISH | ACRYLIC, MICATEX | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | T/BASE TINTED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060132815 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132815 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC EMULSION, RED, EXTERIOR, | PAINT, ACRYLIC EMULSION, RED, EXTERIOR, CROWN MICATEX, PLASCON, TMX 4010/0005 A11, 5 LITRE TIN |  |  |  | https://www.autospec.co.za/productmedia/plascon/datasheets/tintbasesforcolourexpressions-crownmicatex.pdf |  | PLASCON PAINTS (PTY) LTD | TMX 4010/0005 A11 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | EMULSION, EXTERIOR | CONTAINER | 5 L TIN | COLOUR | RED | COATING/FINISH | ACRYLIC, MICATEX | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CROWN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031253 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031253 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC PVA, BLACK, INTERIOR / EX | PAINT, ACRYLIC PVA, BLACK, INTERIOR / EXTERIOR, MATT, DULUX, D175 1001 5L, 5 LITRE TIN | VEL32 | 0019008856 | PLASCON PAINTS (PTY) LTD | https://paintexpert.co.za/calming-neutral-tones/ |  | PLASCON PAINTS (PTY) LTD | VEL32 |  | DULUX (PTY) LTD | D175 1001 | [8 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | INTERIOR, EXTERIOR | CONTAINER | 5 L TIN | COLOUR | BLACK | COATING/FINISH | ACRYLIC PVA, MATT | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031285 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031285 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC PVA, BRILLIANT WHITE, EXT | PAINT, ACRYLIC PVA, BRILLIANT WHITE, EXTERIOR, LIGHT TEXTURED, WEATHERGUARD, DULUX, D181 0734 20L, 20 LITRE DRUM | EPL30 | 0019008856 | PLASCON PAINTS (PTY) LTD | https://www.builditstrand.co.za/product/plas-polvin-20lt-white-epl30/ |  | PLASCON PAINTS (PTY) LTD | EPL30 |  | DULUX (PTY) LTD | D181 0734 | [8 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | EXTERIOR, LIGHT TEXTURED, WEATHER GUARD | CONTAINER | 20 L DRUM | COLOUR | BRILLIANT WHITE | COATING/FINISH | ACRYLIC PVA | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031247 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031247 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | CN | MAN2 | PAINT, ACRYLIC PVA, BROKEN WHITE, VEL17, | PAINT, ACRYLIC PVA, BROKEN WHITE, DOUBLE VELVET, PLASCON, 5L TIN |  |  |  | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | [12 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE |  | CONTAINER | 5 L TIN | COLOUR | BROKEN WHITE | COATING/FINISH | ACRYLIC PVA, DOUBLE VELVET | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060132787 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132787 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC PVA, DENSE WHITE, MATT, | PAINT, ACRYLIC PVA, DENSE WHITE, MATT, PLASCON, PROFESSIONAL, PEM800/0005 DENSE WHITE, 5 LITRE TIN |  |  |  | https://habikonhousing.co.za/wp-content/uploads/2019/11/Vue-des-Baleines-Building-Specifications-Finishes.pdf |  | PLASCON PAINTS (PTY) LTD | PEM800/0005 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE |  | CONTAINER | 5 L TIN | COLOUR | DENSE WHITE | COATING/FINISH | ACRYLIC PVA, MATT | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROFESSIONAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060132797 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132797 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC PVA, GREEN, EXTERIOR, LIG | PAINT, ACRYLIC PVA, GREEN, EXTERIOR, LIGHT TEXTURED, WEATHERGUARD, DULUX, D181 1029 5L, 5 LITRE TIN |  |  |  | URL NOT FOUND |  | DULUX (PTY) LTD | D181 1029 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | EXTERIOR, LIGHT TEXTURED, WEATHER GUARD | CONTAINER | 5 L TIN | COLOUR | GREEN | COATING/FINISH | ACRYLIC PVA | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060132801 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132801 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC PVA, KALAHARI, INTERIOR / | PAINT, ACRYLIC PVA, KALAHARI, INTERIOR / EXTERIOR, MATT, DULUX, T175 9508 5L, 5 LITRE TIN |  |  |  | URL NOT FOUND |  | DULUX (PTY) LTD | T175 9508 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | INTERIOR, EXTERIOR | CONTAINER | 5 L TIN | COLOUR | KALAHARI | COATING/FINISH | ACRYLIC PVA, MATT | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031263 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031263 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC PVA, MOCA, INTERIOR / EXT | PAINT, POLVIN SUPER ACRYLIC, MOCA, PLASCON, 5L TIN | D175-1001 | 0019008626 | DULUX (PTY) LTD | URL NOT FOUND |  | DULUX (PTY) LTD | D175-1001 |  | PLASCON PAINTS (PTY) LTD | [9 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE |  | CONTAINER | 5 L TIN | COLOUR | MOCA | COATING/FINISH | POLVIN SUPER ACRYLIC | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060132842 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132842 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ACRYLIC PVA, YELLOW, POLVIN SUPER | PAINT, ACRYLIC PVA, YELLOW, POLVIN SUPER ACRYLIC, PLASCON, TAP5010/0005 B49, 5 LITRE TIN |  |  |  | https://www.autospec.co.za/productmedia/plascon/datasheets/tintbasesforcolourexpressions-polvin.pdf |  | PLASCON PAINTS (PTY) LTD | TAP5010/0005 B49 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE |  | CONTAINER | 5 L TIN | COLOUR | YELLOW | COATING/FINISH | ACRYLIC PVA, POLVIN SUPER ACRYLIC | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031066 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031066 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | CN | MAN2 | PAINT, AEROSOL, BLACK, MATT, DOCUSPRAY, | PAINT, AEROSOL, BLACK, MATT, DOCUSPRAY, DULUX, D242-0776 300ML, 0.3 LITRE CAN | ABM9 | 0019008856 | PLASCON PAINTS (PTY) LTD | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | ABM9 |  | DULUX (PTY) LTD | D242-0776 | [8 empty] | CLEANSED | PAINT | SPRAY | TYPE | DOCUSPRAY | CONTAINER | 0.3 L AEROSOL CAN | COLOUR | BLACK | COATING/FINISH | MATT | COVERAGE AREA |  | DRYING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031069 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031069 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | PAK | MAN2 | PAINT, AEROSOL, BRILLIANT GREEN, AEROLAK | PAINT, BRILLIANT GREEN, AEROLAK, PLASCON, 300ML AEROSOL CAN | 911040 | 0019008856 | PLASCON PAINTS (PTY) LTD | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | 911040 | [11 empty] | CLEANSED | PAINT | SPRAY | TYPE | AEROLAK | CONTAINER | 0.3 L AEROSOL CAN | COLOUR | BRILLIANT GREEN | COATING/FINISH |  | COVERAGE AREA |  | DRYING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060107372 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060107372 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, AEROSOL, BRILLIANT WHITE, GLOSS, | PAINT, AEROSOL, BRILLIANT WHITE, GLOSS, DUCOSPRAY, DULUX, D242 2734 300ML, 0.3 LITRE CAN |  |  |  | URL NOT FOUND |  | DULUX (PTY) LTD | D242 2734 | [11 empty] | CLEANSED | PAINT | SPRAY | TYPE | DOCUSPRAY | CONTAINER | 0.3 L AEROSOL CAN | COLOUR | BRILLIANT WHITE | COATING/FINISH | GLOSS | COVERAGE AREA |  | DRYING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060107359 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060107359 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | PAK | MAN2 | PAINT, AEROSOL, GLOSS BLACK, AEROLAK, LA | PAINT, AEROSOL, GLOSS BLACK, AEROLAK, LAC-R-SPRAY, PLASCON, 911070/7056 GLOSS BLACK, 0.3 LITRE PACK | 911070 | 0019008856 | PLASCON PAINTS (PTY) LTD | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | 911070/7056 | [11 empty] | CLEANSED | PAINT | SPRAY | TYPE | AEROLAK | CONTAINER | 0.3 L AEROSOL | COLOUR | BLACK | COATING/FINISH | LAC-R(LACQUER), GLOSS | COVERAGE AREA |  | DRYING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031056 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031056 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | PAK | MAN2 | PAINT, AEROSOL, JET SPRAY WHITE, UNDERGR | PAINT, AEROSOL, JET SPRAY WHITE, UNDERGROUND BLAST MARKING, HIGH GLOSS, PLASCON, ABM 9/7065 JET SPRAY WHITE, 30 X 325ML | ABM3 | 0019008856 | PLASCON PAINTS (PTY) LTD | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | ABM 9/7065 | [11 empty] | CLEANSED | PAINT | SPRAY | TYPE | JET, UNDERGROUND BLAST MARKING | CONTAINER | 30 X 325 ML AEROSOL | COLOUR | WHITE | COATING/FINISH | HIGH GLOSS | COVERAGE AREA |  | DRYING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060107357 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060107357 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | CN | MAN2 | PAINT, AEROSOL, JET SPRAY, WHITE, UNDERG | PAINT, AEROSOL, JET SPRAY, WHITE, UNDERGROUND BLAST MARKING, HIGH GLOSS, PACKED: 30 X 325 ML | ABM9 | 0019008856 | PLASCON PAINTS (PTY) LTD | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | ABM9 | [11 empty] | CLEANSED | PAINT | SPRAY | TYPE | JET, UNDERGROUND BLAST MARKING | CONTAINER | 30 X 325 ML AEROSOL | COLOUR | WHITE | COATING/FINISH | HIGH GLOSS | COVERAGE AREA |  | DRYING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060132849 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132849 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | PAK | MAN2 | PAINT, AEROSOL, PRIMER, AEROLAK, LAC-R-S | PAINT, AEROSOL, PRIMER, AEROLAK, LAC-R-SPRAY, PLASCON, 911066/7056, 0.3 LITRE PACK, 3 X 300ML |  |  |  | https://albertonhardware.co.za/product/plascon-aerolak-primer-grey-300ml/ |  | PLASCON PAINTS (PTY) LTD | 911066/7056 | [11 empty] | ENRICHED | PAINT | SPRAY | TYPE | AEROLAK | CONTAINER | 3 X 300 ML AEROSOL | COLOUR | GREY | COATING/FINISH | LAC-R(LACQUER), PRIMER | COVERAGE AREA |  | DRYING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060107377 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060107377 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | PAK | MAN2 | PAINT, AEROSOL, SUNSHINE YELLOW, AEROLAK | PAINT, AEROSOL, SUNSHINE YELLOW, AEROLAK, LAC-R-SPRAY, PLASCON, 911077/7056 SUNSHINE YELLOW, 0.3 LITRE PACK | 911077 | 0019008856 | PLASCON PAINTS (PTY) LTD | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | 911077/7056 | [11 empty] | CLEANSED | PAINT | SPRAY | TYPE | AEROLAK | CONTAINER | 0.3 L AEROSOL | COLOUR | SUNSHINE YELLOW | COATING/FINISH | LAC-R(LACQUER) | COVERAGE AREA |  | DRYING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031106 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031106 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | CN | MAN2 | PAINT, AEROSOL, YELLOW, UNDERGROUND MARK | PAINT, AEROSOL, YELLOW, UNDERGROUND MARKING, DULUX, Z242-1009 400GR, 0.4KG TIN | G15 | 0019008856 | PLASCON PAINTS (PTY) LTD | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | G15 |  | DULUX (PTY) LTD | Z242-1009 | [8 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | UNDERGROUND MARKING | CONTAINER | 0.4 KG AEROSOL TIN | COLOUR | YELLOW | COATING/FINISH |  | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060186234 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060186234 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | CN | MAN2 | PAINT, APPLIANCE WHITE, AEROLAK, 300ML | PAINT, APPLIANCE WHITE, AEROLAK, 300ML AEROSOL CAN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | AEROLAK | CONTAINER | 0.3 L AEROSOL CAN | COLOUR | APPLIANCE WHITE | COATING/FINISH |  | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060186233 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060186233 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | CN | MAN2 | PAINT, BRILLIANT GREEN, AEROLAK, 300ML | PAINT, BRILLIANT GREEN, AEROLAK, 300ML AEROSAL CAN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | AEROLAK | CONTAINER | 0.3 L AEROSOL CAN | COLOUR | BRILLIANT GREEN | COATING/FINISH |  | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060255170 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255170 | BHP1 | BHP Spares & Supplies | 312100 | Paints, primers and finishes | EA | MAN2 | PAINT, CORPRO, 200, G29, SABS, 5LT, PRIM | PAINT, CORPRO, 200, G29, SABS, 5LT, PRIME BASE | 9/0926846 | 0019011819 | Unknown | https://ogrady.co.za/product/corpro-200/ |  |  | CORPRO 200 |  |  | 9/0926846 | [8 empty] | ENRICHED | PAINT | NO MODIFIER | TYPE |  | CONTAINER | 5 L | COLOUR | GREY SABS G29 | COATING/FINISH | PRIME BASE | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060255140 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255140 | BHP1 | BHP Spares & Supplies | 312100 | Paints, primers and finishes | EA | MAN2 | PAINT, CORPRO, 800, MINES, GREY, 5LT, | PAINT, CORPRO, 800 MINES, GREY 5LT | 9/0926848 | 0019011819 | Unknown | https://ogrady.co.za/product/corpro-800/ |  |  | CORPRO 800 |  |  | 9/0926848 | [8 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE |  | CONTAINER | 5 L | COLOUR | MINES GREY | COATING/FINISH |  | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060132852 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132852 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ENAMEL, BROKEN WHITE, EGGSHELL, P | PAINT, ENAMEL, BROKEN WHITE, EGGSHELL, PLASCON, PROFESSIONAL, TEG 1000/0005 VEL17, 5 LITRE TIN PART NO TEG1000 |  |  |  | https://www.autospec.co.za/productmedia/plascon/datasheets/tintbasesforcolourexpressions-professionaleggshellenamel.pdf |  | PLASCON PAINTS (PTY) LTD | TEG 1000/0005 VEL17 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE | EGGSHELL | CONTAINER | 5 L TIN | COLOUR | BROKEN WHITE | COATING/FINISH | ENAMEL | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROFESSIONAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060031191 | TNG_001 | DATA ENRICHMENT | MKV | MKV2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031191 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | EA | MAN2 | PAINT, ENAMEL, BROKEN WHITE, POLYURETHAN | PAINT, POLYURETHANE ENAMEL, BROKEN WHITE, VELVAGLO, PLASCON, 5L TIN | VLO26 | 0019008856 | PLASCON PAINTS (PTY) LTD | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | VLO26 | [11 empty] | CLEANSED | PAINT | NO MODIFIER | TYPE |  | CONTAINER | 5 L TIN | COLOUR | BROKEN WHITE | COATING/FINISH | POLYURETHANE ENAMEL, VELVAGLO | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed