## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060032446 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060032446 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | PAK | MAN2 | COLLAR, 15.87MM, GALV, HUCK, 500 PER PAC | COLLAR, 15.87MM, GALVANIZED, HUCK, 500 PER PACK | LC-2R20G | 0019001305 | FLENDER N-EUPEX | https://www.blindrivetsupply.com/Huck%C2%AE-C50L%C2%AE-LC-2R20G-Lockbolt-Collar-58-Inch-0625-Inch-Standard-Flange-Collar-Grade-5-Steel-Zinc-Clear-Trivalent-Chromate_p_14872.html |  | FLENDER N-EUPEX | LC-2R20G | [11 empty] | ENRICHED | COLLAR | NO MODIFIER | TYPE | HUCK | INSIDE DIAMETER | 15.87 MM | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL | LOW CARBON STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASTM B633 | ADDITIONAL FEATURES EN | FINISH:GALVANIZED,PACKING QUANTITY:500 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060149713 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060149713 | BHP1 | BHP Spares & Supplies | 312700 | Machine made parts | EA | MAN2 | COLLAR, ELEVATOR, BUCKET, FERROMETAL DRG | COLLAR, ELEVATOR, BUCKET, FERROMETAL DRG FW86C32001, ITEM 4 |  |  |  | URL NOT FOUND | [11 empty] | FW86C32001 |  | 4 | CLEANSED | COLLAR | SHAFT | TYPE | ELEVATOR BUCKET | BORE DIAMETER |  | OUTSIDE DIAMETER |  | COLLAR MATERIAL |  | SCREW MATERIAL |  | SCREW TYPE |  | WIDTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FERROMETAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060161348 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060161348 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | COLLAR, HUCK BOLT, 19MM DIA, FLANGED, AV | COLLAR, HUCK BOLT, 19MM DIA, FLANGED, AVLOCK | 19F | 0019008522 | AVLOCK | URL NOT FOUND |  | AVLOCK | 19F | [11 empty] | CLEANSED | COLLAR | NO MODIFIER | TYPE | HUCK BOLT,FLANGED | INSIDE DIAMETER | 19 MM | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060245189 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245189 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COLLAR,92152-1276,KAWASAKI | COLLAR, PN 92152-1276, KAWASAKI MULE | 92152-1276 | 0019011819 | Unknown | https://www.cmsnl.com/products/collar-251x38x408_921521276/ |  | KAWASAKI MULE | 92152-1276 | [11 empty] | ENRICHED | COLLAR | NO MODIFIER | TYPE |  | INSIDE DIAMETER | 38 MM | OUTSIDE DIAMETER | 40.8 MM | THICKNESS | 25.1 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060246526 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246526 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | COLLAR,HUCK BOLT,19MM DIA,GALV,STANDARD | COLLAR, HUCK BOLT, 19MM DIA, GALV, STANDARD |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COLLAR | NO MODIFIER | TYPE | HUCK BOLT,FLANGED | INSIDE DIAMETER | 19 MM | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STANDARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060254389 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060254389 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COLLAR,RELEASE,FAM239-E62,WEIR | COLLAR, RELEASE, FAM239-E62, WEIR |  |  |  | https://www.volza.com/p/parts-release/export/export-from-south-africa/ |  | WEIR MINERALS AFRICA (PTY) LTD | FAM239-E62 | [11 empty] | ENRICHED | COLLAR | NO MODIFIER | TYPE | RELEASE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060249903 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249903 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | COLLOR,16F | 16F, FLANGE,COLLOR | FLB16FI | 0019011819 | Unknown | URL NOT FOUND |  |  | FLB16FI | [11 empty] | CLEANSED | COLLAR | NO MODIFIER | TYPE | FLANGE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060145549 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060145549 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | ST | MAN2 | CONE, INVERTED, CLASSIFIER, 2-PIECES PER | CONE, INVERTED, CLASSIFIER, 2-PIECES PER SET, DRG FM3322-MD4-005-01, ITEM 20, BALL MILL CLASSIFIER, FER-MIN-ORE |  |  |  | URL NOT FOUND | [11 empty] | FM3322-MD4-005-01 |  | 20 | CLEANSED | CONE | NO MODIFIER | TYPE | INVERTED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY:2 PIECE PER PACK,FOR BALL MILL CLASSIFIER, FER-MIN-ORE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060240137 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060240137 | BHP1 | BHP Spares & Supplies | P1030 | Pipe & tubing - process | EA | MAN2 | CONE,500/250/20,CYCLONE,EA | CONE,500/250/20,MET QUIP CYCLONE |  | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | [12 empty] | CLEANSED | CONE | NO MODIFIER | TYPE | MET QUIP CYCLONE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 500/250/20 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060244609 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244609 | BHP1 | BHP Spares & Supplies | P6020 | Health, safety environment & community services, consultants | EA | MAN2 | CONE,COLLAPSIBLE,ROAD WITH REFLECTIVE ST | COLLAPSIBLE,ROAD,CONE WITH REFLECTIVE STRIP,LIGHT,450MM HEIGHT X 240 SQUARE BASE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONE | NO MODIFIER | TYPE | COLLAPSIBLE,ROAD | SIZE | HT 450 MM X 240 SQUARE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/REFLECTIVE STRIP,LIGHT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060252157 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060252157 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CONE,EXTENTION,CE120/75/15 | CONE, EXTENTION, CE120/75/15 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EXTENTION,CE120/75/15 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060244930 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244930 | BHP1 | BHP Spares & Supplies | 492200 | Sports accessories | EA | MAN2 | CONE,SOCCER,PRACTICE | CONE,SOCCER,PRACTICE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CONE | NO MODIFIER | TYPE | SOCCER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRACTICE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060247612 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060247612 | BHP1 | BHP Spares & Supplies | 231531 | Industrial machinery components and accessories | EA | MAN2 | UPPER,CONE,FABRICATION,MULTOTEC | UPPER, CONE, FABRICATION, DWG NUMBER CY1-0347, REV0, PART NO 75 C 15 500 SHELL,MS | PART NO 75-C-15 500 SHELL | 0019011819 | Unknown | URL NOT FOUND |  |  | 75-C-15 500 SHELL | [8 empty] | CY1-0347, REV0 |  |  | CLEANSED | CONE | NO MODIFIER | TYPE | UPPER | SIZE |  | MATERIAL | MILD STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FABRICATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060141720 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060141720 | BHP1 | BHP Spares & Supplies | 121317 | Igniters | KAR | MAN2 | CORD, DETONATING, DETACORD 50, 50M REEL | CORD, DETONATING, DETACORD 50, 50M REEL 4 PER CARTON |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CORD | DETONATING | TYPE | DETACORD | CORE LOAD |  | CORD DIAMETER |  | WEIGHT OF DF |  | VELOCITY OF DETONATION |  | BREAKING LOAD RATING |  | ABRASION |  | UNDER WATER PRESSURE |  | SIDE BRISANCE |  | COLOUR |  | PACKING | 50 M REEL 4 PER CARTON | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255680 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255680 | BHP1 | BHP Spares & Supplies | 440000 | Office Equipment, Accessories and Supplies | EA | MAN2 | CORD,EXTENSION,3M,PROTECTED,SURGE,ELLIES | CORD,EXTENSION,3M,PROTECTED,SURGE,ELLIES |  |  |  | URL NOT FOUND |  | ELLIES | [12 empty] | CLEANSED | CORD | EXTENSION | TYPE | SURGE PROTECTED | CONNECTION TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | ELECTRICAL RATING |  | LENGTH | 3 M | NUMBER OF OUTLETS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060232898 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060232898 | BHP1 | BHP Spares & Supplies | 271126 | Sealing tools | M | MAN2 | CORD,NITRATE,10MM | CORD,NITRATE10MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CORD | NO MODIFIER | TYPE |  | CONSTRUCTION |  | DIAMETER | 10 MM | LENGTH |  | MATERIAL | NITRATE | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060232899 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060232899 | BHP1 | BHP Spares & Supplies | 271126 | Sealing tools | M | MAN2 | CORD,NITRATE,6MM | CORD,NITRATE6MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CORD | NO MODIFIER | TYPE |  | CONSTRUCTION |  | DIAMETER | 6 MM | LENGTH |  | MATERIAL | NITRATE | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060252873 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060252873 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CORD,PATCH,3M,CAT6,FOR,INSTRUMENTATION,N | CORD, PATCH, 3M, CAT6, FOR, INSTRUMENTATION, NETWORK |  |  |  | https://its.dlink.co.in/product.php?ref=40 |  | D-LINK | CAT6 | [11 empty] | ENRICHED | CORD | PATCH | TYPE |  | NUMBER OF FIBRE/CONDUCTOR | 24 AWG | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE |  | DIAMETER |  | LENGTH |  | JACKET MATERIAL | FR-PVC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR INSTRUMENTATION,NETWORK,CABLE LENGTH:3 M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060250399 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060250399 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | RIPCORD,BLACK/RED 100M | RIPCORD,BLACK/RED 100M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CORD | NO MODIFIER | TYPE | RIP | CONSTRUCTION |  | DIAMETER |  | LENGTH | 100 M | MATERIAL |  | COLOUR | BLACK/RED | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060250402 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060250402 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | RIPCORD,WHITE 100M | RIPCORD,WHITE 100M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CORD | NO MODIFIER | TYPE | RIP | CONSTRUCTION |  | DIAMETER |  | LENGTH | 100 M | MATERIAL |  | COLOUR | WHITE | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060246163 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246163 | BHP1 | BHP Spares & Supplies | 311515 | Ropes | KG | MAN2 | SASHCORD,COTTON,BRAIDED,10MM,KG | SASHCORD, COTTON, BRAIDED, 10MM, KILOGRAM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CORD | SASH | TYPE |  | CONSTRUCTION |  | DIAMETER | 10 MM | LENGTH |  | MATERIAL | BRAIDED COTTON | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | KILOGRAM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251175 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060251175 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | EA | MAN2 | ENGRAVER,DREMEL 290-01,EA | ENGRAVER,DREMEL 290-01,EA |  |  |  | https://www.dremel.com/au/en/p/dremel-engraver-290-1-v391 |  | DREMEL | 290-01 | [11 empty] | ENRICHED | ENGRAVER | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE | WID 3.3 X LG 17 X 4.5 CM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060180370 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060180370 | BHP1 | BHP Spares & Supplies | 821100 | Writing and translations | EA | MAN2 | ENGRAVER,ELECTRIC,GMC002, P.NO. MSO300 | ENGRAVER,ELECTRIC,GMC002, P.NO. MSO300 | GMC002, P.NO. MSO300 | 0019011470 | MAN-DIRK (PTY) LTD | URL NOT FOUND |  | MAN-DIRK (PTY) LTD | GMC002, P.NO. MSO300 | [11 empty] | CLEANSED | ENGRAVER | ROTARY | TYPE | ELECTRIC | STROKES PER MINUTE |  | MATERIAL |  | SIZE |  | ELECTRICAL RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060253605 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253605 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | ENGRAVER,TG0IM3,GRAVOGRAPH,IM3,EA | ENGRAVER, TG0IM3, GRAVOGRAPH, IM3, EACH | TG0IM3 |  |  | https://www.gravotech.com/products/engraving-stations-cnc-stations/im3 |  | GRAVOGRAPH | TG0IM3 | [11 empty] | ENRICHED | ENGRAVER | NO MODIFIER | TYPE | MANUAL | MATERIAL |  | SIZE | WID 510 X LG 580 X HT 280 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060234200 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060234200 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | ENGRENAGE,MENANT,LIFT D-ANALYSE,96 | ENGRENAGE,MENANT,LIFT D-ANALYSE,96 |  | 0019011809 | THERMO FISHER SCIENTIFIC (PTY) LTD |  |  | THERMO FISHER SCIENTIFIC (PTY) LTD | [12 empty] | CLEANSED | ENGRAVER | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MENANT,LIFT D-ANALYSE 96 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060098273 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060098273 | BHP1 | BHP Spares & Supplies | 271117 | Wrenches and drivers | ST | MAN2 | EXTRACTOR, SCREW, NO 10, RIGID, 20 PER S | EXTRACTOR, SCREW, NO 10, RIGID, 20 PER SET |  |  |  | URL NOT FOUND |  | RIGID | [12 empty] | CLEANSED | EXTRACTOR | SCREW | TYPE |  | DRILL SIZE | NO 6 | SCREW SIZE |  | LENGTH |  | MATERIAL |  | NUMBER OF PIECES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING QUANTITY:20 PER SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060248830 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248830 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | EXTRACTOR,JUMPER | EXTRACTOR,JUMPER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | EXTRACTOR | NO MODIFIER | TYPE | JUMPER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060253514 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253514 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP, MAKE WARMAN, TYPE 4/3, FRAME PLATE | PUMP, MAKE WARMAN, TYPE 4/3, FRAME PLATE, CAST IRON CASING, PART NO,, D3032-D20 | D3032-D20 | 0019011819 | Unknown | URL NOT FOUND |  |  | D3032-D20 | [5 empty] | PUMP | 4/3 | WARMAN |  |  |  | CLEANSED | PLATE | NO MODIFIER | TYPE | FRAME | SIZE |  | MATERIAL | CAST IRON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060253413 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253413 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP, MAKE WARMAN, TYPE 4/3D, COVER PLAT | PUMP. MAKE WARMAN, TYPE 4/3, COVER PLATE, CAST IRON CASING PART NO,, D3013-D20 | D3013-D20 | 0019011819 | Unknown | https://www.go-dove.com/asset/705/19413 |  |  | D3013-D20 | [5 empty] | PUMP | 4/3 | WARMAN |  |  |  | ENRICHED | PLATE | NO MODIFIER | TYPE | COVER | SIZE |  | MATERIAL | CAST IRON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060251743 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060251743 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | PUMP,DOSING,BRUBIN,BA25 | PUMP, DOSING, BRUBIN, BA25,12BAR, 1.1KW, 4POLES, 380V, FLANGED, MOUNT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | METERING | TYPE | DOSING | HEAD RANGE |  | POWER RATING | 1.1 KW | FLOW RATING |  | PRESSURE RATING | 12 BAR | VISCOSITY |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 380 V,4P | TURNDOWN RATIO |  | HOUSING MATERIAL |  | MOUNTING TYPE | FLANGED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060249796 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249796 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | PUMP,GEAR,CAST,IRON,14CC,13SPLYING | PUMP GEAR CAST IRON, 14CC PER REV, 13 SPLYING SHAFT, TWO BOLT FLANGE, -12 BSP PORTS, ROTATION CLOCKWISE, PART NR.CSR 062 019 |  |  |  | URL NOT FOUND |  |  | CSR 062 019 | [11 empty] | CLEANSED | PUMP | GEAR | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL |  | SHAFT MATERIAL |  | CASE MATERIAL |  | SHAFT SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060241587 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060241587 | BHP1 | BHP Spares & Supplies | 121315 | Explosives | EA | MAN2 | PUMP,MP2 DC MOBILE,STANDARD | PUMP,MP2 DC MOBILE,STANDARD |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE |  | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MP2 DC MOBILE STANDARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060246607 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246607 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,MULTISTAGE,50/3,WITH.CAST,IRON,CASI | PUMP,MULTISTAGE,50/3,WITH.CAST,IRON,CASING,IMPELLER,WKLN |  |  |  | http://www.penelly.com/images/stories/wkln/WKLn_curves.pdf |  |  | WKLN 50/3 | [11 empty] | ENRICHED | PUMP | CENTRIFUGAL | TYPE | MULTISTAGE | HEAD RANGE | 10-300 M | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE | 30 BAR | SUCTION PRESSURE | 10 BAR | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL | CAST IRON | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060247667 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060247667 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,MULTISTAGE,KSB,100/5,01,KSB,WKLN,52 | PUMP,MULTISTAGE,KSB,100/5,01,KSB,WKLN,525V,90KW | ZA023027 | 0019011819 | Unknown | https://www.ksb.com/en-za/lc/products/pump/ring-section-pump/wkln/W31A |  |  | WKLN 100/5 |  |  | ZA023027 | [8 empty] | ENRICHED | PUMP | CENTRIFUGAL | TYPE | MULTISTAGE,HORIZONTAL HIGH PRESSURE | HEAD RANGE | 10-300 M | POWER RATING | 90 KW | FLOW RATING | 450 M3/H | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE | 30 BAR | SUCTION PRESSURE | 16 BAR | SPEED RATING |  | DRIVE DETAILS | COMBUSTION ENGINE WITH ELECTRICLE ACTUATOR TURBINE | ELECTRICAL RATING | 525 V | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING | -10 TO 140 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060247670 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060247670 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,MULTISTAGE,KSB,80/3,525V,90KW | PUMP,MULTISTAGE,KSB,80/3,525V,90KW | ZA023023 | 0019011819 | Unknown | https://www.davisandshirtliff.com/shop/index.php?route=product/product&product_id=508 | http://www.sherwoodpumps.co.za/wkln/ |  | WKLN 80/3 |  |  | ZA023023 | [8 empty] | ENRICHED | PUMP | CENTRIFUGAL | TYPE | MULTISTAGE,HORIZONTAL HIGH PRESSURE | HEAD RANGE |  | POWER RATING | 90 KW | FLOW RATING | 450 M3/H | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 525 V | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060247673 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060247673 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,MULTISTAGE,KSB,80/4,52V,90KW | PUMP,MULTISTAGE,KSB,80/4,52V,90KW | ZA023024 | 0019011819 | Unknown | http://www.sherwoodpumps.co.za/wkln/ |  |  | WKLN 80/4 |  |  | ZA023024 | [8 empty] | ENRICHED | PUMP | CENTRIFUGAL | TYPE | MULTISTAGE,HORIZONTAL HIGH PRESSURE | HEAD RANGE |  | POWER RATING | 90 KW | FLOW RATING | 450 M3/H | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 525 V | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060254537 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060254537 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | PUMP,OBERDORFER,N7000E3/4,HORIZONTAL,PED | PUMP, OBERDORFER, N7000E3/4, HORIZONTAL, PEDESTAL-MOUNTING-ROTARY-GEAR-PUMP, FLOCCULANT, DOSING, PUMP | OBERDORFER,N7000E3/4 | 0019011819 | Unknown | https://www.gardnerdenver.com/en-us/oberdorfer/gear-pumps/bronze-pumps/n7000 |  |  | N7000E3/4 | [11 empty] | ENRICHED | PUMP | GEAR | TYPE | HORIZONTAL PEDESTAL MOUNTING ROTARY,FLOCCULANT, DOSING | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL | BRONZE | SHAFT MATERIAL | STAINLESS STEEL | CASE MATERIAL | BRONZE | SHAFT SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060253776 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253776 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | PUMP,OIL DISPENSER,RAASM,ART 32024 | PUMP, OIL DISPENSER, RAASM, ART 32024, MANUAL, WHEEL MOUNTED, DOUBLE ACTING PUMP, 24 LITER TANK, WITH LEVEL INDICATOR | ART 32024 | 0019011819 | Unknown | https://www.raasm.com/fpdf/tfpdf/schedaprodotto.php?art=32024&lang=EN |  |  | ART 32024 | [11 empty] | ENRICHED | DISPENSER | NO MODIFIER | TYPE | OIL | CAPACITY | 24 L TANK | OVERALL SIZE |  | OPERATION TYPE | MANUAL | MOUNTING TYPE | WHEEL | BODY MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/OUBLE ACTING PUMP,W/LEVEL INDICATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060245376 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245376 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,OIL,BA2-78CC | PUMP,OIL,ENGINE,BA2-78CC | BA2-78CC PUMP | 0019011819 | Unknown | URL NOT FOUND |  |  | BA2-78CC | [11 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE | OIL,ENGINE | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DISPLACEMENT:78 CC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060247428 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060247428 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP,OIL,HAND OPERATED,ROTARY ACTION | PUMP, OIL, HAND OPERATED, ROTARY ACTION OIL DRUM PUMP, 210L, 280ML PER ROTATION |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | HAND | TYPE | ROTARY ACTION OIL DRUM | INLET SIZE |  | OUTLET SIZE |  | OPERATING DEPTH |  | DISCHARGE RATING |  | FLOW RATING |  | STROKE |  | MATERIAL |  | BORE SIZE |  | PIPE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 210L,280ML PER ROTATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060247426 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060247426 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP,OIL,HAND OPERATED,SEMI-ROTARY OI | PUMP, OIL, HAND OPERATED, SEMI-ROTARY OIL PUMP KIT, 24L, COMPLETE WITH, PIPES, PUMP, OIL, HAND OPERATED, SEMI-ROTARY OIL PUMP KIT, 24L, COMPLETE WITH PIPES |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | HAND | TYPE | EMI-ROTARY OIL PUMP KIT | INLET SIZE |  | OUTLET SIZE |  | OPERATING DEPTH |  | DISCHARGE RATING |  | FLOW RATING |  | STROKE |  | MATERIAL |  | BORE SIZE |  | PIPE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4L,COMPLETE W/PIPES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060245856 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245856 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,PISTON,BG00963798,DD211L | PISTON PUMP, TRAMMING, PN BG00963798, DD211L | BG00963798 | 0019011819 | Unknown | https://root-parts.com/index.php/2022/05/10/sandvik-parts-catalog-3/ |  | SANDVIK | BG00963798 | [11 empty] | ENRICHED | PUMP | RECIPROCATING | TYPE | PISTON | HEAD RANGE |  | FLOW RATING |  | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | STROKE |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | SHAFT MATERIAL |  | PISTON MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRAMMING,DD211L | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060256317 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060256317 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | PUMP,POND,220V, LOW POINT OF SUCTION,10 | PUMP, POND, 220V, LOW POINT OF SUCTION,10 METER MAX HEAD, 50 L/MIN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE |  | HEAD RANGE | 10 M | FLOW RATING | 50 LPM | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ELECTRICLE RATING:220 V, LOW POINT OF SUCTION,POND | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060253959 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253959 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | EA | MAN2 | PUMP,PORTABLE WATER,DIESEL,6KW,EA | PUMP, PORTABLE WATER, DIESEL, 6KW, AIR-COOLED, SINGLE CYLINDER, 4 STROKE, 4 INCH INLET AND OUTLET PIPE, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PUMP | CENTRIFUGAL | TYPE | PORTABLE WATER, DIESEL | HEAD RANGE |  | POWER RATING | 6 KW | FLOW RATING |  | INLET SIZE | 4 IN | OUTLET SIZE | 4 IN | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AIR-COOLED, SINGLE CYLINDER,STROCK:4,PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060233041 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060233041 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | PUMP,PRESSURE,PERIPHERAL,PASCALI,FLOWSWI | PUMP , PRESSURE , PERIPHERAL , PASCALI , FLOWSWITCH , 0,75KW |  |  |  | URL NOT FOUND |  | PASCALI | [12 empty] | CLEANSED | PUMP | CENTRIFUGAL | TYPE | PRESSURE,PERIPHERAL | HEAD RANGE |  | POWER RATING | 0.75 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLOWSWITCH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060251186 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060251186 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | PUMP,SAMPLE,EASY VAC38-X,C/W,1.5MHOSE,FL | PUMP,SAMPLE,EASY VAC38-X,C/W,1.5MHOSE,FLUSH,BOTTLE | P-SP-01 | 0019011819 | Unknown | https://easyvac.com/pumps/ |  | EASY |  |  |  | P-SP-01 | [8 empty] | ENRICHED | PUMP | VACUUM | TYPE |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING |  | POWER RATING |  | DRIVE DETAILS | HAND | SPEED RATING |  | FLOW RATING |  | NUMBER OF STAGES |  | IMPELLER SIZE |  | IMPELLER MATERIAL |  | SHAFT MATERIAL |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 1.5M HOSE,FLUSH BOTTLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060254850 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060254850 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,SLURRY,SUBMERSIBLE,525V,15KW,KBZ415 | PUMP, SLURRY, SUBMERSIBLE, 525V, 15KW, KBZ415 |  |  |  | https://hupshenghardware.com/product/meudy-kbz415-submersible-drainage-pump-15kw-1440l-min-56mh-3phase-4/ |  | MEUDY | [12 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE | SLURRY | HEAD RANGE | 56 M | POWER RATING | 15 KW | FLOW RATING | 1440 LPM | INLET SIZE |  | OUTLET SIZE | 4 IN | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 525 V,3PH | IMPELLER DIAMETER |  | IMPELLER MATERIAL | HIGH CHROME ALLOY | CASE MATERIAL | RIGID CAST IRON | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060246480 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246480 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,SUBMERSIBLE,22KW,525V,VHM622 | PUMP,SUBMERSIBLE,22KW,525V,VHM622 | 60020080 | 0019011819 | Unknown | https://www.aqsliquidtransfer.co.za/product/vhm622-submersible-range/ |  | VEGA |  |  |  | 60020080 | [8 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE | DEWATERING | HEAD RANGE | 10 M | POWER RATING | 22 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 525 V,3PH,2P,50HZ | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL | HARD CAST IRON | END CONNECTION |  | TEMPERATURE RATING | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060255802 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255802 | BHP1 | BHP Spares & Supplies | 271200 | Hydraulic machinery and equipment | EA | MAN2 | PUMP,VANE,VICKERS,EATON,V201P6S11 | PUMP VANE, VICKERS EATON, PART NUMBER V20 1P6S 11, 19.5 CC/REV, SPLAYING SHAFT 11T, THREADED PORTS, RODDING CAR |  |  |  | https://www.eaton.com/us/en-us/skuPage.372552-5.specifications.html |  | VICKERS | [12 empty] | ENRICHED | PUMP | VANE | TYPE |  | FLOW RATING | 61 LPM | INLET SIZE |  | OUTLET SIZE |  | SUCTION PRESSURE | 152 BAR | DISCHARGE PRESSURE |  | SPEED RATING | 3400 RPM | HOUSING MATERIAL | CAST IRON | VANE MATERIAL | BUNA-N | DRIVE DETAILS |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DISPLACEMENT:19.5 CC/REV,SPLAYING SHAFT 11T, THREADED PORTS RODDING CAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060255622 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255622 | BHP1 | BHP Spares & Supplies | 271200 | Hydraulic machinery and equipment | EA | MAN2 | PUMP,VIVOLO | PUMP, VIVOLO, 17, 1.2CC, DOUBLE PUMP | 17 ,1.2CC DOUBLE PUMP | 0019011819 | Unknown | https://datasheets.globalspec.com/ds/3933/SAMESKREMLIN |  | VIVOLO | [12 empty] | ENRICHED | PUMP | DIAPHRAGM | TYPE | DOUBLE PUMP | HEAD RANGE |  | FLOW RATING | 25.344 GPM | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING | 217.6 PSI | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DISPLACEMENT:1.2CC,17 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255699 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255699 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,WARMAN,10/8F,AH-WRT,FULL,RUBBER,ZV, | PUMP,WARMAN,10/8F,AH-WRT,FULL,RUBBER,ZV,KIT,C/W,110KW,MOTOR | 10/8F-AH-WRT-110KW |  |  | https://www.global.weir/assets/files/product%20brochures/Warman%20Centrifugal%20Slurry%20AH%20Pump.pdf |  | WARMAN | [12 empty] | ENRICHED | PUMP | CENTRIFUGAL | TYPE | SLURRY | HEAD RANGE |  | POWER RATING | 110/313 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING | 704 RPM | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL | RUBBER | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ZV KIT,C/W MOTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060255661 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255661 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,WARMAN,8/6F,AH-WRT,FULL,RUBBER,ZV,K | PUMP,WARMAN,8/6F,AH-WRT,FULL,RUBBER,ZV,KIT,C/W,110KW,MOTOR | 8/6F-AH-WRT-110KW |  |  | https://www.global.weir/assets/files/product%20brochures/Warman%20Centrifugal%20Slurry%20AH%20Pump.pdf |  | WARMAN | [12 empty] | ENRICHED | PUMP | CENTRIFUGAL | TYPE | SLURRY | HEAD RANGE |  | POWER RATING | 110 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL | RUBBER | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ZV KIT,C/W MOTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [17 empty] | Production Completed
000000000060253965 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253965 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PUMP,WATER PURIFYER SYSTEM,HF8367,EA | PUMP, WATER PURIFYER SYSTEM, OPEN FLOW 12 LPM, VOLTAGE 24VDC, MAKE PUREPRO PART NUMBER HF8367,EA | 401517 | 0019011819 | Unknown | https://www.aquapurest.com/9E87D843.en.aspx | [5 empty] | 401517 | [8 empty] | ENRICHED | PUMP | DIAPHRAGM | TYPE |  | HEAD RANGE |  | FLOW RATING | 12 LPM | POWER RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING | 4.2 -8.6 BAR | SPEED RATING |  | ELECTRICAL RATING | 24 VDC,1 A | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL | RAINFORCED NYLON | TEMPERATURE RATING | 5-45 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR WATER PURIFYER SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060244580 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244580 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PUMP,WATER,3381148,CAT,EA | PUMP, WATER, 3381148, CAT, EA | 3381148 |  |  | https://parts.cat.com/en/catcorp/338-1148 |  | CAT | [12 empty] | ENRICHED | PUMP | NO MODIFIER | TYPE | WATER | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060251783 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060251783 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PUMP,WATER,6735611500,KOMATSU,EA | PUMP, WATER, 6735611500, KOMATSU, EACH | 6735611500 |  |  | https://www.kmotorshop.com/en/article-detail/view/126005/water-pump-6731621120-non-oe-3286278-6731621120-6731-62-1120 |  | KOMATSU | [12 empty] | ENRICHED | PUMP | NO MODIFIER | TYPE | WATER | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060251882 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060251882 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PUMP,WATER,CU5473172 | PUMP,WATER,CU5473172 | CU5473172 | 0019011819 | Unknown | https://shop.moderngroup.com/5473172-cummins-oem-water-pump-kit/ |  | CUMMINS | [12 empty] | ENRICHED | PUMP | NO MODIFIER | TYPE | WATER | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060254595 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060254595 | BHP1 | BHP Spares & Supplies | 231500 | Industrial process machinery, equipment and supplies | EA | MAN2 | ROCKCRETER TSL, PUMP, 380V | ROCKCRETER TSL, PUMP, 380V |  |  |  | URL NOT FOUND |  | ROCKCRETER TSL | [12 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE |  | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE RATING:380 V | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060245801 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245801 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | RETAINING,RING,PUMP,B5,170X4 | RETAINING,RING,PUMP,B5,170X4 | 750410244 | 0019011819 | Unknown | URL NOT FOUND |  |  | 750410244 | [11 empty] | CLEANSED | RING | RETAINING | TYPE |  | NOMINAL DIAMETER | 170 MM | THICKNESS | 4 MM | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PUMP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060178188 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060178188 | BHP1 | BHP Spares & Supplies | 251719 | Wheels and wheel trims | EA | MAN2 | RIM, EARTHMOVER, 8.50X20 (1200X20), 10X1 | RIM, EARTHMOVER, 8.50X20 (1200X20), 10X12 STUD |  |  |  | URL NOT FOUND | [8 empty] | EARTHMOVER | [5 empty] | CLEANSED | RIM | NO MODIFIER | TYPE |  | NUMBER OF ARMS |  | MATERIAL |  | SIZE | 8-1/2 X 24 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF STUDS:12 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060245798 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245798 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | RIM,15 INCH,4STUD,CORSA | RIM,15 INCH,4STUD,CORSA |  |  |  | URL NOT FOUND |  | CORSA | [12 empty] | CLEANSED | RIM | NO MODIFIER | TYPE |  | NUMBER OF ARMS |  | MATERIAL |  | SIZE | 15 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF STUDS:4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060250244 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060250244 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | RIM,16",STEEL | RIM,16",STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RIM | NO MODIFIER | TYPE |  | NUMBER OF ARMS |  | MATERIAL | STEEL | SIZE | 16 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060243679 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060243679 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | RIM,19.5 | RIM 19.5 NEW RIM MANITOU 7TON FORKLIFT |  |  |  | URL NOT FOUND |  | MANITOU | [6 empty] | FORKLIFT 7 TON | [5 empty] | CLEANSED | RIM | NO MODIFIER | TYPE |  | NUMBER OF ARMS |  | MATERIAL |  | SIZE | 19.5 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060253815 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253815 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | RIM,3AA3374,MANITOU,EA | RIM, 3AA3374, MANITOU, EACH | 3AA3374 |  |  | URL NOT FOUND |  | MANITOU | 3AA3374 | [11 empty] | CLEANSED | RIM | NO MODIFIER | TYPE |  | NUMBER OF ARMS |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060238270 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060238270 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | RIM,FOL,34C-28-61120, | RIM, FOL, 34C-28-61120, | 34C-28-61120 | 0019009026 | CATERPILLAR SA | https://k-part.777parts.org/spare/komatsu/34c-28-61120/ |  | KOMATSU | 34C-28-61120 |  | CATERPILLAR SA | [9 empty] | ENRICHED | RIM | NO MODIFIER | TYPE |  | NUMBER OF ARMS |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060246990 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246990 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | RIM,NEW,12INCH,FORKLIFT | RIM,NEW,12INCH,FORKLIFT |  |  |  | URL NOT FOUND | [8 empty] | FORKLIFT | [5 empty] | CLEANSED | RIM | NO MODIFIER | TYPE |  | NUMBER OF ARMS |  | MATERIAL |  | SIZE | 12 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060246991 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246991 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | RIM,NEW,9INCH FORKLIFT | RIM,NEW,9INCH FORKLIFT |  |  |  | URL NOT FOUND | [8 empty] | FORKLIFT | [5 empty] | CLEANSED | RIM | NO MODIFIER | TYPE |  | NUMBER OF ARMS |  | MATERIAL |  | SIZE | 9 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060030995 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060030995 | BHP1 | BHP Spares & Supplies | 312115 | Paints and primers | CN | MAN2 | THINNER, DULUX, Z149-2202 5 L, 5 LITRE T | THINNER, DULUX, Z149-2202 5 L, 5 LITRE TIN | Z149-2202 | 0019008626 | DULUX (PTY) LTD | https://tender.theafrica.co.za/governmenttender/supply-and-delivery-of-thinners-for-roadmarking-paint-in-5lt-tins-dulux-z1492202-or-approved-equival-441021386 |  | DULUX (PTY) LTD | Z149-2202 | [11 empty] | ENRICHED | THINNER | NO MODIFIER | TYPE |  | CONTAINER | 5 L TIN | VOC CONTENT |  | DRYING TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060031001 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031001 | BHP1 | BHP Spares & Supplies | 312118 | Paint solvents and thinners | EA | MAN2 | THINNER, HEAVY DUTY, 25 LITRE PLASTIC CO | THINNER, HEAVY DUTY, 25 LITRE PLASTIC CONTAINER | EPT1 | 0019008856 | PLASCON PAINTS (PTY) LTD | http://media.autospec.com/ZA/plascon/2019/thinners-and-reducers/ept-1-gp-epoxy-reducer.pdf |  | PLASCON PAINTS (PTY) LTD | EPT1 | [11 empty] | ENRICHED | THINNER | NO MODIFIER | TYPE | HEAVY DUTY | CONTAINER | 25 L PLASTIC CONTAINER | VOC CONTENT |  | DRYING TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060031003 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031003 | BHP1 | BHP Spares & Supplies | 312118 | Paint solvents and thinners | EA | MAN2 | THINNERS, ETCH PRIMER, PACKED: 2 X 5 LT | THINNERS, ETCH PRIMER, PACKED: 2 X 5 LT TIN | EPT1 | 0019008856 | PLASCON PAINTS (PTY) LTD | http://media.autospec.com/ZA/plascon/2019/thinners-and-reducers/ept-1-gp-epoxy-reducer.pdf |  | PLASCON PAINTS (PTY) LTD | EPT1 | [11 empty] | ENRICHED | THINNER | NO MODIFIER | TYPE | ETCH PRIMER | CONTAINER | 2 X 5 L TIN | VOC CONTENT |  | DRYING TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060031000 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031000 | BHP1 | BHP Spares & Supplies | 312118 | Paint solvents and thinners | EA | MAN2 | THINNERS, HEAVY DUTY, PACKED: 2 X 5 LT T | THINNERS, HEAVY DUTY, PACKED: 2 X 5 LT TIN | PUR1 | 0019008856 | PLASCON PAINTS (PTY) LTD | http://media.autospec.com/ZA/plascon/2019/thinners-and-reducers/pur-1-universal-reducer.pdf |  | PLASCON PAINTS (PTY) LTD | PUR1 | [11 empty] | ENRICHED | THINNER | NO MODIFIER | TYPE | HEAVY DUTY | CONTAINER | 2 X 5 L TIN | VOC CONTENT |  | DRYING TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060031006 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060031006 | BHP1 | BHP Spares & Supplies | 312118 | Paint solvents and thinners | EA | MAN2 | THINNERS, LACQUER, GRADE A, PACKED: 2X5L | THINNERS, LACQUER, GRADE A, PACKED: 2 X 5 LT TIN, WERE REPLACED WITH # 60107353 | SNK7 | 0019008856 | PLASCON PAINTS (PTY) LTD | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | SNK7 | [11 empty] | CLEANSED | THINNER | NO MODIFIER | TYPE |  | CONTAINER | 2 X 5 L TIN | VOC CONTENT |  | DRYING TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:LACQUER,GRADE:A,WERE REPLACED W/NO 60107353 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060132867 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060132867 | BHP1 | BHP Spares & Supplies | 312118 | Paint solvents and thinners | EA | MAN2 | THINNERS, LACQUER, GRADE A, POLYCELL, PL | THINNERS, LACQUER, GRADE A, POLYCELL, PLASCON, 920009/1020/1020, 20 LITRE TIN |  |  |  | URL NOT FOUND |  | PLASCON PAINTS (PTY) LTD | 920009/1020/1020 | [11 empty] | CLEANSED | THINNER | NO MODIFIER | TYPE | POLYCELL | CONTAINER | 20 L | VOC CONTENT |  | DRYING TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:LACQUER,GRADE:A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060030996 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060030996 | BHP1 | BHP Spares & Supplies | 312118 | Paint solvents and thinners | EA | MAN2 | THINNERS, UNIVERSAL REDUCER, , PUR 1/000 | THINNERS, UNIVERSAL REDUCER, , PUR 1/0005, 5 LITRE TIN | Z149-2202 | 0019008626 | DULUX (PTY) LTD | https://tender.theafrica.co.za/governmenttender/supply-and-delivery-of-thinners-for-roadmarking-paint-in-5lt-tins-dulux-z1492202-or-approved-equival-441021386 |  | DULUX (PTY) LTD | Z149-2202 |  |  | UR 1/0005 | [8 empty] | ENRICHED | THINNER | NO MODIFIER | TYPE | UNIVERSAL REDUCER | CONTAINER | 5 L TIN | VOC CONTENT |  | DRYING TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060240938 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060240938 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | L | MAN2 | WATER, BOTTLED, 20LT | WATER,BOTTLED, 20LT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BOTTLE | NO MODIFIER | TYPE | WATTER | CAPACITY | 20 L | MATERIAL |  | SIZE |  | LID TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060235846 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060235846 | BHP1 | BHP Spares & Supplies | 401615 | Filters | EA | MAN2 | WATER, PURIFIER SYSTEM | WATER, PURIFIER SYSTEM. |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FILTER | NO MODIFIER | TYPE | WATER, PURIFIER SYSTEM. | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060231938 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060231938 | BHP1 | BHP Spares & Supplies | 241220 | Bottles | CT | MAN2 | WATER,REFILL,20L,NEW | 20L NEW WATER REFILL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BOTTLE | NO MODIFIER | TYPE | WATER REFILL | CAPACITY | 20 L | MATERIAL |  | SIZE |  | LID TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060243208 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060243208 | BHP1 | BHP Spares & Supplies | 311600 | Hardware | EA | MAN2 | WRAP,300MMX1200M,ECONO | ECONO, WRAP, 300MMX1200M |  |  |  | URL NOT FOUND |  | ECONO | [12 empty] | CLEANSED | WRAP | NO MODIFIER | TYPE |  | SIZE | 300 MM X 1.200 M | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060248567 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248567 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | WRAP,RAPP164,100MMX4.8M,MISC01 | WRAP,RAPP164,100MMX4.8M,MISC01 |  |  |  | https://dixonvalve.com/en/products/rapp-it-pipe-repair-kit/rap164 |  |  | RAPP164 | [11 empty] | ENRICHED | KIT | NO MODIFIER | TYPE | WRAP IT PIPE REPAIR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE:100 MM X 4.8 M,MISC01 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060164764 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060164764 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | ROL | MAN2 | WRAP,SPIRAL BLACK 12.7MM | WRAP: SPIRAL BLACK 12.7MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | WRAP | NO MODIFIER | TYPE | SPIRAL | SIZE | 12.7 MM | MATERIAL |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060164765 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060164765 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | ROL | MAN2 | WRAP,SPIRAL BLACK 19.1MM | WRAP: SPIRAL BLACK 19.1MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | WRAP | NO MODIFIER | TYPE | SPIRAL | SIZE | 19.1 MM | MATERIAL |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed