## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060254654 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254654 | BHP1 | BHP Spares & Supplies | 301815 | Sanitary ware | EA | MAN2 | STOP COCK,SHOWER TAP,UNDERTILE,COMPLETE | STOP COCK, SHOWER TAP, UNDERTILE, COMPLETE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TAP | NO MODIFIER | TYPE | SHOWER,STOP COCK,UNDERTILE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060128779 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060128779 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | WELDING HELMET, FLIP FRONT, HEAT RESIST, | WELDING HELMET, FLIP FRONT, HEAT RESIST, 53-170 |  |  |  | URL NOT FOUND |  |  | 53-170 | [11 empty] | CLEANSED | HELMET | WELDING | TYPE | FLIP FRONT,HEAT RESIST | LENS SIZE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060233725 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060233725 | BHP1 | BHP Spares & Supplies | 471115 | Washing and drying equipment | EA | MAN2 | LANCE,S/STEEL,800MM,500BAR | LANCE, HIGH PRESSURE WASHER, STAINLESS STEEL, 800MM LONG, 500 BAR PRESSURE, WORKS WITH 500 BAR GUN AND NOZZLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LANCE | NO MODIFIER | TYPE | HIGH PRESSURE WASHER | INLET SIZE |  | OUTLET SIZE |  | MATERIAL | STAINLESS STEEL | OVERALL LENGTH | 800 MM | FLOW RATING |  | PRESSURE RATING | 500 BAR | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WORKS W/ GUN AND NOZZLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060029541 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060029541 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | LENS, WELDING HELMET, CLEAR GLASS, AFROX | LENS, WELDING HELMET, CLEAR GLASS, AFROX | 1619110 | 0019008819 | MSA AFRICA | URL NOT FOUND |  | MSA AFRICA | 1619110 |  | AFROX | [9 empty] | CLEANSED | LENS | WELDING | TYPE |  | SHAPE |  | SIZE |  | SHADE DESIGNATION |  | MATERIAL | GLASS | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060128808 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060128808 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | LENS, WELDING HELMET, SHADE 4 | LENS, WELDING HELMET, SHADE 4 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LENS | WELDING | TYPE |  | SHAPE |  | SIZE |  | SHADE DESIGNATION |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHADE 4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060250948 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060250948 | BHP1 | BHP Spares & Supplies | 391016 | Lamps | EA | MAN2 | LENS,MAGNIFYING,LAMP,100MMLENS | LENS, MAGNIFYING, LAMP, 100MMLENS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LENS | LAMP | TYPE |  | COLOUR |  | SIZE | 100 MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MAGNIFYING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060226145 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060226145 | BHP1 | BHP Spares & Supplies | 461516 | Security and control equipment | EA | MAN2 | LOCKER UNLOCK TOKEN | SKYCOM LOCKER UNLOCK TOKEN |  |  |  | URL NOT FOUND |  | SKYCOM | [12 empty] | CLEANSED | LOCKER | NO MODIFIER | TYPE | UNLOCK TOKEN | LOCKING TYPE |  | OPERATOR TYPE |  | NUMBER OF POSITIONS |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060238886 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060238886 | BHP1 | BHP Spares & Supplies | 241124 | Storage chests, cabinets and trunks | EA | MAN2 | LOCKER,1800X300X450,EA | LOCKER,1800X300X450,TOPSHELF,HANGRAIL,GREY,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LOCKER | NO MODIFIER | TYPE | TOPSHELF | LOCKING TYPE |  | OPERATOR TYPE |  | NUMBER OF POSITIONS |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HANGRAIL,COLOUR:GREY,SIZE:1800 X 300 X 450,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060254651 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254651 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | LOCKER,STEEL,2 TIER,TWO DOOR,180 X 30 X | LOCKER, STEEL, 2 TIER, TWO DOOR, 180 X 30 X 52, LOC002-GREY | LOC002-GREY | 0019011819 | Unknown | https://www.supplywise.co.za/hhh-loc002-grey-steel-locker |  |  | LOC002 | [11 empty] | CLEANSED | LOCKER | NO MODIFIER | TYPE |  | LOCKING TYPE |  | OPERATOR TYPE |  | NUMBER OF POSITIONS |  | MATERIAL | STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 TIER,TWO DOOR,SIZE180 X 30 X 52,COLOUR:GREY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060255530 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255530 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | HYDRAULIC,OIL,SAE,10L | OIL, HYDRAULIC, SAE, 10L |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LUBRICANT | NO MODIFIER | TYPE | OIL,HYDRAULIC | GRADE |  | CONTAINER | 10 L | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SAE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060231906 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060231906 | BHP1 | BHP Spares & Supplies | 531025 | Clothing accessories | EA | MAN2 | MASK,BANDANAS | BANDANAS MASK |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MASK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BANDANAS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060231946 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060231946 | BHP1 | BHP Spares & Supplies | 111715 | Basic steels | EA | MAN2 | PAL,PAN,AN,FW,7SP,40X2X1800X3H | PAL-PANANFW7SP40X2X1800X3H |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PAN | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 40 X 2 X 1800 X HT 3 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AN,FW,7SP,PAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060247232 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060247232 | BHP1 | BHP Spares & Supplies | 410000 | Laboratory, Measuring, Observing and Testing Equipment | EA | MAN2 | LOUVRE PANEL,LINBIN,1400 X 500 MM | LOUVRE PANEL, LINBIN, 1400 X 500 MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1400 X 500 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOUVRE,LINBIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060255875 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255875 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PANEL,CONTROL,DEMAGNETIZING,110V,HMD100- | PANEL,CONTROL,DEMAGNETIZING,110V,HMD100-350-600,CONTROL,VOLTAGE,ON,PANEL,TO,BE,110V |  |  |  | URL NOT FOUND |  |  | HMD100-350-600 | [11 empty] | CLEANSED | PANEL | CONTROL | TYPE | DEMAGNETIZING | VOLTAGE RATING | 110 V | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060253865 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253865 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | PANEL,ELECTRICAL,ORANGE,EA | PANEL,ELECTRICAL,ORANGE,300MM WIDE X 400MM HIGH X 180MM DEEP,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | ENCLOSURE |  | SIZE | WD 300 X HT 400 X DP 180 MM | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:ORANGE,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060253864 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253864 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | PANEL,ELECTRICAL,ORANGE,EA | PANEL,ELECTRICAL,ORANGE,300MM WIDE X 400MM HIGH X 180MM DEEP,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | ENCLOSURE |  | SIZE | WD 300 X HT 400 X DP 180 MM | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:ORANGE,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060250119 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060250119 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PANEL,HI FLOW,305X305X30/17X17 T1 | PANEL,HI FLOW,305X305X30/17X17 T1 | 103537 | 0019011819 | Unknown | URL NOT FOUND |  |  | 103537 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | HI FLOW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/17 X 17 | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | T1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060240861 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060240861 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | PANEL,LIGHTS,T8,18W,4000K,LENGTH600MM | INST,PANEL,LIGHTS,T8,18W,4000K,LENGTH 600MM | T8 |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | PANEL | LAMP WATTAGE | 18 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4000K,SIZE: LG 600 MM,T8,INST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060248933 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060248933 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | PANEL,MILDSTEEL,595HX495WX250D,RAL5012 | INST,PANEL,MILD STEEL,595H X 495W X 250D,RAL 5012,TOOLBOOX BLUE IP65 ENCLOSURE,1 X CHASSIS PLATE, 2 X SQUARE KEY LOCKS, 4 X WALL MOU |  |  |  | URL NOT FOUND | [9 empty] | RAL 5012 |  |  |  |  | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | WD 495 X HT 595 X DP 250 | MATERIAL | MILD STEEL | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST,TOOLBOOX BLUE,ENCLOSURE:IP65,1 X CHASSIS PLATE,2 X SQUARE KEY LOCKS 4 X WALL MOUNT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060248330 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060248330 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PANEL,N/O,START,BUTTON,GREEN | PANEL,N/O,START,BUTTON,GREEN | 599819028 |  |  | URL NOT FOUND |  |  | 599819028 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | N/O,START,BUTTON | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:GREEN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060248543 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060248543 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PANEL,TP,305X305X30,1X9.8MM | PANEL,TP,305X305X30,1X9.8MM | 224193 | 0019011819 | Unknown | URL NOT FOUND |  |  | 224193 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30.1 X 9.8 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060248653 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060248653 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PANEL,VSD,DUAL,2.2KW,525V,COMPLETE | PANEL,VSD,DUAL,2.2KW,525V,COMPLETE | LPNS017309 | 0019011819 | Unknown | URL NOT FOUND |  |  | LPNS017309 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING | 582 V | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER:2.2 KW,VSD,DUAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060115024 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060115024 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL: SCREEN, 305MM X 305MM X 30MM THIC | PANEL: SCREEN, 305MM X 305MM X 30MM THICK, 10MM X 10MM APERTURE, POLYURETHANE, VIBRO-PLAST, TYPE 1 PP FIXINGS, C/W PINS & SLEEVES, M | 103369 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 103369 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X THK 30 MM | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | APERTURE SIZE:10 X 10 MM,VIBRO-PLAST,1 PP FIXINGS,C/W PINS & SLEEVES,M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060244763 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060244763 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | RUBBER MODULAR PANELS,305x305x50,100x10 | RUBBER MODULAR PANELS, 305x305x50,100x100, SQUARE APERTURE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | MODULAR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 50 | MATERIAL | RUBBER | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | APERTURE SIZE:100 X 100 SQ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060244779 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060244779 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | RUBBER MODULAR PANELS,305x305x50,70x70 | RUBBER MODULAR PANELS, 305x305x50, 70x70, SQUARE APERTURE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | MODULAR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 50 | MATERIAL | RUBBER | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | APERTURE SIZE:70 X 70 SQ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060226167 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060226167 | BHP1 | BHP Spares & Supplies | 461516 | Security and control equipment | EA | MAN2 | SPARES TURNSTILE CONTROL PANEL | TURNSTAR SPARES TURNSTILE CONTROL PANEL |  |  |  | URL NOT FOUND |  | TURNSTILE | [12 empty] | CLEANSED | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TURNSTAR,SPARES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060253518 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253518 | BHP1 | BHP Spares & Supplies | P6010 | Training | EA | MAN2 | TRAININGPANEL,AC/FWD-REV,3STEP,JOYSTICK | TRAININGPANEL ,AC/FWD-REV C/W PLUGGIN BRAKING, CONTROLLED VIA 3 STEP, JOYSTICK HAND CONTROLLER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | TRAINING,AC/FWD-REV | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W PLUGGIN BRAKING,CONTROLLED VIA 3 STEP,JOYSTICK HAND CONTROLLER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060253516 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253516 | BHP1 | BHP Spares & Supplies | P6010 | Training | EA | MAN2 | TRAININGPANEL,DC/FWD-REV,3STEP,JOYSTICK | TRAININGPANEL ,DC/FWD-REV DYNAMIC BRAKING, CONTROLLED VIA 3 STEP, JOYSTICK HAND CONTROLLER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | TRAINING,AC/FWD-REV | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DYNAMIC BRAKING,CONTROLLED VIA 3 STEP,JOYSTICK HAND CONTROLLER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060253517 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253517 | BHP1 | BHP Spares & Supplies | P6010 | Training | EA | MAN2 | TRAININGPANEL,PLCCONTROL,PLUGINNEUTRAL | TRAINING PANEL, PLC CONTROL,PLUG IN TO NEUTRAL,FORWARD REVERSE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | TRAINING,PLC CONTROL,FORWARD REVERSE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLUG IN TO NEUTRAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060222094 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060222094 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PEDAL, FOOT, PECKER | PEDAL, FOOT, PECKER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PEDAL | NO MODIFIER | TYPE | FOOT | OVERALL SIZE |  | MATERIAL |  | MOUNTING TYPE |  | MOUNTING SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PECKER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060241518 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060241518 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PEDAL,ACCELERATOR, | PEDAL,ACCELERATOR,P/N2934772 | 2934772 |  |  | URL NOT FOUND |  |  | 2934772 | [11 empty] | CLEANSED | PEDAL | NO MODIFIER | TYPE | ACCELERATOR | OVERALL SIZE |  | MATERIAL |  | MOUNTING TYPE |  | MOUNTING SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060243731 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060243731 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PEDAL,ACCELERATOR,2027337,HYSTER,EA | PEDAL, ACCELERATOR, 2027337, HYSTER, EA | 2027337 | 0019011819 | Unknown | https://shop.moderngroup.com/2027337-hyster-aftermarket-pedal-accelerator/ |  | HYSTER | 2027337 | [5 empty] | FORKLIFT | [5 empty] | ENRICHED | PEDAL | NO MODIFIER | TYPE | ACCELERATOR | OVERALL SIZE |  | MATERIAL |  | MOUNTING TYPE |  | MOUNTING SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060249757 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060249757 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PULLER,7957991170,EA | PULLER, 7957991170, KOMATSU, EACH | 7957991170 |  |  | URL NOT FOUND |  | KOMATSU | 7957991170 | [11 empty] | CLEANSED | PULLER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060251796 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060251796 | BHP1 | BHP Spares & Supplies | 271116 | Forming tools | ST | MAN2 | PULLER,BEARING,75-105MM,EA | BEARING, PULLER, 75 - 105MM, HYDRAULIC, SEPERATOR, SET, MEODEL: HS11, KENNEDY, KEN-503-4720K | KEN-503-4720K | 0019011819 | Unknown | https://www.techno.com.my/online/index.php?main_page=product_info&cPath=647_672&products_id=933 |  | KENNEDY | KEN-503-4720K | [6 empty] | HS11 |  |  |  |  | ENRICHED | KIT | NO MODIFIER | TYPE | BEARING PULLER,HYDRAULIC SEPERATOR | CONTENTS | 1X HYDRAULIC RAM,1 X SAPARETOR,2 X 200 MM MAIN ROD,2 X 230 MM EXTENSION ROD,1 X BEAM,1 X RAM NUT,1 X 80 MM PUSH PLATE,1 X50 MM RAM | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 75 - 105 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060254409 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254409 | BHP1 | BHP Spares & Supplies | 271116 | Forming tools | ST | MAN2 | PULLER,BEARING,LGHMS314H,ST | BEARING, PULLER, LGHMS314H, 14 TON, 3 JAW, HYDRAULIC, LOCK-GRIP, MASTER, PULLER, SET, WITH, HAND, PUMP, BRAND-ENERPAC | LGHMS314H | 0019011819 | Unknown | https://www.enerpac.com/en-us/puller-sets/lock-grip-master-puller-sets/LGHMS314H |  | ENERPAC | LGHMS314H | [11 empty] | CLEANSED | KIT | NO MODIFIER | TYPE | HYDRAULIC,LOCK-GRIP,BEARING PULLER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAPACITY:14 TON,3 JAW,W/ HAND PUMP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060254366 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254366 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PULLER,HYDRAULIC,GEAR,30,TON | PULLER, HYDRAULIC, GEAR, 30, TON |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PULLER | NO MODIFIER | TYPE | HYDRAULIC,GEAR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAPACITY:30 TON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060254302 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254302 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PULLER,ROD,PNEUMATIC,COMPLETE | PULLER, ROD, PNEUMATIC, COMPLETE U3-6-87B | U3-6-87B | 0019011819 | Unknown | URL NOT FOUND |  |  | U3-6-87B | [11 empty] | CLEANSED | PULLER | NO MODIFIER | TYPE | ROD,PNEUMATIC | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060253856 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253856 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MEGACHAR,100LM,PURIFIER | MEGACHAR, 100LM, PURIFIER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PURIFIER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | CAPACITY | 100 ML | FLOW RATING |  | FILTRATION RATE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MEGACHAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060249747 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060249747 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | RADIATOR,1622635,EA | RADIATOR, 1622635, HYSTER, EACH | 1622635 |  |  | https://flp.com.ua/ua/p1650929507-radiator-komatsu-hyster.html |  | HYSTER | 1622635 | [11 empty] | CLEANSED | RADIATOR | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | END CONNECTION |  | WORKING PRESSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | OUTPUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SPEED:9730 RPM,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060243870 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060243870 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | RADIATOR,1HZ,RDTA0840,TOYOTA,LC | RADIATOR, 1HZ, PN RDTA0840, TOYOTA LC | RDTA8040 | 0019011819 | Unknown | URL NOT FOUND |  | TOYOTA LC | RDTA8040 | [11 empty] | CLEANSED | RADIATOR | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | END CONNECTION |  | WORKING PRESSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | OUTPUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY:1 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060249249 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060249249 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | RADIATOR,2054531,EA | RADIATOR, 2054531, HYSTER, EACH | 2054531 |  |  | https://www.orangeparts.com/hyster-2054531-radiator/ |  | HYSTER | 2054531 | [11 empty] | CLEANSED | RADIATOR | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | END CONNECTION |  | WORKING PRESSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | OUTPUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060253178 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253178 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | RADIATOR,3EC0431310,KOMATSU,EA | RADIATOR, 3EC0431310, KOMATSU, EACH | 3EC0431310 |  |  | https://www.bukalapak.com/p/industrial/mesin/suku-cadang-aksesoris-mesin/3qvb1dc-jual-radiator-3ec0431310-komatsu-genuine |  | KOMATSU | 3EC0431310 | [11 empty] | CLEANSED | RADIATOR | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | END CONNECTION |  | WORKING PRESSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | OUTPUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060246656 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060246656 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | RADIATOR,WITH,CAP,1000000RAD | RADIATOR,WITH,CAP,1000000RAD | 1000000RAD | 0019011819 | Unknown | URL NOT FOUND |  |  | 1000000RAD | [11 empty] | CLEANSED | RADIATOR | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | END CONNECTION |  | WORKING PRESSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | OUTPUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ CAP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060176540 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060176540 | BHP1 | BHP Spares & Supplies | 261200 | Electrical wire, cable and harness | EA | MAN2 | REAL,EXTENSION ELECTRICAL 16A 30M | REAL,EXTENSION ELECTRICAL 16A 30M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | EXTENSION | NO MODIFIER | TYPE | ELECTRICAL,REAL | EXTENDED SIZE |  | OVERALL SIZE | 30 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURRENT:16 A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060128146 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060128146 | BHP1 | BHP Spares & Supplies | 461916 | Fire fighting equipment | EA | MAN2 | REEL, C/W 30M RUBBER HOSE & LA NOZZLE, C | REEL, C/W 30 METRE RUBBER HOSE & LA NOZZLE, CHUBB |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | REEL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CAPACITY |  | OPERATION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 30 M RUBBER HOSE & LA NOZZLE,CHUBB | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255516 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255516 | BHP1 | BHP Spares & Supplies | 251719 | Wheels and wheel trims | EA | MAN2 | REEL,ASSEMBLY,TWP-2329-01,TWP-2329-02 | REEL ASSEMBLY, DRAWING TWP-2329-01 AND TWP-2329-02, DANGO CAR REEL |  |  |  | URL NOT FOUND |  | DANGO | [9 empty] | TWP-2329-01,TWP-2329-02 |  |  | CLEANSED | REEL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CAPACITY |  | OPERATION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,CAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255528 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255528 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | REEL,EXTENSION,40MX2.5MM | REEL,EXTENSION,40MX2.5MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | REEL | NO MODIFIER | TYPE | EXTENSION | SIZE | 40 M X 2.5 MM | MATERIAL |  | CAPACITY |  | OPERATION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060243957 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060243957 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | REEL,GREEN,C/W STAND,FOR HYDRANT,EA | REEL,GREEN,C/W STAND,FOR HYDRANT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | REEL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CAPACITY |  | OPERATION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:GREEN,C/W STAND,FOR HYDRANT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060253673 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253673 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | REEL,HOSE,AIR,AUTO,RETRACTABLE,15M,10MM, | REEL, HOSE, AIR, AUTO, RETRACTABLE, 15M, 10MM, HOSE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | REEL | HOSE | TYPE |  | HOSE LENGTH | 15 M | HOSE SIZE | 10 MM | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AIR,AUTO,RETRACTABLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060239043 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060239043 | BHP1 | BHP Spares & Supplies | 431900 | Communications Devices and Accessories | EA | MAN2 | MIC,REMOTE,SPEAKER,PMMN4076,MOTOROLA,DP2 | MIC REMOTE SPEAKER PMMN4076 MOTOROLA DP2600 | PMMN4076 |  |  | https://www.motorolasolutions.com/en_xp/products/two-way-radio-accessories/audio-accessories/earpieces/pmmn4076.html#tabaccessoryinfo |  | MOTOROLA | PMMN4076 | [6 empty] | DP2600 |  |  |  |  | CLEANSED | SPEAKER | NO MODIFIER | TYPE | MIC REMOTE | VOLTAGE RATING |  | POWER RATING |  | IMPEDANCE |  | RESISTANCE RANGE |  | SIZE |  | MOUNTING TYPE |  | COMPATIBILITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060242411 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 | SUITABLE NM NOT FOUND | 000000000060242411 | BHP1 | BHP Spares & Supplies | 461815 | Safety apparel | EA | MAN2 | MUDGUN,REMOTE,SAFETY, HARNESS,CROSSOVER | MUDGUN,REMOTE,MULTIPLEX,COMFORT,DELUX,RC,TRANSMITTER,HARNESS,CROSSOVER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | [62 empty] | Production Completed
000000000060245347 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060245347 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | REMOTE DISPLAY DIGIT,320MM,EA | REMOTE DISPLAY DIGIT, 320MM, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | DISPLAY | NO MODIFIER | TYPE | REMOTE,DIGIT | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE | 320 MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060238747 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060238747 | BHP1 | BHP Spares & Supplies | P1532 | Electronic equipment & parts, circuit boards, integrated cir | EA | MAN2 | REMOTE,5BUTTON,GATE,MOTORS | 5BUTTON , REMOTE , GATE , MOTORS |  |  |  | URL NOT FOUND | [8 empty] | MOTOR | [5 empty] | CLEANSED | GATE | NO MODIFIER | TYPE | REMOTE,5 BUTTON | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 5 BUTTON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060245635 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060245635 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | REMOTE,AIRCON,GWH12QC-K3DNA1B/I,EA | REMOTE,AIRCON,GWH12QC-K3DNA1B/I,EA |  |  |  | https://www.electroreftech.com/product/gree-1-0-ton-dc-inverter-air-conditioner-nepal/ |  |  | GWH12QC-K3DNA1B/I | [11 empty] | ENRICHED | AIR CONDITIONER | NO MODIFIER | TYPE |  | BTUH CAPACITY |  | REFRIGERANT TYPE |  | FLOW RATING |  | COOLING METHOD |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | TANK CAPACITY |  | POWER CORD LENGTH |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH,WALL MOUNTING DC INVERTER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060239519 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060239519 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | REMOTE,CENTURION,NOVA,BUTTON,V3,SG | REMOTE, CENTURION, NOVA, V3 SG TRANSMITTER, 433MHZ 1 BUTTON |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE | REMOTE,CENTURION | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NOVA,V3 SG,433 MHZ,1 BUTTON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060251605 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060251605 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | REMOTE,CONTROL,ASSEMBLY,16M,ELECTRICAL | REMOTE, CONTROL, ASSEMBLY, 16M, ELECTRICAL, LC276,FOR POWERPACK, HYDRAULIC |  |  |  | URL NOT FOUND | [9 empty] | LC276 |  |  |  |  | CLEANSED | CONTROLLER | ELECTRICAL | TYPE | REMOTE,HYDRAULIC | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,SIZE:16M,FOR POWERPACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060256139 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060256139 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | REMOTE,E/STOP,STATION,SINGLE,ELEMENT | REMOTE, E/STOP, STATION, SINGLE, ELEMENT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STATION | NO MODIFIER | TYPE | REMOTE | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | E/STOP,SINGLE,ELEMENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060245649 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060245649 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | REMOTE,WIRED,CZ-RD513C,PANASONIC,EA | REMOTE,WIRED,CZ-RD513C,PANASONIC,EA |  |  |  | https://www.orionairsales.co.uk/panasonic-air-conditioning-cwa75c2586-wired-remote-controller-cz-rd513c-czrd513c-hard-wired-8123-p.asp |  | PANASONIC | CZ-RD513C | [11 empty] | CLEANSED | AIR CONDITIONER | NO MODIFIER | TYPE | REMOTE,WIRED | BTUH CAPACITY |  | REFRIGERANT TYPE |  | FLOW RATING |  | COOLING METHOD |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | TANK CAPACITY |  | POWER CORD LENGTH |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060231940 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060231940 | BHP1 | BHP Spares & Supplies | 471318 | Cleaning and disinfecting solutions | L | MAN2 | SANITIZER,60 PERCT,ALCOHOL,BASED,25L,CON | 60 PERCT-ALCOHOL BASED SANITIZER 25L CONTAINER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SANITIZER | NO MODIFIER | TYPE |  | CONTAINER | 25 L | FORM | 60 PCT ALCOHOL | ODOR |  | COLOUR |  | FOOD GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060238115 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060238115 | BHP1 | BHP Spares & Supplies | 471318 | Cleaning and disinfecting solutions | EA | MAN2 | SANITIZER,GEL,HAND,100ML | GEL, HAND, SANITIZER, 100ML |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SANITIZER | NO MODIFIER | TYPE | GEL,HAND | CONTAINER | 100 ML | FORM |  | ODOR |  | COLOUR |  | FOOD GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060233882 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060233882 | BHP1 | BHP Spares & Supplies | 471318 | Cleaning and disinfecting solutions | L | MAN2 | SANITIZER,HAND,REFILL,ONE THOUSAND LITRE | SANITIZER, HAND, REFILL, ONE THOUSAND LITRE, C/W FLOW BIN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SANITIZER | NO MODIFIER | TYPE | HAND,REFILL | CONTAINER | 1000 L | FORM |  | ODOR |  | COLOUR |  | FOOD GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W FLOW BIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060239368 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060239368 | BHP1 | BHP Spares & Supplies | 301815 | Sanitary ware | EA | MAN2 | SANITIZER,REFILL,HS 946ML,SHORT PIPE | SANITIZER,REFILL,HS SANITIZER,946ML,SHORT PIPE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SANITIZER | NO MODIFIER | TYPE | REFILL | CONTAINER | 946 ML | FORM |  | ODOR |  | COLOUR |  | FOOD GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHORT PIPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060238402 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060238402 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | SEPARATOR,DISCE,PYFD-0900 | PYFD-0900 SEPARATOR DISC, DRAWING NR IG02 K1308.5-9, PN 4100.2087.01 |  |  |  | URL NOT FOUND |  |  | 4100.2087.01 | [6 empty] | PYFD-0900 |  | NR IG02 K1308.5-9 |  |  | CLEANSED | DISC | NO MODIFIER | TYPE | SEPARATOR | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060249179 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060249179 | BHP1 | BHP Spares & Supplies | 313800 | Magnets and magnetic materials | EA | MAN2 | SEPARATOR,MAGNETIC,PERMANENT,RESP655 | SEPARATOR, MAGNETIC, PERMANENT, RE SP 655, PERMANENT MAGNET ILSC, DWG C2-23255 R1 | RE SP 655 | 0019011819 | Unknown | URL NOT FOUND |  |  | RE SP 655 | [8 empty] | C2-23255 R1 |  |  | CLEANSED | SEPARATOR | MAGNETIC | TYPE | PERMANENT | CAPACITY |  | ELECTRICAL RATING |  | POWER RATING |  | FLOW RATING |  | PRESSURE RATING |  | OVERALL SIZE |  | SEPARATION EFFICIENCY |  | BODY MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ILSC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060243375 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060243375 | BHP1 | BHP Spares & Supplies | 311620 | Nails | EA | MAN2 | SEPARATORS,TOE,SILICONE | TOE, SEPARATORS, SILICONE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SEPARATOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | SILICONE | CAPACITY |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TOE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060243083 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060243083 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SEPERATOR,380 V/F | SEPERATOR 380 V/F |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SEPARATOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CAPACITY |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 380 V/F | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060030113 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060030113 | BHP1 | BHP Spares & Supplies | 531316 | Bath and body | EA | MAN2 | SOAP, SUNLIGHT, 250 GRAM BAR | SOAP, SUNLIGHT, 250 GRAM BAR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SOAP | NO MODIFIER | TYPE |  | FORM |  | CONTAINER | 250 G BAR | COLOUR |  | FRAGRANCE |  | WEIGHT |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUNLIGHT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060030117 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060030117 | BHP1 | BHP Spares & Supplies | 531316 | Bath and body | EA | MAN2 | SOAP, TOILET, LUX, 125 GRAM CAKE | SOAP, TOILET, LUX, 125 GRAM CAKE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SOAP | NO MODIFIER | TYPE |  | FORM |  | CONTAINER | 125 G CAKE | COLOUR |  | FRAGRANCE |  | WEIGHT |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TOILET,LUX | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060030118 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060030118 | BHP1 | BHP Spares & Supplies | 531316 | Bath and body | CS | MAN2 | SOAP, TOILET, LUX, 125 GRAM CAKE | SOAP, TOILET, LUX, 125 GRAM CAKE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SOAP | NO MODIFIER | TYPE |  | FORM |  | CONTAINER | 125 G CAKE | COLOUR |  | FRAGRANCE |  | WEIGHT |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TOILET,LUX | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060256165 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 | SUITABLE NM NOT FOUND | 000000000060256165 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | SOLDER,SUCKER | SOLDER SUCKER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | [62 empty] | Production Completed
000000000060244856 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060244856 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | RIFFLE SPLITTER,20MM,EA | RIFFLE SPLITTER, 20MM, STEEL, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPLITTER | NO MODIFIER | TYPE | RIFFLE | SIZE | 20 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060251403 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060251403 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SPLITTER,DIGITAL,4WAY | SPLITTER,DIGITAL,4WAY,TRINITY,VHF |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPLITTER | NO MODIFIER | TYPE | DIGITAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4WAY,TRINITY,VHF | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060233985 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060233985 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SPLITTER,LIGHTER,12 VOLT | SPLITTER, LIGHTER, 12 VOLT,DUAL, C/W, DUAL FEMALE SOCKET |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPLITTER | NO MODIFIER | TYPE | LIGHTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE:12 V,C/W DUAL FEMALE SOCKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060240343 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060240343 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SPLITTER,PROCESSAUTOMATION,FWE4087,POWER | INST,SPLITTER,PROCESSAUTOMATION,FWE-4087,POWER 3000 OPTION KIT | FWE-4087 |  |  | URL NOT FOUND |  |  | FWE-4087 | [11 empty] | CLEANSED | SPLITTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST,PROCESSAUTOMATION,POWER 3000 OPTION KIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060246936 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060246936 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | SPLITTER,SAMPLE | SPLITTER,SAMPLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPLITTER | NO MODIFIER | TYPE | SAMPLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060253664 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253664 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | SPLITTER,SAMPLE,ROTARY,C/W,STAINLESS,STE | SPLITTER, SAMPLE, ROTARY, C/W, STAINLESS, STEEL, CUPS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPLITTER | NO MODIFIER | TYPE | SAMPLE | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ROTARY,C/W CUPS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232224 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060232224 | BHP1 | BHP Spares & Supplies | 521515 | Domestic disposable kitchenware | PK | MAN2 | SPOON,EATING,PLASTIC,BIG,PKT | PLASTIC, BIG,EATINGSPOON, PKT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPOON | NO MODIFIER | TYPE | EATING | LENGTH |  | MATERIAL | PLASTIC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BIG,PACKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060232223 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060232223 | BHP1 | BHP Spares & Supplies | 521515 | Domestic disposable kitchenware | PK | MAN2 | TEASPOON,PLASTIC,PKT | PLASTIC, TEASPOON, PKT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPOON | NO MODIFIER | TYPE | TEA | LENGTH |  | MATERIAL | PLASTIC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060252771 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060252771 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SPREADER,CHUCK,JAW,U3-6-102 | SPREADER, CHUCK, JAW, U3-6-102 | U3-6-102 | 0019011819 | Unknown | URL NOT FOUND |  |  | U3-6-102 | [11 empty] | CLEANSED | SPREADER | NO MODIFIER | TYPE | CHUCK,JAW | CAPACITY |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060247485 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060247485 | BHP1 | BHP Spares & Supplies | 311600 | Hardware | EA | MAN2 | SPREADER,URINAL, | SPREADER,URINAL, |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPREADER | NO MODIFIER | TYPE | URINAL | CAPACITY |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed