## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060248696 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060248696 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SOLDERING,STATION,WELLER,WSD81I,DIGITAL | SOLDERING,STATION,WELLER,WSD81I,DIGITAL,95WATTS,WITH,IRON,AND,REST,BO0002 |  |  |  | https://sg.rs-online.com/web/p/soldering-stations/7989339 |  | WELLER | WSD81I |  |  | BO0002 | [8 empty] | ENRICHED | STATION | NO MODIFIER | TYPE |  | VOLTAGE RATING | 230 V | CURRENT RATING |  | POWER RATING | 80 W | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOLDERING,W/ IRON AND REST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060246884 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060246884 | BHP1 | BHP Spares & Supplies | 461900 | Fire protection | EA | MAN2 | STATION,EMERGENCY RELEASE,USXT,EA | STATION,EMERGENCY RELEASE,USXT,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STATION | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EMERGENCY RELEASE,USXT,EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060246440 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060246440 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | STATION,SOLDERING,C/W,MAG | STATION,SOLDERING,C/W,MAG,1002,IRON | 2702140 | 0019011819 | Unknown | https://www.communica.co.za/products/mag1002 |  |  | 2702140 | [6 empty] | MAG 1002 |  |  |  |  | ENRICHED | IRON | SOLDERING | TYPE |  | TIP TYPE |  | TIP MATERIAL |  | TIP DIAMETER |  | VOLTAGE RATING | 24 V | POWER RATING | 50 W | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060240628 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060240628 | BHP1 | BHP Spares & Supplies | 770000 | Environmental Services | EA | MAN2 | WEATHER,STATION,TORNADO | WEATHER,STATION,TORNADO,ALL IN ONE UMTS/HSPA,H28CMXW28CMXD43CM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STATION | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | SIZE | WD 28 X HT 28 X DP 43 CM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WEATHER,TORNADO,ALL IN ONE UMTS/HSPA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060221510 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060221510 | BHP1 | BHP Spares & Supplies | 121315 | Explosives | CS | MAN2 | STOPER,5.4M DUAL DET(BS),3800/3800,NTE1 | STOPER, 5.4M DUAL DET(BS),3800/3800,NTE18020 |  |  |  | URL NOT FOUND | [9 empty] | NTE18020 |  |  |  |  | CLEANSED | STOPPER | NO MODIFIER | TYPE |  | SIZE | 5.4 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DUAL DET BS,3800/3800 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060250885 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250885 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | STOPPER,CARRIAGE,174896,BELL,EA | STOPPER, CARRIAGE, 174896, BELL, EACH | 174896 |  |  | URL NOT FOUND |  | BELL EQUIPMENT CO SA (PTY) LTD | 174896 | [11 empty] | CLEANSED | STOPPER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CARRIAGE,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060245778 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060245778 | BHP1 | BHP Spares & Supplies | P1030 | Pipe & tubing - process | EA | MAN2 | STOPPER,DISTRIBUTOR,50MM,PU | STOPPER,DISTRIBUTOR,50MM,PU |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STOPPER | NO MODIFIER | TYPE |  | SIZE | 50 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DISTRIBUTOR,PU | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060235787 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060235787 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | IGNITION,SWITCH,CAT,TYPE | IGNITION,SWITCH,CAT,TYPE |  | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  | ELECTRO DIESEL |  |  | CATRUPILLER | [9 empty] | CLEANSED | SWITCH | IGNITION | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | ACTION |  | OPERATION TYPE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060248867 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060248867 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | KEYSWITCH,77009037,DD210L | KEYSWITCH, PN 77009037, DD210L | 77009037 | 0019011819 | Unknown | https://www.aga-parts.com/sandvik/part/77009037_key-switch/ |  |  | 77009037 | [6 empty] | DD210L |  |  |  |  | CLEANSED | SWITCH | NO MODIFIER | TYPE | KEY | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060233462 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060233462 | BHP1 | BHP Spares & Supplies | 432100 | Computer Equipment and Accessories | EA | MAN2 | NETWK EQUIP, SWITCH, 5406R, Zl2, ARUBA | NETWORK EQUIPMENT, SWITCH, ARUBA, 5406R, Zl2 |  |  |  | https://www.cdw.com/product/hpe-aruba-5406r-zl2-switch-managed-rack-mountable/4361359 |  | ARUBA | 5406R Zl2 | [11 empty] | CLEANSED | SWITCH | NETWORK | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PORTS |  | DATA TRANSFER RATE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | CONNECTION TYPE |  | POWER RATING |  | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EQUIPMENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060233463 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060233463 | BHP1 | BHP Spares & Supplies | 432100 | Computer Equipment and Accessories | EA | MAN2 | NETWK EQUIP, SWITCH, HPE 5Y FC24x7, ARUB | NETWORK EQUIPMENT, SWITCH, ARUBA, HPE, 5Y, FC24x7 |  |  |  | https://www.bechtle.com/de-en/shop/hpe-5y-fc-24x7-ff-594x-switch-svc--4307360--p |  | ARUBA | HPE 5Y FC24x7 | [11 empty] | CLEANSED | SWITCH | NETWORK | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PORTS |  | DATA TRANSFER RATE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | CONNECTION TYPE |  | POWER RATING |  | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EQUIPMENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060250353 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250353 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | PROXY,INDUCTIVE,8MM,PF,NBN812GM50E2M1 | INST,SWITCH,PROXIMITY,INDUCTIVE,PEPPERL AND FUCHS,TYPE:NBN812GM50E2M1,24V,RANGE:8MM,PGP | TYPE:NBN8-12GM50-E2-M1 | 0019011819 | Unknown | https://www.radwell.co.uk/en-GB/Buy/PEPPERL%20-AND-%20FUCHS/PEPPERL%20-AND-%20FUCHS/NBN8-12GM50-E2-M1/?redirect=true |  | PEPPERL AND FUCHS | NBN8-12GM50-E2-M1 | [11 empty] | ENRICHED | SWITCH | PROXIMITY | TYPE | INDUCTIVE SENSOR | SENSING RANGE |  | CABLE LENGTH | 2 M | OUTPUT CONFIGURATION |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | TEMPERATURE RATING |  | VOLTAGE RATING | 7-30 VDC | CURRENT RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST,PGP,OPERATING DISTANCE:8 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060253024 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060253024 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SELECTOR SWITCH,2 POSITION,M22-WRK,EA | SELECTOR SWITCH, EATON, 2 POSITION, M22-WRK, ARTICLE NO. 216867,EA | M22-WRK | 0019011819 | Unknown | https://datasheet.eaton.com/datasheet.php?model=216867 |  | EATON | M22-WRK |  | EATON | 216867 | [8 empty] | ENRICHED | SWITCH | SELECTOR | TYPE | TOGGLE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS | 2 | ENCLOSURE | IP66 | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25-+70 DEG C | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL | PLASTIC | COLOUR | BLACK | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 60947,VDE 0660,IEC 60068-2-78,IEC 60068-2-30,UL 508,CSA-C22.2 No.14-05,CSA-C22.2 No.94-91,CE MARKING | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060250341 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250341 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SELECTOR,SWITCH,3POSITION,STAY,PUT,SCHNE | SELECTOR,SWITCH,3POSITION,STAY,PUT,SCHNEIDER,XB4BD33,C/W,2NO,CONTACTS,INCLUDING,FIXING,COLLAR | XB4BD33 | 0019011819 | Unknown | https://www.se.com/in/en/product/XB4BD33/selector-switch-metal-black-%C3%B822-3-positions-stay-put-2-no/ |  | SCHNEIDER | XB4BD33 | [11 empty] | ENRICHED | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING | 240 V | CURRENT RATING | 3 A | NUMBER OF POLES |  | NUMBER OF POSITIONS | 3 | ENCLOSURE | IP67,IP69,IP69K | OPERATOR TYPE | STAY PUT | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE | WD 30 X HT 47 X DP 68 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-5-4,UL 508,EN/IEC 60947-5-1,EN/IEC 60947-5-5,JIS C8201-5-1,EN/IEC 60947-1,CSA C22.2 No 14,JIS C8201-1,GL,UL,LROS,CSA,BV,DNV | ADDITIONAL FEATURES EN | C/W 2NO,CONTACTS INCLUDING FIXING,COLLAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060250355 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250355 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SELECTOR,SWITCH,HEAD,ONLY,STANDARD,HANDL | SELECTOR,SWITCH,HEAD,ONLY,STANDARD,HANDLE,3POSITION,STAY,PUT,SCHNEIDER,ZB4BD3 | ZB4BD3 | 0019011819 | Unknown | https://www.se.com/ww/en/product/ZB4BD3/selector-switch-head-harmony-xb4-metal-black-22mm-3-positions-stay-put/ |  | SCHNEIDER | ZB4BD3 | [11 empty] | ENRICHED | SWITCH | SELECTOR | TYPE | HEAD,STANDARD | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS | 3 | ENCLOSURE | IP67,IP69,IP69K | OPERATOR TYPE | STAY PUT | MOUNTING TYPE |  | TEMPERATURE RATING | -40-+70 DEG C | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR | BLACK | SIZE | WD 29 X HT 29 X DP 44 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-5-5,EN/IEC 60947-1,UL 508,CSA C22.2 No 14,EN/IEC 60947-5-4,EN/IEC 60947-5-1,JIS C8201-5-1,JIS C8201-1,LROS,DNV,GL,BV,UL LISTED,CSA | ADDITIONAL FEATURES EN | HANDLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060250342 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250342 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SELECTOR/KEY,SWITCH,BODY,FIXING,COLLAR,S | SELECTOR/KEY,SWITCH,BODY,FIXING,COLLAR,SCHNEIDER,ZB4BZ009 | ZB4BZ009 | 0019011819 | Unknown | https://www.se.com/in/en/product/ZB4BZ009/body-fixing-collar-for-electrical-block-metal/ |  | SCHNEIDER | ZB4BZ009 | [11 empty] | ENRICHED | COLLAR | NO MODIFIER | TYPE | BODY,FIXING | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL | METEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SELECTOR/KEY,SWITCH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060123814 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060123814 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH, DAYLIGHT, 220V AC, NATIONAL | SWITCH, DAYLIGHT, 220V AC, NATIONAL | N202 |  |  | URL NOT FOUND |  |  | N202 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | DAYLIGHT | VOLTAGE RATING | 220 VAC | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NATIONL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060093545 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060093545 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH, DAYLIGHT, TYPE PR, 220/230V, 20A | SWITCH, DAYLIGHT, TYPE PR, 220/230V, 20A, EYE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | DAYLIGHT | VOLTAGE RATING | 220/230 V | CURRENT RATING | 20 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PR,EYE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060176313 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060176313 | BHP1 | BHP Spares & Supplies | P1545 | Electric fittings, lamps fuses, batteries, | EA | MAN2 | SWITCH, DIMMER P/NR ESW322100 | SWITCH, DIMMER P/NR ESW322100 | ESW322100 | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  | ELECTRO DIESEL | ESW322100 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | DIMMER | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060236047 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060236047 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | SWITCH, FLOW, SI5000,SID1ABBFPKG/US-100, | SWITCH, FLOW, SI5000,SID1ABBFPKG/US-100, |  |  |  | https://www.ifm.com/in/en/product/SI5000 |  | IFM | SID10ABBFPKG/US-100 | [6 empty] | SI5000 |  |  |  |  | ENRICHED | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE | IP67 | POWER SUPPLY | 19-36 VDC | TEMPERATURE RATING | -25-+80 DEG C | MATERIAL | STAINLESS STEEL | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61000-4-2 ESD,EN 61000-4-3 HF RADIATED,EN 61000-4-4 BURST,EN 61000-4-6 HF CONDUCTED | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060130565 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060130565 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH, FLUSH, 1 LEVER, 1 WAY, 250V, 16A | SWITCH, FLUSH, 1 LEVER, 1 WAY, 250V, 16A, TO SUIT 50MM X 100MM WALL BOX, C/W WHITE COVER PLATE, LUMEX |  |  |  | URL NOT FOUND |  | LUMEX | [12 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | 1 LEVER,1-WAY | VOLTAGE RATING | 250 V | CURRENT RATING | 16 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | FLUSH | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TO SUIT 50 X 100 MM WALL BOX,C/W WHITE COVER PLATE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060024367 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060024367 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH, FOOT OPERATED, TELEMECANIQUE | SWITCH, FOOT OPERATED, TELEMECANIQUE | XPEA110 | 0019000719 | CHAMPION SPARK PLUGS,USA | URL NOT FOUND |  | SCHNEIDER | XPEA110 |  | TELEMECANIQUE | XPEA110 | [8 empty] | ENRICHED | SWITCH | FOOT | TYPE | SINGLE | VOLTAGE RATING | 240 V | CURRENT RATING | 3:00 | NUMBER OF PEDALS |  | CONTACT CONFIGURATION | 1NC+1NO | ENCLOSURE | IP43 | MOUNTING TYPE |  | TEMPERATURE RATING | -25-+55 DEC C | POWER RATING |  | FREQUENCY RATING |  | ACTION |  | MATERIAL | PLASTIC | TERMINAL TYPE |  | OPERATING FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-5-1 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060130580 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060130580 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH, LIMIT, TYPE E50, C/W SINGLE POLE | #N/A |  |  |  | URL NOT FOUND | [9 empty] | E50 |  |  |  |  | CLEANSED | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SINGLE POLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060254456 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060254456 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | SWITCH, LIMIT, TYPE WL5107-2, ACDC, C/W | SWITCH, LIMIT, TYPE WL5107-2, ACDC, C/W 1 N/O AND 1 N/C, SWITCH BODY AND LEVER | WL5107-2 | 0019011819 | Unknown | https://www.acdc.co.za/products/limit-swt-adj-steel-rod-lever-180-1c-o-10a-40mm-ip65?variant=30485075596 |  | ACDC | WL5107-2 | [11 empty] | ENRICHED | SWITCH | LIMIT | TYPE | BODY AND LEVER | VOLTAGE RATING |  | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | ENCLOSURE | IP65 | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL | STEEL | OPERATING FORCE |  | RELEASE FORCE |  | SIZE | 40 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 1 N/O AND 1 N/C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060161343 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060161343 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH, PROXIMITY, INDUCTIVE, TELEMECANI | SWITCH, PROXIMITY, INDUCTIVE, TELEMECANIQUE | XS2 M30MA250 | 0019003293 | TELEMECANIQUE | https://www.se.com/ww/en/product/XS2M30MA250/inductive-proximity-sensors-xs-inductive-sensor-xs2-m30-l63mm-brass-sn15mm-24-240vac-dc-cable-2-m/ |  | SCHNEIDER | XS2 M30MA250 |  | TELEMECANIQUE | XS2 M30MA250 | [8 empty] | ENRICHED | SENSOR | PROXIMITY | TYPE | INDCTIVE | SENSING RANGE |  | OUTPUT TYPE |  | CONNECTION TYPE |  | ELECTRICAL RATING | 24-240 VAC/VDC | CABLE LENGTH | 2 M | ENCLOSURE |  | MATERIAL | METAL | SWITCHING FREQUENCY | 25 HZ | MOUNTING TYPE |  | SIZE | LG 63 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,UL,CSA | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060130574 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060130574 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH, SELECTOR, LEVER OPERATED, 2 POSI | SWITCH, SELECTOR, LEVER OPERATED, 2 POSITION, HEAVY DUTY, C/W 2 N/O CONTACT BLOCKS & 2 N/C BLOCKS, TELEMECANIQUE | ZB2BD2 & ZB2BZ102 & ZB2BZ103 | 0019000041 | OTHER POL SUPPLIES | https://www.se.com/us/en/product/ZB2BD2/selector-switch-head-2-positions-%C3%B8-22-black/ |  | SCHNEIDER | ZB2BD2 |  | OTHER POL SUPPLIES | ZB2BZ102 | TELEMECANIQUE | ZB2BZ103 | [6 empty] | ENRICHED | SWITCH | SELECTOR | TYPE | LEVER OPERATED,HEAVY DUTY | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR | BLACK | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 2 N/O CONTACT BLOCKS & 2 N/C BLOCKS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060222087 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060222087 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH, STOP/START, REMOTE | SWITCH, STOP/START, REMOTE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | STOP/START,REMOTE | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060248872 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060248872 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,08002370,DD210L | SWITCH, PN 08002370, DD210L | 08002370 | 0019011819 | Unknown | https://www.aga-parts.com/tr/sandvik/part/08002370_switch/ |  |  | 08002370 | [6 empty] | DD210L |  |  |  |  | CLEANSED | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060233773 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060233773 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,27010-1317,KAWASAKI | SWITCH, PN 27010-1317, KAWASAKI MULE | 27010-1317 | 0019011667 | WATER RITE MOTORCYCLES | https://www.megazip.net/zapchasti-dlya/kawasaki/switch-fan-270101317?q=27010-1317&gclid=Cj0KCQiAg_KbBhDLARIsANx7wAwmlkXJMhmV90FPRSaDpxD6dTeCk3QVRXCRB3sEuoIxh3KAySB4HsQaApCpEALw_wcB |  | WATER RITE MOTORCYCLES | 27010-1317 |  | KAWASAKI MULE | 27010-1317 | [8 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060255965 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060255965 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,796682,MANITOU,EA | SWITCH, 796682, MANITOU, EACH | 796682 |  |  | URL NOT FOUND |  | MANITOU | 796682 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060246631 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060246631 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,AUX,ALARM,SIEMENS,3VL9400,2AD | SWITCH,AUX,ALARM,SIEMENS,3VL9400,2AD, LPNS015820 | LPNS015820 | 0019011819 | Unknown | URL NOT FOUND |  | SIEMENS | LPNS015820 |  | SIEMENS | 3VL9400 | [8 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | AUXILIARY,ALARM | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2AD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060251678 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060251678 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,AUXILIARY,SIEMENS,1NO,1NC,EA | SWITCH, AUXILIARY, SIEMENS, 1NO, 1NC, 3RV2901-1E, EA | 3RV2901-1E | 0019011819 | Unknown | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3RV2901-1E |  | SIEMENS | 3RV2901-1E | [11 empty] | ENRICHED | SWITCH | NO MODIFIER | TYPE | AUXILIARY | VOLTAGE RATING | 230 V | CURRENT RATING | 2 A | CONTACT CONFIGURATION | 1NO+1NC | NUMBER OF POSITIONS |  | ENCLOSURE | IP20 | MOUNTING TYPE |  | TEMPERATURE RATING | -20-+60 DEC C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | WD 45 X HT 12 X DP 17 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,UL,EAC,UKCA,CE | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060240442 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060240442 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,AUXILLARY,BLOCK, 4NC COND PATHS | AUXILLARY SWITCH BLOCK, 4NC COND. PATHS: 1NC, 1NC, 1NC FOR CONTACTOR RELAYS SIZE S00, SCREW TERMINAL, 3RH2440, 3RH2911-1GA04 |  |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RH2911-1GA04 |  | SIEMENS | 3RH2911-1GA04 |  | SIEMENS | 3RH2440 | [8 empty] | ENRICHED | SWITCH | NO MODIFIER | TYPE | AUXILIARY | VOLTAGE RATING | 690 V | CURRENT RATING | 10 A | CONTACT CONFIGURATION | 1NC | NUMBER OF POSITIONS |  | ENCLOSURE | IP20 | MOUNTING TYPE | SNAP-ON | TEMPERATURE RATING | -25-+80 DEC C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | WD 36 X HT 37.5 X DP 43.7 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,UL,EAC | ADDITIONAL FEATURES EN | FOR CONTACTOR RELAYS SIZE:S00,SCREW TERMINAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060251776 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060251776 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,BRAKE,1610495,HYSTER,EA | SWITCH, BRAKE, 1610495, HYSTER, EACH | 1610495 |  |  | https://www.orangeparts.com/hyster-1610495-brake-switch/ |  | HYSTER | 1610495 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | BRAKE | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060255416 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060255416 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,BRAKE,6BB16610,DEZZO,EA | SWITCH, BRAKE, 6BB16610, DEZZO, EACH | 6BB16610 |  |  | URL NOT FOUND |  | DEZZO | 6BB16610 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | BRAKE | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060256134 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060256134 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,CHAIRLIFT,PASSENGER,RUN,OVER | SWITCH, CHAIRLIFT, PASSENGER, RUN, OVER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CHAIRLIFT,PASSENGER,RUN,OVER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060254116 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060254116 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,CUT OFF,TRANS,6BB21324,MANITOU,EA | SWITCH, CUT OFF, TRANSMISSION, 6BB21324, MANITOU, EACH | 6BB21324 |  |  | URL NOT FOUND |  | MANITOU | 6BB21324 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | CUT OFF | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRANSMISSION,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060244782 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060244782 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,CUTLER,HAMMER,E50RS1 | INST, SWITCH, CUTLER, HAMMER, E50RS1 | E50RS1 | 0019011819 | Unknown | URL NOT FOUND |  | CUTLER HAMMER | E50RS1 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060254504 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060254504 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,D,PLUNGER,TYPE,LIMIT | SWITCH, D, PLUNGER, TYPE, LIMIT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | LIMIT | TYPE | PLUNGER | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060233695 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060233695 | BHP1 | BHP Spares & Supplies | P1545 | Electric fittings, lamps fuses, batteries, | EA | MAN2 | SWITCH,DAYLIGHT,16A,FIXED,LUX,ON/OFF,TIM | DAYLIGHT, SWITCH, 16A, FIXED, LUX, ON/OFF, TIME |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | DAYLIGHT,ON/OFF | VOLTAGE RATING |  | CURRENT RATING | 16 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | FIXED | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LUX,TIME | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060165288 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060165288 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,DEDICATED SOCKET OUTLET 16A C/W | SWITCH: DEDICATED SOCKET OUTLET 16A C/W COVER PLATE CLIPSAL LS2003 | LS2003 | 0019003467 | UNKNOWN | URL NOT FOUND |  | CLIPSAL | LS2003 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 16 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DEDICATED SOCKET OUTLET,C/W COVER PLATE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060256272 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060256272 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,DIP,SPDT | SWITCH, DIP, SPDT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | DIP | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION | SPDT | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060243404 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060243404 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,DISCONNECTOR,100A,600VAC,EA | SWITCH, DISCONNECTOR, 100A, 600VAC, EA | 1S200B11802600437 | 0019011819 | Unknown | URL NOT FOUND |  |  | 1S200B11802600437 | [11 empty] | CLEANSED | SWITCH | DISCONNECT | TYPE |  | VOLTAGE RATING | 600 VAC | CURRENT RATING | 100 A | NUMBER OF POLES |  | LOAD BREAKING CAPACITY |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | POWER RATING |  | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060243416 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060243416 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,EATON,10250T4011,91000T,2POSITION | INST,SWITCH,EATON,10250T4011,91000T,2 POSITION,NEMA 4-13 SERIES A3, E34 | 10250T/91000T | 0019011819 | Unknown | https://www.eaton.com/us/en-us/skuPage.10250T4011.resources.html |  | EATON | 10250T4011 |  | EATON | 91000T | [8 empty] | ENRICHED | SWITCH | NO MODIFIER | TYPE | HEAVY DUTY | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | WD 2 X HT 2.2 X DP 2 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST,NEMA 4-13 SERIES A3,E34 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060248323 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060248323 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,FLOW,212465E,GEMS,SENSORS,FT-210, | SWITCH,FLOW,212465E,GEMS,SENSORS,FT-210,1/4,INCH,NPT,DIN | 593000100 |  |  | https://ecatalog.gemssensors.com/ecatalog/flow-sensors/en/212465 |  | GEMS | 212465E |  | GEMS | 593000100 |  |  |  | FT-210 |  |  |  |  | ENRICHED | SENSOR | FLOW | TYPE | TURBO | MEASURING RANGE |  | ACCURACY | +/- 3 PCT | OUTPUT TYPE | 20 MA | PROCESS CONNECTION |  | POWER SUPPLY | 5-24 VDC | ENCLOSURE |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING | 350 PSI | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PORT SIZE:1/4 IN NPT MALE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060227250 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060227250 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | SWITCH,FLOW,TURCK,H1141 | SWITCH,FLOW,TURCK,H1141 |  |  |  | URL NOT FOUND |  | TURCK | H1141 | [11 empty] | CLEANSED | SWITCH | FLOW | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | PROCESS CONNECTION |  | TEMPERATURE RATING |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ACTION |  | MATERIAL |  | MEDIA |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060247032 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060247032 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,IGNITION,HEAVY DUTY,KEYS | IGNITION SWITCH, HEAVY DUTY, PREHEAT WITH KEYS, PNKS8R | PNKS8R | 0019011819 | Unknown | URL NOT FOUND |  |  | PNKS8R | [11 empty] | CLEANSED | SWITCH | IGNITION | TYPE | HEAVY DUTY,PREHEAT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | ACTION |  | OPERATION TYPE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ KEYS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060182861 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060182861 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SWITCH,ISOLATOR 4 POLE BOSCH P/N ESW005 | SWITCH, ISOLATOR 4 POLE BOSCH P/N ESW0050 | ESW0050 | 0019011367 | ELECTRO DIESEL | https://www.acdc.co.za/products/isolator-switch-500a-4-pole-25ka?variant=30485227724 |  | ABCD | ESW0050 |  | BOSCH | ESW0050 | [8 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | ISOLATOR | VOLTAGE RATING |  | CURRENT RATING | 500 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4 POLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060250627 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250627 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,LEVEL,LOW,HYDAC,1DO LIE 2,24VDC,N | SWITCH,LEVEL,LOW,HYDAC,1DO LIE 2,24VDC,NO CURRENT OUTPUT | 1DO LIE 2 | 0019011819 | Unknown | URL NOT FOUND |  | HYDAC | 1DO LIE 2 | [11 empty] | CLEANSED | SWITCH | LEVEL | TYPE | LOW | MEASURING RANGE |  | PROCESS CONNECTION |  | PRESSURE RATING |  | OUTPUT SIGNAL |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO CURRENT OUTPUT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060250623 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250623 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,LEVEL,LOW,HYDAC,1FI-FIGSEB-250-SP | SWITCH,LEVEL,LOW,HYDAC,1FI-FIGSEB-250-SP,24VDC,NO CURRENT OUTPUT | 1FI-FIGSEB-250-SP | 0019011819 | Unknown | URL NOT FOUND |  | HYDAC | 1FI-FIGSEB-250-SP | [11 empty] | CLEANSED | SWITCH | LEVEL | TYPE | LOW | MEASURING RANGE |  | PROCESS CONNECTION |  | PRESSURE RATING |  | OUTPUT SIGNAL |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO CURRENT OUTPUT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060244170 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060244170 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,LEVEL,PEPPERL,FUCHS,UC500D13KV7 | INST,SWITCH,LEVEL,PEPPERL,FUCHS,UC500-D1-3K-V7,24V,PART NUMBER 212371 | PART NUMBER 212371 | 0019011819 | Unknown | https://files.pepperl-fuchs.com/webcat/navi/productInfo/pds/212371_eng.pdf |  | PEPPERL AND FUCHS | UC500-D1-3K-V7 |  |  | 212371 | [8 empty] | ENRICHED | SENSOR | ULTRASONIC | TYPE |  | SENSING RANGE | 60-550 MM | POWER SUPPLY | 20-253 VAC | OUTPUT TYPE |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | MATERIAL |  | SWITCHING FREQUENCY |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,EAC | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060248866 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060248866 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,LEVER,3-WAY,RETURN,ECX1345 | 3 WAY SH LEVER SWITCH, RETURN FROM RIGHT, PN ECX1345 | ECX1345 | 0019011819 | Unknown | URL NOT FOUND |  |  | ECX1345 | [11 empty] | CLEANSED | SWITCH | LEVEL | TYPE | 3 WAY SH | MEASURING RANGE |  | PROCESS CONNECTION |  | PRESSURE RATING |  | OUTPUT SIGNAL |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RETURN FROM RIGHT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060255368 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060255368 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,LIGHT,2WAY,2X4 | SWITCH, LIGHT, 2WAY, 2X4 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | 2 WAY,LIGHT | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | 2 X 4 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060249283 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060249283 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,LIGHT,SINGLE LEVER,WHITE,EA | SWITCH, LIGHT, FLUSH, DOMESTIC, SINGLE LEVER, WHITE, EACH | SP7000-W | 0019011819 | Unknown | URL NOT FOUND |  |  | SP7000-W | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | LIGHT,DOMESTIC,1 LEVER | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | FLUSH | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:WHITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060247753 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060247753 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SWITCH,LIMIT COMPLETE, TYPE 5T71 C/W | SWITCH, LIMIT, COMPLETE, TYPE 5T71, C/W SWING ROD |  |  |  | URL NOT FOUND | [9 empty] | 5T71 |  |  |  |  | CLEANSED | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SWING ROD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060247756 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060247756 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SWITCH,LIMIT COMPLETE,TYPE 5T52 C/W | SWITCH, LIMIT, COMPLETE, TYPE 5T52, C/W SWING SHAFT |  |  |  | URL NOT FOUND | [9 empty] | 5T52 |  |  |  |  | CLEANSED | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SWING SHAFT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060254380 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060254380 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,LIMIT,ADJ,ROLLER,LEVER,10A | SWITCH, LIMIT, ADJ, ROLLER, LEVER, 10A |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | LIMIT | TYPE | LEVER,ROLLER | VOLTAGE RATING |  | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ADJ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060254497 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060254497 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,LIMIT,IN-LINE,ROLLER,10A | SWITCH, LIMIT, IN-LINE, ROLLER, 10A |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | LIMIT | TYPE | IN-LINE,ROLLER | VOLTAGE RATING |  | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060247724 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060247724 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,LIMIT,MODEL NBB3 V3 Z4,EA | SWITCH, LIMIT, MODEL NBB3 V3 Z4, MAKE PEPPERL AND FUCHS PART NO 301158 | 301158 | 0019011819 | Unknown | https://www.pepperl-fuchs.com/global/en/classid_143.htm?view=productdetails&prodid=83743 |  | PEPPERL AND FUCHS | 301158 | [6 empty] | NBB3-V3-Z4 |  |  |  |  | CLEANSED | SENSOR | NO MODIFIER | TYPE | INDUCTIVE | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING | 5-60 VDC | ENCLOSURE | IP67 | MATERIAL |  | MOUNTING TYPE | FLUSH | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-2 2007,EN 60947-5-2/A1 2012,IEC 60947-5-2 2007,IEC 60947-5-2 AMD 1 2012,CCC,CSA,UL | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060250625 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250625 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,LIMIT,NO AND NC CONTACTS,24VDC,3A | SWITCH,LIMIT,NO AND NC CONTACTS,24VDC,3A,TELEMECHANIQUE,ZCK D41,CONTACT OPERATION | ZCK D41 | 0019011819 | Unknown | https://www.se.com/ww/en/product/ZCKD41/limit-switch-head-limit-switches-xc-standard-zckd-thermoplastic-roller-lever-variable-length/ |  | SCHNEIDER | ZCK D41 |  | TELEMECHANIQUE | ZCK D41 | [8 empty] | ENRICHED | SWITCH | LIMIT | TYPE | HEAD | VOLTAGE RATING | 24 VDC | CURRENT RATING | 3 A | CONTACT CONFIGURATION | 1NO+1NC | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING | -20-+70 DEG C | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL | PLASTIC | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060250626 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250626 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,LIMIT,NO AND NC CONTACTS,24VDC,3A | SWITCH,LIMIT,NO AND NC CONTACTS,24VDC,3A,TELEMECHANIQUE,XCK M1H29,CONTACT OPERATION | XCK M1H29 | 0019011819 | Unknown | https://www.se.com/ww/en/product/ZCKM1H29/limit-switch-body-limit-switches-xc-standard-zckm-1nc+1-no-snap-action-m20/ |  | SCHNEIDER | XCK M1H29 |  | TELEMECHANIQUE | XCK M1H29 | [8 empty] | CLEANSED | BODY | NO MODIFIER | TYPE | LIMIT SWITCH,FIXED | SIZE | WD 64 X HT 64 X DP 30 MM | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONTACT CONFIGURATION:1NC+1NO,VOLTAGE:24 VDC,CURRENT:3 A,CONTACT OPERATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060247508 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060247508 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,LIMIT,TILT,TYPE,S/M | SWITCH,LIMIT,TILT,TYPE,S/M, ACCTZ8108 |  |  |  | https://en.store.elmarkgroup.com/limit-switch-tz-8108-product9657 |  |  | ACCTZ8108 | [11 empty] | CLEANSED | SWITCH | LIMIT | TYPE | TILT | VOLTAGE RATING | 230 V | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE | IP40 | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN60947-1,EN60947-5-1 | ADDITIONAL FEATURES EN | S/M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060165048 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060165048 | BHP1 | BHP Spares & Supplies | 302119 | OBSOLETE*Switches, controls, and relays | EA | MAN2 | SWITCH,LIMIT,ULTIMATE CUTTLER HAMMER 2 | SWITCH, LIMIT: ULTIMATE CUTTLER HAMMER 2XTYPE BALANCE ROLLER LEVER C/W 6METER ROPE & WEIGHT | 93070 - 93071 | 0019005326 | CUTLER HAMMER | URL NOT FOUND |  | CUTLER HAMMER | 93070 - 93071 | [11 empty] | CLEANSED | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2X,ULTIMATE,BALANCE ROLLER LEVER C/W 6M ROPE & WEIGHT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060252716 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060252716 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,LOAD LIMMIT,11CC20017,MANITAU,EA | SWITCH, LOAD LIMMIT, 11CC20017, MANITAU, EACH | 11CC20017 |  |  | URL NOT FOUND |  | MANITAU | 11CC20017 | [11 empty] | CLEANSED | SWITCH | LIMIT | TYPE | LOAD | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060250259 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250259 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,LP,1496371,CAT,EA | SWITCH, LOW, PRESSURE ,1496371, CAT, EACH | 1496371 |  |  | https://parts.cat.com/en/catcorp/149-6371 |  | CATRUPILLER | 1496371 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | LOW PRESSURE | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING | -40-+250 DEC C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH,ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060239816 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060239816 | BHP1 | BHP Spares & Supplies | 811017 | Electrical and electronic engineering | EA | MAN2 | SWITCH,MICRO,PART,NR:BZE6-2RQ | SWITCH,MICRO,PART,NR:BZE6-2RQ | NR:BZE6-2RQ |  |  | URL NOT FOUND |  |  | NR:BZE6-2RQ | [11 empty] | CLEANSED | SWITCH | MICRO | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | ACTION |  | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060248700 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060248700 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,NETWORK,INTERNET | SWITCH,NETWORK,INTERNET | JETNET3710G | 0019011819 | Unknown | https://www.korenixstore.com/JETNET3710G-p/jetnet3710g.htm |  |  | JETNET3710G | [11 empty] | ENRICHED | SWITCH | NETWORK | TYPE |  | VOLTAGE RATING | 48 V | CURRENT RATING |  | NUMBER OF PORTS |  | DATA TRANSFER RATE |  | TEMPERATURE RATING | -20-+70 DEG C | MOUNTING TYPE |  | ENCLOSURE |  | CONNECTION TYPE |  | POWER RATING |  | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INTERNET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060245229 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060245229 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,OIL,LEVEL,AND,1/2'',PLUG,UV-71000 | SWITCH,OIL,LEVEL,AND,1/2INCH,PLUG,UV-71000110-KIT | UV-71000110-KIT | 0019011819 | Unknown | URL NOT FOUND |  |  | UV-71000110-KIT | [11 empty] | CLEANSED | SWITCH | LEVEL | TYPE | OIL | MEASURING RANGE |  | PROCESS CONNECTION |  | PRESSURE RATING |  | OUTPUT SIGNAL |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | POWER RATING |  | SIZE | 1/2 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLUG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060243407 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060243407 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,PRESSURE,200851,BELL,EA | SWITCH, PRESSURE, 200851, BELL, EA | 200851 | 0019011819 | Unknown | URL NOT FOUND |  | BELL EQUIPMENT CO SA (PTY) LTD | 200851 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | PRESSURE | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060246234 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060246234 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,PRESSURE,27010-0012,KAWA | PRESSURE SWITCH, PN 27010-0012, KAWASAKI MULE | 27010-0012 | 0019011819 | Unknown | https://www.partzilla.com/product/kawasaki/27010-0012 |  | KAWASAKI MULE | 27010-0012 | [11 empty] | ENRICHED | SWITCH | NO MODIFIER | TYPE | OIL PRESSURE | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060243067 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060243067 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,PRESSURE,BAILEY,MACKEY,TYPE,1381 | INST,SWITCH,PRESSURE,BAILEY AND MACKEY,TYPE:1381,RANGE: 0.5 TO 11 BAR | TYPE:1381 |  |  | https://axxacnc.com/pressure-switch-1381v-bailey-amp-mackey-0-5-11bar-1381-v/ |  | BAILEY AND MACKEY | 1381 | [11 empty] | ENRICHED | SWITCH | NO MODIFIER | TYPE | PRESSURE | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MEASURING RANGE:0.5-11 BAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060247770 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060247770 | BHP1 | BHP Spares & Supplies | 502210 | Pulses | EA | MAN2 | SWITCH,PRESSURE,CHAIRLIFT | SWITCH,PRESSURE,BRAKES,XMLA160D2S11 |  |  |  | https://www.se.com/in/en/product/XMLA160D2S11/pressure-switch-xmla-160-bar-fixed-scale-1-threshold-1-c-o/ |  | SCHNEIDER | XMLA160D2S11 | [11 empty] | ENRICHED | SWITCH | NO MODIFIER | TYPE | PRESSURE,BREAK | VOLTAGE RATING | 300 V | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | SNAP ACTION | TEMPERATURE RATING | -25-+70 DEC C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | WD 35 X HT 113 X DP 75 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-5-1,CSA C22.2 No 14,UL 508,CE,CCC,BV,CSA,UL,LROS,EAC | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060247773 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060247773 | BHP1 | BHP Spares & Supplies | 502210 | Pulses | EA | MAN2 | SWITCH,PRESSURE,CHAIRLIFT | SWITCH,PRESSURE,XMLB160D2S11 |  |  |  | https://www.se.com/in/en/product/XMLB160D2S11/pressure-switch-xmlb-160-bar-adjustable-scale-2-thresholds-1-c-o/ |  | SCHNEIDER | XMLB160D2S11 | [11 empty] | ENRICHED | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING | 300 V | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | SNAP ACTION | TEMPERATURE RATING | -25-+70 DEC C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | WD 35 X HT 113 X DP 75 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-5-1,CSA C22.2 No 14,UL 508,CE,CCC,BV,CSA,UL,LROS,EAC | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060256316 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060256316 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,PRESSURE,PC-13A,AUTOMATIC | SWITCH, PRESSURE, PC-13A, AUTOMATIC | PC-13A | 0019011819 | Unknown | URL NOT FOUND |  |  | PC-13A | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | PRESSURE,AUTOMATIC | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060241782 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060241782 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,PRESSURE,QPM11,NO,1/8INCH,PNEUMAT | INST,SWITCH,PRESSURE,QPM11-NO,NORMALLY OPEN,1/8INCH,24V,PNEUMATIC ADJUSTABLE PUMP | QPM11-NO |  |  | https://www.ubuy.co.in/product/99L9AUZK-stainless-steel-1-8-inches-pneumatic-adjustable-pump-pressure-switch-qpm11-no-normally-open |  |  | QPM11-NO | [11 empty] | ENRICHED | SWITCH | NO MODIFIER | TYPE | PRESSURE | VOLTAGE RATING | 48-220 VAC | CURRENT RATING |  | CONTACT CONFIGURATION | NO | NUMBER OF POSITIONS |  | ENCLOSURE | IP54 | MOUNTING TYPE | SURFACE | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL | METAL | SIZE | 1/8 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PNEUMATIC ADJUSTABLE PUMP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060255150 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060255150 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,PRESSURE,SQUARE D DIFFERENTIAL,20 | SWITCH,PRESSURE,SQUARE D DIFFERENTIAL,20-40PSI |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | PRESSURE | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SQUARE D DIFFERENTIAL,RANGE:20-40 PSI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060250088 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060250088 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,ROCKER,DP,20A,ON-OFF | SWITCH ROCKER DP 20A ON-OFF ILUM RS-185-8229 |  |  |  | https://in.rsdelivers.com/product/rs-pro/rs-pro-illuminated-dpst-on-none-off-rocker-switch/1858229 |  |  | RS-185-8229 | [11 empty] | ENRICHED | SWITCH | ROCKER | TYPE | ON-OFF,ILLUMINATED | VOLTAGE RATING | 125-250 V | CURRENT RATING | 20 A | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | DPST | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | MATERIAL |  | TERMINAL TYPE |  | COLOUR |  | POWER RATING |  | FREQUENCY RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060247556 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060247556 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,ROCKER,R9-49ALR,16 A,250 V AC | SWITCH,ROCKER,R9-49ALR,16 A,250 V AC,LAMP VOLTAGE 230 V AC,ON/OFF DPST ILLUMINATED,BLACK BODY COLOUR,HOLE SIZE: 30 X 25 MM | R9-49ALR | 0019011819 | Unknown | https://www.acdc.co.za/products/rocker-switch-dpst-red-230v-lamp?variant=30482717004 |  | ABCD | R9-49ALR | [11 empty] | ENRICHED | SWITCH | ROCKER | TYPE | ON-OFF,ILLUMINATED | VOLTAGE RATING | 250 VAC | CURRENT RATING | 16 A | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | DPST | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | MATERIAL |  | TERMINAL TYPE |  | COLOUR | RED | POWER RATING |  | FREQUENCY RATING |  | SIZE | 30 X 25 MM HOSE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LAMP VOLTAGE:230 VAC,BODY COLOUR:BLACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060253665 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060253665 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,SELECTOR,2,POSITION,SPRING,HEAD,R | SWITCH, SELECTOR, 2, POSITION, SPRING, HEAD, RETURN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | SELECTOR | TYPE | SPRING,HEAD,RETURN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060248875 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-23 |  | 000000000060248875 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,SELECTOR,55047658,DD210L | SELECTOR SWITCH, PN 55047658, DD210L | 55047658 | 0019011819 | Unknown | https://mcwparts.com/product/55047658-selector-switch/ |  |  | 55047658 | [6 empty] | DD210L |  |  |  |  | CLEANSED | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed