## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060254699 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254699 | BHP1 | BHP Spares & Supplies | 311620 | Nails | EA | MAN2 | BASECOAT,GEL,POLISH,PLANET,NAILS,7.5ML,R | BASECOAT , GEL , POLISH , PLANET , NAILS , 7.5ML , RED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | POLISH | NO MODIFIER | TYPE | BASECOAT,PLANET NAILS GEL | CONTAINER | 7.5 ML | FORM |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060242675 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060242675 | BHP1 | BHP Spares & Supplies | 432100 | Computer Equipment and Accessories | ST | MAN2 | DATA COLLECTOR,VICXPERT II,1-CHANNEL PAC | DATA COLLECTOR,VICXPERT II,1-CHANNEL PACKAGE,VIB 5.310-1E | VIB 5.310-1E |  |  | https://www.mlt.se/wp-content/uploads/2015/10/VIBXPERT_II_Catalog_en.pdf |  | VICXPERT II | VIB 5.310-1E | [11 empty] | ENRICHED | COLLECTOR | DATA | TYPE | 1-CHANNEL PACKAGE | MEMORY |  | POWER SUPPLY |  | DISPLAY TYPE |  | INTERFACE TYPE |  | BATTERY LIFE |  | OPERATING TEMPERATURE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060236512 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060236512 | BHP1 | BHP Spares & Supplies | P1720 | Instrumentation, pressure, temperature, positional, electric | EA | MAN2 | ABSOLUTE,ENCODER,SER:29020036,4-20Ma | ABSOLUTE,ENCODER,SER:29020036,4-20Ma |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | ENCODER | NO MODIFIER | TYPE | ABSOLUTE | INPUT RATING | 4 MA | OUTPUT RATING | 20 MA | PULSES PER REVOLUTION |  | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE |  | OUTPUT CONFIGURATION |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060248637 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060248637 | BHP1 | BHP Spares & Supplies | 201426 | Production control system instrumentation | EA | MAN2 | ENCODER,WIRE DRAW,ABSOLUTE,SICK, 0M TO 3 | ENCODER,WIRE DRAW,ABSOLUTE,SICK, 0M TO 3M,18VDC TO 33VDC,M12, 5 PIN CONNETION,4 TO 20MA, BTF08-KEM03PP | BTF08-KEM03PP | 0019011819 | Unknown | https://www.sick.com/in/en/encoders/wire-draw-encoders/highline/btf08-k1em03pp/p/p332434 |  | SICK | BTF08-KEM03PP | [11 empty] | ENRICHED | ENCODER | NO MODIFIER | TYPE | ABSOLUTE WIRE DRAW | INPUT RATING | 18 VDC,4 MA | OUTPUT RATING | 33 VDC,20 MA | PULSES PER REVOLUTION |  | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE |  | OUTPUT CONFIGURATION |  | SIZE | 0-3 M | MATERIAL | ALUMINIUM/ZINC DIE CAST | ENCLOSURE | IP64 | TEMPERATURE RATING | -30 TO 70 DEG C | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 13849-1 | ADDITIONAL FEATURES EN | CONNECTION TYPE:M12, 5 PIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060254413 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254413 | BHP1 | BHP Spares & Supplies | 111715 | Basic steels | EA | MAN2 | FLOPPER GATE,C3 CONVEYOR,EA | FLOPPER GATE, C3 CONVEYOR AS PER DRAWING, FW61C16076 |  |  |  | URL NOT FOUND | [11 empty] | FW61C16076 |  |  | CLEANSED | FLAPPER | NO MODIFIER | TYPE | GATE | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR C3 CONVEYOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060250253 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060250253 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | FLOPPER GATE,ITEM 5,DRAWING TWP-3728,TRI | FLOPPER GATE,ITEM 5,DRAWING TWP-3728,TRIPPER CAR |  |  |  | URL NOT FOUND | [11 empty] | TWP-3728 |  | 5 | CLEANSED | FLAPPER | NO MODIFIER | TYPE | GATE | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR TRIPPER CAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060247505 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060247505 | BHP1 | BHP Spares & Supplies | 301720 | Gates | EA | MAN2 | GATE,SINGLE,MED,STEEL,3MWX1.8MH | GATE,SINGLE,MED,STEEL,3MWX1.8MH | 9/0427993 | 0019011819 | Unknown | URL NOT FOUND |  |  | 9/0427993 | [11 empty] | CLEANSED | GATE | NO MODIFIER | TYPE | SINGLE | SIZE | 3 MW X 1.8 MH | MATERIAL | MEDIUN STEEL | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060251134 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060251134 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | GENERATOR WELDER MGENEW006 LE 200A 6KVA | GENERATOR WELDER MGENEW006 LE 200A 6KVA 220V DIESEL WELDER ( NO BATTERY -PULL START)-200A/RC MACAFRICA | MGENEW006 | 0019011819 | Unknown | https://www.adendorff.co.za/product/mac-afric-6-kva-200a-diesel-welder-generator/ |  | MACAFRICA | MGENEW006 | [11 empty] | ENRICHED | GENERATOR | NO MODIFIER | TYPE | WELDER,DIESEL | POWER RATING | 6 KVA | VOLTAGE RATING | 220 V | CURRENT RATING | 200 A | NUMBER OF POLES | 2 | DRIVE TYPE | ENGINE | SPEED RATING | 3000 RPM | FRAME SIZE |  | DUTY CYCLE | 40 PCT | INSULATION CLASS |  | POWER FACTOR |  | SIZE | 1.125 M X 550 X 525 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO BATTERY -PULL START | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060252924 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060252924 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | GENERATOR,COMPLETE,265KVA,THREE PHASE,55 | GENERATOR, COMPLETE, 265KVA, THREE PHASE, 550V |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GENERATOR | NO MODIFIER | TYPE |  | POWER RATING | 265 KVA | VOLTAGE RATING | 550 V | CURRENT RATING |  | NUMBER OF POLES |  | DRIVE TYPE |  | SPEED RATING |  | FRAME SIZE |  | DUTY CYCLE |  | INSULATION CLASS |  | POWER FACTOR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO OF PHASE:3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060243698 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060243698 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | GENERATOR,EL CONTROL,1480891-100,SCANIA | SCANIA GENERATOR,EL CONTROL,1480891-100001 | 1480891-100001 | 0019011819 | Unknown | https://burjauto.com/oem/1480891-scania-ecu/273690739 |  | SCANIA | 1480891-100001 | [11 empty] | CLEANSED | GENERATOR | NO MODIFIER | TYPE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | DRIVE TYPE |  | SPEED RATING |  | FRAME SIZE |  | DUTY CYCLE |  | INSULATION CLASS |  | POWER FACTOR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EL CONTROL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060252194 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060252194 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | GENERATOR,GENTECH,7.0KVA | GENERATOR, GENTECH, 7.0KVA |  |  |  | URL NOT FOUND |  | GENTECH | [12 empty] | CLEANSED | GENERATOR | NO MODIFIER | TYPE |  | POWER RATING | 7 KVA | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | DRIVE TYPE |  | SPEED RATING |  | FRAME SIZE |  | DUTY CYCLE |  | INSULATION CLASS |  | POWER FACTOR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060249612 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060249612 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | GENERATOR,WELDER,COMBO,WITH,WEIMA,DIESEL | GENERATOR,WELDER,COMBO,WITH,WEIMA,DIESEL,ENGINE,6,KVA,200A |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GENERATOR | NO MODIFIER | TYPE | WELDER,DIESEL | POWER RATING | 6 KVA | VOLTAGE RATING |  | CURRENT RATING | 200 A | NUMBER OF POLES |  | DRIVE TYPE | ENGINE | SPEED RATING |  | FRAME SIZE |  | DUTY CYCLE |  | INSULATION CLASS |  | POWER FACTOR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMBO,W/WEIMA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060252905 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060252905 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | WELDER,GENERATOR,DIESEL,6KVA200A | WELDER, GENERATOR, DIESEL, 6KVA200A | BO0002 | 0019011819 | Unknown | URL NOT FOUND |  |  | BO0002 | [11 empty] | CLEANSED | GENERATOR | NO MODIFIER | TYPE | WELDER,DIESEL | POWER RATING | 6 KVA | VOLTAGE RATING |  | CURRENT RATING | 200 A | NUMBER OF POLES |  | DRIVE TYPE |  | SPEED RATING |  | FRAME SIZE |  | DUTY CYCLE |  | INSULATION CLASS |  | POWER FACTOR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060246004 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060246004 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | GLUE,BONDING,FAST,ALCOLIN | GLUE, BONDING, FAST, ALCOLIN |  |  |  | URL NOT FOUND |  | ALCOLIN | [12 empty] | CLEANSED | ADHESIVE | NO MODIFIER | TYPE | GLUE | CURE TIME |  | CONTAINER |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FAST BONDING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060235816 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060235816 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | GLUE,DEVIL,RED,310ML,GD09 | GLUE,DEVIL,RED,310ML,GD09 |  | 0019011367 | ELECTRO DIESEL | https://www.startmycar.co.za/products/glue-devil-super-glue-gd09?variant=27760743814 |  | ELECTRO DIESEL | GD09 | [11 empty] | ENRICHED | ADHESIVE | NO MODIFIER | TYPE | GLUE | CURE TIME |  | CONTAINER | 310 ML | COLOUR | RED | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VENDOR:DEVIL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060254965 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254965 | BHP1 | BHP Spares & Supplies | 311620 | Nails | EA | MAN2 | GLUE,EYELASH,ADHESIVE,DARK,7G,PLANET | GLUE, EYELASH, ADHESIVE, DARK, 7G, PLANET, NAILS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | ADHESIVE | NO MODIFIER | TYPE | GLUE | CURE TIME |  | CONTAINER | 7 G | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR EYELASH,DARK,PLANET NAILS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060133640 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060133640 | BHP1 | BHP Spares & Supplies | 312016 | Other adhesives and sealants | CN | MAN2 | GLUE,PVC WELD HIGH PRESSURE PIPES, 500ML | GLUE,PVC WELD HIGH PRESSURE PIPES, 500ML, GLUE DEVIL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | ADHESIVE | NO MODIFIER | TYPE | GLUE | CURE TIME |  | CONTAINER | 500 ML | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL:PVC,FOR WELD HIGH PRESSURE PIPES,VENDOR:GLUE DEVIL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060233692 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060233692 | BHP1 | BHP Spares & Supplies | P1540 | Electric cable & accessories, hangers | EA | MAN2 | GLUE,PVC,200ML/1 | PVC, GLUE, 200ML/1 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | ADHESIVE | NO MODIFIER | TYPE | GLUE | CURE TIME |  | CONTAINER | 200 ML/1 | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL:PVC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060248559 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060248559 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | GRID,COUPLING,1070T10 | GRID,COUPLING,1070T10 | T1070H GRID | 0019011819 | Unknown | https://www.rexnord.com/products/0775809 |  | FALK | 1070T10 |  |  | T1070H | [8 empty] | ENRICHED | GRID | COUPLING | COUPLING SIZE |  | COUPLING TYPE | GRID | MATERIAL | ALUMINUM/STEEL | SIZE | WID 6.8 X LG 6.7 X HT 6 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060240580 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060240580 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | GRIP,2027981,HYSTER,EA | GRIP, 2027981, HYSTER, EA | 2027981 |  |  | https://shop.moderngroup.com/2027981-hyster-aftermarket-handle-grip/ |  | HYSTER | 2027981 | [11 empty] | ENRICHED | GRIP | HANDLE | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060253704 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253704 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | GRIP,VICE,WELDERS,DOUBLE,JAW | GRIP, VICE, WELDERS, DOUBLE, JAW |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GRIP | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VICE,W/DOUBLE JAW,FOR WELDERS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060247886 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | CONFLICT INPUT DATA BASED ON WEB SOURCE | 000000000060247886 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | HANDGRIP,200058,BELL,EA | HANDGRIP, 200058, BELL, EACH | 200058 |  |  | https://www.imce.nl/products/wet-brake-transmission/200058-bell-disc-friction-oe-grade/ |  | BELL | 200058 | [11 empty] | ENRICHED | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | MOLYBDENUM | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060250390 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060250390 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | KNEEGUARD,GRIP,GK3320,BLACK/ORANGE,EA | KNEEGUARD, KNEE PADS, GRIP, GK3320, BLACK/ORANGE, DOUBLE STRAP | GK3320 | 0019011819 | Unknown | https://www.builders.co.za/Protective-Wear-%26-Safety/Safety-Equipment/Knee-Pads/Grip-GK3320-Knee-Pads---Black-Orange/p/000000000000641316 |  | GRIP | GK3320 | [11 empty] | ENRICHED | GUARD | SAFETY | TYPE | KNEE PADS | WIDTH |  | THICKNESS |  | MATERIAL |  | COLOUR | BLACK/ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/DOUBLE STRAP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060219358 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060219358 | BHP1 | BHP Spares & Supplies | 481021 | Storage and handling equipment | EA | MAN2 | GUIDE ASSEMBLY, MOULD, CW 2 ROLLERS | GUIDE ASSEMBLY, MOULD, CW 2 ROLLERS, SSI FMT0067 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GUIDE | NO MODIFIER | TYPE | ASSEMBLY,MOULD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 2 ROLLERS,SSI FMT0067 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060250179 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060250179 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | GUIDE,77011283,DD210L | GUIDE, PN 77011283, DD210L RIG | 77011283 | 0019011819 | Unknown | URL NOT FOUND |  |  | 77011283 | [5 empty] | RIG | DD210L |  |  |  |  | CLEANSED | GUIDE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060255983 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255983 | BHP1 | BHP Spares & Supplies | 201015 | Cutting equipment | EA | MAN2 | VALVE,SEAT,CUTTER,GUIDE,PEG10,STANDARD | VALVE SEAT CUTTER GUIDE, PEG 10 STANDARD 5 PILOT GUIDES |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GUIDE | NO MODIFIER | TYPE | VALVE SEAT CUTTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PEG 10 STANDARD 5 PILOT GUIDES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060171188 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060171188 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | 1.6T KITO LEVER HOIST 6M LIFT & OVERLOA | 1.6T KITO LEVER HOIST 6M LIFT & OVERLOAD |  |  |  | URL NOT FOUND | [8 empty] | 1.6T HOIST 6 M LIFT & OVERLOAD |  | KITO |  |  |  | CLEANSED | LEVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060242279 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060242279 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | HOIST,CHAIN,ELECTRIC,3T,13M LIFT | HOIST, CHAIN, ELECTRIC, 3T,13M LIFT, LIFT KING, 380V, C W MOTORISED TROLLEY, PENDANT CONTROL COMPLETE WITH 4 M CONTROL CABLE, E STOP | 2EH U ECH03 02S ET |  |  | URL NOT FOUND |  |  | 2EH U ECH03 02S ET | [11 empty] | CLEANSED | HOIST | CHAIN | TYPE | ELECTRIC | STANDARD LIFT | 13 M | MIN BEND RADIUS |  | HAND CHAIN LENGTH |  | NUMBER OF STRANDS |  | HOISTING ELEMENT |  | LOAD CAPACITY | 3 TON | TROLLEY TYPE |  | CHAIN MATERIAL |  | CHAIN LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE RATING:380 V,C/W MOTORISED TROLLEY, PENDANT CONTROL COMPLETE W/CONTROL CABLE:4 M,E STOP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060247586 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060247586 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | HOIST,ELECTRIC,2TON,8M,LIFT,MOTORISED,TR | HOIST, ELECTRIC, 2TON, 8M, LIFT, MOTORISED, TROLLEY C/W CHAIN BAG BOTH, HOIST AND TROLLEY ARE SINGLE SPEED UNITS C/W A REMOTE, CONTR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | HOIST | NO MODIFIER | TYPE | ELECTRIC | STANDARD LIFT | 8 M | LOAD RATING | 2 TON | SIZE |  | LIFTING SPEED |  | CHAIN MATERIAL |  | INPUT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W MOTORISED TROLLEY,CHAIN BAG BOTH HOIST AND TROLLEY ARE SINGLE SPEED UNITS C/W A REMOTE CONTR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060249000 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060249000 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | HOIST,ELECTRIC,2TX8M,LIFT,380V,C/W,MOTOR | HOIST,ELECTRIC,2TX8M,LIFT,380V,C/W,MOTOR,TROLLEY,REMOTE,CONTROL,BOTH,HOIST,AND,TROLLEY,ARE,SINGLE,SPEED,UNITS | 2EH-U ECH02 01S8 | 0019011819 | Unknown | URL NOT FOUND |  |  | 2EH-U ECH02 01S8 | [11 empty] | CLEANSED | HOIST | NO MODIFIER | TYPE | ELECTRIC | STANDARD LIFT | 8 M | LOAD RATING | 2 TON | SIZE |  | LIFTING SPEED |  | CHAIN MATERIAL |  | INPUT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE RATING:380 V,C/W MOTOR TROLLEY,REMOTE CONTROL BOTH HOIST AND TROLLEY,ARE SINGLE SPEED UNITS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060245231 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060245231 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | HOIST,ELECTRIC,3T | HOIST,ELECTRIC,3T,525V 15M LIFT CW MOTORISED TROLLEY,WIRELESS REMOTE CONTROL CHAIN BUCKET TO SUIT BOTH HOISE AND TROLLEY SINGLE SPEE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | HOIST | NO MODIFIER | TYPE | ELECTRIC | STANDARD LIFT | 15 M | LOAD RATING | 3 TON | SIZE |  | LIFTING SPEED |  | CHAIN MATERIAL |  | INPUT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE RATING:525 V,C/W MOTORISED TROLLEY,WIRELESS REMOTE CONTROL CHAIN BUCKET TO SUIT BOTH HOISE AND TROLLEY SINGLE SPEE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060252372 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060252372 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | HOIST,TROLLEY,4000KG,CAPACITY,TA4200RPAF | HOIST, MOTORISED TROLLEY,4000KG,CAPACITY,TA4200RPAF8 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | HOIST | NO MODIFIER | TYPE |  | STANDARD LIFT |  | LOAD RATING | 4000 KG | SIZE |  | LIFTING SPEED |  | CHAIN MATERIAL |  | INPUT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W MOTORISED TROLLEY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060240298 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060240298 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | INJECTOR,ASSY,6251-11-3100,KOMATSU,WA480 | INJECTOR,ASSY,6251-11-3100,KOMATSU,WA480 | 6251-11-3100 INJECTOR ASS'Y |  |  | https://gkenginespares.com/product/komatsu-6251-11-3100-injector-ass-y/ |  | KOMATSU | 6251-11-3100 INJECTOR ASS'Y | [6 empty] | WA480 |  |  |  |  | ENRICHED | INJECTOR | NO MODIFIER | TYPE | ASSEMBLY | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | NOZZLE SIZE |  | OVERALL SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060253155 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253155 | BHP1 | BHP Spares & Supplies | P1016 | Petrol/diesel engines and Accessories | EA | MAN2 | INJECTOR,TESTER,DIESEL | INJECTOR, TESTER, DIESEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | INJECTOR+AO2:AO237 | FUEL | TYPE |  | PRESSURE RATING |  | INLET SIZE |  | ORIFICE DIAMETER |  | MATERIAL |  | FLOW RATING |  | FUEL TYPE | DIESEL | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TESTER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060256072 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | 000000000060256072 | BHP1 | BHP Spares & Supplies | 411220 | Laboratory or sampling syringes | KG | MAN2 | IRON SAMPLE, 2.26C , 0.0105, 250G | IRON SAMPLE, 2.26C , 0.0105, 250G | IRON SAMPLE, 2.26C , 0.0105 | 0019011819 | Unknown | URL NOT FOUND |  |  | IRON SAMPLE, 2.26C , 0.0105 | [74 empty] | Production Completed
000000000060245165 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | 000000000060245165 | BHP1 | BHP Spares & Supplies | 410000 | Laboratory, Measuring, Observing and Testing Equipment | EA | MAN2 | IRON,CRM,STANDARD,10000PPM | IRON,CRM,STANDARD,10000PPM |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
000000000060246013 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | 000000000060246013 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | IRON,STEAM,RUSSEL HOBBS,966X1600 | STEAM, IRON, RUSSEL, HOBBS, 966X1600 |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
000000000060026769 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060026769 | BHP1 | BHP Spares & Supplies | 231715 | Soldering, brazing or welding machinery and supplies | EA | MAN2 | SOLDERING IRON, ELEC, 120W, WELLAR | SOLDERING IRON, ELEC, 120W, WELLAR |  |  |  | URL NOT FOUND |  | WELLAR | [12 empty] | CLEANSED | IRON | SOLDERING | TYPE | ELECTRIC | TIP TYPE |  | TIP MATERIAL |  | TIP DIAMETER |  | VOLTAGE RATING |  | POWER RATING | 120 W | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060246392 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060246392 | BHP1 | BHP Spares & Supplies | 901017 | Cafeteria services | EA | MAN2 | CUTLERY,KNIFE,STEEL | KNIFE,STEEL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CUTTER | KNIFE | TYPE |  | CUT MATERIAL |  | BLADE LENGTH | STEEL | BLADE MATERIAL |  | HANDLE MATERIAL |  | JAW TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060133840 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060133840 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | KNIFE, PUTTY STIFF SQUARE BLADE, 50MM, Y | KNIFE, PUTTY STIFF SQUARE BLADE, 50MM, YORK |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | KNIFE | NO MODIFIER | TYPE | PUTTY STIFF SQUARE BLADE | OVERALL LENGTH | 50 MM | MATERIAL |  | HANDLE MATERIAL |  | NUMBER OF BLADES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | YORK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060245653 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060245653 | BHP1 | BHP Spares & Supplies | 311628 | Miscellaneous hardware | EA | MAN2 | KNIFE,TABLE,ELOFF,JS-K001,EA | TABLE,KNIFE,ELOFF,JS-K001,EA | JS-K001 | 0019011819 | Unknown | http://jcsafrica.com/index.php?main_page=product_info&cPath=43_288_620_632&products_id=5604 |  | FORTIS | JS-K001 |  | ELOFF | [9 empty] | ENRICHED | KNIFE | NO MODIFIER | TYPE | TABLE | OVERALL LENGTH |  | MATERIAL |  | HANDLE MATERIAL |  | NUMBER OF BLADES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060247254 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060247254 | BHP1 | BHP Spares & Supplies | 271128 | Tool attachments | EA | MAN2 | KNIFE,UTILITY, | KNIFE,UTILITY, |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | KNIFE | NO MODIFIER | TYPE | UTILITY | OVERALL LENGTH |  | MATERIAL |  | HANDLE MATERIAL |  | NUMBER OF BLADES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255028 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255028 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | KNIVES,BREAD,KITCHEN,SET | KNIVES, BREAD, KITCHEN, SET |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | KNIFE | NO MODIFIER | TYPE |  | OVERALL LENGTH |  | MATERIAL |  | HANDLE MATERIAL |  | NUMBER OF BLADES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BREAD,KITCHEN,SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255029 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255029 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | KNIVES,CHEF,KITCHEN,SET | KNIVES, CHEF, KITCHEN, SET |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | KNIFE | NO MODIFIER | TYPE |  | OVERALL LENGTH |  | MATERIAL |  | HANDLE MATERIAL |  | NUMBER OF BLADES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CHEF,KITCHEN,SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255026 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255026 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | KNIVES,PAIRING,KITCHEN,SET | KNIVES, PAIRING, KITCHEN, SET |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | KNIFE | NO MODIFIER | TYPE |  | OVERALL LENGTH |  | MATERIAL |  | HANDLE MATERIAL |  | NUMBER OF BLADES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PAIRING,KITCHEN,SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255963 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255963 | BHP1 | BHP Spares & Supplies | 411227 | Laboratory tapes and labels | BX | MAN2 | DK,PRINT,LABEL,WHITE,PAPER,TAPE,62MM,X,8 | WHITE PAPER, DK, TAPE, 62MMX8M, COMPATIBLE, TO,THE,BROTHER,LABEL,PRINTER, QL-1100 |  |  |  | https://www.brother-usa.com/products/ql1100 |  | BROTHER | QL-1100 | [11 empty] | ENRICHED | PRINTER | LABEL | TYPE |  | PRINT METHOD | DIRECT THERMAL | SIZE | WID 6.7 X DP 8.7 X HT 5.9 IN | RESOLUTION | 300 X 300 DPI | PRINT SPEED | 69 LABLE/MIN | INPUT RATING | 120 VAC,60 HZ | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WHITE PAPER,DK,TAPE,COMPATIBLE,ZISE:62 MM X 8 M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060252986 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060252986 | BHP1 | BHP Spares & Supplies | P1060 | Equipment maintenance services | EA | MAN2 | LABEL PRINTER,BROTHER TD 4100N,EA | LABEL PRINTER, BROTHER TD 4100N, EACH |  |  |  | https://support.brother.com/g/b/spec.aspx?c=eu_ot&lang=en&prod=lptd4100neuk |  | BROTHER | TD 4100N | [11 empty] | ENRICHED | PRINTER | LABEL | TYPE |  | PRINT METHOD | DIRECT THERMAL | SIZE | WID 173 MM X DP 229 MM X HT158 MM | RESOLUTION | 300 DPI | PRINT SPEED | 110 MM/S | INPUT RATING |  | TEMPERATURE RATING | 10-35 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060140472 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060140472 | BHP1 | BHP Spares & Supplies | 551216 | Labels | EA | MAN2 | LABEL, SELF ADHESIVE, LEVER ARCH, COLOUR | LABEL, SELF ADHESIVE, LEVER ARCH, COLOURED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LABEL | ADHESIVE | TYPE | SELF,LEVER ARCH | SIZE |  | LEGEND |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOURED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060232053 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060232053 | BHP1 | BHP Spares & Supplies | 461916 | Fire fighting equipment | EA | MAN2 | LABEL,IN CASE OF FIRE,EACH | LABEL, IN CASE OF FIRE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LABEL | SAFETY | TYPE | FIRE | SIZE |  | LEGEND |  | MATERIAL |  | LEGEND COLOUR |  | BACKGROUND COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060253221 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253221 | BHP1 | BHP Spares & Supplies | 441031 | Printer, facsimile and photocopier supplies | ROL | MAN2 | LABEL,MARKER,BM71H-1-7643-YL | CABLE MARKERS, BM71H-1-7643-YL | BM71H-1-7643-YL | 0019011819 | Unknown | https://www.brady.eu/labels/bulk-polyurethane-cable-tag-for-m611-bmp61-bmp71-pid-bm71h-1-7643-yl |  | BRADY | BM71H-1-7643-YL | [11 empty] | ENRICHED | MARKER | CABLE | TYPE |  | LENGTH | 6000 MM | WIDTH | 1000 MM | MATERIAL | Thermoplastic Polyether Polyurethane | COLOUR | YELLOW | CABLE SIZE |  | PACKAGE TYPE | BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060246071 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060246071 | BHP1 | BHP Spares & Supplies | 441200 | Office supplies | BX | MAN2 | LABEL,SELF ADHESIVE,210MM X297MM,WHITE | LABEL,SELF-ADHESIVE,210MM X297MM,WHITE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LABEL | ADHESIVE | TYPE | SELF | SIZE | 210 X297 MM | LEGEND |  | MATERIAL |  | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060254582 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254582 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | PAK | MAN2 | LABELS,SELF,ADHESIVE,A4,99MMX33.9MM,16 P | LABELS, SELF, ADHESIVE, A4, 99MM X 33.9MM,16 PER PAGE,100 SHEETS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LABEL | ADHESIVE | TYPE | SELF | SIZE | 99 X 33.9 MM, | LEGEND |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | QUANTITY:16 PER ROLL,SHEETS:100,A4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255431 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060255431 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MAKER,LABEL,DYMO,1/2,IN,X23,FT,BLACK,WHI | MAKER,LABEL,DYMO,1/2,IN,X23,FT,BLACK,WHITE,45013,S0784440 | S0784440 |  |  | https://www.dymo-express.co.uk/dymo-label-makers/dymo-labelmanager-210d-label-maker.html |  | DYMO | S0784440 | [11 empty] | ENRICHED | PRINTER | LABEL | TYPE |  | PRINT METHOD |  | SIZE | 1/2 IN X 23 FT | RESOLUTION |  | PRINT SPEED |  | INPUT RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLACK AND WHITE 45013 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060248078 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060248078 | BHP1 | BHP Spares & Supplies | 411100 | Measuring, observing and testing instruments | EA | MAN2 | LASER,DISTANCE MEASURER,BOSCH,GLM20,EA | LASER, DISTANCE MEASURER, BOSCH, GLM20, EACH | 618183 |  |  | https://www.bosch-professional.com/za/en/products/glm-20-0601072EG0 | https://www.builders.co.ke/Tools-%26-Protective-Wear/Measuring-%26-Marking-Tools/Electronic-Measuring-Tools/Bosch-GLM-20-Laser-Distance-Measurer/p/000000000000618183 | BOSCH | 618183 | GLM20 | [10 empty] | ENRICHED | LASER | NO MODIFIER | TYPE | DISTANCE MEASURER | POWER SUPPLY | 2 x 1.5 V LR03 (AAA) | LIGHT SOURCE |  | RESOLUTION |  | SENSING DISTANCE | 20 M | COLOUR | RED | INTERFACE TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060100213 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060100213 | BHP1 | BHP Spares & Supplies | 461715 | Locks and security hardware | EA | MAN2 | LOCKOUT, SAFETY, TYPE 420, MASTER | LOCKOUT, SAFETY, TYPE 420, MASTER |  |  |  | https://www.masterlock.com/products/product/420 |  | MASTERLOCK | TYPE 420 | [11 empty] | ENRICHED | LOCKOUT | HASP | TYPE | SAFETY | LEGEND |  | CLOSED HASP HOLE SIZE | 1 IN | NUMBER OF LOCKS | 6 | HASP STYLE |  | MATERIAL | STEEL | SIZE | 1-3/4 X 4-1/2 IN | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060242418 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060242418 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | MASTER,LOCK,GROUP,LOCKOUT,BOX,503,RED | MASTER,LOCK,GROUP,LOCKOUT,BOX,503,RED |  |  |  | https://www.masterlock.com/products/product/503RED |  | MASTERLOCK | TYPE 503 | [11 empty] | ENRICHED | BOX | LOCKOUT | TYPE | GROUP | LOCK QUANTITY |  | DIMENSIONS |  | MATERIAL |  | COATING/FINISH |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060254900 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254900 | BHP1 | BHP Spares & Supplies | P6010 | Training | EA | MAN2 | REDBOX,PERMIT,LOCKOUT,380X2,ABUS | REDBOX, PERMIT, LOCKOUT, 380 X 2, ABUS |  |  |  | https://www.totallockout.com/storage/abus-permit-redbox/ |  | ABUS REDBOX PERMIT | 380 | [11 empty] | ENRICHED | BOX | LOCKOUT | TYPE |  | LOCK QUANTITY |  | DIMENSIONS | WID 240 X HT 380 X DP 68 MM | MATERIAL | POWDER COATED STEEL | COATING/FINISH |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE:2 IN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060256133 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060256133 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MANIFOLD,FEED,MAGNETIC,SEPERATOR | MANIFOLD, FEED, MAGNETIC, SEPERATOR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MANIFOLD | NO MODIFIER | TYPE | FEED MAGNETIC SEPERATOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060240496 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060240496 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | MANIFOLD,SUB BASE,VABV S4 1S,EA | MANIFOLD , SUB BASE , FESTO , VABV S4 1S G14 2T2 , EA | 539220 |  |  | https://www.festo.com/us/en/a/download-document/datasheet/539220/ |  | FESTO | 539220 |  |  | VABV S4 1S G14 2T2 | [8 empty] | ENRICHED | MANIFOLD | NO MODIFIER | TYPE | SUB BASE | SIZE | 26 MM | MATERIAL | DIE CAST ALUMINIUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060249558 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060249558 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MANTLE,18MN,STD,SYMONS414SM18 | MANTLE,18MN,STD,SYMONS414SM18 | SYMONS414SM18 | 0019011819 | Unknown | URL NOT FOUND |  |  | SYMONS414SM18 | [11 empty] | CLEANSED | MANTLE | NO MODIFIER | TYPE |  | POWER RATING |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 18 MN:STD SYMONS414SM18 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060245524 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060245524 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MANTLE,18PERCENT,MN:44OH | MANTLE,18PERCENT,MN:44OH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MANTLE | NO MODIFIER | TYPE |  | POWER RATING |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 18 PCT MN:44OH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060251012 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060251012 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MUG,ACTION,TRAVEL,470ML,STANLEY,CLASSIC, | MUG,ACTION,TRAVEL,470ML,STANLEY,CLASSIC,TRIGGER |  |  |  | URL NOT FOUND |  | STANLEY | [12 empty] | CLEANSED | MUG | NO MODIFIER | TYPE | CLASSIC TRIGGER ACTION TRAVEL | CAPACITY | 470 ML | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060254002 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060254002 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MUG,BEER,GLASS,OBERGLAS,500ML | MUG, BEER, GLASS, OBERGLAS, 500ML |  |  |  | URL NOT FOUND |  | OBERGLAS | [12 empty] | CLEANSED | MUG | NO MODIFIER | TYPE | BEER | CAPACITY | 500 ML | MATERIAL | GLASS | OVERALL SIZE |  | COLOUR |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060253669 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253669 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MUG,CERAMIC,WITH,MATCHING,BASE,10.2X8.3C | MUG, CERAMIC, WITH, MATCHING, BASE, 10.2X8.3CM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MUG | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL | CERAMIC | OVERALL SIZE | 10.2 X 8.3 CM | COLOUR |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/MATCHING BASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060256118 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060256118 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MUG,GLASS,ELEGANT,DOUBLE,WALL,IN,GIFT,BO | MUG, GLASS, ELEGANT, DOUBLE, WALL, IN, GIFT, BOX |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MUG | NO MODIFIER | TYPE | ELEGANT DOUBLE WALL | CAPACITY |  | MATERIAL | GLASS | OVERALL SIZE |  | COLOUR |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IN GIFT BOX | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060253556 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060253556 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MUG,STAINLESS,STEEL,300ML,LEISURE,QUIP,B | MUG, STAINLESS, STEEL, 300ML, LEISURE, QUIP, BRANDED |  |  |  | URL NOT FOUND |  | LEISURE QUIP | [12 empty] | CLEANSED | MUG | NO MODIFIER | TYPE |  | CAPACITY | 300 ML | MATERIAL | STAINLESS STEEL | OVERALL SIZE |  | COLOUR |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRANDED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
ORELUMPYFINES | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | ORELUMPYFINES | ROH | Raw materials | 111000 | Minerals, ores and metals | TO |  | ORE LUMPY FINES | NED OUT ORE LUMPY FINES |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
ORE SPILLAGE 1 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | ORE SPILLAGE 1 | ROH | Raw materials | 111000 | Minerals, ores and metals | TO |  | ORE SPILLAGE 1 | SPILLAGE 1 |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
LUMPMARICO40X80 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | LUMPMARICO40X80 | ROH | Raw materials | 111000 | Minerals, ores and metals | TO | MAN2 | ORE,LUMP, MARICO,40X80 | EENED, ORE,LUMP, MARICO,40X80 |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
000000000060255687 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | 000000000060255687 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | ORE,LUMPY,LG6,BUSHVELD,AMIS0388 | ORE,LUMPY,LG6,BUSHVELD,AMIS0388 | AMIS0388 | 0019011819 | Unknown | URL NOT FOUND |  |  | AMIS0388 | [74 empty] | Production Completed
ORELUMPMNUG | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | ORELUMPMNUG | ROH | Raw materials | 111000 | Minerals, ores and metals | TO |  | ORE,LUMPY,MOOINOOI,25X100MM | PY,MOOINOOI,25X100MM |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
SMALLLUMPMARI20X40 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | SMALLLUMPMARI20X40 | ROH | Raw materials | 111000 | Minerals, ores and metals | TO | MAN2 | ORE,SMALL LUMP, MARICO,20X40 | SCREENED, ORE,SMALL LUMP, MARICO,20X40 |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
UG2FINK1GLENC10X2 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | UG2FINK1GLENC10X2 | ROH | Raw materials | 111000 | Minerals, ores and metals | TO | MAN2 | ORE,UG2, FINES,GLENCORE,10X2 | RE,UG2, FINES,GLENCORE,10X2 |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
UG2FINK2GLENC20X2 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 | SUTABLE NM NOT FOUND | UG2FINK2GLENC20X2 | ROH | Raw materials | 111000 | Minerals, ores and metals | TO | MAN2 | ORE,UG2, FINES,GLENCORE,20X2 | RE,UG2, FINES,GLENCORE,20X2 |  |  |  | URL NOT FOUND | [77 empty] | Production Completed
000000000060227596 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060227596 | BHP1 | BHP Spares & Supplies | 821215 | Printing | EA | MAN2 | TAG, RED, PORTABLE ELECTRICAL EQUIP | TAG, RED, PORTABLE ELECTRICAL EQUIPMENT, TYVEK, 105G/M3, NON-TEAR, 6MM EYELETS, 60MMX100MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TAG | SAFETY | TYPE | NON-TEAR | SIZE | 60 X 100 MM | LEGEND | PORTABLE ELECTRICAL EQUIPMENT | MATERIAL |  | LEGEND COLOUR | RED | BACKGROUND COLOUR |  | PACKAGE QUANTITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:TYVEK,105G/M3,W/6 MM EYELETS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060227595 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060227595 | BHP1 | BHP Spares & Supplies | 821215 | Printing | EA | MAN2 | TAG,BLUE,PORTABLE ELECTRICAL EQUIPMENT | TAG, BLUE, PORTABLE ELECTRICAL EQUIPMENT, TYVEK, 105G/M3, NON-TEAR, 6MM EYELETS, 60MMX100MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TAG | SAFETY | TYPE | NON-TEAR | SIZE | 60 X 100 MM | LEGEND | PORTABLE ELECTRICAL EQUIPMENT | MATERIAL |  | LEGEND COLOUR | BLUE | BACKGROUND COLOUR |  | PACKAGE QUANTITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:TYVEK,105G/M3,W/6 MM EYELETS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060242352 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060242352 | BHP1 | BHP Spares & Supplies | 551215 | Tags | EA | MAN2 | TAG,LOCK-OUT,140X75MM,D/SIDED,WITH USER | TAG,LOCK-OUT,140X75MM,D/SIDED,WITH USER DETAILS PRINTED,COVERED WITH CLEAR VINYL COVER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TAG | SAFETY | TYPE |  | SIZE | 140 X 75 MM | LEGEND | LOCK-OUT | MATERIAL |  | LEGEND COLOUR |  | BACKGROUND COLOUR |  | PACKAGE QUANTITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | D/SIDED,W/USER DETAILS PRINTED,COVERED WITH CLEAR VINYL COVER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060242771 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060242771 | BHP1 | BHP Spares & Supplies | 461815 | Safety apparel | EA | MAN2 | TAG,ROUND,HOLE | TAG ROUND 50MM, ALUMINIUM, DRILLED HOLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TAG | SAFETY | TYPE | ROUND | SIZE | 50 MM | LEGEND |  | MATERIAL | ALUMINIUM | LEGEND COLOUR |  | BACKGROUND COLOUR |  | PACKAGE QUANTITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR DRILLED HOLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060239048 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060239048 | BHP1 | BHP Spares & Supplies | 431900 | Communications Devices and Accessories | EA | MAN2 | TAG,SOLO,MAMI,403MHz | TAG SOLO MAMI 403MHz |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TAG | NO MODIFIER | TYPE |  | SIZE |  | LEGEND |  | MATERIAL |  | BACKGROUND COLOUR |  | LEGEND COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOLO MAMI 403MHz | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060239777 | TNG_001 | DATA ENRICHMENT | MBT | MBT2 | OK | 2022-11-08 | 2022-11-22 |  | 000000000060239777 | BHP1 | BHP Spares & Supplies | 551215 | Tags | EA | MAN2 | TAGS,ROTABLE,PLASTIC,YELLOW/GREEN/RED | NEW/YELLOW,REPAIRED/GREEN,DAMAGED/RED 65MMX65MM WITH A 5MM HOLE IN LEFT HAND CORNER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TAG | IDENTIFICATION | TYPE |  | SIZE | 65 X 65 MM | LEGEND |  | MATERIAL |  | LEGEND COLOUR | NEW/YELLOW,REPAIRED/GREEN,DAMAGED/RED | PACKAGE QUANTITY |  | BACKGROUND COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/A 5MM HOLE IN LEFT HAND CORNER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed