## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060248789 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248789 | BHP1 | BHP Spares & Supplies | 141015 | Raw materials | KG | MAN2 | BALL,STEEL,30MM DIA,MILL,ALLOY VEGAROCK | BALL,STEEL,30MM DIA,MILL,ALLOY VEGAROCK G11 UN-TEMPERED,CHEMICAL COMPOSITION 10-13PERCENT CR, 2.5 - 3.5,HARDNESS 64-68 HRC | 30MM DIA,MILL,ALLOY VEGAROCK G11 | 0019011819 | Unknown | https://mqe.com.au/PhotoForm.html?CG3070%20CG3070%20DESCRIPTION:%2050mm%20AJA%20Engineering%20Ball%20Mill%20Balls:%20Vega%20Rock%20G11%20%20-%20%2010%20Drums%20Available.%20%20%20Condition:%20Unused. |  | VEGAROCK | G11 | [11 empty] | CLEANSED | BALL | NO MODIFIER | TYPE | MILL | SIZE | DIA 30 MM | MATERIAL | ALLOY STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UN-TEMPERED,CHEMICAL COMPOSITION 10-13 PCT CR,2.5 - 3.5 DEG C,HARDNESS 64-68 HRC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060250256 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060250256 | BHP1 | BHP Spares & Supplies | 141015 | Raw materials | TO | MAN2 | BALL,STEEL,35MM DIA,MILL,VEGAROCK G15 | BALL,STEEL,35MM DIA,MILL,VEGAROCK G15,CHEMICAL COMPOSITION 14-17PERCENT CR, 3.0-3.5DEG C,HARDNESS 64-68 HRC | 4020133 - VEGA STEEL INDUSTRIES | 0019011819 | Unknown | URL NOT FOUND |  | VEGAROCK | 4020133 |  |  | G15 | [8 empty] | CLEANSED | BALL | NO MODIFIER | TYPE | MILL | SIZE | DIA 35 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CHEMICAL COMPOSITION 14-17 PCT CR,3-3.5 DEG C,HARDNESS 64-68 HRC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060244821 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244821 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | ANTI-RUNBACK,TSUBAKI,BS-75-70,SHAFT:D70M | ANTI-RUNBACK, TSUBAKI, BS-75-70, SHAFT:D70MM, KEYWAY 70MM |  |  |  | https://chains.ustsubaki.com/item/backstopping-cam-clutches/bs-series-bs65-bs75-cam-clutch/bs75-70 |  | TSUBAKI | BS-75-70 | [11 empty] | ENRICHED | CLUTCH | NO MODIFIER | TYPE | ANTI-RUNBACK | BORE DIAMETER | 70 MM | SPEED RATING | 300 RPM | TORQUE RATING | 2450 NM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 350 | ADDITIONAL FEATURES EN | KEYWAY 70 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060244820 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244820 | BHP1 | BHP Spares & Supplies | 261118 | Drive belts | EA | MAN2 | ANTI-RUNBACK,TSUBAKI,BS-95-90,SHAFT:D90M | ANTI-RUNBACK, TSUBAKI, BS-95-90, SHAFT:D90MM, KEYWAY90MM |  |  |  | https://chains.ustsubaki.com/item/backstopping-cam-clutches/bs-series-bs85-bs135-cam-clutch/bs95-90 |  | TSUBAKI | BS-95-90 | [11 empty] | ENRICHED | CLUTCH | NO MODIFIER | TYPE | ANTI-RUNBACK | BORE DIAMETER | 90 MM | SPEED RATING | 250 RPM | TORQUE RATING | 7840 NM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 350 | ADDITIONAL FEATURES EN | KEYWAY 90 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060222089 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060222089 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BUCKET, HAMMER MOUNT, PECKER | BUCKET, HAMMER MOUNT, PECKER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BUCKET | NO MODIFIER | TYPE |  | CAPACITY |  | OVERALL SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HAMMER MOUNT,PECKER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060250188 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060250188 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BULB,CORN,165,265VAC,12W,6500K,B22,LED | BULB,CORN,165,265VAC,12W,6500K,B22,LED | B22-GTQ-12W | 0019011819 | Unknown | https://www.tatacliq.com/philips-phi-emb-12w-6500k-b22-12w-b22-inverter-emergency-led-bulb-white/p-mp000000011538284 |  |  | B22-GTQ-12W | [11 empty] | CLEANSED | LAMP | LED | TYPE | BULB,CORN | WATTAGE | 12 W | VOLTAGE RATING | 265 VAC | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR |  | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING | 6500 K | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 165 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060250193 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060250193 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BULB,CORN,165,265VAC,12W,6500K,LED | BULB,CORN,165,265VAC,12W,6500K,LED | E27-GTQ-12W | 0019011819 | Unknown | https://www.lazada.com.ph/products/bestlight-led-gtq-bulb-best-for-bedroom-living-room-dining-room-office-gt-12w-3000k4000k6500k-e14e27gt-16w-3000k4000k6500k-e14e27-i2298444220-s11691509006.html?spm=a2o4l.tm80167379.5934338580.1.36884fGy4fGyWB.36884fGy4fGyWB&priceCompare=skuId%3A11691509006%3Bsource%3Alazada-om%3Bsn%3Ad3016ffc-91ca-4c7e-94f7-39dbe18c920e%3BoriginPrice%3A10780%3BvoucherPrice%3A10780%3Btimestamp%3A1668530609354 |  |  | E27-GTQ-12W | [11 empty] | CLEANSED | LAMP | LED | TYPE | BULB,CORN | WATTAGE | 12 W | VOLTAGE RATING | 265 VAC | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR |  | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING | 6500 K | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 165 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060248564 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248564 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | BULB,LIGHT,PHILLIPS,H4,EXTREME,130 | BULB,LIGHT,PHILLIPS,H4,EXTREME,130 |  |  |  | https://www.powerbulbs.com/eu/product/philips-xtreme-vision-130-h4-twin |  | PHILIPS | 130-H4 | [11 empty] | ENRICHED | LAMP | HID | TYPE | BULB | WATTAGE |  | VOLTAGE RATING |  | BASE TYPE |  | OPERATING POSITION |  | SHAPE DESIGNATION |  | LAMP LIFE | 400-450 HOURS | COLOUR |  | SIZE |  | INTENSITY | 130 PCT | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE | 3500 K | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EXTREME | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060242650 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242650 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | ROL | MAN2 | CABLE,ABC,35SQMM,3 CORE PLUS SUPPORT, | CABLE, ABC, 35SQMM,3 CORE PLUS SUPPORT, ALUMINIUM, SUPPORTING CORE, 500M,600/1000V | ABC |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | ABC | VOLTAGE RATING | 600/1000 V | CURRENT RATING |  | CONDUCTOR SIZE | 35 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL | ALUMINIUM | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 500 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLUS SUPPORT,SUPPORTING CORE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060243733 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060243733 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | CABLE,ACCELERATION,2320365,HYSTER,EA | CABLE, ACCELERATION, 2320365, HYSTER, EA | 2320365 | 0019011819 | Unknown | URL NOT FOUND |  | HYSTER | 2320365 | [11 empty] | CLEANSED | CABLE | NO MODIFIER | TYPE | ACCELERATION | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060239149 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060239149 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | M | MAN2 | CABLE,AUMA,FLEX,CONTROL,POWER,BUS,SET,9M | INST,CABLE,AUMA,SA038914-20-09-3,FLEX,SET OF CONTROL,POWER AND BUS, CABLES,COMPLETE WITH BOTH FEMALE AND MALE SUPPLY PLUGS,9M |  |  |  | URL NOT FOUND |  | AUMA |  | SA038914-20-09-3 | [10 empty] | CLEANSED | CABLE | INSTRUMENT | TYPE | FLEX | DIAMETER |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH | 9 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET OF CONTROL,POWER AND BUS,C/W BOTH FEMALE AND MALE SUPPLY PLUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060239150 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060239150 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | M | MAN2 | CABLE,AUMA,FLEX,CONTROLPOWER,BUS,SET,12M | INST,CABLE,AUMA,SA038914-20-09-3,FLEX,SET OF CONTROL,POWER AND BUS, CABLES,COMPLETE WITH BOTH FEMALE AND MALE SUPPLY PLUGS,12M |  |  |  | URL NOT FOUND |  | AUMA |  | SA038914-20-09-3 | [10 empty] | CLEANSED | CABLE | INSTRUMENT | TYPE | FLEX | DIAMETER |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH | 12 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET OF CONTROL,POWER AND BUS,C/W BOTH FEMALE AND MALE SUPPLY PLUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060239151 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060239151 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | M | MAN2 | CABLE,AUMA,FLEXCONTROL,POWER,BUS,SET,15M | INST,CABLE,AUMA,SA038914-20-09-3,FLEX,SET OF CONTROL,POWER AND BUS, CABLES,COMPLETE WITH BOTH FEMALE AND MALE SUPPLY PLUGS,15M |  |  |  | URL NOT FOUND |  | AUMA |  | SA038914-20-09-3 | [10 empty] | CLEANSED | CABLE | INSTRUMENT | TYPE | FLEX | DIAMETER |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH | 15 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET OF CONTROL,POWER AND BUS,C/W BOTH FEMALE AND MALE SUPPLY PLUGS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060245743 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245743 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | ROL | MAN2 | CABLE,BLUE,STRIPE,1MMX1TRIAD,SWA,OAM | CABLE,BLUE,STRIPE,1MMX1TRIAD,SWA,OAM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | SWA | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 1 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STRIPE,OAM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060249101 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249101 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | CABLE,FA CBL 30DMFX,THERMINAL BLOCK,EA | CABLE, FA CBL 30DMFX, FOR THERMINAL BLOCK, EACH | FA CBL 30DMFX | 0019011819 | Unknown | https://emea.mitsubishielectric.com/fa/products/cnt/plc/alloption/fa-cbl30dmfx.html |  | MITSUBISHI | FA CBL 30DMFX | [11 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS | 40 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 3 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR THERMINAL BLOCK, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060249244 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249244 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | CABLE,FA CBL 30DMFY,THERMINAL BLOCK,EA | CABLE, FA CBL 30DMFY, FOR THERMINAL BLOCK, | FA CBL 30DMFY | 0019011819 | Unknown | https://emea.mitsubishielectric.com/fa/products/cnt/plc/alloption/fa-cbl30dmfx.html |  | MITSUBISHI | FA CBL 30DMFY | [11 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS | 40 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 3 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR THERMINAL BLOCK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060242724 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242724 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | M | MAN2 | CABLE,HK701219,THERMFLEX,180EWKFC,1.5MM | INST,CABLE,HK701219,THERMFLEX,180EWKFC,2G,1.5MM | HK701219 |  |  | URL NOT FOUND |  |  | HK701219 | [11 empty] | CLEANSED | CABLE | INSTRUMENT | TYPE |  | DIAMETER | 1.5 MM | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:THERMFLEX,180EWKFC,2G | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060242723 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060242723 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | M | MAN2 | CABLE,HK79811,THERMFLEX,180EWKFC,5G,1MM | INST,CABLE,HK79811,THERMFLEX,180EWKFC,5G,1MM | HK79811 |  |  | URL NOT FOUND |  |  | HK79811 | [11 empty] | CLEANSED | CABLE | INSTRUMENT | TYPE |  | DIAMETER | 1 MM | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:THERMFLEX,180EWKFC,5G | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060243690 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060243690 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CABLE,IFM,EVM006,PRESSURE,TRANSMITTER | CABLE,IFM,EVM006,PRESSURE TRANSMITTER | EVM006 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/EVM006 |  | IFM | EVM006 | [5 empty] | PRESSURE TRANSMITTER | [5 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE | CONNECTING | VOLTAGE RATING | 250 VAC/300VDC | CURRENT RATING | 4 A | CONDUCTOR SIZE | 0.34 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PUR | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -40 TO 90 DEG C | LENGTH | 10 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060244057 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244057 | BHP1 | BHP Spares & Supplies | 411161 | Manual test kits and quality controls and calibrators and st | EA | MAN2 | CABLE,IFM,EVT093,20 METER,EA | CABLE, IFM ,EVT093, 20 METER, TPU ORANGE | EVT093 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/EVT093 |  | IFM | EVT093 | [11 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE | CONNECTING | VOLTAGE RATING | 250 VAC/300VDC | CURRENT RATING | 4 A | CONDUCTOR SIZE | 0.34 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL | TPU | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -25 TO 100 DEG C | LENGTH | 20 M | JACKET COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060249911 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249911 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CABLE,KEYPAD,REMOTE,3M,IHM | CABLE,KEYPAD,REMOTE,3M,IHM | SACFW11HMCAB-RS-3M | 0019011819 | Unknown | https://www.weg.net/catalog/weg/US/en/Drives/Accessories-for-Drives/Electronic-Accessories/HMI-CABLE-KIT-CAB-RS-3M/p/10951223 |  |  | SACFW11HMCAB-RS-3M | [11 empty] | CLEANSED | CABLE | COMMUNICATION | TYPE |  | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 3 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | KEYPAD,REMOTE,IHM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060249893 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249893 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CABLE,KEYPAD,REMOTE,5M,IHM | CABLE,KEYPAD,REMOTE,5M,IHM | SACFW11HMCAB-RS-5M | 0019011819 | Unknown | https://www.weg.net/catalog/weg/BR/en/Industrial-Automation/Drives/Accessories-for-Drives/Electronic-Accessories/HMI-CABLE-KIT-CAB-RS-5M/p/10951227 |  |  | SACFW11HMCAB-RS-5M | [11 empty] | CLEANSED | CABLE | COMMUNICATION | TYPE |  | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 5 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | KEYPAD,REMOTE,IHM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060240898 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060240898 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | CABLE,USB 2.0 MINI B,LENTH,1 METER,EA | CABLE, USB 2.0 MINI B, LENTH,1 METER | MINI-USB B 2.0 |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CABLE | COMMUNICATION | TYPE | USB | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 1 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2.0 MINI B,EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060249025 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249025 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | CABLE,USB,3704617,CAT,EA | CABLE, USB, 3704617, CAT, EACH | 3704617 |  |  | https://www.ubuy.com.tr/en/product/146Q6B156-cat-usb-communication-adapter-3-usb-oem-370-4617-cable-genuine-oem |  | CATERPILLAR | 3704617 | [11 empty] | CLEANSED | CABLE | COMMUNICATION | TYPE | USB | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060244762 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244762 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | CONNECTING,CABLE,IFM,E10866 | INST, CONNECTING CABLE WITH SOCKET, IFM, E10866 | E10866 | 0019011819 | Unknown | https://www.ifm.com/us/en/product/E10866 |  | IFM | E10866 | [11 empty] | ENRICHED | CABLE | ELECTRICAL | TYPE | CONNECTING | VOLTAGE RATING | 250 VAC/300 VDC | CURRENT RATING |  | CONDUCTOR SIZE | 0.34 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL | TPU | JACKET MATERIAL | TPU | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -25 TO 90 DEG C | LENGTH | 5 M | JACKET COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ SOCKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
000000000060187653 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060187653 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | EARTH LEAKAGE DEVICE,63A,30MA,415V,3 | EARTH LEAKAGE DEVICE, 63A, 30MA, 415V, 3 POLE & NEUTRAL, ID/RCCB 5KA, SCHNEIDER NO:16258 | 16258 | 0019002964 | SCHNELDER AUTOMATION | URL NOT FOUND |  | SCHNELDER AUTOMATION | 16258 | [11 empty] | CLEANSED | BREAKER | EARTH LEAKAGE | TYPE |  | LEAKAGE CURRENT | 30 MA | VOLTAGE RATING | 415 V | NUMBER OF POLES | 3P+N | CURRENT RATING | 63 A | INTERRUPT RATING |  | MOUNTING METHOD |  | CURVE |  | DIMENSIONS |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ID/RCCB 5KA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060240470 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060240470 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | EARTH LEAKAGE,C/B,63A,380/550VAC,EA | EARTH LEAKAGE , C/B , MITSUBISHI , 63A , 380/550VAC , EA | NV125-SWA |  |  | URL NOT FOUND |  | MITSUBISHI | NV125-SWA | [11 empty] | CLEANSED | BREAKER | EARTH LEAKAGE | TYPE | C/B | LEAKAGE CURRENT |  | VOLTAGE RATING | 380/550 V | NUMBER OF POLES |  | CURRENT RATING | 63 A | INTERRUPT RATING |  | MOUNTING METHOD |  | CURVE |  | DIMENSIONS |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060246942 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246942 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | DRYING,EQUIPMENT,INFRARED | DRYING,EQUIPMENT,INFRARED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | DRYER | NO MODIFIER | TYPE | INFRARED | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060233467 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060233467 | BHP1 | BHP Spares & Supplies | 432100 | Computer Equipment and Accessories | EA | MAN2 | NETWK EQUIP, ARUBA 1G SFP LC SX 500M MMF | NETWORK EQUIPMENT, ARUBA, 1G, SFP, LC, SX, 500m, MMF, XCVR |  |  |  | https://buy.hpe.com/in/en/options/transceivers/transceivers/networking-sfp-mini-gbic-form-factor/aruba-1g-sfp-lc-sx-500m-om2-mmf-transceiver/p/j4858d | [14 empty] | ENRICHED | SWITCH | NETWORK | TYPE | ARUBA | INPUT RATING |  | OUTPUT RATING |  | DATA TRANSFER RATE |  | NUMBER OF CHANNELS |  | NUMBER OF PINS |  | MOUNTING TYPE |  | SIZE | WD 5.6 X DP 1.3 X HT 1.5 CM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1G,SFP,LC,LX,500 M,SMF,XCVR,NETWORK EQUIPMENT |  |  |  |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060228177 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060228177 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | EXPANSION JOINT,EPDM,6MM,360 OD X245 | EPDM EXPANSION JOINT, 6MM,360 OD X 245 ID X 300MM FF |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | JOINT | EXPANSION | TYPE |  | NOMINAL SIZE | 6 MM | LENGTH |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | AXIAL COMPRESSION |  | AXIAL EXTENSION |  | LATERAL DEFLECTION |  | ANGULAR DEFLECTION |  | MATERIAL | EPDM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ID 245 X OD 360 MM X 300 MM FF | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060228176 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060228176 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | EXPANSION JOINT,EPDM,6MM,4780 IS X280 | EPDM EXPANSION JOINT, 6MM,4780 IS X 280 IS X 150MM FF |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | JOINT | EXPANSION | TYPE |  | NOMINAL SIZE | 6 MM | LENGTH |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | AXIAL COMPRESSION |  | AXIAL EXTENSION |  | LATERAL DEFLECTION |  | ANGULAR DEFLECTION |  | MATERIAL | EPDM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ID 280 MM X OD 4.78 M X 150 MM FF | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060238152 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060238152 | BHP1 | BHP Spares & Supplies | 471219 | Cleaning equipment accessories | EA | MAN2 | FILTERS,VACUUM,ROUND,BENNETREAD | BENNETREAD,VACUUM,ROUNDFILTERS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FILTER | NO MODIFIER | TYPE | VACCUM | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MODEL:BENNET READ,SHAPE:ROUND | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060128952 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060128952 | BHP1 | BHP Spares & Supplies | 441218 | Correction media | BOT | MAN2 | CORRECTION FLUID, SUPER WHITE, WALTONS, | CORRECTION FLUID, SUPER WHITE, WALTONS, 20ML BOTTLE |  |  |  | URL NOT FOUND |  | WALTONS | [12 empty] | CLEANSED | FLUID | NO MODIFIER | TYPE | CORRECTION | CONTAINER | 20 ML BOTTLE | BASE OIL TYPE |  | COLOUR | SUPER WHITE | SPECIFIC GRAVITY |  | FLASH POINT |  | VISCOSITY |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060248553 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248553 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | CN | MAN2 | FLUID,BRAKE,CLUTCH | FLUID,BRAKE,CLUTCH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FLUID | NO MODIFIER | TYPE | BRAKE,CLUTCH | CONTAINER |  | BASE OIL TYPE |  | COLOUR |  | SPECIFIC GRAVITY |  | FLASH POINT |  | VISCOSITY |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060254806 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060254806 | BHP1 | BHP Spares & Supplies | P6010 | Training | EA | MAN2 | FLUID,TAPMATIC,CUT/DRILL,NO1,500ML | FLUID, TAPMATIC, CUT/DRILL, NO1, 500ML |  |  |  | https://www.myzappliances.com/Cutting-Oil-Lubricant-No1-500ml |  | TAPMATIC | [12 empty] | CLEANSED | LUBRICANT | NO MODIFIER | TYPE | FLUID | GRADE |  | CONTAINER | 500 ML | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CUT/DRILL,NO 1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060233508 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060233508 | BHP1 | BHP Spares & Supplies | 501921 | Snack foods | EA | MAN2 | SPRAY AND COOK,300ML,COLMAMS | COLMANS, SPRAY, AND, COOK, 300ML |  |  |  | https://www.checkers.co.za/All-Departments/Food/Food-Cupboard/Cooking-Ingredients/Cooking-Oils-and-Fats/Colman%27s-Original-Spray-and-Cook-Non-Stick-Aerosol-Spray-300ml/p/10128765EA | [14 empty] | CLEANSED | OIL | COOKING | TYPE |  | PACKAGE TYPE |  | PACKAGE CAPACITY | 300 ML | TRADE NAME |  | FLAVOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SPRAY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060248694 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248694 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | GEAR,LEVER,SHIFT,URI,LDV | GEAR,LEVER,SHIFT,URI,LDV |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LEVER | NO MODIFIER | TYPE | GEAR SHIFT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | URI,LDV | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060246185 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246185 | BHP1 | BHP Spares & Supplies | P1210 | Welding equipment & supplies | EA | MAN2 | HOOK,HANGER,XP2013,EA | HOOK, HANGER, XP2013, EACH | XP2013 |  |  | URL NOT FOUND |  |  | XP2013 | [11 empty] | CLEANSED | HOOK | NO MODIFIER | TYPE | HANGER | LOAD RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060252154 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060252154 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | HOOKS,SELF,LOCKING,EYE,TIPE,7-8MM | HOOKS, SELF, LOCKING, EYE, TIPE, 7-8MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | HOOK | NO MODIFIER | TYPE | SELF LOCKING | LOAD RATING |  | SIZE | 7-8 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EYE,TIPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
000000000060241207 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060241207 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | PAK | MAN2 | LOCKNUT,CCG,M20,BRASS | INST,LOCKNUT,CCG,M20,BRASS | 300901 |  |  | https://www.blackwoods.com.au/electrical/cable-accessories/metal-glands/ccg-lock-nut-m20-brass-300901-ccg300901/p/00312600 |  |  | CCG300901 | [11 empty] | CLEANSED | NUT | LOCK | TYPE | INST | LOCKING METHOD |  | THREAD SIZE | M20 | THREAD TYPE |  | WIDTH ACROSS FLAT |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060238766 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060238766 | BHP1 | BHP Spares & Supplies | P1545 | Electric fittings, lamps fuses, batteries, | EA | MAN2 | LOCKNUTS,M20POLYHEX50 | M20POLYHEX , LOCKNUTS , 50 |  |  |  | https://www.acdc.co.za/products/m20-poly-hex-locknuts-50?variant=30468236940 | [14 empty] | CLEANSED | NUT | LOCK | TYPE | POLY,HEX | LOCKING METHOD |  | THREAD SIZE | M20 | THREAD TYPE |  | WIDTH ACROSS FLAT |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:50 PIECES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
000000000060249675 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249675 | BHP1 | BHP Spares & Supplies | 311516 | Chains | L | MAN2 | CHAINSAW, OIL, 1, LITRE, (CUTTERBAR) | CHAINSAW OIL 1 LITRE (CUTTERBAR) | AAA-OIL |  |  | URL NOT FOUND | [8 empty] | CUTTERBAR | [5 empty] | CLEANSED | LUBRICANT | NO MODIFIER | TYPE | CHAINSAW OIL | GRADE | AAA | CONTAINER | 1 L | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060238173 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060238173 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | EA | MAN2 | LUBRICANT,OPEN GEAR,AG-11462,KLUBERPLEE | KLUBERPLEX,AG11-462,450GR | B-012-039091-450GR |  |  | https://www.qualitybearingsonline.com/kluberplex-ag-11-462-450g/ |  | KLUBERPLEX | AG11-462 | [11 empty] | ENRICHED | LUBRICANT | NO MODIFIER | TYPE | SYNTHETIC OIL | GRADE |  | CONTAINER | 450 GM | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE | -10 TO 150 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OPEN GEAR,COLOUR:WHITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060254805 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060254805 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LUBRICATE,OIL,LINE,0428626 | LUBRICATE, OIL, LINE, 0428626 | 04238626 | 0019011819 | Unknown | URL NOT FOUND |  |  | 04238626 | [11 empty] | CLEANSED | LUBRICANT | NO MODIFIER | TYPE | OIL | GRADE |  | CONTAINER |  | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LINE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060252954 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060252954 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | EA | MAN2 | LUBRICATOR,AUTOMATIC,SKF,TLMP1008/230V | LUBRICATOR, AUTOMATIC, SKF, TLMP1008/230V | TLMP1008/230V | 0019011819 | Unknown | https://www.skf.com/ph/productinfo/productid-TLMP%201008%2F230V |  | SKF | TLMP1008/230V | [11 empty] | CLEANSED | LUBRICATOR | NO MODIFIER | TYPE | AUTOMATIC | CAPACITY |  | PORT SIZE |  | FLOW RATING |  | OPERATING PRESSURE |  | OPERATING TEMPERATURE |  | HOUSING MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060248436 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248436 | BHP1 | BHP Spares & Supplies | 151215 | Lubricating preparations | EA | MAN2 | LUBRICATOR,EASYLUBE,EL-CU-RM-60 | LUBRICATOR, EASYLUBE, EL-CU-RM-60, C/W DRIVE UNIT, PROTECTIVE COVER, 60ML CUP, BATTERY, REMOTE MOUNT KIT |  |  |  | URL NOT FOUND |  | EASULUBE | EL-CU-RM-60 | [11 empty] | CLEANSED | LUBRICATOR | NO MODIFIER | TYPE |  | CAPACITY | 60 ML CUP | PORT SIZE |  | FLOW RATING |  | OPERATING PRESSURE |  | OPERATING TEMPERATURE |  | HOUSING MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W DRIVE UNIT,PROTECTIVE COVER,BATTERY,REMOTE MOUNT KIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060253201 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253201 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | PARTING LUBRICANT,CHESTERTON 785,NICKLE | PARTING LUBRICANT, CHESTERTON 785, NICKLE SLIP, 500G, BRUSH TOP | CHESTERTON 785 | 0019011819 | Unknown | https://chestertonlubricants.chesterton.com/en-us/Products/Pages/785.aspx |  | CHESTERTON | 785 | [11 empty] | ENRICHED | LUBRICANT | NO MODIFIER | TYPE | PARTING | GRADE |  | CONTAINER | 500 GM | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE | 1204 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NICKLE SLIP,BRUSH TOP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060238087 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060238087 | BHP1 | BHP Spares & Supplies | 313800 | Magnets and magnetic materials | EA | MAN2 | MAGNET,MASO82 | 43MM DIAGRAM,M5 BUSH THREAD |  |  |  | URL NOT FOUND |  |  | MASO82 | [11 empty] | CLEANSED | MAGNET | NO MODIFIER | TYPE |  | PULL RATING |  | FIELD STRENGTH |  | SIZE | 43 MM | SHAPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIAGRAM,M5 BUSH THREAD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060244891 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060244891 | BHP1 | BHP Spares & Supplies | 502017 | Coffee | SH | MAN2 | MESH,DOUBLE,HARDNESS | MESH DOUBLE HARDNESS (305X305) HOLE SIZE 10X10 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MESH | WIRE | TYPE | DOUBLE HARDNESS | MESH SIZE | WD 305 X LG 305 MM | OPENING SIZE | WD 10 X LG 10 MM | MATERIAL |  | WIRE DIMENSIONS |  | OPEN AREA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060249522 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249522 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | MOIL,BO526008,DOOSAN,BREAKER | MOIL,BO526008,DOOSAN,BREAKER | B0 526 008 TOOL MOIL | 0019011819 | Unknown | https://cn-777parts-net.translate.goog/doosan/b052-6008-chisel-h-crosscut/p486051.html?_x_tr_sch=http&_x_tr_sl=zh-CN&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  | DOOSAN | B0526008 | [11 empty] | CLEANSED | TOOL | CHISEL | TYPE | BREAKER | BLADE WIDTH |  | MATERIAL |  | LENGTH |  | SHANK TYPE |  | HANDLE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOIL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060252004 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060252004 | BHP1 | BHP Spares & Supplies | 401417 | Plumbing hardware and fittings | EA | MAN2 | PISTON,TOILET,FLUSHMASTER,SNR FM8-30 | PISTON,TOILET,FLUSHMASTER,SNR FM8-30 |  |  |  | https://www.chamberlains.co.za/cobra-flushmaster-toilet-piston-flush-valve-c-fm8-30-1027737 |  | FLUSHMASTER | FM8-30 | [11 empty] | CLEANSED | PISTON | NO MODIFIER | TYPE | TOILET | DIAMETER |  | LENGTH |  | GROOVE WIDTH |  | GROOVE DEPTH |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SNR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060240348 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060240348 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PISTON,VOLVO,FMX400,21016509 | PISTON,VOLVO,FMX400,21016509 | 21016509 PISTON |  |  | https://www.tbtparts.com/pto-piston-21016509-p-3597.html |  | VOLVO | 21016509 | FMX400 | [10 empty] | CLEANSED | PISTON | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | GROOVE WIDTH |  | GROOVE DEPTH |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060248226 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248226 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | POSITIONER,PNEUMATIC,METSO,4 TO 20 MA | POSITIONER, PNEUMATIC,METSO, 4 TO 20 MA CONTROL, 24VDC ,NELES ND9000 | ND9000 | 0019011819 | Unknown | https://www.neles.com/products/valve-controllers/neles-nd9000-intelligent-valve-controller/#cba83f36-8db5-43c4-af0f-c660b567b52f |  | METSO | ND9000 | [11 empty] | ENRICHED | POSITIONER | NO MODIFIER | TYPE | PNEUMATIC | POWER SUPPLY |  | PRESSURE RATING |  | END CONNECTION |  | MATERIAL |  | SPEED RATING |  | TEMPERATURE RATING | -40 TO 85 DEG C | INDICATION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4-20 MA CONTROL,24 VDC,BRAND:NELES,PROTECTION CLASS:IP 66 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060241938 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060241938 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | POWER PACK,PLASTIC,12V,LDV | POWER PACK 12V, PLASTICK, PN POW002, LDV | POW002 |  |  | URL NOT FOUND |  |  | POW002 | [11 empty] | CLEANSED | POWER SUPPLY | NO MODIFIER | TYPE | PACK | INPUT RATING |  | OUTPUT VOLTAGE RATING | 12 V | OUTPUT CURRENT RATING |  | NUMBER OF OUTPUTS |  | POWER RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL:PLASTIC,FOR LDV | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060248082 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248082 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | PROBE,IFM LEVEL SENSOR,E43210,EA | PROBE, IFM LEVEL SENSOR, LENTH 1.6 METER, PART NO E43210 | E43210 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/E43210 |  | IFM | E43210 | [11 empty] | ENRICHED | SENSOR | LEVEL | TYPE | PROBE | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL | STAINLESS STEEL | PRESSURE RATING |  | SIZE | LG 1.6 M | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060243971 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060243971 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | PROBE,IFM LEVEL SENSOR,E43226,EA | PROBE FOR IFM LEVEL SENSOR, E43226 | E43226 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/E43226 |  | IFM | E43226 | [11 empty] | ENRICHED | SENSOR | LEVEL | TYPE | PROBE | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL | STAINLESS STEEL | PRESSURE RATING |  | SIZE | 300 MM | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060248471 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248471 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TONE,PROBE,DMM,MTC45,2-IN-1 | TONE,PROBE,DMM,MTC45,2-IN-1 | MTC45 2-IN-1 TONE & PROBE AND DMM | 0019011819 | Unknown | https://major-tech.com/product/2-in-1-tone-and-probe-and-multimeter/ |  |  | MTC45 | [11 empty] | ENRICHED | METER | ELECTRICAL TEST | TYPE | PROBE,TONE | AC CURRENT RANGE |  | DC CURRENT RANGE |  | AC VOLTAGE RANGE | 200 MV-600 V | DC VOLTAGE RANGE | 200 MV-600 V | FREQUENCY RANGE | 50-60 HZ | RESISTANCE RANGE | 200 OHM-20 MOHM | ACCURACY | AC:+/-1.8 PCT+8,DC:+/-1.5 PCT+3 | DISPLAY TYPE | DIGITAL | BATTERY TYPE | AAA | JAW OPENING |  | SIZE | WD 74 X LG 162 X THK 43 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 IN 1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
000000000060240852 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060240852 | BHP1 | BHP Spares & Supplies | 721000 | Building support, maintenance and repair services | EA | MAN2 | HANDRAIL,STANCHION,45 DEGREE,STAINLESS | STANCHION, HANDRAIL, 45 DEGREE, STAINLESS STEEL 304, MENTIS, TYPE MTA45 |  |  |  | URL NOT FOUND |  | MENTIS | [12 empty] | CLEANSED | HANDRAIL | NO MODIFIER | TYPE | STANCHION | SIZE |  | MATERIAL | 304 STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANGLE:45 DEG,TYPE MTA45 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060125362 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060125362 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | RAIL BASES, TYPE DBA45, DOT PRODUCTS | RAIL BASES, TYPE DBA45, DOT PRODUCTS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RAIL | NO MODIFIER | TYPE | BASES | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE DBA45,DOT PRODUCTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060245131 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060245131 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SEAT,CAD,218326,BELL,EA | SEAT, CAD, 218326, BELL, EA | 218326 | 0019011819 | Unknown | URL NOT FOUND |  | BELL | 218326 | [11 empty] | CLEANSED | SEAT | VEHICULAR | TYPE | CAD | SIZE |  | MATERIAL |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060246580 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246580 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SEAT,FRONT,AXLE,SPRING,UBOLT | SEAT,FRONT,AXLE,SPRING,UBOLT | 4847135010 | 0019011819 | Unknown | https://parts.prestigetoyota.com/p/toyota__Truck/SEAT---FRONT-SPRING---RIGHT/63030682/4847135010.html |  | TOYOTA | 4847135010 | [11 empty] | CLEANSED | SEAT | NO MODIFIER | TYPE | FRONT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AXLE,SPRING,U-BOLT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060248309 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248309 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | TOGGLE,SEAT,FOR,JAWSTOCK | TOGGLE,SEAT,FOR,JAWSTOCK | 02-000009745 | 0019011819 | Unknown | URL NOT FOUND |  |  | 02-000009745 | [5 empty] | JAWSTOCK | [5 empty] | CLEANSED | SEAT | NO MODIFIER | TYPE | TOGGLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060248292 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060248292 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | TOGGLE,SEAT,FOR,TOGGLE,BEAM | TOGGLE,SEAT,FOR,TOGGLE,BEAM | 00-000024331 | 0019011819 | Unknown | URL NOT FOUND |  |  | 00-000024331 | [5 empty] | TOGGLE BEAM | [5 empty] | CLEANSED | SEAT | NO MODIFIER | TYPE | TOGGLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060249065 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249065 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SILENCER,COMPRESSED,AIR,50MM-TYPE,DS | SILENCER,COMPRESSED,AIR,50MM-TYPE,DS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MUFFLER | EXHAUST | TYPE | SILENCER | NOMINAL SIZE | 50 MM | END CONNECTION |  | DIAMETER |  | LENGTH |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPRESSED AIR,TYPE DS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060254445 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060254445 | BHP1 | BHP Spares & Supplies | 401015 | Ventilation | EA | MAN2 | SILENCER,VENTILATION,1015MM | SILENCER, STANDARD, VENTILATION, 1015MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MUFFLER | EXHAUST | TYPE | VENTILATION SILENCER | NOMINAL SIZE | 1.015 M | END CONNECTION |  | DIAMETER |  | LENGTH |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STANDARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
000000000060253450 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060253450 | BHP1 | BHP Spares & Supplies | 311615 | Screws | EA | MAN2 | SPIRAL,FEED ECA,FINES,SPIROTECH,EA | SPIRAL, FEED, ECA, FINES, SPIROTECH, SHAFTLESS, 360MM DIAM, 5425MM LONG, VARIABLE PITCH, RIGHT HAND COMPOSED, PUSHING FROM COMMERCIA |  |  |  | URL NOT FOUND | [77 empty] | PRODUCTION COMPLETED
000000000060253449 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060253449 | BHP1 | BHP Spares & Supplies | 311615 | Screws | EA | MAN2 | SPIRAL,FEED ECA,INTERMED,SPIROTECH,EA | SPIRAL,FEED,ECA,INTERMED,SPIROTECH,SHAFTLESS,360MM DIAM, 5600MM LONG,VARIABLE PITCH,RIGHT HAND COMPOSITE,PUSHING FROM COMMERCIAL QUA |  |  |  | URL NOT FOUND | [77 empty] | PRODUCTION COMPLETED
000000000060253186 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060253186 | BHP1 | BHP Spares & Supplies | 311615 | Screws | EA | MAN2 | SPIRAL,FEED,ECA,COARSE,SPIROTECH,EA | SPIRAL,FEED,ECA,COARSE,SPIROTECH,SHAFTLESS,315MM DIAM, 5600MM, LONG,VARIABLE PITCH,RIGHT HANDED COMPOSITE,PULLING FROM COMMERCIAL, QUALITY STEEL INCLUDING DRIVE COUPLING PLATE,INCLUDING HARD FACING ON, SPIRAL,EA |  | 0019011449 | SPIROTECH INTERNATIONAL (PTY) LTD | URL NOT FOUND |  | SPIROTECH INTERNATIONAL (PTY) LTD | [75 empty] | PRODUCTION COMPLETED
000000000060253444 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060253444 | BHP1 | BHP Spares & Supplies | 311615 | Screws | EA | MAN2 | SPIRAL,FEED,ECA,FINES,SPIROTECH,EA | SPIRAL,FEED,ECA,FINES,SPIROTECH,SHAFTLESS,360MM DIAM,5425MM, LONG,VARIABLE PITCH,RIGHT HAND COMPOSED,PUSHING FROM COMMERCIAL QUALITY, STEEL INCLUDING DRIVE COUPLING PLATE,INCLUDING HARD FACING ON SPIRAL,EA |  | 0019011449 | SPIROTECH INTERNATIONAL (PTY) LTD | URL NOT FOUND |  | SPIROTECH INTERNATIONAL (PTY) LTD | [75 empty] | PRODUCTION COMPLETED
000000000060252502 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060252502 | BHP1 | BHP Spares & Supplies | 311615 | Screws | EA | MAN2 | SPIRAL,FEED,ECA,FINES,SPIROTECH,EA | SPIRAL,FEED,ECA,FINES,SPIROTECH,SHAFTLESS,360MM DIAM,5425MM, LONG,VARIABLE PITCH,RIGHT HAND COMPOSED,PUSHING FROM COMMERCIAL QUALITY, STEEL INCLUDING DRIVE COUPLING PLATE,INCLUDING HARD FACING ON SPIRAL,EA |  | 0019011449 | SPIROTECH INTERNATIONAL (PTY) LTD | URL NOT FOUND |  | SPIROTECH INTERNATIONAL (PTY) LTD | [75 empty] | PRODUCTION COMPLETED
000000000060253184 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 | SUITABLE NM NOT FOUND | 000000000060253184 | BHP1 | BHP Spares & Supplies | 311615 | Screws | EA | MAN2 | SPIRAL,FEED,ECA,INTERMED,SPIROTECH,EA | SPIRAL,FEED,ECA,INTERMED,SPIROTECH,SHAFTLESS,360MM DIAM, 5600MM, LONG,VARIABLE PITCH,RIGHT HAND COMPOSITE,PUSHING FROM COMMERCIAL QUALITY, STEEL INCLUDING DRIVE COUPLING PLATE, INCLUDING HARD FACING ON SPIRAL,EA |  | 0019011449 | SPIROTECH INTERNATIONAL (PTY) LTD | URL NOT FOUND |  | SPIROTECH INTERNATIONAL (PTY) LTD | [75 empty] | PRODUCTION COMPLETED
000000000060246244 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060246244 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SPIRAL,VENTILATION,1015MMX10M | SPIRAL,VENTILATION,1015MMX10M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | DUCT | NO MODIFIER | TYPE | SPIRAL | SIZE | WD 1.015 X LG 10 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VENTILATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
000000000060250104 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060250104 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | STAND,PHONE,WIRELESS,CHARGING | STAND,PHONE,WIRELESS,CHARGING,ALE,VARGA,HOFFMAN |  |  |  | URL NOT FOUND |  | ALEX VARGA HOFFMAN | [12 empty] | CLEANSED | STAND | NO MODIFIER | TYPE | WIRELESS CHARGING PHONE | SIZE |  | MATERIAL |  | NUMBER OF LEGS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
000000000060255879 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255879 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | STRINGER,CENTERS,1124-1164MM | STRINGER,CENTERS,1124-1164MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STRING | NO MODIFIER | TYPE | CENTERS | DIAMETER |  | LENGTH | 1.124-1.164 M | BREAKING STRENGTH |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060251179 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060251179 | BHP1 | BHP Spares & Supplies | 831015 | Water and sewer utilities | EA | MAN2 | THERMOSTAT,GEYSER,KWIKOT,CLIP-IN,EA | THERMOSTAT, GEYSER, KWIKOT, CLIP-IN, EACH |  |  |  | https://leroymerlin.co.za/thermostat-clip-in-kwikot-81458486 |  | KWIKOT | 81458486 | [11 empty] | ENRICHED | ELEMENT | HEATER | TYPE | CLIP-IN,THERMOSTAT | VOLTAGE RATING |  | POWER RATING |  | MATERIAL |  | SIZE | WD 4.3 X DP 3.3 X HT 21 CM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060249185 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060249185 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TIP,ADAPTOR,MB40XM8 | TIP,ADAPTOR,MB40XM8 | TIP ADAPTOR MB40 XM8 | 0019011819 | Unknown | https://www.thenuthut.co.za/product/tip-adaptor-mb40xm8-11-100154/ | [14 empty] | CLEANSED | TIP | WELDING | TYPE | ADAPTOR | SERIES | MB40 | TIP SIZE | M8 | GAS TYPE |  | FLAME TYPE |  | FUEL PRESSURE |  | GAS FLOW |  | GAS PRESSURE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
000000000060243186 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060243186 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TRAP,S32X40MM,WHITERESEAL,MARLEY | TRAP, S32X40MM, WHITERESEAL, MARLEY |  |  |  | https://www.timbercity.co.za/default/trap-s-32x40mm-white-reseal-marley-ets16-1029286 | [14 empty] | CLEANSED | TRAP | NO MODIFIER | TYPE |  | INLET SIZE | 32 MM | INLET CONNECTION |  | OUTLET SIZE | 40 MM | OUTLET CONNECTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:MARLEY,WHITERESEAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
000000000060255880 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060255880 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | UNIT,POWDER,MARKET | UNIT,POWDER,MARKET |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | UNIT | FRL | TYPE | POWDER | FILTER RATING |  | FLOW RATING |  | SIZE |  | PORT SIZE |  | PRESSURE ADJUSTMENT RANGE |  | TEMPERATURE RATING |  | OPERATOR TYPE |  | ELEMENT MATERIAL |  | FILTER BOWL MATERIAL |  | LUBRICATOR BOWL MATERIAL |  | FILTER BOWL CAPACITY |  | LUBRICATOR BOWL CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MARKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060238589 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060238589 | BHP1 | BHP Spares & Supplies | 461700 | Security, surveillance and detection | EA | MAN2 | UNIT,PTU,PERSONALTELEMERY | PTU,PERSONALTELEMERYUNIT |  | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  | ELECTRO DIESEL | [12 empty] | CLEANSED | UNIT | FRL | TYPE | PERSONAL TELEMERY UNIT | FILTER RATING |  | FLOW RATING |  | SIZE |  | PORT SIZE |  | PRESSURE ADJUSTMENT RANGE |  | TEMPERATURE RATING |  | OPERATOR TYPE |  | ELEMENT MATERIAL |  | FILTER BOWL MATERIAL |  | LUBRICATOR BOWL MATERIAL |  | FILTER BOWL CAPACITY |  | LUBRICATOR BOWL CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
000000000060253272 | TNG_001 | DATA ENRICHMENT | ABG | ABG2 | OK | 2022-11-08 | 2022-11-15 |  | 000000000060253272 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | L | MAN2 | UNIT,WATER,HOT,KWIKBOILING,10LITER,WHITE | UNIT, WATER, HOT, KWIK BOILING, 10LITER, WHITE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | HEATER | NO MODIFIER | TYPE | KWIK BOILING | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | MATERIAL |  | TERMINAL TYPE |  | SIZE | 10 L | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOT WATER UNIT,COLOUR:WHITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED