## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060249072 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060249072 | BHP1 | BHP Spares & Supplies | 391216 | Circuit protection devices and accessories | EA | MAN2 | SWITCH,SELECTOR,AC15:230/400/500V,IEC947 | SWITCH,SELECTOR,AC15:230/400/500V,IEC947/EN60947,IEC947,KLOCKNER MOELLER,6/4/2A,UIMP-6KV-UI-500V | EN60947 | 0019011819 | Unknown | https://www.tokopedia.com/ekaakarjayaabadi/kl-ckner-moeller-efc-e-fc-iec947-en60947-vde0660-kontaktelement |  | KLOCKNER MOELLER | EN60947 |  | KLOCKNER MOELLER | IEC947/EN60947 | KLOCKNER MOELLER | IEC947 | [6 empty] | CLEANSED | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING | 230/400/500 V | CURRENT RATING | 6/4/2 A | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UIMP-6 KV-UI-500 V | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060240484 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060240484 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | SWITCH,SELECTOR,CA20B,A721,603EF,EA | SWITCH, SELECTOR, KRAUS NAIMER, CA20B, A72, 603EF, EA |  |  |  | https://www.krausnaimer.com/fileadmin/user_upload/Kraus_u_Naimer/Pdfcat/Catalog_100/KN100GB.pdf |  | KRAUS NAIMER | CA20B | [6 empty] | 603EF |  |  |  |  | CLEANSED | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | A72,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060256168 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256168 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,SELECTOR,DUAL,SPEED | SWITCH SELECTOR, DUAL SPEED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DUAL SPEED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060246557 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060246557 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SWITCH,SELECTOR,KEY,2 POSITION,RB2BG4,EA | SWITCH,SELECTOR,KEY, 2 POSITION,PART NO: RB2-BG4 CW N.O. CONTACT BLOCK WITH FIXING COLLAR: PART NUMBER: RB2-BZ103, 10A. EACH | RB2-BG4, RB2-BZ101 & RB2-BE101 | 0019011819 | Unknown | https://www.radwell.co.uk/en-GB/Buy/RAAS%20CONTROLS/RAAS%20CONTROLS/RB2-BG4/?redirect=true |  |  | RB2-BG4 |  |  | RB2-BZ101 |  | RB2-BE101 | [6 empty] | CLEANSED | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 10 A | NUMBER OF POLES |  | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W NO CONTACT BLOCK W/ FIXING COLLAR,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060244784 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060244784 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | SWITCH,SELECTOR,SPRING RETURN,ZA0070,EA | SWITCH, SELECTOR, KRAUS AND NAIMER, ZA0070, FORWARD RETAINING, REVERSE SPRING RETURN, EA |  |  |  | URL NOT FOUND |  | KRAUS AND NAIMER | ZA0070 | [11 empty] | CLEANSED | SWITCH | SELECTOR | TYPE | FORWARD RETAINING,REVERSE SPRING RETURN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060256167 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256167 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,SELECTOR,STAR,DELTA | SWITCH SELECTOR, STAR-DELTA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE | STAR-DELTA | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060256273 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256273 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,SLIDE,SPDP | SWITCH, SLIDE, SPDP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | SLIDE | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | FREQUENCY RATING |  | ACTION | SPDP | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060242424 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060242424 | BHP1 | BHP Spares & Supplies | 201426 | Production control system instrumentation | EA | MAN2 | SWITCH,SPEED,SS501 Speed Switch | SPEED,SWITCH,SWITCH,SPEED,SS501 | SS501 |  |  | https://bolec.com.au/product/bolec-ss501-dual-channel-speed-switch-12-24vdc/ |  | BOLEC ELECTRONICS | SS501 | [11 empty] | ENRICHED | SWITCH | SPEED | TYPE |  | VOLTAGE RATING | 12-24 VDC | CURRENT RATING |  | SPEED RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DUAL CHANNEL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060251789 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060251789 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,STOP LAMP,3SB3661170,KOMATSU,EA | SWITCH, STOP LAMP, 3SB3661170, KOMATSU, EACH | 3SB3661170 |  |  | https://k-part.777parts.org/spare/komatsu/3sb-36-61170/ |  | KOMATSU | 3SB-36-61170 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | STOP LAMP | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060256303 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256303 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,TELETERM,OMNIFLEX,M3R4E,C2363A,24 | SWITCH, TELETERM M3R3E , MNIFLEX, MODEL: C2363A, 12 CONFIGURABLE INPUTS AND OUTPUTS | MODEL: C2363A | 0019011819 | Unknown | URL NOT FOUND | [9 empty] | C2363A |  |  |  |  | CLEANSED | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TELETERM M3R3E ,MNIFLEX,12 CONFIGURABLE INPUTS AND OUTPUTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060246743 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060246743 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,TEMPERATURE,90 DEGREE,CUTOUT,EA | THER-MANUAL, 90 DEGREE, MANUAL CUTOUT SWITCH, EACH | 79292 | 0019011819 | Unknown | URL NOT FOUND |  |  | 79292 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | MANUAL CUTOUT | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 90 DEG C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060243403 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060243403 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,TOGGLE,201112,BELL,EA | SWITCH, TOGGLE, 201112, BELL, EA | 201112 | 0019011819 | Unknown | URL NOT FOUND |  | BELL EQUIPMENT CO SA (PTY) LTD | 201112 | [11 empty] | CLEANSED | SWITCH | TOGGLE | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060243705 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060243705 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SWITCH,TOGGLE,205087,BELL,EA | SWITCH, TOGGLE, 205087, BELL, EA | 205087 | 0019011819 | Unknown | URL NOT FOUND |  | BELL EQUIPMENT CO SA (PTY) LTD | 205087 | [11 empty] | CLEANSED | SWITCH | TOGGLE | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060256271 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256271 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,TOGGLE,ON,OFF,ON,SPDT | SWITCH, TOGGLE, ON-OFF-ON, SPDT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | TOGGLE | TYPE | ON-OFF-ON | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION | SPDT | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060256270 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256270 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | SWITCH,TOGGLE,ON,ON,SPDT | SWITCH, TOGGLE, ON-ON, SPDT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SWITCH | TOGGLE | TYPE | ON-ON | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION | SPDT | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060256336 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256336 | BHP1 | BHP Spares & Supplies | 411119 | Indicating and recording instruments | EA | MAN2 | SWITCH,UNDERSPEED,ROTECH,PWE 6000,EA | SWITCH, UNDERSPEED, ROTECH, PWE 6000, C/W SENSOR UNIT, PPE-1-N-HD-1G-PB, EACH |  |  |  | URL NOT FOUND |  | ROTECH | PPE-1-N-HD-1G-PB | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UNDERSPEED,C/W SENSOR UNIT,EACH,PWE 6000 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060248733 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060248733 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SWITCH,VIBRATION,MANUAL RESET,SPDT,0.5 T | SWITCH,VIBRATION,MANUAL RESET,SPDT,0.5 TO 7 MAX AMPS,ROBERTSHAW | SPDT | 0019011819 | Unknown | URL NOT FOUND |  | ROBERTSHAW | [12 empty] | CLEANSED | SWITCH | VIBRATION | TYPE | MANUAL RESET | VOLTAGE RATING |  | CURRENT RATING | 0.5-7 A MAX | SENSOR TYPE |  | INPUT SENSITIVITY |  | FULL SCALE RANGE |  | CONDUIT CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | POWER RATING |  | ACTION | SPDT | MATERIAL |  | DETECTION MODE |  | DISPLAY TYPE |  | TRIP DELAY |  | STARTUP DELAY |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060168647 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060168647 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SWITCH: MAIN P/N 08900212 | SWITCH: MAIN P/N 08900212 | 08900212 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/08900212_switch-main/ |  | SANDVIK | 08900212 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | MAIN | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060243510 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060243510 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCHBOX,FLOWSERVE,WDB0201201,24VDC, | INST,SWITCHBOX,FLOWSERVE,WDB0201201,24VDC, | WDB0201201 | 0019011819 | Unknown | URL NOT FOUND |  |  | WDB0201201 | [11 empty] | CLEANSED | BOX | NO MODIFIER | TYPE | SWITCH,FLOWSERVE | SIZE |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE:24 VDC,INST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060256380 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256380 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | TYPE4XIND.USE,INTERLOCK SWITCH,TELEMECAN | TYPE4X IND.USE AND12,INTERLOCK SWITCH,TELEMECANIQUE,XCSEN/IEC6094751 | XCS EN/IEC6094751 | 0019011819 | Unknown | URL NOT FOUND |  | TELEMECANIQUE | XCS EN/IEC6094751 | [11 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | INTERLOCK | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4X IND USE AND 12 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060235738 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060235738 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | WAI,RELAY,SWITCH,39MT,12V-24V | WAI, RELAY, SWITCH, 39MT, 12V-24V |  | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  | ELECTRO DIESEL | [12 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | RELAY | VOLTAGE RATING | 12-24 V | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | WALL | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 39MT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060245239 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060245239 | BHP1 | BHP Spares & Supplies | 561017 | Office furniture | EA | MAN2 | TABLE,BOARDROOM,FALCON | TABLE,BOARDROOM,FALCON RECTANGULAR 3600X1200MM | FUR-0001 | 0019011819 | Unknown | URL NOT FOUND |  |  | FUR-0001 | [11 empty] | CLEANSED | TABLE | NO MODIFIER | TYPE |  | DIMENSIONS | 3.6 X 1.2 M | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FALCON RECTANGULAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060243542 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060243542 | BHP1 | BHP Spares & Supplies | 561000 | Accommodation furniture | EA | MAN2 | TABLE,CONFERENCE,RECTANGLE,2700X1200-8 S | RECTANGLE CONFERENCE TABLE ,2700X1200,8 SEATER,2BOX PEDESTAL LEGS,MAHOGANY VENEER,542841VY |  |  |  | URL NOT FOUND |  |  | 542841VY | [11 empty] | CLEANSED | TABLE | NO MODIFIER | TYPE |  | DIMENSIONS | 2700 X 1200 | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RECTANGLE CONFERENCE,8 SEATER,2 BOX PEDESTAL LEGS,MAHOGANY VENEER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060251459 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060251459 | BHP1 | BHP Spares & Supplies | 440000 | Office Equipment, Accessories and Supplies | EA | MAN2 | TABLE,FOLDING,1800,450,16MM,TOP,MELAMINE | TABLE,FOLDING,1800,450,16MM,TOP,MELAMINE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TABLE | NO MODIFIER | TYPE | FOLDING,TOP | DIMENSIONS | 1.8 M X 450 X 16 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MELAMINE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060254863 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060254863 | BHP1 | BHP Spares & Supplies | 561015 | Furniture | EA | MAN2 | TABLE,PICNIC,ECANTEEN1500,1500MM,LINVAR | TABLE, PICNIC, ECANTEEN1500, 1500MM, LINVAR, 4 SEATER, MILD STEEL, TABLE TOP WIDTH 570MM, HEIGHT OF BENCHES 490 | ECANTEEN1500 | 0019011819 | Unknown | URL NOT FOUND |  |  | ECANTEEN1500 | [11 empty] | CLEANSED | TABLE | NO MODIFIER | TYPE |  | DIMENSIONS | 1.5 M | MATERIAL | MILD STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PICNIC,LINVAR,4 SEATER,TABLE TOP WIDTH 570 MM,HEIGHT OF BENCHES 490 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060240459 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060240459 | BHP1 | BHP Spares & Supplies | 731000 | Plastic and chemical industries | EA | MAN2 | TABLE,SET,RECYCLED,PLASTIC,SIX SEATER | TABLE,SET,RECYCLED,PLASTIC,SIX SEATER, |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TABLE | NO MODIFIER | TYPE | RECYCLED | DIMENSIONS |  | MATERIAL | PLASTIC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIX SEATER,SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060246935 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060246935 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | TABLE,STEEL,HEAVY DUTY | TABLE,STEEL,HEAVY DUTY |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TABLE | NO MODIFIER | TYPE | HEAVY DUTY | DIMENSIONS |  | MATERIAL | STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060251458 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060251458 | BHP1 | BHP Spares & Supplies | 440000 | Office Equipment, Accessories and Supplies | EA | MAN2 | TABLE,SUPAWOOD,TOP,METAL,FRAME,1200,40,7 | TABLE,SUPAWOOD,TOP,METAL,FRAME,1200,40,725 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TABLE | NO MODIFIER | TYPE |  | DIMENSIONS | 1200 X 40 X 725 | MATERIAL | METAL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUPAWOOD,FRAME | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060222084 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060222084 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TURN TABLE, PECKER | TURN TABLE, PECKER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TURNTABLE | NO MODIFIER | TYPE |  | LOAD CAPACITY |  | TABLE SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PECKER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060252982 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060252982 | BHP1 | BHP Spares & Supplies | 411222 | Crucibles | EA | MAN2 | TURNTABLE,CRUCIBLE,LARGE,ANNEALED,EA | TURNTABLE CRUCIBLE, LARGE, ANNEALED, EACH | 614-442-110 |  |  | URL NOT FOUND |  |  | 614-442-110 | [11 empty] | CLEANSED | TURNTABLE | NO MODIFIER | TYPE | CRUCIBLE | LOAD CAPACITY |  | TABLE SIZE | LARGE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANNEALED,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218305 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060218305 | BHP1 | BHP Spares & Supplies | 432228 | Telephony equipment | EA | MAN2 | TELEPHONE H/W, TELEPHONE, BASELINE PRO S | TELEPHONE HARDWARE, TELEPHONE, BASELINE PRO SIP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TELEPHONE | NO MODIFIER | TYPE |  | INTERFACE TYPE |  | DISPLAY TYPE |  | NUMBER OF LINES |  | DISPLAY SIZE |  | DIAL TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HARDWARE,BASELINE PRO SIP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060252645 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060252645 | BHP1 | BHP Spares & Supplies | 432228 | Telephony equipment | EA | MAN2 | TELEPHONE H/W,TELEPHONE,CORDLESS | TELEPHONE, HARDWARE, TELEPHONE, CORDLESS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TELEPHONE | NO MODIFIER | TYPE | CORDLESS | INTERFACE TYPE |  | DISPLAY TYPE |  | NUMBER OF LINES |  | DISPLAY SIZE |  | DIAL TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HARDWARE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060249203 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060249203 | BHP1 | BHP Spares & Supplies | 432228 | Telephony equipment | EA | MAN2 | TELEPHONY H/W | TELEPHONY HARDWARE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TELEPHONE | NO MODIFIER | TYPE |  | INTERFACE TYPE |  | DISPLAY TYPE |  | NUMBER OF LINES |  | DISPLAY SIZE |  | DIAL TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HARDWARE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060030085 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060030085 | BHP1 | BHP Spares & Supplies | 141117 | Personal paper products | CS | MAN2 | TOWEL, BARREL, WHITE, KIMBERLEY CLARK, 4 | TOWEL, BARREL, WHITE, KIMBERLEY CLARK, 4 ROLLS PER CASE | 285917 | 0019008744 | KIMBERLEY CLARK | https://www.kcprofessional.co.za/products/hand-towels/folded-hand-towels/kleenex-premier-hand-towels-white-285917 |  | KIMBERLEY CLARK | 285917 | [11 empty] | ENRICHED | TOWEL | NO MODIFIER | TYPE | HAND,BARREL | SIZE |  | MATERIAL |  | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4 ROLLS PER CASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060104400 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060104400 | BHP1 | BHP Spares & Supplies | 521217 | Towels | EA | MAN2 | TOWEL, BATH, 600MM X 1350MM, PURE COTTON | TOWEL, BATH, 600MM X 1350MM, PURE COTTON, SUPER GLODINA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TOWEL | NO MODIFIER | TYPE | BATH | SIZE | 600 MM X 1.35 M | MATERIAL | PURE COTTON | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060231936 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060231936 | BHP1 | BHP Spares & Supplies | 521217 | Towels | EA | MAN2 | TOWEL,BATH,100 PERCT,COTTON,70X130CM,ASS | BATH TOWELS 100 PERCT COTTON 70X130CM, ASSORTED COLOUR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TOWEL | NO MODIFIER | TYPE | BATH | SIZE | 70 X 130 CM | MATERIAL | 100 PCT COTTON | COLOUR | ASSORTED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060233256 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060233256 | BHP1 | BHP Spares & Supplies | 531316 | Bath and body | EA | MAN2 | TOWEL,HAND,300X300,ASSORTED,COLOURS | HAND ,TOWEL , 300X300 , ASSORTED , COLOURS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TOWEL | NO MODIFIER | TYPE | HAND | SIZE | 300 X 300 | MATERIAL |  | COLOUR | ASSORTED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060232279 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060232279 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | TOWEL,RAILS,500X500,BATHROOM | BATHROOM, TOWEL, RAILS, 500X500 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TOWEL | NO MODIFIER | TYPE | BATHROOM | SIZE | 500 X 500 | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RAILS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060246855 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060246855 | BHP1 | BHP Spares & Supplies | 521215 | Bedclothes | EA | MAN2 | TOWEL,SETS,3,SIZES,IN,ONE | TOWEL,SETS,3,SIZES,IN,ONE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TOWEL | NO MODIFIER | TYPE | SET | SIZE | 3 IN 1 | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060249584 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060249584 | BHP1 | BHP Spares & Supplies | 241021 | Warehousing equipment and supplies | CY | MAN2 | TROLLEY, STEEL, FOLDING | TROLLEY, GRAVITY, STEEL FOLDING NOSE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TROLLEY | NO MODIFIER | TYPE | GRAVITY FOLDING NOSE | CAPACITY |  | SIZE |  | MATERIAL | STEEL | NUMBER OF WHEELS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060231952 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060231952 | BHP1 | BHP Spares & Supplies | 311620 | Nails | EA | MAN2 | TROLLEY,3TIER,MEDIUM,WHITE,55X38X86 | TROLLEY,3TIER,MEDIUM,WHITE,55X38X86 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TROLLEY | NO MODIFIER | TYPE | 3 TIER,MEDIUM | CAPACITY |  | SIZE | 55 X 38 X 86 | MATERIAL |  | NUMBER OF WHEELS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:WHITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060246450 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060246450 | BHP1 | BHP Spares & Supplies | 502017 | Coffee | EA | MAN2 | TROLLEY,INSTRUMENTAL,LARGE | TROLLEY,INSTRUMENTAL,LARGE,1500X800 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TROLLEY | NO MODIFIER | TYPE | LARGE | CAPACITY |  | SIZE | 1500 X 800 | MATERIAL |  | NUMBER OF WHEELS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INSTRUMENTAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060236023 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060236023 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | TROLLEY,LARGE PLATFORM | INDUSTRIAL TROLLEYS,?LARGE PLATFORM TROLLEY (LPL/NGR125), SINGLE HANDLE, PLATFORM TROLLEY, 2 SWIVEL, 2 FIXED FOR EASY MOVEMENT, IDEAL FOR, WAREHOUSING/DISTRIBUTORS, POWDER COATED FINISH |  | 0019011486 | LINVAR (PTY) LTD | https://trojantrolleys.co.za/product/large-platform-trolley-lpl-ngr125/ |  | LINVAR (PTY) LTD | LPL/NGR125 | [11 empty] | CLEANSED | TROLLEY | NO MODIFIER | TYPE | PLATFORM,SINGLE HANDLE,LARGE | CAPACITY | 500 KG | SIZE | WD 685 X LG 1225 | MATERIAL |  | NUMBER OF WHEELS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 SWIVEL,2 FIXED FOR EASY MOVEMENT,IDEAL FOR WAREHOUSING/DISTRIBUTORS,POWDER COATED FINISH,INDUSTRIAL,LPL/NGR125 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060244966 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060244966 | BHP1 | BHP Spares & Supplies | 491017 | Awards | EA | MAN2 | TROLLEY,LUGGAGE,HARD,SHELL | TROLLEY,LUGGAGE,HARD,SHELL C/W BRANDING |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TROLLEY | NO MODIFIER | TYPE | LUGGAGE,HARD,SHELL | CAPACITY |  | SIZE |  | MATERIAL |  | NUMBER OF WHEELS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BRANDING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060169589 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060169589 | BHP1 | BHP Spares & Supplies | 391213 | Electrical boxes and enclosures and fittings | EA | MAN2 | TRUNKING, CABLE, 100MM X 60MM, SLOTTED, | TRUNKING, CABLE, 100MM X 60MM, SLOTTED, C/W COVER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RACEWAY | NO MODIFIER | TYPE | TRUNKING CABLE SLOTTED | SIZE | 100 X 60 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W COVER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060096287 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060096287 | BHP1 | BHP Spares & Supplies | 391212 | Wire management components and busways | EA | MAN2 | TRUNKING, CABLE, 16MM X 25MM, SOLID, COA | TRUNKING, CABLE, 16MM X 25MM, SOLID, COAXIAL PROTECTION, C/W COVER, WHITE PVC, 3M LONG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RACEWAY | NO MODIFIER | TYPE | TRUNKING CABLE, SOLID | SIZE | 16 X 25 MM | MATERIAL | PVC | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COAXIAL PROTECTION,C/W COVER,3 M LONG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060241284 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060241284 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | TRUNKING,CABLE,60MM X 100MM,SLOTTED,EA | TRUNKING, CABLE, 60MM X 100MM, SLOTTED, C/W COVER, GREY PVC, 2 METRE LONG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RACEWAY | NO MODIFIER | TYPE | TRUNKING CABLE SLOTTED | SIZE | 60 X 100 MM | MATERIAL | PVC | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W COVER,2 M LONG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060240122 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060240122 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | LG | MAN2 | TRUNKING,SOLID WHITE,100MM X 40MM | TRUNKING,SOLID WHITE,100MM X 40MM |  | 0019011471 | SUPPLYTECH | URL NOT FOUND |  | SUPPLYTECH | [12 empty] | CLEANSED | RACEWAY | NO MODIFIER | TYPE | TRUNKING,SOLID | SIZE | 100 X 40 MM | MATERIAL |  | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060256157 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256157 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | TRUNKING,SOLID,25MMX25MM | TRUNKING, SOLID 25MM X 25MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RACEWAY | NO MODIFIER | TYPE | TRUNKING,SOLID | SIZE | 25 X 25 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060256158 | TNG_001 | DATA ENRICHMENT | KIB | KIB2 | OK | 2022-11-08 | 2022-11-24 |  | 000000000060256158 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | TRUNKING,SOLID,40MMX40MM | TRUNKING, SOLID 40MM X 40MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RACEWAY | NO MODIFIER | TYPE | TRUNKING,SOLID | SIZE | 40 X 40 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed