## Sheet3
Project Code | Activities | Production User | CA Code | Production Comments | MATERIAL | SHORT DESCRIPTION | LONG DESCRIPTION | SAP PN | SAP MFG NAME | PASAR MFG NAME | PASAR PN | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Noun | Modifier | Additional Info | Equipment Details | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR013852 | BREAKER, THERMAL, ORDER NO: 3RV1041-4JA10+3RV1901-1E+3RV1901-1A, S3 SERIES, SETTING RANGE: 45-63 A, AC-3/600V, MFR: SIEMENS | BREAKER, THERMAL, ORDER NO: 3RV1041-4JA10+3RV1901-1E+3RV1901-1A, S3 SERIES, SETTING RANGE: 45-63 A, AC-3/600V, MFR: SIEMENS | NO: 3RV1041-4JA10+3RV1901-1E+3RV1901-1A | SIEMENS |  |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RV1901-1E |  | SIEMENS | 3RV1041-4JA10+3RV1901-1E+3RV1901-1A |  |  |  |  | SWITCH | AUXILIARY | S3 SERIES |  | TYPE | BREAKER, THERMAL | ELECTRICAL RATING | 3/600 VAC, 45 A - 63 A | ACTION |  | CONTACT ARRANGEMENT |  | MOUNT |  | ENCLOSURE | [49 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR014750 | BREAKER, THERMAL, TYPE MO 325+HK-11, SETTING RANGE: 25 AMPERES, AC3, PLUS AUXILIARY RELAY, VOLTAGE: 690 V, 100 kA, MFR: ABB | BREAKER, THERMAL, TYPE MO 325+HK-11, SETTING RANGE: 25 AMPERES, AC3, PLUS AUXILIARY RELAY, VOLTAGE: 690 V, 100 kA, MFR: ABB | MO 325+HK-11 | ABB |  |  |  | https://new.abb.com/products/1SAM101901R0001/hk-11 |  | ABB | MO 325+HK-11 |  |  |  |  | CONTACT | AUXILIARY | PLUS AUXILIARY RELAY, AC3 |  | TYPE | BREAKER, THERMAL | ELECTRICAL RATING | 690 V, 25 A, 100 KA | CONTACT ARRANGEMENT | 1NO+1NC | TERMINAL | SCREW | MOUNT | [51 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR014751 | BREAKER, THERMAL, TYPE MO 325+HK-11, SETTING RANGE: 12.5 AMPERES, AC3, PLUS AUXILIARY RELAY, VOLTAGE: 690 V, 100 kA, MFR: ABB | BREAKER, THERMAL, TYPE MO 325+HK-11, SETTING RANGE: 12.5 AMPERES, AC3, PLUS AUXILIARY RELAY, VOLTAGE: 690 V, 100 kA, MFR: ABB | MO 325+HK-11 | ABB |  |  |  | https://new.abb.com/products/1SAM101901R0001/hk-11 |  | ABB | MO 325+HK-11 |  |  |  |  | CONTACT | AUXILIARY | PLUS AUXILIARY RELAY, AC3 |  | TYPE | BREAKER, THERMAL | ELECTRICAL RATING | 690 V, 12.5 A, 100 KA | CONTACT ARRANGEMENT | 1NO+1NC | TERMINAL | SCREW | MOUNT | [51 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR014752 | BREAKER, THERMAL, TYPE MO 325+HK-11, SETTING RANGE: 10 AMPERES, AC3, PLUS AUXILIARY RELAY, VOLTAGE: 690 V, 100 kA, MFR: ABB | BREAKER, THERMAL, TYPE MO 325+HK-11, SETTING RANGE: 10 AMPERES, AC3, PLUS AUXILIARY RELAY, VOLTAGE: 690 V, 100 kA, MFR: ABB | MO 325+HK-11 | ABB |  |  |  | https://new.abb.com/products/1SAM101901R0001/hk-11 |  | ABB | MO 325+HK-11 |  |  |  |  | CONTACT | AUXILIARY | PLUS AUXILIARY RELAY, AC3 |  | TYPE | BREAKER, THERMAL | ELECTRICAL RATING | 690 V, 10 A, 100 KA | CONTACT ARRANGEMENT | 1NO+1NC | TERMINAL | SCREW | MOUNT | [51 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR019706 | BREAKER ASSEMBLY, 105A, ELECTRICAL BOX, P/N 171-2212, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | BREAKER ASSEMBLY, 105A, ELECTRICAL BOX, P/N 171-2212, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | 171-2212 | CATERPILLAR |  |  | MONARK EQUIPMENT CORP. | https://parts.cat.com/en/catcorp/171-2212 |  |  | 171-2212 |  |  |  |  | BREAKER | NONE | ASSEMBLY, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM, CURRENT: 105 A | FOR CATERPILLAR WHEEL LOADER MODEL 950H | TYPE | ELECTRICAL BOX | SIZE |  | MATERIAL | [55 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR019709 | BREAKER ASSEMBLY, 90A, ELECTRICAL BOX, P/N 171-2211, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | BREAKER ASSEMBLY, 90A, ELECTRICAL BOX, P/N 171-2211, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | 171-2211 | CATERPILLAR |  |  |  | https://parts.cat.com/en/catcorp/171-2211 |  |  | 171-2211 |  |  |  |  | CIRCUIT BREAKER | NONE | ASSEMBLY, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM | FOR CATERPILLAR WHEEL LOADER MODEL 950H | TYPE | ELECTRICAL BOX | VOLTAGE | 125 VAC | AMPERAGE | 90 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR019710 | BREAKER ASSEMBLY, 80A, ELECTRICAL BOX, P/N 171-2210, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | BREAKER ASSEMBLY, 80A, ELECTRICAL BOX, P/N 171-2210, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | 171-2210 | CATERPILLAR |  |  |  | https://parts.cat.com/en/catcorp/171-2210 |  |  | 171-2210 |  |  |  |  | BREAKER | NONE | ASSEMBLY, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM, CURRENT: 80 A | FOR CATERPILLAR WHEEL LOADER MODEL 950H | TYPE | ELECTRICAL BOX | SIZE |  | MATERIAL | [55 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR019713 | BREAKER ASSEMBLY, 50A, ELECTRICAL BOX, P/N 171-2206, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | BREAKER ASSEMBLY, 50A, ELECTRICAL BOX, P/N 171-2206, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | 171-2206 | CATERPILLAR |  |  |  | https://parts.cat.com/en/catcorp/171-2206 |  |  | 171-2206 |  |  |  |  | CIRCUIT BREAKER | NONE | ASSEMBLY, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM | FOR CATERPILLAR WHEEL LOADER MODEL 950H | TYPE |  | VOLTAGE | 120 VAC | AMPERAGE | 50 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR022603 | BREAKER, 20A, P/N 20743, CONTROL CONSOLE GROUP; FOR A7 TORNADO STREET SWEEPER WITH JOHN DEERE ENGINE SERIAL NO PE4043L250865 MOUNTED IN ISUZU FORWARD-FV MODEL FGR6MV | BREAKER, 20A, P/N 20743, CONTROL CONSOLE GROUP; FOR A7 TORNADO STREET SWEEPER WITH JOHN DEERE ENGINE SERIAL NO PE4043L250865 MOUNTED IN ISUZU FORWARD-FV MODEL FGR6MV | 20743 | ISUZU |  |  |  | https://shop.schwarze.com/breaker | https://www.se.com/uk/en/product/download-pdf/20743 |  | 20743 |  |  |  |  | BREAKER | NONE | CONTROL CONSOLE GROU, CURRENT: 20 A | FOR A7 TORNADO STREET SWEEPER WITH JOHN DEERE ENGINE SERIAL NO PE4043L250865 MOUNTED IN ISUZU FORWARD-FV MODEL FGR6MV | TYPE |  | SIZE |  | MATERIAL | [55 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR022604 | BREAKER, 80A, P/N 28272, CONTROL CONSOLE GROUP; FOR A7 TORNADO STREET SWEEPER WITH JOHN DEERE ENGINE SERIAL NO PE4043L250865 MOUNTED IN ISUZU FORWARD-FV MODEL FGR6MV | BREAKER, 80A, P/N 28272, CONTROL CONSOLE GROUP; FOR A7 TORNADO STREET SWEEPER WITH JOHN DEERE ENGINE SERIAL NO PE4043L250865 MOUNTED IN ISUZU FORWARD-FV MODEL FGR6MV | 28272 | ISUZU |  |  |  | https://shop.schwarze.com/breaker |  |  | 28272 |  |  |  |  | BREAKER | NONE | CONTROL CONSOLE GROUP | FOR A7 TORNADO STREET SWEEPER WITH JOHN DEERE ENGINE SERIAL NO PE4043L250865 MOUNTED IN ISUZU FORWARD-FV MODEL FGR6MV | TYPE |  | SIZE |  | MATERIAL | [55 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR023187 | BREAKER ASSEMBLY, CIRCUIT, 30A, HOOD TILT ACTUATOR, BREAKER PANEL, P/N 6N-9349, ELECTRICAL SYSTEM; FOR CATERPILLAR® ENGINE MODEL C7 MOUNTED ON MODEL 950H WHEEL LOADER J5J / JAD SERIES | BREAKER ASSEMBLY, CIRCUIT, 30A, HOOD TILT ACTUATOR, BREAKER PANEL, P/N 6N-9349, ELECTRICAL SYSTEM; FOR CATERPILLAR® ENGINE MODEL C7 MOUNTED ON MODEL 950H WHEEL LOADER J5J / JAD SERIES | 6N-9349 | CATERPILLAR |  |  |  | https://parts.cat.com/en/catcorp/6N-9349 |  |  | 6N-9349 |  |  |  |  | CIRCUIT BREAKER | NONE | ELECTRICAL SYSTEM | FOR CATERPILLAR® ENGINE MODEL C7 MOUNTED ON MODEL 950H WHEEL LOADER J5J / JAD SERIES | TYPE | HOOD TILT ACTUATOR, BREAKER PANEL | VOLTAGE | 120 VAC | AMPERAGE | 30 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | SOURCED ON DESCRIPTION | PSR025824 | BREAKER, SAFETY, SURFACE MOUNTING, 30 AMP; BRAND: KOTEN | BREAKER, SAFETY, SURFACE MOUNTING, 30 AMP; BRAND: KOTEN | N/A | N/A |  |  | UPSHAW INDUSTRIAL CORPORATION | https://cebuhomebuilders.com/product/koten-circuit-breaker-w-enclosure-30a/ | [5 empty] | KOTEN |  | CIRCUIT BREAKER | NONE |  |  | TYPE | SAFETY | VOLTAGE |  | AMPERAGE | 30 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | SURFACE | [42 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | SOURCED ON DESCRIPTION | PSR025825 | BREAKER, SAFETY, SURFACE MOUNTING, 60 AMP; BRAND: KOTEN | BREAKER, SAFETY, SURFACE MOUNTING, 60 AMP; BRAND: KOTEN | N/A | N/A |  |  |  | https://cebuhomebuilders.com/product/koten-circuit-breaker-w-enclosure-30a/ | [7 empty] | CIRCUIT BREAKER | NONE |  |  | TYPE | SAFETY | VOLTAGE |  | AMPERAGE | 60 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | SURFACE | [42 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR026537 | BREAKER, MINIATURE, TYPE: IC65N 1P C10A + 1OF, VOLTAGE: 600 V; MFR: SCHNEIDER ELECTRIC | BREAKER, MINIATURE, TYPE: IC65N 1P C10A + 1OF, VOLTAGE: 600 V; MFR: SCHNEIDER ELECTRIC | IC65N 1P C10A + 1OF | SCHNEIDER INC |  |  | GENERAL EXPORTATION (H.K.) CO., LTD. | https://www.aliexpress.com/item/1005001290967089.html |  | SCHNEIDER ELECTRIC | IC65N 1P C10A + 1OF |  |  |  |  | CIRCUIT BREAKER | MINIATURE |  |  | VOLTAGE | 600 V | AMPERAGE |  | INTERRUPTING CAPACITY |  | TRIP CURVE |  | POLE | 1 | CONNECTION |  | MOUNTING | [47 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR026542 | BREAKER, THERMAL, TYPE: LAD7B106C, CURRENT SETTING: 10~38 A; MFR: SCHNEIDER ELECTRIC | BREAKER, THERMAL, TYPE: LAD7B106C, CURRENT SETTING: 10~38 A; MFR: SCHNEIDER ELECTRIC | LAD7B106C | SCHNEIDER INC |  |  |  | https://www.se.com/ww/en/product/LAD7B106/adapter-terminal-blocktesys-decafor-separate-mounting-of-lrd01-d35-lr3d02-d35-lr97d/ |  | SCHNEIDER ELECTRIC | LAD7B106C |  |  |  |  | BLOCK | TERMINAL |  |  | TYPE | BREAKER, THERMAL | VOLTAGE |  | AMPERAGE | 10 - 38 A | CIRCUITS |  | TERMINAL | SCREW | WIRE SIZE |  | SIZE |  | BLOCK MATERIAL |  | COLOR |  | MOUNTING | [41 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR026850 | BREAKER, THERMAL, 3 PH MOTOR PROTECTION, 50 KA, 690 V, TYPE: 3RV1021-1KA10, THERMAL SETTING: 9-12.5 AMP; MFR: SIEMENS | BREAKER, THERMAL, 3 PH MOTOR PROTECTION, 50 KA, 690 V, TYPE: 3RV1021-1KA10, THERMAL SETTING: 9-12.5 AMP; MFR: SIEMENS | 3RV1021-1KA10 | SIEMENS |  |  | PRESIDIUM CONTROLS & INDUSTRIAL TECHNOLOGIES CORP. | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3RV1021-1KA10 |  | SIEMENS | 3RV1021-1KA10 |  |  |  |  | CIRCUIT BREAKER | NONE |  |  | TYPE | THERMAL | VOLTAGE | 690 V | AMPERAGE | 9 - 12.5 A | POLE |  | PHASE | 3 | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY | 50 KA | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR027804 | BREAKER ASSEMBLY, CIRCUIT, P/N 373-1592, HARNESS ASSEMBLY-QUICK COUPLER GROUP; FOR CATERPILLAR SKID STEER LOADER MODEL 236D, SERIAL NO. CAT0236DCMPW01262 | BREAKER ASSEMBLY, CIRCUIT, P/N 373-1592, HARNESS ASSEMBLY-QUICK COUPLER GROUP; FOR CATERPILLAR SKID STEER LOADER MODEL 236D, SERIAL NO. CAT0236DCMPW01262 | 373-1592 | CATERPILLAR |  |  |  | https://spare.avspart.com/caterpillar/circuit/3731592/ |  |  | 373-1592 |  |  |  |  | CIRCUIT BREAKER | NONE | HARNESS ASSEMBLY-QUICK COUPLER GROUP | FOR CATERPILLAR SKID STEER LOADER MODEL 236D, SERIAL NO. CAT0236DCMPW01262 | TYPE | ASSEMBLY | VOLTAGE |  | AMPERAGE |  | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR052574 | BREAKER, WITH CONTRACTORS, SET, C176AV, BRAND: MITSUBISHI; FOR NEW SFP MILL LINER HANDLER | BREAKER, WITH CONTRACTORS, SET, C176AV, BRAND: MITSUBISHI; FOR NEW SFP MILL LINER HANDLER | C176AV | MITSUBISHI |  |  |  | https://www.scribd.com/document/476512243/ALIGNING-OF-SEAWATER-PUMP-MOTOR-PU-W84 |  | MITSUBISHI | C176AV |  |  |  |  | BREAKER | NONE | WITH CONTRACTORS, SET | FOR NEW SFP MILL LINER HANDLER | TYPE |  | SIZE |  | MATERIAL | [55 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR053823 | BREAKER ASSEMBLY, CIRCUIT, 15A, MANUAL RESET, P/N 280-2709, CAB ARRANGEMENT; FOR CATERPILLAR FRONT END LOADER MODEL 950L SERIAL NO. LXX10396 | BREAKER ASSEMBLY, CIRCUIT, 15A, MANUAL RESET, P/N 280-2709, CAB ARRANGEMENT; FOR CATERPILLAR FRONT END LOADER MODEL 950L SERIAL NO. LXX10396 | 280-2709 | CATERPILLAR |  |  |  | https://parts.cat.com/en/catcorp/280-2709 |  |  | 280-2709 |  |  |  |  | CIRCUIT BREAKER | NONE | ASSEMBLY, CAB ARRANGEMENT | FOR CATERPILLAR FRONT END LOADER MODEL 950L SERIAL NO. LXX10396 | TYPE | MANUAL RESET | VOLTAGE | 28 VDC | AMPERAGE | 15 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR053824 | BREAKER ASSEMBLY, CIRCUIT, 20A, MANUAL RESET, P/N 280-2710, CAB ARRANGEMENT; FOR CATERPILLAR FRONT END LOADER MODEL 950L SERIAL NO. LXX10396 | BREAKER ASSEMBLY, CIRCUIT, 20A, MANUAL RESET, P/N 280-2710, CAB ARRANGEMENT; FOR CATERPILLAR FRONT END LOADER MODEL 950L SERIAL NO. LXX10396 | 280-2710 | CATERPILLAR |  |  | MONARK EQUIPMENT CORP. | https://parts.cat.com/en/catcorp/280-2710 |  |  | 280-2710 |  |  |  |  | CIRCUIT BREAKER | NONE | ASSEMBLY, CAB ARRANGEMENT | FOR CATERPILLAR FRONT END LOADER MODEL 950L SERIAL NO. LXX10396 | TYPE | MANUAL RESET | VOLTAGE | 28 VDC | AMPERAGE | 20 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR106077 | BREAKER ASSEMBLY, 15A, ELECTRICAL BOX, P/N 3T-2662, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | BREAKER ASSEMBLY, 15A, ELECTRICAL BOX, P/N 3T-2662, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM; FOR CATERPILLAR WHEEL LOADER MODEL 950H | 3T-2662 | CATERPILLAR |  |  |  | https://parts.cat.com/en/catcorp/3T-2662 |  |  | 3T-2662 |  |  |  |  | CIRCUIT BREAKER | NONE | ASSEMBLY, CHASSIS WIRING GROUP, ELECTRICAL AND STARTING SYSTEM | FOR CATERPILLAR WHEEL LOADER MODEL 950H | TYPE | ELECTRICAL BOX | VOLTAGE |  | AMPERAGE | 15 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR340383 | BREAKER,SAFETY,ENCLOSED,110V,3 DIA. | BREAKER,SAFETY,ENCLOSED,110V,3 DIA. | N/A | N/A |  |  |  | PART NO. NOT FOUND | [7 empty] | BREAKER | NONE | ENCLOSED, VOLTAGE: 110 V |  | TYPE | SAFETY | SIZE | 3 IN DIA | MATERIAL | [55 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | SOURCED ON DESCRIPTION | PSR374158 | TRANSFORMER,CURRENT, 60A/1A,TYPE IBA | TRANSFORMER,CURRENT, 60A/1A,TYPE IBA | N/A | N/A |  |  |  | https://www.celsamessgerate-spain.com/en/productos/classicline_iba/ | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE | IBA | AMP RATIO | 60/1:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN |  | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | SOURCED ON DESCRIPTION | PSR374163 | TRANSFORMER,CURRENT, 100A/1A,TYPE IBA | TRANSFORMER,CURRENT, 100A/1A,TYPE IBA | N/A | N/A |  |  |  | https://www.celsamessgerate-spain.com/en/productos/classicline_iba/ | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE | IBA | AMP RATIO | 100/1:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN |  | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | SOURCED ON DESCRIPTION | PSR374198 | TRANSFORMER,CURRENT,1000/1A,TYPE ICM | TRANSFORMER,CURRENT,1000/1A,TYPE ICM | N/A | N/A |  |  |  | https://www.shivanitransformer.com/1000-1-100-a-current-transformer-4934981.html | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE | ICM | AMP RATIO | 1000/1:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN |  | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | SOURCED ON DESCRIPTION | PSR374301 | TRANSFORMER,CURRENT,1600A/5A,TYPE ICM | TRANSFORMER,CURRENT,1600A/5A,TYPE ICM | N/A | N/A |  |  |  | https://www.celsamessgerate-spain.com/en/productos/classicline_icm/ | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE | ICM | AMP RATIO | 1600/5:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN |  | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR415472 | BREAKER,MOTOR SAFE,TYPE:3VU1300-1MG00,1.0-1.6A | BREAKER,MOTOR SAFE,TYPE:3VU1300-1MG00,1.0-1.6A | N/A | N/A |  |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VU13001MG00 |  |  | 3VU1300-1MG00 |  |  |  |  | CIRCUIT BREAKER | NONE | MOTOR SAFE |  | TYPE |  | VOLTAGE |  | AMPERAGE | 1 - 1.6 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR415487 | BREAKER,MOTOR SAFE,TYPE:3VU1300-1MH00,1.6-2.4A | BREAKER,MOTOR SAFE,TYPE:3VU1300-1MH00,1.6-2.4A | N/A | N/A |  |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VU13001MH00 |  |  | 3VU1300-1MH00 |  |  |  |  | CIRCUIT BREAKER | NONE | MOTOR SAFE |  | TYPE |  | VOLTAGE |  | AMPERAGE | 1.6 - 2.4 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR511515 | TRANSFORMER,CURRENT,MCT-100Y | TRANSFORMER,CURRENT,MCT-100Y | N/A | N/A |  |  |  | https://pnm--parts-ru.translate.goog/catalog/denyo/denyo-co-ltd/y0601804211?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE | BURDENCORE | AMP RATIO | 30/1:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN | 5 VA | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR523706 | TRANSFORMER,CURRENT, 30A/1A, 5VA BURDENCORE TYPE | TRANSFORMER,CURRENT, 30A/1A, 5VA BURDENCORE TYPE | N/A | N/A |  |  |  | PART NO. NOT FOUND | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE | BURDENCORE | AMP RATIO | 15/1:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN | 5 VA | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR642971 | BREAKER, THERMAL, ORDER NO. 3RV10 11-0JA10, RANGE: 0.7-1.0AMP, AC690V, MFR: SIEMENS | BREAKER, THERMAL, ORDER NO. 3RV10 11-0JA10, RANGE: 0.7-1.0AMP, AC690V, MFR: SIEMENS | 3RV10 11-0JA10 | SIEMENS |  |  |  | https://mall.industry.siemens.com/mall/en/en/Catalog/product?mlfb=3RV1011-0JA10 |  | SIEMENS | 3RV10 11-0JA10 |  |  |  |  | CIRCUIT BREAKER | NONE |  |  | TYPE | THERMAL | VOLTAGE | 690 VAC | AMPERAGE | 0.7 - 1 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION | SCREW TERMINAL | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR642986 | BREAKER, THERMAL, ORDER NO. 3RV1011-0BA10, SETTING RANGE:0.14-0.2 AMP, 690V, MFR: SIEMENS | BREAKER, THERMAL, ORDER NO. 3RV1011-0BA10, SETTING RANGE:0.14-0.2 AMP, 690V, MFR: SIEMENS | 3RV1011-0BA10 | SIEMENS |  |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3RV1011-0BA10 |  | SIEMENS | 3RV1011-0BA10 |  |  |  |  | CIRCUIT BREAKER | NONE |  |  | TYPE | THERMAL | VOLTAGE | 690 VAC | AMPERAGE | 0.14 - 0.2 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION | SCREW TERMINAL | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR642991 | BREAKER, THERMAL, ORDER NO. 3RV1021-1GA10, SETTING RANGE: 4.5-6.3 AMP,AC690V, MFR: SIEMENS | BREAKER, THERMAL, ORDER NO. 3RV1021-1GA10, SETTING RANGE: 4.5-6.3 AMP,AC690V, MFR: SIEMENS | 3RV1021-1GA10 | SIEMENS |  |  | DAINAN TRADING | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3RV1021-1GA10 |  | SIEMENS | 3RV1021-1GA10 |  |  |  |  | CIRCUIT BREAKER | NONE |  |  | TYPE | THERMAL | VOLTAGE | 690 VAC | AMPERAGE | 4.5 - 6.3 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION | SCREW TERMINAL | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR643043 | BREAKER, THERMAL, ORDER NO. 3RV1011-1DA10, THERMAL SETTING RANGE: 2.2-3.2 AMPS.; MFR: SIEMENS | BREAKER, THERMAL, ORDER NO. 3RV1011-1DA10, THERMAL SETTING RANGE: 2.2-3.2 AMPS.; MFR: SIEMENS | 3RV1011-1DA10 | SIEMENS |  |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3RV1011-1DA10 |  | SIEMENS | 3RV1011-1DA10 |  |  |  |  | CIRCUIT BREAKER | NONE |  |  | TYPE | THERMAL | VOLTAGE |  | AMPERAGE | 2.2 - 3.2 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION | SCREW TERMINAL | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR643058 | BREAKER, THERMAL, ORDER NO. 3RV1011-1BA10+3RV1901-1E, SETTING RANGE: 1.4~2.0 AMP, TYPE: SOO PLUS TRAVERSE AUXILIARY CONTACT SWITCH WITH 2 CONTACT (1NO/1NC), MFR: SIEMENS | BREAKER, THERMAL, ORDER NO. 3RV1011-1BA10+3RV1901-1E, SETTING RANGE: 1.4~2.0 AMP, TYPE: SOO PLUS TRAVERSE AUXILIARY CONTACT SWITCH WITH 2 CONTACT (1NO/1NC), MFR: SIEMENS | 3RV1011-1BA10+3RV1901-1E | SIEMENS |  |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3RV1011-1BA10 |  | SIEMENS | 3RV1011-1BA10+3RV1901-1E |  |  |  |  | CIRCUIT BREAKER | NONE | SOO PLUS TRAVERSE AUXILIARY CONTACT SWITCH WITH 2 CONTACT (1NO/1NC) |  | TYPE | THERMAL | VOLTAGE |  | AMPERAGE | 1.4 - 2 A | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION | SCREW TERMINAL | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR906012 | TRANSFORMER, CURRENT, 40A/3A, 10 VA BURDEN | TRANSFORMER, CURRENT, 40A/3A, 10 VA BURDEN | N/A | N/A |  |  |  | PART NO. NOT FOUND | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE |  | AMP RATIO | 40/3:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN | 10 VA | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR906047 | TRANSFORMER, CURRENT, 750A/600A, 5 A, 60 KV | TRANSFORMER, CURRENT, 750A/600A, 5 A, 60 KV | N/A | N/A |  |  |  | PART NO. NOT FOUND | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE |  | AMP RATIO | 750/600:1 | RATING | 60 KV | FREQUENCY RATING |  | CONNECTION |  | BURDEN | 5 A | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR906052 | TRANSFORMER, CURRENT, 4000A/3000A, 5 A, 6.9 KV | TRANSFORMER, CURRENT, 4000A/3000A, 5 A, 6.9 KV | N/A | N/A |  |  |  | PART NO. NOT FOUND | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE |  | AMP RATIO | 4000/3000:1 | RATING | 6.9 KV | FREQUENCY RATING |  | CONNECTION |  | BURDEN | 5 A | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR906067 | TRANSFORMER, CURRENT, 60A/5A, 15 VA BURDEN | TRANSFORMER, CURRENT, 60A/5A, 15 VA BURDEN | N/A | N/A |  |  |  | PART NO. NOT FOUND | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE |  | AMP RATIO | 60/5:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN | 15 VA | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR906072 | TRANSFORMER, CURRENT, 100A/5A, 25 VA BURDEN | TRANSFORMER, CURRENT, 100A/5A, 25 VA BURDEN | N/A | N/A |  |  |  | PART NO. NOT FOUND | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE |  | AMP RATIO | 100/5:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN | 25 VA | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR906101 | TRANSFORMER, CURRENT, 400A/5A, 40 VA BURDEN | TRANSFORMER, CURRENT, 400A/5A, 40 VA BURDEN | N/A | N/A |  |  |  | PART NO. NOT FOUND | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE |  | AMP RATIO | 400/5:1 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN | 40 VA | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR906176 | TRANSFORMER, CURRENT, AUXILIARY, 30 VA, 220/4 | TRANSFORMER, CURRENT, AUXILIARY, 30 VA, 220/4 | N/A | N/A |  |  |  | PART NO. NOT FOUND | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE | AUXILIARY | AMP RATIO | 220/4 | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN | 30 VA | ACCURACY CLASS |  | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR906314 | BREAKER, CURRENT LIMITING, CLB400 | BREAKER, CURRENT LIMITING, CLB400 | N/A | N/A |  |  |  | https://pdf2.datasheet.su/carling%20technologies/clb-203-11a3n-ba.pdf |  |  | CLB400 |  |  |  |  | CIRCUIT BREAKER | NONE |  |  | TYPE | CURRENT LIMITING | VOLTAGE | 125 - 250 VAC | AMPERAGE | 3 - 40 A | POLE | 1 | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | FRONT PANEL | [42 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR938723 | BREAKER, CIRCUIT, 2P 16 A, RCD SWITCH, TRIP SENSITIVITY 30MA, DIN RAIL ACTI 9 IDPN ,P/N A9D31616 | BREAKER, CIRCUIT, 2P 16 A, RCD SWITCH, TRIP SENSITIVITY 30MA, DIN RAIL ACTI 9 IDPN ,P/N A9D31616 | N/A | N/A |  |  | NATIONWARE MARKETING SERVICES, INC. | https://www.se.com/in/en/product/A9D31616/acti-9-idpn-n-vigi-rcbo-1p+n-16a-c-curve-6000a-30ma-type-ac/ |  |  | A9D31616/ACTI 9 IDPN |  |  |  |  | CIRCUIT BREAKER | NONE | TRIP SENSITIVITY 30MA, ACTI 9 IDPN |  | TYPE | RCD SWITCH | VOLTAGE |  | AMPERAGE | 16 A | POLE | 2 | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | DIN RAIL | [42 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR938724 | BREAKER, CIRCUIT,2P 32 A, SELECTIVE RCD SWITCH, TRIP SENSITIVITY 30MA, DIN RAIL SENTRY P/N 7832S | BREAKER, CIRCUIT,2P 32 A, SELECTIVE RCD SWITCH, TRIP SENSITIVITY 30MA, DIN RAIL SENTRY P/N 7832S | N/A | N/A |  |  | NATIONWARE MARKETING SERVICES, INC. | https://uk.rs-online.com/web/p/rccbs/8263331 |  |  | 7832S |  |  |  |  | CIRCUIT BREAKER | NONE | TRIP SENSITIVITY 30MA |  | TYPE | SELECTIVE RCD SWITCH | VOLTAGE |  | AMPERAGE | 32 A | POLE | 2 | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | DIN RAIL | [42 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR939709 | BREAKER, SAFETY, SURFACE MOUNTING, 20 AMP; BRAND: KOTEN | BREAKER, SAFETY, SURFACE MOUNTING, 20 AMP; BRAND: KOTEN | N/A | N/A |  |  | UPSHAW INDUSTRIAL CORPORATION | https://cebuhomebuilders.com/product/koten-circuit-breaker-2p-plug-in-20a/ |  | KOTEN | [5 empty] | CIRCUIT BREAKER | NONE |  |  | TYPE | SAFETY | VOLTAGE |  | AMPERAGE | 20 A | POLE | 2 | PHASE |  | FREQUENCY |  | CONNECTION | PLUG IN | INTERRUPTING CAPACITY |  | MOUNTING | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR942292 | BREAKER, CIRCUIT, MOLDED CASE (MCCB), 100A, 3PHASE, N.I.T.U TYPE, G-FRAME ARE SUITABLE FOR REVERSE FEED | BREAKER, CIRCUIT, MOLDED CASE (MCCB), 100A, 3PHASE, N.I.T.U TYPE, G-FRAME ARE SUITABLE FOR REVERSE FEED | N/A | N/A |  |  | MANILA OVERSEAS, INC. | PART NO. NOT GIVEN | [7 empty] | CIRCUIT BREAKER | MOLDED CASE | PHASE: 3PH, TYPE: N.I.T.U, G-FRAME | FOR REVERSE FEED | VOLTAGE |  | AMPERAGE | 100 A | CONNECTION |  | INTERRUPTING CAPACITY |  | POLE |  | TRIP |  | FRAME SIZE | G | MOUNTING |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR942425 | BREAKER, CIRCUIT, MINIATURE, TYPE S201-C2, 1 POLE, 2.0A, 440VAC/60VDC, CURVE C, 400V, 6KA, C-CHARACTERISTIC, MFR: FLSMIDTH | BREAKER, CIRCUIT, MINIATURE, TYPE S201-C2, 1 POLE, 2.0A, 440VAC/60VDC, CURVE C, 400V, 6KA, C-CHARACTERISTIC, MFR: FLSMIDTH | N/A | N/A |  |  | FLSMIDTH AIRTECH A/S AIR POLLUTION - CONTROL | https://new.abb.com/products/2CDS251001R0024/s201-c2 |  | FLSMIDTH | S201-C2 |  |  |  |  | CIRCUIT BREAKER | MINIATURE | CURVE C, C-CHARACTERISTIC |  | VOLTAGE | 440 VAC/60 VDC, 400 V | AMPERAGE | 2 A | INTERRUPTING CAPACITY | 6 KA | TRIP CURVE |  | POLE | 1 | CONNECTION |  | MOUNTING | [47 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR942426 | BREAKER, CIRCUIT, MINIATURE, 2P, C2, TYPE S202-C3, 3.0A, 1P 440VAC/60VDC, 6 KA, CURVE C, MFR: FLSMIDTH | BREAKER, CIRCUIT, MINIATURE, 2P, C2, TYPE S202-C3, 3.0A, 1P 440VAC/60VDC, 6 KA, CURVE C, MFR: FLSMIDTH | N/A | N/A |  |  | FLSMIDTH AIRTECH A/S AIR POLLUTION - CONTROL | https://new.abb.com/products/2CDS252001R0034/s202-c3 |  |  | S202-C3 |  |  |  |  | CIRCUIT BREAKER | MINIATURE | C2, CURVE C |  | VOLTAGE | 440VAC/60VDC | AMPERAGE | 3 A | INTERRUPTING CAPACITY | 6 KA | TRIP CURVE |  | POLE | 2 | CONNECTION |  | MOUNTING | [47 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR947940 | TRANSFORMER, CURRENT, 150/5A, 35VA, RATED VOLTAGE: 660V, 60HZ, ACCURACY CLASS: 1 | TRANSFORMER, CURRENT, 150/5A, 35VA, RATED VOLTAGE: 660V, 60HZ, ACCURACY CLASS: 1 | N/A | N/A |  |  | ZENITH UNITED ELECTRIC CORPORATION | PART NO. NOT FOUND | [7 empty] | TRANSFORMER | CURRENT |  |  | TYPE |  | AMP RATIO | 150/5:1 | RATING | 660 V | FREQUENCY RATING | 60HZ | CONNECTION |  | BURDEN | 35 VA | ACCURACY CLASS | 1 | ENCLOSURE |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR950290 | BREAKER, CIRCUIT, MOLDED CASE, 250A, ADJUSTABLE TRIP SETTING: 100A - 250A, 3PHASE, 60Hz, 440VAC, MODEL: 3VT2, BRAND: SIEMENS | BREAKER, CIRCUIT, MOLDED CASE, 250A, ADJUSTABLE TRIP SETTING: 100A - 250A, 3PHASE, 60Hz, 440VAC, MODEL: 3VT2, BRAND: SIEMENS | 3VT2 | SIEMENS |  |  | GRAM INDUSTRIAL, INC. | https://vashiisl.com/products/siemens-3vt27252aa460aa0-250a-4p-36ka-fr-3vt2-main-swt-uni |  | SIEMENS | 3VT2 |  |  |  |  | CIRCUIT BREAKER | MOLDED CASE | PHASE: 3PH, FREQUENCY: 60Hz |  | VOLTAGE | 440 VAC | AMPERAGE | 100 A - 250 A | CONNECTION |  | INTERRUPTING CAPACITY |  | POLE |  | TRIP |  | FRAME SIZE |  | MOUNTING |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR950724 | BREAKER, CIRCUIT, S202, 2P. 50A, M CURVE UC-K, WITH ONE AUXILIARY CONTACT ' POSITION' OR TRIP' SPDT (CONFIGURATION POSITION') S2C-H6R FOR S200, CHLORIDE REFERENCE #: 5810200342 / F810700001 | BREAKER, CIRCUIT, S202, 2P. 50A, M CURVE UC-K, WITH ONE AUXILIARY CONTACT ' POSITION' OR TRIP' SPDT (CONFIGURATION POSITION') S2C-H6R FOR S200, CHLORIDE REFERENCE #: 5810200342 / F810700001, FOR EMERSON CHLORIDE BATTERY CHARGER: CP70R11-748231, MFR: ABB DIFFUSION | S202 | ABB |  |  | ENERGY PREMIERE AND SERVICES INC. | https://new.abb.com/products/2CDS252001R0104/s202-c10 |  | ABB DIFFUSION | S202 |  |  |  |  | CIRCUIT BREAKER | MINIATURE | WITH ONE AUXILIARY CONTACT ' POSITION' OR TRIP' SPDT (CONFIGURATION POSITION') S2C-H6R, CHLORIDE REFERENCE #: 5810200342 / F810700001 | FOR S200, FOR EMERSON CHLORIDE BATTERY CHARGER: CP70R11-748231 | VOLTAGE |  | AMPERAGE | 50 A | INTERRUPTING CAPACITY |  | TRIP CURVE |  | POLE | 2 | CONNECTION |  | MOUNTING | [47 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR950726 | BREAKER, CIRCUIT, T6N 800FF, 3P, 800A TMAX, 36KA, WITH AUXILIARY CONTACT 3 NO/NC + 1 SY, CABLED, CHLORIDE REFERENCE #: 5810300368 / 5810700088, FOR EMERSON CHLORIDE BATTERY CHARGER: CP70R11-748231, MFR: ABB DIFFUSION | BREAKER, CIRCUIT, T6N 800FF, 3P, 800A TMAX, 36KA, WITH AUXILIARY CONTACT 3 NO/NC + 1 SY, CABLED, CHLORIDE REFERENCE #: 5810300368 / 5810700088, FOR EMERSON CHLORIDE BATTERY CHARGER: CP70R11-748231, MFR: ABB DIFFUSION | T6N 800 TMAX 800-8000 3p F F | ABB |  |  | ENERGY PREMIERE AND SERVICES INC. | https://new.abb.com/products/1SDA060214R1/t6n-800-tma-800-8000-3p-f-f |  | ABB DIFFUSION | T6N 800FF |  |  |  |  | CIRCUIT BREAKER | MOLDED CASE | WITH AUXILIARY CONTACT 3 NO/NC + 1 SY, CHLORIDE REFERENCE #: 5810300368 / 5810700088 | FOR EMERSON CHLORIDE BATTERY CHARGER: CP70R11-748231 | VOLTAGE | 690 VAC | AMPERAGE | 800 A | CONNECTION |  | INTERRUPTING CAPACITY | 36 KA | POLE | 3 | TRIP |  | FRAME SIZE |  | MOUNTING |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR953803 | BREAKER, CIRCUIT, SYMBOL: QF1, TYPE: NSX250F-TM200-D3-P-D, PRODUCTION MODE: HLD-8KV/800MA-W, PRODUCTION NUMBER: 120320-22, 120402. FOR MIST EP HIGH VOLTAGE GENERATOR RECTIFIER, MNFR: SCHNEIDER | BREAKER, CIRCUIT, SYMBOL: QF1, TYPE: NSX250F-TM200-D3-P-D, PRODUCTION MODE: HLD-8KV/800MA-W, PRODUCTION NUMBER: 120320-22, 120402. FOR MIST EP HIGH VOLTAGE GENERATOR RECTIFIER, MNFR: SCHNEIDER | 44540-2320 | SCHNEIDER |  |  |  | https://www.se.com/ph/en/product/LV431631/circuit-breaker-compact-nsx250f-36-ka-at-415-vac-tmd-trip-unit-200-a-3-poles-3d/ |  | SCHNEIDER | NSX250F-TM200-D3-P-D |  |  |  |  | CIRCUIT BREAKER | MOLDED CASE | SYMBOL: QF1, PRODUCTION MODE: HLD-8KV/800MA-W, PRODUCTION NUMBER: 120320-22, 120402 | FOR MIST EP HIGH VOLTAGE GENERATOR RECTIFIER | VOLTAGE | 415 VAC | AMPERAGE | 200 A | CONNECTION |  | INTERRUPTING CAPACITY | 36 KA | POLE | 3 | TRIP | THERMAL MAGNETIC | FRAME SIZE |  | MOUNTING |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR953804 | BREAKER, CIRCUIT, SYMBOL: QF2, TYPE: C65N-C6A/2P, PRODUCTION MODE: HLD-8KV/800MA-W, PRODUCTION NUMBER: 120320-22, 120402, FOR MIST EP HIGH VOLTAGE GENERATOR RECTIFIER, MNFR: SCHNEIDER | BREAKER, CIRCUIT, SYMBOL: QF2, TYPE: C65N-C6A/2P, PRODUCTION MODE: HLD-8KV/800MA-W, PRODUCTION NUMBER: 120320-22, 120402, FOR MIST EP HIGH VOLTAGE GENERATOR RECTIFIER, MNFR: SCHNEIDER | 44540-2340 | SIEMENS |  |  |  | https://www.aliexpress.com/item/4001186504819.html |  | SCHNEIDER | C65N-C6A/2P |  |  |  |  | CIRCUIT BREAKER | NONE | SYMBOL: QF2, PRODUCTION MODE: HLD-8KV/800MA-W, PRODUCTION NUMBER: 120320-22, 120402 | FOR MIST EP HIGH VOLTAGE GENERATOR RECTIFIER | VOLTAGE |  | AMPERAGE | 6 A | CONNECTION |  | INTERRUPTING CAPACITY | 6 KA | POLE |  | TRIP |  | FRAME SIZE |  | MOUNTING |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR953805 | BREAKER, CIRCUIT, SYMBOL: QF3, TYPE: C65N-C6A/1P, PRODUCTION MODE: HLD-8KV/800MA-W, PRODUCTION NUMBER: 120320-22, FOR MIST EP HIGH VOLTAGE GENERATOR RECTIFIER, 120402, MNFR: SCHNEIDER. | BREAKER, CIRCUIT, SYMBOL: QF3, TYPE: C65N-C6A/1P, PRODUCTION MODE: HLD-8KV/800MA-W, PRODUCTION NUMBER: 120320-22, FOR MIST EP HIGH VOLTAGE GENERATOR RECTIFIER, 120402, MNFR: SCHNEIDER. | 44540-2300 | SCHNEIDER |  |  |  | https://www.aliexpress.com/item/4001186539394.html |  | SCHNEIDER | C65N-C6A/1P |  |  |  |  | CIRCUIT BREAKER | NONE | SYMBOL: QF3, PRODUCTION MODE: HLD-8KV/800MA-W, PRODUCTION NUMBER: 120320-22 | FOR MIST EP HIGH VOLTAGE GENERATOR RECTIFIER, 120402 | VOLTAGE |  | AMPERAGE | 6 A | CONNECTION |  | INTERRUPTING CAPACITY | 6 KA | POLE | 1 | TRIP |  | FRAME SIZE |  | MOUNTING |  | STANDARD | [43 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR953937 | BREAKER, CIRCUIT, THERMAL MAGNETIC, TYPE: GV2-ME14C, PROTECTION SWITCH SEETING: 6-10A, 3P, 60 HZ; 440V, CODE: 8C 14 37 6, MFR: SCHNEIDER ELECTRIC | BREAKER, CIRCUIT, THERMAL MAGNETIC, TYPE: GV2-ME14C, PROTECTION SWITCH SEETING: 6-10A, 3P, 60 HZ; 440V, CODE: 8C 14 37 6, MFR: SCHNEIDER ELECTRIC | N/A | NO |  |  |  | https://www.se.com/in/en/product/GV2ME14/motor-circuit-breaker-tesys-gv2-3p-610-a-thermal-magnetic-screw-clamp-terminals/ |  | SCHNEIDER ELECTRIC | GV2-ME14C |  |  |  |  | CIRCUIT BREAKER | MOTOR | PROTECTION SWITCH SEETING, CODE: 8C 14 37 6 |  | VOLTAGE | 440 V | AMPERAGE | 6 - 10 A | POWER RATING | 60 HZ | CONNECTION | SCREW | INTERRUPTING CAPACITY |  | POLE | 3 | PHASE |  | FREQUENCY | 60 HZ | TRIP | THERMAL MAGNETIC | FRAME SIZE |  | STANDARD | [39 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR953938 | BREAKER, CIRCUIT, COMPACT, TYPE: NSX 100F, 3P, 16 + TRIPPER + AUX CONTACT (OF STANDARD) + ALARM CONTACT (SD STANDARD), 440VAC, 60 HZ; NO. TC14295; CAT A, IEC / EN 60947-2, NEMA AB1, MFR: SCHNEIDER ELECTRIC | BREAKER, CIRCUIT, COMPACT, TYPE: NSX 100F, 3P, 16 + TRIPPER + AUX CONTACT (OF STANDARD) + ALARM CONTACT (SD STANDARD), 440VAC, 60 HZ; NO. TC14295; CAT A, IEC / EN 60947-2, NEMA AB1, MFR: SCHNEIDER ELECTRIC | N/A | NO |  |  |  | https://www.se.com/in/en/product/LV429630/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-tmd-trip-unit-100-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | NSX 100F |  |  |  |  | CIRCUIT BREAKER | MOLDED CASE | 16 + TRIPPER + AUX CONTACT (OF STANDARD) + ALARM CONTACT (SD STANDARD), NO. TC14295; CAT A, NEMA AB1 |  | VOLTAGE | 440 VAC | AMPERAGE | 100 A | CONNECTION |  | INTERRUPTING CAPACITY | 36 KA | POLE | 3 | TRIP |  | FRAME SIZE |  | MOUNTING |  | STANDARD | IEC / EN 60947-2 | [42 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR953939 | BREAKER, CIRCUIT, MINITURE, TYPE: 1C65N C4A/ 2P, SPARE CODE: A0201.11.8, MFR: SCHNEIDER ELECTRIC | BREAKER, CIRCUIT, MINITURE, TYPE: 1C65N C4A/ 2P, SPARE CODE: A0201.11.8, MFR: SCHNEIDER ELECTRIC | N/A | NO |  |  |  | https://www.aliexpress.com/item/32814646079.html |  | SCHNEIDER ELECTRIC | 1C65N C4A/ 2P |  |  |  |  | CIRCUIT BREAKER | MINIATURE | SPARE CODE: A0201.11.8 |  | VOLTAGE |  | AMPERAGE | 4 A | INTERRUPTING CAPACITY |  | TRIP CURVE |  | POLE | 2 | CONNECTION |  | MOUNTING | [47 empty] | Production Completed
TNG-001-004 | Data Enrichment | POF | POF5 | OK | PSR954376 | BREAKER, CIRCUIT, FRAME SIZE: VL400, 315A, RATED CURRENT IR: 128-315A, HIGH BREAKING CAPACITY ICU: 70KA / 415 V AC 3 POLE, LINE PROTECTION ELECTRONIC TRIP UNIT ETU12, LIG 3 PHASES/3WIRES IN: 315A, | BREAKER, CIRCUIT, FRAME SIZE: VL400, 315A, RATED CURRENT IR: 128-315A, HIGH BREAKING CAPACITY ICU: 70KA / 415 V AC 3 POLE, LINE PROTECTION ELECTRONIC TRIP UNIT ETU12, LIG 3 PHASES/3WIRES IN: 315A, OVERLOAD II: 1,25TO11XIN, MODEL: 3VL4731-2SL36-A0A0, MNFR: SIEMENS | VL-400 3VL4731-2SL36-A0A0 | SIEMENS |  |  |  | https://www.smeshops.com/siemens-3vl4731-2sl36-0aa0-mccbb3922127/ |  | SIEMENS | 3VL4731-2SL36-A0A0 |  |  |  |  | CIRCUIT BREAKER | MOLDED CASE | HIGH BREAKING CAPACITY ICU, LINE PROTECTION ELECTRONIC TRIP UNIT ETU12, LIG 3 PHASES/3WIRES IN: OVERLOAD II: 1,25TO11XIN |  | VOLTAGE | 415 V | AMPERAGE | 128 - 315A | CONNECTION |  | INTERRUPTING CAPACITY | 70 KA | POLE | 3 | TRIP |  | FRAME SIZE | VL400 | MOUNTING |  | STANDARD | [43 empty] | Production Completed