## Sheet1
Material | Activities | Project Code | Production User | Production Comments | Start Date | End Date | Remarks | Common | Clt | X-Plant Status | Maint Status | Plant | OEM/MNFR | Manufacturer Part No. | Manufacturer | Name | Short | PO Text | Reference URL | Reference URL1 | Manufacturer 1 | MPN 1 | Manufacturer 2 | MPN 2 | Manufacturer 3 | MPN 3 | Manufacturer 4 | MPN 4 | Manufacturer 5 | MPN 5 | UNSPSC | UNSPSC Description | OEM/MNFR/NON-MNFR | Short Description | Long Description | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Status
1038344_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 9X6451 | 3000003 | CATERPILLAR | PLUG,DRN;CAT,9X6451 | PLUG,DRAIN;MNFR:CATERPILLAR,PTNO:9X6451 | https://parts.cat.com/en/catcorp/9X-6451 |  | CATERPILLAR | 9X-6451 | [8 empty] | 40141738 | Drain plugs |  |  |  | ENRICHED | PLUG | DRAIN | TYPE | MAGNETIC THREADED | NOMINAL SIZE |  | THREAD TYPE |  | LENGTH | 38.1 MM | MATERIAL | PLATED STEEL | PRESSURE CLASS/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
1038362_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 1417562 | 3000003 | CATERPILLAR | FLANGE;CAT,1417562 | FLANGE;MNFR:CATERPILLAR,PTNO:1417562 | https://parts.cat.com/en/catcorp/141-7562 |  | CATERPILLAR | 141-7562 | [8 empty] | 40170000 | Pipe piping and pipe fittings |  |  |  | ENRICHED | FLANGE | NO MODIFIER | TYPE | NYLON | NOMINAL SIZE |  | OUTSIDE DIAMETER |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1038364_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2807854 | 3000003 | CATERPILLAR | MOTOR;CAT,2807854 | MOTOR;MNFR:CATERPILLAR,PTNO:2807854 | https://parts.cat.com/en/catcorp/280-7854 |  | CATERPILLAR | 280-7854 | [8 empty] | 26101304 | Hydraulic motor |  |  |  | ENRICHED | MOTOR | HYDRAULIC | TYPE | RADIAL PISTON | FRAME SIZE |  | POWER RATING |  | TORQUE RATING |  | DISPLACEMENT |  | SPEED RATING |  | MAX PRESSURE RATING |  | FLOW RATING |  | SHAFT SIZE |  | MATERIAL |  | MOUNTING TYPE |  | PORT SIZE |  | ROTATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
1038398_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1950189 | 3000003 | CATERPILLAR | LIGHT;CAT,1950189,HD/TRN | LIGHT;MNFR:CATERPILLAR,PTNO:1950189,ADDITIONAL FEATURES EN:HEAD/TURN | https://parts.cat.com/en/catcorp/195-0189 |  | CATERPILLAR | 195-0189 | [8 empty] | 39110000 | Lighting Fixtures and Accessories |  |  |  | ENRICHED | LIGHT | NO MODIFIER | TYPE | HEAD/TURN | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ECE | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1038470_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1950190 | 3000003 | CATERPILLAR | LIGHT;CAT,1950190,HD/TRN | LIGHT;MNFR:CATERPILLAR,PTNO:1950190,ADDITIONAL FEATURES EN:HEAD/TURN | https://parts.cat.com/en/catcorp/195-0190 |  | CATERPILLAR | 195-0190 | [8 empty] | 39110000 | Lighting Fixtures and Accessories |  |  |  | ENRICHED | LIGHT | NO MODIFIER | TYPE | HEAD/TURN | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ECE | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1038485_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 9R8291 | 3000003 | CATERPILLAR | SPACER;CAT,9R8291,66 X 125 X 1 MM | SPACER;MNFR:CATERPILLAR,PTNO:9R8291,ADDITIONAL FEATURES EN:66 X 125 X 1 MM | https://parts.cat.com/en/catcorp/9R-8291 |  | CATERPILLAR | 9R-8291 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | CLEANSED | SPACER | NO MODIFIER | TYPE |  | SIZE | ID 66 X OD 125 X LG 1 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1038486_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 3B8488 | 3000003 | CATERPILLAR | FITTING,GRS;CAT,3B8488,1/8 IN-27 TPI | FITTING,GREASE;MNFR:CATERPILLAR,PTNO:3B8488,ADDITIONAL FEATURES EN:1/8 IN-27 TPI | https://parts.cat.com/en/catcorp/3B-8488 |  | CATERPILLAR | 3B-8488 | [8 empty] | 40141736 | Grease fitting |  |  |  | ENRICHED | FITTING | GREASE | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL | PLATED STEEL | ANGLE |  | LENGTH | 22.86 MM | HEX SIZE |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1/8 IN-27 TPI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1038496_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1336934 | 3000003 | CATERPILLAR | SPACER;CAT,1336934 | SPACER;MNFR:CATERPILLAR,PTNO:1336934 | https://parts.cat.com/en/catcorp/133-6934 |  | CATERPILLAR | 133-6934 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SPACER | NO MODIFIER | TYPE |  | SIZE | ID 25/32 X OD 7/64 X THK 63/64 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1038512_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2D4867 | 3000003 | CATERPILLAR | FITTING;CAT,2D4867 | FITTING;MNFR:CATERPILLAR,PTNO:2D4867 | https://parts.cat.com/en/catcorp/2D-4867 |  | CATERPILLAR | 2D-4867 | [8 empty] | 40141736 | Grease fitting |  |  |  | ENRICHED | FITTING | GREASE | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL | PLATED STEEL | ANGLE |  | LENGTH |  | HEX SIZE |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1038620_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2746717 | 3000003 | CATERPILLAR | SENSOR,PRES;CAT,2746717 | SENSOR,PRESSURE;MNFR:CATERPILLAR,PTNO:2746717 | https://parts.cat.com/en/catcorp/274-6717 |  | CATERPILLAR | 274-6717 | [8 empty] | 41111927 | Pressure sensors |  |  |  | ENRICHED | SENSOR | PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE | 3-PIN | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1039304_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 4P5820 | 3000003 | CATERPILLAR | SENSOR;CAT,4P5820 | SENSOR;MNFR:CATERPILLAR,PTNO:4P5820 | https://parts.cat.com/en/catcorp/4P-5820 |  | CATERPILLAR | 4P-5820 | [8 empty] | 41111921 | Speed sensors |  |  |  | ENRICHED | SENSOR | SPEED | TYPE |  | MEASURING RANGE |  | ACCURACY |  | POWER SUPPLY |  | CONNECTION TYPE |  | FREQUENCY RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1039305_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2016615 | 3000003 | CATERPILLAR | SENSOR,SPD;CAT,2016615,GP | SENSOR,SPEED;MNFR:CATERPILLAR,PTNO:2016615,ADDITIONAL FEATURES EN:GROUP | https://parts.cat.com/en/catcorp/201-6615 |  | CATERPILLAR | 201-6615 | [8 empty] | 41111921 | Speed sensors |  |  |  | ENRICHED | SENSOR | SPEED | TYPE | HEAVY DUTY | MEASURING RANGE |  | ACCURACY |  | POWER SUPPLY |  | CONNECTION TYPE | 2-PIN | FREQUENCY RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE |  | SIZE | ID 18.6 MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1039342_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 | CONFLICT IN N/M PROCESSED BASED ON WEB SOURCE | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1022240 | 3000003 | CATERPILLAR | SENSOR,SPD;CAT,1022240 | SENSOR,SPEED;MNFR:CATERPILLAR,PTNO:1022240 | https://parts.cat.com/en/catcorp/102-2240 |  | CATERPILLAR | 102-2240 | [8 empty] | 41111970 | Temperature sensor |  |  |  | ENRICHED | SENSOR | TEMPERATURE | TYPE | LOW | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE | 3-PIN | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE | LG 45.9 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1039343_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1611704 | 3000003 | CATERPILLAR | SENSOR,PRES;CAT,1611704 | SENSOR,PRESSURE;MNFR:CATERPILLAR,PTNO:1611704 | https://parts.cat.com/en/catcorp/161-1704 |  | CATERPILLAR | 161-1704 | [8 empty] | 41111927 | Pressure sensors |  |  |  | ENRICHED | SENSOR | PRESSURE | TYPE | LOW | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE | 3-PIN | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1039344_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1611705 | 3000003 | CATERPILLAR | SENSOR,PRES;CAT,1611705 | SENSOR,PRESSURE;MNFR:CATERPILLAR,PTNO:1611705 | https://parts.cat.com/en/catcorp/161-1705 |  | CATERPILLAR | 161-1705 | [8 empty] | 41111927 | Pressure sensors |  |  |  | ENRICHED | SENSOR | PRESSURE | TYPE | HEAVY DUTY | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE | 3-PIN | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1039364_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 8T6765 | 3000003 | CATERPILLAR | PLUG,PIPE;CAT,8T6765 | PLUG,PIPE;MNFR:CATERPILLAR,PTNO:8T6765 | https://parts.cat.com/en/catcorp/8T-6765 |  | CATERPILLAR | 8T-6765 | [8 empty] | 40173500 | Pipe plugs |  |  |  | ENRICHED | PLUG | PIPE | TYPE | THREAD | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL | PLATED STEEL | MATERIAL SPECIFICATION |  | HEAD TYPE |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1039374_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  | 99 | KELVDBC | 0370 ¦ 0580 | OEM | 0S1594 | 3000003 | CATERPILLAR | SCREW,CAP;CAT,0S1594 | SCREW,CAP;MNFR:CATERPILLAR,PTNO:0S1594 | https://parts.cat.com/en/catcorp/0S-1594 |  | CATERPILLAR | 0S-1594 | [8 empty] | 31161501 | Cap screws |  |  |  | ENRICHED | SCREW | CAP | TYPE | TRACK BOLT | THREAD DIAMETER | 3/8 IN | THREAD PITCH | 16 TPI | THREAD TYPE | UNC | OVERALL LENGTH | 1 IN | THREAD LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION | GR 8 | COATING/FINISH | ZINC PHOSPHATE + OIL | DRIVE TYPE |  | HEAD SIZE |  | TENSILE STRENGTH | 150 KSI | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J429 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1041153_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 6GK1500-0FC10 | 3000032 | SIEMENS | PLUG;SIE,6GK1500-0FC10,CONCTR,PROFIBUS | PLUG;MNFR:SIEMENS,PTNO:6GK1500-0FC10,ADDITIONAL FEATURES EN:CONNECTOR,PROFIBUS,FAST | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6GK1500-0FC10 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6GK1500-0FC10%26language%3Den | SIEMENS | 6GK1500-0FC10 | [8 empty] | 39121402 | Electrical plugs |  |  |  | ENRICHED | PLUG | ELECTRICAL | TYPE | CONNECTOR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS | 9 | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE | WD 16 X HT 62 X DP 34.5 MM | BODY MATERIAL | PLASTIC | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,UL,EN 50155 | ADDITIONAL FEATURES EN | PROFIBUS,FAST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1041186_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 6SL3055-0AA00-3AA1 | 3000032 | SIEMENS | MODULE;SIE,6SL3055-0AA00-3AA1,TERMNL | MODULE;MNFR:SIEMENS,PTNO:6SL3055-0AA00-3AA1,ADDITIONAL FEATURES EN:TERMINAL,SINAMICS | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6SL3055-0AA00-3AA1 |  | SIEMENS | 6SL3055-0AA00-3AA1 | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | CLEANSED | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
1041364_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 3RV1063-7AL10 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3RV1063-7AL10,MOLDD | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3RV1063-7AL10,ADDITIONAL FEATURES EN:MOLDED CASE | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3RV1063-7AL10 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RV1063-7AL10%26language%3Den | SIEMENS | 3RV1063-7AL10 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | MOLDED CASE | CURRENT RATING | 250 A | VOLTAGE RATING | 20-690 VAC | FRAME RATING |  | INTERRUPT RATING | 100 KA AT 240 VAC | NUMBER OF POLES | 3 | OVERALL SIZE | DP 103.5 X HT 205 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1047664_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 1946722 | 3000003 | CATERPILLAR | SENSOR,PRES;CAT,1946722 | SENSOR,PRESSURE;MNFR:CATERPILLAR,PTNO:1946722 | https://parts.cat.com/en/catcorp/194-6722 |  | CATERPILLAR | 194-6722 | [8 empty] | 41111927 | Pressure sensors |  |  |  | ENRICHED | SENSOR | PRESSURE | TYPE | HEAVY DUTY | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE | 3-PIN | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1047665_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 1946725 | 3000003 | CATERPILLAR | SENSOR,PRES;CAT,1946725 | SENSOR,PRESSURE;MNFR:CATERPILLAR,PTNO:1946725 | https://parts.cat.com/en/catcorp/194-6725 |  | CATERPILLAR | 194-6725 | [8 empty] | 41111927 | Pressure sensors |  |  |  | ENRICHED | SENSOR | PRESSURE | TYPE | HEAVY DUTY | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE | 3-PIN | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1047666_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2016616 | 3000003 | CATERPILLAR | SENSOR,SPD;CAT,2016616,GP | SENSOR,SPEED;MNFR:CATERPILLAR,PTNO:2016616,ADDITIONAL FEATURES EN:GROUP | https://parts.cat.com/en/catcorp/201-6616 |  | CATERPILLAR | 201-6616 | [8 empty] | 41111921 | Speed sensors |  |  |  | ENRICHED | SENSOR | SPEED | TYPE | HIGH OUTPUT | MEASURING RANGE |  | ACCURACY |  | POWER SUPPLY |  | CONNECTION TYPE | 2-PIN | FREQUENCY RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE |  | SIZE | LG 65.3 MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1047667_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 2644297 | 3000003 | CATERPILLAR | SENSOR,TEMP;CAT,2644297 | SENSOR,TEMPERATURE;MNFR:CATERPILLAR,PTNO:2644297 | https://parts.cat.com/en/catcorp/264-4297 |  | CATERPILLAR | 264-4297 | [8 empty] | 41111970 | Temperature sensor |  |  |  | ENRICHED | SENSOR | TEMPERATURE | TYPE | LOW | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE | 2-PIN | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE | LG 46.3 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1047675_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 2016617 | 3000003 | CATERPILLAR | SENSOR,SPD;CAT,2016617,GP | SENSOR,SPEED;MNFR:CATERPILLAR,PTNO:2016617,ADDITIONAL FEATURES EN:GROUP | https://parts.cat.com/en/catcorp/201-6617 |  | CATERPILLAR | 201-6617 | [8 empty] | 41111921 | Speed sensors |  |  |  | ENRICHED | SENSOR | SPEED | TYPE | HEAVY DUTY | MEASURING RANGE |  | ACCURACY |  | POWER SUPPLY |  | CONNECTION TYPE | 2-PIN | FREQUENCY RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE |  | SIZE | LG 65.3 MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1047676_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2566453 | 3000003 | CATERPILLAR | SENSOR,TEMP;CAT,2566453 | SENSOR,TEMPERATURE;MNFR:CATERPILLAR,PTNO:2566453 | https://parts.cat.com/en/catcorp/256-6453 |  | CATERPILLAR | 256-6453 | [8 empty] | 41111970 | Temperature sensor |  |  |  | ENRICHED | SENSOR | TEMPERATURE | TYPE | LOW | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE | 2-PIN | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE | LG 46 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1047678_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 1918303 | 3000003 | CATERPILLAR | SENSOR,SPD;CAT,1918303,GP | SENSOR,SPEED;MNFR:CATERPILLAR,PTNO:1918303,ADDITIONAL FEATURES EN:GROUP | https://parts.cat.com/en/catcorp/191-8303 |  | CATERPILLAR | 191-8303 | [8 empty] | 41111921 | Speed sensors |  |  |  | ENRICHED | SENSOR | SPEED | TYPE | HEAVY DUTY | MEASURING RANGE |  | ACCURACY |  | POWER SUPPLY |  | CONNECTION TYPE | 2-PIN | FREQUENCY RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE |  | SIZE | LG 68.6 MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1047716_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2843757 | 3000003 | CATERPILLAR | LIGHT;CAT,2843757,STRB,BACN | LIGHT;MNFR:CATERPILLAR,PTNO:2843757,ADDITIONAL FEATURES EN:STROBE,BEACON | https://parts.cat.com/en/catcorp/284-3757 |  | CATERPILLAR | 284-3757 | [8 empty] | 39110000 | Lighting Fixtures and Accessories |  |  |  | ENRICHED | LIGHT | NO MODIFIER | TYPE | STROBE,BEACON | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR | AMBER | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE | 3-BOLT | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1048021_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 9X2045 | 3000003 | CATERPILLAR | SCREW;CAT,9X2045,TRUSS HD M6 X 1 X 20 MM | SCREW;MNFR:CATERPILLAR,PTNO:9X2045,ADDITIONAL FEATURES EN:TRUSS HEAD M6 X 1 X 20 MM | https://parts.cat.com/en/catcorp/9X-2045 |  | CATERPILLAR | 9X-2045 | [8 empty] | 31161504 | Machine screws |  |  |  | ENRICHED | SCREW | MACHINE | TYPE | TRUSS HEAD | THREAD DIAMETER | M6 | THREAD TYPE |  | THREAD PITCH | 1 MM | OVERALL LENGTH | 20 MM | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION | GR 10.9 | COATING/FINISH | ZINC FLAKE | DRIVE TYPE |  | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1048197_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 9S4181 | 3000003 | CATERPILLAR | PLUG;CAT,9S4181 | PLUG;MNFR:CATERPILLAR,PTNO:9S4181 | https://parts.cat.com/en/catcorp/9S-4181 |  | CATERPILLAR | 9S-4181 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | PLUG | NO MODIFIER | TYPE |  | SIZE | DIA 1-15/16 X LG 1-45/64 IN | END CONNECTION |  | MATERIAL | PLATED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
1048257_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 3B8489 | 3000003 | CATERPILLAR | FITTING,GRS;CAT,3B8489,1/8 IN,RECTA | FITTING,GREASE;MNFR:CATERPILLAR,PTNO:3B8489,ADDITIONAL FEATURES EN:1/8 IN,RECTA | https://parts.cat.com/en/catcorp/3B-8489 |  | CATERPILLAR | 3B-8489 | [8 empty] | 40141736 | Grease fitting |  |  |  | ENRICHED | FITTING | GREASE | TYPE | ADAPTER | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL | PLATED STEEL | ANGLE |  | LENGTH | 17.78 MM | HEX SIZE |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1/8 IN,RECTA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1048292_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 9S4191 | 3000003 | CATERPILLAR | PLUG;CAT,9S4191 | PLUG;MNFR:CATERPILLAR,PTNO:9S4191 | https://parts.cat.com/en/catcorp/9S-4191 |  | CATERPILLAR | 9S-4191 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | PLUG | NO MODIFIER | TYPE |  | SIZE | DIA 9/16 X LG 61/64 IN | END CONNECTION |  | MATERIAL | PLATED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
1048329_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 4W2042 | 3000003 | CATERPILLAR | SPACER;CAT,4W2042 | SPACER;MNFR:CATERPILLAR,PTNO:4W2042 | https://parts.cat.com/en/catcorp/4W-2042 |  | CATERPILLAR | 4W-2042 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SPACER | NO MODIFIER | TYPE |  | SIZE | ID 35.3 X OD 45.5 X THK 38.3 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1048466_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1250966 | 3000003 | CATERPILLAR | PLUG;CAT,1250966 | PLUG;MNFR:CATERPILLAR,PTNO:1250966 | https://parts.cat.com/en/catcorp/125-0966 |  | CATERPILLAR | 125-0966 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | PLUG | NO MODIFIER | TYPE |  | SIZE | ID 27/32 X LG 1-27/64 IN | END CONNECTION |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
1049035_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 8C3205 | 3000003 | CATERPILLAR | FLANGE;CAT,8C3205,HLF | FLANGE;MNFR:CATERPILLAR,PTNO:8C3205,ADDITIONAL FEATURES EN:HALF | https://parts.cat.com/en/catcorp/8C-3205 |  | CATERPILLAR | 8C-3205 | [8 empty] | 40170000 | Pipe piping and pipe fittings |  |  |  | ENRICHED | FLANGE | NO MODIFIER | TYPE | SPLIT | NOMINAL SIZE |  | OUTSIDE DIAMETER |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HALF | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1049036_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 8C3206 | 3000003 | CATERPILLAR | FLANGE;CAT,8C3206,HLF,TYP 1 | FLANGE;MNFR:CATERPILLAR,PTNO:8C3206,ADDITIONAL FEATURES EN:HALF,TYPE 1 | https://parts.cat.com/en/catcorp/8C-3206 |  | CATERPILLAR | 8C-3206 | [8 empty] | 40170000 | Pipe piping and pipe fittings |  |  |  | CLEANSED | FLANGE | NO MODIFIER | TYPE | HALF | NOMINAL SIZE |  | OUTSIDE DIAMETER |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE 1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1053929_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 1083612 | 3000003 | CATERPILLAR | SPACER;CAT,1083612,11.13 X 19.05 X 53 MM | SPACER;MNFR:CATERPILLAR,PTNO:1083612,ADDITIONAL FEATURES EN:11.13 X 19.05 X 53 MM | https://parts.cat.com/en/catcorp/108-3612 |  | CATERPILLAR | 108-3612 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SPACER | NO MODIFIER | TYPE |  | SIZE | ID 11.13 X OD 19.05 X LG 53 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1053930_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1149223 | 3000003 | CATERPILLAR | SPACER;CAT,1149223 | SPACER;MNFR:CATERPILLAR,PTNO:1149223 | https://parts.cat.com/en/catcorp/114-9223 |  | CATERPILLAR | 114-9223 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SPACER | NO MODIFIER | TYPE |  | SIZE | ID 11.13 X OD 19.05 X LG 19 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1054820_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 6B2882 | 3000003 | CATERPILLAR | SPACER;CAT,6B2882,13/32 X 3/4 X 5/16 IN | SPACER;MNFR:CATERPILLAR,PTNO:6B2882,ADDITIONAL FEATURES EN:13/32 X 3/4 X 5/16 IN | https://parts.cat.com/en/catcorp/6B-2882 |  | CATERPILLAR | 6B-2882 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SPACER | NO MODIFIER | TYPE |  | SIZE | ID 13/32 X OD 3/4 X LG 5/16 IN | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1054861_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 3E8020 | 3000003 | CATERPILLAR | SCREW;CAT,3E8020,TRUSS HD M6 X 1 X 25 MM | SCREW;MNFR:CATERPILLAR,PTNO:3E8020,ADDITIONAL FEATURES EN:TRUSS HEAD M6 X 1 X 25 MM | https://parts.cat.com/en/catcorp/3E-8020 |  | CATERPILLAR | 3E-8020 | [8 empty] | 31161504 | Machine screws |  |  |  | ENRICHED | SCREW | MACHINE | TYPE | TRUSS HEAD | THREAD DIAMETER | M6 | THREAD TYPE |  | THREAD PITCH | 1 MM | OVERALL LENGTH | 25 MM | THREAD LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1055079_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 9S4693 | 3000003 | CATERPILLAR | BREAKER;CAT,9S4693,ALTNTR | BREAKER;MNFR:CATERPILLAR,PTNO:9S4693,ADDITIONAL FEATURES EN:ALTERNATOR | https://parts.cat.com/en/catcorp/9S-4693 |  | CATERPILLAR | 9S4693 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | MANUAL RESET | CURRENT RATING | 80 A | VOLTAGE RATING | 120 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1055237_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 8M3837 | 3000003 | CATERPILLAR | PLUG;CAT,8M3837,MGNTC | PLUG;MNFR:CATERPILLAR,PTNO:8M3837,ADDITIONAL FEATURES EN:MAGNETIC | https://parts.cat.com/en/catcorp/8M-3837 |  | CATERPILLAR | 8M-3837 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | PLUG | NO MODIFIER | TYPE | MAGNETIC | SIZE | LG 1-1/2 X HT 1-13/64 IN | END CONNECTION |  | MATERIAL | PLATED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
1055284_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 5F0304 | 3000003 | CATERPILLAR | PLUG;CAT,5F0304 | PLUG;MNFR:CATERPILLAR,PTNO:5F0304 | https://parts.cat.com/en/catcorp/5F-0304 |  | CATERPILLAR | 5F-0304 | [8 empty] | 40141738 | Drain plugs |  |  |  | ENRICHED | PLUG | DRAIN | TYPE |  | NOMINAL SIZE |  | THREAD TYPE |  | LENGTH |  | MATERIAL | PLATED STEEL | PRESSURE CLASS/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
1059959_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2425206 | 3000003 | CATERPILLAR | SPACER;CAT,2425206 | SPACER;MNFR:CATERPILLAR,PTNO:2425206 | https://parts.cat.com/en/catcorp/242-5206 |  | CATERPILLAR | 242-5206 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SPACER | NO MODIFIER | TYPE |  | SIZE | ID 6.4 X OD 12.5 X THK 0.76 IN | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1059968_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 5C7423 | 3000003 | CATERPILLAR | SCREW;CAT,5C7423,M6 X 1 X 16 MM | SCREW;MNFR:CATERPILLAR,PTNO:5C7423,ADDITIONAL FEATURES EN:M6 X 1 X 16 MM | https://parts.cat.com/en/catcorp/5C-7423 |  | CATERPILLAR | 5C-7423 | [8 empty] | 31161504 | Machine screws |  |  |  | ENRICHED | SCREW | MACHINE | TYPE | METRIC | THREAD DIAMETER | M6 | THREAD TYPE | UNC | THREAD PITCH | 1 MM | OVERALL LENGTH | 16 MM | THREAD LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | DRIVE TYPE |  | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1059971_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1224026 | 3000003 | CATERPILLAR | SPACER;CAT,1224026 | SPACER;MNFR:CATERPILLAR,PTNO:1224026 | https://parts.cat.com/en/catcorp/122-4026 |  | CATERPILLAR | 122-4026 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SPACER | NO MODIFIER | TYPE |  | SIZE | ID 25 X OD 25 X THK 25 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1059982_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 8C5608 | 3000003 | CATERPILLAR | SPACER;CAT,8C5608 | SPACER;MNFR:CATERPILLAR,PTNO:8C5608 | https://parts.cat.com/en/catcorp/8C-5608 |  | CATERPILLAR | 8C-5608 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SPACER | NO MODIFIER | TYPE |  | SIZE | ID 6.5 X OD 9.5 X LG 25.4 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
50000443_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | EIMotorHydratech-108220 | Part number 108220-El motor, 3 phase, 400-690V | https://www.hydratech-industries.com/Files/Images/Hydratech/Specs-manuals/Wind/Service_2016_spares_low-res.pdf |  |  | 108220 | [8 empty] | 26100000 | Power sources |  |  |  | CLEANSED | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3 PHASE, 400-690V | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
50000461_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | GearpumpflangeHydratech179400 | Part number 179400-Flange for gear pump | https://www.volza.com/p/generator-pump/cod-italy |  |  | 179400 | [8 empty] | 40170000 | Pipe piping and pipe fittings |  |  |  | CLEANSED | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | OUTSIDE DIAMETER |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000516_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | ModuleCounterBachmanCNT204/HB00010709-10 | ModuleCounterBachmanCNT204/HB00010709-10 | https://www.bachmann.info/en/products/cnt204h |  | BACHMAN | CNT204 | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | ENRICHED | MODULE | NO MODIFIER | TYPE | COUNTER | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING | -30 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, CULUS, CCC,IEC 60664-1 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
50000626_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Temperature Sensor T60 NRG | Temperature Sensor T60 NRG with calibration | https://www.nrgsystems.com/products/met-sensors/detail/nrg-t60-temperature-sensor/ |  | NRG | T60 | [8 empty] | 41111970 | Temperature sensor |  |  |  | ENRICHED | SENSOR | TEMPERATURE | TYPE |  | SENSING RANGE | -40 TO 70 DEG C | ACCURACY | +- 200 DEG C | CONNECTION TYPE |  | MATERIAL | ALUMINIUM,EPOXY FILLED | CABLE TYPE |  | MOUNTING TYPE | HOSE CLAMP | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000967_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Circuit Breaker 420kV 2000A, 50KA 1 sec | "420kV Circuit Breaker 2000A, 50KA for 1 sec. without closing resistor without CSD, interpole cable and support structure" | https://bhel.com/sites/default/files/Tech_spec_CB_Nabinagar.pdf | [11 empty] | 39121601 | Circuit breakers |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1185882_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | #N/A | XB4BVB4 | 1034747 | SCHNEIDER ELECTRIC | LIGHT,INDCTG;PLT,RED,24 V,MNTG DIA 22 X | LIGHT,INDICATING;TYPE:PILOT,LENS COLOUR:RED,VOLTAGE RATING:24 V,SIZE:MOUNTING DIA 22 X WD 30 X HT 47 X DP 54 MM,DEGREE OF PROTECTION:IP66/67/69/69K,NEMA13,NEMA 4X,CERTIFICATION/STANDARD:CSA,IEC/EN,JIS,UL,MNFR:SCHNEIDER ELECTRIC,PTNO:XB4BVB4 | https://www.se.com/in/en/product/XB4BVB4/pilot-light-metal-red-%C3%B822-plain-lens-with-integral-led-24-v-ac-dc/ |  | SCHNEIDER ELECTRIC | XB4BVB4 | [8 empty] | 39121534 | Indicator or pilot lights |  |  |  | ENRICHED | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 24 V | SIZE | DIA 22 X HT 47 X DP 54 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66/67/69/69K,NEMA13,NEMA 4X | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,IEC/EN,JIS,UL,EN/IEC 60947-5-5,EN/IEC 60947-5-4,JIS C8201-5-1,EN/IEC 60947-5-1,EN/IEC 60947-1,CSA C22.2 No 14,UL 508,JIS C8201-1 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
1187835_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | MNFR | COS22D-11V0/0 | 3000269 | ENDRESS & HAUSER | SENSOR;OXY,IP68,SS,1.4435 AISI 316L | SENSOR;TYPE:OXYGEN,ENCLOSURE:IP68,MATERIAL:STAINLESS STEEL,1.4435 AISI 316L,MNFR:ENDRESS & HAUSER,PTNO:COS22D-11V0/0 | https://pdf.cdn.endress.com/__pdf?url=https%3A%2F%2Fwww.in.endress.com%2Fen%2Fexternal%2Fproduct-html2pdf%2Foxygen-amperometric-sensor-cos22d&downloadName=Endress-Hauser_Oxymax_COS22D_EN.pdf |  | ENDRESS & HAUSER | COS22D-11V0/0 | [8 empty] | 41111924 | Oxygen sensors |  |  |  | ENRICHED | SENSOR | NO MODIFIER | TYPE | OXYGEN | SENSING RANGE | 0 TO 400 HPA | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE | IP68 | MATERIAL | STAINLESS STEEL,1.4435 AISI 316L | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1188223_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | #N/A | OPTIFLUX 4300 | 1032690 | KHRONE | SENSOR,FLW;ELECMAG,+-0.2%,DN80,180 DEG C | SENSOR,FLOW;TYPE:ELECTROMAGNETIC,ACCURACY:+-0.2%,PROCESS CONNECTION:DN80,TEMPERATURE RATING:180 DEG C,PRESSURE RATING:1500 BAR,MOUNTING TYPE:FLANGE,CERTIFICATION/STANDARD:ATEX,CSA,EAC,FM,IEC-EX,INMETRO,NEPSI,OIML R49,R117/MI-001 AND MI-005,MNFR:KHRONE,PTNO:OPTIFLUX 4300 | https://krohne.com/en/products/flow-measurement/flowmeters/electromagnetic-flowmeters/optiflux-4300 |  | KHRONE | OPTIFLUX 4300 | [8 empty] | 41111931 | Flow sensors |  |  |  | ENRICHED | SENSOR | FLOW | TYPE | ELECTROMAGNETIC | MEASURING RANGE |  | ACCURACY | +-0.2 PCT | OUTPUT TYPE |  | PROCESS CONNECTION |  | POWER SUPPLY |  | ENCLOSURE | DN80 | TEMPERATURE RATING | 180 DEG C | MATERIAL | ETHYLENE TETRAFLUOROETHYLENE (ETFE), HARD RUBBER, PERFLUOROALKOXY ALKANE (PFA), POLYTETRAFLUOROETHYLENE (PTFE), POLYURETANE | ELECTRICAL CONNECTION |  | PRESSURE RATING | 1500 BAR | MOUNTING TYPE | FLANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,EAC,FM,IEC-EX,INMETRO,NEPSI,OIML R49,R117/MI-001 AND MI-005 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1188306_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | CMCP420VT-01 |  |  | SENSOR,VIBRT;0-25.4 MM/SEC,SS316,STUD,WD | SENSOR,VIBRATION;SENSING RANGE:0-25.4 MM/SEC,MATERIAL:STAINLESS STEEL 316,MOUNTING TYPE:STUD,SIZE:WD 1-1/16 X HT 2-5/8 IN,ADDITIONAL FEATURES EN:RMS,MNFR:STI VIBRATION MONITORING INC,PTNO:CMCP420VT-01 | https://www.stiweb.com/v/vspfiles/downloadables/downloaddatasheets/CMCP420VT%20DS.pdf |  | STI VIBRATION MONITORING INC | CMCP420VT-01 | [8 empty] | 41116400 | Acceleration and vibration measuring instruments |  |  |  | CLEANSED | SENSOR | VIBRATION | TYPE |  | SENSING RANGE | 0-25.4 MM/SEC | ACCURACY |  | SENSING ELEMENT |  | OUTPUT TYPE |  | CONNECTION TYPE |  | SENSITIVITY |  | MATERIAL | STAINLESS STEEL 316 | MOUNTING TYPE | STUD | SIZE | WD 1-1/16 X HT 2-5/8 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RMS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1188499_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | MNFR | CLS50D | 3000269 | ENDRESS & HAUSER | SENSOR,COND;ENDRESS | SENSOR,CONDUCTIVITY;ADDITIONAL FEATURES EN:ENDRESS,MNFR:ENDRESS & HAUSER,PTNO:CLS50D | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-sensor-cls50d?t.tabId=product-overview |  | ENDRESS & HAUSER | CLS50D | [8 empty] | 41115610 | Conductivity cells |  |  |  | ENRICHED | SENSOR | CONDUCTIVITY | TYPE | DIGITAL | SENSING RANGE | 2 US/CM TO 2000 MS/CM | CELL CONSTANT |  | SENSOR TYPE |  | CONNECTION TYPE |  | CABLE LENGTH |  | MATERIAL | PEEK OR PFA | MOUNTING TYPE |  | SIZE | ID 1-7/8 X OD 19/32 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX, IECEX, NEPSI, FM, CSA, TIIS, EAC | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1189665_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | 7X2553 |  |  | SCREW,CAP;CAT,1519382,HEX HD,M16 X 2 X | SCREW,CAP;MNFR:CATERPILLAR,PTNO:1519382,ADDITIONAL FEATURES EN:HEX HEAD,M16 X 2 X 40 MM | https://parts.cat.com/en/catcorp/7X-2553 |  | CATERPILLAR | 7X-2553 | [8 empty] | 31161501 | Cap screws |  |  |  | ENRICHED | SCREW | CAP | TYPE | HEX HEAD | THREAD DIAMETER | M16 | THREAD PITCH | 2 MM | THREAD TYPE | UNC | OVERALL LENGTH | 40 MM | THREAD LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION | GR 10.9 | COATING/FINISH | ZINC FLAKE | DRIVE TYPE |  | HEAD SIZE | WD 15/16 X HT 25/64 IN | TENSILE STRENGTH | 1040 MPA | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 898 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1191139_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | 2517-60 |  |  | FLANGE;FLEX CONCTN OPTIPLEX CM5 CPLG | FLANGE;ADDITIONAL FEATURES EN:FLEXIBLE CONNECTION OPTIPLEX CM5 COUPLING,FENAFLEX F90H MK3 FENA,MNFR:FENNER,PTNO:2517-60 | https://shop.eriks.nl/en/mechanical-power-transmission-shaft-fixings-conical-clamping-bushes-taper-bush-taper-lock-bushes-metric-bore/taper-lock-bush-metric-bore-2517-60-11422683/ |  | FENNER | 2517-60 | [13 empty] | ENRICHED | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE | 60 MM | OUTSIDE DIAMETER | 85.5 MM | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLEXIBLE CONNECTION OPTIPLEX CM5 COUPLING,FENAFLEX F90H MK3 FENA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1191664_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | HYD-GE8LR1/8 |  |  | FITTING;COMPRSN,STRGT,M STUD,THD CTNG | FITTING;TYPE:COMPRESSION,STRAIGHT,END CONNECTION:MALE STUD,ADDITIONAL FEATURES EN:THREADED CUTTING RING,PTNO:HYD-GE8LR1/8 | https://hydonline.co.za/product/8mm-x-1-8-male-stud-coupling/ |  |  | HYD-GE8LR1/8 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | CLEANSED | FITTING | NO MODIFIER | TYPE | COMPRESSION,STRAIGHT | SIZE |  | END CONNECTION | MALE STUD | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | THREADED CUTTING RING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
1191894_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | OEM | 3SB3248-6BA3 | 3000032 | SIEMENS | LIGHT;SIE,3SB3248-6BA3,LED,YEL 110V | LIGHT;MNFR:SIEMENS,PTNO:3SB3248-6BA3,ADDITIONAL FEATURES EN:LED,YELLOW 110V | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SB32486BA30 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SB3248-6BA30%26language%3Den | SIEMENS | 3SB3248-6BA3 | [8 empty] | 39121534 | Indicator or pilot lights |  |  |  | ENRICHED | LIGHT | INDICATING | TYPE | LED | LAMP WATTAGE |  | LENS COLOUR | YELLOW | VOLTAGE RATING | 110 V | SIZE | DIA 22 X HT 11 X DP 49 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 81346-2 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
1192149_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | MT31.XX1VDMXX |  |  | SENSOR;RADIATION BASD,FOR DENS MSRMNT | SENSOR;TYPE:RADIATION BASED,ADDITIONAL FEATURES EN:FOR DENSITY MEASUREMENT,MINITRAC 31,MNFR:VEGA,PTNO:MT31.XX1VDMXX | https://www.vega.com/en-in/products/product-catalog/switching/radiation-based/minitrac-31 |  | VEGA | MT31.XX1VDMXX | [8 empty] | 41111900 | Indicating and recording instruments |  |  |  | ENRICHED | SENSOR | NO MODIFIER | TYPE | RADIATION BASED | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL | ALUMINIUM,STAINLESS STEEL | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,FM,EAC (GOST),EAC,IEC,NEPSI,INMETRO | ADDITIONAL FEATURES EN | FOR DENSITY MEASUREMENT,MINITRAC 31 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1192487_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | #N/A | A9V41263 | 1034747 | SCHNEIDER ELECTRIC | BREAKER,CIRCT;63 A,30 MA AC,230-415 V,2 | BREAKER,CIRCUIT;CURRENT RATING:63 A,30 MA AC,VOLTAGE RATING:230-415 V,NUMBER OF POLES:2,OVERALL SIZE:WD 72 X HT 91 X DP 73.5 MM,ADDITIONAL FEATURES EN:EARTH LEAKAGE,VIGI IC60,TYPE AC,MNFR:SCHNEIDER ELECTRIC,PTNO:A9V41263 | https://www.se.com/uk/en/product/A9V41263/vigi-ic60-earth-leakage-addon-block-2p-63a-30ma-ac-type/ | https://www.se.com/uk/en/product/download-pdf/A9V41263 | SCHNEIDER ELECTRIC | A9V41263 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 63 A,30 MA | VOLTAGE RATING | 230-415 V | FRAME RATING |  | INTERRUPT RATING | 6 KV | NUMBER OF POLES | 2 | OVERALL SIZE | DP 73.5 X HT 91 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61009-1,IEC 61009-1 | ADDITIONAL FEATURES EN | EARTH LEAKAGE,VIGI IC60,TYPE AC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1192923_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | OEM | 1SDA059671R1/1SDA073920R1 | 3000014 | ABB | BREAKER,CIRCT;ABB | BREAKER,CIRCUIT;MNFR:ABB,PTNO:1SDA059671R1/1SDA073920R1,MNFR 1:PPE TECHNOLOGY,PTNO 1:1SDA059671R1/1SDA073920R1,ADDITIONAL FEATURES EN:AIR,CRADLE E6 | https://new.abb.com/products/1SDA073920R1/e6-2-w-fp-iu-6300-or-x-version-3p-hr-hr |  | ABB | 1SDA059671R1/1SDA073920R1 | PPE TECHNOLOGY | 1SDA059671R1/1SDA073920R1 | [6 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE | DP 383 X HT 425 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-2 | ADDITIONAL FEATURES EN | AIR,CRADLE E6 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1193483_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | 7X0347 |  |  | SCREW,MACH;CAT,3733039,CAT,4026688,HEX | SCREW,MACHINE;MNFR:CATERPILLAR,PTNO:3733039,MNFR 1:CATERPILLAR,PTNO 1:4026688,ADDITIONAL FEATURES EN:HEX HEAD | https://parts.cat.com/en/catcorp/7X-0347 |  | CATERPILLAR | 7X-0347 | CATERPILLAR | 402-6688 | [6 empty] | 31161504 | Machine screws |  |  |  | ENRICHED | SCREW | MACHINE | TYPE | HEX HEAD | THREAD DIAMETER | 5/8 IN | THREAD TYPE | UNC | THREAD PITCH | 11 TPI | OVERALL LENGTH | 2-1/4 IN | THREAD LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION | GR 8 | COATING/FINISH | ZINC PLATED | DRIVE TYPE |  | HEAD SIZE | WD 15/16 X HT 31/64 IN | TENSILE STRENGTH | 150 KSI | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J429 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1197186_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | OEM | 3VL2705-3DC3 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3VL2705-3DC3,VL160L | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3VL2705-3DC3,ADDITIONAL FEATURES EN:VL160L 3-0AA0,ICU 100 KA,415 VAC,3 POLE,IN 50 A,IR 40 TO 50 A,II 300 TO 600 A,HIGH SWITCHING CAPACITY LINE PROTECTION | https://mall.industry.siemens.com/mall/en/pt/Catalog/Product/3VL2705-3DC33-0AA0 | https://mall.industry.siemens.com/mall/en/pt/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VL2705-3DC33-0AA0%26language%3Den | SIEMENS | 3VL2705-3DC33-0AA0 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 50 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 150 KA AT 240 V | NUMBER OF POLES | 3 | OVERALL SIZE | DP 106.5 X HT 174.5 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VL160L 3-0AA0,HIGH SWITCHING CAPACITY LINE PROTECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1197541_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | 86.30.0.024 |  |  | MODULE;TMR,GEBE,86.30.0.024 | MODULE;TYPE:TIMER,ADDITIONAL FEATURES EN:GEBE,PTNO:86.30.0.024 | https://in.element14.com/finder/86-30-0-024-0000/timer-multifunction/dp/1329733?CMP=KNC-GIN-GEN-DSA-PDP-PAGE_TOP-CITY-TEST&mckv=sO0YKTZUh_dc¦pcrid¦590172263420¦pkw¦¦pmt¦¦slid¦¦product¦¦pgrid¦131884804221¦ptaid¦dsa-906758374001¦&gclid=CjwKCAjw6MKXBhA5EiwANWLODN2ztqv1hVZ8c6ne0lqR_c6JeSJyVy3lKOm6J8MPFvN8J7ygwjsi8xoCpdAQAvD_BwE |  | FINDER | 86.30.0.024 | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | CLEANSED | MODULE | NO MODIFIER | TYPE | TIMER | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GEBE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
1197749_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | #N/A | XB4BVB5 | 1034747 | SCHNEIDER ELECTRIC | LIGHT,INDCTG;PLT,ORNG,24 V,MNTG DIA 22 X | LIGHT,INDICATING;TYPE:PILOT,LENS COLOUR:ORANGE,VOLTAGE RATING:24 V,SIZE:MOUNTING DIA 22 X WD 30 X HT 47 X DP 54 MM,DEGREE OF PROTECTION:IP66/67/69/69K,NEMA13,NEMA 4X,CERTIFICATION/STANDARD:CSA,IEC/EN,JIS,UL,MNFR:SCHNEIDER ELECTRIC,PTNO:XB4BVB5 | https://www.se.com/ww/en/product/XB4BVB5/harmony-xb4-pilot-light-metal-orange-%C3%B822-plain-lens-with-integral-led-24-v-ac-dc/ |  | SCHNEIDER ELECTRIC | XB4BVB5 | [8 empty] | 39121534 | Indicator or pilot lights |  |  |  | ENRICHED | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | ORANGE | VOLTAGE RATING | 24 V | SIZE | DIA 22 X HT 47 X DP 54 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66/67/69/69K,NEMA13,NEMA 4X | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,IEC/EN,JIS,UL,EN/IEC 60947-1,EN/IEC 60947-5-4,JIS C8201-5-1,CSA C22.2 No 14,EN/IEC 60947-5-1,UL 508,EN/IEC 60947-5-5,JIS C8201-1 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
1200779_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | OEM | 3VL5750-3DC36-0AA0 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3VL5750-3DC36-0AA0,SIE | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3VL5750-3DC36-0AA0,MNFR 1:SIEMENS,PTNO 1:3VL5750-3DC35-0AA0,ADDITIONAL FEATURES EN:VL250L,ICU 100 KA,415 VAC,3 POLE,IN 200 A,IR 200 TO 250 A,II 1200 TO 2500 A,HIGH SWITCHING CAPACITY LINE PROTECTION | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VL57503DC360AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VL5750-3DC36-0AA0%26language%3Den | SIEMENS | 3VL5750-3DC36-0AA0 | SIEMENS | 3VL5750-3DC35-0AA0 | [6 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 500 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 150 KA AT 240 V | NUMBER OF POLES | 3 | OVERALL SIZE | DP 138.5 X HT 279.5 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VL250L,ICU 100 KA,415 VAC,3 POLE,IN 200 A,IR 200 TO 250 A,II 1200 TO 2500 A,HIGH SWITCHING CAPACITY LINE PROTECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1201389_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | 8T4649 |  |  | SCREW,MACH;CAT,0013209,CAT,1521544,HEX | SCREW,MACHINE;MNFR:CATERPILLAR,PTNO:0013209,MNFR 1:CATERPILLAR,PTNO 1:1521544,ADDITIONAL FEATURES EN:HEX HEAD | https://parts.cat.com/en/catcorp/8T-4649 |  | CATERPILLAR | 8T-4649 | CATERPILLAR | 152-1544 | [6 empty] | 31161504 | Machine screws |  |  |  | ENRICHED | SCREW | MACHINE | TYPE | HEX HEAD | THREAD DIAMETER | M24 | THREAD TYPE | UNC | THREAD PITCH | 3 MM | OVERALL LENGTH | 140 MM | THREAD LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION | GR 10.9 | COATING/FINISH | ZINC FLAKE | DRIVE TYPE |  | HEAD SIZE | WD 1-27/64 X HT 19/32 IN | TENSILE STRENGTH | 1040 MPA | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 898 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1202297_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | 86.00.0.240 |  |  | MODULE;TMR,LG 16.8 X HT 54 X DP 38 MM | MODULE;TYPE:TIMER,SIZE:LG 16.8 X HT 54 X DP 38 MM,MOUNTING TYPE:PLUG-IN,TEMPERATURE RATING:-20 TO 50 DEG C,CERTIFICATION/STANDARD:ROHS,ADDITIONAL FEATURES EN:RANGE 0.05 S-100H,GEBE,MNFR:FINDER,PTNO:86.00.0.240 | https://in.element14.com/finder/86-00-0-240-0000/timer-multifunction/dp/1169366 |  | FINDER | 86.00.0.240 | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | CLEANSED | MODULE | NO MODIFIER | TYPE | TIMER | SIZE | DP 38 X HT 54 MM | MATERIAL |  | MOUNTING TYPE | PLUG-IN | TEMPERATURE RATING | -20 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES EN | RANGE 0.05 S-100H,GEBE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
1202955_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | #N/A | A9S60363 | 1034747 | SCHNEIDER ELECTRIC | BREAKER,CIRCT;SWTCH,DCONCTR,63 A,415 VAC | BREAKER,CIRCUIT;TYPE:SWITCH,DISCONNECTOR,CURRENT RATING:63 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:6 KV,NUMBER OF POLES:3,OVERALL SIZE:WD 36 X HT 77 X DP 70 MM,TERMINAL TYPE:TUNNEL,MOUNTING TYPE:DIN RAIL,ADDITIONAL FEATURES EN:ISW,GEB ELECTRIC,MNFR:SCHNEIDER ELECTRIC,PTNO:A9S60363 | https://www.se.com/ww/en/product/A9S60363/switch-acti9-isw-3-poles-63a-415v/ | https://www.se.com/ww/en/product/download-pdf/A9S60363 | SCHNEIDER ELECTRIC | A9S60363 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | SWITCH,DISCONNECTOR | CURRENT RATING | 63 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 6 KV | NUMBER OF POLES | 3 | OVERALL SIZE | DP 70 X HT 77 MM | TRIP SETTING |  | TERMINAL TYPE | TUNNEL | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-3 | ADDITIONAL FEATURES EN | ISW,GEB ELECTRIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1206278_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | OEM | 191075 | 3000002 | BELL | LIGHT;BEL,191075,STRB | LIGHT;MNFR:BELL,PTNO:191075,ADDITIONAL FEATURES EN:STROBE | https://www.lloydfedders.com/parts-stores/843 |  | BELL | 191075 | [8 empty] | 39110000 | Lighting Fixtures and Accessories |  |  |  | CLEANSED | LIGHT | NO MODIFIER | TYPE | STROBE | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1207908_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | O5P202 |  |  | SENSOR,PHOTOELC;RECTRO-REFLCTV,7 M,3 | SENSOR,PHOTOELECTRIC;TYPE:RECTRO-REFLECTIVE,SENSING RANGE:7 M,CONNECTION TYPE:3 WIRE,DC,PNP,ADDITIONAL FEATURES EN:RECTANGULAR PLASTIC,PTNO:O5P202 | https://www.ifm.com/in/en/product/O5P202 |  | IFM EFECTOR CANADA INC. | O5P202 | [8 empty] | 39121528 | Photoelectric sensors |  |  |  | ENRICHED | SENSOR | PHOTOELECTRIC | TYPE | RECTRO-REFLECTIVE | SENSING RANGE | 7 M | ELECTRICAL RATING |  | SENSING TARGET |  | RESPONSE TIME |  | CONNECTION TYPE | 3 WIRE,DC,PNP | LIGHT SOURCE |  | DEGREE OF PROTECTION |  | CABLE LENGTH |  | TEMPERATURE RATING |  | MATERIAL | PA,STAINLESS STEEL,TPE | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-2 | ADDITIONAL FEATURES EN | RECTANGULAR PLASTIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
1208576_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | MNFR | CPF81D-7-LH11 | 3000269 | ENDRESS & HAUSER | SENSOR,PH;CAPTURE DIGITAL,0-14 PH | SENSOR,PH;TYPE:CAPTURE DIGITAL,SENSING RANGE:0-14 PH,CONNECTION TYPE:3/4 IN NPT X MEMOSENS PLUG,MATERIAL:POLYPHENYLENE SULFIDE, ADDITIONAL FEATURES EN:0 - 110 DEG C,1,- 10 BAR,IP68,MNFR:ENDRESS & HAUSER,PTNO:CPF81D-7-LH11 | https://portal.endress.com/wa001/dla/5000557/6431/000/06/TI00191CEN_1520.pdf |  | ENDRESS & HAUSER | CPF81D-7-LH11 | [8 empty] | 41115610 | Conductivity cells |  |  |  | ENRICHED | SENSOR | PH | TYPE | CAPTURE DIGITAL | SENSING RANGE | 0-14 PH | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE | 3/4 IN NPT X MEMOSENS PLUG | POWER SUPPLY |  | MATERIAL | POLYPHENYLENE SULFIDE | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 0 - 110 DEG C,1,- 10 BAR,IP68 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1209065_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | #N/A | IIT225 | 1009884 | IFM EFECTOR CANADA INC. | SENSOR,MOTN;INDTVE,10 MM,10-36 VDC,M30 X | SENSOR,MOTION;TYPE:INDUCTIVE,SENSING RANGE:10 MM,ELECTRICAL RATING:10-36 VDC,CONNECTION TYPE:M30 X 1.5 MM PITCH,ENCLOSURE:IP68,MATERIAL:STAINLESS STEEL 1.4404/316L,MOUNTING TYPE:FLUSH,ADDITIONAL FEATURES EN:PNP/NPN,NO,MNFR:IFM EFECTOR INC.,PTNO:IIT225 | https://www.ifm.com/in/en/product/IIT225 |  | IFM EFECTOR CANADA INC. | IIT225 | [8 empty] | 46171608 | Motion detectors |  |  |  | ENRICHED | SENSOR | MOTION | TYPE | INDUCTIVE | SENSING RANGE | 10 MM | ELECTRICAL RATING | 10-36 VDC | VIEWING ANGLE |  | ACCURACY | 1 TO 20 PCT | CONNECTION TYPE | M30 X 1.5 MM PITCH | ENCLOSURE | IP68 | TEMPERATURE RATING |  | MATERIAL | STAINLESS STEEL 1.4404/316L | MOUNTING TYPE | FLUSH | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61000-4-2,EN 61000-4-3,EN 61000-4-4,EN 61000-4-5,EN 61000-4-6,EN 55011 | ADDITIONAL FEATURES EN | PNP/NPN,NO | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1210104_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | MNFR | FMR56-13Q6/0 FMR56-AABLCABNUAE | 3000269 | ENDRESS & HAUSER | SENSOR,LVL;FREE SPACE RADAR,WALL BRACKET | SENSOR,LEVEL;TYPE:FREE SPACE RADAR,SIZE:CABLE LG 20 M,MOUNTING TYPE:WALL BRACKET,CERTIFICATION/STANDARD:ATEX,CSA,FM,IECEX, ADDITIONAL FEATURES EN:MICROPILOT COMPLETE,WITH REMOTE DISPLAY,FHX50-1098/0-FHX50-AACDDA,AND M,TRANSMITTER END,MNFR:ENDRESS & HAUSER,PTNO:FMR56-13Q6/0 FMR56-AABLCABNUAE | https://portal.endress.com/wa001/dla/5000573/9416/000/03/TI01042FEN_0414.pdf |  | ENDRESS & HAUSER | FMR56-13Q6/0 FMR56-AABLCABNUAE | [8 empty] | 41111938 | Level sensors or transmitters |  |  |  | CLEANSED | SENSOR | LEVEL | TYPE | FREE SPACE RADAR | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | PRESSURE RATING |  | SIZE | CABLE LG 20 M | MOUNTING TYPE | WALL BRACKET | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,FM,IECEX | ADDITIONAL FEATURES EN | MICROPILOT COMPLETE,WITH REMOTE DISPLAY,FHX50-1098/0-FHX50-AACDDA,AND M,TRANSMITTER END | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1215654_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | MWS-DP-24VDC |  |  | SENSOR,FLW;SOLID,1.5 M,24 VDC,IP65,-20 | SENSOR,FLOW;TYPE:SOLID,MEASURING RANGE:1.5 M,POWER SUPPLY:24 VDC,ENCLOSURE:IP65,TEMPERATURE RATING:-20 TO 55 DEG C,MATERIAL:DIE-CAST ALUMINUM,PRESSURE RATING:0.5 MPA,MOUNTING TYPE:FLUSH,MNFR:WADECO,PTNO:MWS-DP-24VDC | https://wadeco.co.jp/htdocs/en/home/products/solids_flow_sensor_dp3_24v/ | https://wadeco.co.jp/htdocs/en/pdfs/dp3-24v_e_1212.pdf | WADECO | MWS-DP-24VDC | [8 empty] | 41111931 | Flow sensors |  |  |  | CLEANSED | SENSOR | FLOW | TYPE | SOLID | MEASURING RANGE | 1.5 M | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | POWER SUPPLY | 24 VDC | ENCLOSURE | IP65 | TEMPERATURE RATING | -20 TO 55 DEG C | MATERIAL | DIE-CAST ALUMINUM | ELECTRICAL CONNECTION |  | PRESSURE RATING | 0.5 MPA | MOUNTING TYPE | FLUSH | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1217350_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | #N/A | OT5013 | 1009884 | IFM EFECTOR CANADA INC. | SENSOR;RETRO-REFLCTV,0.5-5 M,M12,10/50 | SENSOR;TYPE:RETRO-REFLECTIVE,SENSING RANGE:0.5-5 M,CONNECTION TYPE:M12,ELECTRICAL RATING:10/50 VDC,40 MA,ENCLOSURE:IP65,MATERIAL:PBT,CERTIFICATION/STANDARD:UL,CSA,EAC,CE,ADDITIONAL FEATURES EN:PLASTICS PRISMATIC REFLECTOR DIA 80 E20005,MNFR:IFM EFECTOR INC.,PTNO:OT5013 | https://www.ifm.com/in/en/product/OT5013 |  | IFM EFECTOR CANADA INC. | OT5013 | [8 empty] | 41111900 | Indicating and recording instruments |  |  |  | ENRICHED | SENSOR | NO MODIFIER | TYPE | RETRO-REFLECTIVE | SENSING RANGE | 0.5-5 M | CONNECTION TYPE | M12 | ELECTRICAL RATING | 10/50 VDC,40 MA | ENCLOSURE | IP65 | MATERIAL | PBT | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,EAC,CE, EN 60947-5-2 | ADDITIONAL FEATURES EN | PLASTICS PRISMATIC REFLECTOR DIA 80 E20005 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1218348_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 |  | 92031 |  |  | LIGHT,FLOD;LED,85 W,9-36 V,WHT,ALUMINUM | LIGHT,FLOOD;TYPE:LED,LAMP WATTAGE:85 W,VOLTAGE RATING:9-36 V,LIGHT COLOUR:WHITE,HOUSING MATERIAL:ALUMINUM,LAMP LIFE:50000 HR,SIZE:WD 20-3/4 X HT 1-5/8 X DP 3 IN,ADDITIONAL FEATURES EN:4.8 A,6400 LUMENS,SR-SERIES,20IN,BAR SPOT COMBO,MNFR:RIGID INDUSTRIES,PTNO:92031 | https://www.rigidindustries.com/sr-series-20-spot-flood-combo-e-mark-compliant-92031em.html |  | RIGID INDUSTRIES | 92031 | [8 empty] | 39111611 | Flood light |  |  |  | CLEANSED | LIGHT | FLOOD | TYPE | LED | LAMP WATTAGE | 85 W | VOLTAGE RATING | 9-36 V | LIGHT COLOUR | WHITE | HOUSING MATERIAL | ALUMINIUM | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE | 50000 HR | INTENSITY |  | SIZE | HT 1-5/8 X DP 3 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4.8 A,6400 LUMENS,SR-SERIES,20IN,BAR SPOT COMBO | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1221878_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | #N/A | XB4BVB3 | 1034747 | SCHNEIDER ELECTRIC | LIGHT,INDCTG;PLT,GRN,24VAC/DC,DIA 22 | LIGHT,INDICATING;TYPE:PILOT,LENS COLOUR:GREEN,VOLTAGE RATING:24 VAC/DC,SIZE:DIA 22 X WD 30 X HT 47 X DP 54 MM, DEGREE OF PROTECTION:IP66/67/69/69K,NEMA13,NEMA 4X,CERTIFICATION/STANDARD:CSA,IEC/EN,JIS,UL, ADDITIONAL FEATURES:MNFR:SCHNEIDER ELECTRIC,PTNO:XB4BVB3 | https://www.se.com/ww/en/product/XB4BVB3/harmony-xb4-pilot-light-metal-green-%C3%B822-plain-lens-with-integral-led-24-v-ac-dc/ |  | SCHNEIDER ELECTRIC | XB4BVB3 | [8 empty] | 39121534 | Indicator or pilot lights |  |  |  | ENRICHED | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 24 VAC/VDC | SIZE | DIA 22 X HT 47 X DP 54 MM | LAMP BASE | INTEGRAL LED | DEGREE OF PROTECTION | IP66/67/69/69K,NEMA13,NEMA 4X | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,IEC/EN,JIS,UL,EN/IEC 60947-1,EN/IEC 60947-5-4,JIS C8201-5-1,CSA C22.2 No 14,EN/IEC 60947-5-1,UL 508,EN/IEC 60947-5-5,JIS C8201-1 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
1232986_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KELVDBC | 0580 | OEM | 7KM9300-0AB01-0AA0 | 3000032 | SIEMENS | MODULE;SIE,7KM9300-0AB01-0AA0,SIE | MODULE;MNFR:SIEMENS,PTNO:7KM9300-0AB01-0AA0,MNFR 1:SIEMENS,PTNO 1:ZA100001812,ADDITIONAL FEATURES EN:EXPANSION |  |  | SIEMENS | 7KM9300-0AB01-0AA0 | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | CLEANSED | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
1244259_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KDELBVC | 0580 | MNFR | CLA140-2A2B210 | 3000269 | ENDRESS & HAUSER | SENSOR,COND;BSPP,PVDF,1000 MM DP,DIPFIT | SENSOR,CONDUCTIVITY;CONNECTION TYPE:BSPP,MATERIAL:PVDF,SIZE:1000 MM DP,ADDITIONAL FEATURES EN:DIPFIT,MNFR:ENDRESS & HAUSER,PTNO: CLA140-2A2B210 | https://pdf.cdn.endress.com/__pdf?url=https%3A%2F%2Fwww.in.endress.com%2Fen%2Fexternal%2Fproduct-html2pdf%2Fconductivity-immersion-assembly-cla140&downloadName=Endress-Hauser_Dipfit_P_CLA140_EN.pdf |  | ENDRESS & HAUSER | CLA140-2A2B210 | [8 empty] | 41115610 | Conductivity cells |  |  |  | CLEANSED | SENSOR | CONDUCTIVITY | TYPE |  | SENSING RANGE |  | CELL CONSTANT |  | SENSOR TYPE |  | CONNECTION TYPE | BSPP | CABLE LENGTH |  | MATERIAL | PVDF | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIPFIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1288492_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KDELBVC | 0580 | OEM | 6ES7215-1HG40-0XB0 | 3000032 | SIEMENS | MODULE;SIE,6ES7215-1HG40-0XB0,CPU,1215C | MODULE;MNFR:SIEMENS,PTNO:6ES7215-1HG40-0XB0,ADDITIONAL FEATURES EN:CPU,1215C |  |  | SIEMENS | 6ES7215-1HG40-0XB0 | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | CLEANSED | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CPU,1215C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
1288683_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KDELBVC | 0580 | OEM | 6VA2123-2GB03-0AX0 | 3000032 | SIEMENS | MODULE;SIE,6VA2123-2GB03-0AX0,PLC | MODULE;MNFR:SIEMENS,PTNO:6VA2123-2GB03-0AX0,ADDITIONAL FEATURES EN:PLC,HMI-KTP700 BASIC | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6AV2123-2GB03-0AX0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6AV2123-2GB03-0AX0%26language%3Den | SIEMENS | 6AV2123-2GB03-0AX0 | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | CLEANSED | MODULE | NO MODIFIER | TYPE |  | SIZE | DP 39 MM | MATERIAL | PLASTIC | MOUNTING TYPE |  | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLC,HMI-KTP700 BASIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
1295811_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-08 |  | No |  |  | KDELBCV | 0580 | OEM | 6SE6440-2UE215CA1 | 3000032 | SIEMENS | MODULE,ELECTR;SIE,6SE6440-2UE215CA1 | MODULE,ELECTRONIC;MNFR:SIEMENS,PTNO:6SE6440-2UE215CA1,ADDITIONAL FEATURES EN:MICROMASTER 440 2.2KW WITHOUT FILTER 3AC 500 600V +10 TORQUE POWER 1.5 KW | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/6SE64402UE215CA1 |  | SIEMENS | 6SE6440-2UE215CA1 | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | CLEANSED | MODULE | ELECTRONIC | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MICROMASTER 440 2.2KW WITHOUT FILTER 3AC 500 600V +10 TORQUE POWER 1.5 KW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed