## Sheet1
Material | Activities | Project Code | Production User | Production Comments | Start Date | End Date | Remarks | Common | Clt | X-Plant Status | Maint Status | Plant | OEM/MNFR | Manufacturer Part No. | Manufacturer | Name | Short | PO Text | Reference URL | Reference URL1 | Manufacturer 1 | MPN 1 | Manufacturer 2 | MPN 2 | Manufacturer 3 | MPN 3 | Manufacturer 4 | MPN 4 | Manufacturer 5 | MPN 5 | UNSPSC | UNSPSC Description | OEM/MNFR/NON-MNFR | Short Description | Long Description | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Status
1041487_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 3VA9267-OFK21 | 3000032 | SIEMENS | HANDLE;SIE,3VA9267-OFK21,3VA92 RTRY DR | HANDLE;MNFR:SIEMENS,PTNO:3VA9267-OFK21,ADDITIONAL FEATURES EN:3VA92 ROTARY DOOR MOUNTED 3VA92 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VA9267-0FK21 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VA9267-0FK21%26language%3Den | SIEMENS | 3VA9267-0FK21 | [8 empty] | 27112100 | Holding and clamping tools |  |  |  | ENRICHED | HANDLE | NO MODIFIER | TYPE | DOOR | SIZE | WD 105 X HT 82 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1041989_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 |  | 23.1-26 |  |  | TIRE;23.1-26 | TIRE;PTNO:23.1-26 | https://yokohama-oht.com/india/product-detail/?product=348&size=23.1-26&category=3?nr=true |  |  | 23.1-26 | [8 empty] | 25172500 | Tires and tire tubes |  |  |  | ENRICHED | TIRE | NO MODIFIER | TYPE |  | SIZE | OD 1580 MM | MATERIAL |  | LOAD CAPACITY |  | NUMBER OF PLYS |  | TREAD TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
1042048_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 15,5-25 | 3000005 | JCB | TIRE;JCB,15,5-25 | TIRE;MNFR:JCB,PTNO:15,5-25 | https://allegro.pl/kategoria/opony-do-maszyn-budowlanych-257704?string=15.5-25%2015%2C5-25%2015.5R25%20OPONA |  | JCB | 15,5-25 | [8 empty] | 25172500 | Tires and tire tubes |  |  |  | CLEANSED | TIRE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | LOAD CAPACITY |  | NUMBER OF PLYS |  | TREAD TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
1043101_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 9001660 | 3000026 | DEMAG | PLC;DEM,9001660,SIE,6ED1052-1F800-0BA6AC | PLC;MNFR:DEMAG,PTNO:9001660,MNFR 1:SIEMENS,PTNO 1:6ED1052-1F800-0BA6AC,ADDITIONAL FEATURES EN:LOGO | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ED1052-1FB00-0BA6 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6ED1052-1FB00-0BA6%26language%3Den | DEMAG | 9001660 | SIEMENS | 6ED1052-1FB00-0BA6 | [6 empty] | 32151700 | Programmable Logic Controllers |  |  |  | ENRICHED | PLC | NO MODIFIER | TYPE | LOGO | MODULE TYPE |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING |  | NUMBER OF INPUTS | 8 | NUMBER OF OUTPUTS | 4 | MEMORY |  | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1043599_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 70597633 | 3000026 | DEMAG | ROLLER;DEM,70597633,SUPPRTG DR10 | ROLLER;MNFR:DEMAG,PTNO:70597633,ADDITIONAL FEATURES EN:SUPPORTING DR10 | https://www.impexron.co.uk/P_N_70597633-England_Sales_Price-Demag-2491649-5509 |  | DEMAG | 70597633 | [8 empty] | 31162700 | Rolling hardware |  |  |  | CLEANSED | ROLLER | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUPPORTING DR10 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
1044715_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | #N/A | R928028409 | 1034514 | REXROTH | INDICATOR,CLOGNG;REXR,R928028409 | INDICATOR,CLOGGING;MNFR:REXROTH,PTNO:R928028409 | https://www.hydrotech.com/shop/product/802122-r928028409 |  | REXROTH | R928028409 | [8 empty] | 41111900 | Indicating and recording instruments |  |  |  | CLEANSED | INDICATOR | CLOGGING | TYPE |  | VACUUM RANGE |  | PRESSURE RATING |  | CONNECTION TYPE |  | MATERIAL |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
1047698_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 9W3324 | 3000003 | CATERPILLAR | LAMP;CAT,9W3324,HALGN,H4,12 V,55/60 W | LAMP;MNFR:CATERPILLAR,PTNO:9W3324,ADDITIONAL FEATURES EN:HALOGEN,H4,12 V,55/60 W | https://parts.cat.com/en/catcorp/9W-3324 |  | CATERPILLAR | 9W-3324 | [8 empty] | 39101612 | Incandescent lamps |  |  |  | ENRICHED | LAMP | INCANDESCENT | TYPE | HALOGEN,H4 | WATTAGE | 55-60 W | VOLTAGE RATING | 12 V | SHAPE DESIGNATION |  | BASE TYPE |  | COLOUR |  | LAMP LIFE |  | SIZE |  | INTENSITY |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1047701_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 9W3326 | 3000003 | CATERPILLAR | LAMP;CAT,9W3326,12 V,21 W | LAMP;MNFR:CATERPILLAR,PTNO:9W3326,ADDITIONAL FEATURES EN:12 V,21 W | https://parts.cat.com/en/catcorp/9W-3326 |  | CATERPILLAR | 9W-3326 | [8 empty] | 39101622 | Miniature lamp |  |  |  | ENRICHED | LAMP | MINIATURE | TYPE |  | WATTAGE | 21 W | VOLTAGE RATING | 12 V | BASE TYPE |  | SHAPE DESIGNATION |  | LAMP LIFE |  | FILAMENT DESIGNATION |  | INTENSITY |  | SIZE | DIA 1 IN | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1047704_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 3091325 | 3000003 | CATERPILLAR | LAMP;CAT,3091325,BACN,GP | LAMP;MNFR:CATERPILLAR,PTNO:3091325,ADDITIONAL FEATURES EN:BEACON,GROUP | https://parts.cat.com/en/catcorp/309-1325 |  | CATERPILLAR | 309-1325 | [8 empty] | 39101600 | Lamps and lightbulbs |  |  |  | ENRICHED | LAMP | NO MODIFIER | TYPE | ROTATING BEACON | WATTAGE |  | VOLTAGE RATING | 12 V | SHAPE DESIGNATION |  | BASE TYPE |  | LAMP LIFE |  | COLOUR | AMBER | SIZE | DIA 153 X HT 179 MM | INTENSITY |  | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1047707_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2096638 | 3000003 | CATERPILLAR | LAMP;CAT,2096638,FLOD LGHT | LAMP;MNFR:CATERPILLAR,PTNO:2096638,ADDITIONAL FEATURES EN:FLOOD LIGHT | https://parts.cat.com/en/catcorp/209-6638 |  | CATERPILLAR | 209-6638 | [8 empty] | 39101617 | High pressure sodium lamp HID |  |  |  | ENRICHED | LAMP | HID | TYPE |  | WATTAGE | 35 W | VOLTAGE RATING | 12/24 V | BASE TYPE |  | OPERATING POSITION |  | SHAPE DESIGNATION |  | LAMP LIFE |  | COLOUR |  | SIZE | HT 79.5 MM | INTENSITY |  | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLOOD LIGHT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
1047708_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 9X3465 | 3000003 | CATERPILLAR | LAMP;CAT,9X3465,24 V,75/70 W,H4 | LAMP;MNFR:CATERPILLAR,PTNO:9X3465,ADDITIONAL FEATURES EN:24 V,75/70 W,H4 | https://parts.cat.com/en/catcorp/9X-3465 |  | CATERPILLAR | 9X-3465 | [8 empty] | 39101612 | Incandescent lamps |  |  |  | ENRICHED | LAMP | INCANDESCENT | TYPE | HALOGEN,H4 | WATTAGE | 75-70 W | VOLTAGE RATING | 24 V | SHAPE DESIGNATION |  | BASE TYPE |  | COLOUR |  | LAMP LIFE |  | SIZE |  | INTENSITY |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1047709_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 8U2622 | 3000003 | CATERPILLAR | LAMP;CAT,8U2622,CAT,9X4493 | LAMP;MNFR:CATERPILLAR,PTNO:8U2622,MNFR 1:CATERPILLAR,PTNO 1:9X4493 | https://parts.cat.com/en/catcorp/9X-4493 |  | CATERPILLAR | 8U-2622 | CATERPILLAR | 9X-4493 | [6 empty] | 39101622 | Miniature lamp |  |  |  | ENRICHED | LAMP | MINIATURE | TYPE | HALOGEN | WATTAGE |  | VOLTAGE RATING | 24 V | BASE TYPE |  | SHAPE DESIGNATION |  | LAMP LIFE |  | FILAMENT DESIGNATION |  | INTENSITY |  | SIZE | DIA 1-3/64 X LG 2-1/16 IN | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1047753_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 9W9953 | 3000003 | CATERPILLAR | SLEEVE;CAT,9W9953 | SLEEVE;MNFR:CATERPILLAR,PTNO:9W9953 | https://parts.cat.com/en/catcorp/9W-9953 |  | CATERPILLAR | 9W-9953 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SLEEVE | NO MODIFIER | TYPE |  | SIZE | ID 21/32 X OD 1-17/64 X LG 2-7/16 IN | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1047757_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2G3219 | 3000003 | CATERPILLAR | SHIM;CAT,2G3219,0.8 MM | SHIM;MNFR:CATERPILLAR,PTNO:2G3219,ADDITIONAL FEATURES EN:0.8 MM | https://parts.cat.com/en/catcorp/2G-3219 |  | CATERPILLAR | 2G-3219 | [8 empty] | 31162815 | Shim |  |  |  | CLEANSED | SHIM | NO MODIFIER | TYPE |  | SIZE | THK 0.8 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1047758_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2G3221 | 3000003 | CATERPILLAR | SHIM;CAT,2G3221,1.6 MM | SHIM;MNFR:CATERPILLAR,PTNO:2G3221,ADDITIONAL FEATURES EN:1.6 MM | https://parts.cat.com/en/catcorp/2G-3221 |  | CATERPILLAR | 2G-3221 | [8 empty] | 31162815 | Shim |  |  |  | CLEANSED | SHIM | NO MODIFIER | TYPE |  | SIZE | THK 1.6 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1047762_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1781686 | 3000003 | CATERPILLAR | SHIM;CAT,1781686,0.8 MM | SHIM;MNFR:CATERPILLAR,PTNO:1781686,ADDITIONAL FEATURES EN:0.8 MM | https://parts.cat.com/en/catcorp/178-1686 |  | CATERPILLAR | 178-1686 | [8 empty] | 31162815 | Shim |  |  |  | ENRICHED | SHIM | NO MODIFIER | TYPE |  | SIZE | WD 38.1 X LG 290 X THK 0.8 MM | MATERIAL | SHIM STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1047763_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 1781688 | 3000003 | CATERPILLAR | SHIM;CAT,1781688,1.8 MM | SHIM;MNFR:CATERPILLAR,PTNO:1781688,ADDITIONAL FEATURES EN:1.8 MM | https://parts.cat.com/en/catcorp/178-1688 |  | CATERPILLAR | 178-1688 | [8 empty] | 31162815 | Shim |  |  |  | ENRICHED | SHIM | NO MODIFIER | TYPE |  | SIZE | WD 38.1 X LG 290 X THK 1.8 MM | MATERIAL | SHIM STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1047764_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 1788455 | 3000003 | CATERPILLAR | SHIM;CAT,1788455,0.4 MM | SHIM;MNFR:CATERPILLAR,PTNO:1788455,ADDITIONAL FEATURES EN:0.4 MM | https://parts.cat.com/en/catcorp/178-8455 |  | CATERPILLAR | 178-8455 | [8 empty] | 31162815 | Shim |  |  |  | ENRICHED | SHIM | NO MODIFIER | TYPE |  | SIZE | WD 38.1 X LG 290 X THK 0.4 MM | MATERIAL | SHIM STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1047799_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 |  | 5226273 |  |  | BIT,END;CAT,9W6199,R.H | BIT,END;MNFR:CATERPILLAR,PTNO:9W6199,ADDITIONAL FEATURES EN:RIGHT HAND | https://parts.cat.com/en/catcorp/522-6273 |  | CATERPILLAR | 522-6273 | [8 empty] | 27112800 | Tool attachments and accessories |  |  |  | ENRICHED | BIT | END | TYPE | GENERAL DUTY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RIGHT HAND | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1047800_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 |  | 5226272 |  |  | BIT,END;CAT,9W6198,L.H | BIT,END;MNFR:CATERPILLAR,PTNO:9W6198,ADDITIONAL FEATURES EN:LEFT HAND | https://parts.cat.com/en/catcorp/522-6272 |  | CATERPILLAR | 522-6272 | [8 empty] | 27112800 | Tool attachments and accessories |  |  |  | ENRICHED | BIT | END | TYPE | GENERAL DUTY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LEFT HAND | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1047812_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1590269 | 3000003 | CATERPILLAR | SHIM;CAT,1590269,2 MM | SHIM;MNFR:CATERPILLAR,PTNO:1590269,ADDITIONAL FEATURES EN:2 MM | https://parts.cat.com/en/catcorp/159-0269 |  | CATERPILLAR | 159-0269 | [8 empty] | 31162815 | Shim |  |  |  | ENRICHED | SHIM | NO MODIFIER | TYPE |  | SIZE | ID 92 X OD 161 X THK 2 MM | MATERIAL | CARBON STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1047895_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 8E5529 | 3000003 | CATERPILLAR | BIT,END;CAT,8E5529 | BIT,END;MNFR:CATERPILLAR,PTNO:8E5529 | https://parts.cat.com/en/catcorp/8E-5529 |  | CATERPILLAR | 8E-5529 | [8 empty] | 27112800 | Tool attachments and accessories |  |  |  | ENRICHED | BIT | END | TYPE | MOLDBOARD | SIZE | WD 152.40 X LG 447.04 X HT 71.12 MM | MATERIAL | HARDENED DH-2 STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1048035_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 7D7233 | 3000003 | CATERPILLAR | CLIP;CAT,7D7233 | CLIP;MNFR:CATERPILLAR,PTNO:7D7233 | https://parts.cat.com/en/catcorp/7D-7233 |  | CATERPILLAR | 7D-7233 | [8 empty] | 31163200 | Retaining hardware |  |  |  | ENRICHED | CLIP | NO MODIFIER | TYPE | LOOP | SIZE | WD 22 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1048190_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2443106 | 3000003 | CATERPILLAR | XMITTER,TEMP;CAT,2443106,ASSY | TRANSMITTER,TEMPERATURE;MNFR:CATERPILLAR,PTNO:2443106,ADDITIONAL FEATURES EN:ASSEMBLY | https://parts.cat.com/en/catcorp/244-3106 |  | CATERPILLAR | 244-3106 | [8 empty] | 41112105 | Temperature transmitters |  |  |  | ENRICHED | TRANSMITTER | TEMPERATURE | TYPE | ASSEMBLY | MEASURING RANGE |  | ACCURACY |  | INPUT TYPE |  | OUTPUT TYPE |  | CONNECTION TYPE | 2-PIN DT | MATERIAL |  | SUPPLY VOLTAGE |  | SIZE | LG 134.64 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1048195_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1058704 | 3000003 | CATERPILLAR | SUPPORT;CAT,1058704,TRUN | SUPPORT;MNFR:CATERPILLAR,PTNO:1058704,ADDITIONAL FEATURES EN:TRUNNION | https://parts.cat.com/en/catcorp/105-8704 |  | CATERPILLAR | 105-8704 | [8 empty] | 23153000 | Holding and positioning and guiding systems and devices |  |  |  | ENRICHED | SUPPORT | NO MODIFIER | TYPE | TRUNNION | SIZE | WD 5-61/64 X LG 32-7/8 X HT 11-13/16 IN | MATERIAL | CAST IRON | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
1048198_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 1058753 | 3000003 | CATERPILLAR | BEARING,THRST;CAT,1058753 | BEARING,THRUST;MNFR:CATERPILLAR,PTNO:1058753 | https://parts.cat.com/en/catcorp/105-8753 |  | CATERPILLAR | 105-8753 | [8 empty] | 31171552 | Thrust ball bearing |  |  |  | ENRICHED | BEARING | THRUST | ROLLING ELEMENT |  | INSIDE DIAMETER | 270 MM | OUTSIDE DIAMETER |  | WIDTH | 35 MM | MATERIAL | NYLON PLASTIC | MATERIAL SPECIFICATION |  | CONFIGURATION |  | CAGE MATERIAL |  | IBI |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1048237_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1261768 | 3000003 | CATERPILLAR | SOCKET;CAT,1261768,DEUT,FEM | SOCKET;MNFR:CATERPILLAR,PTNO:1261768,MNFR 1:DEUTZ,ADDITIONAL FEATURES EN:FEMALE | https://parts.cat.com/en/catcorp/126-1768 |  | CATERPILLAR | 126-1768 | DEUTZ | [7 empty] | 39121400 | Electrical lugs plugs and connectors |  |  |  | ENRICHED | SOCKET | ELECTRICAL | TYPE |  | CONFIGURATION |  | NUMBER OF POLES |  | VOLTAGE RATING |  | CURRENT RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | DIA 9/94 X LG 51/64 IN | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FEMALE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1048314_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 7F9579 | 3000003 | CATERPILLAR | SOCKET;CAT,7F9579 | SOCKET;MNFR:CATERPILLAR,PTNO:7F9579 | https://parts.cat.com/en/catcorp/7F-9579 |  | CATERPILLAR | 7F-9579 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | SOCKET | NO MODIFIER | TYPE | ADJUSTING SCREW | SIZE | OD 17.8 X LG 27.9 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1048378_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 7Y7830 | 3000003 | CATERPILLAR | SHIM;CAT,7Y7830 | SHIM;MNFR:CATERPILLAR,PTNO:7Y7830 | https://parts.cat.com/en/catcorp/7Y-7830 |  | CATERPILLAR | 7Y-7830 | [8 empty] | 31162815 | Shim |  |  |  | ENRICHED | SHIM | NO MODIFIER | TYPE |  | SIZE | ID 191 X OD 270 X THK 1 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1048422_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 8K0066 | 3000003 | CATERPILLAR | SHIM;CAT,8K0066,THK 7/64 IN | SHIM;MNFR:CATERPILLAR,PTNO:8K0066,ADDITIONAL FEATURES EN:THK 7/64 IN | https://parts.cat.com/en/catcorp/8K-0066 |  | CATERPILLAR | 8K-0066 | [8 empty] | 31162815 | Shim |  |  |  | ENRICHED | SHIM | NO MODIFIER | TYPE |  | SIZE | ID 101.6 X OD 152.4 X THK 2.84 MM | MATERIAL | SHIM STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1054871_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 3345409 | 3000003 | CATERPILLAR | LAMP;CAT,3345409,SGNL,GP | LAMP;MNFR:CATERPILLAR,PTNO:3345409,ADDITIONAL FEATURES EN:SIGNAL,GROUP | https://parts.cat.com/en/catcorp/334-5409 |  | CATERPILLAR | 334-5409 | [8 empty] | 39101628 | Light emitting diode LED lamp |  |  |  | ENRICHED | LAMP | LED | TYPE | SIGNAL | WATTAGE |  | VOLTAGE RATING | 24 V | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR | AMBER | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
1054900_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1S0994 | 3000003 | CATERPILLAR | CLIP;CAT,1S0994 | CLIP;MNFR:CATERPILLAR,PTNO:1S0994 | https://parts.cat.com/en/catcorp/1S-0994 |  | CATERPILLAR | 1S-0994 | [8 empty] | 31163200 | Retaining hardware |  |  |  | ENRICHED | CLIP | NO MODIFIER | TYPE | LOOP | SIZE | WD 19 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1054907_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 5P7465 | 3000003 | CATERPILLAR | CLIP;CAT,5P7465 | CLIP;MNFR:CATERPILLAR,PTNO:5P7465 | https://parts.cat.com/en/catcorp/5P-7465 |  | CATERPILLAR | 5P-7465 | [8 empty] | 31163200 | Retaining hardware |  |  |  | ENRICHED | CLIP | NO MODIFIER | TYPE | LADDER | SIZE | WD 38 X THK 4 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1055155_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 3479427 | 3000003 | CATERPILLAR | LAMP;CAT,3479427,FLOD,GP | LAMP;MNFR:CATERPILLAR,PTNO:3479427,ADDITIONAL FEATURES EN:FLOOD,GROUP | https://parts.cat.com/en/catcorp/347-9427 |  | CATERPILLAR | 347-9427 | [8 empty] | 39101617 | High pressure sodium lamp HID |  |  |  | ENRICHED | LAMP | HID | TYPE | FLOOD | WATTAGE |  | VOLTAGE RATING | 24 V | BASE TYPE |  | OPERATING POSITION |  | SHAPE DESIGNATION |  | LAMP LIFE |  | COLOUR |  | SIZE | WD 5-1/2 X HT 5-1/2 IN | INTENSITY |  | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
1055156_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1003245 | 3000003 | CATERPILLAR | LAMP;CAT,1003245,24 V | LAMP;MNFR:CATERPILLAR,PTNO:1003245,ADDITIONAL FEATURES EN:24 V | https://parts.cat.com/en/catcorp/100-3245 |  | CATERPILLAR | 100-3245 | [8 empty] | 39101612 | Incandescent lamps |  |  |  | ENRICHED | LAMP | INCANDESCENT | TYPE | HALOGEN | WATTAGE |  | VOLTAGE RATING | 24 V | SHAPE DESIGNATION |  | BASE TYPE |  | COLOUR |  | LAMP LIFE |  | SIZE | DIA 11/32 X LG 29/32 IN | INTENSITY |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1055586_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 1857221 | 3000003 | CATERPILLAR | SLEEVE;CAT,1857221 | SLEEVE;MNFR:CATERPILLAR,PTNO:1857221 | https://parts.cat.com/en/catcorp/185-7221 |  | CATERPILLAR | 185-7221 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SLEEVE | NO MODIFIER | TYPE | STRAIGHT | SIZE | ID 89 X OD 112 X LG 68 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1055779_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 8E5530 | 3000003 | CATERPILLAR | BIT;CAT,8E5530 | BIT;MNFR:CATERPILLAR,PTNO:8E5530 | https://parts.cat.com/en/catcorp/8E-5530 |  | CATERPILLAR | 8E-5530 | [8 empty] | 27112800 | Tool attachments and accessories |  |  |  | ENRICHED | BIT | END | TYPE | MOLDBOARD | SIZE | WD 152.40 X LG 449.58 X HT 68.58 MM | MATERIAL | HARDENED DH-2 STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1057634_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 9W6582 | 3000003 | CATERPILLAR | SLEEVE;CAT,9W6582 | SLEEVE;MNFR:CATERPILLAR,PTNO:9W6582 | https://parts.cat.com/en/catcorp/9W-6582 |  | CATERPILLAR | 9W-6582 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SLEEVE | NO MODIFIER | TYPE |  | SIZE | ID 21.5 X OD 39.5 X LG 74 MM | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1059399_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 4017700 | 3000003 | CATERPILLAR | SLEEVE;CAT,4017700,CAT,5351641,BUSHG | SLEEVE;MNFR:CATERPILLAR,PTNO:4017700,MNFR 1:CATERPILLAR,PTNO 1:5351641,ADDITIONAL FEATURES EN:BUSHING | https://parts.cat.com/en/catcorp/535-1641 |  | CATERPILLAR | 401-7700 | CATERPILLAR | 535-1641 | [6 empty] | 31162800 | Miscellaneous hardware |  |  |  | CLEANSED | SLEEVE | NO MODIFIER | TYPE | BUSHING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1059967_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 2509312 | 3000003 | CATERPILLAR | CLIP;CAT,2509312 | CLIP;MNFR:CATERPILLAR,PTNO:2509312 | https://parts.cat.com/en/catcorp/250-9312 |  | CATERPILLAR | 250-9312 | [8 empty] | 31163200 | Retaining hardware |  |  |  | ENRICHED | CLIP | TUBING | TYPE | THREADED | TUBING SIZE |  | MATERIAL |  | SIZE | WD 12.7 X LG 24.3 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
1059974_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 5P4325 | 3000003 | CATERPILLAR | CLIP;CAT,5P4325 | CLIP;MNFR:CATERPILLAR,PTNO:5P4325 | https://parts.cat.com/en/catcorp/5P-4325 |  | CATERPILLAR | 5P-4325 | [8 empty] | 31163200 | Retaining hardware |  |  |  | ENRICHED | CLIP | NO MODIFIER | TYPE | LOOP | SIZE | ID 54 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1060018_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBCQ | 0370 ¦ 0580 | OEM | 9W7385 | 3000003 | CATERPILLAR | SLEEVE;CAT,9W7385 | SLEEVE;MNFR:CATERPILLAR,PTNO:9W7385 | https://parts.cat.com/en/catcorp/9W-7385 |  | CATERPILLAR | 9W-7385 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SLEEVE | NO MODIFIER | TYPE |  | SIZE | ID 26.8 X OD 48 X LG 86 MM | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1060066_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 3639109 | 3000003 | CATERPILLAR | SLEEVE,PROTEC;CAT,3639109 | SLEEVE,PROTECTIVE;MNFR:CATERPILLAR,PTNO:3639109 | https://parts.cat.com/en/catcorp/363-9109 |  | CATERPILLAR | 363-9109 | [8 empty] | 46181516 | Safety sleeves |  |  |  | ENRICHED | SLEEVE | PROTECTIVE | TYPE | COMPRESSION | SIZE DESIGNATION |  | LENGTH | 86.4 MM | MATERIAL | PLASTIC | MATERIAL SPECIFICATION |  | COLOUR | WHITE | CUT RESISTANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
1061073_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 7T4145 | 3000003 | CATERPILLAR | SLEEVE;CAT,7T4145 | SLEEVE;MNFR:CATERPILLAR,PTNO:7T4145 | https://parts.cat.com/en/catcorp/7T-4145 |  | CATERPILLAR | 7T-4145 | [8 empty] | 31162800 | Miscellaneous hardware |  |  |  | ENRICHED | SLEEVE | NO MODIFIER | TYPE | STRAIGHT | SIZE | ID 222 X OD 250 X LG 92 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1061375_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | Yes |  |  | KELVDBC | 0370 ¦ 0580 | OEM | 3313490 | 3000003 | CATERPILLAR | SLEEVE;CAT,3313490 | SLEEVE;MNFR:CATERPILLAR,PTNO:3313490 | https://parts.cat.com/en/catcorp/331-3490 |  | CATERPILLAR | 331-3490 | [8 empty] | 46181516 | Safety sleeves |  |  |  | ENRICHED | SLEEVE | PROTECTIVE | TYPE |  | SIZE DESIGNATION |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COLOUR |  | CUT RESISTANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
50000707_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | GROOVEDBALLBEARING-FAG6026-2RSR | Pitch console bearing 6026 make FAG | https://www.nodeshk.com/fag/ball-bearings/deep-groove-ball-bearings/60/6026-2rsr.html | https://www.bearingsrus.co.uk/6026-fag |  | FAG 6026-2RSR | [8 empty] | 31171504 | Ball bearings |  |  |  | ENRICHED | BEARING | BALL | TYPE | GROOVE | INSIDE DIAMETER | 130 MM | OUTSIDE DIAMETER | 200 MM | OVERALL WIDTH | 33 MM | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING | 113 KN | STATIC LOAD RATING | 101 KN | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
50000708_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | GROOVEDBALLBEARING-FAG6028-2RSR | Pitch console bearing 6028 make for ReGen fleet | https://shop.mmfe.at/en/6028-2rsr-fag-deep-groove-ball-bearings-io-140-mm-oo-210-mm-width-33-mm-10103480-60282rsr-fag6028-6028fag-ean-4012802113709.html | https://www.skf.com/sg/products/rolling-bearings/ball-bearings/deep-groove-ball-bearings/productid-6028 |  | FAG6028-2RSR | [8 empty] | 31171504 | Ball bearings |  |  |  | ENRICHED | BEARING | BALL | TYPE | GROOVE | INSIDE DIAMETER | 140 MM | OUTSIDE DIAMETER | 210 MM | OVERALL WIDTH | 33 MM | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS | 1 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 111 KN | STATIC LOAD RATING | 108 KN | SPEED RATING | 6700 RPM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1194051_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | #N/A | PYF08A-E | 1033878 | OMRON | SOCKET,RELY;8,250 VAC,10 A,SCRW,DIN RL | SOCKET,RELAY;NUMBER OF PINS:8,VOLTAGE RATING:250 VAC,CURRENT RATING:10 A,TERMINAL TYPE:SCREW,MOUNTING TYPE:DIN RAIL,SIZE:WD 31 X LG 76 X HT 23 MM,CERTIFICATION/STANDARD:CSA,ROHS,UL,ADDITIONAL FEATURES EN:2 POLE,BASE LATHAM FILTER-PRESS BASERELAI,MNFR:OMRON,PTNO:PYF08A-E | https://www.mouser.in/ProductDetail/Omron-Automation-and-Safety/PYF08A-E?qs=kyocjfxn8IoGvGUbZXOYaA%3D%3D |  | OMRON | PYF08A-E | [8 empty] | 39122335 | Relay socket or base |  |  |  | CLEANSED | SOCKET | RELAY | TYPE |  | NUMBER OF PINS | 8 | VOLTAGE RATING | 250 VAC | CURRENT RATING | 10 A | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | SIZE | WD 31 X LG 76 X HT 23 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,ROHS,UL | ADDITIONAL FEATURES EN | 2 POLE,BASE LATHAM FILTER-PRESS BASERELAI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1195512_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 |  | 7003885 |  |  | BIT,DRIL;DIA 18 MM,LG 111.5 MM,DIA 25 X | BIT,DRILL;DIAMETER:18 MM,LENGTH:111.5 MM,SHANK SIZE:DIA 25 X LG 56 MM,MATERIAL:CARBIDE,FLUTE LENGTH:55.5 MM,ADDITIONAL FEATURES EN:K DCN 18-21.99,MNFR:ISCAR,PTNO:7003885 | https://www.iscar.com/eCatalog/item.aspx?cat=3201737&fnum=3117&mapp=IT&app=28&GFSTYP=I |  | ISCAR | 700-3885 | [8 empty] | 20121600 | Drilling bits |  |  |  | CLEANSED | BIT | DRILL | TYPE |  | DIAMETER | 18 MM | LENGTH | 111.5 MM | NUMBER OF FLUTES |  | SHANK TYPE |  | SHANK SIZE | DIA 25 X LG 56 MM | MATERIAL | CARBIDE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | POINT ANGLE |  | FLUTE TYPE |  | FLUTE LENGTH | 55.5 MM | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | K DCN 18-21.99 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
1196125_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 |  | GW62037H |  |  | SOCKET,ELEC;2 P,220 V,32 A,STRGT,HALGN | SOCKET,ELECTRICAL;NUMBER OF POLES:2,VOLTAGE RATING:220 V,CURRENT RATING:32 A,CONNECTION TYPE:STRAIGHT,MATERIAL:HALOGEN FREE,COLOUR:BLUE,CERTIFICATION/STANDARD:CE,IEC 309,ADDITIONAL FEATURES EN:CEE TYPE IP67,MNFR:GEWIS,PTNO:GW62037H | https://www.gewiss.com/ww/en/products/experience-catalogue/catalogs/series/product/building/iec-309-hp-range-plugs-and-socket-outlets-iec-309-standards/GW62037H |  | GEWIS | GW62037H | [8 empty] | 39121400 | Electrical lugs plugs and connectors |  |  |  | CLEANSED | SOCKET | ELECTRICAL | TYPE |  | CONFIGURATION |  | NUMBER OF POLES | 2 | VOLTAGE RATING | 220 V | CURRENT RATING | 32 A | CONNECTION TYPE | STRAIGHT | MOUNTING TYPE |  | SIZE |  | MATERIAL | HALOGEN FREE | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,IEC 309 | ADDITIONAL FEATURES EN | CEE TYPE IP67 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1198157_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 | CONFLICT IN SIZE PROCESSED BASED ON WEB SOURCE | No |  |  | KELVDBC | 0580 |  | 6163890 |  |  | SOCKET,WRNCH;IMPACT,DIA 17 X LG 80 MM | SOCKET,WRENCH;TYPE:IMPACT,SIZE:DIA 17 X LG 80 MM,DRIVE DETAILS:1/2 IN HEX,MATERIAL:STEEL,COATING/FINISH:MANGANESE PHOSPHATED,CERTIFICATION/STANDARD:DIN 3121-G 12.5,ISO 1174,ADDITIONAL FEATURES EN:K19L,W61,LONG PATTERN,MNFR:GEDORE,PTNO:6163890 | https://www.gedoretools.co.uk/product/gedore-6163890-k19l-17-mm-impact-socket-1-2-drive/ |  | GEDORE | 6163890 | [8 empty] | 27111704 | Sockets |  |  |  | ENRICHED | SOCKET | WRENCH | TYPE | IMPACT | SIZE | LG 80 MM | DRIVE DETAILS | 1/2 IN HEX | NUMBER OF POINTS |  | WIDTH ACROSS FLAT | 17 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | MANGANESE PHOSPHATED | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 3121-G 12.5,ISO 1174 | ADDITIONAL FEATURES EN | K19L,W61,LONG PATTERN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1199056_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 |  | 1707-0029-0146 |  |  | SHIM;75 X 75 X 21 X 2 MM,SS,SET 10 PER | SHIM;SIZE:75 X 75 X 21 X 2 MM,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:SET 10 PER BOX,METRIC,MNFR:JOHNCRANE,PTNO:1707-0029-0146 | https://www.kingcrabweb.com/ncm/72201290 |  | JOHNCRANE | 1707-0029-0146 | [8 empty] | 31162815 | Shim |  |  |  | CLEANSED | SHIM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET 10 PER BOX,METRIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1200061_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | MNFR | CM42-MAA000EAE00 | 3000269 | ENDRESS & HAUSER | XMITTER,COND;4-20 MA HART,PLSTC,CSA,GP | TRANSMITTER,CONDUCTIVITY;OUTPUT TYPE:4-20 MA HART,MATERIAL:PLASTIC,SIZE:WD 144 X HT 144 X DP 148 MM,CERTIFICATION/STANDARD:CSA,GP, ADDITIONAL FEATURES EN:LIQUID ANALYSIS,LIQUILINE,MNFR:ENDRESS & HAUSER,PTNO:CM42-MAA000EAE00 | https://pdf.cdn.endress.com/__pdf?url=https%3A%2F%2Fwww.endress.com%2Fen%2Fexternal%2Fproduct-html2pdf%2Fex-approved-transmitter-cm42&downloadName=Endress-Hauser_Liquiline_M_CM42_EN.pdf |  | ENDRESS & HAUSER | CM42-MAA000EAE00 | [8 empty] | 41115600 | Electrochemical measuring instruments and accessories |  |  |  | ENRICHED | TRANSMITTER | CONDUCTIVITY | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 4-20 MA HART | SUPPLY VOLTAGE |  | CELL CONSTANT |  | MOUNTING TYPE |  | MATERIAL | PLASTIC | CONNECTION TYPE |  | DISPLAY TYPE |  | SIZE | WD 144 X HT 144 MM | ENCLOSURE | IP66,IP67 | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX, IECEX, FM, CSA, NEPSI, EAC, UKE | ADDITIONAL FEATURES EN | LIQUID ANALYSIS,LIQUILINE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
1202561_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 |  | 1707-0036-0146 |  |  | SHIM;100 X 100 X 32 X 0.5 MM,SS,SET 10 | SHIM;SIZE:100 X 100 X 32 X 0.5 MM,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:SET 10 PER BOX,METRIC,MNFR:JOHNCRANE,PTNO:1707-0036-0146 | https://www.kingcrabweb.com/c4r3/webapi/ncm/72201290/eng |  | JOHNCRANE | 1707-0036-0146 | [8 empty] | 31162815 | Shim |  |  |  | CLEANSED | SHIM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET 10 PER BOX,METRIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1203685_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 3VL5763-3DC36-0AA0 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3VL5763-3DC36-0AA0 | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3VL5763-3DC36-0AA0,ADDITIONAL FEATURES EN:VL630L,ICU 100 KA,415 VAC,3 POLE,IN 630 A,IR 500 TO 630 A,II 3250 TO 6500 A,HIGH SWITCHING CAPACITY LINE PROTECTION | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VL5763-3DC36-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VL5763-3DC36-0AA0%26language%3Den | SIEMENS | 3VL5763-3DC36-0AA0 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 630 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 150 KA | NUMBER OF POLES | 3 | OVERALL SIZE | DP 138.5 X HT 279.5 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VL630L,ICU,II 3250 TO 6500 A,HIGH SWITCHING CAPACITY LINE PROTECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1204113_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | #N/A | 24231 | 1034747 | SCHNEIDER ELECTRIC | BREAKER,CIRCT;32 A,440 VAC,10 KA,4 P,WD | BREAKER,CIRCUIT;CURRENT RATING:32 A,VOLTAGE RATING:440 VAC,INTERRUPT RATING:10 KA,NUMBER OF POLES:4,OVERALL SIZE:WD 72 X HT 81 X DP 73 MM,MOUNTING TYPE:DIN RAIL,ADDITIONAL FEATURES EN:C60N,TELEMECHANIC,MNFR:SCHNEIDER ELECTRIC,PTNO:24231 | https://www.se.com/ie/en/product/24231/c60-circuit-breaker-c60n-4p-32a-c-curve/ | https://www.se.com/ie/en/product/download-pdf/24231 | SCHNEIDER ELECTRIC | 24231 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING | 440 VAC | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 4 | OVERALL SIZE | DP 73 X HT 81 MM | TRIP SETTING |  | TERMINAL TYPE | TUNNEL | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947,EN 60898 | ADDITIONAL FEATURES EN | C60N,TELEMECHANIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1204268_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 3VL4731-3DC3 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3VL4731-3DC3,VL 400L | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3VL4731-3DC3,ADDITIONAL FEATURES EN:VL 400L IN 315-IR 250A 6-OAAO | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VL47313DC360AA0 |  | SIEMENS | 3VL4731-3DC3 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 315 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 8 KA | NUMBER OF POLES | 3 | OVERALL SIZE | DP 163.5 X HT 279.5 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1205023_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 5SV44120 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,5SV44120,RESIDUAL CUR | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:5SV44120,ADDITIONAL FEATURES EN:RESIDUAL CURRENT OPERATED 2-POLE,TYPE AC,IN 25 A,100 MA,230 VAC | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/5SV4412-0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SV4412-0%26language%3Den | SIEMENS | 5SV4412-0 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | RESIDUAL CURRENT,TYPE A | CURRENT RATING | 25 A | VOLTAGE RATING | 230/400 VAC | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 2 | OVERALL SIZE | DP 70 X HT 90 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1205124_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | #N/A | A9S60263 | 1034747 | SCHNEIDER ELECTRIC | BREAKER,CIRCT;ELEC,63 A,2 P,GEBE,ISW | BREAKER,CIRCUIT;TYPE:ELECTRICAL,CURRENT RATING:63 A,NUMBER OF POLES:2,ADDITIONAL FEATURES EN:GEBE,ISW,MNFR:SCHNEIDER ELECTRIC,PTNO:A9S60263 | https://www.se.com/ww/en/product/A9S60263/switch-acti9-isw-2-poles-63a-415v/ | https://www.se.com/ww/en/product/download-pdf/A9S60263 | SCHNEIDER ELECTRIC | A9S60263 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 63 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 6 KV | NUMBER OF POLES | 2 | OVERALL SIZE | DP 70 X HT 77 MM | TRIP SETTING |  | TERMINAL TYPE | TUNNEL | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947 | ADDITIONAL FEATURES EN | GEBE,ISW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1205965_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 3VL2708-3DC33-0AA0 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3VL2708-3DC33-0AA0,80 | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3VL2708-3DC33-0AA0,ADDITIONAL FEATURES EN:80 A | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VL27083DC330AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VL2708-3DC33-0AA0%26language%3Den | SIEMENS | 3VL2708-3DC33-0AA0 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 80 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 150 KA | NUMBER OF POLES | 3 | OVERALL SIZE | DP 106.5 X HT 174.5 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1206008_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 |  | 1707-0048-0146 |  |  | SHIM;125 X 125 X 45 X 1 MM,SS,SET 10 PER | SHIM;SIZE:125 X 125 X 45 X 1 MM,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:SET 10 PER BOX,METRIC,MNFR:JOHNCRANE,PTNO:1707-0048-0146 | https://www.kingcrabweb.com/c4r3/webapi/ncm/72201290/eng |  | JOHNCRANE | 1707-0048-0146 | [8 empty] | 31162815 | Shim |  |  |  | CLEANSED | SHIM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET 10 PER BOX,METRIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1206119_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 | CONFLICT IN SIZE PROCESSED BASED ON WEB SOURCE | No |  |  | KELVDBC | 0580 |  | 6164000 |  |  | SOCKET,WRNCH;IMPACT,LG PATT,DIA 19 X LG | SOCKET,WRENCH;TYPE:IMPACT,LONG PATTERN,SIZE:DIA 19 X LG 82 MM,DRIVE DETAILS:1/2 IN HEX,MATERIAL:STEEL,COATING/FINISH:MANGANESE PHOSPHATED,CERTIFICATION/STANDARD:DIN 3121-G 12.5,ISO 1174,ADDITIONAL FEATURES EN:K19L,W63,MNFR:GEDORE,PTNO:6164000 | https://www.gedoretools.co.uk/product/gedore-6164000-k19l-19-mm-impact-socket-1-2-drive/ |  | GEDORE | 6164000 | [8 empty] | 27111704 | Sockets |  |  |  | ENRICHED | SOCKET | WRENCH | TYPE | IMPACT | SIZE | LG 82 MM | DRIVE DETAILS |  | NUMBER OF POINTS |  | WIDTH ACROSS FLAT | 19 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | MANGANESE PHOSPHATED | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 3121-G 12.5,ISO 1174 | ADDITIONAL FEATURES EN | K19L,W63 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1207881_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 5SV3442-6 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,5SV3442-6,RESIDUAL CUR | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:5SV3442-6,ADDITIONAL FEATURES EN:RESIDUAL CURRENT OPERATED,4-POLE,TYPE A,IN 25 A,100 MA,UN 400 VAC | https://www.lowvoltage.siemens.com/mobile/product.php?5SV3442-6 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SV3442-6%26language%3Den | SIEMENS | 5SV3442-6 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | RESIDUAL CURRENT,TYPE A | CURRENT RATING | 25 A | VOLTAGE RATING | 230/400 VAC | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 4 | OVERALL SIZE | DP 70 X HT 90 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1207939_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | MNFR | MCM42MAA000EAF00 | 3000269 | ENDRESS & HAUSER | XMITTER,COND;PH/ORP,4-20 MA HART,PLSTC | TRANSMITTER,CONDUCTIVITY;TYPE:PH/ORP,OUTPUT TYPE:4-20 MA HART,MATERIAL:PLASTIC,SIZE:WD 144 X HT 148 MM,CERTIFICATION/STANDARD: ATEX,CE,CSA,EX,FM,GP,ADDITIONAL FEATURES EN:REDOX LIQUILINE,MNFR:ENDRESS & HAUSER,PTNO:MCM42MAA000EAF00 | https://portal.endress.com/wa001/dla/5000557/7286/000/07/TI00381CEN_1413.pdf |  | ENDRESS & HAUSER | MCM42MAA000EAF00 | [8 empty] | 41115600 | Electrochemical measuring instruments and accessories |  |  |  | CLEANSED | TRANSMITTER | CONDUCTIVITY | TYPE | PH/ORP | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 4-20 MA HART | SUPPLY VOLTAGE |  | CELL CONSTANT |  | MOUNTING TYPE |  | MATERIAL | PLASTIC | CONNECTION TYPE |  | DISPLAY TYPE |  | SIZE | WD 144 X HT 148 MM | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CE,CSA,EX,FM,GP | ADDITIONAL FEATURES EN | REDOX LIQUILINE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
1210909_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | #N/A | HPL-N 250W | 1034069 | PHILIPS LIGHTING COMPANY | LAMP,HID;250 W,145 V,E40,COOL WHT,12700 | LAMP,HID;WATTAGE:250 W,VOLTAGE RATING:145 V,BASE TYPE:E40,COLOUR:COOL WHITE,INTENSITY:12700 LUMENS,COLOUR TEMPERATURE:4100 K,ADDITIONAL FEATURES EN:542-E40,MNFR:PHILIPS LIGHTING COMPANY,PTNO:HPL-N 250W | https://www.lighting.philips.com/main/prof/conventional-lamps-and-tubes/high-intensity-discharge-lamps/hpl-high-pressure-mercury/mercury-vapor-standard/928485100091_EU/product |  | PHILIPS LIGHTING COMPANY | HPL-N 250W | [8 empty] | 39101617 | High pressure sodium lamp HID |  |  |  | CLEANSED | LAMP | HID | TYPE |  | WATTAGE | 250 W | VOLTAGE RATING | 145 V | BASE TYPE | E40 | OPERATING POSITION |  | SHAPE DESIGNATION |  | LAMP LIFE |  | COLOUR | COOL WHITE | SIZE |  | INTENSITY | 12700 LUMENS | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE | 4100 K | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 542-E40 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
1211059_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | MNFR | C239-PMP55-BA21RA1PGCC | 3000269 | ENDRESS & HAUSER | XMTR,ABS PRES;10 BAR,4-20 MA HART,LCD | TRANSMITTER,ABSOLUTE PRESSURE;MEASURING RANGE:10 BAR,OUTPUT TYPE:4-20 MA HART,SUPPLY VOLTAGE:11.5-45 VDC,DISPLAY TYPE:LCD,HOUSING MATERIAL:STAINLESS STEEL F15,ENCLOSURE:IP66/68,NEMA 4X,6P,CERTIFICATION/STANDARD:ATEX,CSA,FM,IECEX,ADDITIONAL FEATURES EN: STAINLESS STEEL 316L,DIAPHRAGM,-70 TO,400 DEG C,ROYMEC,MNFR:ENDRESS & HAUSER,PTNO:C239-PMP55-BA21RA1PGCC | https://portal.endress.com/wa001/dla/5000498/6753/000/01/TI00436PEN_2617.pdf |  | ENDRESS & HAUSER | PMP55-BA21RA1PGCC | [8 empty] | 41112410 | Pressure transmitters |  |  |  | CLEANSED | TRANSMITTER | ABSOLUTE PRESSURE | TYPE |  | MEASURING RANGE | 10 BAR | ACCURACY |  | OUTPUT TYPE | 4-20 MA HART | SUPPLY VOLTAGE | 11.5-45 VDC | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE | LCD | COMMUNICATION PROTOCOL |  | HOUSING MATERIAL | STAINLESS STEEL F15 | ENCLOSURE | IP66/68,NEMA 4X,6P | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,FM,IECEX | ADDITIONAL FEATURES EN | STAINLESS STEEL 316L,DIAPHRAGM,-70 TO,400 DEG C,ROYMEC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1211250_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 3VL2710-2DC33-0AA0 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3VL2710-2DC33-0AA0 | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3VL2710-2DC33-0AA0,ADDITIONAL FEATURES EN:VL160H,ICU 70 KA,415 VAC,3 POLE,IN 100 A,IR 80 TO 100 A,II 500 TO 1000 A HIGH SWITCHING CAPACITY LINE PROTECTION | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VL2710-2DC33-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VL2710-2DC33-0AA0%26language%3Den | SIEMENS | 3VL2710-2DC33-0AA0 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 100 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 75 KA | NUMBER OF POLES | 3 | OVERALL SIZE | DP 106.5 X HT 174.5 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | FIXED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VL160H,IR 80 TO 100 A,II 500 TO 1000 A HIGH SWITCHING CAPACITY LINE PROTECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1213194_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | MNFR | PMD75-AA17F212AAA | 3000269 | ENDRESS & HAUSER | XMTR,DIF PRES;MTLC | TRANSMITTER,DIFFERENTIAL PRESSURE;ADDITIONAL FEATURES EN:METALLIC,MNFR:ENDRESS & HAUSER,PTNO:PMD75-AA17F212AAA | https://portal.endress.com/wa001/dla/5000557/7176/000/23/TI00382PEN_2716.pdf |  | ENDRESS & HAUSER | PMD75-AA17F212AAA | [8 empty] | 41112410 | Pressure transmitters |  |  |  | ENRICHED | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 4-20 MA HART | SUPPLY VOLTAGE | 10.5-45 VDC | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE | LCD | HOUSING MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | METALLIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1214307_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | DCS800 F72CDS251001R0337 | 3000014 | ABB | BREAKER,CIRCT;ABB,DCS800 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:DCS800 F72CDS251001R0337,ADDITIONAL FEATURES EN:UNIT,MINIATURE,DT S201-K4,4 A,230 VAC,SHAFT 1 & 2 KOZELEK | https://new.abb.com/drives/dc/dcs800-s |  | ABB | DCS800 F72CDS251001R0337 | [8 empty] | 39121601 | Circuit breakers |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE | MINIATURE | CURRENT RATING | 4 A | VOLTAGE RATING | 230 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UNIT,DT S201-K4,SHAFT 1 & 2 KOZELEK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1214670_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 3VL3725-3DC36-0AA0 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3VL3725-3DC36-0AA0,ICU | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3VL3725-3DC36-0AA0,ADDITIONAL FEATURES EN:ICU 100 KA,415 VAC,3 POLE,IN 200 A,RATEDCURRENT IR 200 TO 250 A,1200 TO 2500 A | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VL37253DC360AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VL3725-3DC36-0AA0%26language%3Den | SIEMENS | 3VL3725-3DC36-0AA0 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 150 KA | NUMBER OF POLES | 3 | OVERALL SIZE | DP 106.5 X HT 185.5MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FIXED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATEDCURRENT IR 200 TO 250 A,1200 TO 2500 A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1215975_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | #N/A | A9N19632 | 1034747 | SCHNEIDER ELECTRIC | BREAKER,CIRCT;ERTH LEKG,10 A,230 VAC | BREAKER,CIRCUIT;TYPE:EARTH LEAKAGE,CURRENT RATING:10 A,VOLTAGE RATING:230 VAC,INTERRUPT RATING:6000 A AT 230 VAC,NUMBER OF POLES:1,OVERALL SIZE:DP 72 MM,TRIP SETTING:C-CURVE,TERMINAL TYPE:TUNNEL,MOUNTING TYPE:DIN RAIL,CERTIFICATION/STANDARD:IEC,EN,ROHS,ADDITIONAL FEATURES EN:ACTI-9,DPN VIGI,30 MA EARTH LEAKAGE CURRENT,MNFR:SCHNEIDER ELECTRIC,PTNO:A9N19632 | https://www.se.com/in/en/product/A9N19632/acti-9-earth-leakage-circuit-breaker-dpn-vigi-1p-+-n-10a-30ma/ | https://www.se.com/in/en/product/download-pdf/A9N19632 | SCHNEIDER ELECTRIC | A9N19632 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | EARTH LEAKAGE | CURRENT RATING | 10 A | VOLTAGE RATING | 230 VAC | FRAME RATING |  | INTERRUPT RATING | 6000 A AT 230 VAC | NUMBER OF POLES | 1 | OVERALL SIZE | DP 72 MM | TRIP SETTING | C-CURVE | TERMINAL TYPE | TUNNEL | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,EN/IEC 61009,EN/IEC 61009 | ADDITIONAL FEATURES EN | ACTI-9,DPN VIGI,30 MA EARTH LEAKAGE CURRENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1217028_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 |  | E50KL201 |  |  | ROLLER;ADJ,DIA 3/4 IN,NYL,NYLATRON,1.9 | ROLLER;TYPE:ADJUSTABLE,DIAMETER:3/4 IN,MATERIAL:NYLON,ADDITIONAL FEATURES EN:NYLATRON,1.9 IN OZ,PTNO:E50KL201 | https://www.grainger.com/product/EATON-Limit-Switch-Lever-Arm-Adj-49A935 |  |  | E50KL201 | [8 empty] | 31162700 | Rolling hardware |  |  |  | ENRICHED | ROLLER | NO MODIFIER | TYPE |  | DIAMETER | 3/4 IN | LENGTH | 3-3/4 IN | MATERIAL | NYLON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NYLATRON,1.9 IN OZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
1217427_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 5SV3444-6LA | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,5SV3444-6LA,RESIDUAL | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:5SV3444-6LA,ADDITIONAL FEATURES EN:RESIDUAL CURRENT OPERATED,4-POLE,TYPE A,IN 40A,100 MA,UN 400 VAC,WITH THER | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/5SV3444-6LA | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SV3444-6LA%26language%3Den | SIEMENS | 5SV3444-6LA | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | RESIDUAL CURRENT,TYPE A | CURRENT RATING | 40 A | VOLTAGE RATING | 230/400 VAC | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 4 | OVERALL SIZE | DP 70 X HT 90 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068 | ADDITIONAL FEATURES EN | WITH THER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1219410_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | #N/A | ST5484E-121-010-00 | 1033330 | METRIX MFG COMPANY LIMITED | XMITTER,VIBRT;1 IN/SEC,4-20 MA,1/2 IN | TRANSMITTER,VIBRATION;MEASURING RANGE:1 IN/SEC,OUTPUT TYPE:4-20 MA,CONNECTION TYPE:1/2 IN NPT,MATERIAL:STAINLESS STEEL 316,CERTIFICATION/STANDARD:CE,CSA,EAC,EX,ADDITIONAL FEATURES EN:40 - 100 DEG C,IP67,NEMA 4X,WD 90.39 X HT 136.23 MM,2 HZ HIGH PASS FILTER,VIBRATION,MNFR:METRIX MFG COMPANY LIMITED,PTNO:ST5484E-121-010-00 | https://www.nealsystems.com/wp-content/uploads/ST5484E-SW.pdf |  | METRIX MFG COMPANY LIMITED | ST5484E-121-010-00 | [8 empty] | 41111900 | Indicating and recording instruments |  |  |  | CLEANSED | TRANSMITTER | VIBRATION | TYPE |  | MEASURING RANGE | 1 IN/SEC | ACCURACY |  | OUTPUT TYPE | 4-20 MA | DENSITY |  | CONNECTION TYPE | 1/2 IN NPT | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | MATERIAL | STAINLESS STEEL 316 | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,EAC,EX | ADDITIONAL FEATURES EN | 40 - 100 DEG C,IP67,NEMA 4X,WD 90.39 X HT 136.23 MM,2 HZ HIGH PASS FILTER,VIBRATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1220953_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 |  | VEGAWELL 52 |  |  | XMITTER,LVL;0-60BAR,0.1%,4-20MA HART,2-W | TRANSMITTER,LEVEL;TYPE:PRESSURE,MEASURING RANGE:0-60 BAR,ACCURACY:0.1%,OUTPUT TYPE:4-20 MA HART,2-WIRE,TEMPERATURE RATING:-40 TO 80 DEG C,ENCLOSURE:IP66,IP67,IP68,ADDITIONAL FEATURES EN:WL53,MNFR:VEGA,PTNO:VEGAWELL 52 | https://www.vega.com/products/product-catalog/level/hydrostatic/vegawell-52 | https://www.vega.com/api/sitecore/DocumentDownload/Handler?documentContainerId=4140&languageId=2&fileExtension=pdf&softwareVersion=&documentGroupId=34733&version=22-01-2016 | VEGA | VEGAWELL 52 | [8 empty] | 41111938 | Level sensors or transmitters |  |  |  | ENRICHED | TRANSMITTER | LEVEL | TYPE | PRESSURE | MEASURING RANGE | 0-60 BAR | ACCURACY | 0.1 PCT | OUTPUT TYPE | 4-20 MA HART,2-WIRE | SUPPLY VOLTAGE | 8-35 VDC | CONNECTION TYPE |  | MOUNTING TYPE |  | MATERIAL |  | TEMPERATURE RATING | -40 TO 80 DEG C | ENCLOSURE | IP66,IP67,IP68 | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WL53 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1221323_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | MNFR | RIA15-AAB2 | 3000269 | ENDRESS & HAUSER | INDICATOR;LP PWRD,4-20 MA,17 MM LCD | INDICATOR;TYPE:LOOP POWERED,MEASURING RANGE:4-20 MA,SIZE:17 MM LCD,ADDITIONAL FEATURES EN:RIA15 ENDRES,HAUSER W60KT,MNFR:ENDRESS & HAUSER,PTNO:RIA15-AAB2 | https://pdf.cdn.endress.com/__pdf?url=https%3A%2F%2Fwww.in.endress.com%2Fen%2Fexternal%2Fproduct-html2pdf%2Floop-powered-indicator-RIA15&downloadName=Endress-Hauser_Loop_Powered_Process_Indicator_RIA15_EN.pdf |  | ENDRESS & HAUSER | RIA15-AAB2 | [8 empty] | 41111900 | Indicating and recording instruments |  |  |  | ENRICHED | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE | LCD | MATERIAL |  | SIZE | DP 41.5 X HT 48 MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1221576_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 3VL2712-2DC33-0AA0 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3VL2712-2DC33-0AA0 | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3VL2712-2DC33-0AA0,ADDITIONAL FEATURES EN:VL160L,ICU 70 KA,415 VAC,3 POLE,IN 125 A,IR 100 TO 125 A,II 625 TO 1250 A,HIGH SWITCHING CAPACITY LINE PROTECTION | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VL27122DC330AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VL2712-2DC33-0AA0%26language%3Den | SIEMENS | 3VL2712-2DC33-0AA0 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 125 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 75 KA | NUMBER OF POLES | 3 | OVERALL SIZE | DP 106.5 X HT 174.5 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | FIXED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VL160L,IR 100 TO 125 A,II 625 TO 1250 A,HIGH SWITCHING CAPACITY LINE PROTECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1232996_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 5SV3314-6LA | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,5SV3314-6LA,RESIDUAL | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:5SV3314-6LA,ADDITIONAL FEATURES EN:RESIDUAL CURRENT OPERATED,2 POLE,TYPE A,IN 40 A,30 MA,UN 230 VAC,WITH THERM | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=5SV3314-6LA | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SV3314-6LA%26language%3Den | SIEMENS | 5SV3314-6LA | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | RESIDUAL CURRENT,TYPE A | CURRENT RATING | 40 A | VOLTAGE RATING | 230 VAC | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 2 | OVERALL SIZE | DP 70 X HT 90 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068 | ADDITIONAL FEATURES EN | WITH THERM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1232997_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 | N/M BASED ON WEB SOURCE | No |  |  | KELVDBC | 0580 | OEM | 3SU1100-2BL60-1NA0 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3SU1100-2BL60-1NA0 | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3SU1100-2BL60-1NA0,ADDITIONAL FEATURES EN:MINIATURE,230/400 V,15 KA,1 POLE,C,2 A | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1100-2BL60-1NA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1100-2BL60-1NA0%26language%3Den | SIEMENS | 3SU1100-2BL60-1NA0 | [8 empty] | 39122217 | Rotary switch |  |  |  | ENRICHED | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING | 500 V | CURRENT RATING | 2 A | NUMBER OF POLES | 1 | NUMBER OF POSITIONS | 3 | ENCLOSURE | IP66, IP67,IP69,IP20 | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL | PLASTIC | COLOUR | WHITE,BLACK | SIZE | WD 32.3 X HT 40 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
1233000_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 5SV3644-8LA | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,5SV3644-8LA,RESIDUAL | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:5SV3644-8LA,ADDITIONAL FEATURES EN:RESIDUAL CURRENT OPERATED,4 POLE,TYPE A,SELECTIVE IN 40 A,300 MA,UN 400 VAC | https://www.lowvoltage.siemens.com/mobile/product.php?5SV3644-8LA | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SV3644-8LA%26language%3Den | SIEMENS | 5SV3644-8LA | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | RESIDUAL CURRENT,TYPE A | CURRENT RATING | 40 A | VOLTAGE RATING | 230/400 VAC | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 4 | OVERALL SIZE | DP 70 X HT 90 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1233001_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 5SV3412-6 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,5SV3412-6,RESIDUAL CUR | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:5SV3412-6,ADDITIONAL FEATURES EN:RESIDUAL CURRENT OPERATED,2 POLE,TYPE A IN 25A 100MA UN 230 VAC | https://www.lowvoltage.siemens.com/mobile/product.php?5SV3412-6 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SV3412-6%26language%3Den | SIEMENS | 5SV3412-6 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | RESIDUAL CURRENT,TYPE A | CURRENT RATING | 25 A | VOLTAGE RATING | 230/400 VAC | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 2 | OVERALL SIZE | DP 70 X HT 90 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068 | ADDITIONAL FEATURES EN | IN 25A UN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1233084_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 3VL47311DK360AD1 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,3VL47311DK360AD1 | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:3VL47311DK360AD1,ADDITIONAL FEATURES EN:VL400N,STANDARD BREAKING CAPACITY,ICU 55 KA,415 VAC,3 POLE | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3VL47311DK360AD1 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VL4731-1DK36-0AD1%26language%3Den | SIEMENS | 3VL47311DK360AD1 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 315 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING | 65 KA | NUMBER OF POLES | 3 | OVERALL SIZE | DP 163.5 X HT 279.5 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FIXED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VL400N,STANDARD BREAKING CAPACITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1233271_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KELVDBC | 0580 | OEM | 5SV43120 | 3000032 | SIEMENS | BREAKER,CIRCT;SIE,5SV43120,RESIDUAL CUR | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:5SV43120,ADDITIONAL FEATURES EN:RESIDUAL CURRENT OPERATED RCCB 2 POLE TYPE AC IN 25 A 30 MA UN AC 230 V | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/5SV4312-0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SV4312-0%26language%3Den | SIEMENS | 5SV43120 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE | RESIDUAL CURRENT,TYPE A | CURRENT RATING | 25 A | VOLTAGE RATING | 230 VAC | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 2 | OVERALL SIZE | DP 70 X HT 90 MM | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1241338_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KDELBVC | 0580 |  | PIS3110/5.0 |  |  | INDICATOR;CLOGGED,XMTR FLTR MAHLE | INDICATOR;TYPE:CLOGGED,ADDITIONAL FEATURES EN:TRANSMITTER FILTER MAHLE,PTNO:PIS3110/5.0 | https://shop.eriks.nl/en/hydraulics-filtration-accessories/maintenance-indicator-pis-3110-5-0-analog-su-led-nbr-13523049/ |  |  | PIS 3110/5,0 | [8 empty] | 41111900 | Indicating and recording instruments |  |  |  | CLEANSED | INDICATOR | NO MODIFIER | TYPE | CLOGGED | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRANSMITTER FILTER MAHLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1286114_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-09 |  | No |  |  | KDELBVC | 0580 |  | FMU40-ARB2A |  |  | XMITTER,LVL;PROS,FMU40-ARB2A | TRANSMITTER,LEVEL;MNFR:PROSONIC,PTNO:FMU40-ARB2A | https://portal.endress.com/wa001/dla/5000243/5130/000/04/TI365FAE.pdf |  | PROSONIC | FMU40-ARB2A | [8 empty] | 41111938 | Level sensors or transmitters |  |  |  | ENRICHED | TRANSMITTER | LEVEL | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 4-20 MA | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | MATERIAL |  | TEMPERATURE RATING |  | ENCLOSURE | IP68,NEMA A6P | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed