## Sheet1
Material | Activities | Project Code | Production User | Production Comments | Start Date | End Date | Remarks | Common | Clt | X-Plant Status | Maint Status | Plant | OEM/MNFR | Manufacturer Part No. | Manufacturer | Name | Short | PO Text | Reference URL | Reference URL1 | Manufacturer 1 | MPN 1 | Manufacturer 2 | MPN 2 | Manufacturer 3 | MPN 3 | Manufacturer 4 | MPN 4 | Manufacturer 5 | MPN 5 | UNSPSC | UNSPSC Description | OEM/MNFR/NON-MNFR | Short Description | Long Description | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Status
50000129_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Schneider Closing Coil MXXF/SHT-SHC250VA | ACB MX-XF/SHT-SHC 200-250 V AC-DC, 33662 | https://www.se.com/in/en/product/33662/mx-shunt-trip-release-compact-ns-630b-to-compact-ns-3200-200-vdc-to-250-vdc-200-vac-to-250-vac-50-60-hz/ | https://www.se.com/in/en/product/download-pdf/33662 | SCHNEIDER ELECTRIC | 33662 | [8 empty] | 39121500 | Electrical controls and accessories |  |  |  | ENRICHED | TRIP | SHUNT | TYPE | VOLTAGE RELEASE | OPERATING VOLTAGE | 200-250 V AC/DC | SIZE |  | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-2 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
50000132_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | SIEMENS 3WL Closing coil AC50Hz 240V/DC | 3WL shunt trip AC 50/60Hz 208-240V/ DC 220V 100% ed, 3WL9111-0AD06-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3WL9111-0AD06-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3WL9111-0AD06-0AA0%26language%3Den | SIEMENS | 3WL9111-0AD06-0AA0 | [8 empty] | 39121500 | Electrical controls and accessories |  |  |  | ENRICHED | TRIP | SHUNT | TYPE |  | OPERATING VOLTAGE | 208-240 VAC,220-250 VDC | SIZE |  | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
50000133_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | SIEMENS 3WL Opening coil,over-excited5% | 3WL shunt trip, over-excited 5% ed, 3WL9111-0AD14-0AA0 | https://mall.industry.siemens.com/mall/en/co/Catalog/Product/3WL91110AD140AA0 | https://mall.industry.siemens.com/mall/en/co/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3WL9111-0AD14-0AA0%26language%3Den | SIEMENS | 3WL9111-0AD14-0AA0 | [8 empty] | 39121500 | Electrical controls and accessories |  |  |  | ENRICHED | TRIP | SHUNT | TYPE |  | OPERATING VOLTAGE | 208-240 VAC,220-250 VDC | SIZE |  | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
50000134_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | SIEMENS Electronic trip unit ETU 45B | ETU45B | https://support.industry.siemens.com/cs/mdm/109775570?c=132298303371&dl=ru&lc=en-US | https://support.industry.siemens.com/cs/products/3wl9314-5aa30-0aa2/acc-3wl-etu45b-with-metering-plus?pid=1124632&mlfb=3WL9314-5AA30-0AA2&mfn=ps&lc=en-WW | SIEMENS | ETU45B | [8 empty] | 23153100 | Industrial machinery components and accessories |  |  |  | CLEANSED | TRIP | NO MODIFIER | TYPE | ELECTRONIC | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
50000135_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | 33kV CT 600-300/1 A, 3Core Curnt Transf | 600-300/1 A, 3 Core Current Transformer | URL NOT FOUND | [11 empty] | 39121032 | Current transformer |  |  |  | ENRICHED | TRANSFORMER | CURRENT | TYPE |  | RATIO | 600-300/1-1A | VOLTAGE RATING | 3 KV | CURRENT RATING |  | ACCURACY |  | BURDEN POWER | 15 VA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | MSETCL, MSEDCL | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
50000137_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Power Contactor ABB-AF2050-30-11-70 | 1SFL707001R7011 | https://new.abb.com/products/1SFL707001R7011/af2050-30-11-70 |  | ABB | 1SFL707001R7011 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 690 V | CURRENT RATING | 2100 A | COIL VOLTAGE | 250 V | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT | 3 NO | POWER RATING | 630 KW | AUXILIARY CONTACT | 1NO-1NC | TERMINAL TYPE | COIL | MOUNTING TYPE |  | ENCLOSURE | IP20,IP00 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
50000138_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Bearing for Panel cooling fan - 608Z | FAG Brg:- 608-2Z-IN | https://www.moglix.com/fag-608-2z-deep-groove-ball-bearing-8x22x7-mm/mp/msn2vhqczkp4mr |  | FAG | 608-2Z | [8 empty] | 31171504 | Ball bearings |  |  |  | ENRICHED | BEARING | BALL | TYPE | GROOVE | INSIDE DIAMETER | 8 MM | OUTSIDE DIAMETER | 22 MM | OVERALL WIDTH | 7 MM | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL | STEEL | BEARING SERIES |  | DYNAMIC LOAD RATING | 3.5 KN | STATIC LOAD RATING |  | SPEED RATING | 40000 RPM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
50000143_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Hansa-flexhoseWP350BAR350mm-KP208,2SC | Hansa Flex KP 208 EN857 2SC 08 WP350 BAR_350MM, Hydraulic hose for Yaw Brake caliper. | https://shop.hansa-flex.si/en_GB/hoses/hydraulic-hoses/braided-hoses/kp-208/p/KP208 |  | HANSA FLEX | KP 208 | [8 empty] | 40142020 | Hydraulic hose |  |  |  | ENRICHED | HOSE | HYDRAULIC | TYPE |  | INSIDE DIAMETER | 8.5 MM | OUTSIDE DIAMETER | 16 MM | LENGTH | 350 MM | PRESSURE RATING | 350 BAR | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING | 0 TO 70 DEG C | BEND RADIUS | 85 MM | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 857 2SC | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000144_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | WaterHosecouplingset_1''FVMQHansa | Water hose coupling female thread G 1'' FVMQ+ Nipple male theard G 1'' FVMQ Hansa- Flex | URL NOT FOUND |  | HANSA FLEX | [9 empty] | 40142020 | Hydraulic hose |  |  |  | CLEANSED | HOSE | HYDRAULIC | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000147_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | CheckvalvePos.9Hydratech(N),B4777 | Hydratech Part number 207600 Model-B4777 | URL NOT FOUND |  | HYDRATECH | 207600 | [8 empty] | 40141600 | Valves |  |  |  | CLEANSED | VALVE | CHECK | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
50000148_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | ReliefvalPEDPos.8Hydratech(N),1007108 | Hydratech Part number 1007108-Model B4777 | URL NOT FOUND |  | HYDRATECH | 1007108 | [8 empty] | 40141606 | Relief valves |  |  |  | CLEANSED | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
50000151_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Solenoval3/2Pos.21Hydratech(N)108867 | Part number 1008867-Model B4777 | https://www.voleba.com/mobile/india/product-wind-electric-imports-data.html |  | HYDRATECH | 1008867 | [8 empty] | 40141605 | Solenoid valves |  |  |  | CLEANSED | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
50000152_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | PressureSw50barHydratech(N)1008687 | Part number 1008687-Model B4777 | URL NOT FOUND |  | HYDRATECH | 1008687 | [8 empty] | 39122210 | Pressure switch |  |  |  | CLEANSED | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
50000153_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | MicroFilter10micronHydratech(N)1008665 | Part number 1008665-Model B4777 | URL NOT FOUND |  | HYDRATECH | 1008665 | [8 empty] | 40161500 | Filters |  |  |  | CLEANSED | FILTER | NO MODIFIER | TYPE | MICRO | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000157_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Filter100micronHydratech(N)1008680 | Part number 1008680-Model B4777 | URL NOT FOUND |  | HYDRATECH | 1008680 | [8 empty] | 40161500 | Filters |  |  |  | CLEANSED | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000160_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | FilterelementPos7.2Hydratech(N)138825 | Part number 138825-Model number B4777 | https://www.hydratech-industries.com/Files/Images/Hydratech/Specs-manuals/Wind/Service_2016_filters_low-res.pdf |  | HYDRATECH | 138825 | [8 empty] | 40161807 | Filter element |  |  |  | CLEANSED | FILTER | ELEMENT | TYPE |  | MEDIUM |  | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
50000295_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | MCB, A9N4P10C, 4P, 10A | MCB, Make: Schneider, A9N4P10C, 4P, 10A | https://www.se.com/in/en/product/A9N4P10C/miniature-circuit-breaker-xc60-4-poles-10-a-c-curve/ | https://www.se.com/in/en/product/download-pdf/A9N4P10C | SCHNEIDER ELECTRIC | A9N4P10C | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 0:00 | VOLTAGE RATING | 380-415 VAC,220-250 VDC | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 4 | OVERALL SIZE | WD 72 X HT 85 X DP 77.5 MM | TRIP SETTING | C-CURVE | TERMINAL TYPE | TUNNEL | MOUNTING TYPE | CLIP-ON | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60898-1,EN/IEC 60947-2 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000301_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | DIN 433 WASHER M14 FLZNL NC 1000H |  | URL NOT FOUND | https://www.trfastenings.com/products/catalogue/washers-circlips-seals-rings/Washers/Flat-Washers/DIN433/TR00020808-100 | [10 empty] | 31161807 | Flat washers |  |  |  | ENRICHED | WASHER | FLAT | NOMINAL SIZE | M14 | TYPE |  | INSIDE DIMENSIONS | 15 MM | OUTSIDE DIMENSIONS | 24 MM | THICKNESS |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000320_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | 1/2" SQ DR 12PT SOCKET SET 43PCS STANLEY | 89-509-12 | https://in.stanleytools.global/en/Hand_Tools_Socket_Mechanic_Tool_Sets_1_2_Mechanic_Tool_Sets/product/89-509/43pcs-12-sq-dr-12pt-socket-set-metimp |  | STANLE | [9 empty] | 27000000 | Tools and General Machinery |  |  |  | ENRICHED | SET | NO MODIFIER | TYPE | SOCKET | CONTENTS |  | NUMBER OF ITEMS | 43 | MATERIAL | HIGH GRADE CHROME VANADIUM STEEL | SIZE RANGE |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
50000327_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | End plate of Drive Pinion-ReGen | End plate for drive pinion assembly-ReGen V82/V87 | URL NOT FOUND | [11 empty] | 30102200 | Plate |  |  |  | CLEANSED | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
50000343_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | IDEC Analog Card | Product Model No. FC6A-PJ2A | https://us.idec.com/Programmable-Logic-Controller/Micro-PLC/FC6A-MicroSmart/p/FC6A-PJ2A |  | IDEC | FC6A-PJ2A | [13 empty] | ENRICHED | CARD | NO MODIFIER | TYPE | EXPANSION MODULE | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
50000420_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | MV Switchgear33kv Earthing Truck Cable |  | URL NOT FOUND | [11 empty] | 26131808 | Substation load control switchgears |  |  |  | CLEANSED | SWITCHGEAR | NO MODIFIER | TYPE | EARTHING TRUCK CABLE | VOLTAGE RATING | 33 KV | POWER RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | BIL RATING |  | SWITCHING METHOD |  | INTERRUPT RATING |  | ENCLOSURE |  | CONNECTION TYPE |  | CABLE SIZE |  | CONNECTION LOCATION |  | NUMBER OF CABLES |  | COOLING METHOD |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
50000429_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Cable 1.1KV 10Cx1 mm2 Cu PVC Armoured |  | URL NOT FOUND | [11 empty] | 26121634 | Copper cable |  |  |  | CLEANSED | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING | 1.1 KV | CURRENT RATING |  | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL |  | INSULATION MATERIAL | PVC | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000432_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Rebar-12 Dia - Fe 500 L1614 |  | URL NOT FOUND | [11 empty] | 30265300 | Iron bars |  |  |  | CLEANSED | BAR | REINFORCING | TYPE |  | DIAMETER | 12 MM | LENGTH |  | MATERIAL | IRON | MATERIAL SPECIFICATION | FE 500 | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000435_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | T-connector1500V (Female-Female-Male) |  | URL NOT FOUND | [11 empty] | 39121400 | Electrical lugs plugs and connectors |  |  |  | CLEANSED | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE | FEMALE-FEMALE-MALE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1500 V | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
50000437_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Rubber Mat 1X3 Mtr Class C 3mm thick |  | URL NOT FOUND | [11 empty] | 52101511 | Rubber or vinyl mats |  |  |  | CLEANSED | MAT | NO MODIFIER | TYPE |  | SIZE | WD 1 X LG 3 M,THK 3 MM | MATERIAL | RUBBER | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
50000440_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Circuit Breaker 245kV, 1600A, 50KA |  | URL NOT FOUND | [11 empty] | 39121601 | Circuit breakers |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 1600 A | VOLTAGE RATING | 245kV | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000464_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | BellhousepumpHydratech1005610 | Part number 1005610-Bellhouse Gearpump Grp.1 (Pos.1.11) | URL NOT FOUND |  | HYDRATECH | 1005610 | [8 empty] | 40151551 | Gear pumps |  |  |  | CLEANSED | PUMP | GEAR | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL |  | SHAFT MATERIAL |  | CASE MATERIAL |  | SHAFT SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POS 1.11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
50000466_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | PumpcouplingHydratech1005609 | Part number 1005609- Coupling pump (Pos.1.13) | URL NOT FOUND |  | HYDRATECH | 1005609 | [8 empty] | 40151500 | Pumps |  |  |  | CLEANSED | PUMP | NO MODIFIER | TYPE | COUPLING | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000472_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | TankbreatherHydratech137700 | Part number 137700-Tank breather (Pos.2.3) | https://www.hydratech-industries.com/Files/Images/Hydratech/Specs-manuals/Wind/Service_2015_Filters_low-res.pdf |  | HYDRATECH | 137700 | [8 empty] | 40161505 | Air filters |  |  |  | ENRICHED | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000477_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | NylonPipeHydratech589681 | Part number 589681-Nylon pipe, natural, PA11 | URL NOT FOUND |  | HYDRATECH | 589681 | [8 empty] | 40171600 | Industrial pipe and piping |  |  |  | CLEANSED | PIPE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL | NYLON | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
50000482_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Gear pump HYDAC PGE101-200-RBQ1-N-3700 | PGE101-200-RBQ1-N-3700 | https://www.hydac.com.au/external-gear-pumps-size-1-pge101.html |  | HYDAC | PGE101-200-RBQ1-N-3700 | [8 empty] | 40151551 | Gear pumps |  |  |  | ENRICHED | PUMP | GEAR | TYPE | EXTERNAL | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING |  | SPEED RATING | 3500 RPM | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL |  | SHAFT MATERIAL |  | CASE MATERIAL |  | SHAFT SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POS 1.11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
50000498_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Electric motor 1.5KW HYDAC G 90L4 | Part number-G 90L4 230/400V | URL NOT FOUND |  | HYDAC | G 90L4 | [8 empty] | 26100000 | Power sources |  |  |  | CLEANSED | MOTOR | NO MODIFIER | TYPE |  | POWER RATING | 1.5 KW,230/400 V | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
50000518_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | PowerSupply BachmanNT255,B-00013251-00 | PowerSupply BachmanNT255,B-00013251-00 | https://www.bachmann.info/en/products/nt255 | https://www.spicacontrols.com/shop/nt255 | BACHMAN | B-00013251-00 | [8 empty] | 39121004 | Power supply units |  |  |  | ENRICHED | POWER SUPPLY | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT VOLTAGE RATING | 24 V | OUTPUT CURRENT RATING | 6 A | NUMBER OF OUTPUTS |  | POWER RATING | 45 W | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
50000523_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | IGBT300A,1700V,CM300DY-34A,Mistubhishi | IGBT 300A,1700V,CM300DY-34A,Mistubhishi | http://www.mitsubishielectric.com/semiconductors/php/ePartProfile.php?FILENAME=cm300dy-34a_e.pdf&FOLDER=/product/powermod/powmod/igbtmod/a |  | MISTUBISHI | CM300DY-34A | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | ENRICHED | MODULE | POWER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | POWER RATING | 300 A,1700 V | SWITCH TYPE |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000524_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | IGBT200A,1700V,CM200DY-34A,Mistubishi | IGBT 200A,1700V,CM200DY-34A,Mistubishi | https://www.mitsubishielectric-mesh.com/products/pdf/cm200dy-34a_e.pdf |  | MISTUBISHI | CM200DY-34A | [8 empty] | 32151900 | Automation control connectivity devices |  |  |  | ENRICHED | MODULE | POWER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | POWER RATING | 200 A,1700 V | SWITCH TYPE |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000532_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | DWC Conduit Pipe 50/38mm Dia black |  | URL NOT FOUND | [11 empty] | 40171600 | Industrial pipe and piping |  |  |  | CLEANSED | PIPE | NO MODIFIER | TYPE | CONDUIT | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER | 50/38 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BLACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
50000533_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Fastener M16x40 1B1N2PW1SW-HDG 5.6 |  | URL NOT FOUND | [11 empty] | 31161600 | Bolts |  |  |  | ENRICHED | BOLT | NO MODIFIER | TYPE | HEX | DIMENSIONS | M16 X 40 | MATERIAL |  | MATERIAL SPECIFICATION | GR 5.6 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
50000540_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | HT Termination kit 33kV 3C*300mm2 | HT Termination kit 33kV 3C*300mm2 | URL NOT FOUND | [11 empty] | 26121600 | Electrical cable and accessories |  |  |  | CLEANSED | TERMINATION KIT | CABLE | TYPE | HT | TERMINATION TYPE |  | VOLTAGE RATING | 33 KV | NUMBER OF CORES |  | CONDUCTOR SIZE | 3C X 300 MM2 | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000546_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Cable gland Polymide 10Cx1.0 mm2 | Cable gland Polymide 10Cx1.0 mm2 | URL NOT FOUND | [11 empty] | 39121431 | Cable gland connector |  |  |  | CLEANSED | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | 10C X 1.0 MM2 | CABLE DIAMETER RANGE |  | MATERIAL | POLYAMIDE | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
50000547_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Cable gland Polymide 24Cx1.5 mm2 | Cable gland Polymide 24Cx1.5 mm2 | URL NOT FOUND | [11 empty] | 39121431 | Cable gland connector |  |  |  | CLEANSED | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | 24C X 1.5 MM2 | CABLE DIAMETER RANGE |  | MATERIAL | POLYAMIDE | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
50000554_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Face Shield With helmet welding |  | URL NOT FOUND | [11 empty] | 46181702 | Facial shields |  |  |  | CLEANSED | SHIELD | FACE | TYPE | WELDING | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
50000556_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | UPS with Battery 3KVA,96V,100AH |  | URL NOT FOUND | [11 empty] | 39121011 | Uninterruptible power supply UPS |  |  |  | CLEANSED | POWER SUPPLY | UNINTERRUPTIBLE | TYPE | BATTERY | POWER RATING |  | INPUT RATING |  | OUTPUT RATING |  | BATTERY DETAILS |  | CONNECTION TYPE |  | BACKUP TIME |  | OVERALL SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3KVA,96V,100AH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000568_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | LED Lamp with Holder18Watt |  | URL NOT FOUND | [11 empty] | 39101628 | Light emitting diode LED lamp |  |  |  | CLEANSED | LAMP | LED | TYPE |  | WATTAGE | 18 W | VOLTAGE RATING |  | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR |  | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WITH HOLDER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
50000569_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Solar Street Light 24 Watt |  | URL NOT FOUND | [11 empty] | 39111527 | Solar lighting fixture |  |  |  | CLEANSED | LIGHT | NO MODIFIER | TYPE | SOLAR | LAMP WATTAGE | 24 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STREET LIGHT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
50000572_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | CO2 Fire Extinguisher 5kg | CO2 Fire Extinguisher 5kg | URL NOT FOUND | [11 empty] | 46191601 | Fire extinguishers |  |  |  | CLEANSED | EXTINGUISHER | FIRE | TYPE | CO2 | CLASS |  | CAPACITY | 5 KG | DISCHARGE TIME |  | FLOW RATING |  | CYLINDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
50000573_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | PPE Rope ( 16MM, Naylon ) |  | URL NOT FOUND | [11 empty] | 31151503 | Polypropylene rope |  |  |  | CLEANSED | ROPE | NO MODIFIER | TYPE | PPE | DIAMETER |  | LENGTH |  | MATERIAL | NYLON | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
50000574_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Safety Helmet-White Color |  | URL NOT FOUND | [11 empty] | 46181704 | Safety helmets |  |  |  | CLEANSED | HELMET | SAFETY | TYPE |  | SIZE DESIGNATION |  | MATERIAL |  | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
50000586_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Electrical gloves 33kv |  | URL NOT FOUND | [11 empty] | 46181537 | Insulated gloves |  |  |  | CLEANSED | GLOVES | ELECTRICAL | TYPE |  | SIZE DESIGNATION |  | DIELECTRIC STRENGTH | 33 KV | MATERIAL |  | DESIGN |  | CLASS |  | SIZE |  | CUFF TYPE |  | THICKNESS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000598_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | GI Strip 25 x 3mm |  | URL NOT FOUND | [11 empty] | 31162800 | Miscellaneous hardware |  |  |  | CLEANSED | STRIP | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | GALVANISED IRON | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
50000599_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | GI Strip 25 x 6mm |  | URL NOT FOUND | [11 empty] | 31162800 | Miscellaneous hardware |  |  |  | CLEANSED | STRIP | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | GALVANISED IRON | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
50000612_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Tee 50mm |  | URL NOT FOUND | [11 empty] | 40141700 | Hardware and fittings |  |  |  | CLEANSED | TEE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000617_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Cellow Tape 50mm | Packing material tape Cellow Tape 50mm | URL NOT FOUND | [11 empty] | 31201500 | Tape |  |  |  | CLEANSED | TAPE | NO MODIFIER | TYPE | PACKING MATERIAL | SIZE | 50 MM | MATERIAL |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CELLOW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
50000658_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | MMS Sheet 4384x240x0.5mm L- 4384 | 4384x240x0.5mm L- 4384 (YS-350/550MPa, PPGI/Galvalume) | URL NOT FOUND | [11 empty] | 52121509 | Sheets |  |  |  | ENRICHED | SHEET | NO MODIFIER | TYPE | MMS | LENGTH | 4384 MM | WIDTH | 240 MM | THICKNESS | 0.5 MM | MATERIAL | GALVANISED IRON | MATERIAL SPECIFICATION |  | GRADE |  | COATING/FINISH | GALVALUME | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | YS-350/550 MPa | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000659_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | MMS Sheet 4384x595x0.5mm L- 4384 | 4384x595x0.5mm L- 4384 (YS-350/550MPa, PPGI/Galvalume) | URL NOT FOUND | [11 empty] | 52121509 | Sheets |  |  |  | ENRICHED | SHEET | NO MODIFIER | TYPE | MMS | LENGTH | 4384 MM | WIDTH | 585 MM | THICKNESS | 0.5 MM | MATERIAL | GALVANISED IRON | MATERIAL SPECIFICATION |  | GRADE |  | COATING/FINISH | GALVALUME | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | YS-350/550 MPa | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000661_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Grouting cement | Grouting cement for WTG Foundation Grouting | URL NOT FOUND | [11 empty] | 30111601 | Cement |  |  |  | CLEANSED | CEMENT | NO MODIFIER | TYPE | GROUTING | GRADE |  | CONTAINER |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WTG FOUNDATION GROUTING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
50000672_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | PPC Cement | PPC Cement | URL NOT FOUND | [11 empty] | 30111601 | Cement |  |  |  | CLEANSED | CEMENT | NO MODIFIER | TYPE | PPC | GRADE |  | CONTAINER |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
50000725_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Ratchet belt 4 Mtr 3 Ton GRV-HRL-035-004 | GRV-HRL-035-004 | https://www.bestomart.com/products/gravitas-cargo-ratchet-lashing-strap-35mm-x-4mtr-3-ton-grv-hrl-035-004-03t-1000067625 |  |  | GRV-HRL-035-004 | [8 empty] | 27111711 | Ratchets |  |  |  | CLEANSED | RATCHET | NO MODIFIER | TYPE |  | DRIVE SIZE |  | DRIVE TYPE |  | OVERALL LENGTH | 4 M | MATERIAL |  | COATING/FINISH |  | HEAD DETAILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3 TON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
50000740_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Flexible Hose 15mm LENTH 75MTR for MCS | Flexible Hose 15mm LENTH 75MTR for MCS system | https://www.screwfix.com/c/heating-plumbing/flexible-hoses/cat831572?productdiameter=15_mm | [11 empty] | 40142000 | Hoses |  |  |  | CLEANSED | HOSE | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
50000813_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Pressure hose 9 Metre Hydratech AE06712 | Part number-AE06712 | URL NOT FOUND |  | HYDRATECH | AE06712 | [8 empty] | 40142000 | Hoses |  |  |  | CLEANSED | HOSE | NO MODIFIER | TYPE | PRESSURE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
50000820_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Hand Pump Hydratech 241378 | Part number-241378 | https://www.hydratech-industries.com/Files/Images/Hydratech/Specs-manuals/Wind/Service_2016_spares_low-res.pdf |  | HYDRATECH | 241378 | [8 empty] | 40151506 | Hand pumps |  |  |  | CLEANSED | PUMP | HAND | TYPE |  | INLET SIZE |  | OUTLET SIZE |  | OPERATING DEPTH |  | DISCHARGE RATING |  | FLOW RATING |  | STROKE |  | MATERIAL |  | BORE SIZE |  | PIPE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000830_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Pressureswitch1005303Hydratech | Main pressure switch 300 bar (Hydratech make) Part number 1005303 | URL NOT FOUND |  | HYDRATECH | 1005303 | [8 empty] | 39122210 | Pressure switch |  |  |  | CLEANSED | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
50000831_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Pipe 50 mm HDPE | Pipe 50 mm HDPE for MCS system | https://connect2india.com/Hdpe-Pipe-50mm | [11 empty] | 40171600 | Industrial pipe and piping |  |  |  | CLEANSED | PIPE | NO MODIFIER | TYPE | MCS SYSTEM | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL | HIGH DENSITY POLYETHYLENE | OUTSIDE DIAMETER | 50 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
50000833_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Pipe 63 mm HDPE | Pipe 63 mm HDPE for MCS system | https://www.jackpipes.com/hdpe-pipes.html | [11 empty] | 40171600 | Industrial pipe and piping |  |  |  | CLEANSED | PIPE | NO MODIFIER | TYPE | MCS SYSTEM | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL | HIGH DENSITY POLYETHYLENE | OUTSIDE DIAMETER | 63 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
50000893_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Auxiliary contact HI11-P1/P3E - 1NO, 1NC | HI11-P1/P3E - Auxiliary contact, 1 N/O, 1 NC, For use with P1, P3 | https://datasheet.eaton.com/datasheet.php?model=061813&locale=en_GB |  | EATON | HI11-P1/P3E | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING | 6 A | COIL VOLTAGE | 500 VAC | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT | 1NO-1NC | TERMINAL TYPE |  | MOUNTING TYPE | TOP,SIDE | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
50000904_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Miniature Circuit Breaker SB200M, 3P 20A |  | URL NOT FOUND | [11 empty] | 39121601 | Circuit breakers |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE | MINIATURE | CURRENT RATING | 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000956_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Vacuum Circuit Breaker_33kV_1250A |  | URL NOT FOUND | [11 empty] | 39121601 | Circuit breakers |  |  |  | CLEANSED | BREAKER | CIRCUIT | TYPE | VACCUM | CURRENT RATING | 1250 V | VOLTAGE RATING | 33 KV | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
1126427_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 | MNFR | M22-DL-B | 3000267 | EATON CORPORATION | SWITCH,PUSBTTN;EATO,M22-DL-B,ILUMTD,BLUE | SWITCH,PUSHBUTTON;MNFR:EATON CORPORATION,PTNO:M22-DL-B,TYPE:ILLUMINATED,MOUNTING TYPE:PANEL,TEMPERATURE RATING:-25 TO 70 DEG C, MATERIAL:TITANIUM BEZEL,PLASTIC,COLOUR:BLUE,SIZE:DIA 22.5 X LG 29.7 MM,CERTIFICATION/STANDARD:CSA,IEC/EN 60947,ROHS,UL | https://datasheet.eaton.com/Eaton-216931-M22-DL-B-de_DE.pdf?model=216931 |  | EATON CORPORATION | M22-DL-B | [8 empty] | 39122216 | Push button switch |  |  |  | CLEANSED | SWITCH | PUSHBUTTON | TYPE | ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE | PANEL | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | TITANIUM BEZEL,PLASTIC | COLOUR | BLUE | SIZE | DIA 22.5 X LG 29.7 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,IEC/EN 60947,ROHS,UL | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
1196053_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 | MNFR | 100-C09-01 | 3000226 | ALLEN BRADLEY | CONTACTOR,ELEC;AB,100-C09-01,220 VAC | CONTACTOR,ELECTRICAL;MNFR:ALLEN BRADLEY,PTNO:100-C09-01,COIL VOLTAGE:220 VAC,ADDITIONAL FEATURES EN:RRW ENGINEERING PTY LTD | https://controlparts.com/products/allen-bradley-100-c09-01 |  | ALLEN BRADLEY | 100-C09-01 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE | 220 VAC | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT | 1 NC | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 60947-4-1 / 5-1 | ADDITIONAL FEATURES EN | RRW ENGINEERING PTY LTD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1197644_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 |  | MCE-D0910-M |  |  | CONTACTOR,MAG;400 V,9/12/18 A,3 P | CONTACTOR,MAGNETIC;VOLTAGE RATING:400 V,CURRENT RATING:9/12/18 A,NUMBER OF POLES:3,COIL RATING:12/24/48/110/230/415/525 V,POWER RATING:4/5.5/7.5 KW,AUXILIARY CONTACT:1 NO-1 NC,MOUNTING TYPE:DIN RAIL/BASE,SIZE:WD 45 X HT 74 X DP 80 MM,MNFR:MCE,PTNO:MCE-D0910-M | https://www.mce.co.za/download-catalogue/electric-catalogue/contactors-accessories.pdf |  | MCE | MCE-D0910-M | [8 empty] | 39121529 | Contactors |  |  |  | CLEANSED | CONTACTOR | MAGNETIC | TYPE |  | VOLTAGE RATING | 400 V | CURRENT RATING | 9/12/18 A | NUMBER OF POLES | 3 | COIL RATING | 12/24/48/110/230/415/525 V | POWER RATING | 4/5.5/7.5 KW | AUXILIARY CONTACT |  | TERMINAL TYPE | 1NO-1NC | MOUNTING TYPE | DIN RAIL/BASE | ENCLOSURE |  | SIZE | WD 45 X HT 74 X DP 80 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1202666_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 | OEM | 3RT1064-6LA0 | 3000032 | SIEMENS | CONTACTOR;SIE,3RT1064-6LA0,275 A | CONTACTOR;MNFR:SIEMENS,PTNO:3RT1064-6LA0,ADDITIONAL FEATURES EN:275 A | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RT1064-6LA06 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RT1064-6LA06%26language%3Den | SIEMENS | 3RT1064-6LA06 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 1000 V | CURRENT RATING | 275 A | COIL VOLTAGE | 400 VAC | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING | 110 KW | AUXILIARY CONTACT | 2NO-2NC | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE | IP20,IP00 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1204977_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 | OEM | 3RT1055-6AF36- 400V | 3000032 | SIEMENS | CONTACTOR,MAG;SIE,3RT1055-6AF36- 400V | CONTACTOR,MAGNETIC;MNFR:SIEMENS,PTNO:3RT1055-6AF36- 400V,ADDITIONAL FEATURES EN:75KW/400V/AC-3 AC/DC OPERATION UC 110-127V AXEL CONTACTS 2NO 2NC 3 POLE SIZE S6 RAIL CONNECTIONS DRIVE CONVENT | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3RT10556AF36 | https://mall.industry.siemens.com/mall/en/us/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RT10556AF36%26language%3Den | SIEMENS | 3RT1055-6AF36 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | MAGNETIC | TYPE |  | VOLTAGE RATING | 690 V | CURRENT RATING | 185 A | NUMBER OF POLES | 3 | COIL RATING | 400 VAC | POWER RATING | 75 KW | AUXILIARY CONTACT | 2NO-2NC | TERMINAL TYPE | SCREW | MOUNTING TYPE | RAIL | ENCLOSURE | IP20,IP00 | SIZE | WD 120 X HT 172 X DP 170 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529 | ADDITIONAL FEATURES EN | SIZE S6 CONNECTIONS DRIVE CONVENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1213136_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 | OEM | 3RT1075-6LA | 3000032 | SIEMENS | CONTACTOR,ELEC;SIE,3RT1075-6LA,AC,OUTPT | CONTACTOR,ELECTRICAL;MNFR:SIEMENS,PTNO:3RT1075-6LA,ADDITIONAL FEATURES EN:AC,OUTPUT COIL 2NO&2NC AUX 200 KW 400A S12 400V 06 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RT1075-6LA06 |  | SIEMENS | 3RT1075-6LA06 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 690 V | CURRENT RATING | 430 A | COIL VOLTAGE | 400 VAC | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING | 132 KW | AUXILIARY CONTACT | 2NO-2NC | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE | IP20,IP00 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1217146_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 | CONLICT IN NUMBER OF POLES PROCESSED BASED ON WEB SOURCE | No |  |  | KELVDBC | 0580 | #N/A | LC1D40 | 1034747 | SCHNEIDER ELECTRIC | CONTACTOR,MAG;LC1D,440 VAC,40 A,P 12 | CONTACTOR,MAGNETIC;TYPE:LC1D,VOLTAGE RATING:440 VAC,CURRENT RATING:40 A,NUMBER OF POLES:12,COIL RATING:110/120 VAC,POWER RATING: 22 KW,AUXILIARY CONTACT:1NO 1NC,TERMINAL TYPE:SCREW CLAMP,MOUNTING TYPE:RAIL/PLATE,ENCLOSURE:IP20,SIZE:WD 55 X LG 122 X HT 120 MM, ADDITIONAL FEATURES EN:50/60 HZ,-5 TO 60 DEG C,LTH,MNFR:SCHNEIDER ELECTRIC,PTNO:LC1D40,MNFR:SCHNEIDER ELECTRIC,PTNO:LC1D40 | https://www.se.com/in/en/product/LC1D40AM7/tesys-d-contactor-3p3-no-ac3-440-v-40-a-220-v-ac-50-60-hz-coil/ | https://www.se.com/in/en/product/download-pdf/LC1D40AM7 | SCHNEIDER ELECTRIC | LC1D40 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | MAGNETIC | TYPE | LC1D | VOLTAGE RATING | 440 VAC | CURRENT RATING | 40 A | NUMBER OF POLES | 3 | COIL RATING | 110/120 VAC | POWER RATING | 22 KW | AUXILIARY CONTACT | 1NO-1NC | TERMINAL TYPE | SCREW CLAMP | MOUNTING TYPE | RAIL/PLATE | ENCLOSURE | IP20 | SIZE | WD 55 X LG 122 X HT 120 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 50/60 HZ,-5 TO 60 DEG C,LTH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1222180_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 | OEM | 3RT1054-6LA | 3000032 | SIEMENS | CONTACTOR;SIE,3RT1054-6LA,OUTPT COIL | CONTACTOR;MNFR:SIEMENS,PTNO:3RT1054-6LA,ADDITIONAL FEATURES EN:OUTPUT COIL 2NO-2NC AUX 55KW 115A S6 400V AC 06 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RT1054-6LA06 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RT1054-6LA06%26language%3Den | SIEMENS | 3RT1054-6LA06 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 1000 V | CURRENT RATING | 160 A | COIL VOLTAGE | 400 VAC | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING | 55 KW | AUXILIARY CONTACT | 2NO-2NC | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE | IP20,IP00 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1222437_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 | OEM | 3RT1065-6LA | 3000032 | SIEMENS | CONTACTOR,ELEC;SIE,3RT1065-6LA,AC,OUTPT | CONTACTOR,ELECTRICAL;MNFR:SIEMENS,PTNO:3RT1065-6LA,ADDITIONAL FEATURES EN:AC,OUTPUT COIL 2NO&2NC AUX 132 KW 264A S10 400V 06 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RT1065-6LA06 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RT1065-6LA06%26language%3Den | SIEMENS | 3RT1065-6LA06 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 1000 V | CURRENT RATING | 330 A | COIL VOLTAGE | 400 VAC | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING | 75 KW | AUXILIARY CONTACT | 2NO-2NC | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE | IP20,IP00 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1232993_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 | OEM | 5TT58200 | 3000032 | SIEMENS | CONTACTOR;SIE,5TT58200,INSTA,W/ 4 NO | CONTACTOR;MNFR:SIEMENS,PTNO:5TT58200,ADDITIONAL FEATURES EN:INSTA,WITH 4 NO CONTACT,230 VAC,400 V,25 A CONTROL,230 V,HIGH CAPACITIVE | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/5TT58200 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5TT5820-0%26language%3Den | SIEMENS | 5TT5820-0 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 440 V | CURRENT RATING | 25 A | COIL VOLTAGE | 230 V | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING | 2000 W | AUXILIARY CONTACT | 4NO | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE | IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1233011_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 | #N/A | 733.51.100 | 1036033 | WIKA INSTRUMENTS | GAUGE,DIF PRES;0-1000 KPA,5 WAY,PNL,LIQ | GAUGE,DIFFERENTIAL PRESSURE;MEASURING RANGE:0-1000 KPA,PROCESS CONNECTION:5 WAY,MOUNTING TYPE:PANEL,FILLER MATERIAL:LIQUID,ADDITIONAL FEATURES EN:BLACK ALUMINUM POINTER,SCALE,MNFR:WIKA INSTRUMENTS,PTNO:733.51.100 | https://e-ishop.com/product/pressure-gauges-wika-model-733-51-100/ |  | WIKA INSTRUMENTS | 733.51.100 | [8 empty] | 41112413 | Differentialpressure gauge |  |  |  | ENRICHED | GAUGE | DIFFERENTIAL PRESSURE | MEASURING RANGE | 0-1000 KPA | DIAL SIZE | 100 MM | PROCESS CONNECTION | 5 WAY | CONNECTION LOCATION | LOWER MOUNT | MOUNTING TYPE | PANEL | ACCURACY | 1.6 | DISPLAY TYPE |  | TUBE MATERIAL |  | CONNECTION MATERIAL |  | CASE MATERIAL | STAINLESS STEEL | FILLER MATERIAL | LIQUID | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BLACK ALUMINUM POINTER,SCALE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1233565_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDBC | 0580 |  | 6001 |  |  | GAUGE,PRES;6 IN,1/4 X 1/2 IN MNPT,LWR | GAUGE,PRESSURE;DIAL SIZE:6 IN,PROCESS CONNECTION:1/4 X 1/2 IN MNPT,MOUNTING TYPE:LOWER,TUBE MATERIAL:BOURDON,CASE MATERIAL:STAINLESS STEEL,CERTIFICATION/STANDARD:ASME B40.1 GRADE 1A,ADDITIONAL FEATURES EN:PRESSURE BURNER IGNITION,RF50 6001,'BOURDEN,PTNO:6001 | https://sensorpros.com/products/pic6001 |  |  | 6001 | [8 empty] | 41112412 | Pressure gauge |  |  |  | ENRICHED | GAUGE | PRESSURE | MEASURING RANGE |  | DIAL SIZE | 6 IN | PROCESS CONNECTION | 1/4 X 1/2 IN MNPT | CONNECTION LOCATION | LOWER | MOUNTING TYPE |  | ACCURACY | 1 PCT OF SPAN, ASME B40.1 GRADE 1A | DISPLAY TYPE |  | TUBE MATERIAL | BOURDON | CONNECTION MATERIAL |  | CASE MATERIAL | STAINLESS STEEL | FILLER MATERIAL | GLYCERINE | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASME B40.1 GRADE 1A | ADDITIONAL FEATURES EN | PRESSURE BURNER IGNITION,RF50 6001,'BOURDEN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1289691_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KDELBVQC | 0580 |  | 233.50.100 |  |  | GAUGE,PRES;0 TO 600 KPA,DIAPHRM,BOURDON | GAUGE,PRESSURE;MEASURING RANGE:0 - 600 KPA,PROCESS CONNECTION:DIAPHRAGM,TUBE MATERIAL:BOURDON,FILLER MATERIAL:GLYCERINE,CERTIFICATION/STANDARD:IP65,ADDITIONAL FEATURES:MNFR:WIKA,PTNO:233.50.100 | https://e-ishop.com/product/pressure-gauges-wika-model-233-50-100-38/ |  | WIKA INSTRUMENTS | 233.50.100 | [8 empty] | 41112412 | Pressure gauge |  |  |  | ENRICHED | GAUGE | PRESSURE | MEASURING RANGE | 0 - 600 KPA | DIAL SIZE | 100 MM | PROCESS CONNECTION | DIAPHRAGM | CONNECTION LOCATION | LOWER MOUNT | MOUNTING TYPE |  | ACCURACY | 1 | DISPLAY TYPE |  | TUBE MATERIAL | BOURDON | CONNECTION MATERIAL |  | CASE MATERIAL | STAINLESS STEEL | FILLER MATERIAL | GLYCERINE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IP65 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1320960_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDB | 0580 |  | 3RT2015-1BB41 |  |  | CONTACTOR,ELEC;SIE,3RT2015-1BB41 | CONTACTOR,ELECTRICAL;7 A,3 P,MNFR:SIEMENS,PTNO:3RT2015-1BB41 | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3RT2015-1BB41 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RT2015-1BB41%26language%3Den | SIEMENS | 3RT2015-1BB41 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 690 V | CURRENT RATING | 18 A | COIL VOLTAGE | 400 VAC | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING | 1.5 KW | AUXILIARY CONTACT | 1 NO | TERMINAL TYPE | SCREW | MOUNTING TYPE | RAIL | ENCLOSURE | IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1320961_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-12 |  | No |  |  | KELVDB | 0580 |  | 3RT2025-1BB40 |  |  | CONTACTOR,ELEC;SIE,3RT2025-1BB40 | CONTACTOR,ELECTRICAL;17 A,3 P,MNFR:SIEMENS,PTNO:3RT2025-1BB40 | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3RT20251BB40 | https://mall.industry.siemens.com/mall/en/us/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RT20251BB40%26language%3Den | SIEMENS | 3RT2025-1BB40 | [8 empty] | 39121529 | Contactors |  |  |  | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 690 V | CURRENT RATING | 40 A | COIL VOLTAGE | 400 VAC | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING | 4 KW | AUXILIARY CONTACT | 1NO-1NC | TERMINAL TYPE | SCREW | MOUNTING TYPE | RAIL | ENCLOSURE | IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed