## Sheet1
Material | Activities | Project Code | Production User | Production Comments | Start Date | End Date | Remarks | Common | Clt | X-Plant Status | Maint Status | Plant | OEM/MNFR | Manufacturer Part No. | Manufacturer | Name | Short | PO Text | Reference URL | Reference URL1 | Manufacturer 1 | MPN 1 | Manufacturer 2 | MPN 2 | Manufacturer 3 | MPN 3 | Manufacturer 4 | MPN 4 | Manufacturer 5 | MPN 5 | UNSPSC | UNSPSC Description | OEM/MNFR/NON-MNFR | Short Description | Long Description | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Status
50000730_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Manual Rivet Gun- GROZ-RT/FH-20 |  | https://www.aabtools.com/p/groz/rtfh-20/nut-riveter-kit |  | GROZ | RT/FH-20 | [8 empty] | 27112900 | Dispensing tools |  |  |  | ENRICHED | GUN | RIVET | TYPE | MANUAL | RIVET SIZE |  | MATERIAL | STEEL | SIZE |  | HANDLE TYPE |  | POWER SOURCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
50000733_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | D-SHACKLE 10 TON |  | URL NOT FOUND | [11 empty] | 24101641 | Shackle |  |  |  | CLEANSED | SHACKLE | NO MODIFIER | TYPE | D | SIZE |  | LOAD RATING | 10 TON | MATERIAL |  | INSIDE WIDTH |  | INSIDE LENGTH |  | PIN SIZE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000734_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | D-SHACKLE 5 TON |  | URL NOT FOUND | [11 empty] | 24101641 | Shackle |  |  |  | CLEANSED | SHACKLE | NO MODIFIER | TYPE | D | SIZE |  | LOAD RATING | 5 TON | MATERIAL |  | INSIDE WIDTH |  | INSIDE LENGTH |  | PIN SIZE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000748_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Fuse20A,500VAC,10mmx38mm,X216151 | X216151 Fuse, Industrial / Power, Class aM Series, 20 A, 500 VAC, 10mm x 38mm, 13/32" x 1-1/2" | https://in.rsdelivers.com/product/mersen/x216151/mersen-20a-ceramic-cartridge-fuse-10-x-38mm/2303496 |  |  | X216151 | [8 empty] | 39121606 | Cartridge fuses |  |  |  | ENRICHED | FUSE | CARTRIDGE | TYPE | INDUSTRIAL / POWER | CURRENT RATING | 20 A | VOLTAGE RATING | 500 VAC | INTERRUPT RATING |  | SIZE | DIA 10 X LG 38 MM | CLASS | AM SERIES | MATERIAL | CERAMIC | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000756_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Transistor BC32725 Bipolar PNP, TO-90 | BC32725TA Bipolar transistor | https://www.mouser.in/ProductDetail/onsemi-Fairchild/BC32725?qs=TABiY4F6VcfR4y1vuuwtxw%3D%3D |  |  | BC32725 | [8 empty] | 32111613 | Bipolar or radio frequency bipolar transistor |  |  |  | ENRICHED | TRANSISTOR | BIPOLAR | TYPE | PNP | INPUT RATING |  | GATE EMITTER VOLTAGE | 5 V | COLLECTOR CURRENT | 800 MA | COLLECTOR EMITTER VOLTAGE | 45 V | GAIN |  | POWER DISSIPATION | 625 MW | EFFICIENCY |  | CONNECTION TYPE |  | MOUNTING TYPE | THROUGH HOLE | TEMPERATURE RATING | -55 TO 150 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
50000777_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | CapacitorElectrolytic22uF,450V,RM5 | Electrolytic Capacitor, 22 µF, 450 V, SK Series, ± 20%, Radial Leaded, 2000 hours @ 105°C | URL NOT FOUND | [11 empty] | 32121500 | Capacitors |  |  |  | CLEANSED | CAPACITOR | NO MODIFIER | TYPE | ELECTROLYTIC | VOLTAGE RATING | 450 V | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SK SERIES, ± 20%, RADIAL LEADED, 2000 HOURS @ 105°C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
50000792_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Glass Fuse 2A , 250V 5x20mm, (F) |  | URL NOT FOUND | [11 empty] | 39121623 | Electronic fuse |  |  |  | CLEANSED | FUSE | NO MODIFIER | TYPE | GLASS | CURRENT RATING | 2 A | VOLTAGE RATING | 250 V | SIZE | DIA 5 X LG 20 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
50000795_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Fuse terminal block TB 4-HESI (5x20) EI | 2-Conductor Fuse terminal block TB 4-HESI (5x20) EI | https://www.phoenixcontact.com/en-in/products/fuse-terminal-block-tb-4-hesi-5x20-ei-3075773 | https://www.phoenixcontact.com/product/pdf/MzA3NTc3Mw?_realm=in&_locale=en-IN&blocks=commercial-data%2Ctechnical-data%2Cdrawings%2Capprovals%2Cclassifications%2Cenvironmental-compliance-data%2Call-accessories | PHOENIX CONTACT | TB 4-HESI (5x20) EI | [8 empty] | 39121410 | Terminal blocks |  |  |  | ENRICHED | BLOCK | TERMINAL | TYPE | FUSE | CURRENT RATING | 6.3 A | VOLTAGE RATING | 500 V | WIRE SIZE |  | NUMBER OF CIRCUITS |  | TERMINAL TYPE | SCREW | MATERIAL | STEEL | MOUNTING TYPE | DIN RAIL | SIZE | WD 8.2 X LG 58 X HT 57.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-7-1/IEC 60947-7-3 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
50000838_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | 400/33KV PTR HV Bushing with gaskets |  | URL NOT FOUND | [11 empty] | 31171600 | Bushings |  |  |  | CLEANSED | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 400/33KV,WITH GASKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
50000842_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | 400/33 KV PTR Winding Temp.Indicator |  | URL NOT FOUND | [11 empty] | 41112200 | Temperature and heat measuring instruments |  |  |  | CLEANSED | INDICATOR | TEMPERATURE | TYPE |  | DISPLAY TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | OUTPUT TYPE |  | INTERFACE TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 400/33 KV PTR WINDING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
50000846_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | 400/33 KV PTR Buchholz Relay |  | URL NOT FOUND | [11 empty] | 39122301 | Buchholtz relay |  |  |  | CLEANSED | RELAY | BUCHHOLZ | TYPE |  | VOLTAGE RATING | 400/33 KV | CURRENT RATING |  | TRANSFORMER POWER |  | OIL FLOW RATE |  | INLET CONNECTION |  | OUTLET CONNECTION |  | ENCLOSURE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PTR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
50000855_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | 400/33 KV HV terminal connector |  | URL NOT FOUND | [11 empty] | 39121400 | Electrical lugs plugs and connectors |  |  |  | CLEANSED | CONNECTOR | TERMINAL | TYPE |  | CONDUCTOR SIZE |  | STUD/HOLE SIZE |  | MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 400/33 KV HV | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
50000858_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Lugs Copper Ring Type M8X35mm2 | M8X35sq.mm Ring type Cu Lug | URL NOT FOUND | [11 empty] | 40141700 | Hardware and fittings |  |  |  | CLEANSED | LUG | NO MODIFIER | TYPE | RING TYPE | SIZE | M8 X 35 MM2 | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
50000896_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Connector 8 poles FKC 2 5/ 8-ST-5 08 |  | https://www.phoenixcontact.com/en-in/products/pcb-plug-fkc-25-8-st-508-1873113 | https://www.phoenixcontact.com/product/pdf/MTg3MzExMw?_realm=in&_locale=en-IN&blocks=commercial-data%2Ctechnical-data%2Cdrawings%2Capprovals%2Cclassifications%2Cenvironmental-compliance-data%2Call-accessories | PHOENIX CONTACT | FKC 2,5/ 8-ST-5,08 | [8 empty] | 39121400 | Electrical lugs plugs and connectors |  |  |  | CLEANSED | CONNECTOR | NO MODIFIER | TYPE |  | SIZE | WD 5.08 X LG 25.4 X HT 15 MM | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 8 POLES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
50000903_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | DC MPCB 80A ABB 1SDA066806R1 |  | https://new.abb.com/products/1SDA066806R1/xt1b-160-tmd-80-800-3p-f-f |  | ABB | 1SDA066806R1 | [8 empty] | 39121601 | Circuit breakers |  |  |  | ENRICHED | BREAKER | CIRCUIT | TYPE |  | CURRENT RATING | 80 A | VOLTAGE RATING | 690 V | FRAME RATING | 50/60 HZ | INTERRUPT RATING | 25 KA | NUMBER OF POLES | 3 | OVERALL SIZE | WD 76.2 X LG 70 X HT 130 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000907_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | IGBT Transistor , IGW50N60T , TO-247-3 |  | https://www.mouser.in/ProductDetail/Infineon-Technologies/IGW50N60T?qs=nTClRYuuQBqYj%252Bmyl8oNmw%3D%3D |  |  | IGW50N60T | [8 empty] | 32111613 | Bipolar or radio frequency bipolar transistor |  |  |  | ENRICHED | TRANSISTOR | BIPOLAR | TYPE | IGBT | INPUT RATING |  | GATE EMITTER VOLTAGE | 20 V | COLLECTOR CURRENT | 90 A | COLLECTOR EMITTER VOLTAGE | 600 V | GAIN |  | POWER DISSIPATION | 333 W | EFFICIENCY |  | CONNECTION TYPE |  | MOUNTING TYPE | THROUGH HOLE | TEMPERATURE RATING | -40 TO 175 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TO-247-3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
50000912_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Fibre Optic Transceivers AFCT-5805AZ |  | https://www.mouser.in/ProductDetail/Broadcom-Avago/AFCT-5805AZ?qs=xnajaXqBF9%2FbR%252Bap%2F9kEjA%3D%3D |  |  | AFCT-5805AZ | [8 empty] | 43201553 | Transceivers and media converters |  |  |  | ENRICHED | TRANSCEIVER | NO MODIFIER | TYPE | FIBER OPTIC | INPUT RATING |  | OUTPUT RATING |  | DATA TRANSFER RATE | 155 MBD | NUMBER OF CHANNELS |  | NUMBER OF PINS |  | MOUNTING TYPE |  | SIZE | LG 25.4 X HT 9.8 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000922_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | SMD Transistor BC846B , SOT-23-3 |  | https://www.mouser.in/ProductDetail/Nexperia/BC846B215?qs=me8TqzrmIYUpQR4a7Yjcpw%3D%3D |  |  | BC846B | [8 empty] | 32111613 | Bipolar or radio frequency bipolar transistor |  |  |  | ENRICHED | TRANSISTOR | BIPOLAR | TYPE | SMD | INPUT RATING |  | GATE EMITTER VOLTAGE | 6 V | COLLECTOR CURRENT | 100 MA | COLLECTOR EMITTER VOLTAGE | 65 V | GAIN |  | POWER DISSIPATION | 250 MW | EFFICIENCY |  | CONNECTION TYPE |  | MOUNTING TYPE | SMD/SMT | TEMPERATURE RATING | -65 TO 150 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
50000929_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | SMD IC Motordriver FSB50550US ,SPM5H-023 |  | https://www.mouser.com/datasheet/2/149/FSB50550US-484717.pdf | [11 empty] | 26100000 | Power sources |  |  |  | ENRICHED | MOTOR | NO MODIFIER | TYPE | SMD IC | POWER RATING | 14.5 W | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
50000933_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Cartridge Fuses 5A , 250VAC , 5X20 |  | URL NOT FOUND | [11 empty] | 39121606 | Cartridge fuses |  |  |  | CLEANSED | FUSE | CARTRIDGE | TYPE |  | CURRENT RATING | 5 A | VOLTAGE RATING | 250 VAC | INTERRUPT RATING |  | SIZE | DIA 5 X LG 20 MM | CLASS |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
50000940_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Insulator SRC_33kV 10KN PIN_Over mould |  | URL NOT FOUND | [11 empty] | 30140000 | Insulation |  |  |  | CLEANSED | INSULATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 33 KV | CURRENT RATING |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 10KN PIN_OVER MOULD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
50000953_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | Isolator-66kV 1250A with earth switch |  | URL NOT FOUND | [11 empty] | 32101522 | Isolators |  |  |  | CLEANSED | ISOLATOR | ELECTRICAL | TYPE |  | VOLTAGE RATING | 66 KV | CURRENT RATING | 1250 A | LOAD BREAKING CAPACITY |  | NUMBER OF POLES |  | INSULATION VOLTAGE |  | DEGREE OF PROTECTION |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EARTH SWITCH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
50000960_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0370 ¦ 0580 | OEM |  |  |  | BATTERY_110V_100AH |  | URL NOT FOUND | [11 empty] | 26111700 | Batteries and cells and accessories |  |  |  | CLEANSED | BATTERY | NO MODIFIER | TYPE |  | VOLTAGE RATING | 110 V | CAPACITY | 100 AH | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1126425_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | M22-K10 |  |  | BLOCK,CONT;1 NO,6 A,500 VAC,220 VDC,SCRW | BLOCK,CONTACT;CONTACT CONFIGURATION:1 NO,CURRENT RATING:6 A,VOLTAGE RATING:500 VAC,220 VDC,TERMINAL TYPE:SCREW,MOUNTING TYPE:FRONT,SIZE:WD 1-3/16 X LG 1-1/4 X HT 1/4 IN,CERTIFICATION/STANDARD:CE,CSA,CCC,GOST-R,MNFR:EATON,PTNO:M22-K10 | https://www.eaton.com/us/en-us/skuPage.M22-K10.html | https://www.eaton.com/us/en-us/skuPage.M22-K10.specifications.html | EATON | M22-K10 | [8 empty] | 39121522 | Electrical contacts |  |  |  | CLEANSED | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NO | CURRENT RATING | 6 A | VOLTAGE RATING | 500 VAC,220 VDC | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | MATERIAL |  | SIZE | WD 1-3/16 X LG 1-1/4 X HT 1/4 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CE,CSA,CCC,GOST-R | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1184930_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | #N/A | P01157151 | 1030364 | CHAUVIN ARNOUX | ANALYZER;10 W-10 GW PWR,UPTO 4 EWH | ANALYZER;MEASURING RANGE:10 W-10 GW POWER,UPTO 4 EWH ENERGY,ACCURACY:0.2%,POWER SUPPLY:110/250 V AT 50/60 HZ,400 HZ,DISPLAY TYPE:LCD,INTERFACE TYPE:BLUETOOTH,ETHERNET,USB,SIZE:WD 125 X LG 37 X HT 256 MM,MOUNTING TYPE:MAGNETIC BRACKET,ADDITIONAL FEATURES EN:POWER PEL103 MA193,MNFR:CHAUVIN ARNOUX,PTNO:P01157151 | https://in.rsdelivers.com/product/chauvin-arnoux/p01157151/chauvin-arnoux-energy-monitor-data-logger-with-6/2266245 |  | CHAUVIN ARNOUX | P01157151 | [8 empty] | 41110000 | Measuring and observing and testing instruments |  |  |  | CLEANSED | ANALYZER | NO MODIFIER | TYPE |  | MEASURING RANGE | 10 W-10 GW POWER,UPTO 4 EWH ENERGY | ACCURACY | 0.2 PCT | OUTPUT TYPE |  | POWER SUPPLY | 110/250 V AT 50/60 HZ,400 HZ | DISPLAY TYPE | LCD | INTERFACE TYPE | BLUETOOTH,ETHERNET,USB | ENCLOSURE TYPE |  | SIZE | WD 125 X LG 37 X HT 256 MM | MOUNTING TYPE | MAGNETIC BRACKET | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER PEL103 MA193 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1185002_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | EXTREME KLEEN 750ML |  |  | CLEANER;MULT PURPS DTRGNT,750 ML SPRY | CLEANER;TYPE:MULTI PURPOSE DETERGENT,CONTAINER:750 ML SPRAY BOTTLE,FORM:LIQUID,ADDITIONAL FEATURES EN:GREEN,MNFR:SPANJAARD LTD,PTNO:EXTREME KLEEN 750ML | https://www.spanjaard.biz/product/extreme-kleen/ |  | SPANJAARD LTD | EXTREME KLEEN 750ML | [8 empty] | 47131800 | Cleaning and disinfecting solutions |  |  |  | CLEANSED | CLEANER | NO MODIFIER | TYPE | MULTI PURPOSE DETERGENT | CONTAINER | 750 ML SPRAY BOTTLE | FORM | FIQUID | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GREEN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1185023_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | 1181002635 | 3000026 | DEMAG | DRIVE;DEM,1181002635,ABB,ACS880- | DRIVE;MNFR:DEMAG,PTNO:1181002635,MNFR 1:ABB,PTNO 1:ACS880- 01-018A-7+D150+L502+ | https://new.abb.com/products/3AUA0000115086/acs880-01-018a-7 |  | DEMAG | 1181002635 | ABB | ACS880-01-018A-7 | [6 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE |  | SIZE | WD 203 X LG 274 X HT 732 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1185460_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | CS16/15 |  |  | WRENCH,COMB;NOM 16 MM,15 DEG,CR PLTD,ISO | WRENCH,COMBINATION;NOMINAL SIZE:16 MM,OFFSET ANGLE:15 DEG,COATING/FINISH:CHROME PLATED,CERTIFICATION/STANDARD:ISO 6389,ADDITIONAL FEATURES EN:KEY WITH NUT,MNFR:TAPARIA TOOLS,PTNO:CS16/15 | https://www.tapariatools.com/pdf/product_catalogue/combination_spanners.pdf |  | TAPARIA TOOLS | CS16/15 | [8 empty] | 27111713 | Combination wrenches |  |  |  | CLEANSED | WRENCH | COMBINATION | TYPE |  | NOMINAL SIZE | 16 MM | OVERALL LENGTH |  | OFFSET ANGLE | 15 DEG | NUMBER OF POINTS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | CHROME PLATED | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 6389 | ADDITIONAL FEATURES EN | KEY WITH NUT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1185705_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | 5500 |  |  | METER;WTHR,HANDHELD,0.6-40 M/S,118-7,874 | METER;TYPE:WEATHER,HANDHELD,MEASURING RANGE:0.6-40 M/S,118-7,874 FT/MIN,2.2-144 KM/HR,1.3-89.5 MPH,1.2-77.8 KNOTS,HUMIDITY 10-90%,PRESSURE 700-1100 HPA,20.67-32.48 IN HG,10.15-15.95 PSI,COMPASS 0-360 DEG,ACCURACY:3% WIND SPEED,2% HUMIDITY,5 DEG COMPASS,DISPLAY TYPE:LED,CERTIFICATION/STANDARD:CE,ROHS,ADDITIONAL FEATURES EN:WITH LINK,MNFR:KESTREL,PTNO:5500 | https://in-kestrelmeters.glopalstore.com/products/kestrel-5500-weather-meter?utm_campaign=pr_r&utm_source=https://kestrelmeters.com&utm_medium=wi_proxy&utm_content=en_US&utm_term=c |  | KESTREL | 5500 | [8 empty] | 41110000 | Measuring and observing and testing instruments |  |  |  | CLEANSED | METER | NO MODIFIER | TYPE | WEATHER,HANDHELD | MEASURING RANGE | 0.6-40 M/S,118-7,874 FT/MIN,2.2-144 KM/HR,1.3-89.5 MPH,1.2-77.8 KNOTS,HUMIDITY 10-90%,PRESSURE 700-1100 HPA,20.67-32.48 IN HG,10.15-15.95 PSI,COMPASS 0-360 DEG | ACCURACY | 3 PCT WIND SPEED,2 PCT HUMIDITY,5 DEG COMPASS | CONNECTION TYPE |  | DISPLAY TYPE | LED | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ROHS | ADDITIONAL FEATURES EN | WITH LINK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1185995_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | CT 250/5 | 3000032 | SIEMENS | XFORMER,CUR;SIE,CT 250/5,CL 1 | TRANSFORMER,CURRENT;MNFR:SIEMENS,PTNO:CT 250/5,ADDITIONAL FEATURES EN:CLASS 1 | https://www.electricautomationnetwork.com/en/siemens/4nc5223-2de21-siemens-current-transformer-250-5-a-5-va-cl-05 |  | SIEMENS | CT 250/5 | [8 empty] | 39121032 | Current transformer |  |  |  | ENRICHED | TRANSFORMER | CURRENT | TYPE |  | RATIO | 250/5 | VOLTAGE RATING |  | CURRENT RATING | 5 A | ACCURACY |  | BURDEN POWER | 5 VA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE | IP20 | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CLASS 1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1186132_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | F9J76A |  |  | CARTRIDGE,INK;CYN,300 ML,DYE-BASD,HP 727 | CARTRIDGE,INK;COLOUR:CYAN,CAPACITY:300 ML,INK TYPE:DYE-BASED,ADDITIONAL FEATURES EN:HP 727 SELECTABILITY,6 PL INK DROP,MNFR:HP,PTNO:F9J76A,MNFR 1:HP,PTNO 1:B3P07A | https://www.hp.com/us-en/shop/pdp/hp-727-300-ml-cyan-designjet-ink-cartridge |  | HEWLETT-PACKARD | F9J76A | HEWLETT-PACKARD | B3P07A | [6 empty] | 44103105 | Ink cartridges |  |  |  | ENRICHED | CARTRIDGE | INK | TYPE |  | COLOUR | CYAN | CAPACITY | 300 ML | MATERIAL |  | INK TYPE | DYE-BASED | AVERAGE YIELD |  | SIZE | WD 11-9/64 X HT 1-39/64 X DP 4-21/32 IN | COMPATIBLE HARDWARE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 727 SELECTABILITY,6 PL INK DROP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1186569_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | EC215-02 |  |  | METER,COND;MULT-RANG,0-199.9 US/CM,+-1% | METER,CONDUCTIVITY;TYPE:MULTI-RANGE,MEASURING RANGE:0-199.9 US/CM,ACCURACY:+-1%,RESOLUTION:0.1 US/CM,POWER SUPPLY:230 V,12 VDC,TEMPERATURE RATING:0-50 DEG C,MNFR:HANNA INSTRUMENTS,PTNO:EC215-02 | https://store.clarksonlab.com/EC215-02.aspx |  | HANNA INSTRUMENTS | EC215-02 | [8 empty] | 41115609 | Conductivity meters |  |  |  | CLEANSED | METER | CONDUCTIVITY | TYPE | MULTI RANGE | MEASURING RANGE | 0-199.9 US/CM | ACCURACY | +-1 PCT | RESOLUTION | 0.1 US/CM | POWER SUPPLY | 230 V,12 VDC | DISPLAY TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 0 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1186572_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | F9J78A |  |  | CARTRIDGE,INK;YEL,300 ML,DYE-BASD,HP 727 | CARTRIDGE,INK;COLOUR:YELLOW,CAPACITY:300 ML,INK TYPE:DYE-BASED,ADDITIONAL FEATURES EN:HP 727 SELECTABILITY,6 PL INK DROP,MNFR:HP,PTNO:F9J78A | https://www.hp.com/us-en/shop/pdp/hp-727-300-ml-yellow-designjet-ink-cartridge |  | HEWLETT-PACKARD | F9J78A | [8 empty] | 44103105 | Ink cartridges |  |  |  | ENRICHED | CARTRIDGE | INK | TYPE |  | COLOUR | YELLOW | CAPACITY | 300 ML | MATERIAL |  | INK TYPE | DYE-BASED | AVERAGE YIELD |  | SIZE | WD 11-9/64 X HT 1-39/64 X DP 4-21/32 IN | COMPATIBLE HARDWARE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 727 SELECTABILITY,6 PL INK DROP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1186614_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS800-04-0490-7/ACS88004470A72 | 3000014 | ABB | DRIVE;ABB | DRIVE;MNFR:ABB,PTNO:ACS800-04-0490-7/ACS88004470A72,ADDITIONAL FEATURES EN:VARIABLE SPEED,ACS800-04-0490-7 ACS800 450KW 445A 525 V-690 VAC PPE TECHNOLOGIES | https://new.abb.com/products/64742949/acs800-04-0490-7 |  | ABB | ACS800-04-0490-7/ACS88004470A72 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE | WD 575 X LG 564 X HT 1555 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACS800-04-0490-7 ACS800 450KW 445A 525 V-690 VAC PPE TECHNOLOGIES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1186806_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS800040070721 | 3000014 | ABB | DRIVE;ABB,ACS800040070721,VAR SP,HVYDTY | DRIVE;MNFR:ABB,PTNO:ACS800040070721,ADDITIONAL FEATURES EN:VARIABLE SPEED,HEAVY DUTY ACS800-04-0070-7 | https://new.abb.com/products/68365864/acs800-04-0070-7 |  | ABB | ACS800040070721 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE | WD 300 X LG 399 X HT 700 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HEAVY DUTY ACS800-04-0070-7 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1187924_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  |  |  |  | BLOCK,TERM;41 A,250 V,6 MM2,6,SCREW | BLOCK,TERMINAL;CURRENT RATING:41 A,VOLTAGE RATING:250 V,WIRE SIZE:6 MM2,NUMBER OF CIRCUITS:6,TERMINAL TYPE:SCREW,MATERIAL:FLAME RETARDANT POLYPROPYLENE,CERTIFICATION/STANDARD:EN 60998-2-1,60664-1,ADDITIONAL FEATURES EN:TEMP RATING:-25 TO 55 DEG C,HOLES DIA: 3.5MM,COLOUR:BLACK,MNFR:LEGRAND,PTNO:342 13 | https://www.legrand.com/ecatalogue/034213-connection-strip-nylbloc-capacity-6.html |  | LEGRAND | 342 13 | [8 empty] | 39121410 | Terminal blocks |  |  |  | ENRICHED | BLOCK | TERMINAL | TYPE |  | CURRENT RATING | 41 A | VOLTAGE RATING | 250 V | WIRE SIZE | 6 MM2 | NUMBER OF CIRCUITS | 6 | TERMINAL TYPE | SCREW | MATERIAL | FLAME RETARDANT POLYPROPYLENE | MOUNTING TYPE |  | SIZE | DIA 3.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60998-2-1,60664-1 | ADDITIONAL FEATURES EN | TEMP RATING:-25 TO 55 DEG C,HOLES DIA: 3.5MM,COLOUR:BLACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1188640_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS800-07-0400-7 | 3000014 | ABB | DRIVE;ABB,ACS800-07-0400-7,VAR SP,VSD | DRIVE;MNFR:ABB,PTNO:ACS800-07-0400-7,ADDITIONAL FEATURES EN:VARIABLE SPEED,VSD 355KW 525.690 V 48.63 HZ 3 PHASE IP21 353A CABINET BUILT MOUNTING TYPE | http://electronicdrives.com/ABB/ACS800-07/ACS800-07-0400-7.aspx |  | ABB | ACS800-07-0400-7 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | CLEANSED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VSD 355KW 525.690 V 48.63 HZ 3 PHASE IP21 353A CABINET BUILT MOUNTING TYPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1188890_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | CNHPF6U17AE |  |  | CARTRIDGE,INK;HGH YIELD ORIGINAL,MGNTA | CARTRIDGE,INK;TYPE:HIGH YIELD ORIGINAL,COLOUR:MAGENTA,INK TYPE:PIGMENT-BASED,AVERAGE YIELD:1600 CHARACTERS,COMPATIBLE HARDWARE:HP OFFICE JET PRO 8710,8720,8725,8730,8740 PRINTER,ADDITIONAL FEATURES EN:HP 953XL SELECTABILITY,7 PL INK DROP,MNFR:HP,PTNO:CNHPF6U17AE | https://www.hp.com/gb-en/shop/product.aspx?id=F6U17AE&opt=BGX&sel=SUP |  | HEWLETT-PACKARD | F6U17AE | [8 empty] | 44103105 | Ink cartridges |  |  |  | ENRICHED | CARTRIDGE | INK | TYPE | HIGH YIELD ORIGINAL | COLOUR | MAGENTA | CAPACITY |  | MATERIAL |  | INK TYPE | PIGMENT-BASED | AVERAGE YIELD | 1600 CHARACTERS | SIZE | WD 114 X HT 25 X DP 126 MM | COMPATIBLE HARDWARE | HP OFFICE JET PRO 8710,8720,8725,8730,8740 PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 953XL SELECTABILITY,7 PL INK DROP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1189561_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | #N/A | CF542X | 1010870 | HEWLETT-PACKARD | CARTRIDGE,PRNTR;ORIGINAL LSRJT TONR,YEL | CARTRIDGE,PRINTER;TYPE:ORIGINAL LASERJET TONER,COLOUR:YELLOW,CONTAINER SIZE:WD 363 X HT 111 X DP 96 MM,CERTIFICATION/STANDARD:ISO/IEC 19798,ADDITIONAL FEATURES EN:HP 203X SELECTABILITY,2500 PAGES HIGH YIELD,COMPATIBLE WITH HP COLOR LASERJET PRO M254DW,M254NW,MFP M280NW,MFP M281FDN,MFP M281FDW PRINTERS,MNFR:HEWLETT-PACKARD,PTNO:CF542X | https://www.hp.com/gb-en/shop/product.aspx?id=CF542X&opt=&sel=SUP#technical-details |  | HEWLETT-PACKARD | CF542X | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE | ORIGINAL LASERJET TONER | COLOUR | YELLOW | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 2500 PAGES | DIMENSIONS | WD 363 X HT 111 X DP 96 MM | COMPATIBLE HARDWARE | HP COLOR LASERJET PRO M254DW,M254NW,MFP M280NW,MFP M281FDN,MFP M281FDW PRINTERS | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO/IEC 19798 | ADDITIONAL FEATURES EN | HP 203X SELECTABILITY,2500 PAGES HIGH YIELD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1190128_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | CE255A |  |  | CARTRIDGE,PRNTR;ORIGINAL LSRJT TONR,BLK | CARTRIDGE,PRINTER;TYPE:ORIGINAL LASERJET TONER,COLOUR:BLACK,ADDITIONAL FEATURES EN:HP 55A SELECTABILITY,6000 PAGES YIELD,COMPATIBLE WITH HP LASERJET ENTERPRISE 500 M525DN,500 M525F,FLOW M525C,P3015 PRINTER,P3015D PRINTER,P3015DN PRINTER,P3015X PRINTER,HP LASERJET PRO M521DN,M521DW PRINTER,MNFR:HP,PTNO:CE255A | https://www.hp.com/in-en/shop/hp-255a-black-original-laserjet-toner-cartridge.html |  | HEWLETT-PACKARD | CE255A | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE | ORIGINAL LASERJET TONER | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 6000 PAGES | DIMENSIONS | WD 395 X HT 261 X DP 160 MM | COMPATIBLE HARDWARE | HP LASERJET ENTERPRISE 500 M525DN,500 M525F,FLOW M525C,P3015 PRINTER,P3015D PRINTER,P3015DN PRINTER,P3015X PRINTER,HP LASERJET PRO M521DN,M521DW PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 55A SELECTABILITY,6000 PAGES YIELD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1190443_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | CNHPL0S70AE |  |  | CARTRIDGE,INK;HGH YIELD ORIGINAL | CARTRIDGE,INK;TYPE:HIGH YIELD ORIGINAL,INK TYPE:PIGMENT-BASED,AVERAGE YIELD:2000 CHARACTERS,COMPATIBLE HARDWARE:HP OFFICE JET PRO 8710,8720,8725,8730,8740 PRINTER,ADDITIONAL FEATURES EN:HP 953XL SELECTABILITY,10.5 PL INK DROP,MNFR:HP,PTNO:CNHPL0S70AE | https://www.hp.com/emea_africa-en/products/ink-toner/product-details/9764170 |  | HEWLETT-PACKARD | L0S70AE | [8 empty] | 44103105 | Ink cartridges |  |  |  | ENRICHED | CARTRIDGE | INK | TYPE | HIGH YIELD ORIGINAL | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | INK TYPE | PIGMENT-BASED | AVERAGE YIELD | 2000 CHARACTERS | SIZE | WD 386 X HT 181 X DP 256 MM | COMPATIBLE HARDWARE | HP OFFICE JET PRO 8710,8720,8725,8730,8740 PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 953XL SELECTABILITY,10.5 PL INK DROP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1191057_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | #N/A | CE255A | 1010870 | HEWLETT-PACKARD | CARTRIDGE,PRNTR;ORIGINAL LSRJT TONR,BLK | CARTRIDGE,PRINTER;TYPE:ORIGINAL LASERJET TONER,COLOUR:BLACK,CONTAINER SIZE:WD 395 X HT 261 X DP 160 MM,CERTIFICATION/STANDARD:ISO/IEC 19798,ADDITIONAL FEATURES EN:HP 55A SELECTABILITY,6000 PAGES YIELD,COMPATIBLE WITH HP LASERJET ENTERPRISE 500 MFP M525DN,500 MFP M525F,500 REFURBISHED MFP M525F,FLOW REFURBISHED MFP M525C,P3015D REFURBISHED,P3015DN REFURBISHED,P3015DN PRINTERS,MNFR:HEWLETT-PACKARD,P | https://www.hp.com/in-en/shop/hp-255a-black-original-laserjet-toner-cartridge.html |  | HEWLETT-PACKARD | CE255A | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE | ORIGINAL LASERJET TONER | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 6000 PAGES | DIMENSIONS | WD 395 X HT 261 X DP 160 MM | COMPATIBLE HARDWARE | HP LASERJET ENTERPRISE 500 MFP M525DN,500 MFP M525F,500 REFURBISHED MFP M525F,FLOW REFURBISHED MFP M525C,P3015D REFURBISHED,P3015DN REFURBISHED,P3015DN PRINTERS | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO/IEC 19798 | ADDITIONAL FEATURES EN | HP 55A SELECTABILITY,6000 PAGES YIELD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1191106_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | MNFR | 51P | 3000269 | ENDRESS & HAUSER | METER,FLW;ELECMAG,0-9600 M3/HR,+-0.5% | METER,FLOW;TYPE:ELECTROMAGNETIC,MEASURING RANGE:0-9600 M3/HR,ACCURACY:+-0.5%,OUTPUT TYPE:4-20 MA,PROCESS CONNECTION:4 IN, ENCLOSURE:IP67,NEMA 4X,TEMPERATURE RATING:-20 TO 60 DEG C,CERTIFICATION/STANDARD:ATEX,C-TICK,CE,EAC,ADDITIONAL FEATURES EN:PROMAG, MNFR:ENDRESS & HAUSER,PTNO:51P | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-promag-51p?t.tabId=product-overview | https://pdf.cdn.endress.com/__pdf?url=https%3A%2F%2Fwww.endress.com%2Fen%2Fexternal%2Fproduct-html2pdf%2Felectromagnetic-flowmeter-promag-51p&downloadName=Endress-Hauser_Promag_51P_EN.pdf | ENDRESS & HAUSER | 51P | [8 empty] | 41112501 | Flowmeters |  |  |  | ENRICHED | METER | FLOW | TYPE | ELECTROMAGNETIC | MEASURING RANGE | 0-9600 M3/HR | ACCURACY | +-0.5 PCT | OUTPUT TYPE | 4-20 MA | PROCESS CONNECTION | 4 IN | ENCLOSURE | IP67,NEMA 4X,IP68 | POWER SUPPLY |  | TEMPERATURE RATING | -20 TO 60 DEG C | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING | PN 10-40 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,C-TICK,CE,EAC | ADDITIONAL FEATURES EN | PROMAG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1191927_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS800010030701 | 3000014 | ABB | DRIVE;ABB,ACS800010030701,VAR SP,ACS800 | DRIVE;MNFR:ABB,PTNO:ACS800010030701,ADDITIONAL FEATURES EN:VARIABLE SPEED,ACS800 22 KW,30 A,400 V-690 VAC,PPE TECHNOLOGIES | https://www.ppetech.co.za/wp-content/uploads/2018/11/ACS800010030701-64715259-acs800-01-0030-7-pcont-max30kw-icont-max33a.pdf |  | ABB | ACS800-01-0030-7 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE | WD 240 X LG 274 X HT 607 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACS800 22 KW,30 A,400 V-690 VAC,PPE TECHNOLOGIES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1192122_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | CE271A |  |  | CARTRIDGE,PRNTR;ORIGINAL LSRJT TONR,CYN | CARTRIDGE,PRINTER;TYPE:ORIGINAL LASERJET TONER,COLOUR:CYAN,ADDITIONAL FEATURES EN:HP 650A SELECTABILITY,15000 PAGES YIELD,COMPATIBLE WITH HP COLOR LASERJET ENTERPRISE M750DN,M750N PRINTER,CF271A,MNFR:HP,PTNO:CE271A | https://www.hp.com/in-en/shop/hp-650a-cyan-original-laserjet-toner-cartridge-ce271a.html |  | HEWLETT-PACKARD | CE271A | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE | ORIGINAL LASERJET TONER | COLOUR | CYAN | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 15000 PAGES | DIMENSIONS | WD 492 X HT 225 X DP 188 MM | COMPATIBLE HARDWARE | HP COLOR LASERJET ENTERPRISE M750DN,M750N PRINTER,CF271A | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 650A SELECTABILITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1192234_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | OPTIFLEX 4300F |  |  | METER,FLW;ELECMAG,INDTVE,1-1250 M3/HR | METER,FLOW;TYPE:ELECTROMAGNETIC,INDUCTIVE,MEASURING RANGE:1-1250 M3/HR,ACCURACY:+-0.2%,OUTPUT TYPE:4-20 MA HART,PROCESS CONNECTION:DN200,TEMPERATURE RATING:-40 TO 65 DEG C,MATERIAL:SHEET STEEL,CERTIFICATION/STANDARD:ATEX,CSA,EAC,FM,IEC-EX,INMETRO,NEPSI,ADDITIONAL FEATURES EN:MQ150220EA,MNFR:KROHNE,PTNO:OPTIFLEX 4300F,PTNO 1:SN049E206D0B110000100000000 | https://krohne.com/en/products/flow-measurement/flowmeters/electromagnetic-flowmeters/optiflux-4300 |  | KROHNE | OPTIFLEX 4300F |  | SN049E206D0B110000100000000 | [6 empty] | 41112501 | Flowmeters |  |  |  | ENRICHED | METER | FLOW | TYPE | ELECTROMAGNETIC,INDUCTIVE | MEASURING RANGE | 1-1250 M3/HR | ACCURACY | +-0.2 PCT | OUTPUT TYPE | 4-20 MA | PROCESS CONNECTION | DN200 | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING | -40 TO 180 DEG C | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING | PN40 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,EAC,FM,IEC-EX,INMETRO,NEPSI | ADDITIONAL FEATURES EN | MQ150220EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1193395_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | CS11/15 |  |  | WRENCH,COMB;NOM 11 MM,15 DEG,CR PLTD,ISO | WRENCH,COMBINATION;NOMINAL SIZE:11 MM,OFFSET ANGLE:15 DEG,COATING/FINISH:CHROME PLATED,CERTIFICATION/STANDARD:ISO 6389,ADDITIONAL FEATURES EN:KEY WITH NUT,MNFR:TAPARIA TOOLS,PTNO:CS11/15 |  |  | TAPARIA TOOLS | CS11/15 | [8 empty] | 27111713 | Combination wrenches |  |  |  | CLEANSED | WRENCH | COMBINATION | TYPE |  | NOMINAL SIZE | 11 MM | OVERALL LENGTH |  | OFFSET ANGLE | 15 DEG | NUMBER OF POINTS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | CHROME PLATED | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 6389 | ADDITIONAL FEATURES EN | KEY WITH NUT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1194449_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | Q7553A |  |  | CARTRIDGE,PRNTR;BLK,HP 53A SELECTABILITY | CARTRIDGE,PRINTER;COLOUR:BLACK,ADDITIONAL FEATURES EN:HP 53A SELECTABILITY,3000 PAGES YIELD,COMPATIBLE WITH HP LASERJET M2727NF MULTIFUNCTION,P2014,P2014N,P2015DN PRINTER,MNFR:HP,PTNO:Q7553A | https://www.hp.com/in-en/shop/hp-q7553a-black-original-laserjet-toner-cartridge.html |  | HEWLETT-PACKARD | Q7553A | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE |  | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 3000 PAGES | DIMENSIONS | WD 117 X HT 168 X DP 390 MM | COMPATIBLE HARDWARE | HP LASERJET M2727NF MULTIFUNCTION,P2014,P2014N,P2015DN PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 53A SELECTABILITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1194647_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | #N/A | Q5949A | 1010870 | HEWLETT-PACKARD | CARTRIDGE,PRNTR;ORIGINAL LSRJT TONR,BLK | CARTRIDGE,PRINTER;TYPE:ORIGINAL LASERJET TONER,COLOUR:BLACK,ADDITIONAL FEATURES EN:HP 49A SELECTABILITY,2500 PAGES YEILD,COMPATIBLE WITH HP LASERJET 1320N,1320TN,3390 PRINTERS,MNFR:HEWLETT-PACKARD,PTNO:Q5949A | https://www.hp.com/in-en/shop/hp-q5949a-black-original-laserjet-toner-cartridge.html |  | HEWLETT-PACKARD | Q5949A | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE | ORIGINAL LASERJET TONER | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 2500 PAGES | DIMENSIONS | WD 117 X HT 168 X DP 390 MM | COMPATIBLE HARDWARE | HP LASERJET 1320N,1320TN,3390 PRINTERS | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 49A SELECTABILITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1195557_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | CC364A |  |  | CARTRIDGE,PRNTR;ORIGINAL LSRJT TONR,HP | CARTRIDGE,PRINTER;TYPE:ORIGINAL LASERJET TONER,ADDITIONAL FEATURES EN:HP 64A SELECTABILITY,10000 PAGES YIELD,COMPATIBLE WITH HP LASERJET P4014N,P4515N PRINTER,MNFR:HP,PTNO:CC364A | https://www.hp.com/in-en/shop/hp-cc364a-black-original-laserjet-toner-cartridge.html |  | HEWLETT-PACKARD | CC364A | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE | ORIGINAL LASERJET TONER | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 10000 PAGES | DIMENSIONS | WD 391 X HT 300 X DP 193 MM | COMPATIBLE HARDWARE | HP LASERJET P4014N,P4515N PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 64A SELECTABILITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1195826_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | MNFR | 10250T51 | 3000261 | CUTLERHAMMER | BLOCK,CONT;CUTH,10250T51,1 NC,3 A,SCREW | BLOCK,CONTACT;MNFR:CUTLERHAMMER,PTNO:10250T51,CONTACT CONFIGURATION:1 NC,CURRENT RATING:3 A,VOLTAGE RATING:230 VAC,TERMINAL TYPE: SCREW,SIZE:WD 1.3 X LG 1.9,X HT 2.2 IN,CERTIFICATION/STANDARD:CSA,UL,ADDITIONAL FEATURES EN:SERIES D,CHI,CONTROL,SERIES D110250T51E | https://www.eaton.com/us/en-us/skuPage.10250T51.html | https://www.eaton.com/us/en-us/skuPage.10250T51.specifications.html | CUTLERHAMMER | 10250T51 | [8 empty] | 39121522 | Electrical contacts |  |  |  | CLEANSED | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NC | CURRENT RATING | 3 A | VOLTAGE RATING | 230 V | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | MATERIAL |  | SIZE | WD 1-19/64 X LG 1-29/32 X HT 2-13/64 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL | ADDITIONAL FEATURES EN | SERIES D,CHI,CONTROL,SERIES D110250T51E | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1196131_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | 3SB3400-0H | 3000032 | SIEMENS | BLOCK,CONT;SIE,3SB3400-0H,ACTR INDCTR | BLOCK,CONTACT;MNFR:SIEMENS,PTNO:3SB3400-0H,ADDITIONAL FEATURES EN:ACTUATOR INDICATOR COMPONENT | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3SB3400-0H | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SB3400-0H%26language%3Den | SIEMENS | 3SB3400-0H | [8 empty] | 39121522 | Electrical contacts |  |  |  | ENRICHED | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NO-1 NC | CURRENT RATING | 10 A | VOLTAGE RATING | 400 V | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | MATERIAL |  | SIZE | WD 10 X HT 45 X DP 34 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACTUATOR INDICATOR COMPONENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1196270_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | #N/A | C9403A | 1010870 | HEWLETT-PACKARD | CARTRIDGE,INK;BLK MATTE,130 ML | CARTRIDGE,INK;COLOUR:BLACK MATTE,CAPACITY:130 ML,INK TYPE:PIGMENT-BASED,SHELF LIFE:24 MONTHS,ADDITIONAL FEATURES EN:T770 HP PRINTER,MNFR:HEWLETT-PACKARD,PTNO:C9403A,MNFR 1:HEWLETT-PACKARD,PTNO 1:HP 72 | https://www.hp.com/us-en/shop/pdp/hp-72-130-ml-matte-black-ink-cartridge |  | HEWLETT-PACKARD | C9403A | [8 empty] | 44103105 | Ink cartridges |  |  |  | ENRICHED | CARTRIDGE | INK | TYPE |  | COLOUR | BLACK MATTE | CAPACITY | 130 ML | MATERIAL |  | INK TYPE | PIGMENT-BASED | AVERAGE YIELD |  | SIZE | WD 7-61/64 X HT 5-3/64 X DP 1-9/16 MM | COMPATIBLE HARDWARE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | T770 HP PRINTER,SHELF LIFE:24 MONTHS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1196709_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | CE270A |  |  | CARTRIDGE,PRNTR;ORIGINAL LSRJT TONR,BLK | CARTRIDGE,PRINTER;TYPE:ORIGINAL LASERJET TONER,COLOUR:BLACK,ADDITIONAL FEATURES EN:HP 650A SELECTABILITY,13500 PAGES YIELD,COMPATIBLE WITH HP COLOR LASERJET ENTERPRISE M750DN,M750N PRINTER,CF270A,MNFR:HP,PTNO:CE270A | https://www.hp.com/in-en/shop/hp-650a-black-original-laserjet-toner-cartridge-ce270a.html |  | HEWLETT-PACKARD | CE270A | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE | ORIGINAL LASERJET TONER | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 13500 PAGES | DIMENSIONS | WD 492 X HT 225 X DP 188 MM | COMPATIBLE HARDWARE | HP COLOR LASERJET ENTERPRISE M750DN,M750N PRINTER,CF270A | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 650A SELECTABILITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1197290_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | #N/A | Q5949X | 1010870 | HEWLETT-PACKARD | CARTRIDGE,PRNTR;ORIGINAL LSRJT TONR,BLK | CARTRIDGE,PRINTER;TYPE:ORIGINAL LASERJET TONER,COLOUR:BLACK,ADDITIONAL FEATURES EN:HP 49A SELECTABILITY,2500 PAGES YEILD,COMPATIBLE WITH HP LASERJET 1160 AND 1320 PRINTER SERIES AND HP LASERJET 3390/3392 ALL-IN-ONE SERIES PRINTERS,MNFR:HEWLETT-PACKARD,PTNO:Q5949X | https://www.hp.com/us-en/shop/pdp/hp-49x-high-yield-black-original-laserjet-toner-cartridge |  | HEWLETT-PACKARD | Q5949X | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE | ORIGINAL LASERJET TONER | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 6000 PAGES | DIMENSIONS | WD 15-11/32 X HT 7-23/32 X DP 4-51/64 MM | COMPATIBLE HARDWARE | HP LASERJET 1160 AND 1320 PRINTER SERIES AND HP LASERJET 3390/3392 ALL-IN-ONE SERIES PRINTERS | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 49A SELECTABILITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1197931_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | CE272A |  |  | CARTRIDGE,PRNTR;ORIGINAL LSRJT TONR,YEL | CARTRIDGE,PRINTER;TYPE:ORIGINAL LASERJET TONER,COLOUR:YELLOW,ADDITIONAL FEATURES EN:HP 650A SELECTABILITY,15000 PAGES YIELD,COMPATIBLE WITH HP COLOR LASERJET ENTERPRISE M750DN,M750N PRINTER,CF272A,MNFR:HP,PTNO:CE272A | https://www.hp.com/in-en/shop/hp-650a-yellow-original-laserjet-toner-cartridge-ce272a.html |  | HEWLETT-PACKARD | CE272A | [8 empty] | 44103127 | Photocopier toner |  |  |  | ENRICHED | CARTRIDGE | TONER | TYPE | ORIGINAL LASERJET TONER | COLOUR | YELLOW | CAPACITY |  | MATERIAL |  | FORM |  | AVERAGE YIELD | 15000 PAGES | DIMENSIONS | WD 492 X HT 225 X DP 188 MM | COMPATIBLE HARDWARE | HP COLOR LASERJET ENTERPRISE M750DN,M750N PRINTER,CF272A | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 650A SELECTABILITY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1198704_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | C9392A |  |  | CARTRIDGE,INK;MGNTA,17.1 ML,DYE-BASD | CARTRIDGE,INK;COLOUR:MAGENTA,CAPACITY:17.1 ML,INK TYPE:DYE-BASED,AVERAGE YIELD:1980 CHARACTERS,SHELF LIFE:2 YEARS,COMPATIBLE HARDWARE:HP OFFICE JET PRO K550 PRINTER,ADDITIONAL FEATURES EN:HP 88XL SELECTABILITY,6 PL INK DROP,MNFR:HP,PTNO:C9392A | https://www.buyspares.com/genuine-no88xl-magenta-ink-cartridge-c9392a/product.pl?pid=1576564 |  | HEWLETT-PACKARD | C9392A | [8 empty] | 44103105 | Ink cartridges |  |  |  | CLEANSED | CARTRIDGE | INK | TYPE |  | COLOUR | MAGENTA | CAPACITY | 17.1 ML | MATERIAL |  | INK TYPE | DYE-BASED | AVERAGE YIELD | 1980 CHARACTERS | SIZE |  | COMPATIBLE HARDWARE | HP OFFICE JET PRO K550 PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HP 88XL SELECTABILITY,6 PL INK DROP,SHELF LIFE:2 YEARS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1198929_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | CAL4-11 | 3000014 | ABB | BLOCK,CONT;ABB,CAL4-11,AUX | BLOCK,CONTACT;MNFR:ABB,PTNO:CAL4-11,ADDITIONAL FEATURES EN:AUXILIARY | https://new.abb.com/products/1SBN010120R1011/cal4-11 |  | ABB | CAL4-11 | [8 empty] | 39121522 | Electrical contacts |  |  |  | ENRICHED | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NO-1 NC | CURRENT RATING | 2 A | VOLTAGE RATING | 690 V | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | MATERIAL |  | SIZE | WD 12 X HT 69.4 X DP 60 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AUXILIARY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1198981_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | 1181002351 | 3000026 | DEMAG | DRIVE;DEM,1181002351,ABB,ACS880- | DRIVE;MNFR:DEMAG,PTNO:1181002351,MNFR 1:ABB,PTNO 1:ACS880- 01-07A3-7+D150+L502+ | https://new.abb.com/products/3AUA0000115083/acs880-01-07a3-7 |  | DEMAG | 1181002351 | ABB | ACS880- 01-07A3-7 | [6 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE |  | SIZE | WD 203 X LG 274 X HT 732 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1199928_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | 3UL2307-1A | 3000032 | SIEMENS | XFORMER,CUR;SIE,3UL2307-1A,RESIDUAL-FOR | TRANSFORMER,CURRENT;MNFR:SIEMENS,PTNO:3UL2307-1A,ADDITIONAL FEATURES EN:RESIDUAL- FOR RESIDUAL MONITORING BUSHING OPENING 210 MM | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UL2307-1A | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3UL2307-1A%26language%3Den | SIEMENS | 3UL2307-1A | [8 empty] | 39121032 | Current transformer |  |  |  | ENRICHED | TRANSFORMER | CURRENT | TYPE |  | RATIO |  | VOLTAGE RATING | 1000 V | CURRENT RATING | 630 A | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE | WD 300 X HT 62 X DP 286 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 750,IEC 204-2, IEC 81346-2 | ADDITIONAL FEATURES EN | RESIDUAL- FOR RESIDUAL MONITORING BUSHING OPENING 210 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1200411_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | 34215 |  |  | BLOCK,TERM;57 A,250 V,10 MM2,SCRW,PP,EN | BLOCK,TERMINAL;CURRENT RATING:57 A,VOLTAGE RATING:250 V,WIRE SIZE:10 MM2,TERMINAL TYPE:SCREW,MATERIAL:POLYPROPYLENE,CERTIFICATION/STANDARD:EN 60998-2-1,60664-1,ADDITIONAL FEATURES EN:-25 TO 55 DEG C,HOLES 4.5 MM,BLACK,NYLBLOC,CONNECTING BARRETTE CONNECTION BARNYLBLOC,MNFR:LE-GRAND,PTNO:34215 | https://www.legrand.com/ecatalogue/034215-connection-strip-nylbloc-capacity-10.html |  | LEGRAND | 34215 | [8 empty] | 39121410 | Terminal blocks |  |  |  | ENRICHED | BLOCK | TERMINAL | TYPE |  | CURRENT RATING | 57 A | VOLTAGE RATING | 250 V | WIRE SIZE | 10 MM2 | NUMBER OF CIRCUITS |  | TERMINAL TYPE | SCREW | MATERIAL | POLYPROPYLENE | MOUNTING TYPE |  | SIZE | DIA 4.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60998-2-1,60664-1 | ADDITIONAL FEATURES EN | -25 TO 55 DEG C,HOLES 4.5 MM,BLACK,NYLBLOC,CONNECTING BARRETTE CONNECTION BARNYLBLOC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1202887_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS800010020701 | 3000014 | ABB | DRIVE;ABB,ACS800010020701 | DRIVE;MNFR:ABB,PTNO:ACS800010020701,ADDITIONAL FEATURES EN:VARIABLE SPEED DRIVE/ACS880-01-022A-7 ACS800 15 KW,20 A,400/690 VAC | https://www.ppetech.co.za/products-in-stock-abb-acs800/ |  | ABB | ACS800010020701 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE | WD 240 X 274 X HT 607 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACS880-01-022A-7 ACS800 15 KW,20 A,400/690 VAC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1203087_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS880070800A7SA | 3000014 | ABB | DRIVE;ABB,ACS880070800A7SA,VAR SP,CABNT | DRIVE;MNFR:ABB,PTNO:ACS880070800A7SA,ADDITIONAL FEATURES EN:VARIABLE SPEED,CABINET VARIANT,PPE,800 KW,HEAVY DUTY LOADING | URL NOT FOUND |  | ABB | ACS880070800A7SA | [8 empty] | 40141700 | Hardware and fittings |  |  |  | CLEANSED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABINET VARIANT,PPE,800 KW,HEAVY DUTY LOADING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1203201_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | OPTIFLUX 4300C |  |  | METER,FLW;MGNTC,+-0.2%,4-20 MA,10 IN,180 | METER,FLOW;TYPE:MAGNETIC,ACCURACY:+-0.2%,OUTPUT TYPE:4-20 MA,PROCESS CONNECTION:10 IN,TEMPERATURE RATING:180 DEG C,PRESSURE RATING:10 BAR,CERTIFICATION/STANDARD:ATEX,CSA,EAC,FM,IEC-EX,INMETRO,NEPSI,ADDITIONAL FEATURES EN:W60KTC,FOR SLURRY,MNFR:KROHNE,PTNO:OPTIFLUX 4300C | https://krohne.com/en/products/flow-measurement/flowmeters/electromagnetic-flowmeters/optiflux-4300 |  | KROHNE | OPTIFLUX 4300C | [8 empty] | 41112501 | Flowmeters |  |  |  | CLEANSED | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY | +-0.2 PCT | OUTPUT TYPE | 4-20 MA | PROCESS CONNECTION | 10 IN | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING | 180 DEG C | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING | 10 BAR | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,EAC,FM,IEC-EX,INMETRO,NEPSI | ADDITIONAL FEATURES EN | W60KTC,FOR SLURRY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1203261_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS8000405507 | 3000014 | ABB | DRIVE;ABB,ACS8000405507,VAR SP PROD ID | DRIVE;MNFR:ABB,PTNO:ACS8000405507,ADDITIONAL FEATURES EN:VARIABLE SPEED PRODUCT ID 64811070 PCONT MAX 500 KW ICONT MAX 488 A | https://www.euautomation.com/en/abb/inverter-drives/acs800/acs8000405507 |  | ABB | ACS800-04-0550-7 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | CLEANSED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRODUCT ID 64811070 PCONT MAX 500 KW ICONT MAX 488 A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1204289_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  |  |  |  | BLOCK,TERM;76 A,250 V,16 MM2,SCREW,PP | BLOCK,TERMINAL;CURRENT RATING:76 A,VOLTAGE RATING:250 V,WIRE SIZE:16 MM2,TERMINAL TYPE:SCREW,MATERIAL:POLYPROPYLENE, CERTIFICATION/STANDARD:EN 60998-2-1,60664-1,ADDITIONAL FEATURES EN:-25 TO 55 DEG C,HOLES 5.5 MM,BLACK NYLBLOC CONNECTING,BARRETTE CONNEXION,CONNECTION BARNYLBLOC,MNFR EIM QUIP CC PTNO 34217 | https://www.rexel.com.au/are/category/Wiring-Accessories/Terminal-Block/Single--and-multi-pole-terminal-strip/16MM-TERMINAL-STRIP/LEG34217/p/10208015 | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Connectors-%26-Terminals/Terminal-Blocks/TERMINAL-BLOCK-TERMINAL-STRIP-16MM2/p/LEG34217K62 | EIM QUIP CC | 34217 | [8 empty] | 39121410 | Terminal blocks |  |  |  | ENRICHED | BLOCK | TERMINAL | TYPE |  | CURRENT RATING | 76 A | VOLTAGE RATING | 250 V | WIRE SIZE | 16 MM2 | NUMBER OF CIRCUITS |  | TERMINAL TYPE | SCREW | MATERIAL | POLYPROPYLENE | MOUNTING TYPE |  | SIZE | LG 156.8 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60998-2-1,60664-1 | ADDITIONAL FEATURES EN | -25 TO 55 DEG C,HOLES 5.5 MM,BLACK NYLBLOC CONNECTING,BARRETTE CONNEXION,CONNECTION BARNYLBLOC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1206678_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | #N/A | 16460 | 1034747 | SCHNEIDER ELECTRIC | XFORMER,CUR;720 V,200 A PRIMARY,5 A SEC | TRANSFORMER,CURRENT;VOLTAGE RATING:720 V,CURRENT RATING:200 A PRIMARY,5 A SECONDARY,BURDEN POWER:7 VA,FREQUENCY RATING:50/60 HZ,MOUNTING TYPE:SYMMETRICAL RAIL,ENCLOSURE:IP20,SIZE:ID 22 X WD 30 X HT 10 MM,CERTIFICATION/STANDARD:IEC 38-1,44-1,NEF 42502,VDE 0414,BS7626,ADDITIONAL FEATURES EN:-5 TO 55 DEG C,MERLIN GERIN,MNFR:SCHNEIDER ELECTRIC,PTNO:16460 | https://www.se.com/au/en/product/16460/current-transformer-ti-200-5-a-for-insulated-flexible-bar-30-x-10-mm/ | https://www.se.com/au/en/product/download-pdf/16460 | SCHNEIDER ELECTRIC | 16460 | [8 empty] | 39121032 | Current transformer |  |  |  | ENRICHED | TRANSFORMER | CURRENT | TYPE |  | RATIO | 200/5 | VOLTAGE RATING | 720 V | CURRENT RATING | 200 A PRIMARY,5 A SECONDARY | ACCURACY |  | BURDEN POWER | 7 VA | NUMBER OF PHASE |  | FREQUENCY RATING | 50/60 HZ | MOUNTING TYPE | SYMMETRICAL RAIL | ENCLOSURE | IP20 | SIZE | ID 22 X WD 30 X HT 10 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 38-1,44-1,NEF 42502,VDE 0414,BS7626 | ADDITIONAL FEATURES EN | -5 TO 55 DEG C,MERLIN GERIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
1207327_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 |  | OPTIFLUX 4300C |  |  | METER,FLW;MGNTC,+-0.2%,4-20 MA,16 IN,180 | METER,FLOW;TYPE:MAGNETIC,ACCURACY:+-0.2%,OUTPUT TYPE:4-20 MA,PROCESS CONNECTION:16 IN,TEMPERATURE RATING:180 DEG C,PRESSURE RATING:16 BAR,CERTIFICATION/STANDARD:ATEX,CSA,EAC,FM,IEC-EX,INMETRO,NEPSI,ADDITIONAL FEATURES EN:W60KTC,FOR SLURRY,MNFR:KROHNE,PTNO:OPTIFLUX 4300C | https://krohne.com/products/flow-measurement/flowmeters/electromagnetic-flowmeters/optiflux-4300 |  | KROHNE | OPTIFLUX 4300C | [8 empty] | 41112501 | Flowmeters |  |  |  | CLEANSED | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY | +-0.2 PCT | OUTPUT TYPE | 4-20 MA | PROCESS CONNECTION | 16 IN | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING | 180 DEG C | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING | 16 BAR | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,EAC,FM,IEC-EX,INMETRO,NEPSI | ADDITIONAL FEATURES EN | W60KTC,FOR SLURRY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1208360_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | MNFR | 800F-X10 | 3000226 | ALLEN BRADLEY | BLOCK,CONT;AB,800F-X10,1 NO,10 A FUSE | BLOCK,CONTACT;MNFR:ALLEN BRADLEY,PTNO:800F-X10,CONTACT CONFIGURATION:1 NO,CURRENT RATING:10 A FUSE,VOLTAGE RATING:690 V,TERMINAL TYPE:SCREW,MOUNTING TYPE:PANEL,MATERIAL:PLASTIC,CERTIFICATION/STANDARD:CE,CSA,ROHS,UL,ADDITIONAL FEATURES EN:NO LATHAM MODEL, FILTER-PRESS | https://www.rexelusa.com/p/75591/allen-bradley/contact-block-225mm-plastic-1-normally-open/662468118897/800f-x10 |  | ALLEN BRADLEY | 800F-X10 | [8 empty] | 39121522 | Electrical contacts |  |  |  | CLEANSED | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NO | CURRENT RATING | 10 A FUSE | VOLTAGE RATING | 690 V | TERMINAL TYPE | SCREW | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,ROHS,UL | ADDITIONAL FEATURES EN | NO LATHAM MODEL, FILTER-PRESS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
1208736_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS800010016701 | 3000014 | ABB | DRIVE;ABB,ACS800010016701,VAR SP,ACS800 | DRIVE;MNFR:ABB,PTNO:ACS800010016701,ADDITIONAL FEATURES EN:VARIABLE SPEED,ACS800 11KW 15A 400 V-690 VAC PPE TECHNOLOGIES | https://www.ppetech.co.za/wp-content/uploads/2018/11/ACS800010016701-64715216-acs800-01-0016-7-pcont-max15kw-icont-max17a-1.pdf |  | ABB | ACS800-01-0016-7 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE | WD 240 X LG 274 X HT 607 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACS800 11KW 15A 400 V-690 VAC PPE TECHNOLOGIES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1211904_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | DCS800-S02-4000-06R | 3000014 | ABB | DRIVE;ABB,DCS800-S02-4000-06R,FLLWR,CMD | DRIVE;MNFR:ABB,PTNO:DCS800-S02-4000-06R,ADDITIONAL FEATURES EN:FOLLOWER,COMMAND,S175 K454 L508 ID 3ADU 100046 R0002 KTOELEC SHAFT 1 | https://library.e.abb.com/public/85cfabc0ddea48c2a0fa0fed4351fd64/DCS800-PHTC01U-EN_REVO.pdf | https://www.eplandata.de/portal/en_US/part/ABB.DCS800-S02-4000-06R?lastmpg=.&clang=en_EN&partnr=ABB.DCS800-S02-4000-06R&funcs=1302.1.1%3B1302.1.1%3B1302.1.1%3B1303.1.1&lang=en_US&s=1&s2=1&edpp=1.0&tab=l&ev=1.9.11 | ABB | DCS800-S02-4000-06R | [8 empty] | 40141700 | Hardware and fittings |  |  |  | CLEANSED | DRIVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOLLOWER,COMMAND,S175 K454 L508 ID 3ADU 100046 R0002 KTOELEC SHAFT 1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1213532_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | 1181003890 | 3000026 | DEMAG | DRIVE;DEM,1181003890,ABB,ACS880- | DRIVE;MNFR:DEMAG,PTNO:1181003890,MNFR 1:ABB,PTNO 1:ACS880- 01-049A-7+D150+L502+ | https://new.abb.com/products/3AUA0000115103/acs880-01-049a-7 |  | DEMAG | 1181003890 | ABB | ACS880-01-049A-7 | [6 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE |  | SIZE | WD 203 X LG 274 X HT 732 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1216198_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS880070098A7SA | 3000014 | ABB | DRIVE;ABB,ACS880070098A7SA,VAR SP,CABNT | DRIVE;MNFR:ABB,PTNO:ACS880070098A7SA,ADDITIONAL FEATURES EN:VARIABLE SPEED,CABINET VARIANT,PPE,90 KW,HEAVY DUTY LOADING | URL NOT FOUND |  | ABB | ACS880070098A7SA | [8 empty] | 40141700 | Hardware and fittings |  |  |  | CLEANSED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABINET VARIANT,PPE,90 KW,HEAVY DUTY LOADING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1220488_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | #N/A | FLUKE 345 | 1031599 | FLUKE | METER,ELEC TST;PWR QUAL CLMP,60 MM,WD 98 | METER,ELECTRICAL TEST;TYPE:POWER QUALITY CLAMP,JAW OPENING:60 MM,SIZE:WD 98 X LG 300 X DP 52 MM,MNFR:FLUKE,PTNO:FLUKE 345 | https://www.fluke.com/en-in/product/electrical-testing/power-quality/345 |  | FLUKE | FLUKE 345 | [8 empty] | 39121100 | Distribution and control centers and accessories |  |  |  | ENRICHED | METER | ELECTRICAL | TYPE | POWER QUALITY CLAMP | MEASURING RANGE | 0-825 V AC/DC | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE | LCD | POWER SUPPLY | 1.5 V | MOUNTING TYPE |  | SIZE | WD 98 X LG 300 X DP 52 MM | ENCLOSURE | IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | JAW OPENING:60 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1222123_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | ACS800040320721 | 3000014 | ABB | DRIVE;ABB,ACS800040320721,VAR SP,ACS800 | DRIVE;MNFR:ABB,PTNO:ACS800040320721,ADDITIONAL FEATURES EN:VARIABLE SPEED,ACS800 315KW 315A 400 V-690 VAC PPE TECHNOLOGIES | https://www.ppetech.co.za/products-in-stock-abb-acs800/ | https://www.ppetech.co.za/wp-content/uploads/2018/11/ACS800040320721-64742931-acs800-04-0320-7-pcont-max315kw-icont-max315a-1.pdf | ABB | ACS800040320721 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE | VARIABLE SPEED | SIZE | WD 575 X LG 564 X HT 1555 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACS800 315KW 315A 400 V-690 VAC PPE TECHNOLOGIES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1232985_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KELVDBC | 0580 | OEM | 7KM2112 0BA00 3AA0 | 3000032 | SIEMENS | METER,ELEC;SIE,7KM2112 0BA00 3AA0 | METER,ELECTRICAL;MNFR:SIEMENS,PTNO:7KM2112 0BA00 3AA0,PTNO 1:ZA100001745,ADDITIONAL FEATURES EN:POWER,6-8 VA APPARENT,1-5 A,SCREW,LCD,24 VDC,7 MA,WD 96 X HT 96 X DP 56 MM,IP20/IP65,IEC 62053-23,PAC3200 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/7KM2112-0BA00-3AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D7KM2112-0BA00-3AA0%26language%3Den | SIEMENS | 7KM2112-0BA00-3AA0 | SIEMENS | ZA100001745 | [6 empty] | 39121100 | Distribution and control centers and accessories |  |  |  | ENRICHED | METER | ELECTRICAL | TYPE |  | MEASURING RANGE |  | ACCURACY | +-0.2 PCT | CONNECTION TYPE |  | DISPLAY TYPE | LCD | POWER SUPPLY | 95-240 VAC,110-340 VDC | MOUNTING TYPE |  | SIZE | WD 96 X HT 96 X DP 56 MM | ENCLOSURE | IP20/IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 62053-23,PAC3200 | ADDITIONAL FEATURES EN | POWER,6-8 VA APPARENT,1-5 A,SCREW,LCD,24 VDC,7 MA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1245138_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KDELBVC | 0580 |  | HI98195 |  |  | METER,PH;MULTIPARAMETER PORTABLE,0.00 TO | METER,PH;TYPE:MULTIPARAMETER PORTABLE,MEASURING RANGE:0.00 TO 14 PH,RESOLUTION:0.01 PH,TEMPERATURE RATING:-5 TO 55 DEG C,MNFR:HANNA,PTNO:HI98195 | https://hannainst.in/multiparameter-ph-orp-ec-pressure-temperature-waterproof-meter-hi98195 |  | HANNA | HI98195 | [8 empty] | 41115603 | pH meters |  |  |  | ENRICHED | METER | PH | TYPE | MULTIPARAMETER PORTABLE | MEASURING RANGE | 0.00 TO 14 PH | ACCURACY | +-0.2 PH | RESOLUTION | 0.01 PH | INTERFACE TYPE |  | CONNECTION TYPE | USB | DISPLAY TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | -5 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1286719_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KDELBVC | 0580 | #N/A | HQ11 | 1031970 | HACH COMPANY | METER,PH;PROTABLE,-1500 TO 1500 MV,O.1 | METER,PH;TYPE:PROTABLE,MEASURING RANGE:-1500 TO 1500 MV,RESOLUTION:O.1 MV,INTERFACE TYPE:SOFT TOUCH KEYED,DISPLAY TYPE:DETAILED MODE/LARGE MODE,TEMPERATURE RATING:0 TO 60 DEG C,ADDITIONAL FEATURES EN:WITH PROBE,MNFR:HACH COMPANY,PTNO:HQ11 | https://www.hach.com/hq11d-portable-ph-orp-mv-meter-for-water/product?id=7640489892 |  | HACH COMPANY | HQ11 | [8 empty] | 41115603 | pH meters |  |  |  | ENRICHED | METER | PH | TYPE | PROTABLE | MEASURING RANGE | -1500 TO 1500 MV | ACCURACY |  | RESOLUTION | 0.1 MV | INTERFACE TYPE | SOFT TOUCH KEYED | CONNECTION TYPE | USB | DISPLAY TYPE | DETAILED MODE/LARGE MODE | MOUNTING TYPE |  | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WITH PROBE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
1289554_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KDELBVQC | 0580 |  |  |  |  | METER,FLW;MGNTC,0.5%,ANSI FLANGE 150LBS | METER,FLOW;TYPE:MAGNETIC,ACCURACY:0.5%,PROCESS CONNECTION:ANSI FLANGE 150LBS,ENCLOSURE:IP68 / NEMA 6P, POWER SUPPLY:24 VDC,110-230VAC,TEMPERATURE RATING:-5 TO 90 DEG C,MATERIAL:STAINLESS STEEL 316L,PRESSURE RATING:150 PSI, ADDITIONAL FEATURES:100NB,COMES WITH CONVERTER,PTNO:OPTIFLUX 2050 C | https://krohne.com/en/products/flow-measurement/flowmeters/electromagnetic-flowmeters/optiflux-2050 |  | KROHNE | OPTIFLUX 2050 C | [8 empty] | 41112501 | Flowmeters |  |  |  | CLEANSED | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY | +-0.5 PCT | OUTPUT TYPE |  | PROCESS CONNECTION | ANSI FLANGE 150LBS | ENCLOSURE | IP68 / NEMA 6P | POWER SUPPLY | 24 VDC,110-230VAC | TEMPERATURE RATING | 5 TO 90 DEG C | MATERIAL | STAINLESS STEEL 316L | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 100NB,COMES WITH CONVERTER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1289555_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KDELBVQC | 0580 |  |  |  |  | METER,FLW;MGNTC,0.5%,ANSI FLNG CL150,IP6 | METER,FLOW;TYPE:MAGNETIC,ACCURACY:0.5%,PROCESS CONNECTION:ANSI FLANGE CL150,ENCLOSURE:IP68 / NEMA 6P, POWER SUPPLY:24 VDC,110-230VAC,TEMPERATURE RATING:-5 TO 90 DEG C,MATERIAL:STAINLESS STEEL 316L,PRESSURE RATING:150 PSI, ADDITIONAL FEATURES:80NB,COMES WITH CONVERTER,PTNO:OPTIFLUX 2050 C | https://krohne.com/en/products/flow-measurement/flowmeters/electromagnetic-flowmeters/optiflux-2050 |  | KROHNE | OPTIFLUX 2050 C | [8 empty] | 41112501 | Flowmeters |  |  |  | CLEANSED | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY | +-0.5 PCT | OUTPUT TYPE |  | PROCESS CONNECTION | ANSI FLANGE CL150 | ENCLOSURE | IP68 / NEMA 6P | POWER SUPPLY | 24 VDC,110-230VAC | TEMPERATURE RATING | 5 TO 90 DEG C | MATERIAL | STAINLESS STEEL 316L | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 80NB,COMES WITH CONVERTER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
1292285_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KDELBVC | 0580 | OEM | 3AUA0000115102 | 3000014 | ABB | DRIVE;ABB,3AUA0000115102 | DRIVE;MNFR:ABB,PTNO:3AUA0000115102,ADDITIONAL FEATURES EN:ACS880-01-042A-7+E200 37KW 40 A 525-690 V IP21 VSD | https://new.abb.com/products/3AUA0000115102/acs880-01-042a-7 |  | ABB | 3AUA0000115102 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE |  | SIZE | WD 203 X LG 274 X HT 732 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACS880-01-042A-7+E200 37KW 40 A 525-690 V IP21 VSD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
1314303_Enrichment | Data Enrichment | STP_002 - 0002 | MKV | OK | 2022-08-05 | 2022-08-16 |  | No |  |  | KDELBVC | 0580 | OEM | ACS355-03E-01A9-4 | 3000014 | ABB | DRIVE;ABB,ACS355-03E-01A9-4,0,55KW 1.9A | DRIVE;MNFR:ABB,PTNO:ACS355-03E-01A9-4 | https://new.abb.com/products/3AUA0000058157/acs355-03e-01a9-4b063 |  | ABB | ACS355-03E-01A9-4 | [8 empty] | 40141700 | Hardware and fittings |  |  |  | ENRICHED | DRIVE | NO MODIFIER | TYPE |  | SIZE | WD 195 X LG 281 X HT 346 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed