## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | material | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | NOUN | MODIFIER | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1384067 | 1384067 | EA | CABLE;1756 32 DI/DO USING 1756-TBCH PREW |  |  | CABLE;ADDITIONAL FEATURES EN:1756 32 DI/DO USING 1756-TBCH PREWIRED C,MNFR:01)NHP ELECTRICAL ENGINEERING PROD,PTNO:01) 1492CABLE025Z | 01)1756 32 DI/DO USING 1756-TB,01)NHP ELECTRICAL ENGINEERING,01)1492CABLE025Z |  |  | NHP ELECTRICAL ENGINEERING PROD | NHP ELECTRICAL ENGINEERING PROD | 1492CABLE025Z | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/1492CABLE025Z-12839-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | PREWIRED | NUMBER OF CONDUCTORS | 40 | CONDUCTOR SIZE | 22 AWG | VOLTAGE RATING | 300 VAC/VDC | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 2.5 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,FM | ADDITIONAL FEATURES | 1756 32 DI/DO USING 1756-TBCH | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1300605 | 1300605 | EA | CABLE;26MM, TENSION,CABLEBLT,4536054 |  |  | CABLE;ADDITIONAL FEATURES EN:26MM, TENSION,MNFR:01)CABLEBLT,PTNO:01)4536054 | 01)26MM, TENSION,01)CABLEBLT,01)4536054 |  |  | CABLEBLT | CABLEBLT | 4536054 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 26 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TENSION | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 | PARTIALLY MATCHED | Mat2 - 1353667 | 1353667 | EA | CABLE;ANGLED SENSOR |  |  | CABLE;TYPE:ANGLED SENSOR,ADDITIONAL FEATURES EN:M12 M STRAIGHT TO F 1.5M INPUT/OUTPUT,MNFR:01)MAINTECH,PTNO:01)MT317601193 | EN_01)ANGLED SENSOR,01)M12 M STRAIGHT TO F 1.5M IN,01)MAINTECH,01)MT317601193 |  |  | MAINTECH | MAINTECH | MT317601193 | [5 empty] | https://www.mtunderground.com/wp-content/uploads/2019/10/200204-CATALOGUE-BOOM-_-FEED-ASSEMBLY-MTE7-RHS27-CA.pdf | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | ANGLED SENSOR | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | M12 M STRAIGHT TO F 1.5M INPUT/OUTPUT | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1316258 | 1316258 | EA | CABLE;BACK SUSPENSION,ISA SIZER SCREEN |  |  | CABLE;TYPE:BACK SUSPENSION,ADDITIONAL FEATURES EN:ISA SIZER SCREEN,MNFR:01)RME,PTNO:01)10130297 | EN_01)BACK SUSPENSION,01)ISA SIZER SCREEN,01)RME,01)10130297 |  |  | RME | RME | 10130297 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | BACK SUSPENSION | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ISA SIZER SCREEN | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1286273 | 1286273 | EA | CABLE;BURNER MANAGEMENT SYSTEM HT |  |  | CABLE;TYPE:BURNER MANAGEMENT SYSTEM HT,MNFR:01)ACCUTHER,PTNO:01)Z0694 | EN_01)BURNER MANAGEMENT SYSTEM,01)ACCUTHER,01)Z0694 |  |  | ACCUTHER | ACCUTHER | Z0694 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | BURNER MANAGEMENT SYSTEM HT | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1318700 | 1318700 | EA | CABLE;CONCTG,20 A,LG 8 M,9 PIN MOLDED |  |  | CABLE;TYPE:CONNECTING,CURRENT RATING:20 A,LENGTH:8 M,ADDITIONAL FEATURES EN:9 PIN MOLDED,MNFR:01)BOART,PTNO:01)5307760 | EN_01)CONNECTING,20 A,8 M,01)9 PIN MOLDED,01)BOART,01)5307760 |  |  | BOART | BOART | 5307760 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | CONNECTING | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING | 20 A | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 8 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 9 PIN MOLDED | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1317694 | 1317694 | M | CABLE;DRM,185 MM,6.35-11 KV,LG 200 M |  |  | CABLE;TYPE:DRUM,CONDUCTOR SIZE:185 MM,VOLTAGE RATING:6.35-11 KV,LENGTH:200 M,ADDITIONAL FEATURES EN:X 3 CORE XLPE SWA 6.35/11KV, RED SHEATH,MNFR:01)OLEX,PTNO:01)CBL37/2.523CXLPE11KV | EN_01)DRUM,185 MM,6.35-11 KV,200 M,01)X 3 CORE XLPE SWA 6.35/11KV,01)OLEX,01)CBL37/2.523CXLPE11KV |  |  | OLEX | OLEX | CBL37/2.523CXLPE11KV | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | DRUM | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE | 185 MM | VOLTAGE RATING | 6.35-11 KV | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 200 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | X 3 CORE XLPE SWA,COLOUR SHEATH:RED | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1353306 | 1353306 | EA | CABLE;FIRE RATED LINE,2,2.5 MM,450-750 V |  |  | CABLE;TYPE:FIRE RATED LINE,NUMBER OF CONDUCTORS:2,CONDUCTOR SIZE:2.5 MM,VOLTAGE RATING:450-750 V,LENGTH:300 MM,HAZARD CLASS:2, ADDITIONAL FEATURES EN:110DE,MNFR:01)FIRESNSE,PTNO:01)FR-2.50-2C-300 | EN_01)FIRE RATED LINE,2.5 MM,450-750 V,300 MM,2,01)110DE,01)FIRESNSE,01)FR-2.50-2C-300 |  |  | FIRESNSE | FIRESNSE | FR-2.50-2C-300 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | FIRE RATED LINE | NUMBER OF CONDUCTORS | 2 | CONDUCTOR SIZE | 2.5 MM | VOLTAGE RATING | 450-750 V | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 300 MM | HAZARD CLASS | 2 | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 110DE | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 | COLOUR PROCESSE BASED ON WEBSOURCE CONFLICT W.R.T INPUT | Mat2 - 1383873 | 1383873 | EA | CABLE;FLEX,1,1.5 MM2,250-440 V,PVC,BLK |  |  | CABLE;TYPE:FLEXIBLE,NUMBER OF CONDUCTORS:1,CONDUCTOR SIZE:1.5 MM2,VOLTAGE RATING:250-440 V,CONDUCTOR MATERIAL:COPPER TINNED, INSULATION MATERIAL:PVC,ADDITIONAL FEATURES EN:BLACK,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)F1015VT | EN_01)FLEXIBLE,1.5 MM2,250-440 V,COPPER TINNED,PVC,01)BLACK,01)CNW (MOUNT ISA) ELECT WHOLE,01)F1015VT |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | F1015VT | [5 empty] | https://www.blackwoods.com.au/electrical/cables/flexible-cables/cord-pvc-flex-v90-1-50mm-1x30-0-25-red/p/03436057 | [10 empty] | Enriched | 26121629 CABLE | CABLE | ELECTRICAL | TYPE | FLEXIBLE | VOLTAGE RATING | 250-440 V | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS |  | CONDUCTOR MATERIAL | COPPER TINNED | JACKET MATERIAL |  | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1273553 | 1273553 | M | CABLE;FLEX,1.5 MM2,0.6/1 KV,17 A,3 C + E | CABLE;1.5 MM2 | CABLE;1.5 MM2 | CABLE;TYPE:FLEXIBLE,CONDUCTOR SIZE:1.5 MM2,VOLTAGE RATING:0.6/1 KV,CURRENT RATING:17 A,CONDUCTOR MATERIAL:COPPER TINNED, ADDITIONAL FEATURES EN:3 C + E,SHEATH COLOUR:CLEAR,VSD EMC SCREENED,MNFR:ELCON CABLES,PTNO:EMC4G1.5KM |  | EMC4G1.5KM |  | ELCON CABLES | ELCON CABLES | EMC4G1.5KM | [5 empty] | https://mm.mmem.com.au/elnce-emc4g1-2e-5km | https://www.goelectrical.com.au/elnce-emc4g1-2e-5km | [9 empty] | Enriched | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | FLEXIBLE | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE | 1.5 MM2 | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING | 17 A | CONDUCTOR MATERIAL | COPPER TINNED | JACKET MATERIAL |  | INSULATION MATERIAL | PVC | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3 C + E,SHEATH COLOUR:CLEAR,VSD EMC SCREENED | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1362965 | 1362965 | EA | CABLE;FLEX,50,PVC,LG 20 M,2772-6-8 | CABLE;50,PVC,LG 20 M | CABLE;50,PVC,LG 20 M | CABLE;TYPE:FLEXIBLE,NUMBER OF CONDUCTORS:50,INSULATION MATERIAL:PVC,LENGTH:20 M,ADDITIONAL FEATURES EN:2772-6-8,MNFR:TERRATEC | EN_01)FLEXIBLE,50,PVC,20 M,01)2772-6-8,02)MNFR:TERRATEC,01)TERRATEC AUSTRALIA PTY LT,01)2772-6-8 |  |  | TERRATEC | TERRATEC AUSTRALIA PTY LT | 2772-6-8 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | FLEXIBLE | NUMBER OF CONDUCTORS | 50 | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL | PVC | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 20 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1352677 | 1352677 | EA | CABLE;FLEXIBLE CONTROL,1.5 MM2 |  |  | CABLE;TYPE:FLEXIBLE CONTROL,CONDUCTOR SIZE:1.5 MM2,ADDITIONAL FEATURES EN:3C+E CIRC PIE CART UG30 STORE ATTN RAY MANSER,MNFR:01) CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)CBL1.54CHDOR | EN_01)FLEXIBLE CONTROL,1.5 MM2,01)3C+E CIRC PIE CART UG30 STO,01)CNW (MOUNT ISA) ELECT WHOLE,01)CBL1.54CHDOR |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | CBL1.54CHDOR | [5 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-%26-Wire/Flexible-Cable/CABLE-FLEX-1-5MM-4-CORE-HD-ORAN/p/CBL1.54CHDORA10 | [10 empty] | Enriched | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | FLEXIBLE CONTROL | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE | 1.5 MM2 | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING | 15 A | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 100 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 1125, AS/NZS 3808, AS/NZS 3191 | ADDITIONAL FEATURES | 3C+E CIRC PIE CART UG30 STORE ATTN RAY MANSER | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1360245 | 1360245 | EA | CABLE;FLT,35 MM2,500 V,BARE COPPER,3C+E | CABLE;35 MM2,COBRE DESNUDO,NEOPRENO | CABLE;35 MM2,CUIVRE NU,NEOPRENE | CABLE;TYPE:FLAT,CONDUCTOR SIZE:35 MM2,VOLTAGE RATING:500 V,CONDUCTOR MATERIAL:BARE COPPER,JACKET MATERIAL:NEOPRENE,INSULATION MATERIAL:RUBBER,ADDITIONAL FEATURES EN:3C+E,SERIES:OLFLEXÂ® CRANE F,PN:0041061,MNFR:LAPP |  |  |  | LAPP | LAPP | 0041061 | [5 empty] | https://e.lapp.com/in/p/cables-for-lift-and-conveyor-technology/oelflex-crane-f-4g35-0041061 | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | FLAT | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE | 35 MM2 | VOLTAGE RATING | 500 V | CURRENT RATING |  | CONDUCTOR MATERIAL | BARE COPPER | JACKET MATERIAL | NEOPRENE | INSULATION MATERIAL | RUBBER | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3C+E,SERIES:OLFLEXÂ® CRANE F | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1316257 | 1316257 | EA | CABLE;FRONT SUSPENSION,ISA SIZER SCREEN |  |  | CABLE;TYPE:FRONT SUSPENSION,ADDITIONAL FEATURES EN:ISA SIZER SCREEN,MNFR:01)RME,PTNO:01)10130298 | EN_01)FRONT SUSPENSION,01)ISA SIZER SCREEN,01)RME,01)10130298 |  |  | RME | RME | 10130298 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | FRONT SUSPENSION | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ISA SIZER SCREEN | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1384064 | 1384064 | EA | CABLE;LG 500 M |  |  | CABLE;LENGTH:500 M,ADDITIONAL FEATURES EN:4C+E SWA, ARMOURED 6MM, 4CANDECC,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01) CBL64CA | 500 M,01)4C+E SWA, ARMOURED 6MM, 4C&,01)CNW (MOUNT ISA) ELECT WHOLE,01)CBL64C&ES500 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | CBL64CA | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 500 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 4C+E SWA, ARMOURED 6MM, 4CANDECC | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1295705 | 1295705 | EA | CABLE;SNSR,LG 1 M |  |  | CABLE;TYPE:SENSOR,LENGTH:1 M,ADDITIONAL FEATURES EN:5 PIN M12 MOULDED 90 DEGREE,MNFR:01)MAINTECH,PTNO:01)MT317601149 | EN_01)SENSOR,1 M,01)5 PIN M12 MOULDED 90 DEGREE,01)MAINTECH,01)MT317601149 |  |  | MAINTECH | MAINTECH | MT317601149 | [5 empty] | https://www.mtunderground.com/wp-content/uploads/2019/10/200204-CATALOGUE-BOOM-_-FEED-ASSEMBLY-MTE7-RHS27-CA.pdf | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | SENSOR | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING | 90 DEG C | LENGTH | 1 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 5 PIN M12 MOULDED | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1318630 | 1318630 | EA | CABLE;SNSR,M16 8 PIN 1M MOLDED |  |  | CABLE;TYPE:SENSOR,ADDITIONAL FEATURES EN:M16 8 PIN 1M MOLDED,MNFR:01)BOART,PTNO:01)5307793 | EN_01)SENSOR,01)M16 8 PIN 1M MOLDED,01)BOART,01)5307793 |  |  | BOART | BOART | 5307793 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | SENSOR | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | M16 8 PIN 1M MOLDED | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 | TYPE PROCESSED BASED ON WEBSOURCE CONFLICT W.R.T INPUT | Mat2 - 1354553 | 1354553 | EA | CABLE;STRAIGHT PLUG,LG 5 M |  |  | CABLE;TYPE:STRAIGHT PLUG,LENGTH:5 M,ADDITIONAL FEATURES EN:LOAD PIN 6 PIN,MNFR:01)DELPHI,PTNO:01)300-5 | EN_01)STRAIGHT PLUG,5 M,01)LOAD PIN 6 PIN,01)DELPHI,01)300-5 |  |  | DELPHI | DELPHI | 300-5 | [5 empty] | https://ageashop.com/panelview-300-5-m-operate-and-prog-cable-2711-cbl-pm05.html | [10 empty] | Enriched | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | OPERATE AND PROG | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 5 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOAD PIN 6 PIN | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1353624 | 1353624 | EA | CABLE;TACHO SPEED,-25 TO 90 DEG C,IP65 |  |  | CABLE;TYPE:TACHO SPEED,TEMPERATURE RATING:-25 TO 90 DEG C,LENGTH:25 M,HAZARD CLASS:IP65,ADDITIONAL FEATURES EN:26.5MM X 15.5MM X 36.5MM 10HZ TO 3000HZ,MNFR:01)SKF,PTNO:01)CM EVM-012 | EN_01)TACHO SPEED,-25 TO 90 DEG C,25 M,IP65,01)26.5MM X 15.5MM X 36.5MM 10,01)SKF,01)CM EVM-012 |  |  | SKF | SKF | CM EVM-012 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | TACHO SPEED | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING | -25 TO 90 DEG C | LENGTH | 25 M | HAZARD CLASS | IP65 | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:26.5X15.5X36.5MM 10HZ TO 3000H | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1295406 | 1295406 | EA | CABLE;TBE,150-185 MM |  |  | CABLE;TYPE:TBE,CONDUCTOR SIZE:150-185 MM,MNFR:01)MMELEC,PTNO:01)CJS-LVTJ4-P/L-4CXLPE | EN_01)TBE,150-185 MM,01)MMELEC,01)CJS-LVTJ4-P/L-4CXLPE |  |  | MMELEC | MMELEC | CJS-LVTJ4-P/L-4CXLPE | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 26121600 CABLE | CABLE | NO MODIFIER | TYPE | TBE | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE | 150-185 MM | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1281340 | 1281340 | EA | COMPOUND,SEAL;SI, WINDOW/GLASS,CLEAR |  |  | COMPOUND,SEALING;TYPE:SILICONE, WINDOW/GLASS,CONTAINER:CARTRIDGE 300 G,COLOUR:CLEAR,MNFR:01)BUNNINGS,PTNO:01)1232682 | EN_01)SILICONE, WINDOW/GLASS,EN_01)CARTRIDGE 300 G,CLEAR,01)BUNNINGS,01)1232682 |  |  | BUNNINGS WAREHOUSE MT ISA | BUNNINGS WAREHOUSE MT ISA | 1232682 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 31201705 SEALING COMPOUND | COMPOUND | SEALING | TYPE | SILICONE, WINDOW/GLASS | CONTAINER | CARTRIDGE 300 G | COLOUR | CLEAR | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 | CONTAINER PROCESSED BASED ON WEBSOURCE CONFLICT W.R.T INPUT | Mat2 - 1281237 | 1281237 | EA | COMPOUND,SEAL;SILICONE GAP FILLER,WHITE |  |  | COMPOUND,SEALING;TYPE:SILICONE GAP FILLER,CONTAINER:CARTRIDGE 475 G,COLOUR:WHITE,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01) MAC53TGF | EN_01)SILICONE GAP FILLER,EN_01)CARTRIDGE 475 G,WHITE,01)CNW (MOUNT ISA) ELECT WHOLE,01)MAC53TGF |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | MAC53TGF | [5 empty] | https://shop.cnw.com.au/cnw/en/AUD/search/?text=MAC53TGF | [10 empty] | Enriched | 31201705 SEALING COMPOUND | COMPOUND | SEALING | TYPE | SILICONE GAP FILLER | CONTAINER | 300 ML | COLOUR | WHITE | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1281415 | 1281415 | EA | COMPOUND,SEAL;SYNTH,TUBE 100 G |  |  | COMPOUND,SEALING;TYPE:SYNTHETIC,CONTAINER:TUBE 100 G,ADDITIONAL FEATURES EN:REQUIRED FOR CANDC MAINT STOCKS,MNFR:01)REPCO AUTO PARTS | EN_01)SYNTHETIC,EN_01)TUBE 100 G,01)REQUIRED FOR C&C MAINT STOC,01)REPCO AUTO PARTS (QLD),01)1104-100BP |  |  | REPCO AUTO PARTS | REPCO AUTO PARTS | 1104-100BP | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 31201705 SEALING COMPOUND | COMPOUND | SEALING | TYPE | SYNTHETIC | CONTAINER | TUBE 100 G | COLOUR |  | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REQUIRED FOR CANDC MAINT STOCKS | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1253317 | 1253317 | EA | COMPOUND,SEAL;TUBE,PLP,D-ALM325G | COMPUESTO SELLADOR; | PATE ETNCHT; | COMPOUND,SEALING;CONTAINER:TUBE,ADDITIONAL FEATURES EN:PLP,D-ALM325G,ALMINOX GREY,325G | EN_01)TUBE,01)PLP,D-ALM325G,02)ALMINOX GREY,325G,01)PREFORMED LINE PRODUCTS,01)D-ALM325G,01)PREFORMED LINE PRODUCTS,01)D-ALM325G | D-ALM325G | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | D-ALM325G | [5 empty] | https://preformed.com/au/images/PLP_A5_Trade_Catalogue_Final_Email.pdf | [10 empty] | Cleansed | 31201705 SEALING COMPOUND | COMPOUND | SEALING | TYPE |  | CONTAINER | TUBE 325G | COLOUR | ALMINOX GREY | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1283637 | 1283637 | EA | GUN,CLKG;600 ML,ALUMINUM |  |  | GUN,CAULKING;SIZE:600 ML,MATERIAL:ALUMINUM,MNFR:01)MIMS,PTNO:01)48081093 | 600 ML,ALUMINUM,01)MIMS,01)48081093 |  |  | MIMS | MIMS | 48081093 | [5 empty] | https://www.milwaukeetool.co.nz/accessories/speciality/power-tool-accessories/48081093.html | https://www.totaltools.com.au/83653-milwaukee-600mm-aluminium-barrel-sausage-conversion-kit-m18-caulking-gun-48081093 | [9 empty] | Cleansed | 27112714 CAULKING GUN | GUN | CAULKING | TYPE |  | CAPACITY | 600 ML | POWER SOURCE |  | INLET CONNECTION SIZE |  | INLET PRESSURE RATING |  | FLUID CONSUMPTION |  | ELECTRICAL RATING |  | PUSH ROD TYPE |  | PUSH ROD MATERIAL |  | SIZE |  | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1283988 | 1283988 | EA | GUN,CLKG;600 ML,ALUMINUM SAUSAGE |  |  | GUN,CAULKING;CAPACITY:600 ML,MATERIAL:ALUMINUM SAUSAGE,ADDITIONAL FEATURES EN:CONVERSION KIT QUOTE 301106,MNFR:01)MOUNT ISA MINING SUPPLIES P/L,PTNO:01)48081093 | 600 ML,ALUMINUM SAUSAGE,01)CONVERSION KIT QUOTE 301106,01)MOUNT ISA MINING SUPPLIES P,01)48081093 |  |  | MOUNT ISA MINING SUPPLIES P/L | MOUNT ISA MINING SUPPLIES P/L | 48081093 | [5 empty] | https://www.milwaukeetool.co.nz/accessories/speciality/power-tool-accessories/48081093.html | https://www.totaltools.com.au/83653-milwaukee-600mm-aluminium-barrel-sausage-conversion-kit-m18-caulking-gun-48081093 | [9 empty] | Cleansed | 27112714 CAULKING GUN | GUN | CAULKING | TYPE |  | CAPACITY | 600 ML | POWER SOURCE |  | INLET CONNECTION SIZE |  | INLET PRESSURE RATING |  | FLUID CONSUMPTION |  | ELECTRICAL RATING |  | PUSH ROD TYPE |  | PUSH ROD MATERIAL |  | SIZE |  | MATERIAL | ALUMINUM SAUSAGE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONVERSION KIT QUOTE 301106 | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1361733 | 1361733 | EA | BOLT;PHASE SOCKET,KIT,60A,PN:NMSP60101 | PERNO; | BOULON; | BOLT;TYPE:PHASE SOCKET,KIT,ADDITIONAL FEATURES EN:60A,PN:NMSP60101,MNFR:NEW MACEY | 01)CNW (MOUNT ISA) ELECT WHO,01)PACNMSP60101,PHASE SOCKET,KIT,01)60A,PN:NMSP60101,02)MNFR:NEW MACEY |  |  | NEW MACEY | NEW MACEY | NMSP60101 | [5 empty] | https://pacificautomation.com.au/new-macey-nmsp60101-60a-phase-socket-bolt-kit-1034148 | [10 empty] | Cleansed | 31161600 BOLT | BOLT | NO MODIFIER | TYPE | PHASE SOCKET,KIT | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 60A | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1282098 | 1282098 | EA | HAMMER,PWR;RTRY,M18 |  |  | HAMMER,POWER;TYPE:ROTARY,ADDITIONAL FEATURES EN:M18,MNFR:01)MIMS,PTNO:01)M18CH-502C | EN_01)ROTARY,01)M18,01)MIMS,01)M18CH-502C |  |  | MIMS | MIMS | M18CH-502C | [5 empty] | https://www.milwaukeetool.com.au/discontinued-products/M18CH-502C.html | [10 empty] | Enriched | 42292500 POWER HAMMER | HAMMER | POWER | TYPE | ROTARY | STROKE |  | BLOWS PER MINUTE | 0-4900 | DRIVE SIZE |  | INLET SIZE |  | SHANK SIZE |  | END CONNECTION |  | SIZE |  | FLOW RATING |  | ELECTRICAL RATING |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | M18 | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1319320 | 1319320 | EA | DIVIDER;BIN,255X153X6MM,PLASTIC,BLACK | DIVISOR; | DIVISEUR; | DIVIDER;TYPE:BIN,SIZE:255X153X6MM,MATERIAL:PLASTIC,COLOUR:BLACK,ADDITIONAL FEATURES EN:F1H-063/FIH-064,MNFR:FISHER |  |  |  | FISHER | FISHER | F1H-063/FIH-064 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 44122010 DIVIDER | DIVIDER | NO MODIFIER | TYPE | BIN | SIZE | 255X153X6 MM | MATERIAL | PLASTIC | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1277079 | 1277079 | EA | CYLINDER;DBL, SINGLE, END |  |  | CYLINDER;TYPE:DOUBLE, SINGLE, END,MNFR:01)SMC,PTNO:01)D5100 | EN_01)DOUBLE, SINGLE, END,01)SMC,01)D5100 |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | D5100 | [5 empty] | https://www.smcin.com/content/d5100-clevis-kit-c96-cylinder-price-after-discount-18-gst | [10 empty] | Cleansed | 27121600 CYLINDER | CYLINDER | NO MODIFIER | TYPE | DOUBLE, SINGLE, END | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1277339 | 1277339 | EA | CYLINDER;HYDR,KIT |  |  | CYLINDER;TYPE:HYDRAULIC,ADDITIONAL FEATURES EN:KIT,MNFR:01)HONEYCOMBES SALES AND SERVICE P/L,PTNO:01)504191583 | EN_01)HYDRAULIC,01)KIT,01)HONEYCOMBES SALES & SERVICE,01)504191583 |  |  | HONEYCOMBES SALES AND SERVICE P/L | HONEYCOMBES SALES AND SERVICE P/L | 504191583 | [5 empty] | https://www.cheapivecoparts.com/iveco-daily-slave-cylinder-504191583-513002710.html | [10 empty] | Cleansed | 27121600 CYLINDER | CYLINDER | NO MODIFIER | TYPE | HYDRAULIC | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | KIT | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1229550 | 1229550 | EA | GAS,INDUST;OXYGEN,1.4 L,CYLINDER |  |  | GAS,INDUSTRIAL;TYPE:OXYGEN,PACK SIZE:1.4 L,PACK TYPE:CYLINDER,ADDITIONAL FEATURES EN:MAPP TORCH,MNFR:01)BLKWOODS,PTNO:01)03522968 | OXYGEN,1.4 L,CYLINDER,01)MAPP TORCH,01)BLKWOODS,01)03522968 |  |  | BLACKWOODS | BLKWOODS | 03522968 | [5 empty] | https://www.blackwoods.com.au/welding-gas/gas-equipment/lp-gas-handyman-equipment-gas-kits/kit-self-igniting-gas-mapp-bernzomatic/p/03522968 | [10 empty] | Cleansed | 12142100 INDUSTRIAL GAS | GAS | INDUSTRIAL | TYPE | OXYGEN | CONCENTRATION/PURITY |  | PACK SIZE | 1.4 L | PACK TYPE | CYLINDER | APPEARANCE |  | MSDS/CAS NUMBER |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MAPP TORCH | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1363198 | 1363198 | EA | CLIP,PPR;CRYSTALFILE INDEX TABS FOR SUSP |  |  | CLIP,PAPER;ADDITIONAL FEATURES EN:CRYSTALFILE INDEX TABS FOR SUSPENSION FILES, EN,MNFR:01)OFFICEMAX *USE #34387*,PTNO:01)1155784 | 01)CRYSTALFILE INDEX TABS FOR,01)OFFICEMAX *USE #34387*,01)1155784 |  |  | OFFICEMAX | OFFICEMAX | 1155784 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 44122104 PAPER CLIP | CLIP | PAPER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CRYSTALFILE INDEX TABS FOR SUSPENSION FILES,*USE #34387* | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1280573 | 1280573 | EA | DISPENSER;D-LEAD COUNT TEST |  |  | DISPENSER;TYPE:D-LEAD COUNT TEST,ADDITIONAL FEATURES EN:WITH PAD COUNT, PACKAGE TYPE, AUTO STATION,MNFR:01)ATOMSUP,PTNO:01) 40015131 | EN_01)D-LEAD COUNT TEST,01)WITH PAD COUNT, PACKAGE TYP,01)ATOMSUP,01)40015131 |  |  | ATOM SUPPLY | ATOM SUPPLY | 40015131 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 47131700 DISPENSER | DISPENSER | NO MODIFIER | TYPE | D-LEAD COUNT TEST | CAPACITY |  | OVERALL SIZE |  | OPERATION TYPE |  | MOUNTING TYPE |  | BODY MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W PAD COUNT, PACKAGE TYPE, AUTO STATION | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1280608 | 1280608 | EA | INSULATION;19 X 10 MM,3/4 X 3/8 |  |  | INSULATION;SIZE:19 X 10 MM,ADDITIONAL FEATURES EN:3/4 X 3/8,MNFR:01)BOSS,PTNO:01)K19010 | EN_01)19 X 10 MM,01)3/4 X 3/8,01)BOSS,01)K19010 |  |  | BOSS | BOSS | K19010 | [5 empty] | https://www.kirbyhvacr.com.au/product-detail/K19010 | [10 empty] | Enriched | 30140000 INSULATION | INSULATION | NO MODIFIER | TYPE |  | SIZE | 19 X 10 MM | THICKNESS | 2 M | MATERIAL |  | TEMPERATURE RATING |  | DENSITY |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3/4 X 3/8 | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1280836 | 1280836 | EA | INSULATION;19 X 20 MM,3/4 X 3/4 |  |  | INSULATION;SIZE:19 X 20 MM,ADDITIONAL FEATURES EN:3/4 X 3/4,MNFR:01)BOSS,PTNO:01)K19020 | EN_01)19 X 20 MM,01)3/4 X 3/4,01)BOSS,01)K19020 |  |  | BOSS | BOSS | K19020 | [5 empty] | https://www.kirbyhvacr.com.au/product-detail/K19020 | [10 empty] | Enriched | 30140000 INSULATION | INSULATION | NO MODIFIER | TYPE |  | SIZE | 19 X 20 MM | THICKNESS | 2 M | MATERIAL |  | TEMPERATURE RATING |  | DENSITY |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3/4 X 3/4 | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1350167 | 1350167 | EA | KIT;PRTS,DIAPH, GASKETS,TREVBOIL |  |  | KIT;TYPE:PARTS,DIAPHRAGM, GASKETS,ADDITIONAL FEATURES EN:MATERIAL STAINLESS STEEL,MNFR:01)TREVBOIL,PTNO:01)4525-024-03 | 01)TREVBOIL,01)4525-024-03,EN_01)PARTS,EN_01)DIAPHRAGM, GASKETS,01)MATERIAL STAINLESS STEEL |  |  | TREVBOIL | TREVBOIL | 4525-024-03 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | PARTS,DIAPHRAGM, GASKETS | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:STAINLESS STEEL | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1301965 | 1301965 | EA | KIT;PRTS,TX VALVE POWER E,SIGMA,521235 |  |  | KIT;TYPE:PARTS,CONTENTS:TX VALVE POWER E,MNFR:01)SIGMA,PTNO:01)521235 | 01)SIGMA,01)521235,EN_01)PARTS,EN_01)TX VALVE POWER E |  |  | SIGMA | SIGMA | 521235 | [5 empty] | https://www.sigmaaldrich.com/IN/en/product/mm/521235 | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | PARTS | CONTENTS | TX VALVE POWER E | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1302566 | 1302566 | EA | KIT;PUMP RECIPROCATING,PRTS, REXROTH A |  |  | KIT;TYPE:PUMP RECIPROCATING,ADDITIONAL FEATURES EN:PARTS, REXROTH A,MNFR:01)WENMEC,PTNO:01)33435 | 01)WENMEC,01)33435,EN_01)PUMP RECIPROCATING,01)PARTS, REXROTH A |  |  | WENMEC SYSTEMS INC | WENMEC SYSTEMS INC | 33435 | [5 empty] | https://www.shopetsonline.com/product-p/33435.htm | https://www.foreverpureplace.com/33435-p/33435.htm | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | PUMP RECIPROCATING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PARTS | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1360686 | 1360686 | EA | KIT;RACKMOUNT,19 IN,MFR:CISCO | KIT; | KIT; | KIT;TYPE:RACKMOUNT,ADDITIONAL FEATURES EN:19 IN,MFR:CISCO,DEVICE SUPPORTED:NETWORK SWITCH | 01)DATA #3 GROUP,01)RM-RGD-19IN=,EN_01)RACKMOUNT,01)19 IN,MFR:CISCO,02)DEVICE SUPPORTED:NETWORK SW |  |  | CISCO | CISCO | [6 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | RACKMOUNT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:19 IN,DEVICE SUPPORTED:NETWORK SWITCH | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1360684 | 1360684 | EA | KIT;RACKMOUNT,BRCKTS,SCREWS,DCMNT,19 IN | KIT; | KIT; | KIT;TYPE:RACKMOUNT,CONTENTS:BRCKTS,SCREWS,DCMNT,ADDITIONAL FEATURES EN:19 IN,FOR CATALYST 3560 2960 ME3400 COMPACT SWITC,MFR: CISCO | 01)DATA #3 GROUP,01)RCKMNT-19-CMPCT=,EN_01)RACKMOUNT,EN_01)BRCKTS,SCREWS,DCMNT,01)19 IN,02)FOR CATALYST 3560 2960 ME34,03)MFR:CISCO |  |  | CISCO | CISCO | [6 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | RACKMOUNT | CONTENTS | BRCKTS,SCREWS,DCMNT | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:19 IN,,FOR CATALYST 3560 2960 ME3400 COMPACT SWITC | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1360685 | 1360685 | EA | KIT;RACKMOUNT,MFR:CISCO,C3850 | KIT; | KIT; | KIT;TYPE:RACKMOUNT,ADDITIONAL FEATURES EN:MFR:CISCO,C3850,CISCO CATALYST 3850 19,23,24 INCH AND ETSI | 01)DATA #3 GROUP,01)C3850-RACK-KIT-RF,EN_01)RACKMOUNT,01)MFR:CISCO,C3850,02)CISCO CATALYST 3850 19,23,2 |  |  | CISCO | CISCO | C3850 | [5 empty] | https://www.cisco.com/c/en/us/support/switches/catalyst-3850-series-switches/series.html | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | RACKMOUNT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:19,23,24 IN AND ETSI | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1294816 | 1294816 | EA | KIT;REAR BRAKE SEAL,SIBS,24-5021 |  |  | KIT;TYPE:REAR BRAKE SEAL,ADDITIONAL FEATURES EN:PARTS, LCV1, ONE BRAKE, II, II BRAKING SYSTEM,MNFR:01)SIBS,PTNO:01)24-5021 | 01)SIBS,01)24-5021,EN_01)REAR BRAKE SEAL,01)PARTS, LCV1, ONE BRAKE, II |  |  | SIBS | SIBS | 24-5021 | [5 empty] | https://spareto.com/products/frenkit-repair-kit-brake-caliper/245021 | https://www.trodo.com/repair-kit-brake-caliper-frenkit-245021 | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | REAR BRAKE SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PARTS, LCV1, ONE BRAKE, II, II BRAKING SYSTEM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1321163 | 1321163 | EA | KIT;REBLD,PRTS, TRAVERSE PLATE ROLLER |  |  | KIT;TYPE:REBUILD,ADDITIONAL FEATURES EN:PARTS, TRAVERSE PLATE ROLLER,MNFR:01)TECNIHYD,PTNO:01)66.239.02571.130 | 01)TECNIHYD,01)66.239.02571.130,EN_01)REBUILD,01)PARTS, TRAVERSE PLATE ROLLE |  |  | TECNIHYD | TECNIHYD | 66.239.02571.130 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | REBUILD | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PARTS, TRAVERSE PLATE ROLLER | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382545 | 1382545 | EA | KIT;RECOIL,INSERTS |  |  | KIT;TYPE:RECOIL,ADDITIONAL FEATURES EN:10MM X 1.5MM INCLUDES INSERT TOOL, TWIST DRILL,INSERTS,MNFR:01)TOOL 'N' TACKLE,PTNO:01) RC35108 | 01)TOOL 'N' TACKLE,01)RC35108,EN_01)RECOIL,01)10MM X 1.5MM INCLUDES INSER,02)INSERTS |  |  | TOOL 'N' TACKLE | TOOL 'N' TACKLE | RC35108 | [5 empty] | https://www.tools.com/recoil-m10-1-5-thread-repair-kit-rc35108.html | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | RECOIL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:10X 1.5 MM INCLUDES INSERT TOOL, TWIST DRILL,INSERTS | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1290917 | 1290917 | EA | KIT;REPLACEMENT PARTS,22,30X12,SKF |  |  | KIT;TYPE:REPLACEMENT PARTS,NUMBER OF ITEMS:22,ADDITIONAL FEATURES EN:SKIP BEARINGS P49, A P REBUILD, SEE EXTENDED DESCRIPTION, (12) BSC,OIL SEAL TC2685 95X120X12TC, (2) BSC OIL SEAL TC12308 42552550TC, (,2) BSC OIL SEAL TC12672 85X110X12TC, (6) BSC OIL SEAL TC12696 105X1,30X12,MNFR:01)SKF,PTNO:01)P49SKIP | 01)SKF,01)P49SKIP,EN_01)REPLACEMENT PARTS,01)SKIP BEARINGS P49, A P REBU,02)OIL SEAL TC2685 95X120X12TC,03)2) BSC OIL SEAL TC12672 85X,04)30X12 |  |  | SKF | SKF | P49SKIP | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | REPLACEMENT PARTS | CONTENTS |  | NUMBER OF ITEMS | 22 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SKIP BEARINGS P49, A P REBUILD, SEE EXTENDED DESCRIPTION, (12) BSC,OIL SEAL TC2685 95X120X12TC, (2) BSC OIL SEAL TC12308 42552550TC, (,2) BSC OIL SEAL TC12672 85X110X12TC, (6) BSC OIL SEAL TC12696 105X1,30X12 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382691 | 1382691 | EA | KIT;REPR |  |  | KIT;TYPE:REPAIR,MNFR:01)SWANSTON TASMANIA PTY LTD,PTNO:01)3310-1208-90 | 01)SWANSTON TASMANIA PTY LTD,01)3310-1208-90,EN_01)REPAIR |  |  | SWANSTON TASMANIA PTY LTD | SWANSTON TASMANIA PTY LTD | 3310-1208-90 | [5 empty] | https://www.lsengineers.co.uk/repair-kit-atlas-copco-no-3310-1208-90.html | https://ultimatetools.com.au/wp-content/uploads/2021/05/TEX05P-Spare-Parts-Manual.pdf | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | REPAIR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382227 | 1382227 | EA | KIT;REPR, WIRE FEEDER HAND |  |  | KIT;TYPE:REPAIR, WIRE FEEDER HAND,ADDITIONAL FEATURES EN:PIECE LINER TWECO 4 STL 1.6 X 4.5,MNFR:01)WELDERS PRO SHOP,PTNO:01) PX4116 | 01)WELDERS PRO SHOP,01)PX4116,EN_01)REPAIR, WIRE FEEDER HAND,01)PIECE LINER TWECO 4 STL 1.6 |  |  | WELDERS PRO SHOP | WELDERS PRO SHOP | PX4116 | [5 empty] | https://www.rcf.it/es/products/product-detail/px-4116?p_p_id=it_dvel_rcf_products_frontend_web_portlet_ProductDownloadsPortlet&p_p_lifecycle=2&p_p_state=normal&p_p_mode=view&p_p_resource_id=downloadProductFileEntry&p_p_cacheability=cacheLevelPage&_it_dvel_rcf_products_frontend_web_portlet_ProductDownloadsPortlet_productCode=STP0329&_it_dvel_rcf_products_frontend_web_portlet_ProductDownloadsPortlet_profileId=244658 | http://www.alfaaudio.com.mk/ShowProduct.aspx?p=164542&name=PX_4116_UHF_WIRELESS_MICROPHONE_SYSTEM_RCF&ct=6230&r=6&c=20&l=54 | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | REPAIR, WIRE FEEDER HAND | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE LINER TWECO 4 STL 1.6 X 4.5 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1346201 | 1346201 | EA | KIT;ROD SEAL REPLACEMENT,3,E FOR |  |  | KIT;TYPE:ROD SEAL REPLACEMENT,(1) MULTI-TIP URETHANE U-SEAL, (1) NBR O-RING, (1) XNBR WIPER,NUMBER OF ITEMS:3,ADDITIONAL FEATURES EN:PARTS, FOR 2HXLTS23M SLEWING CYLINDER, INCLUDES, AU-36107 HYD. DRIV,E FOR,MNFR:01)PARKHANN,PTNO:01)RK2HLTS251 | 01)PARKHANN,01)RK2HLTS251,EN_01)ROD SEAL REPLACEMENT,EN_01)(1) MULTI-TIP URETHANE U,01)PARTS, FOR 2HXLTS23M SLEWIN,02)E FOR |  |  | PARKHANN | PARKHANN | RK2HLTS251 | [5 empty] | https://www.hydraulic-connections.com/Parker-Rod-Seal-Kit-p/rk2hlts251.htm | https://www.electrical.com/Products/Machine-Partss-Parker/RK2HLTS251 | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | ROD SEAL REPLACEMENT | CONTENTS | (1) MULTI-TIP URETHANE U-SEAL, (1) NBR O-RING, (1) XNBR WIPER | NUMBER OF ITEMS | 3 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PARTS, FOR 2HXLTS23M SLEWING CYLINDER, INCLUDES, AU-36107 HYD. DRIV,E FOR | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1360798 | 1360798 | EA | KIT;ROLL SPRING,PT:CA2025 | KIT; | KIT; | KIT;TYPE:ROLL SPRING,ADDITIONAL FEATURES EN:MFR:CHAMPION FASTENERS,SIZE:3/32-3.8 IN,PT:CA2025 | 01)BLACKWOODS,01)01142407,EN_01)ROLL SPRING,01)MFR:CHAMPION FASTENERS,SIZE,02)PT:CA2025 |  |  | CHAMPION FASTENERS | CHAMPION FASTENERS | CA2025 | [5 empty] | https://championfasteners.com.au/product/ca2025/ | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | ROLL SPRING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:3/32-3.8 IN | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382872 | 1382872 | EA | KIT;ROLR,230 MM |  |  | KIT;TYPE:ROLLER,ADDITIONAL FEATURES EN:230 MM,MNFR:01)PANDDECOR,PTNO:01)8002587 | 01)P&DECOR,01)8002587,EN_01)ROLLER,01)230 MM |  |  | PANDDECOR | PANDDECOR | 8002587 | [5 empty] | https://www.kmotorshop.com/en/article-detail/view/182825/gasket-set-cylinder-head-mect8002587-mec-diesel-02-10084-02-t8002587 | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | ROLLER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:230 MM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1354227 | 1354227 | EA | KIT;SEAL,HYDRAULIC PACK VALVE BLOCK,SET |  |  | KIT;TYPE:SEAL,CONTENTS:HYDRAULIC PACK VALVE BLOCK,ADDITIONAL FEATURES EN:SET,MNFR:01)WENMEC,PTNO:01)24665 | 01)WENMEC,01)24665,EN_01)SEAL,EN_01)HYDRAULIC PACK VALVE BLO,01)SET |  |  | WENMEC SYSTEMS INC | WENMEC SYSTEMS INC | 24665 | [5 empty] | https://www.vwspares.co.uk/product_info.php?products_id=4368 | https://shop.advanceautoparts.com/p/yukon-gear-ring-and-pinion-kit-24665/11777937-P | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS | HYDRAULIC PACK VALVE BLOCK | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382752 | 1382752 | EA | KIT;SEAL,UNIVALVE 4215 |  |  | KIT;TYPE:SEAL,ADDITIONAL FEATURES EN:UNIVALVE 4215,MNFR:01)TRHC T/A METCO,PTNO:01)C 52875 | 01)TRHC T/A METCO,01)C 52875,EN_01)SEAL,01)UNIVALVE 4215 |  |  | TRHC T/A METCO | TRHC T/A METCO | C 52875 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | UNIVALVE 4215 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1360729 | 1360729 | PAC | KIT;SEALNG,MFR:MHWIRTH | KIT; | KIT; | KIT;TYPE:SEALING,ADDITIONAL FEATURES EN:MFR:MHWIRTH | 01)MHWIRTH PTY LTD,01)11092215,EN_01)SEALING,01)MFR:MHWIRTH |  |  | MHWIRTH | MHWIRTH | 11092215 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SEALING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1383053 | 1383053 | EA | KIT;SET,ARB, HOLE SAWS, PILOT BITS,29 |  |  | KIT;TYPE:SET,CONTENTS:ARBOR, HOLE SAWS, PILOT BITS,NUMBER OF ITEMS:29,ADDITIONAL FEATURES EN:XTORQUE PROFESSIONAL GRADE MASTERS BI-METAL ITE,MNFR:01)VENDOR LINK PTY LTD,PTNO:01)W93572 | 01)VENDOR LINK PTY LTD,01)W93572,EN_01)SET,EN_01)ARBOR, HOLE SAWS, PILOT,01)XTORQUE PROFESSIONAL GRADE |  |  | VENDOR LINK PTY LTD | VENDOR LINK PTY LTD | W93572 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SET | CONTENTS | ARBOR, HOLE SAWS, PILOT BITS | NUMBER OF ITEMS | 29 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | XTORQUE PROFESSIONAL GRADE MASTERS BI-METAL ITE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1366061 | 1366061 | EA | KIT;SPEED SENSOR |  |  | KIT;TYPE:SPEED SENSOR,MNFR:01)THEGAMME,PTNO:01)SNSR 60-12AR 1K P | 01)THEGAMME,01)SNSR 60-12AR 1K P,EN_01)SPEED SENSOR |  |  | THEGAMME | THEGAMME | SNSR 60-12AR 1K P | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SPEED SENSOR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1360799 | 1360799 | EA | KIT;SPLIT COTTER,PIN,1540,PT:CA2540 | KIT;1540 | KIT;1540 | KIT;TYPE:SPLIT COTTER,CONTENTS:PIN,NUMBER OF ITEMS:1540,ADDITIONAL FEATURES EN:MFR:CHAMPION FASTENERS,MATERIAL:STEEL,COLOUR:ZINC PLATED,PT:CA2540 | 01)BLACKWOODS,01)01142577,EN_01)SPLIT COTTER,EN_01)PIN,1540,01)MFR:CHAMPION FASTENERS,MATE,02)PT:CA2540 |  |  | CHAMPION FASTENERS | CHAMPION FASTENERS | CA2540 | [5 empty] | https://www.aimsindustrial.com.au/champion-ca2540-split-pin-assortment-kit-1540-pcs | https://www.aimsindustrial.com.au/champion-c2540-10-split-pin-5.0-x-40mm-zinc-plated | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SPLIT COTTER | CONTENTS | PIN | NUMBER OF ITEMS | 1540 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:STEEL,COLOUR:ZINC PLATED | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382945 | 1382945 | EA | KIT;SRVC |  |  | KIT;TYPE:SERVICE,MNFR:01)S AND K PYE PTY LTD T/AS SUPERIOR,PTNO:01)OTFLK13 | 01)S & K PYE PTY LTD T/AS SUPE,01)OTFLK13,EN_01)SERVICE |  |  | S AND K PYE PTY LTD T/AS SUPERIOR | S AND K PYE PTY LTD T/AS SUPERIOR | OTFLK13 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SERVICE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1365967 | 1365967 | EA | KIT;SRVC |  |  | KIT;TYPE:SERVICE,CONTENTS:HEPA FILTER, SOLID CORE CARBON SO2 FILTER MODULE,MNFR:01)TRACSQLD,PTNO:01)TQ470933 | 01)TRACSQLD,01)TQ470933,EN_01)SERVICE,EN_01)HEPA FILTER, SOLID CORE |  |  | TRACSQLD | TRACSQLD | TQ470933 | [5 empty] | https://www.breathe-safe.com.au/wp-content/uploads/2021/06/SAN-LH621-INPRESS-TL-AC-MANUAL-V4.02-L721D347.pdf | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SERVICE | CONTENTS | HEPA FILTER, SOLID CORE CARBON SO2 FILTER MODULE | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382939 | 1382939 | EA | KIT;SRVC,500HR |  |  | KIT;TYPE:SERVICE,ADDITIONAL FEATURES EN:500HR,MNFR:01)SMH EQUIPMENT PTY LTD,PTNO:01)ECR145CL | 01)SMH EQUIPMENT PTY LTD,01)ECR145CL,EN_01)SERVICE,01)500HR |  |  | SMH EQUIPMENT PTY LTD | SMH EQUIPMENT PTY LTD | ECR145CL | [5 empty] | https://www.partsformachines.com/product/slide-in-master-pin-kit-for-volvo-ecr145cl | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SERVICE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 500HR | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382893 | 1382893 | EA | KIT;SRVC,BATRY, GREASE |  |  | KIT;TYPE:SERVICE,CONTENTS:BATTERY, GREASE,MNFR:01)TOOL 'N' TACKLE,PTNO:01)SV502/PL1 | 01)TOOL 'N' TACKLE,01)SV502/PL1,EN_01)SERVICE,EN_01)BATTERY, GREASE |  |  | TOOL 'N' TACKLE | TOOL 'N' TACKLE | SV502/PL1 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SERVICE | CONTENTS | BATTERY, GREASE | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1287616 | 1287616 | EA | KIT;SRVC,ELPH, R1700G, SBR, 250HR |  |  | KIT;TYPE:SERVICE,ADDITIONAL FEATURES EN:ELPH, R1700G, SBR, 250HR,MNFR:01)UNKNOWN,PTNO:01)APLLDR1700GSBR G9000 0001 | 01)UNKNOWN,01)APLLDR1700GSBR G9000 0001,EN_01)SERVICE,01)ELPH, R1700G, SBR, 250HR |  |  | UNKNOWN | UNKNOWN | APLLDR1700GSBR G9000 0001 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SERVICE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELPH, R1700G, SBR, 250HR | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382400 | 1382400 | EA | KIT;SRVC,PRICE AS QUOTE 57745 |  |  | KIT;TYPE:SERVICE,ADDITIONAL FEATURES EN:PRICE AS QUOTE 57745,MNFR:01)S AND K PYE PTY LTD T/AS SUPERIOR,PTNO:01)OTFLK03 | 01)S & K PYE PTY LTD T/AS SUPE,01)OTFLK03,EN_01)SERVICE,01)PRICE AS QUOTE 57745 |  |  | S AND K PYE PTY LTD T/AS SUPERIOR | S AND K PYE PTY LTD T/AS SUPERIOR | OTFLK03 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SERVICE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRICE AS QUOTE 57745 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1360230 | 1360230 | EA | KIT;START,COUPLER/ADAPTOR,9,1/4IN,BSPT | KIT;9 | KIT;9 | KIT;TYPE:STARTER,CONTENTS:COUPLER/ADAPTOR,NUMBER OF ITEMS:9,ADDITIONAL FEATURES EN:1/4IN,BSPT,RYCO STYLE,MALE & FEMALE,PN: 100253KIT9,MNFR:SONSBEEK |  |  |  | SONSBEEK | SONSBEEK | 100253KIT9 | [5 empty] | https://www.totaltools.com.au/97332-air-coupling-ryco-kit-9pc-coupler-adaptor-1-4-m-f-100253kit9 | https://www.toolsonsal.com/sonsbeek-air-coupling-ryco-kit-9pc-coupler-adaptor-14inch-mf-top-sellers/ | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | STARTER | CONTENTS | COUPLER/ADAPTOR | NUMBER OF ITEMS | 9 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:1/4IN,BSPT,RYCO STYLE,MALE & FEMALE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1232452 | 1232452 | EA | KIT;SWIVEL BEARING REPLACEMENT,8,ARENA |  |  | KIT;TYPE:SWIVEL BEARING REPLACEMENT,(2) BUSHES PA, (2) BUSHES 16369-03, (2) CAGES 10697-01 , (2) PIN,NUMBER OF ITEMS:8,ADDITIONAL FEATURES EN:PARTS, SEE EXTENDED DESCRIPTION, CONTAINS,MNFR:01)ARENA,PTNO:01)ARE4001 | 01)ARENA,01)ARE4001,EN_01)SWIVEL BEARING REPLACEME,EN_01)(2) BUSHES PA, (2) BUSHE,01)PARTS, SEE EXTENDED DESCRIP |  |  | ARENA | ARENA | ARE4001 | [5 empty] | https://milautoparts.es/en/product/11614389263/ | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | SWIVEL BEARING REPLACEMENT | CONTENTS | (2) BUSHES PA, (2) BUSHES 16369-03, (2) CAGES 10697-01 , (2) PIN | NUMBER OF ITEMS | 8 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PARTS, SEE EXTENDED DESCRIPTION | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1287225 | 1287225 | EA | KIT;TEMPERATURE GUAGE |  |  | KIT;TYPE:TEMPERATURE GUAGE,MNFR:01)TEMPCONT,PTNO:01)100MM DIA. 0-100C PANEL MNT | 01)TEMPCONT,01)100MM DIA. 0-100C PANEL MNT,EN_01)TEMPERATURE GUAGE |  |  | TEMPCONT | TEMPCONT | 100MM DIA. 0-100C PANEL MNT | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | TEMPERATURE GUAGE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382245 | 1382245 | EA | KIT;THE ULTIMATE COMBO,15 |  |  | KIT;TYPE:THE ULTIMATE COMBO,NUMBER OF ITEMS:15,ADDITIONAL FEATURES EN:4 X 5.0 AH, 18 V B/L AS PER QOUTE 230397,MNFR:01)TOTAL TOOLS TOWNSVILLE,PTNO:01)131540 | 01)TOTAL TOOLS TOWNSVILLE,01)131540,EN_01)THE ULTIMATE COMBO,01)4 X 5.0 AH, 18 V B/L AS PER |  |  | TOTAL TOOLS TOWNSVILLE | TOTAL TOOLS TOWNSVILLE | 131540 | [5 empty] | https://www.marinedirect.com.au/131540-bla-repair-kit-to-suit-500-and-1000-models | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | THE ULTIMATE COMBO | CONTENTS |  | NUMBER OF ITEMS | 15 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:4 X 5.0 AH, 18 V B/L AS PER QOUTE 230397 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382200 | 1382200 | EA | KIT;TST,DURA BACKFLOW VALVE |  |  | KIT;TYPE:TEST,ADDITIONAL FEATURES EN:DURA BACKFLOW VALVE,MNFR:01)REECE,PTNO:01)1011418 | 01)REECE,01)1011418,EN_01)TEST,01)DURA BACKFLOW VALVE |  |  | REECE | REECE | 1011418 | [5 empty] | https://digitalassets.reecegroup.com.au/m/6b265b0796036414/original/Febco-Backflow-Prevention-Reference.pdf | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | TEST | CONTENTS | DURA BACKFLOW VALVE | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382259 | 1382259 | EA | KIT;TST,DURA BACKFLOW VALVE,17 |  |  | KIT;TYPE:TEST,CONTENTS:DURA BACKFLOW VALVE,NUMBER OF ITEMS:17,MNFR:01)REECE,PTNO:01)1011418 | 01)REECE,01)1011418,EN_01)TEST,EN_01)DURA BACKFLOW VALVE |  |  | REECE | REECE | 1011418 | [5 empty] | https://digitalassets.reecegroup.com.au/m/6b265b0796036414/original/Febco-Backflow-Prevention-Reference.pdf | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | TEST | CONTENTS | DURA BACKFLOW VALVE | NUMBER OF ITEMS | 17 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382763 | 1382763 | EA | KIT;UNIVERSAL COMPRESSION TESTER,8 |  |  | KIT;TYPE:UNIVERSAL COMPRESSION TESTER,NUMBER OF ITEMS:8,MNFR:01)REPCO AUTO PARTS (QLD),PTNO:01)RST179 | 01)REPCO AUTO PARTS (QLD),01)RST179,EN_01)UNIVERSAL COMPRESSION TE |  |  | REPCO AUTO PARTS (QLD) | REPCO AUTO PARTS (QLD) | RST179 | [5 empty] | https://www.repco.com.au/tools-equipment/automotive-tools/engine-drivetrain/repco-universal-compression-tester-kit-rst179/p/A9445087 | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | UNIVERSAL COMPRESSION TESTER | CONTENTS |  | NUMBER OF ITEMS | 8 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382183 | 1382183 | EA | KIT;VALVE REBUILD,TO SUIT 8316G334 120DC |  |  | KIT;TYPE:VALVE REBUILD,ADDITIONAL FEATURES EN:TO SUIT 8316G334 120DC,MNFR:01)VENDOR LINK PTY LTD,PTNO:01)K316-850 | 01)VENDOR LINK PTY LTD,01)K316-850,EN_01)VALVE REBUILD,01)TO SUIT 8316G334 120DC |  |  | VENDOR LINK PTY LTD | VENDOR LINK PTY LTD | K316-850 | [5 empty] | https://inductremp.com/en/k-316/ | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | VALVE REBUILD | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TO SUIT 8316G334 120DC | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1295972 | 1295972 | EA | KIT;WALL MOUNTING BRACKET,PRTS, SET |  |  | KIT;TYPE:WALL MOUNTING BRACKET,ADDITIONAL FEATURES EN:PARTS, SET,MNFR:01)TROPAC,PTNO:01)IP-WMB4 | 01)TROPAC,01)IP-WMB4,EN_01)WALL MOUNTING BRACKET,01)PARTS, SET |  |  | TROPAC | TROPAC | IP-WMB4 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | WALL MOUNTING BRACKET | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PARTS, SET | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382746 | 1382746 | EA | KIT;WALL MOUNTING,TO SUIT LASER GUARD |  |  | KIT;TYPE:WALL MOUNTING,ADDITIONAL FEATURES EN:TO SUIT LASER GUARD,MNFR:01)REMOTE CONTROL TECHNOLOGIES P/L,PTNO:01)13053 | 01)REMOTE CONTROL TECHNOLOGIES,01)13053,EN_01)WALL MOUNTING,01)TO SUIT LASER GUARD |  |  | REMOTE CONTROL TECHNOLOGIES P/L | REMOTE CONTROL TECHNOLOGIES P/L | 13053 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | WALL MOUNTING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TO SUIT LASER GUARD | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1347705 | 1347705 | EA | KIT;WHEEL CYLINDER REPAIR,PBR,K39X |  |  | KIT;TYPE:WHEEL CYLINDER REPAIR,ADDITIONAL FEATURES EN:PARTS, BRAKE MASTER, 1-1/4 IN DIA,MNFR:01)PBR,PTNO:01)K39X | 01)PBR,01)K39X,EN_01)WHEEL CYLINDER REPAIR,01)PARTS, BRAKE MASTER, 1-1/4 |  |  | PBR | PBR | K39X | [5 empty] | https://www.butlerautomart.co.nz/our-range/Brake-actuation/Brake-master-cylinder-kits/Product-Specification-K39X.aspx | https://www.supercheapauto.com.au/p/ibs-ibs-m-cyl-kit/SPO4418483.html | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | WHEEL CYLINDER REPAIR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PARTS, BRAKE MASTER, SIZE:1-1/4 IN DIA | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382459 | 1382459 | EA | KIT;WIRELSS,KYBD, MOUSE,2,3 |  |  | KIT;TYPE:WIRELESS,CONTENTS:KEYBOARD, MOUSE,NUMBER OF ITEMS:2,ADDITIONAL FEATURES EN:COMBO PERFORMANCE EACH, USE NO 34387, REFERENCE,3,MNFR:01)OFFICEMAX,PTNO:01)8826439 | 01)OFFICEMAX,01)8826439,EN_01)WIRELESS,EN_01)KEYBOARD, MOUSE,01)COMBO PERFORMANCE EACH, USE,02)3 |  |  | OFFICEMAX | OFFICEMAX | 8826439 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | WIRELESS | CONTENTS | KEYBOARD, MOUSE | NUMBER OF ITEMS | 2 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMBO PERFORMANCE EACH, USE NO 34387, REFERENCE,3 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382934 | 1382934 | EA | KIT;XGS POLY,BUSH, SHACKLE,HILUX 4/05+ |  |  | KIT;TYPE:XGS POLY,CONTENTS:BUSH, SHACKLE,ADDITIONAL FEATURES EN:HILUX 4/05+,MNFR:01)TJM PRODUCTS PTY LTD,PTNO:01)779587K | 01)TJM PRODUCTS PTY LTD,01)779587K,EN_01)XGS POLY,EN_01)BUSH, SHACKLE,01)HILUX 4/05+ |  |  | TJM PRODUCTS PTY LTD | TJM PRODUCTS PTY LTD | 779587K | [5 empty] | https://www.carid.com/tjm-4x4/xgs-leaf-spring-bushing-kit-mpn-779587k.html | https://www.summitracing.com/parts/tjm-779587k | [9 empty] | Cleansed | 27113201 KIT | KIT | NO MODIFIER | TYPE | XGS POLY | CONTENTS | BUSH, SHACKLE | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HILUX 4/05+ | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1280323 | 1280323 | EA | CABINET;SRVR, DRAWS |  |  | CABINET;TYPE:SERVER, DRAWS,MNFR:01)RS COMPONENTS PTY LTD,PTNO:01)7682621 | EN_01)SERVER, DRAWS,01)RS COMPONENTS PTY LTD,01)7682621 |  |  | RS COMPONENTS PTY LTD | RS COMPONENTS PTY LTD | 7682621 | [5 empty] | https://uk.rs-online.com/web/p/server-cabinet-accessories/7682621 | [10 empty] | Cleansed | 24112400 CABINET | CABINET | NO MODIFIER | TYPE | SERVER, DRAWS | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 |  | Mat2 - 1382738 | 1382738 | EA | COVER;FRONT LENS PROTECTION |  |  | COVER;TYPE:FRONT LENS PROTECTION,ADDITIONAL FEATURES EN:KIT, REFERENCE NO: 007248486800,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01) | 01)J.BLACKWOOD & SON LIMITED,01)00665779,EN_01)FRONT LENS PROTECTION,01)KIT, REFERENCE NO: 00724848 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | 00665779 | [5 empty] | https://www.blackwoods.com.au/welding-gas/welding-safety/welding-helmet-spare-parts/kit-front-cover-9100-fx-speedglas/p/00665779 | [10 empty] | Cleansed | 52121500 COVER | COVER | NO MODIFIER | TYPE | FRONT LENS PROTECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | KIT, REFERENCE NO: 007248486800 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PEH |  | 2023-08-11 | 2023-08-18 | POWER SUPPLY,RPM PROCESSED BASED ON WEBSOURCE CONFLICT W.R.T INPUT | Mat2 - 1281111 | 1281111 | EA | DRILL,PWR;RTRY, ENGRAVER,115 V |  |  | DRILL,POWER;TYPE:ROTARY, ENGRAVER,OVERALL SIZE:WD 8.5 X LG 6.5 X HT 8.5 IN,POWER SUPPLY:115 V,SPEED RATING:7200 STR/MIN,MNFR:01) DREMEL,PTNO:01)92220106,MNFR:02)ATOM SUPPLY,PTNO:02)290-01 | EN_01)ROTARY, ENGRAVER,EN_01)WD 8.5 X LG 6.5 X HT 8.5,EN_01)115 V,EN_01)7200 STR/MIN,01)DREMEL,02)ATOM SUPPLY,01)92220106,02)290-01 |  |  | ATOM SUPPLY | ATOM SUPPLY | 92220106 |  | DREMEL | 290-01 |  |  | https://www.atom.com.au/tool-rotary-kit-multi-speed-240v-10000-33000rpm-flexible-shaft-dremel-92220106 | [10 empty] | Enriched | 20102100 POWER DRILL | DRILL | POWER | TYPE | ROTARY, ENGRAVER | CHUCK CAPACITY |  | CHUCK TYPE |  | OVERALL SIZE | 8.5 WDX6.5 LGX8.5 HT IN | POWER SUPPLY | 240 V, 130 W | SPEED RATING | 10000-33000 RPM | TORQUE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed