## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | MATERIAL | MATNR | MEINS | BISMT | EXISTING CLASS 1 | MAKTX | TEXT | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | STATUS
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1258193 | 1258193 |  |  |  | CONTACTOR;ABB,1SBL137001R1310 | CONTACTOR;MNFR:ABB,PTNO:1SBL137001R1310 | CONTACTOR | 1SBL137001R1310 | 3000014 | ABB | ABB | 1SBL137001R1310 | [5 empty] | https://docs.rs-online.com/b4f1/0900766b810f8ca5.pdf | [10 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 100 TO 250 V | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, CULUS | ADDITIONAL FEATURES | [45 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1274648 | 1274648 |  |  |  | SWITCH,LMT;HONE,HONGLLA01A2B | SWITCH,LIMIT;MNFR:HONEYWELL,PTNO:HONGLLA01A2B | 01)CNW (MOUNT ISA) ELECT WHO,01)HONGLLA01A2B,SWITCH,LIMIT | HONGLLA01A2B | 3000290 | HONEYWELL | HONEYWELL | HONGLLA01A2B |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://us.rs-online.com/product/honeywell/glla01a2b/70118754/ | [10 empty] | ENRICHED | 39122213 Limit switch | SWITCH | LIMIT | TYPE | ROLLER LEVER | VOLTAGE RATING | 300 V | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | ENCLOSURE | IP66 | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | c-UL-US CE CCC | ADDITIONAL FEATURES | [35 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 | PARTIALLY MATCHED | Mat 3_1248124 | 1248124 | EA | 000000000001390992GZPCLNT100 | M_ADAPTER | ADAPTER;SEW,AM225/RS,SEW,AM225/RS | ADAPTER;MNFR:SEW EURODRIVE,PTNO:AM225/RS,ADDITIONAL FEATURES EN:SEW,AM225/RS |  | AM225/RS | 3000442 |  | SEW EURODRIVE | AM225/RS | [5 empty] | https://download.sew-eurodrive.com/download/pdf/11509031_Rev1.pdf | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | ADAPTER | ELECTRICAL | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 | PARTIALLY MATCHED | Mat 3_1274257 | 1274257 |  |  |  | GEARMOTOR,HELICAL;SEW,R17 DRN71MS4/C | GEARCASE-MOTOR: MOTOR; GEARMOTOR HELICAL;MSA STIRRER MOT OR; KW 0.25/0.25 S1; 50HZ;220- 240 DELTA/ 380-480 STAR; 1.27AMPS/0.73 AMP; RPM 130 0/288, 1600/355; BRAKE 8.761 KG; MA 8/9; MFR: SEW PTNO:R17 DRN71MS4/C |  | R17 DRN71MS4/C | 3000442 | SEW EURODRIVE | SEW EURODRIVE | R17 DRN71MS4/C | [5 empty] | https://download.sew-eurodrive.com/download/pdf/21284997.pdf | https://download.sew-eurodrive.com/download/pdf/21284997.pdf | [9 empty] | CLEANSED | 20101617 Gearmotors | MOTOR | GEAR | TYPE | HELICAL | POWER RATING | 0.25/0.25 S1 KW | OUTPUT SPEED RATING |  | VOLTAGE RATING | 220 TO 240 DELTA/ 380 TO 480 STAR | NEMA/IEC SIZE |  | TORQUE RATING |  | SPEED RATIO | 1300/288, 1600/355 RPM | SERVICE FACTOR |  | CURRENT RATING | 1.27/0.73 A | FREQUENCY RATING | 50 HZ | NUMBER OF PHASE |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAKE: 8.761 KG, MA 8/9 | [40 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1272294 | 1272294 |  |  |  | BOX,JNCTN;SCHN,T240/2/20GY,PVC,20MM,GREY | BOX,JUNCTION;MNFR:SCHNEIDER INC,PTNO:T240/2/20GY,ADDITIONAL FEATURES EN:PVC,20MM,GREY,2WAY,CONDUIT,TANGENTIAL,BRAND: CLIPSAL |  | T240/2/20GY | 3000344 | SCHNEIDER INC | SCHNEIDER | T240/2/20GY | [5 empty] | https://www.clipsal.com/products/detail?CatNo=T240/2/20&itemno=T240/2/20-GY | [10 empty] | ENRICHED | 39121332 Electrical junction box | BOX | JUNCTION | TYPE | TANGENTIAL | SIZE | 20 MM | MATERIAL | PVC | HUB SIZE |  | ENCLOSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLETS |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | REACH, ROHS | ADDITIONAL FEATURES | 2WAY,CONDUIT | [50 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1248898 | 1248898 |  |  |  | HOSE;MER,A9049970282 | HOSE;MNFR:MERCEDES,PTNO:A9049970282 | HOSE | A9049970282 | 3000008 | MERCEDES | MERCEDES | A9049970282 | [5 empty] | https://www.cranepartssupply.com/en/cranes/mercedes-hose-a9049970282 | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1269929 | 1269929 |  |  |  | FILTER,AIR;DIEC,BHC5028 | FILTER,AIR;MNFR:DIECI,PTNO:BHC5028,ADDITIONAL FEATURES EN:PRIMARY, EXTERNAL | FILTER,AIR,01)PRIMARY, EXTERNAL | BHC5028 | 3000511 | DIECI | DIECI | BHC5028 | [5 empty] | https://www.sf-filter.com/en/vergleichsliste/bhc5028.htm | [10 empty] | CLEANSED | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | EXTERNAL | [50 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1210731 | 1210731 |  |  |  | HOSE;HYDA,4270478 | HOSE;MNFR:HYDAC,PTNO:4270478 |  | 4270478 | 3000292 | HYDAC | HYDAC | 4270478 | [5 empty] | https://www.hydac.com.au/pub/media/productattach/e/n/en7673-3-01-23_mfu15.pdf | [10 empty] | ENRICHED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 2.5 M | MATERIAL | PVC | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1274150 | 1274150 |  |  |  | CARD;ABB,3BSE008510R1 | CARD;MNFR:ABB,PTNO:3BSE006510R1 | CARD | 3BSE008510R1 | 3000014 | ABB | ABB | 3BSE008510R1 | [5 empty] | https://new.abb.com/products/3BSE008510R1/3bse008510r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 109 LGX45 WDX119 HT MM | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1324687 | 1324687 |  |  |  | SWITCH;ABB,OT125A3 | SWITCH;MNFR:ABB,PTNO:OT125A3 | SWITCH | OT125A3 | 3000014 | ABB | ABB | OT125A3 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/93999/2822862.html | [10 empty] | ENRICHED | 39122233 Disconnect switch | SWITCH | DISCONNECT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 125 A | NUMBER OF POLES | 3 | LOAD BREAKING CAPACITY |  | CONTACT CONFIGURATION |  | ENCLOSURE | IP65 | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | POWER RATING | 4.7 W | FREQUENCY RATING |  | MATERIAL |  | SIZE | 127 WDX131 HTX75 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [39 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1264604 | 1264604 |  |  |  | HARNESS;CUM,5367725 | HARNESS;MNFR:CUMMINS,PTNO:5367725 | HARNESS | 5367725 | 3000018 | CUMMINS | CUMMINS | 5367725 | [5 empty] | https://hbhxc.en.alibaba.com/product/60714000583-802355352/Original_QSB6_7_Diesel_Engine_Wiring_Harness_5367725.html | [10 empty] | ENRICHED | 26121700 Wiring harness | HARNESS | WIRING | TYPE | DIESEL ENGINE | WIRE SIZE |  | INSULATION MATERIAL |  | CONDUCTOR MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333375 | 1333375 |  |  |  | AXLE;DIEC,5H.212759 | AXLE;MNFR:DIECI,PTNO:5H.212759,ADDITIONAL FEATURES EN:REAR,COMPLETE | AXLE,01)REAR,COMPLETE | 5H.212759 | 3000511 | DIECI | DIECI | 5H.212759 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26111512 Axles | AXLE | NO MODIFIER | TYPE | REAR | SIZE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [58 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333520 | 1333520 |  |  |  | SENSOR,LGHT;DIEC,BEP0465 | SENSOR,LIGHT;MNFR:DIECI,PTNO:BEP0465,ADDITIONAL FEATURES EN:OPTICAL | SENSOR,LIGHT,01)OPTICAL | BEP0465 | 3000511 | DIECI | DIECI | BEP0465 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | SENSOR | LIGHT | TYPE | OPTICAL | SENSING RANGE |  | ELECTRICAL RATING |  | CONNECTION TYPE |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [53 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333451 | 1333451 |  |  |  | HOSE;DIEC,BKC9995 | HOSE;MNFR:DIECI,PTNO:BKC9995,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKC9995 | 3000511 | DIECI | DIECI | BKC9995 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333305 | 1333305 |  |  |  | HOSE,HYDR;DIEC,BLK3290/18 | HOSE,HYDRAULIC;MNFR:DIECI,PTNO:BLK3290/18,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,HYDRAULIC,01)FLEXIBLE | BLK3290/18 | 3000511 | DIECI | DIECI | BLK3290/18 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1332958 | 1332958 |  |  |  | HOSE,HYDR;DIEC,YEA7031 | HOSE,HYDRAULIC;MNFR:DIECI,PTNO:YEA7031,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,HYDRAULIC,01)FLEXIBLE | YEA7031 | 3000511 | DIECI | DIECI | YEA7031 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1274177 | 1274177 |  |  |  | BUTTON;MAN,243258 | BUTTON;MNFR:MANITOU,PTNO:243258 | 01)JUNGHEINRICH AUSTRALIA PT,01)243258,BUTTON | 243258 | 3000007 | MANITOU | MANITOU | 243258 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://shop.astra-group.ua/en/08-650-2432-58.html | [10 empty] | CLEANSED | 53141505 Buttons | BUTTON | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1252856 | 1252856 |  |  |  | SENSOR,LVL;DIEC,BEP0035 | SENSOR,LEVEL;MNFR:DIECI,PTNO:BEP0035,ADDITIONAL FEATURES EN:FUEL,FLOAT | SENSOR,LEVEL,01)FUEL,FLOAT | BEP0035 | 3000511 | DIECI | DIECI | BEP0035 | [5 empty] | https://www.yumpu.com/en/document/read/45178907/agri-plus-matr186-degelman | [10 empty] | ENRICHED | 40141700 Hardware and fittings | TUBE | NO MODIFIER | TYPE | SUCTION | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FUEL,FLOAT | [54 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1217463 | 1217463 |  |  |  | RELAY,ELCTROMAG;DIEC,4C.157115 | RELAY,ELECTROMAGNET;MNFR:DIECI,PTNO:4C.157115,ADDITIONAL FEATURES EN:CURRENT RATING:75 A,VOLTAGE RATING:12 V,RELY BOSCH/TYCO ZEUSS | RELAY,ELECTROMAGNET,01)CURRENT RATING:75 A,VOLTAGE RATING:12 V,RELY BO | 4C.157115 | 3000511 | DIECI | DIECI | 4C.157115 |  | BOSCH |  | TYCO ZEUSS |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | CLEANSED | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING | 75 A | VOLTAGE RATING | 12 V | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1332947 | 1332947 |  |  |  | CABLE,CTRL;DIEC,BWC1108 | CABLE,CONTROL;MNFR:DIECI,PTNO:BWC1108,ADDITIONAL FEATURES EN:CONDUCTOR MATERIAL:STEEL | CABLE,CONTROL,01)CONDUCTOR MATERIAL:STEEL | BWC1108 | 3000511 | DIECI | DIECI | BWC1108 | [5 empty] | https://www.yumpu.com/en/document/read/45178907/agri-plus-matr186-degelman | [10 empty] | CLEANSED | 26121603 Control cable | CABLE | CONTROL | TYPE |  | DIAMETER |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL | STEEL | JACKET MATERIAL |  | INSULATION MATERIAL |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [43 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1269506 | 1269506 |  |  |  | SEAL;DOSN,D700305,HUB | SEAL;MNFR:DOOSAN CORPORATION,PTNO:D700305,ADDITIONAL FEATURES EN:HUB | 01)CROWN LIFT TRUCKS,01)XD700305,SEAL,01)HUB | D700305 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | D700305 |  | CROWN LIFT TRUCKS | XD700305 |  |  | https://www.helmarparts.com/d700305-oil-seal/ | [10 empty] | ENRICHED | 31410000 Seals | SEAL | OIL | TYPE |  | INSIDE DIAMETER | 130 MM | OUTSIDE DIAMETER | 160 MM | WIDTH | 12 MM | NUMBER OF LIP |  | SEAL DESIGN |  | MATERIAL |  | SPEED RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HUB | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1335631 | 1335631 |  |  |  | FUSE;SIE,A5E02547700 | FUSE;MNFR:SIEMENS,PTNO:A5E02547700 | FUSE | A5E02547700 | 3000032 | SIEMENS | SIEMENS | A5E02547700 | [5 empty] | https://www.alibaba.com/product-detail/A5E02547700-Siemens-Rubicon-fuse-A5E02547700-original_1600917013799.html | [10 empty] | CLEANSED | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333338 | 1333338 |  |  |  | HOSE;DIEC,BKF4560 | HOSE;MNFR:DIECI,PTNO:BKF4560,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKF4560 | 3000511 | DIECI | DIECI | BKF4560 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1252913 | 1252913 |  |  |  | FUSE;DIEC,BEG2095 | FUSE;MNFR:DIECI,PTNO:BEG2095,ADDITIONAL FEATURES EN:CURRENT RATING:30 A | FUSE,01)CURRENT RATING:30 A | BEG2095 | 3000511 | DIECI | DIECI | BEG2095 | [5 empty] | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | CLEANSED | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 30 A | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333447 | 1333447 |  |  |  | HOSE;DIEC,BKF5540 | HOSE;MNFR:DIECI,PTNO:BKF5540,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKF5540 | 3000511 | DIECI | DIECI | BKF5540 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333650 | 1333650 |  |  |  | HOSE;DIEC,BKC8024 | HOSE;MNFR:DIECI,PTNO:BKC8024,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKC8024 | 3000511 | DIECI | DIECI | BKC8024 | [5 empty] | https://www.yumpu.com/en/document/read/39805160/retail-price-parts-list-9-mb-degelman | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333651 | 1333651 |  |  |  | HOSE;DIEC,BKC7325 | HOSE;MNFR:DIECI,PTNO:BKC7325,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKC7325 | 3000511 | DIECI | DIECI | BKC7325 | [5 empty] | https://www.yumpu.com/en/document/read/39805160/retail-price-parts-list-9-mb-degelman | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333524 | 1333524 |  |  |  | CREAM;DIEC,BSC0097 | CREAM;MNFR:DIECI,PTNO:BSC0097,ADDITIONAL FEATURES EN:SUNSCREEN | CREAM,01)SUNSCREEN | BSC0097 | 3000511 | DIECI | DIECI | BSC0097 | [5 empty] | https://www.yumpu.com/en/document/read/39805160/retail-price-parts-list-9-mb-degelman | [10 empty] | CLEANSED | 53130000 Personal care products | CREAM | NO MODIFIER | TYPE | SUNSCREEN | PACKAGE WEIGHT |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1272716 | 1272716 |  |  |  | LINK,FUS;MERS,10G02,2A,500VAC/250VDC,FER | LINK,FUSE;MNFR:MERSEN,PTNO:10G02,ADDITIONAL FEATURES EN:2A,500VAC/250VDC,FERRULE,10X38MM,120KA | 01)CNW (MOUNT ISA) ELECT WHO,01)IPD10G02,LINK,FUSE,01)2A,500VAC/250VDC,FERRULE,10 | 10G02 | 3000315 | MERSEN | MERSEN | 10G02 | [5 empty] | https://media.mmem.com.au/Datasheets/IPD/IPD_Ferrule_Fuse_Links.pdf | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | LINK | FUSE | TYPE | FERRULE | CURRENT RATING | 2 A | INTERRUPT RATING | 120 KA | VOLTAGE RATING | 500 VAC, 80 VDC | SIZE | 10X38 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC269-1, BS88-1 | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1272702 | 1272702 |  |  |  | LINK,FUS;MERS,10G06,6 A,500 VAC/250 VDC | LINK,FUSE;MNFR:MERSEN,PTNO:10G06,ADDITIONAL FEATURES EN:6 A,500 VAC/250 VDC,FERRULE,10X38MM,120KA | 01)CNW (MOUNT ISA) ELECT WHO,01)IPD10G06,LINK,FUSE,01)6 A,500 VAC/250 VDC,FERRULE | 10G06 | 3000315 | MERSEN | MERSEN | 10G06 | [5 empty] | https://media.mmem.com.au/Datasheets/IPD/IPD_Ferrule_Fuse_Links.pdf | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | LINK | FUSE | TYPE | FERRULE | CURRENT RATING | 6 A | INTERRUPT RATING | 120 KA | VOLTAGE RATING | 500 VAC, 80 VDC | SIZE | 10X38 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC269-1, BS88-1 | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1218264 | 1218264 |  |  |  | SWITCH,LMT;ALIM,3000 263 951,TRAP DOOR | SWITCH,LIMIT;MNFR:ALIMAK,PTNO:3000 263 951,ADDITIONAL FEATURES EN:TRAP DOOR | 01)ALIMAK,01)3000 263 951,01)ALIMAK GROUP AUSTRALIA PT,01)3000 263 951,SWITCH,LIMIT,01)TRAP DOOR | 3000 263 951 | 3000412 | ALIMAK | ALIMAK | 3000 263 951 | [5 empty] | https://hoistpartsnow.com/product/el-swt0018/ | [10 empty] | CLEANSED | 39122213 Limit switch | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRAP DOOR | [34 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1271009 | 1271009 |  |  |  | ELEMENT;HYDA,1253066 0160 D 010 BN4HC,PR | ELEMENT;MNFR:HYDAC,PTNO:1253066 0160 D 010 BN4HC,ADDITIONAL FEATURES EN:PRESSURE | 01)ISADRAULICS,01)1253066 0160 D 010 BN4HC,ELEMENT,01)PRESSURE | 1253066 0160 D 010 BN4HC | 3000292 | HYDAC | HYDAC | 1253066 0160 D 010 BN4HC |  | ISADRAULICS |  |  |  | https://www.hydac.com/shop/en-in/1253066 | [10 empty] | CLEANSED | 40161807 Filter element | ELEMENT | NO MODIFIER | TYPE |  | SIZE | 10 UM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | 160 | ADDITIONAL FEATURES | PRESSURE | [60 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1271007 | 1271007 |  |  |  | ELEMENT;HYDA,1253040 0060 D 005 BN4HC,FL | ELEMENT;MNFR:HYDAC,PTNO:1253040 0060 D 005 BN4HC,ADDITIONAL FEATURES EN:FILTER | 01)ISADRAULICS,01)1253040 0060 D 005 BN4HC,ELEMENT,01)FILTER | 1253040 0060 D 005 BN4HC | 3000292 | HYDAC | HYDAC | 1253066 0160 D 010 BN4HC |  | ISADRAULICS |  |  |  | https://www.hydac.com/shop/en-in/1253066 | [10 empty] | CLEANSED | 40161807 Filter element | ELEMENT | FILTER | TYPE |  | FILTER RATING | 10 UM | SERVICE |  | MATERIAL |  | SIZE | 160 | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333374 | 1333374 |  |  |  | AXLE;DIEC,5H.212761 | AXLE;MNFR:DIECI,PTNO:5H.212761,ADDITIONAL FEATURES EN:REAR,COMPLETE | AXLE,01)REAR,COMPLETE | 5H.212761 | 3000511 | DIECI | DIECI | 5H.212761 | [5 empty] | https://www.yumpu.com/en/document/read/39805160/retail-price-parts-list-9-mb-degelman | https://imwparts.pl/en/czesci-zamienne-eng/dieci/ | [9 empty] | CLEANSED | 26111512 Axles | AXLE | NO MODIFIER | TYPE | REAR | SIZE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [58 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333373 | 1333373 |  |  |  | AXLE;DIEC,5H.212762 | AXLE;MNFR:DIECI,PTNO:5H.212762,ADDITIONAL FEATURES EN:REAR,COMPLETE | AXLE,01)REAR,COMPLETE | 5H.212762 | 3000511 | DIECI | DIECI | 5H.212762 | [5 empty] | https://www.yumpu.com/en/document/read/39805160/retail-price-parts-list-9-mb-degelman | https://imwparts.pl/en/czesci-zamienne-eng/dieci/ | [9 empty] | CLEANSED | 26111512 Axles | AXLE | NO MODIFIER | TYPE | REAR | SIZE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [58 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333372 | 1333372 |  |  |  | AXLE;DIEC,5H.212882 | AXLE;MNFR:DIECI,PTNO:5H.212882,ADDITIONAL FEATURES EN:REAR,COMPLETE | AXLE,01)REAR,COMPLETE | 5H.212882 | 3000511 | DIECI | DIECI | 5H.212882 | [5 empty] | https://imwparts.pl/en/czesci-zamienne-eng/dieci/ | [10 empty] | CLEANSED | 26111512 Axles | AXLE | NO MODIFIER | TYPE | REAR | SIZE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [58 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333371 | 1333371 |  |  |  | AXLE;DIEC,5H.212755 | AXLE;MNFR:DIECI,PTNO:5H.212755,ADDITIONAL FEATURES EN:REAR,COMPLETE | AXLE,01)REAR,COMPLETE | 5H.212755 | 3000511 | DIECI | DIECI | 5H.212755 | [5 empty] | https://imwparts.pl/en/czesci-zamienne-eng/dieci/ | [10 empty] | CLEANSED | 26111512 Axles | AXLE | NO MODIFIER | TYPE | REAR | SIZE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [58 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1252931 | 1252931 |  |  |  | AXLE;DIEC,5H.212754 | AXLE;MNFR:DIECI,PTNO:5H.212754,ADDITIONAL FEATURES EN:FRONT,COMPLETE | AXLE,01)FRONT,COMPLETE | 5H.212754 | 3000511 | DIECI | DIECI | 5H.212754 | [5 empty] | https://imwparts.pl/en/czesci-zamienne-eng/dieci/ | [10 empty] | CLEANSED | 26111512 Axles | AXLE | NO MODIFIER | TYPE | REAR | SIZE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [58 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1219689 | 1219689 |  |  |  | CLIP,ELEC;FLUK,FLUAC285,ALLIGATOR CLIPS | CLIP,ELECTRICAL;MNFR:FLUKE,PTNO:FLUAC285,ADDITIONAL FEATURES EN:ALLIGATOR CLIPS HEAVY DUTY SUREGRIP | 01)CNW (MOUNT ISA) ELECT WHO,01)FLUAC285,CLIP,ELECTRICAL,01)ALLIGATOR CLIPS HEAVY DUTY | FLUAC285 | 3000278 | FLUKE | FLUKE | FLUAC285 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.fluke.com/en-in/product/accessories/test-leads/ac285 | [10 empty] | ENRICHED | 41116502 Electrical clip | CLIP | ALLIGATOR | TYPE |  | JAW OPENING |  | MATERIAL | RUBBER | CURRENT RATING | 10 A | INSULATION STYLE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HEAVY DUTY SUREGRIP | [58 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1248070 | 1248070 |  |  |  | CONTACTOR,ELEC;ABB,5286221+528-6221 | CONTACTOR,ELECTRICAL;MNFR:ABB,PTNO:5286221+528-6221 | CONTACTOR,ELECTRICAL | 5286221+528-6221 | 3000014 | ABB | ABB | 5286221+528-6221 | [5 empty] | https://in.rsdelivers.com/product/abb/1sfa611610r2010-mcb-01b/abb-abb-modular-series-contact-block-1nc/5286221 | [10 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT | 1 NC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [45 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1272703 | 1272703 |  |  |  | LINK;EATO,703-8522,NEUT,10X38MM,10 PACK | LINK;MNFR:EATON CORPORATION,PTNO:703-8522,ADDITIONAL FEATURES EN:NEUTRAL,10X38MM,10 PACK | 01)CNW (MOUNT ISA) ELECT WHO,01)RSC703-8522,LINK,01)NEUTRAL,10X38MM,10 PACK | 703-8522 | 3000267 | EATON CORPORATION | EATON CORPORATION | 703-8522 |  | CNW (MOUNT ISA) ELECT WHO | RSC703-8522 |  |  | https://int.rsdelivers.com/product/eaton/c10nl/eaton-32a-neutral-link-10mm-x-38mm/7038522 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE | NEUTRAL | CURRENT RATING | 32 A | INTERRUPT RATING |  | VOLTAGE RATING |  | SIZE | 10X38 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | PACKAGE QUANTITY: 10 | [56 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1243392 | 1243392 |  |  |  | CONE,BRG;HYS,170379,OUTER | CONE,BEARING;MNFR:HYSTER,PTNO:170379,ADDITIONAL FEATURES EN:OUTER | 01)H16.00XM-6,CONE,BEARING,01)OUTER,01)EXTERIEURE | 170379 | 3000023 | HYSTER | HYSTER | 170379 | [5 empty] | https://hyster.store/product/170379/ | [10 empty] | ENRICHED | 31171527 Bearing cones | CONE | BEARING | TYPE | TAPER | INSIDE DIAMETER | 20 CM | WIDTH | 20 CM | MATERIAL |  | CAGE MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | EXTERIEURE, OUTER | [52 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1285745 | 1285745 | EA | 000000000001409936GZPCLNT100 | M_DETECTOR_HEAT | DETECTOR,HT;DUCT,INNOTECH SEND3 | DETECTOR,HEAT;TYPE:DUCT,ADDITIONAL FEATURES EN:INNOTECH SEND3 | [11 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 46191502 Heat detectors | DETECTOR | HEAT | TYPE | DUCT | DETECTING RANGE |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INNOTECH SEND3 | [52 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1285874 | 1285874 | EA | 000000000001406823GZPCLNT100 | M_DETECTOR_HEAT | DETECTOR,HT;WALL,INNOTECH SENW21 | DETECTOR,HEAT;MOUNTING TYPE:WALL,ADDITIONAL FEATURES EN:INNOTECH SENW21 | [11 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 46191502 Heat detectors | DETECTOR | HEAT | TYPE |  | DETECTING RANGE |  | ELECTRICAL RATING |  | MOUNTING TYPE | WALL | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INNOTECH SENW21 | [52 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1242606 | 1242606 |  |  |  | BRAKE;HYS,1561604,PRKG | BRAKE;MNFR:HYSTER,PTNO:1561604,ADDITIONAL FEATURES EN:PARKING | BRAKE,01)PARKING,01)ESTACIONAMIENTO | 1561604 | 3000023 | HYSTER | HYSTER | 1561604 | [5 empty] | https://hyster.store/product/1561604-brake-assy/ | [10 empty] | ENRICHED | 25171721 Mechanical or parking brake | BRAKE | NO MODIFIER | TYPE | PARKING | SHAFT SIZE |  | SIZE | 20X20X20 CM | INPUT RATING |  | TORQUE RATING |  | POWER RATING |  | ACTUATION TYPE |  | MOUNTING TYPE |  | SPEED RATING |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ESTACIONAMIENTO | [42 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1326660 | 1326660 | EA | 000000000001393342GZPCLNT100 | M_BREATHER | BREATHER;ADLF,1582161,ADLF,1582161 | BREATHER;MNFR:ADAPT-A-LIFT,PTNO:1582161,ADDITIONAL FEATURES EN:ADLF,1582161 |  | 1582161 | 3000410 |  | ADAPT-A-LIFT | 1582161 | [5 empty] | https://www.orangeparts.com/hyster-1582161-breather-hydraulic/ | [10 empty] | ENRICHED | 40142512 Breather | BREATHER | NO MODIFIER | TYPE | HYDRAULIC | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1269260 | 1269260 |  |  |  | ELEMENT;DOSN,400504-00246,SAFTY | ELEMENT;MNFR:DOOSAN CORPORATION,PTNO:400504-00246,ADDITIONAL FEATURES EN:SAFETY | 01)CROWN EQUIPMENT,01)X400504-00246,ELEMENT,01)SAFETY | 400504-00246 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | 400504-00246 |  | CROWN EQUIPMENT | X400504-00246 |  |  | https://store.hgmforkliftparts.com/doosan_daewoo_forklift_parts/DW400504-00246.aspx | [10 empty] | CLEANSED | 40161505 Air filters | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SAFETY | [50 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1328655 | 1328655 | EA | 000000000001389753GZPCLNT100 | M_BOLT | BOLT;ADLF,0136703,ADLF,0136703 | BOLT;MNFR:ADAPT-A-LIFT,PTNO:0136703,ADDITIONAL FEATURES EN:ADLF,0136703 |  | 136703 | 3000410 |  | ADAPT-A-LIFT | 136703 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31161600 Bolts | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [59 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1328558 | 1328558 | EA | 000000000001392761GZPCLNT100 | M_BOLT | BOLT;ADLF,0221510,ADLF,0221510 | BOLT;MNFR:ADAPT-A-LIFT,PTNO:0221510,ADDITIONAL FEATURES EN:ADLF,0221510 |  | 221510 | 3000410 |  | ADAPT-A-LIFT | 221510 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31161600 Bolts | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [59 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1328557 | 1328557 | EA | 000000000001392762GZPCLNT100 | M_BOLT | BOLT;ADLF,0292528,ADLF,0292528 | BOLT;MNFR:ADAPT-A-LIFT,PTNO:0292528,ADDITIONAL FEATURES EN:ADLF,0292528 |  | 292528 | 3000410 |  | ADAPT-A-LIFT | 292528 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31161600 Bolts | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [59 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1242559 | 1242559 |  |  |  | NUT;HYS,1581896 | NUT;MNFR:HYSTER,PTNO:1581896 | 01)110 FT FORK CRANE,01)HYSTER,NUT | 1581896 | 3000023 | HYSTER | HYSTER | 1581896 |  | 110 FT FORK CRANE |  |  |  | https://www.orangeparts.com/hyster-1581896-nut/ | [10 empty] | CLEANSED | 31161700 Nuts | NUT | NO MODIFIER | TYPE |  | THREAD SIZE |  | THREAD TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [53 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1326419 | 1326419 |  |  |  | ALTERNATOR;MAN,895300 | ALTERNATOR;MNFR:MANITOU,PTNO:895300 | ALTERNATOR | 895300 | 3000007 | MANITOU | MANITOU | 895300 | [5 empty] | https://www.machineryplanet.io/product/miscellaneous/unused-alternator-manitoupartnr-895300-3-of-engines-gearboxes-200216067-319830/ | [10 empty] | CLEANSED | 26101302 Alternator | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [45 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1333618 | 1333618 |  |  |  | BASE;DIEC,BHB3306 | BASE;MNFR:DIECI,PTNO:BHB3306,ADDITIONAL FEATURES EN:JOYSTICK | BASE,01)JOYSTICK | BHB3306 | 3000511 | DIECI | DIECI | BHB3306 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | JOYSTICK | [60 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1265141 | 1265141 | EA | 000000000001391260GZPCLNT100 | M_BRUSH | BRUSH;ESS,25006120S,ESS,25006120S | BRUSH;MNFR:ELECTRICAL SUPPLY SOLUTIONS,PTNO:25006120S,ADDITIONAL FEATURES EN:ESS,25006120S |  | 25006120S | 3000463 |  | ELECTRICAL SUPPLY SOLUTIONS | 25006120S | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27113000 Brushes | BRUSH | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1345898 | 1345898 | EA | 000000000001351703GZPCLNT100 | M_FRAME | FRAME;MAIN, PRIMARY SCRAPER | FRAME;TYPE:MAIN, PRIMARY SCRAPER,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:STRUCTURAL, XHD DTDB, MM, DURT TRACKER DOCTOR BLADE | [11 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 42290000 Surgical products | FRAME | NO MODIFIER | TYPE | MAIN, PRIMARY SCRAPER | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STRUCTURAL, XHD DTDB, MM, DURT TRACKER DOCTOR BLADE | [60 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1211420 | 1211420 |  |  |  | SWITCH;SIE,3SU1000-0AB10-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1000-0AB10-0AA0 | SWITCH | 3SU1000-0AB10-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1000-0AB10-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1000-0AB10-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1000-0AB10-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | BLACK | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321999 | 1321999 |  |  |  | SWITCH;SIE,3SU1000-0AB30-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1000-0AB30-0AA0 | SWITCH | 3SU1000-0AB30-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1000-0AB30-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1000-0AB30-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1000-0AB30-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | YELLOW | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321852 | 1321852 |  |  |  | SWITCH;SIE,3SU1000-0AB40-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1000-0AB40-0AA0 | SWITCH | 3SU1000-0AB40-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1000-0AB40-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1000-0AB40-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1000-0AB40-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | GREEN | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321997 | 1321997 |  |  |  | SWITCH;SIE,3SU1000-0AB70-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1000-0AB70-0AA0 | SWITCH | 3SU1000-0AB70-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1000-0AB70-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1000-0AB70-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1000-0AB70-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | CLEAR | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1211421 | 1211421 |  |  |  | SWITCH;SIE,3SU1001-0AB00-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1001-0AB00-0AA0 | SWITCH | 3SU1001-0AB00-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1001-0AB00-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1001-0AB00-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1001-0AB00-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | AMBER | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321996 | 1321996 |  |  |  | SWITCH;SIE,3SU1001-0AB30-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1001-0AB30-0AA0 | SWITCH | 3SU1001-0AB30-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1001-0AB30-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1001-0AB30-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1001-0AB30-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | YELLOW | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321995 | 1321995 |  |  |  | SWITCH;SIE,3SU1001-0AB50-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1001-0AB50-0AA0 | SWITCH | 3SU1001-0AB50-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1001-0AB50-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1001-0AB50-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1001-0AB50-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | BLUE | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1211422 | 1211422 |  |  |  | SWITCH;SIE,3SU1001-0AB60-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1001-0AB60-0AA0 | SWITCH | 3SU1001-0AB60-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1001-0AB60-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1001-0AB60-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1001-0AB60-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | WHITE | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1322003 | 1322003 |  |  |  | SWITCH;SIE,3SU1400-1AA10-1DA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1400-1AA10-1DA0 | SWITCH | 3SU1400-1AA10-1DA0 | 3000032 | SIEMENS | SIEMENS | 3SU1400-1AA10-1DA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1400-1AA10-1DA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1400-1AA10-1DA0%26language%3Den | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | NO MODIFIER | TYPE |  | SIZE | 49.7 LGX9.8 WDX34.1 HT MM | MATERIAL |  | MOUNTING TYPE | PLATE | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA, VDE | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1322001 | 1322001 |  |  |  | SWITCH;SIE,3SU1400-1AA10-1FA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1400-1AA10-1FA0 | SWITCH | 3SU1400-1AA10-1FA0 | 3000032 | SIEMENS | SIEMENS | 3SU1400-1AA10-1FA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1400-1AA10-1FA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1400-1AA10-1FA0%26language%3Den | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | NO MODIFIER | TYPE |  | SIZE | 49.7 LGX9.8 WDX34.1 HT MM | MATERIAL |  | MOUNTING TYPE | PLATE | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA, VDE | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1322000 | 1322000 |  |  |  | SWITCH;SIE,3SU1400-1AA10-1HA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1400-1AA10-1HA0 | SWITCH | 3SU1400-1AA10-1HA0 | 3000032 | SIEMENS | SIEMENS | 3SU1400-1AA10-1HA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1400-1AA10-1HA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1400-1AA10-1HA0%26language%3Den | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | NO MODIFIER | TYPE |  | SIZE | 49.7 LGX9.8 WDX34.1 HT MM | MATERIAL |  | MOUNTING TYPE | PLATE | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA, VDE | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1323057 | 1323057 |  |  |  | FUSE;SIE,5SA2-61 | FUSE;MNFR:SIEMENS,PTNO:5SA2-61 | FUSE | 5SA2-61 | 3000032 | SIEMENS | SIEMENS | 5SA2-61 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/5SA261 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SA261%26language%3Den | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE |  | CURRENT RATING | 16 A | INTERRUPT RATING |  | VOLTAGE RATING | 500 V | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1258482 | 1258482 |  |  |  | FUSE;SIE,3NC2-428 | FUSE;MNFR:SIEMENS,PTNO:3NC2-428 | FUSE | 3NC2-428 | 3000032 | SIEMENS | SIEMENS | 3NC2-428 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3NC2428 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3NC2428%26language%3Den | [9 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 300 A | VOLTAGE RATING | 500 VAC | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1212921 | 1212921 |  |  |  | FUSE;SIE,3NE1802-0 | FUSE;MNFR:SIEMENS,PTNO:3NE1802-0 | FUSE | 3NE1802-0 | 3000032 | SIEMENS | SIEMENS | 3NE1802-0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3NE1802-0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3NE1802-0%26language%3Den | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE |  | CURRENT RATING | 40 A | INTERRUPT RATING |  | VOLTAGE RATING | 690 VAC,250 VDC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1212922 | 1212922 |  |  |  | FUSE;SIE,3NE3227 | FUSE;MNFR:SIEMENS,PTNO:3NE3227 | FUSE | 3NE3227 | 3000032 | SIEMENS | SIEMENS | 3NE3227 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3NE3227 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3NE3227%26language%3Den | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE |  | CURRENT RATING | 250 A | INTERRUPT RATING |  | VOLTAGE RATING | 1000 VAC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1240197 | 1240197 |  |  |  | FUSE;SIE,3NE3338-8,SITOR 800 VAC 800 A | FUSE;MNFR:SIEMENS,PTNO:3NE3338-8,ADDITIONAL FEATURES EN:SITOR 800 VAC 800 A SIZE 2 110 MM 6 UNITS | FUSE,01)SITOR 800 VAC 800 A,02)SIZE 2 110 MM 6 UNITS,01)SITOR 800 VAC 800 A,02)TAMAÑO 2110 MM 6 UNIDADES | 3NE3338-8 | 3000032 | SIEMENS | SIEMENS | 3NE3338-8 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3NE3338-8 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3NE3338-8%26language%3Den | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE |  | CURRENT RATING | 800 A | INTERRUPT RATING |  | VOLTAGE RATING | 800 VAC | SIZE | 110 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SITOR, 6 UNITS | [56 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1335499 | 1335499 |  |  |  | FUSE;SIE,3NE8024 | FUSE;MNFR:SIEMENS,PTNO:3NE8024 | FUSE | 3NE8024 | 3000032 | SIEMENS | SIEMENS | 3NE8024 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3NE8024 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3NE8024%26language%3Den | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE |  | CURRENT RATING | 160 A | INTERRUPT RATING |  | VOLTAGE RATING | 660 VAC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1326112 | 1326112 |  |  |  | BREAKER,CIRCT;16 A,690 VAC,4 KA,P 3P,SIE | BREAKER,CIRCUIT;CURRENT RATING:16 A,VOLTAGE RATING:690 VAC,INTERRUPT RATING:4 KA,NUMBER OF POLES:3P,OVERALL SIZE:WD 45 X HT 97 X DP 96 MM,TERMINAL TYPE:SCREW,HAZARD CLASS:IP20,ADDITIONAL FEATURES EN:10 A, 1NO 1NC,MNFR:SIEMENS,PTNO:3RV10214AA10,MNFR:01) SIEMENS,PTNO:01)3RV10214AA10,MNFR:02)CNW,PTNO:02)SIE3RV10214AA10 | 16 A,690 VAC,EN_01)4 KA,EN_01)WD 45 X HT 97 X DP 96 MM,SCREW,IP20,01)10 A, 1NO 1NC,01)SIEMENS,02)CNW,01)3RV10214AA10,02)SIE3RV10214AA10,BREAKER | 3RV10214AA10 | 3000032 | SIEMENS | SIEMENS | 3RV10214AA10 |  | CNW | SIE3RV10214AA10 |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RV1021-4AA10 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RV1021-4AA10%26language%3Den | [9 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 45 WDX97 HTX96 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:16 A,VOLTAGE RATING:690 VAC,INTERRUPT RATING: 4 KA,NUMBER OF POLES: 3,TERMINAL TYPE: SCREW,HAZARD CLASS: IP20, 10 A, 1NO 1NC | [60 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321853 | 1321853 |  |  |  | SWITCH;SIE,3SU1000-0AB20-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1000-0AB20-0AA0 | SWITCH | 3SU1000-0AB20-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1000-0AB20-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1000-0AB20-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1001-0AB40-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | GREEN | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321998 | 1321998 |  |  |  | SWITCH;SIE,3SU1000-0AB60-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1000-0AB60-0AA0 | SWITCH | 3SU1000-0AB60-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1000-0AB60-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1000-0AB60-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1000-0AB60-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | WHITE | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321851 | 1321851 |  |  |  | SWITCH;SIE,3SU1001-0AB20-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1001-0AB20-0AA0 | SWITCH | 3SU1001-0AB20-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1001-0AB20-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1001-0AB20-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1001-0AB20-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | RED | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321850 | 1321850 |  |  |  | SWITCH;SIE,3SU1001-0AB40-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1001-0AB40-0AA0 | SWITCH | 3SU1001-0AB40-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1001-0AB40-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1001-0AB40-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1001-0AB40-0AA0%26language%3Den | [9 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | GREEN | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1274299 | 1274299 |  |  |  | SWITCH;SIE,3SU1400-1AA10-1BA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1400-1AA10-1BA0 | SWITCH | 3SU1400-1AA10-1BA0 | 3000032 | SIEMENS | SIEMENS | 3SU1400-1AA10-1BA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1400-1AA10-1BA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1400-1AA10-1BA0%26language%3Den | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | NO MODIFIER | TYPE |  | SIZE | 27.7 LGX9.8 WDX33.2 HT MM | MATERIAL |  | MOUNTING TYPE | PLATE | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA, VDE | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1321854 | 1321854 |  |  |  | SWITCH;SIE,3SU1400-1AA10-1CA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1400-1AA10-1CA0 | SWITCH | 3SU1400-1AA10-1CA0 | 3000032 | SIEMENS | SIEMENS | 3SU1400-1AA10-1CA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1400-1AA10-1CA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1400-1AA10-1CA0%26language%3Den | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | NO MODIFIER | TYPE |  | SIZE | 27.7 LGX9.8 WDX33.2 HT MM | MATERIAL |  | MOUNTING TYPE | PLATE | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA, VDE | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-08-30 |  | Mat 3_1322002 | 1322002 |  |  |  | SWITCH;SIE,3SU1400-1AA10-1EA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1400-1AA10-1EA0 | SWITCH | 3SU1400-1AA10-1EA0 | 3000032 | SIEMENS | SIEMENS | 3SU1400-1AA10-1EA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1400-1AA10-1EA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1400-1AA10-1EA0%26language%3Den | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | NO MODIFIER | TYPE |  | SIZE | 27.7 LGX9.8 WDX33.2 HT MM | MATERIAL |  | MOUNTING TYPE | PLATE | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA, VDE | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED