## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | MATERIAL | MATNR | MEINS | BISMT | EXISTING CLASS 1 | MAKTX | TEXT | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | STATUS
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1325181 | 1325181 |  |  |  | FUSE;SIE,3NWTIA6 | FUSE;MNFR:SIEMENS,PTNO:3NWTIA6 | FUSE | 3NWTIA6 | 3000032 | SIEMENS | SIEMENS | 3NWTIA6 | [5 empty] | https://mall.industry.siemens.com/mall/en/in/Catalog/Product/3NWTIA6 | https://mall.industry.siemens.com/mall/en/in/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3NWTIA6%26language%3Den | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE |  | CURRENT RATING | 6 A | INTERRUPT RATING | 80 KA | VOLTAGE RATING | 415 V | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1214028 | 1214028 |  |  |  | LINK;SIE,3UX1-211 | LINK;MNFR:SIEMENS,PTNO:3UX1-211 | LINK | 3UX1-211 | 3000032 | SIEMENS | SIEMENS | 3UX1-211 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UX1211 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3UX1211%26language%3Den | [9 empty] | ENRICHED | 39121000 Power conditioning equipment | STRIP | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 400 A | CORD LENGTH |  | NUMBER OF OUTLETS |  | MATERIAL |  | OUTPUT CONFIGURATION |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1323054 | 1323054 |  |  |  | FUSE;SIE,5SAI-81 | FUSE;MNFR:SIEMENS,PTNO:5SAI-81 | FUSE | 5SAI-81 | 3000032 | SIEMENS | SIEMENS | 5SAI-81 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/5SA181 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SA181%26language%3Den | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE |  | CURRENT RATING | 25 A | INTERRUPT RATING |  | VOLTAGE RATING | 500 V | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1213837 | 1213837 |  |  |  | FUSE;SIE,5SA251 | FUSE;MNFR:SIEMENS,PTNO:5SA251 | FUSE | 5SA251 | 3000032 | SIEMENS | SIEMENS | 5SA251 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/5SA251 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D5SA251%26language%3Den | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE |  | CURRENT RATING | 10 A | INTERRUPT RATING |  | VOLTAGE RATING | 500 V | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1258273 | 1258273 |  |  |  | CONVERTER;SIE,6RA7078-6FV62-0+S00 | CONVERTER;MNFR:SIEMENS,PTNO:6RA7078-6FV62-0+S00 | CONVERTER | 6RA7078-6FV62-0+S00 | 3000032 | SIEMENS | SIEMENS | 6RA7078-6FV62-0+S00 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6RA70786FV620 | [10 empty] | CLEANSED | 39121000 Power conditioning equipment | CONVERTER | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1335500 | 1335500 |  |  |  | BRAKE;SIE,6SE7021-6ES87-2DA1 | BRAKE;MNFR:SIEMENS,PTNO:6SE7021-6ES87-2DA1 | BRAKE | 6SE7021-6ES87-2DA1 | 3000032 | SIEMENS | SIEMENS | 6SE7021-6ES87-2DA1 | [5 empty] | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/6SE70216ES872DA1 | [10 empty] | CLEANSED | 39121552 Electrical control modules | MODULE | NO MODIFIER | TYPE | BRAKE | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1212907 | 1212907 |  |  |  | CARD,MEM;EXPNDR, COMPACT FLASH | CARD,MEMORY;TYPE:EXPANDER, COMPACT FLASH,ADDITIONAL FEATURES EN:SINAMICS S120, OHNE PERFORMANCE-ERWEITERUNG,EINSCHLIESSLICH LIZENZI,ERUNG,(CERT OF LIC)V4.07,MNFR:SIEMENS,PTNO:6SL3054-0EH00-1BA0 | EN_01)EXPANDER, COMPACT FLASH,01)SINAMICS S120, OHNE PERFORM,02)ERUNG,(CERT OF LIC)V4.07,EXPANDER | 6SL3054-0EH00-1BA0 | 3000032 | SIEMENS | SIEMENS | 6SL3054-0EH00-1BA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6SL3054-0EH00-1BA0 | [10 empty] | ENRICHED | 43202000 Removable storage media | CARD | MEMORY | TYPE | EXPANDER, COMPACT FLASH | MEMORY |  | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SINAMICS S120, OHNE PERFORMANCE-ERWEITERUNG,EINSCHLIESSLICH LIZENZI,ERUNG,(CERT OF LIC)V4.07 | [52 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1241082 | 1241082 |  |  |  | CONVERTER,FREQ;DIGITAL/ANALOGUE,CAP RAIL | CONVERTER,FREQUENCY;INPUT FREQUENCY:DIGITAL/ANALOGUE,OUTPUT FREQUENCY RATING:DIGITAL/ANALOGUE,MOUNTING TYPE:CAP RAIL, CERTIFICATION/STANDARD:IP20,ADDITIONAL FEATURES EN:SINAMICS TERMINAL MODULE TM31, ADD ON BOARD FOR SINAMICS,MNFR:SIEMENS,PTNO: 6SL3055-0AA00-3AA1 | DIGITAL/ANALOGUE,DIGITAL/ANALOGUE,CAP RAIL,EN_01)IP20,01)SINAMICS TERMINAL MODULE TM,MODULE,01)SINAMICS TERMINAL,02)TM31 WITH DIGITAL,03)AND ANALOG INPUT AND OUTPUT,01)TERMINAL SINAMICS,02)TM31 AVEC ENTREE,03)ET SORTIE NUMERIQUES,04)ET ANALOGIQUES | 6SL3055-0AA00-3AA1 | 3000032 | SIEMENS | SIEMENS | 6SL3055-0AA00-3AA1 | [5 empty] | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/6SL30550AA003AA1 | [10 empty] | ENRICHED | 39121007 Frequency converters | CONVERTER | FREQUENCY | TYPE |  | INPUT VOLTAGE |  | INPUT FREQUENCY | DIGITAL/ANALOGUE | OUTPUT FREQUENCY RATING | DIGITAL/ANALOGUE | OUTPUT VOLTAGE RATING |  | INTERFACE TYPE |  | SIZE |  | ACCURACY |  | MOUNTING TYPE | CAP RAIL | NOISE LEVEL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SINAMICS TERMINAL MODULE TM31, ADD ON BOARD FOR SINAMICS, IP20 | [44 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 | CONFLICT IN CURRENT RATING, PROCESSED BASED ON WEB SOURCE | Mat 3_1240799 | 1240799 |  |  |  | FUSE,CRTG;LNK,4 A,600 VAC, 300 VDC,CC | FUSE,CARTRIDGE;TYPE:LINK,CURRENT RATING:4 A,VOLTAGE RATING:600 VAC, 300 VDC,INTERRUPT RATING:200 KA AC, 100 KA DC,CLASS:CC, MATERIAL:BODY GLASS, CAP COPPER TIN PLATED,ADDITIONAL FEATURES EN:8 A,MNFR:SIEMENS,PTNO:6SY7000-0AE02 | EN_01)LINK,4 A,600 VAC, 300 VDC,EN_01)200 KA AC, 100 KA DC,CC,EN_01)BODY GLASS, CAP COPPER T,01)8 A,FUSE,01)SINAMICS,8 A,01)SINAMICS,8 A | 6SY7000-0AE02 | 3000032 | SIEMENS | SIEMENS | 6SY7000-0AE02 | [5 empty] | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/6SY70000AE02 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | LINK | FUSE | TYPE |  | CURRENT RATING | 8 A | INTERRUPT RATING | 200 KA AC, 100 KA DC | VOLTAGE RATING | 600 V | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | MATERIAL: BODY GLASS, CAP COPPER TIN PLATED | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1321638 | 1321638 |  |  |  | SWITCH;ABB,1SFA 611 210 R1006 | SWITCH;MNFR:ABB,PTNO:1SFA 611 210 R1006 | SWITCH | 1SFA 611 210 R1006 | 3000014 | ABB | ABB | 1SFA 611 210 R1006 | [5 empty] | https://library.e.abb.com/public/8f03ec03f31125dec1256f9a00546c10/1SFC151001C0201.pdf | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324354 | 1324354 |  |  |  | SWITCH;ABB,1SFA 611 210 R1108 | SWITCH;MNFR:ABB,PTNO:1SFA 611 210 R1108 | SWITCH | 1SFA 611 210 R1108 | 3000014 | ABB | ABB | 1SFA 611 210 R1108 | [5 empty] | https://library.e.abb.com/public/8f03ec03f31125dec1256f9a00546c10/1SFC151001C0201.pdf | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1321637 | 1321637 |  |  |  | SWITCH;ABB,1SFA 611 211 R1006 | SWITCH;MNFR:ABB,PTNO:1SFA 611 211 R1006 | SWITCH | 1SFA 611 211 R1006 | 3000014 | ABB | ABB | 1SFA 611 211 R1006 | [5 empty] | https://library.e.abb.com/public/8f03ec03f31125dec1256f9a00546c10/1SFC151001C0201.pdf | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324353 | 1324353 |  |  |  | SWITCH;ABB,1SFA 611 211 R1108 | SWITCH;MNFR:ABB,PTNO:1SFA 611 211 R1108 | SWITCH | 1SFA 611 211 R1108 | 3000014 | ABB | ABB | 1SFA 611 211 R1108 | [5 empty] | https://library.e.abb.com/public/8f03ec03f31125dec1256f9a00546c10/1SFC151001C0201.pdf | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324352 | 1324352 |  |  |  | SWITCH;ABB,1SFA 611 280 R1001 | SWITCH;MNFR:ABB,PTNO:1SFA 611 280 R1001 | SWITCH | 1SFA 611 280 R1001 | 3000014 | ABB | ABB | 1SFA 611 280 R1001 | [5 empty] | https://docs.rs-online.com/b9ad/0900766b811102d6.pdf | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324602 | 1324602 |  |  |  | SWITCH;ABB,1SFA 611 281 R2001 | SWITCH;MNFR:ABB,PTNO:1SFA 611 281 R2001 | SWITCH | 1SFA 611 281 R2001 | 3000014 | ABB | ABB | 1SFA 611 281 R2001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1211663 | 1211663 |  |  |  | SWITCH,SELECT;ABB,1SFA611281R2011 | SWITCH,SELECT;MNFR:ABB,PTNO:1SFA611281R2011 |  | 1SFA611281R2011 | 3000014 | ABB | ABB | 1SFA611281R2011 | [5 empty] | https://new.abb.com/products/sk/1SFA611281R2011/m2ssk2-201-10 | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 5 A | CONTACT CONFIGURATION | 1 NO | NUMBER OF POSITIONS | 2 | ENCLOSURE | IP20,IP66 | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL | PLASTIC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1220392 | 1220392 |  |  |  | SWITCH;ABB,1SFA 611 282 R1001 | SWITCH;MNFR:ABB,PTNO:1SFA 611 282 R1001 | SWITCH | 1SFA 611 282 R1001 | 3000014 | ABB | ABB | 1SFA 611 282 R1001 | [5 empty] | https://docs.rs-online.com/b9ad/0900766b811102d6.pdf | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324351 | 1324351 |  |  |  | SWITCH;ABB,1SFA 611 284 R1001 | SWITCH;MNFR:ABB,PTNO:1SFA 611 284 R1001 | SWITCH | 1SFA 611 284 R1001 | 3000014 | ABB | ABB | 1SFA 611 284 R1001 | [5 empty] | https://docs.rs-online.com/b9ad/0900766b811102d6.pdf | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324350 | 1324350 |  |  |  | SWITCH;ABB,1SFA 611 286 R1001 | SWITCH;MNFR:ABB,PTNO:1SFA 611 286 R1001 | SWITCH | 1SFA 611 286 R1001 | 3000014 | ABB | ABB | 1SFA 611 286 R1001 | [5 empty] | https://www.vfservis.cz/files/001471_3_pilot_devices_2009_en.pdf | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324349 | 1324349 |  |  |  | SWITCH;ABB,1SFA 611 605 R1101 | SWITCH;MNFR:ABB,PTNO:1SFA 611 605 R1101 | SWITCH | 1SFA 611 605 R1101 | 3000014 | ABB | ABB | 1SFA 611 605 R1101 | [5 empty] | https://library.e.abb.com/public/8f03ec03f31125dec1256f9a00546c10/1SFC151001C0201.pdf | [10 empty] | ENRICHED | 30131500 Blocks | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NC | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324348 | 1324348 |  |  |  | SWITCH;ABB,1SFA 611 605 R1102 | SWITCH;MNFR:ABB,PTNO:1SFA 611 605 R1102 | SWITCH | 1SFA 611 605 R1102 | 3000014 | ABB | ABB | 1SFA 611 605 R1102 | [5 empty] | https://library.e.abb.com/public/8f03ec03f31125dec1256f9a00546c10/1SFC151001C0201.pdf | [10 empty] | ENRICHED | 30131500 Blocks | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 2 NO | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324347 | 1324347 |  |  |  | SWITCH;ABB,1SFA 611 605 R1110 | SWITCH;MNFR:ABB,PTNO:1SFA 611 605 R1110 | SWITCH | 1SFA 611 605 R1110 | 3000014 | ABB | ABB | 1SFA 611 605 R1110 | [5 empty] | https://library.e.abb.com/public/8f03ec03f31125dec1256f9a00546c10/1SFC151001C0201.pdf | [10 empty] | ENRICHED | 30131500 Blocks | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NC | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324346 | 1324346 |  |  |  | SWITCH;ABB,1SFA 611 605 R1201 | SWITCH;MNFR:ABB,PTNO:1SFA 611 605 R1201 | SWITCH | 1SFA 611 605 R1201 | 3000014 | ABB | ABB | 1SFA 611 605 R1201 | [5 empty] | https://library.e.abb.com/public/8f03ec03f31125dec1256f9a00546c10/1SFC151001C0201.pdf | [10 empty] | ENRICHED | 30131500 Blocks | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NC, 1 LB | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324356 | 1324356 |  |  |  | SWITCH;ABB,1SFA 611 610 R1001 | SWITCH;MNFR:ABB,PTNO:1SFA 611 610 R1001 | SWITCH | 1SFA 611 610 R1001 | 3000014 | ABB | ABB | 1SFA 611 610 R1001 | [5 empty] | https://library.e.abb.com/public/8f03ec03f31125dec1256f9a00546c10/1SFC151001C0201.pdf | [10 empty] | ENRICHED | 30131500 Blocks | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NO | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324366 | 1324366 |  |  |  | BREAKER;ABB,2CDS251001R0064 | BREAKER;MNFR:ABB,PTNO:2CDS251001R0064 | BREAKER | 2CDS251001R0064 | 3000014 | ABB | ABB | 2CDS251001R0064 | [5 empty] | https://new.abb.com/products/2CDS251001R0064/s201-c6 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX17.5 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,UL,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1274046 | 1274046 |  |  |  | BREAKER;ABB,S201C6 | BREAKER;MNFR:ABB,PTNO:S201C6 | BREAKER | S201C6 | 3000014 | ABB | ABB | S201C6 | [5 empty] | https://new.abb.com/products/2CDS251001R0064/s201-c6 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX17.5 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,UL,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1215377 | 1215377 |  |  |  | BREAKER;ABB,S201C10 | BREAKER;MNFR:ABB,PTNO:S201C10 | BREAKER | S201C10 | 3000014 | ABB | ABB | S201-C10 | [5 empty] | https://new.abb.com/products/2CDS251001R0104/s201-c10 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX17.5 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,UL,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324435 | 1324435 |  |  |  | BREAKER;ABB,S271-K0.5 | BREAKER;MNFR:ABB,PTNO:S271-K0.5 | BREAKER | S271-K0.5 | 3000014 | ABB | ABB | S271-K0.5 | [5 empty] | https://new.abb.com/products/S271-K0.5/s271-k0-5 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324404 | 1324404 |  |  |  | BREAKER;ABB,2CDS-252-001-R0024 | BREAKER;MNFR:ABB,PTNO:2CDS-252-001-R0024 | BREAKER | 2CDS-252-001-R0024 | 3000014 | ABB | ABB | 2CDS-252-001-R0024 | [5 empty] | https://new.abb.com/products/2CDS252001R0024/s202-c2 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX35 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,UL,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1216484 | 1216484 |  |  |  | BREAKER;ABB,2CDS 252 001 R0044 | BREAKER;MNFR:ABB,PTNO:2CDS 252 001 R0044 | BREAKER | 2CDS 252 001 R0044 | 3000014 | ABB | ABB | 2CDS 252 001 R0044 | [5 empty] | https://new.abb.com/products/2CDS252001R0044/s202-c4 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX35 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,UL,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1216485 | 1216485 |  |  |  | BREAKER;ABB,2CDS 252 001 R0064 | BREAKER;MNFR:ABB,PTNO:2CDS 252 001 R0064 | BREAKER | 2CDS 252 001 R0064 | 3000014 | ABB | ABB | 2CDS 252 001 R0064 | [5 empty] | https://new.abb.com/products/2CDS252001R0064/s202-c6 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX35 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,UL,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1216483 | 1216483 |  |  |  | BREAKER;ABB,2CDS 252 001 R0104 | BREAKER;MNFR:ABB,PTNO:2CDS 252 001 R0104 | BREAKER | 2CDS 252 001 R0104 | 3000014 | ABB | ABB | 2CDS 252 001 R0104 | [5 empty] | https://new.abb.com/products/2CDS252001R0104/s202-c10 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX35 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,UL,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1216486 | 1216486 |  |  |  | BREAKER;ABB,2CDS 252 001 R0134 | BREAKER;MNFR:ABB,PTNO:2CDS 252 001 R0134 | BREAKER | 2CDS 252 001 R0134 | 3000014 | ABB | ABB | 2CDS 252 001 R0134 | [5 empty] | https://new.abb.com/products/2CDS252001R0134/s202-c13 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX35 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,UL,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1215344 | 1215344 |  |  |  | BREAKER;ABB,S201MC4 | BREAKER;MNFR:ABB,PTNO:S201MC4 | BREAKER | S201MC4 | 3000014 | ABB | ABB | S201MC4 | [5 empty] | https://new.abb.com/products/2CDS271001R0044/s201m-c4 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX17.5 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1215343 | 1215343 |  |  |  | BREAKER;ABB,S201MC10 | BREAKER;MNFR:ABB,PTNO:S201MC10 | BREAKER | S201MC10 | 3000014 | ABB | ABB | S201MC10 | [5 empty] | https://new.abb.com/products/2CDS271001R0104/s201m-c10 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX17.5 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1324360 | 1324360 |  |  |  | BREAKER;ABB,2CDS 272 001 R0044 | BREAKER;MNFR:ABB,PTNO:2CDS 272 001 R0044 | BREAKER | 2CDS 272 001 R0044 | 3000014 | ABB | ABB | 2CDS 272 001 R0044 | [5 empty] | https://new.abb.com/products/2CDS272001R0044/s202m-c4 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX35 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1211407 | 1211407 |  |  |  | BREAKER;ABB,2CDS 272 001 R0104 | BREAKER;MNFR:ABB,PTNO:2CDS 272 001 R0104 | BREAKER | 2CDS 272 001 R0104 | 3000014 | ABB | ABB | 2CDS 272 001 R0104 | [5 empty] | https://new.abb.com/products/2CDS272001R0104/s202m-c10 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX35 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1215345 | 1215345 |  |  |  | BREAKER;ABB,S203MC10 | BREAKER;MNFR:ABB,PTNO:S203MC10 | BREAKER | S203MC10 | 3000014 | ABB | ABB | S203MC10 | [5 empty] | https://new.abb.com/products/2CDS273001R0104/s203m-c10 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX52.5 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1215342 | 1215342 |  |  |  | BREAKER;ABB,S203MC63 | BREAKER;MNFR:ABB,PTNO:S203MC63 | BREAKER | S203MC63 | 3000014 | ABB | ABB | S203MC63 | [5 empty] | https://new.abb.com/products/2CDS273001R0634/s203m-c63 | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE | 69 LGX52.5 WDX88 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,CE,UKCA | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1274721 | 1274721 |  |  |  | RELAY,OVRLD;NHP,CT7N23A16,THRM,0.1-0.16 | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23A16,ADDITIONAL FEATURES EN:THERMAL,0.1-0.16 A, SUIT CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N23A16,RELAY,OVERLOAD,01)0.1-0.16 A, SUIT CA7-9/23,01)THERMAL | CT7N23A16 | 3000664 | NHP | NHP | CT7N23A16 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CT7N23A16 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 0.1 TO 0.16 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS | 10 A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SUIT CA7-9/23 | [42 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1270111 | 1270111 |  |  |  | RELAY,OVRLD;NHP,CEP71EEBB,ELEK,0.2-1A,SE | RELAY,OVERLOAD;MNFR:NHP,PTNO:CEP71EEBB,ADDITIONAL FEATURES EN:ELECTRONIC,0.2-1A,SERIES:CEP7-1,BASIC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCEP71EEBB,RELAY,OVERLOAD,01)ELECTRONIC,0.2-1A,SERIES:CE | CEP71EEBB | 3000664 | NHP | NHP | CEP71EEBB |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CEP71EEBB | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | ELECTRONIC | CURRENT RATING | 0.2 TO 1 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS | ADJUSTABLE (10, 20) | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES: CEP7-1,BASIC | [42 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1270117 | 1270117 |  |  |  | RELAY,OVRLD;NHP,CEP71EFED,ELEK,5.4-27A,S | RELAY,OVERLOAD;MNFR:NHP,PTNO:CEP71EFED,ADDITIONAL FEATURES EN:ELECTRONIC,5.4-27A,SERIES:CEP7-1,ADVANCED | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCEP71EFED,RELAY,OVERLOAD,01)ELECTRONIC,5.4-27A,SERIES:C | CEP71EFED | 3000664 | NHP | NHP | CEP71EFED |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CEP71EFED | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | ELECTRONIC | CURRENT RATING | 5.4 TO 27 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS | ADJUSTABLE (10, 15, 20, 30) | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES: CEP7-1,ADVANCED | [42 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1266866 | 1266866 |  |  |  | BREAKER,CIRCT;NHP,DSRCBH60630A,RCBO 6A 1 | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DSRCBH60630A,ADDITIONAL FEATURES EN:RCBO 6A 1P/N,30MA 6KA | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDSRCBH60630A,BREAKER,CIRCUIT,01)RCBO 6A 1P/N,30MA 6KA | DSRCBH60630A | 3000664 | NHP | NHP | DSRCBH60630A |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/DSRCBH60630A | [10 empty] | ENRICHED | 39121614 Earth leakage circuit breakers | BREAKER | EARTH LEAKAGE | TYPE | CIRCUIT | LEAKAGE CURRENT |  | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | CURRENT RATING | 30 MA | INTERRUPT RATING | 6 KA | MOUNTING METHOD | DIN-35 RAIL MOUNT | CURVE | C | DIMENSIONS | 18 WDX86 HTX76 DP MM | ENCLOSURE | IP20,IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, RCM | ADDITIONAL FEATURES | RCBO | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1276409 | 1276409 |  |  |  | BREAKER,CIRCT;NHP,DTCB6106C,MINTR,6KA,1P | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DTCB6106C,ADDITIONAL FEATURES EN:MINIATURE,6KA,1P,6A,C CURVE DIN |  | DTCB6106C | 3000664 | NHP | NHP | DTCB6106C | [5 empty] | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/DTCB6106C | [10 empty] | ENRICHED | 39121614 Earth leakage circuit breakers | BREAKER | EARTH LEAKAGE | TYPE | CIRCUIT | LEAKAGE CURRENT |  | VOLTAGE RATING | 240 VAC,48 VDC | NUMBER OF POLES | 1 | CURRENT RATING | 6 A | INTERRUPT RATING | 6 KA | MOUNTING METHOD | DIN-35 RAIL MOUNT | CURVE | C | DIMENSIONS | 18 WDX86 HTX76 DP MM | ENCLOSURE | IP20,IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, RCM | ADDITIONAL FEATURES | MINIATURE | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1266874 | 1266874 |  |  |  | BREAKER,CIRCT;NHP,DTCB6113C,MCB 13A 1P | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DTCB6113C,ADDITIONAL FEATURES EN:MCB 13A 1P DIN-T6 6KA C CURVE | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDTCB6113C,BREAKER,CIRCUIT,01)MCB 13A 1P DIN-T6 6KA C CU | DTCB6113C | 3000664 | NHP | NHP | DTCB6113C |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhp.com.au/product/DTCB6113C | [10 empty] | ENRICHED | 39121614 Earth leakage circuit breakers | BREAKER | EARTH LEAKAGE | TYPE | CIRCUIT | LEAKAGE CURRENT |  | VOLTAGE RATING | 240 VAC,48 VDC | NUMBER OF POLES | 1 | CURRENT RATING | 13 A | INTERRUPT RATING | 6 KA | MOUNTING METHOD | DIN-35 RAIL MOUNT | CURVE | C | DIMENSIONS | 18 WDX86 HTX76 DP MM | ENCLOSURE | IP20,IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, RCM | ADDITIONAL FEATURES | MCB, DIN-T6 | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1266878 | 1266878 |  |  |  | BREAKER,CIRCT;NHP,DTCB6204C,MCB 4A 2P | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DTCB6204C,ADDITIONAL FEATURES EN:MCB 4A 2P DIN-T6 6KA C CURVE | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDTCB6204C,BREAKER,CIRCUIT,01)MCB 4A 2P DIN-T6 6KA C CU | DTCB6204C | 3000664 | NHP | NHP | DTCB6204C |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/DTCB6204C | [10 empty] | ENRICHED | 39121614 Earth leakage circuit breakers | BREAKER | EARTH LEAKAGE | TYPE | CIRCUIT | LEAKAGE CURRENT |  | VOLTAGE RATING | 415 VAC,110 VDC | NUMBER OF POLES | 2 | CURRENT RATING | 4 A | INTERRUPT RATING | 6 KA | MOUNTING METHOD | DIN-35 RAIL MOUNT | CURVE | C | DIMENSIONS | 36 WDX86 HTX76 DP MM | ENCLOSURE | IP20,IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, RCM | ADDITIONAL FEATURES | MCB, DIN-T6 | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1266880 | 1266880 |  |  |  | BREAKER,CIRCT;NHP,DTCB6250C,MCB 50A 2P | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DTCB6250C,ADDITIONAL FEATURES EN:MCB 50A 2P DIN-T6 6KA C CURVE | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDTCB6250C,BREAKER,CIRCUIT,01)MCB 50A 2P DIN-T6 6KA C C | DTCB6250C | 3000664 | NHP | NHP | DTCB6250C |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/DTCB6250C | [10 empty] | ENRICHED | 39121614 Earth leakage circuit breakers | BREAKER | EARTH LEAKAGE | TYPE | CIRCUIT | LEAKAGE CURRENT |  | VOLTAGE RATING | 415 VAC,110 VDC | NUMBER OF POLES | 2 | CURRENT RATING | 50 A | INTERRUPT RATING | 6 KA | MOUNTING METHOD | DIN-35 RAIL MOUNT | CURVE | C | DIMENSIONS | 36 WDX86 HTX76 DP MM | ENCLOSURE | IP20,IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, RCM | ADDITIONAL FEATURES | MCB, DIN-T6 | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1266881 | 1266881 |  |  |  | BREAKER,CIRCT;NHP,DTCB6302C,MCB 2A 3P | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DTCB6302C,ADDITIONAL FEATURES EN:MCB 2A 3P DIN-T6 6KA C CURVE | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDTCB6302C,BREAKER,CIRCUIT,01)MCB 2A 3P DIN-T6 6KA C CU | DTCB6302C | 3000664 | NHP | NHP | DTCB6302C |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/DTCB6302C | [10 empty] | ENRICHED | 39121614 Earth leakage circuit breakers | BREAKER | EARTH LEAKAGE | TYPE | CIRCUIT | LEAKAGE CURRENT |  | VOLTAGE RATING | 415 VAC,110 VDC | NUMBER OF POLES | 3 | CURRENT RATING | 2 A | INTERRUPT RATING | 6 KA | MOUNTING METHOD | DIN-35 RAIL MOUNT | CURVE | C | DIMENSIONS | 54 WDX86 HTX76 DP MM | ENCLOSURE | IP20,IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, RCM | ADDITIONAL FEATURES | MCB, DIN-T6 | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1266885 | 1266885 |  |  |  | BREAKER,CIRCT;NHP,DTCB6332C,MCB 32A 3P | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DTCB6332C,ADDITIONAL FEATURES EN:MCB 32A 3P DIN-T6 6KA C CURVE | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDTCB6332C,BREAKER,CIRCUIT,01)MCB 32A 3P DIN-T6 6KA C C | DTCB6332C | 3000664 | NHP | NHP | DTCB6332C |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/DTCB6332C | [10 empty] | ENRICHED | 39121614 Earth leakage circuit breakers | BREAKER | EARTH LEAKAGE | TYPE | CIRCUIT | LEAKAGE CURRENT |  | VOLTAGE RATING | 415 VAC,110 VDC | NUMBER OF POLES | 3 | CURRENT RATING | 32 A | INTERRUPT RATING | 6 KA | MOUNTING METHOD | DIN-35 RAIL MOUNT | CURVE | C | DIMENSIONS | 54 WDX86 HTX76 DP MM | ENCLOSURE | IP20,IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, RCM | ADDITIONAL FEATURES | MCB, DIN-T6 | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1273090 | 1273090 |  |  |  | BREAKER,CIRCT;NHP,KTA725S2P5A,MOT,1.6-2. | BREAKER,CIRCUIT;MNFR:NHP,PTNO:KTA725S2P5A,ADDITIONAL FEATURES EN:MOTOR,1.6-2.5A |  | KTA725S2P5A | 3000664 | NHP | NHP | KTA725S2P5A | [5 empty] | https://nhp.com.au/product/kta725s2p5a | [10 empty] | ENRICHED | 39121601 Circuit breakers | BREAKER | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOTOR,1.6 TO 2.5 A | [60 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1266999 | 1266999 |  |  |  | BREAKER,CIRCT;NHP,M6RCBS1630CAN,S/P,16A | BREAKER,CIRCUIT;MNFR:NHP,PTNO:M6RCBS1630CAN,ADDITIONAL FEATURES EN:S/P,16A | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPM6RCBS1630CAN,BREAKER,CIRCUIT,01)S/P,16A | M6RCBS1630CAN | 3000664 | NHP | NHP | M6RCBS1630CAN |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/M6RCBS1630CAN | [10 empty] | ENRICHED | 39121614 Earth leakage circuit breakers | BREAKER | EARTH LEAKAGE | TYPE | CIRCUIT | LEAKAGE CURRENT | 30 MA | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | CURRENT RATING | 16 A | INTERRUPT RATING | 6 KA | MOUNTING METHOD | DIN-35 RAIL MOUNT | CURVE | C | DIMENSIONS | 18 WDX86 HTX76 DP MM | ENCLOSURE | IP20,IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 94 V-2, IEC 60077-16-3, IEC 60068-2-6 | ADDITIONAL FEATURES | S/P | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1252843 | 1252843 |  |  |  | STICKER;DIEC,AXA2257 | STICKER;MNFR:DIECI,PTNO:AXA2257,ADDITIONAL FEATURES EN:DOOR | STICKER,01)DOOR | AXA2257 | 3000511 | DIECI | DIECI | AXA2257 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | CLEANSED | 60101300 Educational stickers and supplies | STICKER | NO MODIFIER | TYPE | DOOR | LEGEND |  | DIMENSIONS |  | LEGEND COLOUR |  | BACKGROUND COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1252823 | 1252823 |  |  |  | STICKER;DIEC,AXA2444 | STICKER;MNFR:DIECI,PTNO:AXA2444,ADDITIONAL FEATURES EN:LEGEND:ENGINE SIDE | STICKER,01)LEGEND:ENGINE SIDE | AXA2444 | 3000511 | DIECI | DIECI | AXA2444 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | CLEANSED | 60101300 Educational stickers and supplies | STICKER | NO MODIFIER | TYPE |  | LEGEND | ENGINE SIDE | DIMENSIONS |  | LEGEND COLOUR |  | BACKGROUND COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217153 | 1217153 |  |  |  | UNION;DRVT,SCM6-316,TUBE,6MM,DBL FERRULE | UNION;MNFR:DRIVETRAIN,PTNO:SCM6-316,ADDITIONAL FEATURES EN:TUBE,6MM,DBL FERRULE,COMPRESSION,STRAIGHT,SS316 | 01)DRIVETRAIN AUSTRALIA,01)SCM6-316,UNION,01)TUBE,6MM,DBL FERRULE,COMPRE | SCM6-316 | 3000461 | DRIVETRAIN | DRIVETRAIN | SCM6-316 | [5 empty] | https://ph.parker.com/in/en/product/parker-tube-fitting-union-a-lok-series/scm6-316 | [10 empty] | ENRICHED | 40183103 Tube union | UNION | TUBE | TYPE | STRAIGHT | NOMINAL SIZE | 6 MM | END CONNECTION | COMPRESSION | PRESSURE RATING | 330 TO 680 BAR | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH | 41.2 MM | TEMPERATURE RATING | -255 TO 649 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DBL FERRULE | [48 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1254030 | 1254030 |  |  |  | ZZ - REPLACED BY 1555991 | HOSE;MNFR:DRIVETRAIN,PTNO:301SN-12,ADDITIONAL FEATURES EN:NONMETALLIC:3/4 IN NB,HYD,SAE 100R2 AT,MAX WP 2250PSI,2P WIRE REINF | 01)DRIVETRAIN AUSTRALIA,01)301SN-12,HOSE,01)NONMETALLIC:3/4 IN NB,HYD,S | 301SN-12 | 3000461 | DRIVETRAIN | DRIVETRAIN | 301SN-12 | [5 empty] | https://ph.parker.com/in/en/product/medium-pressure-parkrimp-no-skive-hose-301/301sn-12 | [10 empty] | ENRICHED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE |  | INSIDE DIAMETER | 19.1 MM | OUTSIDE DIAMETER | 29.3 MM | LENGTH |  | PRESSURE RATING | 3100 PSI | MATERIAL | RUBBER | REINFORCEMENT MATERIAL | 2 BRAIDS OF HIGH TENSILE WIRE | TEMPERATURE RATING | -40 TO 100 DEG C | BEND RADIUS | 240 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 853 (Type 2SN), ISO 1436 (Type 2), SAE 100R2 (Type AT | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1273330 | 1273330 |  |  |  | ELEMENT;PRKH,939778Q,FIT,2.0018.H10XL-A0 | ELEMENT;MNFR:PARKER HANNIFIN,PTNO:939778Q,ADDITIONAL FEATURES EN:FIT,2.0018.H10XL-A00-0-P |  | 939778Q | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 939778Q |  |  | 2.0018.H10XL-A00-0-P |  |  | https://ph.parker.com/in/en/product/parfit-elements/939778q | [10 empty] | ENRICHED | 40161807 Filter element | ELEMENT | FILTER | TYPE | OIL | FILTER RATING | 10 UM | SERVICE |  | MATERIAL |  | SIZE | 60 DIAX225 LG MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FIT | [56 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1219384 | 1219384 |  |  |  | UNION;PRKH,6 HBU-S | UNION;MNFR:PARKER HANNIFIN,PTNO:6 HBU-S | 01)PRO-DRAULICS,01)6 HBU-S,UNION | 6 HBU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6 HBU-S | [5 empty] | https://ph.parker.com/in/en/product/ferulok-flareless-24-bite-type-fittings/6-hbu-s-1 | [10 empty] | ENRICHED | 40183103 Tube union | UNION | TUBE | TYPE | STRAIGHT | NOMINAL SIZE | 3/8 IN | END CONNECTION | MALE FLARELESS X MALE FLARELESS | PRESSURE RATING | 6000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J514 | ADDITIONAL FEATURES | [49 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217275 | 1217275 |  |  |  | HOSE,ASSY;DRVT,MIM001005045,NONMETAL:101 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM001005045,ADDITIONAL FEATURES EN:NONMETAL:10143-6-6-AU / 601-6 / 10143-6-6-AU,2.50M LG,C/W WORM CLIP | 01)DRIVETRAIN AUSTRALIA,01)MIM001005045,HOSE,ASSEMBLY,01)NONMETAL:10143-6-6-AU / 601 | MIM001005045 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM001005045 |  |  | 10143-6-6 |  |  | https://ph.parker.com/us/en/43-series-fittings/10143-6-6 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 2.50 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL, C/W WORM CLIP | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217176 | 1217176 |  |  |  | HOSE,ASSY;DRVT,MIM001005044,NONMETAL,101 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM001005044,ADDITIONAL FEATURES EN:NONMETAL,10143-8-8-AU / 601-8 / 10143-8-8-AU,2.50M LG,W/WORM CLIP,S | 01)DRIVETRAIN AUSTRALIA,01)MIM001005044,HOSE,ASSEMBLY,01)NONMETAL,10143-8-8-AU / 601 | MIM001005044 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM001005044 |  |  | 10143-8-8 |  |  | https://ph.parker.com/us/en/43-series-fittings/10143-8-8 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 2.50 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL, W/WORM CLIP,S | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217285 | 1217285 |  |  |  | HOSE,ASSY;DRVT,MIM003918293,NONMETAL:106 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM003918293,ADDITIONAL FEATURES EN:NONMETAL:10643-10-8 / 381-8 / 10643-10-8,1.15M LG,C/W WORM CLIP STA | 01)DRIVETRAIN AUSTRALIA,01)MIM003918293,HOSE,ASSEMBLY,01)NONMETAL:10643-10-8 / 381-8 | MIM003918293 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM003918293 |  |  | 10643-10-8 |  |  | https://ph.parker.com/us/en/43-series-fittings/10643-10-8 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 1.15 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL,C/W WORM CLIP STA | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217264 | 1217264 |  |  |  | HOSE,ASSY;DRVT,MIM000236455,NONMETAL:106 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM000236455,ADDITIONAL FEATURES EN:NONMETAL:10643-10-8/381-08/10643-10-8,2.00M LG,ATTACH BAND STAMPED | 01)DRIVETRAIN AUSTRALIA,01)MIM000236455,HOSE,ASSEMBLY,01)NONMETAL:10643-10-8/381-08/ | MIM000236455 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM000236455 |  |  | 10643-10-8 |  |  | https://ph.parker.com/us/en/43-series-fittings/10643-10-8 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 2 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL,ATTACH BAND STAMPED | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217185 | 1217185 |  |  |  | HOSE,ASSY;DRVT,MIM003918163,NONMETAL,106 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM003918163,ADDITIONAL FEATURES EN:NONMETAL,10643-10-8 / 381-8 / 10643-10-8,0.77M LG,W/WORM CLIP,STAMP | 01)DRIVETRAIN AUSTRALIA,01)MIM003918163,HOSE,ASSEMBLY,01)NONMETAL,10643-10-8 / 381-8 | MIM003918163 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM003918163 |  |  | 10643-10-8 |  |  | https://ph.parker.com/us/en/43-series-fittings/10643-10-8 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 0.77 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL,W/WORM CLIP,STAMP | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217220 | 1217220 |  |  |  | HOSE,ASSY;DRVT,MIM001070689,NONMETAL,1.3 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM001070689,ADDITIONAL FEATURES EN:NONMETAL,1.3M,WATER FLUSH,10643-12-12/381-12/10643-12-12, W/FITTED T | 01)DRIVETRAIN AUSTRALIA,01)MIM001070689,HOSE,ASSEMBLY,01)NONMETAL,1.3M,WATER FLUSH,1 | MIM001070689 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM001070689 |  |  | 10643-12-12 |  |  | https://ph.parker.com/us/en/43-series-fittings/10643-12-12 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 1.3 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL, WATER FLUSH, W/FITTED T | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217136 | 1217136 |  |  |  | HOSE,ASSY;DRVT,MIM003918031,NONMETAL:106 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM003918031,ADDITIONAL FEATURES EN:NONMETAL:10643-12-12 / 381-12 / 10643-12-12,1.00M LG,C/W WORM CLIP | 01)DRIVETRAIN AUSTRALIA,01)MIM003918031,HOSE,ASSEMBLY,01)NONMETAL:10643-12-12 / 381- | MIM003918031 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM003918031 |  |  | 10643-12-12 |  |  | https://ph.parker.com/us/en/43-series-fittings/10643-12-12 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 1 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL,C/W WORM CLIP | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217276 | 1217276 |  |  |  | HOSE,ASSY;DRVT,MIM001009994,NONMETAL:106 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM001009994,ADDITIONAL FEATURES EN:NONMETAL:10643-4-4 / 381-4 / 13943-4-4, 1.18M LG,C/W WORM CLIP STAM | 01)DRIVETRAIN AUSTRALIA,01)MIM001009994,HOSE,ASSEMBLY,01)NONMETAL:10643-4-4 / 381-4 | MIM001009994 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM001009994 |  |  | 10643-4-4 |  |  | https://ph.parker.com/us/en/43-series-fittings/10643-4-4 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 1.18 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL,C/W WORM CLIP STAM | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217177 | 1217177 |  |  |  | HOSE,ASSY;DRVT,MIM001009976,NONMETAL,106 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM001009976,ADDITIONAL FEATURES EN:NONMETAL,10643-4-4 / 381-4 / 13943-4-4,0.92M LG,W/WORM CLIP, STAMPED | 01)DRIVETRAIN AUSTRALIA,01)MIM001009976,HOSE,ASSEMBLY,01)NONMETAL,10643-4-4 / 381-4 | MIM001009976 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM001009976 |  |  | 10643-4-4 |  |  | https://ph.parker.com/us/en/43-series-fittings/10643-4-4 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 0.92 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL,W/WORM CLIP, STAMPED | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217156 | 1217156 |  |  |  | HOSE,ASSY;DRVT,MIM000181834,NONMETAL,106 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM000181834,ADDITIONAL FEATURES EN:NONMETAL,10643-4-4 / 381-4 / 10643-4-4,0.25M LG,ATTACH BAND STAMPED | 01)DRIVETRAIN AUSTRALIA,01)MIM000181834,HOSE,ASSEMBLY,01)NONMETAL,10643-4-4 / 381-4 | MIM000181834 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM000181834 |  |  | 10643-4-4 |  |  | https://ph.parker.com/us/en/43-series-fittings/10643-4-4 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 25 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL,ATTACH BAND STAMPED | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217179 | 1217179 |  |  |  | HOSE,ASSY;DRVT,MIM001010115,NONMETAL:106 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM001010115,ADDITIONAL FEATURES EN:NONMETAL:10643-6-6 / 381-6 / 10643-6-6, 0.44M LG,C/W WORM CLIP,STAM | 01)DRIVETRAIN AUSTRALIA,01)MIM001010115,HOSE,ASSEMBLY,01)NONMETAL:10643-6-6 / 381-6 | MIM001010115 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM001010115 |  |  | 10643-6-6 |  |  | https://ph.parker.com/us/en/product/crimp-style-hydraulic-hose-fitting-43-series-fittings-europe/10643-6-6-eu | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 0.44 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL,C/W WORM CLIP,STAM | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217178 | 1217178 |  |  |  | HOSE,ASSY;DRVT,MIM001010013,NONMETAL,106 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM001010013,ADDITIONAL FEATURES EN:NONMETAL,10643-6-6 / 381-6 / 13943-6-6,0.91M LG,W/WORM CLIP STAMPED | 01)DRIVETRAIN AUSTRALIA,01)MIM001010013,HOSE,ASSEMBLY,01)NONMETAL,10643-6-6 / 381-6 | MIM001010013 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM001010013 |  |  | 10643-6-6 |  |  | https://ph.parker.com/us/en/product/crimp-style-hydraulic-hose-fitting-43-series-fittings-europe/10643-6-6-eu | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 0.91 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL,W/WORM CLIP STAMPED | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217302 | 1217302 |  |  |  | HOSE,ASSY;DRVT,MIM1000699,NONMETAL:10671 | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:MIM1000699,ADDITIONAL FEATURES EN:NONMETAL:10671-12-12/77C-12/11971-16-12,0.770M LG,ATTACH BAND STAMP | 01)DRIVETRAIN AUSTRALIA,01)MIM1000699,HOSE,ASSEMBLY,01)NONMETAL:10671-12-12/77C-12 | MIM1000699 | 3000461 | DRIVETRAIN | DRIVETRAIN | MIM1000699 |  |  | 10671-12-12 |  |  | https://ph.parker.com/us/en/71-series-fittings/10671-12-12 | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 0.77 M | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON METAL, ATTACH BAND STAMP | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1219385 | 1219385 |  |  |  | UNION;PRKH,10 HBU-S | UNION;MNFR:PARKER HANNIFIN,PTNO:10 HBU-S | 01)PRO-DRAULICS,01)10 HBU-S,UNION | 10 HBU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10 HBU-S |  |  | PRO-DRAULICS |  |  | https://ph.parker.com/in/en/ferulok-flareless-24-bite-type-fittings/10-hbu-s-1 | [10 empty] | ENRICHED | Tube union | UNION | TUBE | TYPE | STRAIGHT | NOMINAL SIZE | 5/8 IN | END CONNECTION | MALE FLARELESS X MALE FLARELESS | PRESSURE RATING | 5000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J514 | ADDITIONAL FEATURES | [49 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1219380 | 1219380 |  |  |  | FERRULE;PRKH,10 TU-S | FERRULE;MNFR:PARKER HANNIFIN,PTNO:10 TU-S | 01)PRO-DRAULICS,01)10 TU-S,FERRULE | 10 TU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10 TU-S |  |  | PRO-DRAULICS |  |  | https://ph.parker.com/in/en/ferulok-flareless-24-bite-type-fittings/10-tu-s-1 | [10 empty] | ENRICHED | 27121703 Ferrules | FERRULE | HOSE/TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | FLARELESS X FLARELESS | SCHEDULE/WALL THICKNESS |  | LENGTH |  | MATERIAL | STEEL | COATING/FINISH |  | HOLE SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J514 | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1219386 | 1219386 |  |  |  | UNION;PRKH,12 HBU-S | UNION;MNFR:PARKER HANNIFIN,PTNO:12 HBU-S | 01)PRO-DRAULICS,01)12 HBU-S,UNION | 12 HBU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12 HBU-S |  |  | PRO-DRAULICS |  |  | https://ph.parker.com/in/en/ferulok-flareless-24-bite-type-fittings/12-hbu-s-1 | [10 empty] | ENRICHED | Tube union | UNION | TUBE | TYPE | STRAIGHT | NOMINAL SIZE | 3/4 IN | END CONNECTION | MALE FLARELESS X MALE FLARELESS | PRESSURE RATING | 4500 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J514 | ADDITIONAL FEATURES | [49 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1219387 | 1219387 |  |  |  | UNION;PRKH,16HBU-S | UNION;MNFR:PARKER HANNIFIN,PTNO:16HBU-S | 01)PRO-DRAULICS,01)16HBU-S,UNION | 16HBU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16HBU-S |  |  | PRO-DRAULICS |  |  | https://ph.parker.com/in/en/ferulok-flareless-24-bite-type-fittings/16-hbu-s-1 | [10 empty] | ENRICHED | Tube union | UNION | TUBE | TYPE | STRAIGHT | NOMINAL SIZE | 1 IN | END CONNECTION | MALE FLARELESS X MALE FLARELESS | PRESSURE RATING | 4000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J514 | ADDITIONAL FEATURES | [49 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1219383 | 1219383 |  |  |  | UNION;PRKH,4 HBU-S | UNION;MNFR:PARKER HANNIFIN,PTNO:4 HBU-S | 01)PRO-DRAULICS,01)4 HBU-S,UNION | 4 HBU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4 HBU-S |  |  | PRO-DRAULICS |  |  | https://ph.parker.com/in/en/ferulok-flareless-24-bite-type-fittings/4-hbu-s-1 | [10 empty] | ENRICHED | Tube union | UNION | TUBE | TYPE | STRAIGHT | NOMINAL SIZE | 1/4 IN | END CONNECTION | MALE FLARELESS X MALE FLARELESS | PRESSURE RATING | 6000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J514 | ADDITIONAL FEATURES | [49 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1219378 | 1219378 |  |  |  | FERRULE;PRKH,6 TU-S | FERRULE;MNFR:PARKER HANNIFIN,PTNO:6 TU-S | 01)PRO-DRAULICS,01)6 TU-S,FERRULE | 6 TU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6 TU-S |  |  | PRO-DRAULICS |  |  | https://ph.parker.com/in/en/ferulok-flareless-24-bite-type-fittings/6-tu-s-1 | [10 empty] | ENRICHED | 27121703 Ferrules | FERRULE | HOSE/TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | FLARELESS X FLARELESS | SCHEDULE/WALL THICKNESS |  | LENGTH |  | MATERIAL | STEEL | COATING/FINISH |  | HOLE SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J514 | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1219379 | 1219379 |  |  |  | FERRULE;PRKH,8 TU-S | FERRULE;MNFR:PARKER HANNIFIN,PTNO:8 TU-S | 01)PRO-DRAULICS,01)8 TU-S,FERRULE | 8 TU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8 TU-S |  |  | PRO-DRAULICS |  |  | https://ph.parker.com/in/en/ferulok-flareless-24-bite-type-fittings/8-tu-s-1 | [10 empty] | ENRICHED | 27121703 Ferrules | FERRULE | HOSE/TUBE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | FLARELESS X FLARELESS | SCHEDULE/WALL THICKNESS |  | LENGTH |  | MATERIAL | STEEL | COATING/FINISH |  | HOLE SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J514 | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1217154 | 1217154 |  |  |  | HOSE,ASSY;DRVT,472TC-24,NONMETAL,1-1/2IN | HOSE,ASSEMBLY;MNFR:DRIVETRAIN,PTNO:472TC-24,ADDITIONAL FEATURES EN:NONMETAL,1-1/2IN ID,1800PSI,2 WIRE BRAID,RUBBER,ABRASION RESISTANT | 01)DRIVETRAIN AUSTRALIA,01)472TC-24,HOSE,ASSEMBLY,01)NONMETAL,1-1/2IN ID,1800PSI | 472TC-24 | 3000461 | DRIVETRAIN | DRIVETRAIN | 472TC-24 | [5 empty] | https://ph.parker.com/in/en/product/tough-cover-hydraulic-hose-472tc/472tc-24 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER | 38 MM | OUTSIDE DIAMETER | 51 MM | LENGTH |  | CORE MATERIAL | RUBBER | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 1800 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 BRAIDS OF STEEL WIRE | BEND RADIUS | 250 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ABS, DNV, HF (Type B), SAE J1942, USCG | ADDITIONAL FEATURES | NONMETAL, ABRASION RESISTANT | [36 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1258275 | 1258275 |  |  |  | CONVERTER;SIE,6RA7075-6FV62-0-Z+S00 | CONVERTER;MNFR:SIEMENS,PTNO:6RA7075-6FV62-0-Z+S00 | CONVERTER | 6RA7075-6FV62-0-Z+S00 | 3000032 | SIEMENS | SIEMENS | 6RA7075-6FV62-0-Z+S00 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/?mlfb=6RA7075-6FV62-0-Z+S00 | [10 empty] | ENRICHED | 39121000 Power conditioning equipment | CONVERTER | I/P | TYPE |  | OUTPUT PRESSURE |  | INPUT CURRENT RATING | 175 A | CONNECTION TYPE |  | RESPONSE TIME |  | ACCURACY |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | PRESSURE RATING |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [45 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-01 |  | Mat 3_1267607 | 1267607 |  |  |  | SWITCH;NHP,140MTCDN66,DR MOUNTED OPERATR | SWITCH;MNFR:NHP,PTNO:140MTCDN66,ADDITIONAL FEATURES EN:DR MOUNTED OPERATR | 01)CNW (MOUNT ISA) ELECT WHO,01)NHP140MTCDN66,SWITCH,01)DR MOUNTED OPERATR | 140MTCDN66 | 3000664 | NHP | NHP | 140MTCDN66 | [5 empty] | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-698/140MTCDN66 | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | OPERATOR | SWITCH | TYPE | DOOR MOUNT | COLOUR | BLACK | SIZE |  | MATERIAL |  | NUMBER OF POSITIONS |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED