## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | MATERIAL | MATNR | MEINS | BISMT | EXISTING CLASS 1 | MAKTX | TEXT | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | STATUS
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1273264 | 1273264 |  |  |  | CABLE,F/OPT;ABB,1SFA664003R1200,DET,ARCT | CABLE,FIBER OPTIC;MNFR:ABB,PTNO:1SFA664003R1200,ADDITIONAL FEATURES EN:DETECTOR,ARC GURAD,TVOC-2 |  | 1SFA664003R1200 | 3000014 | ABB | ABB | 1SFA664003R1200 |  |  | TVOC-2 |  |  | https://new.abb.com/products/1SFA664003R1200/tvoc-2-dp20 | [10 empty] | ENRICHED | 41113600 Electrical measuring and testing equipment and accessories | DETECTOR | NO MODIFIER | TYPE | CABLE | MEASURING RANGE | 3 M | SIZE | 350 WDX20 HTX200 DP MM | MATERIAL | OPTICAL FIBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,REACH,CSA,CULUS,CE,EAC,UL, | ADDITIONAL FEATURES | ARC GURAD | [58 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1272638 | 1272638 |  |  |  | CABLE,F/OPT;ABB,1SFA664004R1005,TVOC-2_O | CABLE,FIBER OPTIC;MNFR:ABB,PTNO:1SFA664004R1005,ADDITIONAL FEATURES EN:TVOC-2_OP05 | 01)ABB AUSTRALIA PTY LTD,01)1SFA664004R1005,CABLE,FIBER OPTIC,01)TVOC-2_OP05 | 1SFA664004R1005 | 3000014 | ABB | ABB | 1SFA664004R1005 |  | ABB AUSTRALIA PTY LTD | TVOC-2_OP05 |  |  | https://new.abb.com/products/1SFA664004R1005/tvoc-2-op05 | [10 empty] | ENRICHED | 26121607 Fiber optic cable | CABLE | FIBER OPTIC | TYPE |  | PROPAGATION MODE |  | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | END CONNECTION |  | LENGTH | 300 MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,REACH,CSA,CULUS,CE,EAC,UL, | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 | SITE ISSUE | Mat 3_1325259 | 1325259 |  |  |  | CABLE;ABB,26390603-E | CABLE;MNFR:ABB,PTNO:26390603-E | CABLE | 26390603-E | 3000014 | ABB | ABB | 26390603-E | [5 empty] | https://new.abb.com/products/26390603-E/26390603-e | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325258 | 1325258 |  |  |  | CABLE;ABB,26390603-U | CABLE;MNFR:ABB,PTNO:26390603-U | CABLE | 26390603-U | 3000014 | ABB | ABB | 26390603-U | [5 empty] | https://new.abb.com/products/26390603-U/26390603-u | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | ASSEMBLY | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 3 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | 2011/65/EU (RoHS) | ADDITIONAL FEATURES | [43 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1217621 | 1217621 |  |  |  | SWITCH,SAFTY;ABB,JSTD1A,SAFEBALL,2M CABL | SWITCH,SAFETY;MNFR:ABB,PTNO:JSTD1A,ADDITIONAL FEATURES EN:SAFEBALL,2M CABLE | 01)SHERRIFF ELECTRICAL SUPPL,01)JSTD1A,SWITCH,SAFETY,01)SAFEBALL,2M CABLE | JSTD1A | 3000014 | ABB | ABB | JSTD1A | [5 empty] | https://new.abb.com/products/2TLA020007R3000/jstd1-a | [10 empty] | ENRICHED | 39122205 Safety switch | SWITCH | SAFETY | TYPE | SAFEBALL | VOLTAGE RATING | 30 V | CURRENT RATING | 2000 MA | LOAD BREAKING CAPACITY |  | SHORT CIRCUIT CURRENT |  | CONTACT CONFIGURATION | 1 NO, 1 NC | FUSE DETAILS |  | CONNECTION TYPE |  | ENCLOSURE | IP67 | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 50 DEG C | POWER RATING |  | FREQUENCY RATING |  | ACTION |  | MATERIAL | POLYPROPYLENE, PVC | SIZE | 72 SQX71 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL/CSA,CCC,CE,UKCA | ADDITIONAL FEATURES | 2 M CABLE | [34 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1274289 | 1274289 |  |  |  | BOX;ABB,2TLA050220R0222 | BOX;MNFR:ABB,PTNO:2TLA050220R0222 | BOX | ZZ - 2TLA050220R0222 | 3000014 | ABB | ABB | ZZ - 2TLA050220R0222 | [5 empty] | https://new.abb.com/products/2TLA050220R0222/estrongz-led | [10 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE | EMERGENCY STOP | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 2 NO, 2 NC | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | STAINLESS STEEL 316 | COLOUR |  | SIZE | 105 LGX66 WDX94 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | [41 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1266921 | 1266921 |  |  |  | SWITCH,PUSBTTN;ABB,2TLA050220R0222,ESTOP | SWITCH,PUSHBUTTON;MNFR:ABB,PTNO:2TLA050220R0222,ADDITIONAL FEATURES EN:ESTOP ESTRONGZ 2NC/2NO,M20,SS,LED | 01)CNW (MOUNT ISA) ELECT WHO,01)2TLA050220R0222,SWITCH,PUSHBUTTON,01)ESTOP ESTRONGZ 2NC/2NO,M20 | 2TLA050220R0222 | 3000014 | ABB | ABB | 2TLA050220R0222 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://new.abb.com/products/2TLA050220R0222/estrongz-led | [10 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE | EMERGENCY STOP | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 2 NO, 2 NC | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | STAINLESS STEEL 316 | COLOUR |  | SIZE | 105 LGX66 WDX94 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | ESTRONGZ,M20,LED | [40 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1258184 | 1258184 |  |  |  | FUSE;ABB,3ADC770030P0001 | FUSE;MNFR:ABB,PTNO:3ADC770030P0001 | FUSE | 3ADC770030P0001 | 3000014 | ABB | ABB | 3ADC770030P0001 | [5 empty] | https://new.abb.com/products/3ADC770030P0001/3adc770030p0001 | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 3500 A | VOLTAGE RATING | 690 V | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1258198 | 1258198 |  |  |  | CARD;ABB,3ADT200007R0101 | CARD;MNFR:ABB,PTNO:3ADT200007R0101 | CARD | 3ADT200007R0101 | 3000014 | ABB | ABB | 3ADT200007R0101 | [5 empty] | https://new.abb.com/products/3ADT200007R0101/3adt200007r0101 | [10 empty] | ENRICHED | 43201800 Media storage devices | CARD | MEMORY | TYPE |  | MEMORY |  | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE | 1 LGX1 WDX1 HT MM | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [53 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1335490 | 1335490 |  |  |  | BOARD;ABB,3ADT220090R0014 | BOARD;MNFR:ABB,PTNO:3ADT220090R0014 | BOARD | 3ADT220090R0014 | 3000014 | ABB | ABB | 3ADT220090R0014 | [5 empty] | https://new.abb.com/products/3ADT220090R0014/3adt220090r0014 | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE | SUPPLY | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [63 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1335489 | 1335489 |  |  |  | BOARD;ABB,3ADT220090R0020 | BOARD;MNFR:ABB,PTNO:3ADT220090R0020 | BOARD | 3ADT220090R0020 | 3000014 | ABB | ABB | 3ADT220090R0020 | [5 empty] | https://new.abb.com/products/3ADT220090R0020/3adt220090r0020 | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [63 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1335483 | 1335483 |  |  |  | BOARD;ABB,3ADT220134R0001 | BOARD;MNFR:ABB,PTNO:3ADT220134R0001 | BOARD | 3ADT220134R0001 | 3000014 | ABB | ABB | 3ADT220134R0001 | [5 empty] | https://new.abb.com/products/3ADT220134R0001/3adt220134r0001 | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [63 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1335488 | 1335488 |  |  |  | CABLE;ABB,3ADT693573R0002 | CABLE;MNFR:ABB,PTNO:3ADT693573R0002 | CABLE | 3ADT693573R0002 | 3000014 | ABB | ABB | 3ADT693573R0002 | [5 empty] | https://new.abb.com/products/3ADT693573R0002/3adt693573r0002 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | NO MODIFIER | TYPE | NONSHIELD | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 1.7 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1335487 | 1335487 |  |  |  | CABLE;ABB,3ADT693574P0001 | CABLE;MNFR:ABB,PTNO:3ADT693574P0001 | CABLE | 3ADT693574P0001 | 3000014 | ABB | ABB | 3ADT693574P0001 | [5 empty] | https://new.abb.com/products/3ADT693574P0001/3adt693574p0001 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | NO MODIFIER | TYPE | NONSHIELD | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 1.7 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1335479 | 1335479 |  |  |  | FUSE;ABB,3ADV050092P0015 | FUSE;MNFR:ABB,PTNO:3ADV050092P0015 | FUSE | 3ADV050092P0015 | 3000014 | ABB | ABB | 3ADV050092P0015 | [5 empty] | https://new.abb.com/products/3ADV050092P0015/3adv050092p0015 | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE | DC | CURRENT RATING |  | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [57 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1211243 | 1211243 |  |  |  | HEAT EXCHANGER;ABB,LT-5165 | HEAT EXCHANGER;MNFR:ABB,PTNO:LT-5165 | HEAT EXCHANGER | LT-5165 | 3000014 | ABB | ABB | LT-5165 | [5 empty] | https://new.abb.com/products/3BHB024538R0001/3bhb024538r0001 | [10 empty] | CLEANSED | 40101802 Heat exchangers | HEAT EXCHANGER | NO MODIFIER | TYPE |  | BTUH RATING |  | MATERIAL |  | SIZE |  | END CONNECTION |  | CAPACITY |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325342 | 1325342 |  |  |  | CARD;ABB,3BHE004573R0142 | CARD;MNFR:ABB,PTNO:3BHE004573R0142 | CARD | 3BHE004573R0142 | 3000014 | ABB | ABB | 3BHE004573R0142 | [5 empty] | https://new.abb.com/products/3BHE004573R0142/3bhe004573r0142 | [10 empty] | ENRICHED | 44111900 Boards | BOARD | NO MODIFIER | TYPE | INTERFACE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325341 | 1325341 |  |  |  | CARD;ABB,3BHE004573R0143 | CARD;MNFR:ABB,PTNO:3BHE004573R0143 | CARD | 3BHE004573R0143 | 3000014 | ABB | ABB | 3BHE004573R0143 | [5 empty] | https://new.abb.com/products/3BHE004573R0143/3bhe004573r0143 | [10 empty] | ENRICHED | 44111900 Boards | BOARD | NO MODIFIER | TYPE | INTERFACE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325400 | 1325400 |  |  |  | CARD;ABB,DI620 | CARD;MNFR:ABB,PTNO:DI620 | CARD | DI620 | 3000014 | ABB | ABB | DI620 | [5 empty] | https://new.abb.com/products/EXC3BHT300002R1/exc3bht300002r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | DIGITAL | VOLTAGE RATING |  | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325404 | 1325404 |  |  |  | CARD;ABB,AI620 | CARD;MNFR:ABB,PTNO:AI620 | CARD | AI620 | 3000014 | ABB | ABB | AI620 | [5 empty] | https://new.abb.com/products/TES3BHT300005R1/tes3bht300005r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | ANALOG | VOLTAGE RATING |  | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325399 | 1325399 |  |  |  | CARD;ABB,DO620 | CARD;MNFR:ABB,PTNO:DO620 | CARD | DO620 | 3000014 | ABB | ABB | DO620 | [5 empty] | https://new.abb.com/products/EXC3BHT300009R1/exc3bht300009r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | DIGITAL | VOLTAGE RATING |  | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325401 | 1325401 |  |  |  | CARD;ABB,3BHT300016R1 | CARD;MNFR:ABB,PTNO:3BHT300016R1 | CARD | 3BHT300016R1 | 3000014 | ABB | ABB | 3BHT300016R1 | [5 empty] | https://new.abb.com/products/3BHT300016R1/3bht300016r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE |  | VOLTAGE RATING | 5/24 VDC | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325402 | 1325402 |  |  |  | CARD;ABB,3BHT300051R1 | CARD;MNFR:ABB,PTNO:3BHT300051R1 | CARD | 3BHT300051R1 | 3000014 | ABB | ABB | 3BHT300051R1 | [5 empty] | https://new.abb.com/products/3BHT300051R1/3bht300051r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | ANALOG | VOLTAGE RATING | 0 TO 10 V | CURRENT RATING | 4 TO 20 MA | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 252 LGX40 WDX273 HT MM | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | 2011/65/EU (RoHS) | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1323618 | 1323618 |  |  |  | CABLE;ABB,3BSC 630 197 R1 | CABLE;MNFR:ABB,PTNO:3BSC 630 197 R1 | CABLE | 3BSC 630 197 R1 | 3000014 | ABB | ABB | 3BSC 630 197 R1 | [5 empty] | https://new.abb.com/products/3BSC630197R1/3bsc630197r1 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | COMMUNICATION | TYPE | PLUG | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 3 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [43 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1323617 | 1323617 |  |  |  | CABLE;ABB,3BSC 950 107 R1 | CABLE;MNFR:ABB,PTNO:3BSC 950 107 R1 | CABLE | 3BSC 950 107 R1 | 3000014 | ABB | ABB | 3BSC 950 107 R1 | [5 empty] | https://new.abb.com/products/3BSC950107R1/3bsc950107r1 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | COMMUNICATION | TYPE | DUPLEX | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 1.5 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [43 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1211662 | 1211662 |  |  |  | TERMINATOR;ABB,3BSC950194R1 | TERMINATOR;MNFR:ABB,PTNO:3BSC950194R1 |  | 3BSC950194R1 | 3000014 | ABB | ABB | 3BSC950194R1 | [5 empty] | https://new.abb.com/products/3BSC950194R1/3bsc950194r1 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | TERMINATOR | CABLE | TYPE | CEX-BUS | TERMINATION TYPE |  | CABLE SIZE |  | MATERIAL |  | IMPEDANCE |  | SIZE | 55 LGX45 WDX16 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1324365 | 1324365 |  |  |  | TERMINATOR;ABB,3BSC950263R1 | TERMINATOR;MNFR:ABB,PTNO:3BSC950263R1 | TERMINATOR | 3BSC950263R1 | 3000014 | ABB | ABB | 3BSC950263R1 | [5 empty] | https://new.abb.com/products/3BSC950263R1/3bsc950263r1 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | TERMINATOR | CABLE | TYPE | RCU LINK | TERMINATION TYPE |  | CABLE SIZE |  | MATERIAL |  | IMPEDANCE |  | SIZE | 57 LGX23 WDX20 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1258297 | 1258297 |  |  |  | CARD;ABB,RF615K01 AC110 I/0 RACK | CARD;MNFR:ABB,PTNO:RF615K01 AC110 I/0 RACK | CARD | RF615K01 AC110 I/0 RACK | 3000014 | ABB | ABB | RF615K01 AC110 I/0 RACK | [5 empty] | https://new.abb.com/products/3BSE000650R1/3bse000650r1 | [10 empty] | ENRICHED | 39121500 Electrical controls and accessories | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [59 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1213619 | 1213619 |  |  |  | CARD;ABB,3BSE001552R1 | CARD;MNFR:ABB,PTNO:3BSE001552R1 | CARD | 3BSE001552R1 | 3000014 | ABB | ABB | 3BSE001552R1 | [5 empty] | https://new.abb.com/products/3BSE001552R1/3bse001552r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | COMMUNICATION | TYPE | CARRIER | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 252 LGX40 WDX273 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325406 | 1325406 |  |  |  | CARD;ABB,SDCS-IOB-3 | CARD;MNFR:ABB,PTNO:SDCS-IOB-3 | CARD | SDCS-IOB-3 | 3000014 | ABB | ABB | SDCS-IOB-3 | [5 empty] | https://new.abb.com/products/3ADT220090R0020/3adt220090r0020 | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [63 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1330065 | 1330065 |  |  |  | CARD;ABB,SDCS-PIN-48-COAT | CARD;MNFR:ABB,PTNO:SDCS-PIN-48-COAT | CARD | SDCS-PIN-48-COAT | 3000014 | ABB | ABB | SDCS-PIN-48-COAT | [5 empty] | https://new.abb.com/products/3BSE004939R0002/3bse004939r0002 | [10 empty] | ENRICHED | 44111900 Boards | BOARD | NO MODIFIER | TYPE | PULSE TRANSFORMER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [61 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1213609 | 1213609 |  |  |  | CARD;ABB,SDCS-COM-1 | CARD;MNFR:ABB,PTNO:SDCS-COM-1 | CARD | SDCS-COM-1 | 3000014 | ABB | ABB | SDCS-COM-1 | [5 empty] | https://new.abb.com/products/ABB.PARTS.DEIND3BSE005028R0001 | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE | DRIVE LINK | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [63 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325407 | 1325407 |  |  |  | CARD;ABB,SDCS-IOB-21 | CARD;MNFR:ABB,PTNO:SDCS-IOB-21 | CARD | SDCS-IOB-21 | 3000014 | ABB | ABB | SDCS-IOB-21 | [5 empty] | https://new.abb.com/products/3BSE005176R0001/3bse005176r0001 | [10 empty] | ENRICHED | 44111900 Boards | BOARD | INPUT/OUTPUT | TYPE | DIGITAL | ELECTRICAL RATING | 48 VDC | OUTPUT RATING |  | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1241350 | 1241350 |  |  |  | CARD;ABB,3BSE008508R1,DGTL,INP S800 I/O | CARD;MNFR:ABB,PTNO:3BSE008508R1,ADDITIONAL FEATURES EN:DIGITAL,INPUT S800 I/O 16CH | CARD,01)DIGITAL,INPUT,02)S800 I/O 16CH,01)DIGITAL,INPUT,02)S800 I/O 16CH | 3BSE008508R1 | 3000014 | ABB | ABB | 3BSE008508R1 | [5 empty] | https://new.abb.com/products/3BSE008508R1/3bse008508r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | DIGITAL | VOLTAGE RATING | 24 V | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | S800 I/O 16CH | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1241945 | 1241945 |  |  |  | CARD;ABB,3BSE008544R1,ANLG INP,S800,AI | CARD;MNFR:ABB,PTNO:3BSE008544R1,ADDITIONAL FEATURES EN:ANALOG INPUT,S800,AI 820,4 CHANNEL | 01)W63LU,CARD,01)ANALOG INPUT,S800,AI,02)820,4 CHANNEL,01)ENTREE ANALOGIQUE,S800,AI,02)820,4 CHANNEL | 3BSE008544R1 | 3000014 | ABB | ABB | 3BSE008544R1 | [5 empty] | https://new.abb.com/products/3BSE008544R1/3bse008544r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | ANALOG | VOLTAGE RATING | 5 TO 10 V | CURRENT RATING | 20 MA | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | S800,AI 820,4 CHANNEL | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1241349 | 1241349 |  |  |  | CARD;ABB,3BSE008546R1,BAS,S800 2X8 50 V | CARD;MNFR:ABB,PTNO:3BSE008546R1,ADDITIONAL FEATURES EN:BASE,S800 2X8 50 V | CARD,01)BASE,S800 2X8 50 V,01)BASE,S800 2X8 50 V | 3BSE008546R1 | 3000014 | ABB | ABB | 3BSE008546R1 | [5 empty] | https://new.abb.com/products/3BSE008546R1/3bse008546r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | ANALOG | VOLTAGE RATING | 10 V | CURRENT RATING | 20 MA | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | BASE,S800 2X8 50 V | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1275615 | 1275615 |  |  |  | INTERFACE;ABB,3BSE018103R1 | INTERFACE;MNFR:ABB,PTNO:3BSE018103R1 | INTERFACE | 3BSE018103R1 | 3000014 | ABB | ABB | 3BSE018103R1 | [5 empty] | https://new.abb.com/products/3BSE018103R1/3bse018103r1 | [10 empty] | ENRICHED | 45111807 Interfaces | INTERFACE | COMMUNICATION | TYPE |  | FUNCTION |  | INPUT RATING |  | CONNECTION TYPE |  | NUMBER OF PORTS |  | SIZE | 127.5 LGX59 WDX185 HT MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1217493 | 1217493 |  |  |  | INTERFACE;ABB,3BSE022366R1 | INTERFACE;MNFR:ABB,PTNO:3BSE022366R1 | INTERFACE | 3BSE022366R1 | 3000014 | ABB | ABB | 3BSE022366R1 | [5 empty] | https://new.abb.com/products/3BSE022366R1/3bse022366r1 | [10 empty] | ENRICHED | 45111807 Interfaces | INTERFACE | COMMUNICATION | TYPE |  | FUNCTION |  | INPUT RATING |  | CONNECTION TYPE |  | NUMBER OF PORTS |  | SIZE | 85.6 WDX136 HTX58.5 DP MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325606 | 1325606 |  |  |  | INTERFACE;ABB,3BSE026055R1 | INTERFACE;MNFR:ABB,PTNO:3BSE026055R1 | INTERFACE | 3BSE026055R1 | 3000014 | ABB | ABB | 3BSE026055R1 | [5 empty] | https://new.abb.com/products/3BSE026055R1/3bse026055r1 | [10 empty] | ENRICHED | 45111807 Interfaces | INTERFACE | COMMUNICATION | TYPE |  | FUNCTION |  | INPUT RATING |  | CONNECTION TYPE |  | NUMBER OF PORTS |  | SIZE | 127.5 LGX59 WDX185 HT MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1211528 | 1211528 |  |  |  | CARD;ABB,3BSE028586R1 | CARD;MNFR:ABB,PTNO:3BSE028586R1 | CARD | 3BSE028586R1 | 3000014 | ABB | ABB | 3BSE028586R1 | [5 empty] | https://new.abb.com/products/3BSE028586R1/3bse028586r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1211529 | 1211529 |  |  |  | CARD;ABB,3BSE028602R1 | CARD;MNFR:ABB,PTNO:3BSE028602R1 | CARD | 3BSE028602R1 | 3000014 | ABB | ABB | 3BSE028602R1 | [5 empty] | https://new.abb.com/products/3BSE028602R1/3bse028602r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | DIGITAL | VOLTAGE RATING | 24 VDC | CURRENT RATING | 5 A | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1258571 | 1258571 |  |  |  | INTERFACE;ABB,3BSE030220R1 | INTERFACE;MNFR:ABB,PTNO:3BSE030220R1 | INTERFACE | 3BSE030220R1 | 3000014 | ABB | ABB | 3BSE030220R1 | [5 empty] | https://new.abb.com/products/3BSE030220R1/3bse030220r1 | [10 empty] | ENRICHED | 45111807 Interfaces | INTERFACE | COMMUNICATION | TYPE |  | FUNCTION |  | INPUT RATING |  | CONNECTION TYPE |  | NUMBER OF PORTS |  | SIZE | 127.5 LGX59 WDX185 HT MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1211717 | 1211717 |  |  |  | TERMINATOR;ABB,3BSE039025R1 | TERMINATOR;MNFR:ABB,PTNO:3BSE039025R1 | TERMINATOR | 3BSE039025R1 | 3000014 | ABB | ABB | 3BSE039025R1 | [5 empty] | https://new.abb.com/products/3BSE039025R1/3bse039025r1 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | TERMINATOR | CABLE | TYPE | MODULE | TERMINATION TYPE |  | CABLE SIZE |  | MATERIAL |  | IMPEDANCE |  | SIZE | 59 WDX186.5 HTX47 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [55 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1258572 | 1258572 |  |  |  | INTERFACE;ABB,3BSE041882R1 | INTERFACE;MNFR:ABB,PTNO:3BSE041882R1 | INTERFACE | 3BSE041882R1 | 3000014 | ABB | ABB | 3BSE041882R1 | [5 empty] | https://new.abb.com/products/3BSE041882R1/3bse041882r1 | [10 empty] | ENRICHED | 45111807 Interfaces | INTERFACE | COMMUNICATION | TYPE |  | FUNCTION |  | INPUT RATING |  | CONNECTION TYPE |  | NUMBER OF PORTS |  | SIZE | 96 LGX54 WDX119 HT MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325608 | 1325608 |  |  |  | CABLE;ABB,3BSE-042-251-R1 | CABLE;MNFR:ABB,PTNO:3BSE-042-251-R1 | CABLE | 3BSE-042-251-R1 | 3000014 | ABB | ABB | 3BSE-042-251-R1 | [5 empty] | https://new.abb.com/products/3BSE042251R1/3bse042251r1 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | NO MODIFIER | TYPE | PROGRAMMING | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 3 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1323490 | 1323490 |  |  |  | INTERFACE;ABB,3BSE056899R1 | INTERFACE;MNFR:ABB,PTNO:3BSE056899R1 | INTERFACE | 3BSE056899R1 | 3000014 | ABB | ABB | 3BSE056899R1 | [5 empty] | https://new.abb.com/products/3BSE056899R1/3bse056899r1 | [10 empty] | ENRICHED | 45111807 Interfaces | INTERFACE | COMMUNICATION | TYPE |  | FUNCTION |  | INPUT RATING |  | CONNECTION TYPE |  | NUMBER OF PORTS |  | SIZE | 127.5 LGX59 WDX186 HT MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [51 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1211718 | 1211718 |  |  |  | CONVERTER;ABB,3BSE061637R1 | CONVERTER;MNFR:ABB,PTNO:3BSE061637R1 | CONVERTER | 3BSE061637R1 | 3000014 | ABB | ABB | 3BSE061637R1 | [5 empty] | https://new.abb.com/products/3BSE061637R1/3bse061637r1 | [10 empty] | ENRICHED | 43201553 Transceivers and media converters | CONVERTER | MEDIA | TYPE | OPTICAL | POWER SUPPLY |  | CABLE/FIBER TYPE |  | TRANSMISSION TYPE |  | CONNECTOR TYPE |  | CABLE/FIBRE DISTANCE |  | DATA BUFFER |  | WAVELENGTH |  | INTERFACE TYPE |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1273512 | 1273512 |  |  |  | RECTIFIER;ABB,5FSE704380-46,L72,WNDR,PON | RECTIFIER;MNFR:ABB,PTNO:5FSE704380-46,ADDITIONAL FEATURES EN:L72,WINDER,PONY,DRIVE |  | 5FSE704380-46 | 3000014 | ABB | ABB | 5FSE704380-46 | [5 empty] | https://new.abb.com/products/5FSE704380-46/5fse704380-46 | [10 empty] | ENRICHED | 32121701 Rectifiers | RECTIFIER | NO MODIFIER | TYPE |  | MAX PEAK REVERSE VOLTAGE |  | MAX DC FORWARD CURRENT |  | MAX RMS BRIDGE INPUT VOLTAGE |  | DC REVERSE VOLTAGE |  | FORWARD VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | L72,WINDER,PONY,DRIVE | [44 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1322037 | 1322037 |  |  |  | CONVERTER;ABB,ACS800-01-0030-3 | CONVERTER;MNFR:ABB,PTNO:ACS800-01-0030-3 | CONVERTER | ACS800-01-0030-3 | 3000014 | ABB | ABB | ACS800-01-0030-3 | [5 empty] | https://new.abb.com/products/64576291/acs800-01-0030-3 | [10 empty] | ENRICHED | 39121007 Frequency converters | CONVERTER | FREQUENCY | TYPE |  | INPUT VOLTAGE | 380 TO 415 V | INPUT FREQUENCY | 48 TO 63 HZ | OUTPUT FREQUENCY RATING |  | OUTPUT VOLTAGE RATING |  | INTERFACE TYPE |  | SIZE | 274 LGX240 WDX607 HT MM | ACCURACY |  | MOUNTING TYPE | WALL | NOISE LEVEL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [45 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325095 | 1325095 |  |  |  | FUSE;ABB,170M7036 | FUSE;MNFR:ABB,PTNO:170M7036 | FUSE | 170M7036 | 3000014 | ABB | ABB | 170M7036 | [5 empty] | https://new.abb.com/products/5675582-638/5675582-638 | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | FUSE | SEMICONDUCTOR | TYPE |  | CURRENT RATING | 2500 A | VOLTAGE RATING | 1000 V | CLASS |  | INTERRUPT RATING |  | MATERIAL |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1272692 | 1272692 |  |  |  | BASE,RELY;ABB,CRM3LS,F/3 C/O CR-M | BASE,RELAY;MNFR:ABB,PTNO:CRM3LS,ADDITIONAL FEATURES EN:F/3 C/O CR-M | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBCRM3LS,BASE,RELAY,01)F/3 C/O CR-M | CRM3LS | 3000014 | ABB | ABB | CRM3LS |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://new.abb.com/products/1SVR405651R2100/cr-m3ls | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE | 82 LGX27 WDX61 HT MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CAN/CSA C22.2 No.14, IEC/EN 63000, IEC/EN 61984, UL 508 | ADDITIONAL FEATURES | F/3 C/O CR-M | [46 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1323536 | 1323536 |  |  |  | FUSE;ABB,170M3819 | FUSE;MNFR:ABB,PTNO:170M3819 | FUSE | 170M3819 | 3000014 | ABB | ABB | 170M3819 | [5 empty] | https://new.abb.com/products/LOG10003547/170m3819 | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | FUSE | SEMICONDUCTOR | TYPE |  | CURRENT RATING | 400 A | VOLTAGE RATING | 690 V | CLASS |  | INTERRUPT RATING |  | MATERIAL |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1274883 | 1274883 |  |  |  | CARD;ABB,TP401A | CARD;MNFR:ABB,PTNO:TP401A | CARD | TP401A | 3000014 | ABB | ABB | TP401A | [5 empty] | https://new.abb.com/products/TP40IA/tp40ia | [10 empty] | CLEANSED | 46171600 Surveillance and detection equipment | TIMER | PNEUMATIC | TYPE |  | PRESSURE RATING |  | TIMING RANGE |  | NUMBER OF PORTS |  | PROCESS CONNECTION |  | TEMPERATURE RATING |  | OPERATING MODE |  | ACCURACY |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325305 | 1325305 |  |  |  | CARD;ABB,QAPL 211 | CARD;MNFR:ABB,PTNO:QAPL 211 | CARD | QAPL 211 | 3000014 | ABB | ABB | QAPL 211 | [5 empty] | https://new.abb.com/products/YL261001-FF/yl261001-ff | [10 empty] | ENRICHED | 32101519 Detectors | DETECTOR | NO MODIFIER | TYPE | LEVEL | MEASURING RANGE |  | SIZE | 184 LGX28 WDX172 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [59 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325325 | 1325325 |  |  |  | CARD;ABB,YL263001-KK | CARD;MNFR:ABB,PTNO:YL263001-KK | CARD | YL263001-KK | 3000014 | ABB | ABB | YL263001-KK | [5 empty] | https://new.abb.com/products/YL263001-KK/yl263001-kk | [10 empty] | ENRICHED | 26111544 Speed controller | CONTROLLER | SPEED | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT SIGNAL |  | ACCURACY |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 184 LGX28 WDX172 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED
TNG-001 | Data Enrichment | PJR | OK | 2023-08-28 | 2023-09-05 |  | Mat 3_1325322 | 1325322 |  |  |  | CARD;ABB,YL263001-RC | CARD;MNFR:ABB,PTNO:YL263001-RC | CARD | YL263001-RC | 3000014 | ABB | ABB | YL263001-RC | [5 empty] | https://new.abb.com/products/YL263001-RC/yl263001-rc | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | PRODUCTION COMPLETED