## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060023650 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060023650 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | FITTING, FLUORESCENT, 220/230V, 1.2M LON | FITTING, FLUORESCENT, 220/230V, 1.2M LONG, DOUBLE TUBE, SWITCH START, DUST & HOSE PROOF, POWDER COATED MILD STEEL ENCLOSURE, HEAVY D
000000000060023646 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060023646 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | FITTING, FLUORESCENT, 220/230V, 1.2M LON | FITTING, FLUORESCENT, 220/230V, 1.2 METRE LONG, DOUBLE TUBE, RAPID, START, OPEN CHANNEL, POWDER COATED MILD STEEL ENCLOSURE, HEAVY DU, TY, C/W BALLAST, SOLID STATE STARTER & TELESCOPIC HOLDERS, W/O TUBE
000000000060023643 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060023643 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | FITTING, FLUORESCENT, 220/230V, 1.2M LON | FITTING, FLUORESCENT, 220/230V, 1.2M LONG, DOUBLE TUBE, RAPID START, OPEN CHANNEL, C/W BALLAST, SOLID STATE STARTER & TELESCOPIC HOL
000000000060023647 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060023647 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | FITTING, FLUORESCENT, 220/230V, 1.5M LON | FITTING, FLUORESCENT, 220/230V, 1.5 METRE LONG, SINGLE TUBE, RAPID, START, OPEN CHANNEL, POWDER COATED MILD STEEL ENCLOSURE, HEAVY DU, TY, C/W BALLAST, SOLID STATE STARTER & TELESCOPIC HOLDERS, W/O TUBE
000000000060023648 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060023648 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | FITTING, FLUORESCENT, 220/230V, 1.5M LON | FITTING, FLUORESCENT, 220/230V, 1.5M LONG, DOUBLE TUBE, RAPID START, OPEN CHANNEL, POWDER COATED MILD STEEL ENCLOSURE, HEAVY DUTY, C
000000000060093463 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060093463 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | FITTING, FLUORESCENT, 220/230V, 1.5M LON | FITTING, FLUORESCENT, 220/230V, 1.5M LONG, DOUBLE TUBE, RAPID START, DUST, HOSE & CORROSION PROOF ENCLOSURE, C/W BALLAST, TELESCOPIC
000000000060023637 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060023637 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | FITTING, FLUORESCENT, 220V, 20W, 0.6M LO | FITTING, FLUORESCENT, 220V, 20W, 0.6M LONG, SINGLE TUBE, BI PIN, W/O TUBE
000000000060130513 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060130513 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | FITTING, FLUORESCENT, 220V, 65W, 1.5 MET | #N/A
000000000060222387 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060222387 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | DIGITAL MODULE, 4 INPUTS AND 2 RELAY | DIGITAL MODULE, 4 INPUTS AND 2 RELAY OUTPUTS, INPUT VOLTAGE AC/DC 110-240V, MONOSTABLE RELAY OUTPUTS, MAXIMUM 2 DIGITAL MODULES PER | 3UF7300-1AU00-0 | 0019011590 | SIEMENS
000000000060169725 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060169725 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | EARTH FAULT MODULE TYPE:3UF7500-1AA00-0 | EARTH FAULT MODULE TYPE:3UF7500-1AA00-0 | 3UF7500-1AA00-0 | 0019003467 | UNKNOWN
000000000060213862 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060213862 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | MEASURING MODULE, SIEMENS, 3UF7103-1BA00 | SIEMENS: MEASURING MODULE 3UF7103-1BA00-0 | 3UF7103-1BA00-0 | 0019011484 | SIMOTECH CC
000000000060217048 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060217048 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | MODULE, CURRENT MEASURING, 3UF7100-1AA00 | MODULE, CURRENT MEASURING, SIEMENS, 3UF7100-1AA00-0, 0,3 - 3A; OVERALL WIDTH 45MM; STRAIGHT THROUGH CT | 3UF7100-1AA00-0 | 0019011590 | SIEMENS
000000000060220395 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060220395 | BHP1 | BHP Spares & Supplies | 551116 | Electronic software reference material | EA | MAN2 | MODULE, EARTH FAULT, C/W ANALOGUE EARTH | MODULE, EARTH FAULT, C/W ANALOGUE EARTH FAULT MEASREMENT, 1 INPUT TO CONNECT A RESIDUAL CURR. TRANSF, 3UL23, PART NO 3UF7510-1AA00-0
000000000060213713 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060213713 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | MODULE, SIEMENS, 141-4BF00-0AB0 | MODULE, SIEMENS, 141-4BF00-0AB0 | 141-4BF00-0AB0 | 0019011590 | SIEMENS
000000000060213714 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060213714 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | MODULE, SIEMENS, 144-4GF00-0AB0 | MODULE, SIEMENS, 144-4GF00-0AB0 | 144-4GF00-0AB0 | 0019011590 | SIEMENS
000000000060213715 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060213715 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | MODULE, SIEMENS, 145-4GF00-0AB0 | MODULE, SIEMENS, 145-4GF00-0AB0 | 145-4GF00-0AB0 | 0019011590 | SIEMENS
000000000060251129 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060251129 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | MODULE,CURRENT MEASURING,SIEMENS,3UF7102 | MODULE,CURRENT MEASURING,SIEMENS,3UF7102-1AA00-0,SET CURRENT 10-100A,OVERALL WIDTH 55 MM,STRAIGHT-THROUGH TRANSFORMER | 3UF7102-1AA00-0 | 0019011819 | Unknown
000000000060253623 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060253623 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | MODULE,CURRENT,MEASURING,SIEMENS,3UF7104 | MODULE, CURRENT, MEASURING, SIEMENS, 3UF7104-1BA00-0, 63-630A, OVERALL WIDTH 145MM, BUSBAR CONNECTION | 3UF7104-1BA00-0 | 0019011819 | Unknown
000000000060228508 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060228508 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | MODULE,CURRENT,SIEMENS,3UF7101-1AA00-0 | MODULE, CURRENT, SIEMENS,3UF7101-1AA00-0 , BUCKET ELEVATOR FVD | 3UF7101-1AA00-0 | 0019011590 | SIEMENS
000000000060228510 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060228510 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | MODULE,DIGITAL,SIEMENS,3UF7300-1AB00-0 | MODULE, DIGITAL, SIEMENS,3UF7300-1AB00-0 , BUCKET ELEVATOR FVD | 3UF7300-1AB00-0 | 0019011590 | SIEMENS
000000000060242191 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060242191 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | MODULE,DIGITAL,SIEMENS,EXPANSION | MODULE, DIGITAL, SIEMENS, EXPANSION MODULE, 4 INPUTS AND 2 RELAY, OUTPUTS, FOR SIMOCODE PRO V BASIC UNIT,INPUT VOLTAGE 24 V DC, RELAY, OUTPUTS MONOSTABLE, MAX 2 DIGITAL MODULES, 3UF7300-1AB00-0, NEW STOCK AS PER ESSI: 1506, CHANGE AS PER ESSI 638 | 3UF7300-1AB00-0 | 0019011590 | SIEMENS
000000000060228477 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060228477 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | MODULE,EARTH FAULT,SIEMENS,3UF7510-1AA00 | MODULE, EARTH FAULT, SIEMENS, 3UF7510-1AA00-0, BUCKET ELEVATOR FVD | 3UF7510-1AA00-0 | 0019011590 | SIEMENS
000000000060233853 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060233853 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | MODULE,MEASURING,CURRENT,SIEMENS | MODULE, MEASURING, CURRENT, SIEMENS, SET CURRENT 2,4...25A; OV, 3UF7101-1AA00-0 FOR STANDARD MCC SIMOCODE DRIVE PANEL (BUCKET).OVERA, NEW STOCK AS PER ESSI: 1504 | 3UF7101-1AA00-0 | 0019011590 | SIEMENS
000000000060166733 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060166733 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | MODULE: EARTH FAULT (PROFIBUS) FOR A 250 | MODULE: EARTH FAULT (PROFIBUS) FOR A 250 KW, 525 VOLT SOFT STARTER | 3UF75001AA000 | 0019003033 | SIEMENS GMBH,W.GERMANY
000000000060224212 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060224212 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SIMOCODE CURRENT MODULE, 0.3 TO 3 AMP, P | SIMOCODE CURRENT MODULE, 0.3 TO 3 AMP, PART NUMBER: 3UF7100-1AA00-0 | 3UF7100-1AA00-0
000000000060224214 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060224214 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SIMOCODE CURRENT MODULE, 10 TO 100 AMP, | SIMOCODE CURRENT MODULE, 10 TO 100 AMP, PART NUMBER: 3UF7102-1AA00-0 | 3UF7102-1AA00-0
000000000060224213 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060224213 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SIMOCODE CURRENT MODULE, 2.4 TO 25 AMP, | SIMOCODE CURRENT MODULE, 2.4 TO 25 AMP, PART NUMBER: 3UF7101-1AA00-0 | 3UF7101-1AA00-0
000000000060224215 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060224215 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SIMOCODE CURRENT MODULE, 20 TO 200 AMP, | SIMOCODE CURRENT MODULE, 20 TO 200 AMP, PART NUMBER: 3UF7103-1BA00-0 | 3UF7103-1BA00-0
000000000060224216 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060224216 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SIMOCODE CURRENT MODULE, 63 TO 630 AMP, | SIMOCODE CURRENT MODULE, 63 TO 630 AMP, PART NUMBER: 3UF7104-1BA00-0 | 3UF7104-1BA00-0
000000000060224231 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060224231 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SIMOCODE DIGITAL MODULE, MONOSTABLE, 110 | SIMOCODE DIGITAL MODULE, MONOSTABLE, 110 TO 240V AC/DC, PART NUMBER: 3UF7300-1AU00-0 | 3UF7300-1AU00-0
000000000060224224 | STP-004 | DATA ENRICHMENT | SMX | SMX |  | 2022-10-07 |  |  | 000000000060224224 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SIMOCODE GROUND FAULT MODULE, PART NUMBE | SIMOCODE GROUND FAULT MODULE, PART NUMBER: 3UF7510-1AA00-0 | 3UF7510-1AA00-0