## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Material | Plant | No | Material Description | Industry sector | Material Type | Material Group | Base Unit of Measure | Input Value Catted | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | Art / Article Number | Mfg Number | Enriched/cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Additional | Attribute Name 1 | AttributeValue 1 | Attribute Name 2 | AttributeValue 2 | Attribute Name 3 | AttributeValue 3 | Attribute Name 4 | AttributeValue 4 | Attribute Name 5 | AttributeValue 5 | Attribute Name 6 | AttributeValue 6 | Attribute Name 7 | AttributeValue 7 | Attribute Name 8 | AttributeValue 8 | Attribute Name 9 | AttributeValue 9 | Attribute Name 10 | AttributeValue 10 | Attribute Name 11 | AttributeValue 11 | Attribute Name 12 | AttributeValue 12 | Attribute Name 13 | AttributeValue 13 | Attribute Name 14 | AttributeValue 14 | Attribute Name 15 | AttributeValue 15 | Attribute Name 16 | AttributeValue 16 | Attribute Name 17 | AttributeValue 17 | Attribute Name 18 | AttributeValue 18 | Attribute Name 19 | AttributeValue 19 | Attribute Name 20 | AttributeValue 20 | Attribute Name 21 | AttributeValue 21 | Attribute Name 22 | AttributeValue 22 | Attribute Name 23 | AttributeValue 23 | Attribute Name 24 | AttributeValue 24 | Attribute Name 25 | AttributeValue 25 | Attribute Name 26 | AttributeValue 26 | Attribute Name 27 | AttributeValue 27 | Attribute Name 28 | AttributeValue 28 | Attribute Name 29 | AttributeValue 29 | Attribute Name 30 | AttributeValue 30
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 403034 | 9304 | 403034 | 2-WAY NON-FUSED TERMINAL BLOCK, 5-32A, | M | ZSPA | 061290 | PC | TERMINAL ¦ 2-WAY NON-FUSED TERMINAL BLOCK ¦ RS ¦ 763-8116 ¦ FREE HANGING PANEL MOUNT ¦ 763-8116
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 405612 | 9301 | 405612 | 3 POLE CONTACTOR 7A 110V 50/60Hz | M | ZSPA | 061301 | PC | CONTACTOR ¦ CONTACTOR ¦ SIEMENS ¦ 3RT2015-1AF02 ¦ 3NO, 3 KW ¦ 706-1061
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 406688 | 9301 | 406688 | 500W POWER SUPPLY 120MM COOLING FAN | M | ZSPA | 061290 | PC | POWER SUPPLY ¦ 500W POWER SUPPLY ¦ CORSAIR ¦ CX500 ¦ 120MM COOLING FAN ¦ SINGLE 12V RAIL 38 AMPS
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 189804 | 9669 | 189804 | AC-MOTOR 11,0KW 400/690V 1500R B35 | M | ZSPA | 061201 | PC | AC-MOOTTORI ¦ 1LE1003-1DB23-4JA4 ¦ RAUTE NO. 3018839
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 187488 | 9535 | 187488 | ANALOG TERMINAL DTR2-AD04 | M | ZSPA | 061301 | PC | DTR2-AD04 ¦ OMRON ¦ 60 ¦ 1
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 404211 | 9301 | 404211 | ANALOGUE OUTPUT MOD 6ES7332-7ND02-0AB0 | M | ZSPA | 061590 | PC | OUTPUT MODULE ¦ PLC EXPANSION MODULE ¦ SIEMENS ¦ 6ES7332-7ND02-0AB0 ¦ 746-6659
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 193822 | 9301 | 193822 | AUX CONTACT BLOCK 3RH2911-1HA22 | M | ZSPA | 061290 | PC | 2NO+2NC ¦ 3RH2911-1HA22 ¦ SIEMENS ¦ RAUTE NO. 3014588
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 407013 | 9301 | 407013 | AUXILIARY CONTACT BLOCK 3RH2911-1FA04 | M | ZSPA | 061290 | PC | AUXILIARY CONTACT BLOCK ¦ 3RH2911-1FA04 ¦ SIEMENS ¦ 3RH2911-1FA04 ¦ 0NO+4NC ¦ RS: 706-0876
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 407016 | 9301 | 407016 | AUXILIARY CONTACT BLOCK DILM150-XH104 | M | ZSPA | 061290 | PC | AUXILIARY CONTACT BLOCK ¦ DILM150-XH104 ¦ EATON ¦ 277952 ¦ 0NO+4NC ¦ RS: 513-0257
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 127815 | 9301 | 127815 | AUXILIARY CONTACT BLOCK LADN04 3860031 | M | ZSPA | 061290 | PC | 4AV ¦ LADN04 ¦ TELEMECANIQE ¦ 3860031
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 402033 | 9302 | 402033 | BATTERY 1756-BA2 | M | ZSPA | 061301 | PC | BATTERY ¦ BATTERY ASSEMBLY ¦ ALLEN BRADLEY ¦ BATTERY 1756-BA2 ¦ PLC ¦ LITHIUM
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 402533 | 9304 | 402533 | BEARING 6206 KKU C3 5C | M | ZSPA | 060890 | PC | BEARING ¦ BEARING 6206 KKU C3 5C ¦ NTN ¦ BEARING 6206 KKU C3 5C
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 402891 | 9301 | 402891 | BEARING SHAFT SLV -BUCKET ELEVATOR H318 | M | ZSPA | 060780 | PC | BEARING ¦ H318 ¦ SKF ¦ H318
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 108065 | 9672 | 108065 | BEARING UCFL 208 | M | ZSPA | 060890 | PC | ASAHI
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 108055 | 9671 | 108055 | BEARING UNIT FLANGE UCF 213 | M | ZSPA | 060890 | PC | ASAHI
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 120271 | 9535 | 120271 | BEARING UNIT FLANGE UCFL 204 | M | ZSPA | 060890 | PC | NSK
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 108053 | 9535 | 108053 | BEARING UNIT UCF 208 | M | ZSPA | 060890 | PC | PESÄ F 208 ¦ ASAHI
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 110788 | 9535 | 110788 | BEARING UNIT UCP 212 | M | ZSPA | 060890 | PC
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 406651 | 9304 | 406651 | BEIGE DISCONNECT TERMINAL BLOCK | M | ZSPA | 061290 | PC | TERMINAL ¦ BEIGE DISCONNECT TERMINAL BLOC ¦ RS ¦ 872-5634 ¦ 10MM2, 600 V ¦ 872-5634
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 403268 | 9301 | 403268 | BELLEVILLE WASHER CM0010133 | M | ZSPA | 060763 | PC | WASHER ¦ BELLEVILLE WASHER CM0010133 ¦ ARCA ¦ CM0010133
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 198444 | 9671 | 198444 | BLADDER 32L 7/8-14UNF/VG5 NBR20/P460 | M | ZSPA | 061490 | PC | BLADDER ¦ 32L 7/8-14UNF/VG5 NBR20/P460 ¦ NBR ¦ HYDAC ¦ 235335
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 406959 | 9304 | 406959 | BOLT 8119139618 | M | ZSPA | 060780 | PC | BOLT ¦ 8119139618 ¦ WEINIG ¦ 8119139618 ¦ FOR ROLLER
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 407039 | 9302 | 407039 | BUTTERFLY VALVE 149G38114N | M | ZSPA | 060190 | PC | BUTTERFLY VALVE ¦ 149G38114N ¦ SOCLA ¦ 598036 ¦ TREATMENT PLANT
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 145147 | 9669 | 145147 | CABLE GLAND M20 | M | ZSPA | 061102 | PC
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 113628 | 9669 | 113628 | CABLE GLAND PLASTIC PG13,5 | M | ZSPA | 061102 | PC
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 403240 | 9304 | 403240 | CAP SCREWS 4301420 KIT M6X12MM | M | ZSPA | 062207 | PC | SCREWS ¦ CAP SCREWS ¦ 4301420 FTNM DRY 23
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 407145 | 9535 | 407145 | CAPACITIVE SENSOR BC20-CP40-FZ3X2 | M | ZSPA | 061301 | PC | CAPACITIVE SENSOR ¦ BC20-CP40-FZ3X2 ¦ TURCK ¦ 23105 ¦ 20...250 VAC ¦ NC/NO ¦ SN 20MM
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 400314 | 9304 | 400314 | CIRCUIT BREAKER 3RV1021-1JA10 | M | ZSPA | 061301 | PC | CIRCUIT BREAKER ¦ CIRCUIT BREAKER ¦ SIEMENS ¦ 3RV1021-1JA10 ¦ 246-4888
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 199053 | 9669 | 199053 | CIRCUIT BREAKER 5SY6206-7 | M | ZSPA | 061106 | PC | CIRCUIT BREAKER ¦ 5SY6206-7 ¦ SIEMENS ¦ 2115275 ¦ 400V ¦ 6KA ¦ 2-POLE ¦ C
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 400699 | 9304 | 400699 | CIRCUIT BREAKER GV4LE80N | M | ZSPA | 061301 | PC | CIRCUIT BREAKER ¦ CIRCUIT BREAKER ¦ SCHNEIDER ¦ GV4LE80N
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 190807 | 9669 | 190807 | CIRCUIT BREAKER IC60N 3P C10A 6KA A9F04> | M | ZSPA | 061290 | PC | CIRCUIT BREAKER ¦ IC60N 3P C 10 6KA ¦ A9F04310
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 109509 | 9301 | 109509 | CLAMP SGS-M16X1,5 9263 | M | ZSPA | 061590 | PC | SGS-M16X1,5 ¦ FESTO ¦ 9263
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 145888 | 9301 | 145888 | COIL 230V-50/60HZ16VA 0498322409 | M | ZSPA | 061590 | PC | BOSCH REXROTH OY ¦ 16W ¦ 230V
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 139143 | 9301 | 139143 | COIL PN507827 240V 50HZ | M | ZSPA | 061490 | PC | PN507827
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 400391 | 9535 | 400391 | CONNECTOR CABLE STRAIGHT M12 5M | M | ZSPA | 061101 | PC | CONNECTOR CABLE ¦ STRAIGHT M12 5M ¦ SCHNEIDER ELECTRIC ¦ XZCP1141L5 ¦ 3520295
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 406097 | 9301 | 406097 | CONNECTOR S7 ET200L DIG OUTPUT MODULE | M | ZSPA | 061301 | PC | OUTPUT MODULE ¦ SIMATIC ET 200L PLC I/O MODULE ¦ SIEMENS ¦ 6ES7132-1BL00-0XB0 ¦ 32 OUTPUTS ¦ 24VDC B5
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 132670 | 9301 | 132670 | CONTACT BLOCK ZB4-BZ101 1S 2320660 | M | ZSPA | 061290 | PC | SCHNEIDER
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 405610 | 9301 | 405610 | CONTACTOR 110V 50/60Hz 2NO + 2NC 10A | M | ZSPA | 061301 | PC | CONTACTOR ¦ CONTACTOR ¦ SIEMENS ¦ 3RH2122-1AF00 ¦ 746-0730
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 401759 | 9301 | 401759 | CONTACTOR 240V 7.5HP-480V LC1 D12U7 | M | ZSPA | 061301 | PC | CONTACTOR ¦ CONTACTOR 240V 7.5HP-480V ¦ SCHNEIDER ¦ LC1 D12U7 ¦ 50HZ ¦ 187-324
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 146175 | 9304 | 146175 | CONTACTOR 3RH1131-1BB40 24VDC SIEMENS | M | ZSPA | 061290 | PC | SIEMENS ¦ 24VDC
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 152009 | 9301 | 152009 | CONTACTOR 3RT1015-1BB42 24V 3KW | M | ZSPA | 061290 | PC | SIEMENS ¦ 24V
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 129981 | 9301 | 129981 | CONTACTOR 3RT1016-1AP01 3820045 4KW | M | ZSPA | 061290 | PC | 3RT1016-1AP01 ¦ SIEMENS ¦ 230V ¦ 9A/AC3 ¦ APUKOSKETIN 1SULKEUTUVA ¦ 3820045
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 127607 | 9669 | 127607 | CONTACTOR LP4K0910BW3 | M | ZSPA | 061290 | PC | 24VDC ¦ TELEMECANIQUE
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 127664 | 9301 | 127664 | CONTACTOR TIMER MODULE LA3-DR2 0,1-30S | M | ZSPA | 061290 | PC | PÄÄSTÖHIDASTUS ¦ LA3DR2 ¦ TELEMECANIQE ¦ 0.1-30S ¦ 3886269
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 402635 | 9301 | 402635 | CONTROL RELAY 2N/0 + 2N/C 3TH4022-0AP0 | M | ZSPA | 061301 | PC | CONTROL RELAY ¦ 3TH4022-0AP0 ¦ 3TH4022-0AP0 ¦ 230V COIL
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 141090 | 9669 | 141090 | CONTROL SWITCH CG8 A200FT2-VG221 | M | ZSPA | 061290 | PC
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 198963 | 9671 | 198963 | CONVEYOR BELT NAB-18EFDV 1100X5570 | M | ZSPA | 061002 | PC | CONVEYOR BELT ¦ NAB-18EFDV 1100X5570 ¦ NORDAUTOMATION OY ¦ WIDTH 1100MM ¦ LENGTH 5570MM ¦ PREFABRICATED FINGER JOINT
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 181837 | 9669 | 181837 | COUNTER SUNK SCREW M10X50 PP | M | ZSPA | 060766 | PC | UPPOKANTARUUVI M10X50 PP ¦ 442699 ¦ LÄPIJATKOSLINJA JALOSTE
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 407861 | 9670 | 407861 | COVER R430183 | M | ZSPA | 060890 | PC | RAUTE ¦ R430183
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 400317 | 9304 | 400317 | CRIMP RED BOOTLACE FERRULE 1.5MM | M | ZSPA | 062207 | PC | CRIMP ¦ CRIMP RED BOOTLACE FERRULE 1.5 ¦ RS ¦ 458-702 ¦ 458-702
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 407791 | 9301 | 407791 | CUTTER 230X30X3MM | M | ZSPA | 062205 | PC | EB SAWS ¦ CUTTER 230X30X3MM
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 102060 | 9304 | 102060 | DEEP GROOVE BALL BEARING 6011-2Z/C3 | M | ZSPA | 060890 | PC | SKF ¦ C3
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 112871 | 9302 | 112871 | DEEP GROOVE BALL BEARING 6020 2RS1 | M | ZSPA | 060890 | PC | SKF
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 136686 | 9301 | 136686 | DEEP GROOVE BALL BEARING 6208 2Z | M | ZSPA | 060890 | PC | SKF
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 176189 | 9304 | 176189 | DEEP GROOVE BALL BEARING 6208-2RS1/C3 | M | ZSPA | 060890 | PC
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 132488 | 9535 | 132488 | DIG. INPUT MODULE 6ES7421-1BL01-0AA0 | M | ZSPA | 061301 | PC | SM 421 32 TULO ¦ 6ES7421-1BL01-0AA0 ¦ SIEMENS
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 110486 | 9301 | 110486 | DIGITAL IN/OUT MODULE 6ES5 482-8MA13 | M | ZSPA | 061301 | PC | SIMATIC S5-100U ¦ SIEMENS
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103908 | 9535 | 103908 | DIRECTION VALVE DG4V-3-2C-MU-C6-60 | M | ZSPA | 061490 | PC | VICKERS
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103902 | 9672 | 103902 | DIRECTIONAL VALVE DG4V-5-2C-MU-C6-20 | M | ZSPA | 061490 | PC | DG4V-5-2C-MU-C6-20 ¦ VICKERS
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 407050 | 9302 | 407050 | DRIVE PINS SP219.2156 | M | ZSPA | 060490 | PC | DRIVE PINS ¦ SP219.2156 ¦ ROBBINS MYERS ¦ SP219.2156 ¦ TREATMENT PLANT
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 400526 | 9302 | 400526 | E10191 STRUCK CABLE | M | ZSPA | 061101 | PC | SOCKET ¦ SOCKET 1/2IN CONNECTOR ¦ IFM ¦ ADOGA030MSS0005E03/E10191
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 132684 | 9304 | 132684 | EMERGENCY STOP HEAD ZB5AS844 | M | ZSPA | 061290 | PC | ZB5AS844 ¦ TELEMECANIQE SCHNEIDER ¦ 40MM ¦ PUNAINEN ¦ 426-2808 ¦ 2319948
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 402892 | 9301 | 402892 | END CAP FOR SHAFT KM13 | M | ZSPA | 062207 | PC | END CAP ¦ KM13 ¦ KM13
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 405067 | 9301 | 405067 | FEEDER SPRING 0.4X3.0X142MM | M | ZSPA | 061590 | PC | SPRING ¦ FEEDER SPRING 0.4X3.0X142MM ¦ BEA ¦ `14400053
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 407049 | 9302 | 407049 | FILTER REGULATOR 5205008 | M | ZSPA | 061590 | PC | FILTER REGULATOR ¦ 5205008 ¦ METALWORK ¦ 5205008 ¦ G1/4 ¦ 0-8BAR ¦ TREATMENT PLANT
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 406736 | 9304 | 406736 | FILTER REGULATOR 5UM G 1/4, 16 BAR | M | ZSPA | 061590 | PC | FILTER/REGULATOR ¦ FILTER REGULATOR 5UM G 1/4, 16 ¦ FESTO ¦ LFR-D-5M-MINI ¦ 202-4318
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 108064 | 9301 | 108064 | FLANGE BEARING UNIT UCFL 205 | M | ZSPA | 060890 | PC | PESÄ FL 205 ¦ ASAHI
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 406735 | 9301 | 406735 | FLOW CONTROL VALVE LC1-VF1/ABXSN | M | ZSPA | 061301 | PC | FLOW CONTROL VALVE ¦ FLOW CONTROL VALVE ¦ OLEODINAMICA ¦ LC1-VF1/ABXSN
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 405048 | 9301 | 405048 | FORKLIFT BULB 24V 70W H3 | M | ZSPA | 061290 | PC | LIGHT BULB ¦ BULB 24V 70W H3 ¦ LUCAS ¦ LLB460
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 406748 | 9304 | 406748 | FUSE 16A RED SPOT | M | ZSPA | 061290 | PC | FUSE ¦ FUSE 16A RED SPOT ¦ RS ¦ NIT16 ¦ 414-639
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 400714 | 9304 | 400714 | FUSE TBC63M100 | M | ZSPA | 061290 | PC | FUSES ¦ FUSES ¦ LAWSON ¦ TBC63M100
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 189709 | 9669 | 189709 | FUSE TERMINAL BLOCK PT4-HESILED24 | M | ZSPA | 061290 | PC | SULAKELIITIN ¦ PT4-HESILED24 ¦ RAUTE NO. 3012665
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 407423 | 9672 | 407423 | GEAR MOTOR R37 DRN80MK4 | M | ZSPA | 061207 | PC | GEAR MOTOR ¦ R37 DRN80MK4 ¦ SEW EURODRIVE ¦ R37 DRN80MK4 ¦ 0,55KW ¦ 230/400V ¦ 1435/39RPM ¦ M5 ¦ KYT.KOT AS 0 AST.
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 162008 | 9669 | 162008 | GEARMOTOR R42 DT90S4 BMG | M | ZSPA | 061207 | PC | JARRU 400V, M 20NM ¦ R42 DT90S4 BMG ¦ SEW ¦ 1,1KW ¦ 400V ¦ 1400/298 ¦ AS.B3
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 402019 | 9302 | 402019 | GLAND KIT PDW20S | M | ZSPA | 062107 | PC | GLAND KIT ¦ GLAND KIT ¦ PDW20S
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 189330 | 9670 | 189330 | GLASS TUBE FUSE 4 AF 5X20 FAST | M | ZSPA | 061290 | PC | LASIPUTKISULAKE ¦ 5X20 4AF NOPEA ¦ RAUTE NO. 0253172
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 102123 | 9669 | 102123 | GROOVE BALL BEARING 6004 2Z | M | ZSPA | 060890 | PC | SKF
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 112878 | 9301 | 112878 | GROOVE BALL BEARING 6212 2RS1 C3 | M | ZSPA | 060890 | PC | SKF
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 406174 | 9301 | 406174 | HINGE BOLT D.16 X 46MM | M | ZSPA | 062207 | PC | BOLT ¦ HINGE BOLT ¦ WEINIG ¦ 143165006.0
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 406719 | 9301 | 406719 | HOSE CLIP 5IN | M | ZSPA | 062207 | PC | HOSE CLIP ¦ TFM ¦ HOSE CLIP 5IN
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 406724 | 9301 | 406724 | HOSE TAIL 1/8IN BSP MALE | M | ZSPA | 061590 | PC | HOSE TAIL ¦ HOSE TAIL 1/8IN BSP MALE ¦ TFM ¦ HOSE TAIL 1/8IN BSP MALE ¦ 176-2015
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 181643 | 9535 | 181643 | HYDR.PUMPPU WPO9A1B160R07NB-150N | M | ZSPA | 061490 | PC | WPO9A1B160R07NB-150N ¦ WASTIP OY
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 402852 | 9301 | 402852 | HYDRAULIC CLAMP 25MM 010 900 200-00 | M | ZSPA | 060752 | PC | HYDRAULIC CLAMP ¦ 010 900 200-00 ¦ WEINIG ¦ 010 900 200-00
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103542 | 9671 | 103542 | HYDRAULIC MOTOR OMR100 DANFOSS | M | ZSPA | 061490 | PC | DANFOSS
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 407892 | 9672 | 407892 | HYDRAULIC PUMP PLP20.4DO-82E2-LEA-EA-E> | M | ZSPA | 061490 | PC | HYDRAULIC PUMP ¦ PLP20.4DO-82E2-LEA-EA-EL-FS ¦ CASAPPA ¦ PLP20.4DO-82E2-LEA-EA-EL-FS ¦ 4,95CM3/R
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 198404 | 9672 | 198404 | HYDRAULIC PUMP PVQ40AR01AB10G2100000200> | M | ZSPA | 061490 | PC | HYDRAULIC PUMP ¦ PVQ40AR01AB10G2100000200> ¦ VICKERS ¦ 02-341948 ¦ 41CM3/R ¦ 1800RPM ¦ 0,35BAR ¦ KS67501 ¦ SA/30307
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 128044 | 9669 | 128044 | ILLUMINATED SWITCH ZB4-BK1833 | M | ZSPA | 061290 | PC | ZB4BK1833 ¦ TELEMECANIQE ¦ 23 201 67 ¦ VIHREÄ
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 403036 | 9301 | 403036 | INDICATOR LAMP 3SB12 12 | M | ZSPA | 061106 | PC | LIGHT BULB ¦ 3SB12 12 ¦ 3SB12 12
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 406981 | 9672 | 406981 | INDICATOR RCA219DZ091Z | M | ZSPA | 061690 | PC | PRESSURE INDICATOR ¦ RCA219DZ091Z ¦ PALL ¦ RCA219DZ091Z ¦ 3,4BAR
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 404715 | 9301 | 404715 | INDUCTIVE PROXIMITY SWITCH KAS0277 | M | ZSPA | 061301 | PC | PROXIMITY SWITCH ¦ INDUCTIVE PROXIMITY SWITCH KAS ¦ RECHNER ¦ KAS-80-26-A-PTFE-1*-100*C
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 402281 | 9302 | 402281 | INDUCTIVE SENSOR BI4-M12E-VP6X-H1141 | M | ZSPA | 060780 | PC | SENSOR ¦ INDUCTIVE SENSOR ¦ TURCK ¦ BI4-M12E-VP6X-H1141/924441 ¦ M12X1 MALE CONNECTOR ¦ FLANGE SAW SENSOR
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 195427 | 9669 | 195427 | INDUCTIVE SENSOR XS8C4A1MPG13 | M | ZSPA | 061301 | PC | 40X117 24 240V ¦ XS8C4A1MPG13 ¦ TELEMECANIQUE
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 117802 | 9301 | 117802 | INPUT MODULE 321 6ES7321-1BL00-0AA0 | M | ZSPA | 061301 | PC | 6ES7321-1BL00-0AA0 ¦ SIEMENS
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 400669 | 9304 | 400669 | INPUT MODULE 6ES7315-2AH14-0AB0 | M | ZSPA | 061301 | PC | INPUT MODULE ¦ DIGITAL INPUT MODULE ¦ SIEMENS ¦ 6ES7315-2AH14-0AB0
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 194860 | 9669 | 194860 | INTERFACE MODULE 6ES7174-0AA10-0AA0 | M | ZSPA | 061301 | PC | 6ES7174-0AA10-0AA0 ¦ SIEMENS
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 407858 | 9302 | 407858 | ISOLATION VALVE FRL MX2-1/2-0> | M | ZSPA | 061590 | PC | FILTER REGULATOR LUBRICATOR ¦ FRL ¦ CAMOZZI ¦ MX2-1/2-000016-A1/2
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 192491 | 9669 | 192491 | LEVEL SENSOR KME/E-3/8-ME/U-L100/12-1/S> | M | ZSPA | 061490 | PC | KME/E-3/8-ME/U-L100/12-1/> ¦ KSR KUEBLER ¦ <SV52/15/A-5PVC+H33227
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 166408 | 9304 | 166408 | LEVEL SENSOR SME-8M-DS-24V-K-0.3-M8D | M | ZSPA | 061290 | PC | ANTURI ¦ FESTO ¦ 543861
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 127617 | 9301 | 127617 | LIMIT SWITCH BODY ZCKM1 | M | ZSPA | 061102 | PC | 1SU+1AV ¦ ZCKM1 ¦ TELEMECANIQUE
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 188190 | 9301 | 188190 | LIMIT SWITCH ZCKM1H29 | M | ZSPA | 061301 | PC | ZCKM1H29 ¦ TELEMECANIQUE ¦ 1NC+1N0 ¦ 6F003 ¦ 15
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 406958 | 9304 | 406958 | LOCKING RING 00223842 | M | ZSPA | 060780 | PC | LOCKING RING ¦ 00223842 ¦ WEINIG ¦ 00223842
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 152128 | 9535 | 152128 | LOCKNUT M20 PLASTIC 1729021 | M | ZSPA | 061102 | PC | VASTAMUTTERI ¦ M20 ¦ MUOVI ¦ SNRO:1729021 ¦ M20
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 157719 | 9669 | 157719 | LOCKNUT PG13,5 GMP-13,5 | M | ZSPA | 061102 | PC
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 406835 | 9535 | 406835 | LOGIC MODULE 6ED1052-1FB08-0BA1 | M | ZSPA | 060490 | PC | LOGIC MODULE ¦ 6ED1052-1FB08-0BA1 ¦ SIEMENS ¦ 6ED1052-1FB08-0BA1 ¦ LOGO 230RCE
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 403173 | 9301 | 403173 | M8X40MM STUD BRIGHT STEEL | M | ZSPA | 062207 | PC | STEEL STUDDING ¦ BRIGHT STEEL ¦ RS ¦ 769-6305 ¦ 769-6285
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 405014 | 9301 | 405014 | MEASURING TAPE 230MM | M | ZSPA | 060780 | PC | MEASURING TAPE ¦ MEASURING TAPE 230MM ¦ WEINIG ¦ 220364017
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 133480 | 9301 | 133480 | MONITORING RELAY SM15523010K | M | ZSPA | 061290 | PC | CARLO GAVAZZI
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 151671 | 9301 | 151671 | MOTOR CIRCUIT BREAKER 3RV1031-4EA10 | M | ZSPA | 061290 | PC | SIEMENS
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 188661 | 9669 | 188661 | MOTOR CIRCUIT BREAKER 3RV2021-4DA10 | M | ZSPA | 061301 | PC | MOTOR CIRCUIT BREAKER ¦ 3RV2021-4DA10 ¦ SIEMENS ¦ 18-25A ¦ S0 ¦ RAUTE NO: 3013922
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 113783 | 9301 | 113783 | MOTOR CIRCUIT BREAKER GV2-ME06 1-1,6A | M | ZSPA | 061290 | PC | GV2-ME06 1-1,6A ¦ TELEMECANIQUE ¦ 1-1,6A
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 108216 | 9535 | 108216 | MOTOR CIRCUIT BREAKER GV2-ME08 2,5-4,0A | M | ZSPA | 061290 | PC | GV2-ME08 2,5-4,0A ¦ TELEMECANIQUE ¦ 2,5-4,0A
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 157323 | 9301 | 157323 | MOTOR CIRCUIT BREAKER GV2-ME16 9-14A | M | ZSPA | 061290 | PC | 3781073-9 ¦ GV2-ME16 9-14A ¦ TELEMECANIQUE ¦ 9-14A
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 144538 | 9301 | 144538 | MOUNTING PLATE 730020 | M | ZSPA | 060752 | PC | 730020 ¦ BINMASTER
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 188059 | 9535 | 188059 | NON-RETURN VALVE H-1/2-B 11691 | M | ZSPA | 061590 | PC | VASTAVENTTIILI ¦ H-1/2-B ¦ FESTO ¦ H-1/2-B 11691 ¦ RAUTE NO.:Y02-763
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 102579 | 9671 | 102579 | NUT KM 8 | M | ZSPA | 060890 | PC | M 40X1,5
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 402016 | 9304 | 402016 | OPTIC SENSOR CABLE DOL-1204-F02M | M | ZSPA | 061101 | PC | SENSOR CABLE ¦ OPTIC SENSOR CABLE ¦ SICK ¦ DOL-1204-F02M
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 124716 | 9535 | 124716 | O-RING 7,66X1,78 | M | ZSPA | 060904 | PC | NITRIILIKUMIA, -35 - +120C ¦ WURTH ¦ 0468-766 ¦ 7,66X1,78MM 5/16IN
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 407052 | 9302 | 407052 | O-RING SP219.2157 | M | ZSPA | 060490 | PC | O-RING ¦ SP219.2157 ¦ ROBBINS MYERS ¦ SP219.2157 ¦ FOR PUMP STATOR RM800 ¦ STATOR ¦ TREATMENT PLANT
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 117789 | 9535 | 117789 | OUTPUT MODULE 6ES7 422-1BL00-0AA0 | M | ZSPA | 061301 | PC | 6ES7422-1BL00-0AA0 ¦ SIEMENS
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 406225 | 9301 | 406225 | OUTPUT TERMINAL INTERFACE MODULE | M | ZSPA | 061301 | PC | TERMINAL ¦ OUTPUT TERMINAL ¦ OMRON ¦ DRT1-0D08-1 ¦ TFM 01/09/20
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 141499 | 9301 | 141499 | OVERLOAD RELAY 3UA5000-0G 0,4-0,63A | M | ZSPA | 061290 | PC | SIEMENS
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 147231 | 9301 | 147231 | OVERLOAD RELAY EMT6-DB 24-240V AC/DC | M | ZSPA | 061290 | PC | 24-240V AC/DC
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 406814 | 9304 | 406814 | PH/ELEC SENSOR WTB250-2P2441/6044681 | M | ZSPA | 061301 | PC | PHOTO ELECTRIC SENSOR ¦ SUPPRESSION PH/ELEC SENSOR 150 ¦ SICK ¦ WTB250-2P2441/6044681 ¦ 770-7001
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 132577 | 9301 | 132577 | PHOTOELECTRIC SENSOR E3GMR19TG OMRON | M | ZSPA | 061301 | PC | PEILIHEIJASTAVA ¦ OMRON, TOIM. RADIKI ¦ E3GMR19TG ¦ I2-240VDC/24-240 VAC ¦ ON/OFF 0...55 ¦ 10M
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 124224 | 9301 | 124224 | PHOTOELECTRIC SENSOR E3JM-R4M4-G IP66 | M | ZSPA | 061301 | PC | PEILIHEIJASTAVA ¦ E3JM-R4M4-G ¦ OMRON ¦ 4M ¦ 24-240VAC12-240VDC
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 129654 | 9301 | 129654 | PHOTOELECTRIC SENSOR E3S-GS3B4 PNP | M | ZSPA | 061301 | PC | E3S-GS3B4 ¦ OMRON ¦ PNP ¦ 12-240VDC
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 406818 | 9301 | 406818 | PHOTO-ELECTRIC SWITCH E3F2-R2RB4-M1-M | M | ZSPA | 061301 | PC | PHOTO ELECTRIC SWITCH ¦ PHOTOELECTRIC SENSOR BARREL ¦ TELEMECHANIQUE ¦ XUB0BPSNM12 ¦ 444-3451
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 404908 | 9301 | 404908 | PILOT BORED TIMING PULLEY 40AT10/25-2 | M | ZSPA | 060780 | PC | PULLEY ¦ TFM ¦ 40AT10/25-2 (TFM)
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 148931 | 9672 | 148931 | PIPE CLAMP DN20 240015020-3 | M | ZSPA | 061902 | PC
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 135572 | 9669 | 135572 | PIPE ELBOW 1/2IN 90AST FE/ZN | M | ZSPA | 061902 | PC | TAKORAUTA
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 135574 | 9671 | 135574 | PIPE ELBOW 3/8IN 90AST FE/ZN | M | ZSPA | 061902 | PC | TAKORAUTA
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 407862 | 9670 | 407862 | PLATE H164633 | M | ZSPA | 061102 | PC | S=6 155X155 SFS-EN 10025 ¦ RAUTE ¦ H164633
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 198940 | 9301 | 198940 | PNEUM. VALVE SV-5-M5-B | M | ZSPA | 061590 | PC | PNEUMATIC VALVE ¦ FESTO ¦ 11914 ¦ M5 ¦ 5/2 ¦ 0-8BAR ¦ B708
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 129462 | 9301 | 129462 | PNEUM.CYL DNC-50-200-PPV-A FESTO | M | ZSPA | 061590 | PC | FESTO
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 139891 | 9301 | 139891 | PNEUM.CYL DNC-80-50-PPV-A | M | ZSPA | 061590 | PC | DNC-80-50-PPV-A ¦ FESTO ¦ D=80 ¦ I=50
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 402450 | 9304 | 402450 | PNEUMATIC ACTUATOR RM/8063/ | M | ZSPA | 061590 | PC | ACTUATOR ¦ PNEUMATIC ACTUATOR ¦ NORGREN ¦ RM/8063/
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 406728 | 9301 | 406728 | POTENTIOMETER 2K 2,25W | M | ZSPA | 061301 | PC | POTENTIOMETER ¦ 2KOHM ROTARY POTENTIOMETER ¦ HONEYWELL ¦ JA1N056S202UA ¦ 831-6785
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 405366 | 9301 | 405366 | POWER MODULE 1.5KW | M | ZSPA | 061301 | PC | POWER MODULE ¦ POWER MODULE 1.5KW ¦ SIEMENS ¦ 6SL3224-OBE21-5UA0
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 406960 | 9304 | 406960 | PRESSURE PLATE 0239089359 | M | ZSPA | 060780 | PC | PRESSURE PLATE ¦ 0239089359 ¦ WEINIG ¦ 0239089359
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 127300 | 9669 | 127300 | PRESSURE REGULATOR LR-3/8-D-MIDI | M | ZSPA | 061590 | PC
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 407392 | 9304 | 407392 | PRESSURE SENSOR 412859-01 | M | ZSPA | 061301 | PC | PRESSURE SENSOR ¦ 412859-01 ¦ 412859-01 ¦ Z05XX09 ¦ 4-94 5 VDC +/- 10%
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 192019 | 9535 | 192019 | PRESSURE SPRING D3.5X25X73 R764421 | M | ZSPA | 060766 | PC | WEARING STRIP UPPER ¦ RAUTE ¦ R764421 ¦ RAUTE NO: R764421
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 193818 | 9535 | 193818 | PROXIMITY SWITCH SIES-8M-PO-24-K-0.3-M8D | M | ZSPA | 061590 | PC | BLACK AS ¦ SIES-8M-PO-24-K-0.3-M8D ¦ FESTO ¦ SIES-8M-PO-24-K-0.3-M8D ¦ RAUTE NO. 3014046
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 143067 | 9669 | 143067 | PROXIMITY SWITCH XS630B1PAM12 | M | ZSPA | 061301 | PC | TELEMECANIQUE
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 195401 | 9535 | 195401 | PUR FOAM RING D106X71X70MM W-103.41 | M | ZSPA | 060752 | PC | PUR FOAM RING D106X71X70MM ¦ PAUL MASCHINENFABRIK ¦ W-103.41 ¦ D106X71X70MM ¦ RISPA
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 127745 | 9304 | 127745 | PUSH BUTTON ZB4-BA2 BLACK | M | ZSPA | 061106 | PC | MUSTA ¦ HARMONY STYLE 4 ¦ TELEMECANIQUE ¦ ZB4BA2 ¦ 23 204 18 ¦ 330-8969 ¦ 2320418
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 101294 | 9669 | 101294 | REDUCING NIPPLE 1/4IN-1/8IN FE/ZN | M | ZSPA | 061902 | PC
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 403042 | 9301 | 403042 | REED SWITCH 0-240 VAC 0-60 VDC 0.13 AMP | M | ZSPA | 061301 | PC | REED SWITCH ¦ 0 830 100 365 ¦ BOSCH ¦ 0 830 100 365 ¦ MDF S/WRAP 5
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 149094 | 9301 | 149094 | RELAY D2425 CRYDOM | M | ZSPA | 061106 | PC | SENSATA
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 113981 | 9301 | 113981 | RELAY G2R-2-SND-24VDC OMRON | M | ZSPA | 061290 | PC | OMRON
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 198434 | 9672 | 198434 | REPAIR KIT 3/4 AC50-F06 | M | ZSPA | 061590 | PC | REPAIR KIT ¦ AC50-F06 ¦ SMC ¦ 3/4IN
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 405012 | 9301 | 405012 | RIGHT PRESS ARM ASSEMBLY | M | ZSPA | 060763 | PC | PRESS ARM ASSY ¦ RIGHT PRESS ARM ASSEMBLY ¦ GORDIAN ¦ 900-01-31110
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 157104 | 9669 | 157104 | RING CABLE LUG 0,25-1,5 M5 | M | ZSPA | 061102 | PC | ABIKO PUNAINEN ¦ SL 5217204
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103034 | 9535 | 103034 | ROLLER CHAIN 08B-2 1/2 | M | ZSPA | 061003 | M | KAKSIRIVINEN ¦ WIPPERMANN NRO D 462 ¦ DIN 8187
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103046 | 9302 | 103046 | ROLLER CHAIN 12B-2 DIN 8187 2-ROW | M | ZSPA | 061003 | M | KAKSIRIVINEN ¦ WIPPERMANN NRO D 513 ¦ DIN 8187
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 407390 | 9304 | 407390 | ROTARY ENCODER 0040208873 | M | ZSPA | 061301 | PC | ROTARY ENCODER ¦ 0040208973 ¦ WEINIG ¦ 0040208973
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 400661 | 9302 | 400661 | S90 WEAR GUIDE 7417886 | M | ZSPA | 060780 | PC | WEAR GUIDE ¦ 7417886 ¦ FOR S90
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 400409 | 9304 | 400409 | SAFETY INTERLOCK LSZBZ | M | ZSPA | 061301 | PC | INTERLOCK ¦ SAFETY INTERLOCK LSZBZ ¦ EATON ¦ LS.S02.24DFT-ZBZ/X
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 406162 | 9301 | 406162 | SCM VACUUM PUMP BEARING NU207E.TVP2 | M | ZSPA | 060890 | PC | BEARING ¦ BEARING NU207E.TVP2 ¦ FAG ¦ NU207E.TVP2 ¦ 174-1315
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 403798 | 9301 | 403798 | SEAL FOR PAINT PUMP 000.950.279 | M | ZSPA | 060902 | PC | SEAL ¦ SEAL FOR PAINT PUMP ¦ INDUSTRIAL SPRAY CONCEPTS ¦ 000.950.279
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 127278 | 9301 | 127278 | SEAL KIT DNC-32-PPV-A FESTO | M | ZSPA | 061590 | PC | FESTO
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 179021 | 9301 | 179021 | SEAL KIT PRX-080-ST | M | ZSPA | 061590 | PC | PRX-080-ST ¦ BOSCH ¦ 1827009899 ¦ HOLZMA SAHA HAVU
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 182971 | 9304 | 182971 | SEAL KIT TRB-PRX-50-ST 1827009569 | M | ZSPA | 061590 | PC | TRB-PRX-50-ST 1827009569 ¦ AVENTICS
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 402984 | 9304 | 402984 | SEAL RING 327394.0 30X2.5 RD | M | ZSPA | 060780 | PC | SEAL RING ¦ SEAL RING 30X2.5 RD ¦ WEINIG ¦ 327394.0
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 118552 | 9301 | 118552 | SELECTOR SWITCH BLACK 2-POS. ZB4BD2 | M | ZSPA | 061290 | PC | SCHNEIDER
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 127708 | 9669 | 127708 | SELECTOR SWITCH HEAD ZB5AD2, 2 POSITIONS | M | ZSPA | 061290 | PC | MUSTA 2-AS. ¦ HARMONY STYLE 5 ¦ TELEMECANIQUE ¦ ZB5AD2 ¦ 2320830
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 157228 | 9671 | 157228 | SELECTOR SWITCH XB4-BD53 | M | ZSPA | 061290 | PC | 3-ASENTOINEN ¦ XB4BD53 ¦ SCHNEIDER
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 157217 | 9672 | 157217 | SELECTOR SWITCH ZB4-BK1433 GREEN | M | ZSPA | 061290 | PC | ZB4-BK1433
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 128045 | 9301 | 128045 | SELECTOR SWITCH ZB4-BK1853 | M | ZSPA | 061290 | PC | ZB4BK1853 ¦ TELEMECANIQE ¦ KELTAINEN
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 188635 | 9669 | 188635 | SENSOR CONNECTOR MEP02 D15/17-POLE | M | ZSPA | 061301 | PC | SENSOR ¦ MEP02 D15/17-POLE ¦ SKS ¦ 1257728 ¦ RAUTE NO: 3021304
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 406727 | 9302 | 406727 | SENSOR IG0345 | M | ZSPA | 061301 | PC | SENSOR IG ¦ INDUCTIVE PROX. SWITCH ¦ IFM ¦ IG0345 ¦ SN 12MM NF, N/O, ¦ AC/DC, LS CONNECTOR
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 192798 | 9669 | 192798 | SHAFT SEALING RING 80/100X10 5600059 | M | ZSPA | 060904 | PC | 80/100X10 5600059 ¦ STEINEMANN ¦ 5600059
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 403626 | 9304 | 403626 | SHAFT WA91505001 50X170 | M | ZSPA | 060780 | PC | SHAFT ¦ SHAFT 50X170 ¦ WEINIG ¦ WA91505001
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 406323 | 9301 | 406323 | SHIM 00.114.030 | M | ZSPA | 060780 | PC | SHIM ¦ 00.114.030 ¦ 00.114.030
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 198440 | 9672 | 198440 | SHUT-OFF COCK 1IN VHS50-F10 | M | ZSPA | 061590 | PC | SHUT-OFF COCK ¦ VHS50-F10 ¦ SMC ¦ 1IN
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 407410 | 9671 | 407410 | SLIDE RAIL 4100643 | M | ZSPA | 060202 | PC | SLIDE RAIL ¦ 4100643 ¦ CROSS WRAP ¦ 4100643 ¦ KALVOKÄÄRINTÄLINJA ¦ KULJETIN 6
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 403123 | 9304 | 403123 | SOCKET CAP SCREW NT81 70146184/9 | M | ZSPA | 060763 | PC | SCREW ¦ SOCKET CAP SCREW ¦ MOSCA ¦ NT81 70146184/9
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 406684 | 9302 | 406684 | SOLENOID CPE18-MZH-5L-1/4 | M | ZSPA | 061590 | PC | SOLENOID VALVE ¦ AIR SOLENOID VALVE ¦ FESTO ¦ CPE18-MZH-5L-1/4 ¦ 175-4572
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 407043 | 9302 | 407043 | SOLENOID VALVE 824.52.3.6.M2 | M | ZSPA | 060190 | PC | SOLENOID VALVE ¦ 824.52.3.6.M2 ¦ PNEUMAX ¦ 824.52.3.6.M2 ¦ 5/2 ¦ TREATMENT PLANT
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 198436 | 9672 | 198436 | SPACER Y300T-A | M | ZSPA | 061590 | PC | SPACER ¦ Y300T-A ¦ SMC
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 402985 | 9304 | 402985 | SPRING 00236376 | M | ZSPA | 060780 | PC | SPRING ¦ SPRING 00236376 ¦ WEINIG ¦ 236376.0
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 406394 | 9301 | 406394 | SPRING ACTUATOR TVL FTSA 1/2IN-95-HD | M | ZSPA | 062207 | PC | SPRING ACTUATOR ¦ 360D SPRING ACTUATOR ¦ SCHMALZ ¦ 10.01.02.00781
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 404159 | 9301 | 404159 | SPRING LOCKWASHER 7434.05 | M | ZSPA | 060763 | PC | LOCKWASHER ¦ SPRING LOCKWASHER ¦ GORDIAN ¦ 7434.05
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 400355 | 9304 | 400355 | SPRING NT2013 | M | ZSPA | 060763 | PC | SPRING ¦ SPRING ¦ MOSCA ¦ NT2013
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 407853 | 9534 | 407853 | SPROCKET 32B-1 Z27 60H9+KU | M | ZSPA | 061003 | PC | SPROCKET ¦ 32B-1 Z=27 60H9+KU ¦ S 355 ¦ 32B-1 Z=27 60H9+KU ¦ KARKAISTUT HAMPAAT ¦ HARDENED TEETH
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 403069 | 9304 | 403069 | SPROCKET DUPLEX 12B25 2517 | M | ZSPA | 061003 | PC | SPROCKET ¦ SPROCKET DUPLEX 12B25 2517 ¦ CHALLENGER ¦ 12B25 2517
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 112630 | 9301 | 112630 | SWITCH HEAD ZB4BD3 TELEMECANIQUE | M | ZSPA | 061290 | PC | SCHNEIDER
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 141175 | 9535 | 141175 | SWITCH HEAD ZCK-E05 | M | ZSPA | 061290 | PC | ZCK-E05 ¦ LIMIT SWITCH HEAD ZCKE WITHOUT ¦ LEVER LEFT AND RIGHT ACTUATION
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 194675 | 9301 | 194675 | SWIVEL FLANGE SNCB-80 174394 | M | ZSPA | 060890 | PC | SNCB-80 ¦ FESTO ¦ 174394 ¦ FERROPLAN NO: 174394
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 405696 | 9301 | 405696 | TAB LOCK WASHER | M | ZSPA | 062207 | PC | LOCK WASHER ¦ TAB LOCK WASHER ¦ TFM ¦ MB 5
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 400906 | 9302 | 400906 | TAPER BUSH V110 | M | ZSPA | 061004 | PC | TAPER LOCK ¦ SIZE V110 STEEL TAPER LOCK HUB ¦ REXNORD ¦ VIVA V110 HUB TLÂ
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103416 | 9302 | 103416 | TAPER BUSHING TL3020-50 | M | ZSPA | 061004 | PC
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 145820 | 9301 | 145820 | TAPER LOCK BUSH TL1008-20 | M | ZSPA | 061004 | PC
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 109117 | 9301 | 109117 | TAPER LOCK BUSH TL1210-30 | M | ZSPA | 061004 | PC
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103378 | 9301 | 103378 | TAPER LOCK BUSH TL1610-30 | M | ZSPA | 061004 | PC
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103391 | 9301 | 103391 | TAPER LOCK BUSH TL2012-30 | M | ZSPA | 061004 | PC
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 107672 | 9301 | 107672 | TAPER LOCK BUSH TL2012-50 | M | ZSPA | 061004 | PC | 2012 ¦ 50MM
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103406 | 9672 | 103406 | TAPER LOCK BUSH TL2517-48 | M | ZSPA | 061004 | PC
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103413 | 9301 | 103413 | TAPER LOCK BUSH TL3020-42 | M | ZSPA | 061004 | PC
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 103419 | 9671 | 103419 | TAPER LOCK BUSH TL3020-65 | M | ZSPA | 061004 | PC
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 194861 | 9669 | 194861 | TERMINAL MODULE 6ES7193-4CC30-0AA0 | M | ZSPA | 061301 | PC | 6ES7193-4CC30-0AA0 ¦ SIEMENS
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 161352 | 9301 | 161352 | THERMAL OVERLOAD RELAY LRD07 1,6-2,5A | M | ZSPA | 061290 | PC | TELEMECANIQUE
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 134126 | 9304 | 134126 | THERMAL OVERLOAD RELAY LRD16 | M | ZSPA | 061290 | PC | TELEMECANIQUE ¦ 9-13A ¦ SSTL-NRO 3860243
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 403925 | 9301 | 403925 | THREADED STUD 302893-40 | M | ZSPA | 060752 | PC | THREADED BAR ¦ 302893-40 ¦ THREADED STUD 302893-40
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 403477 | 9301 | 403477 | THRUST WASHER AS2035 | M | ZSPA | 062207 | PC | WASHER ¦ AS2035 ¦ AS2035
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 166350 | 9301 | 166350 | TIME RELAY H3DE-G AC/DC24-230 | M | ZSPA | 061290 | PC | OMRON ¦ 0221T
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 145028 | 9301 | 145028 | TIMING BELT HTD-960-8M30 30X960 | M | ZSPA | 061002 | PC
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 135689 | 9669 | 135689 | T-JOINT PIPE 1IN FE/ZN | M | ZSPA | 061902 | PC | SINKITTY
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 155611 | 9669 | 155611 | U PACKING RING UN 80X100X12 | M | ZSPA | 061490 | PC
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 198702 | 9669 | 198702 | VALVE HGL-M5-B | M | ZSPA | 061590 | PC | VALVE ¦ HGL-M5-B ¦ M00002494 ¦ NON-RETURN ¦ PILOTED
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 401758 | 9302 | 401758 | VALVE TERMINAL 10P-14-4A-MP-R-U-JMNJ | M | ZSPA | 061590 | PC | VALVE TERMINAL ¦ VALVE TERMINAL ¦ FESTO ¦ 10P-14-4A-MP-R-U-JMNJ
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 184448 | 9301 | 184448 | V-BELT SPA 1457 | M | ZSPA | 061001 | PC | KIILAHIHNA SPA 1457
STP | Data Enrichment | NGB | NGB |  | 2023-03-10 |  |  | 107804 | 9301 | 107804 | V-BELT SPB 1500 | M | ZSPA | 061001 | PC
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 103186 | 9535 | 103186 | V-BELT SPB 4000 | M | ZSPA | 061001 | PC
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 137838 | 9301 | 137838 | V-BELT XPB 2240 | M | ZSPA | 061001 | PC
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 404994 | 9301 | 404994 | WASHER 10MMID CLEARANCE 25MMOD 4MM THICK | M | ZSPA | 062207 | PC | WASHER ¦ TFM ¦ 10MM ID (CLEAR.) / 25MM OD / 4 ¦ PORTABLE BANDING TROLLEY
STP | Data Enrichment | VNE | VNE |  | 2023-03-10 |  |  | 407018 | 9301 | 407018 | WASHER M12X30X6MM | M | ZSPA | 062207 | PC | WASHER ¦ TFM ¦ M12X30X6MM
STP | Data Enrichment | RYM | RYM |  | 2023-03-10 |  |  | 403175 | 9304 | 403175 | WASHER MB1 | M | ZSPA | 062207 | PC | WASHER ¦ WASHER ¦ MB1
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 187171 | 9535 | 187171 | WEARING STRIP LOWER R764405 | M | ZSPA | 060784 | PC | SKARFFISAHA KETJU ¦ KULUTUSLISTA ALA ¦ R764405
STP | Data Enrichment | SMX | SMX |  | 2023-03-10 |  |  | 400388 | 9535 | 400388 | WIRING HARNESS M12 FEMALE 90DEG 5M | M | ZSPA | 061101 | PC | WIRING HARNESS ¦ M12 FEMALE 90DEG 5M ¦ LUMBERG AUTOMATION ¦ PRKWT 5-56/5 M ¦ 13635 ¦ 144-73-912