## Sheet1
MATNR | Activities | Production User | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRPN | MFRNR | MFR NAME | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Material Type
1062975 | Data Enrichment | DEE | 1440692 | AU_QM_000984506 |  | ERSA | M | 1825 | 1440692GZPCLNT100 | EA |  |  |  | (P/NO.JWB/CR-001) | (P/NO.JWB/CR-001) | PACKING,PREFORMED: (P/NO.JWB/CR-001) |  | PACKING,PREFORMED:(P/NO.JWB/CR-001)
1062976 | Data Enrichment | DEE | 1440691 | AU_QM_000984505 |  | ERSA | M | 1825 | 1440691GZPCLNT100 | EA |  |  |  | (P/NO.JWB/CR-002) | (P/NO.JWB/CR-002) | PACKING,PREFORMED: (P/NO.JWB/CR-002) |  | PACKING,PREFORMED:(P/NO.JWB/CR-002)
1062824 | Data Enrichment | DEE |  |  |  | ERSA | M | 1600 | 1467917GZPCLNT100 | EA |  |  |  | (VVR CONTROLLER RELAYS) | (VVR CONTROLLER RELAYS) | INSULATOR: (VVR CONTROLLER RELAYS) FOR DYNASTAT LIFT
1063335 | Data Enrichment | DEE | 1430046 | AU_QM_000635961 |  | ERSA | M | 5100 | 1430046GZPCLNT100 | EA |  |  |  | 0 SEC TO 30 SEC,110VAC,PLUG IN | 0 SEC TO 30 SEC,110VAC,PLUG IN | RELAY,TIME DELAY: 0 SEC TO 30 SEC,110VAC,PLUG IN |  | RELAY,TIME DELAY: 0 SEC TO 30 SEC,110VAC,PLUG IN
1063220 | Data Enrichment | DEE | 1427439 | AU_QM_000461244 |  | ERSA | M | 1630 | 1427439GZPCLNT100 | EA |  |  |  | 0.37KW DRIVE,VARIABLE FREQUENCY, | 0.37KW DRIVE,VARIABLE FREQUENCY, | CONTROLLER,MOTOR: 0.37KW DRIVE,VARIABLE FREQUENCY, INPUT 240VAC 1PH,OUTPUT 240VAC 3PH. |  | CONTROLLER,MOTOR: 0.37KW DRIVE,VARIABLE FREQUENCY,
1062935 | Data Enrichment | DEE | 1427374 | AU_QM_000457911 |  | ERSA | M | 5920 | 1427374GZPCLNT100 | EA |  |  |  | 0.37KW,51RPM,415VAC,3PH,50HZ,1AMP | 0.37KW,51RPM,415VAC,3PH,50HZ,1AMP | GEARCASE-MOTOR: 0.37KW,51RPM,415VAC,3PH,50HZ,1AMP GEARBOX UNIT TYPE G 12-10/DK 74-178 FOR TITAN ARG 500 STRAP DISPENSER 0.5HP, |  | GEARCASE-MOTOR: 0.37KW,51RPM,415VAC,3PH,50HZ,1AMP
1105493 | Data Enrichment | DEE | 1476202 | AU_QM_000680520 |  | ERSA | M | 5100 | 1476202GZPCLNT100 | EA |  |  |  | 0-300 DEG C;TEL-TRU 6"STEM; | 0-300 DEG C;TEL-TRU 6"STEM; |  |  | THERMOMETER,DIAL: 0-300 DEG C;TEL-TRU 6"STEM;
1068060 | Data Enrichment | DEE | 1430294 | AU_QM_000646406 |  | ERSA | M | 5100 | 1430294GZPCLNT100 | EA |  |  |  | 10 TURN,1/4"SHAFT | 10 TURN,1/4"SHAFT | RESISTOR,VARIABLE: 10 TURN,1/4"SHAFT |  | RESISTOR,VARIABLE:10 TURN,1/4"SHAFT
1068295 | Data Enrichment | DEE |  |  |  | ERSA | M | 5955 | 1351919GZPCLNT100 | EA |  |  |  | 1000HR SERVICE KIT;;JOHN DEERE 544K FORK | 1000HR SERVICE KIT;;JOHN DEERE 544K FORK | MAINTENANCE KIT, SCHEDULED SERVICE: 1000HR SERVICE KIT;;JOHN DEERE 544K FORK LIFT;
1102891 | Data Enrichment | DEE | 1475728 | AU_QM_000234395 |  | ERSA | M | 5100 | 1475728GZPCLNT100 | EA |  |  |  | 100260VAC,35A,DC TRIG;ALTABLUE 30 MELTER | 100260VAC,35A,DC TRIG;ALTABLUE 30 MELTER |  |  | RELAY,SOLID STATE:100260VAC,35A,DC TRIG;ALTABLUE 30 MELTER
1068409 | Data Enrichment | DEE | 1370726 | AU_QM_000180737 |  | ERSA | M | 5100 | 1370726GZPCLNT100 | EA |  |  |  | 100MM WAFER MAGMASTER;ELECTROMAGNETIC; | 100MM WAFER MAGMASTER;ELECTROMAGNETIC; | TRANSMITTER,RATE OF FLOW: 100MM WAFER MAGMASTER;ELECTROMAGNETIC; 240VAC;POLYPROPYLENE LINING SS316 ELECTRODE;4-20MA OUTPUT; REMOTE ELECTRONICS;5M SENSOR CABLE |  | TRANSMITTER,RATE OF FLOW: 100MM WAFER MAGMASTER;ELECTROMAGNETIC;
1037048 | Data Enrichment | DEE | 1476179 | AU_QM_000664102 |  | ERSA | M | 1540 | 1476179GZPCLNT100 | PAC |  |  |  | 10G X 3/8"LG,FLAT HEAD,COPPER,C/W WASHER | 10G X 3/8"LG,FLAT HEAD,COPPER,C/W WASHER |  |  | RIVET,SOLID:10G X 3/8"LG,FLAT HEAD,COPPER,C/W WASHER
1103025 | Data Enrichment | DEE | 1476170 | AU_QM_000649475 |  | ERSA | M | 5910 | 1476170GZPCLNT100 | EA |  |  |  | 10MM NB>8MM NB;BUSH;HEX;GALV STEEL: | 10MM NB>8MM NB;BUSH;HEX;GALV STEEL: |  |  | REDUCER,PIPE: 10MM NB>8MM NB;BUSH;HEX;GALV STEEL:
1103022 | Data Enrichment | DEE | 1476173 | AU_QM_000649970 |  | ERSA | M | 5910 | 1476173GZPCLNT100 | EA |  |  |  | 10MM NB>8MM NB;NIPPLE;HEX;GALV STEEL | 10MM NB>8MM NB;NIPPLE;HEX;GALV STEEL |  |  | REDUCER,PIPE: 10MM NB>8MM NB;NIPPLE;HEX;GALV STEEL
1063981 | Data Enrichment | DEE | 1424373 | AU_QM_000334986 |  | ERSA | M | 5100 | 1424373GZPCLNT100 | EA |  |  |  | 1-1.6A;0.35-0.6KW;CONTACTOR CA3-9/12/16 | 1-1.6A;0.35-0.6KW;CONTACTOR CA3-9/12/16 | RELAY,THERMAL OVERLOAD: 1-1.6A;0.35-0.6KW;CONTACTOR CA3-9/12/16 *REPLACED BY S/C 989350 CA3 SERIES REPLACED BY CA7 SERIES* |  | RELAY,THERMAL OVERLOAD: 1-1.6A;0.35-0.6KW;CONTACTOR CA3-9/12/16
1063332 | Data Enrichment | DEE | 1430065 | AU_QM_000636787 |  | ERSA | M | 5100 | 1430065GZPCLNT100 | EA |  |  |  | 110VAC COIL | 110VAC COIL | RELAY,ELECTROMAGNETIC: 110VAC COIL |  | RELAY,ELECTROMAGNETIC:110VAC COIL
1063336 | Data Enrichment | DEE | 1430039 | AU_QM_000635656 |  | ERSA | M | 5100 | 1430039GZPCLNT100 | EA |  |  |  | 110VDC COIL,N/O,16A CONTACTS,C/W BASE | 110VDC COIL,N/O,16A CONTACTS,C/W BASE | RELAY,ELECTROMAGNETIC: 110VDC COIL,N/O,16A CONTACTS,C/W BASE |  | RELAY,ELECTROMAGNETIC:110VDC COIL,N/O,16A CONTACTS,C/W BASE
1062937 | Data Enrichment | DEE | 1441564 | AU_QM_000987421 |  | ERSA | M | 5620 | 1441564GZPCLNT100 | EA |  |  |  | 115MM HUB OD;215MM FLANGE DIA;4-PIN; | 115MM HUB OD;215MM FLANGE DIA;4-PIN; | COUPLING HALF,SHAFT: 115MM HUB OD;215MM FLANGE DIA;4-PIN; CRL FIRE SYSTEM PUMPS |  | COUPLING HALF,SHAFT:115MM HUB OD;215MM FLANGE DIA;4-PIN;
1133987 | Data Enrichment | DEE |  |  |  | ERSA | M | 5915 | 1441145GZPCLNT100 | EA |  |  |  | 120H WINDSHIELD WIPER SHAFT ASSY; | 120H WINDSHIELD WIPER SHAFT ASSY; | SHAFT,SHOULDERED: 120H WINDSHIELD WIPER SHAFT ASSY; CATERPILLAR 120H GRADER
1102912 | Data Enrichment | DEE | 1475314 | AU_QM_000195395 |  | ERSA | M | 4090 | 1475314GZPCLNT100 | EA |  |  |  | 125 GPH;170 PSIG;THERMO PUMP;PD1 MAKE;BR | 125 GPH;170 PSIG;THERMO PUMP;PD1 MAKE;BR |  |  | PUMP:125 GPH;170 PSIG;THERMO PUMP;PD1 MAKE;BR
1108803 | Data Enrichment | DEE |  |  |  | ERSA | M | 5100 | 1458313GZPCLNT100 | EA |  |  |  | 12V DC | 12V DC | REGULATOR,VOLTAGE: 12V DC
1035441 | Data Enrichment | DEE | 1476297 | AU_QM_000985325 |  | ERSA | M | 1825 | 1476297GZPCLNT100 | EA |  |  |  | 1-3/4" DIA ROD;C/W GLAND CARTRIDGE; | 1-3/4" DIA ROD;C/W GLAND CARTRIDGE; |  |  | SEAL SET: 1-3/4" DIA ROD;C/W GLAND CARTRIDGE;
1067015 | Data Enrichment | DEE | 1351325 | AU_QM_000135747 |  | ERSA | M | 3600 | 1351325GZPCLNT100 | EA |  |  |  | 1400 X 24;TUBE;;ATLAS COPCO M2D DRILL/NO | 1400 X 24;TUBE;;ATLAS COPCO M2D DRILL/NO | INNER TUBE,PNEUMATIC TYRE: 1400 X 24;TUBE;;ATLAS COPCO M2D DRILL/NO RMET; |  | INNER TUBE,PNEUMATIC TYRE:1400 X 24;TUBE;;ATLAS COPCO M2D DRILL/NO
1067296 | Data Enrichment | DEE | 1351324 | AU_QM_000135746 |  | ERSA | M | 3600 | 1351324GZPCLNT100 | EA |  |  |  | 1400 X 24;VCHSZ;;ATLAS COPCO M2D DRILL; | 1400 X 24;VCHSZ;;ATLAS COPCO M2D DRILL; | TYRE,PNEUMATIC: 1400 X 24;VCHSZ;;ATLAS COPCO M2D DRILL; |  | TYRE,PNEUMATIC: 1400 X 24;VCHSZ;;ATLAS COPCO M2D DRILL;
1065744 | Data Enrichment | DEE |  |  |  | ERSA | M | 1600 | 1459569GZPCLNT100 | EA |  |  |  | 15 - 100KPA RANGE | 15 - 100KPA RANGE | SWITCH,PRESSURE: 15 - 100KPA RANGE
1103023 | Data Enrichment | DEE | 1476172 | AU_QM_000649491 |  | ERSA | M | 5910 | 1476172GZPCLNT100 | EA |  |  |  | 15MM NB>10MM NB;BUSH;HEX;GALV STEEL: | 15MM NB>10MM NB;BUSH;HEX;GALV STEEL: |  |  | REDUCER,PIPE: 15MM NB>10MM NB;BUSH;HEX;GALV STEEL:
1103024 | Data Enrichment | DEE | 1476171 | AU_QM_000649483 |  | ERSA | M | 5910 | 1476171GZPCLNT100 | EA |  |  |  | 15MM NB>8MM NB;BUSH;HEX;GALV STEEL: | 15MM NB>8MM NB;BUSH;HEX;GALV STEEL: |  |  | REDUCER,PIPE: 15MM NB>8MM NB;BUSH;HEX;GALV STEEL:
1067169 | Data Enrichment | DEE | 1457591 | AU_QM_001305333 |  | ERSA | M | 3020 | 1457591GZPCLNT100 | EA |  |  |  | 16000 HOUR SERVICE KIT; | 16000 HOUR SERVICE KIT; | SERVICE KIT: 16000 HOUR SERVICE KIT; COMPAIR L160; |  | SERVICE KIT:16000 HOUR SERVICE KIT;
1067486 | Data Enrichment | DEE | 1427663 | AU_QM_000474908 |  | ERSA | M | 1600 | 1427663GZPCLNT100 | EA |  |  |  | 160A;3P;36KA @ 415V;MCCB;NS160N; | 160A;3P;36KA @ 415V;MCCB;NS160N; | CIRCUIT BREAKER: 160A;3P;36KA @ 415V;MCCB;NS160N; TM160D THERMAL-MAGNETIC TRIP UNIT FRONT CONNECTED;MOULDED CASE;COMPACT; AS3858 IEC947.2; |  | CIRCUIT BREAKER:160A;3P;36KA @ 415V;MCCB;NS160N;
1062801 | Data Enrichment | DEE | 1428920 | AU_QM_000548750 |  | ERSA | M | 1600 | 1428920GZPCLNT100 | EA |  |  |  | 16MM THD;6.1-8.0MM DIA CABLE; | 16MM THD;6.1-8.0MM DIA CABLE; | CABLE GLAND: 16MM THD;6.1-8.0MM DIA CABLE; BRASS;NICOTE;IPX8 PROTECTION; ELASTOMER OR PLASTIC SHEATHED UNARMOURED CABLE;AS1939-1990 |  | CABLE GLAND:16MM THD;6.1-8.0MM DIA CABLE;
1136492 | Data Enrichment | DEE |  |  |  | ERSA | M | 5910 | 1444549GZPCLNT100 | EA |  |  |  | 1814B HYDRAULIC REDUCTION FITTING; | 1814B HYDRAULIC REDUCTION FITTING; | REDUCER,PIPE: 1814B HYDRAULIC REDUCTION FITTING; NORMET CHARMEC 1814B CHARGE VEHICLE
1067449 | Data Enrichment | DEE | 1370738 | AU_QM_000181420 |  | ERSA | M | 5920 | 1370738GZPCLNT100 | EA |  |  |  | 1HZ ENGINE; | 1HZ ENGINE; | STARTER,ENGINE,ELECTRICAL: 1HZ ENGINE; "REPAIRABLE ITEM" TOYOTA HZJ75 LANDCRUISER |  | STARTER,ENGINE,ELECTRICAL:1HZ ENGINE;
1066982 | Data Enrichment | DEE |  |  |  | ERSA | M | 1600 | 1368615GZPCLNT100 | EA |  |  |  | 2 ENGINE ASSY:CHARMEC MC 605 D(V) | 2 ENGINE ASSY:CHARMEC MC 605 D(V) | SWITCH,PRESSURE: 2 ENGINE ASSY:CHARMEC MC 605 D(V)
1036356 | Data Enrichment | DEE | 1476264 | AU_QM_000952346 |  | ERSA | M | 1640 | 1476264GZPCLNT100 | M |  |  |  | 2.5MM2 (7/0.67MM),BLACK,PVC INSULATED, | 2.5MM2 (7/0.67MM),BLACK,PVC INSULATED, |  |  | WIRE,ELECTRICAL:2.5MM2 (7/0.67MM),BLACK,PVC INSULATED,
1036354 | Data Enrichment | DEE | 1476266 | AU_QM_000952348 |  | ERSA | M | 1640 | 1476266GZPCLNT100 | M |  |  |  | 2.5MM2 (7/0.67MM),BLUE,PVC INSULATED,V75 | 2.5MM2 (7/0.67MM),BLUE,PVC INSULATED,V75 |  |  | WIRE,ELECTRICAL:2.5MM2 (7/0.67MM),BLUE,PVC INSULATED,V75
1036353 | Data Enrichment | DEE | 1476269 | AU_QM_000971342 |  | ERSA | M | 1640 | 1476269GZPCLNT100 | M |  |  |  | 2.5MM2 (7/0.67MM),GREEN/YELLOW,PVC | 2.5MM2 (7/0.67MM),GREEN/YELLOW,PVC |  |  | WIRE,ELECTRICAL:2.5MM2 (7/0.67MM),GREEN/YELLOW,PVC
1036357 | Data Enrichment | DEE | 1476263 | AU_QM_000952344 |  | ERSA | M | 1640 | 1476263GZPCLNT100 | M |  |  |  | 2.5MM2 (7/0.67MM),RED,PVC INSULATED,V75 | 2.5MM2 (7/0.67MM),RED,PVC INSULATED,V75 |  |  | WIRE,ELECTRICAL:2.5MM2 (7/0.67MM),RED,PVC INSULATED,V75
1036355 | Data Enrichment | DEE | 1476265 | AU_QM_000952347 |  | ERSA | M | 1640 | 1476265GZPCLNT100 | M |  |  |  | 2.5MM2 (7/0.67MM),WHITE,PVC INSULATED, | 2.5MM2 (7/0.67MM),WHITE,PVC INSULATED, |  |  | WIRE,ELECTRICAL:2.5MM2 (7/0.67MM),WHITE,PVC INSULATED,
1063544 | Data Enrichment | DEE |  |  |  | ERSA | M | 4090 | 1365766GZPCLNT100 | EA |  |  |  | 2000 HR SERVICE KIT | 2000 HR SERVICE KIT | SERVICE KIT: 2000 HR SERVICE KIT
1103119 | Data Enrichment | DEE | 1476278 | AU_QM_000982200 |  | ERSA | M | 1600 | 1476278GZPCLNT100 | EA |  |  |  | 20MM THD,PVC | 20MM THD,PVC |  |  | NIPPLE,ELEC CONDUIT:20MM THD,PVC
1062802 | Data Enrichment | DEE | 1428660 | AU_QM_000529727 |  | ERSA | M | 1600 | 1428660GZPCLNT100 | EA |  |  |  | 20MM THD;9.2-12.0MM DIA CABLE; | 20MM THD;9.2-12.0MM DIA CABLE; | CABLE GLAND: 20MM THD;9.2-12.0MM DIA CABLE; BRASS;NICOTE;IPX8 PROTECTION; ELASTOMER OR PLASTIC SHEATHED UNARMOURED CABLE;AS1939-1990 |  | CABLE GLAND:20MM THD;9.2-12.0MM DIA CABLE;
1063733 | Data Enrichment | DEE |  |  |  | ERSA | M | 5810 | 1429224GZPCLNT100 | EA |  |  |  | 2134MM LG POLYURETHANE | 2134MM LG POLYURETHANE | RAIL,SUPPORT; 2134MM LG POLYURETHANE LONGITUDINAL
1109593 | Data Enrichment | DEE |  |  |  | ERSA | M | 5810 | 1429222GZPCLNT100 | EA |  |  |  | 2134MM LG POLYURETHANE | 2134MM LG POLYURETHANE | RAIL,SUPPORT; 2134MM LG POLYURETHANE LONGITUDINAL
1108960 | Data Enrichment | DEE |  |  |  | ERSA | M | 5100 | 1470597GZPCLNT100 | EA |  |  |  | 220VDC | 220VDC | RELAY,ELECTROMAGNETIC: 220VDC RXMM
1067490 | Data Enrichment | DEE | 1427709 | AU_QM_000475400 |  | ERSA | M | 5920 | 1427709GZPCLNT100 | EA |  |  |  | 23.08 TO 1;11KW @ 62RPM;B3A+B MTG; | 23.08 TO 1;11KW @ 62RPM;B3A+B MTG; | GEARCASE-MOTOR: 23.08 TO 1;11KW @ 62RPM;B3A+B MTG; HELICAL BEVEL GEARED BRAKE MOTOR ASSY; C/W HAND RELEASE;BRAKE VOLTAGE = BRAKE TORQUE = |  | GEARCASE-MOTOR: 23.08 TO 1;11KW @ 62RPM;B3A+B MTG;
1103113 | Data Enrichment | DEE | 1476165 | AU_QM_000635748 |  | ERSA | M | 5100 | 1476165GZPCLNT100 | EA |  |  |  | 240VAC COIL;DPDT;LED INDICATOR; | 240VAC COIL;DPDT;LED INDICATOR; |  |  | RELAY,ELECTROMAGNETIC:240VAC COIL;DPDT;LED INDICATOR;
1108798 | Data Enrichment | DEE |  |  |  | ERSA | M | 5100 | 1458351GZPCLNT100 | EA |  |  |  | 24V DC | 24V DC | REGULATOR,VOLTAGE: 24V DC
1063333 | Data Enrichment | DEE | 1430064 | AU_QM_000636761 |  | ERSA | M | 5100 | 1430064GZPCLNT100 | EA |  |  |  | 24VDC COIL | 24VDC COIL | RELAY,ELECTROMAGNETIC: 24VDC COIL |  | RELAY,ELECTROMAGNETIC:24VDC COIL
1063331 | Data Enrichment | DEE | 1430069 | AU_QM_000636852 |  | ERSA | M | 5100 | 1430069GZPCLNT100 | EA |  |  |  | 24VDC COIL,PLUG IN,2 POLE DOUBLE THROW | 24VDC COIL,PLUG IN,2 POLE DOUBLE THROW | RELAY,ELECTROMAGNETIC: 24VDC COIL,PLUG IN,2 POLE DOUBLE THROW |  | RELAY,ELECTROMAGNETIC:24VDC COIL,PLUG IN,2 POLE DOUBLE THROW
1068322 | Data Enrichment | DEE | 1430051 | AU_QM_000636118 |  | ERSA | M | 5100 | 1430051GZPCLNT100 | EA |  |  |  | 24VDC COIL;3PDT;INDICATOR; | 24VDC COIL;3PDT;INDICATOR; | RELAY,ELECTROMAGNETIC: 24VDC COIL;3PDT;INDICATOR; 11 PIN PLUG IN TERMINAL; |  | RELAY,ELECTROMAGNETIC:24VDC COIL;3PDT;INDICATOR;